## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-22_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-22_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-22_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_66-22_0_5_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_66-22_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_66-22_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_66-22_0_5_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_66-22_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_66-22_0_5_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_66-22_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_66-22_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_66-22_0_5_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_66-22_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_66-22_0_5_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_66-22_0_5_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_66-22_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_66-22_0_5_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_66-22_0_5_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_66-22_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_66-22_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_66-22_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_66-22_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_66-22_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_66-22_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_66-22_0_5_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_66-22_0_5_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_66-22_0_5_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_66-22_0_5_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_66-22_0_5_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_66-22_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_66-22_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_66-22_0_5_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_66-22_0_5_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_66-22_0_5_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_66-22_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_66-22_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_66-22_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_66-22_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_66-22_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_66-22_0_5_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_66-22_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_66-22_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_66-22_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_66-22_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_66-22_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_66-22_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_66-22_0_5_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_66-22_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_66-22_0_5_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_66-22_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_66-22_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_66-22_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_66-22_0_5_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_66-22_0_5_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_66-22_0_5_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_66-22_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_66-22_0_5_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_66-22_0_5_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_66-22_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_66-22_0_5_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_66-22_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_66-22_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_66-22_0_5_node_24 | 0.4 | n |  | TRUE
63 | bus_LV_66-22_0_5_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_66-22_0_5_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_66-22_0_5_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_66-22_0_5_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_66-22_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_66-22_0_5_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_66-22_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_66-22_0_5_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_66-22_0_5_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_66-22_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_66-22_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_66-22_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_66-22_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_66-22_0_5_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_66-22_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_66-22_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_66-22_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_66-22_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_MV_469_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-22_0_5_load_0 | 0 | 0.03038 | 0.0076139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-22_0_5_load_82 | 6 | 0.0075739 | 0.0018982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-22_0_5_load_55 | 8 | 0.0034078 | 0.00085407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-22_0_5_load_27 | 12 | 0.0047474 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-22_0_5_load_41 | 13 | 0.0031925 | 0.00080011 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-22_0_5_load_64 | 16 | 0.0029271 | 0.00073361 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-22_0_5_load_61 | 17 | 0.0065793 | 0.0016489 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-22_0_5_load_58 | 21 | 0.0082381 | 0.0020647 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-22_0_5_load_47 | 24 | 0.015312 | 0.0038376 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-22_0_5_load_74 | 25 | 0.0067841 | 0.0017002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-22_0_5_load_72 | 27 | 0.0039773 | 0.0009968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-22_0_5_load_75 | 28 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-22_0_5_load_36 | 31 | 0.015277 | 0.0038288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-22_0_5_load_63 | 32 | 0.004683 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-22_0_5_load_59 | 33 | 0.044943 | 0.011264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-22_0_5_load_60 | 34 | 0.0032923 | 0.00082512 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-22_0_5_load_57 | 35 | 0.012637 | 0.0031671 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-22_0_5_load_68 | 39 | 0.014696 | 0.0036833 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-22_0_5_load_49 | 40 | 0.036736 | 0.0092068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-22_0_5_load_51 | 42 | 0.0071014 | 0.0017798 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-22_0_5_load_83 | 43 | 0.0095882 | 0.002403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-22_0_5_load_53 | 44 | 0.0033928 | 0.00085031 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-22_0_5_load_54 | 45 | 0.0033928 | 0.00085032 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-22_0_5_load_22 | 46 | 0.0019557 | 0.00049016 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_66-22_0_5_load_21 | 47 | 0.0065638 | 0.001645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_66-22_0_5_load_79 | 48 | 0.0027958 | 0.0007007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_66-22_0_5_load_37 | 49 | 0.0054781 | 0.0013729 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_66-22_0_5_load_33 | 50 | 0.0073894 | 0.001852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_66-22_0_5_load_48 | 51 | 0.031875 | 0.0079887 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_66-22_0_5_load_65 | 52 | 0.011806 | 0.0029588 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_66-22_0_5_load_66 | 53 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_66-22_0_5_load_30 | 55 | 0.017267 | 0.0043274 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_66-22_0_5_load_62 | 57 | 0.011265 | 0.0028232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_66-22_0_5_load_73 | 58 | 0.018613 | 0.004665 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_66-22_0_5_load_67 | 59 | 0.0081452 | 0.0020414 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_66-22_0_5_load_50 | 60 | 0.0049958 | 0.0012521 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_66-22_0_5_load_24 | 62 | 0.0065103 | 0.0016316 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_66-22_0_5_load_34 | 64 | 0.0095252 | 0.0023872 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_66-22_0_5_load_31 | 65 | 0.0023413 | 0.00058677 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_66-22_0_5_load_81 | 68 | 0.0076967 | 0.001929 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_66-22_0_5_load_56 | 69 | 0.0064782 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_66-22_0_5_load_32 | 70 | 0.0057167 | 0.0014327 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_66-22_0_5_load_42 | 71 | 0.0052596 | 0.0013182 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_66-22_0_5_load_43 | 72 | 0.0070831 | 0.0017752 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_66-22_0_5_load_46 | 73 | 0.0064548 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_66-22_0_5_load_80 | 74 | 0.0092625 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_66-22_0_5_load_45 | 76 | 0.0049933 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_66-22_0_5_load_69 | 77 | 0.0090847 | 0.0022768 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_66-22_0_5_load_70 | 78 | 0.011196 | 0.0028061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_66-22_0_5_load_77 | 79 | 0.0025904 | 0.00064922 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_66-22_0_5_load_78 | 80 | 0.0055215 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-22_0_5_line_0 |  | 0 | 1 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_66-22_0_5_line_1 |  | 0 | 2 | 0.0098503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_66-22_0_5_line_2 |  | 2 | 3 | 0.050609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_66-22_0_5_line_3 |  | 3 | 40 | 0.036617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-22_0_5_line_4 |  | 3 | 41 | 0.007604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_66-22_0_5_line_5 |  | 4 | 5 | 0.0085533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_66-22_0_5_line_6 |  | 4 | 6 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-22_0_5_line_7 |  | 5 | 13 | 0.018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-22_0_5_line_8 |  | 5 | 14 | 0.065625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_66-22_0_5_line_9 |  | 6 | 43 | 0.072476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-22_0_5_line_10 |  | 7 | 8 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-22_0_5_line_11 |  | 7 | 9 | 0.055169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_66-22_0_5_line_12 |  | 8 | 12 | 0.022546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_66-22_0_5_line_13 |  | 9 | 28 | 0.036718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_66-22_0_5_line_14 |  | 10 | 11 | 0.007162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_66-22_0_5_line_15 |  | 10 | 12 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_66-22_0_5_line_16 |  | 11 | 44 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_66-22_0_5_line_17 |  | 11 | 45 | 0.0046919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_66-22_0_5_line_18 |  | 13 | 48 | 0.0016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_66-22_0_5_line_19 |  | 14 | 49 | 0.023215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_66-22_0_5_line_20 |  | 14 | 50 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_66-22_0_5_line_21 |  | 15 | 16 | 0.03411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-22_0_5_line_22 |  | 15 | 17 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_66-22_0_5_line_23 |  | 16 | 26 | 0.031414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_66-22_0_5_line_24 |  | 17 | 33 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_66-22_0_5_line_25 |  | 18 | 19 | 0.026825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_66-22_0_5_line_26 |  | 18 | 20 | 0.038826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_66-22_0_5_line_27 |  | 18 | 21 | 0.0048911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_66-22_0_5_line_28 |  | 19 | 32 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_66-22_0_5_line_29 |  | 20 | 25 | 0.014956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_66-22_0_5_line_30 |  | 21 | 35 | 0.026626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_66-22_0_5_line_31 |  | 22 | 23 | 0.033835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_66-22_0_5_line_32 |  | 22 | 24 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-22_0_5_line_33 |  | 23 | 33 | 0.030801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_66-22_0_5_line_34 |  | 23 | 34 | 0.029032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_66-22_0_5_line_35 |  | 23 | 35 | 0.012178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_66-22_0_5_line_36 |  | 24 | 51 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-22_0_5_line_37 |  | 25 | 44 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_66-22_0_5_line_38 |  | 26 | 27 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-22_0_5_line_39 |  | 28 | 54 | 0.0045927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-22_0_5_line_40 |  | 29 | 30 | 0.016791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-22_0_5_line_41 |  | 29 | 31 | 0.035654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_66-22_0_5_line_42 |  | 30 | 55 | 0.026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_66-22_0_5_line_43 |  | 30 | 56 | 0.006711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_66-22_0_5_line_44 |  | 34 | 57 | 0.0026054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-22_0_5_line_45 |  | 36 | 37 | 0.005344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_66-22_0_5_line_46 |  | 36 | 38 | 0.055642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_66-22_0_5_line_47 |  | 36 | 39 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_66-22_0_5_line_48 |  | 37 | 58 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_66-22_0_5_line_49 |  | 38 | 40 | 0.032416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_66-22_0_5_line_50 |  | 39 | 59 | 0.029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_66-22_0_5_line_51 |  | 41 | 42 | 0.018266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_66-22_0_5_line_52 |  | 42 | 61 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_66-22_0_5_line_53 |  | 45 | 55 | 0.031352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_66-22_0_5_line_54 |  | 46 | 47 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_66-22_0_5_line_55 |  | 47 | 56 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_66-22_0_5_line_56 |  | 48 | 74 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_66-22_0_5_line_57 |  | 49 | 71 | 0.00044366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_66-22_0_5_line_58 |  | 50 | 70 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_66-22_0_5_line_59 |  | 52 | 53 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_66-22_0_5_line_60 |  | 53 | 57 | 0.0060678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_66-22_0_5_line_61 |  | 54 | 79 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_66-22_0_5_line_62 |  | 56 | 62 | 0.021299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_66-22_0_5_line_63 |  | 59 | 77 | 0.0013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_66-22_0_5_line_64 |  | 60 | 61 | 0.0090044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_66-22_0_5_line_65 |  | 61 | 76 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_66-22_0_5_line_66 |  | 62 | 63 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_66-22_0_5_line_67 |  | 63 | 64 | 0.056775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_66-22_0_5_line_68 |  | 63 | 65 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_66-22_0_5_line_69 |  | 65 | 70 | 0.0086861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_66-22_0_5_line_70 |  | 66 | 67 | 0.025892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_66-22_0_5_line_71 |  | 66 | 68 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_66-22_0_5_line_72 |  | 67 | 69 | 0.05735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_66-22_0_5_line_73 |  | 69 | 73 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_66-22_0_5_line_74 |  | 71 | 72 | 0.035454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_66-22_0_5_line_75 |  | 72 | 75 | 0.003541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_66-22_0_5_line_76 |  | 73 | 75 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_66-22_0_5_line_77 |  | 75 | 76 | 0.02319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_66-22_0_5_line_78 |  | 77 | 78 | 0.0015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_66-22_0_5_line_79 |  | 79 | 80 | 0.0047304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-22_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 81 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2685244.9913 | 1254453.5977 | 2685237.9684 | 1254462.9482
1 | 2685243.4487 | 1254471.1333 | 2685237.9684 | 1254462.9482
2 | 2685243.4487 | 1254471.1333 | 2685247.8716 | 1254478.8695 | 2685255.4129 | 1254473.8631 | 2685268.7729 | 1254473.9777 | 2685277.1683 | 1254476.2002 | 2685278.9798 | 1254477.1938 | 2685281.9427 | 1254485.1981
3 | 2685281.9427 | 1254485.1981 | 2685281.311 | 1254489.2476 | 2685284.0418 | 1254514.4061 | 2685285.3472 | 1254519.1062 | 2685286.6162 | 1254521.0656
4 | 2685288.4358 | 1254481.2107 | 2685281.9427 | 1254485.1981
5 | 2685346.2477 | 1254313.9717 | 2685344.4921 | 1254309.6208 | 2685347.9278 | 1254307.8579
6 | 2685347.9278 | 1254307.8579 | 2685350.8029 | 1254314.6267 | 2685354.7592 | 1254324.9026 | 2685354.7888 | 1254325.0706
7 | 2685346.2477 | 1254313.9717 | 2685329.7429 | 1254321.6739
8 | 2685344.3878 | 1254377.5599 | 2685349.6669 | 1254355.219 | 2685352.1181 | 1254345.8583 | 2685352.8081 | 1254336.2053 | 2685350.9132 | 1254325.2919 | 2685346.2477 | 1254313.9717
9 | 2685354.7888 | 1254325.0706 | 2685356.2238 | 1254333.2078 | 2685356.4851 | 1254340.2058 | 2685355.525 | 1254349.7548 | 2685353.3487 | 1254358.3633 | 2685352.6825 | 1254362.1788 | 2685352.7928 | 1254364.9937 | 2685354.4882 | 1254368.2873 | 2685357.9377 | 1254370.7945 | 2685362.5967 | 1254371.5733 | 2685381.7311 | 1254368.6877
10 | 2685238.4246 | 1254297.6623 | 2685233.0255 | 1254301.6432 | 2685227.5957 | 1254305.1344 | 2685224.7703 | 1254307.4845 | 2685221.3806 | 1254310.7715 | 2685220.3525 | 1254311.8459
11 | 2685238.4246 | 1254297.6623 | 2685243.9029 | 1254293.4268 | 2685248.9768 | 1254288.4516 | 2685255.8339 | 1254283.3019 | 2685284.1141 | 1254266.941
12 | 2685204.9121 | 1254328.2751 | 2685204.9683 | 1254328.2154 | 2685211.9483 | 1254320.8101 | 2685217.0143 | 1254315.3344 | 2685220.3525 | 1254311.8459
13 | 2685284.1141 | 1254266.941 | 2685301.7296 | 1254299.1576
14 | 2685196.3956 | 1254347.2065 | 2685192.2448 | 1254353.0513
15 | 2685196.3956 | 1254347.2065 | 2685198.6289 | 1254344.0585 | 2685198.0397 | 1254342.5377 | 2685197.6839 | 1254341.0426 | 2685197.4803 | 1254338.938 | 2685197.7921 | 1254336.6741 | 2685198.9996 | 1254334.5566 | 2685204.9121 | 1254328.2751
16 | 2685192.2448 | 1254353.0513 | 2685189.3875 | 1254351.8537 | 2685186.3597 | 1254352.0103 | 2685183.7715 | 1254353.6076 | 2685177.5288 | 1254360.2701
17 | 2685192.2448 | 1254353.0513 | 2685196.0735 | 1254355.7633
18 | 2685329.7429 | 1254321.6739 | 2685328.2827 | 1254322.3554
19 | 2685344.3878 | 1254377.5599 | 2685341.6588 | 1254388.3955 | 2685339.8089 | 1254400.2941
20 | 2685344.3878 | 1254377.5599 | 2685328.035 | 1254380.2607
21 | 2685108.243 | 1254480.9188 | 2685128.1672 | 1254508.6044
22 | 2685108.243 | 1254480.9188 | 2685130.0712 | 1254468.4787
23 | 2685146.5369 | 1254534.0874 | 2685139.3984 | 1254524.2106 | 2685128.1672 | 1254508.6044
24 | 2685130.0712 | 1254468.4787 | 2685140.24 | 1254462.6835
25 | 2685140.8139 | 1254412.1679 | 2685138.6113 | 1254409.512 | 2685135.8635 | 1254407.5154 | 2685132.9133 | 1254406.4833 | 2685130.1422 | 1254406.1099 | 2685127.1157 | 1254405.655 | 2685123.9851 | 1254404.5758 | 2685121.5426 | 1254403.3843 | 2685118.9597 | 1254402.5131 | 2685116.6701 | 1254402.2356
26 | 2685140.8139 | 1254412.1679 | 2685144.4916 | 1254409.3075 | 2685150.1223 | 1254404.9518 | 2685154.3187 | 1254401.6985 | 2685153.4549 | 1254398.2835 | 2685153.0237 | 1254395.2194 | 2685152.8942 | 1254392.1596 | 2685153.2948 | 1254389.4856 | 2685154.299 | 1254386.2865 | 2685155.475 | 1254384.2574 | 2685157.742 | 1254381.3878
27 | 2685140.8139 | 1254412.1679 | 2685143.7318 | 1254416.0932
28 | 2685121.6247 | 1254424.9574 | 2685116.6701 | 1254402.2356
29 | 2685157.742 | 1254381.3878 | 2685167.9683 | 1254370.4737
30 | 2685159.6166 | 1254437.4623 | 2685143.7318 | 1254416.0932
31 | 2685170.1241 | 1254423.787 | 2685164.9359 | 1254428.3269 | 2685175.2523 | 1254441.7633 | 2685166.8819 | 1254447.236
32 | 2685170.1241 | 1254423.787 | 2685181.5805 | 1254410.8873
33 | 2685166.8819 | 1254447.236 | 2685162.5953 | 1254449.9431 | 2685140.24 | 1254462.6835
34 | 2685166.8819 | 1254447.236 | 2685184.4038 | 1254470.3848
35 | 2685166.8819 | 1254447.236 | 2685159.6166 | 1254437.4623
36 | 2685192.5023 | 1254398.5896 | 2685181.5805 | 1254410.8873
37 | 2685167.9683 | 1254370.4737 | 2685177.5288 | 1254360.2701
38 | 2685146.5369 | 1254534.0874 | 2685160.6179 | 1254525.0459
39 | 2685303.9329 | 1254303.1873 | 2685301.7296 | 1254299.1576
40 | 2685240.5421 | 1254401.0603 | 2685245.2408 | 1254384.9379
41 | 2685240.5421 | 1254401.0603 | 2685241.8238 | 1254406.8832 | 2685245.1967 | 1254411.046 | 2685249.3998 | 1254413.6196 | 2685268.79 | 1254414.4044
42 | 2685245.2408 | 1254384.9379 | 2685237.5042 | 1254382.0133 | 2685229.3627 | 1254378.3934 | 2685221.7656 | 1254373.7155
43 | 2685245.2408 | 1254384.9379 | 2685247.1142 | 1254378.4933
44 | 2685184.4038 | 1254470.3848 | 2685185.9762 | 1254472.4622
45 | 2685328.2494 | 1254574.8665 | 2685333.6025 | 1254574.5879
46 | 2685310.4796 | 1254539.4392 | 2685302.5289 | 1254567.0902 | 2685314.4506 | 1254570.6646 | 2685328.2494 | 1254574.8665
47 | 2685328.2494 | 1254574.8665 | 2685334.3442 | 1254554.7287
48 | 2685333.6025 | 1254574.5879 | 2685338.2157 | 1254571.7299 | 2685341.657 | 1254565.9084 | 2685343.8599 | 1254560.158
49 | 2685310.4796 | 1254539.4392 | 2685298.4821 | 1254537.4538 | 2685291.6206 | 1254528.7928 | 2685286.6162 | 1254521.0656
50 | 2685342.8741 | 1254526.5449 | 2685334.3442 | 1254554.7287
51 | 2685288.4358 | 1254481.2107 | 2685294.9954 | 1254480.9828 | 2685302.1214 | 1254481.2411 | 2685306.5994 | 1254482.1618
52 | 2685325.7342 | 1254486.096 | 2685306.5994 | 1254482.1618
53 | 2685196.0735 | 1254355.7633 | 2685196.6513 | 1254356.1726 | 2685207.1491 | 1254363.8294 | 2685218.2496 | 1254371.5505 | 2685221.7656 | 1254373.7155
54 | 2685237.9 | 1254374.1243 | 2685225.8768 | 1254368.4234
55 | 2685247.1142 | 1254378.4933 | 2685237.9 | 1254374.1243
56 | 2685314.975 | 1254328.5656 | 2685328.2827 | 1254322.3554
57 | 2685339.7408 | 1254400.7325 | 2685339.8089 | 1254400.2941
58 | 2685305.6303 | 1254383.8844 | 2685306.8006 | 1254383.7677 | 2685328.035 | 1254380.2607
59 | 2685206.4098 | 1254499.4577 | 2685189.6384 | 1254477.3003
60 | 2685185.9762 | 1254472.4622 | 2685189.6384 | 1254477.3003
61 | 2685303.9329 | 1254303.1873 | 2685294.1639 | 1254309.0324
62 | 2685247.1142 | 1254378.4933 | 2685264.0797 | 1254382.3515 | 2685267.951 | 1254382.8229
63 | 2685342.8741 | 1254526.5449 | 2685343.2632 | 1254525.2592
64 | 2685325.7342 | 1254486.096 | 2685323.4542 | 1254494.807
65 | 2685325.7342 | 1254486.096 | 2685329.5373 | 1254467.7368 | 2685330.3558 | 1254462.2049
66 | 2685285.7457 | 1254384.6318 | 2685280.0316 | 1254384.2937 | 2685267.951 | 1254382.8229
67 | 2685285.7457 | 1254384.6318 | 2685286.9346 | 1254400.5611 | 2685287.4425 | 1254415.0572 | 2685288.0544 | 1254421.8045 | 2685289.4335 | 1254429.7748 | 2685289.409 | 1254441.2077
68 | 2685285.7457 | 1254384.6318 | 2685293.4573 | 1254385.0988 | 2685296.9871 | 1254384.7466
69 | 2685305.6303 | 1254383.8844 | 2685296.9871 | 1254384.7466
70 | 2685448.9221 | 1254452.7575 | 2685446.8538 | 1254458.0539 | 2685435.9796 | 1254457.1631 | 2685426.9503 | 1254454.9534
71 | 2685448.9221 | 1254452.7575 | 2685458.8845 | 1254429.7339
72 | 2685426.9503 | 1254454.9534 | 2685398.2942 | 1254449.2914 | 2685391.7005 | 1254448.2178 | 2685370.4926 | 1254444.9413
73 | 2685351.714 | 1254442.0401 | 2685370.4926 | 1254444.9413
74 | 2685334.2943 | 1254435.7658 | 2685339.7408 | 1254400.7325
75 | 2685333.7503 | 1254439.2647 | 2685334.2943 | 1254435.7658
76 | 2685333.7503 | 1254439.2647 | 2685351.714 | 1254442.0401
77 | 2685333.7503 | 1254439.2647 | 2685330.3558 | 1254462.2049
78 | 2685343.7131 | 1254523.7726 | 2685343.2632 | 1254525.2592
79 | 2685290.1046 | 1254311.4611 | 2685294.1639 | 1254309.0324

## bus_geodata
| x | y | coords
0 | 2685237.9684 | 1254462.9482
1 | 2685244.9913 | 1254453.5977
2 | 2685243.4487 | 1254471.1333
3 | 2685281.9427 | 1254485.1981
4 | 2685347.9278 | 1254307.8579
5 | 2685346.2477 | 1254313.9717
6 | 2685354.7888 | 1254325.0706
7 | 2685238.4246 | 1254297.6623
8 | 2685220.3525 | 1254311.8459
9 | 2685284.1141 | 1254266.941
10 | 2685196.3956 | 1254347.2065
11 | 2685192.2448 | 1254353.0513
12 | 2685204.9121 | 1254328.2751
13 | 2685329.7429 | 1254321.6739
14 | 2685344.3878 | 1254377.5599
15 | 2685108.243 | 1254480.9188
16 | 2685128.1672 | 1254508.6044
17 | 2685130.0712 | 1254468.4787
18 | 2685140.8139 | 1254412.1679
19 | 2685116.6701 | 1254402.2356
20 | 2685157.742 | 1254381.3878
21 | 2685143.7318 | 1254416.0932
22 | 2685170.1241 | 1254423.787
23 | 2685166.8819 | 1254447.236
24 | 2685181.5805 | 1254410.8873
25 | 2685167.9683 | 1254370.4737
26 | 2685146.5369 | 1254534.0874
27 | 2685160.6179 | 1254525.0459
28 | 2685301.7296 | 1254299.1576
29 | 2685240.5421 | 1254401.0603
30 | 2685245.2408 | 1254384.9379
31 | 2685268.79 | 1254414.4044
32 | 2685121.6247 | 1254424.9574
33 | 2685140.24 | 1254462.6835
34 | 2685184.4038 | 1254470.3848
35 | 2685159.6166 | 1254437.4623
36 | 2685328.2494 | 1254574.8665
37 | 2685333.6025 | 1254574.5879
38 | 2685310.4796 | 1254539.4392
39 | 2685334.3442 | 1254554.7287
40 | 2685286.6162 | 1254521.0656
41 | 2685288.4358 | 1254481.2107
42 | 2685306.5994 | 1254482.1618
43 | 2685381.7311 | 1254368.6877
44 | 2685177.5288 | 1254360.2701
45 | 2685196.0735 | 1254355.7633
46 | 2685225.8768 | 1254368.4234
47 | 2685237.9 | 1254374.1243
48 | 2685328.2827 | 1254322.3554
49 | 2685339.8089 | 1254400.2941
50 | 2685328.035 | 1254380.2607
51 | 2685192.5023 | 1254398.5896
52 | 2685206.4098 | 1254499.4577
53 | 2685189.6384 | 1254477.3003
54 | 2685303.9329 | 1254303.1873
55 | 2685221.7656 | 1254373.7155
56 | 2685247.1142 | 1254378.4933
57 | 2685185.9762 | 1254472.4622
58 | 2685343.8599 | 1254560.158
59 | 2685342.8741 | 1254526.5449
60 | 2685323.4542 | 1254494.807
61 | 2685325.7342 | 1254486.096
62 | 2685267.951 | 1254382.8229
63 | 2685285.7457 | 1254384.6318
64 | 2685289.409 | 1254441.2077
65 | 2685296.9871 | 1254384.7466
66 | 2685448.9221 | 1254452.7575
67 | 2685426.9503 | 1254454.9534
68 | 2685458.8845 | 1254429.7339
69 | 2685370.4926 | 1254444.9413
70 | 2685305.6303 | 1254383.8844
71 | 2685339.7408 | 1254400.7325
72 | 2685334.2943 | 1254435.7658
73 | 2685351.714 | 1254442.0401
74 | 2685314.975 | 1254328.5656
75 | 2685333.7503 | 1254439.2647
76 | 2685330.3558 | 1254462.2049
77 | 2685343.2632 | 1254525.2592
78 | 2685343.7131 | 1254523.7726
79 | 2685294.1639 | 1254309.0324
80 | 2685290.1046 | 1254311.4611
81 | 2685250.759 | 1254465.4008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1