## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-29_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-29_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_66-29_0_5_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_66-29_0_5_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_66-29_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_66-29_0_5_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_66-29_0_5_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_66-29_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_66-29_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_66-29_0_5_node_105 | 0.4 | n |  | TRUE
11 | bus_LV_66-29_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_66-29_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_66-29_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_66-29_0_5_node_107 | 0.4 | n |  | TRUE
15 | bus_LV_66-29_0_5_node_124 | 0.4 | n |  | TRUE
16 | bus_LV_66-29_0_5_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_66-29_0_5_node_125 | 0.4 | n |  | TRUE
18 | bus_LV_66-29_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_66-29_0_5_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_66-29_0_5_node_118 | 0.4 | n |  | TRUE
21 | bus_LV_66-29_0_5_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_66-29_0_5_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_66-29_0_5_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_66-29_0_5_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_66-29_0_5_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_66-29_0_5_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_66-29_0_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_66-29_0_5_node_119 | 0.4 | n |  | TRUE
29 | bus_LV_66-29_0_5_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_66-29_0_5_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_66-29_0_5_node_120 | 0.4 | n |  | TRUE
32 | bus_LV_66-29_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_66-29_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_66-29_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_66-29_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_66-29_0_5_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_66-29_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_66-29_0_5_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_66-29_0_5_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_66-29_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_66-29_0_5_node_12 | 0.4 | n |  | TRUE
42 | bus_LV_66-29_0_5_node_14 | 0.4 | n |  | TRUE
43 | bus_LV_66-29_0_5_node_13 | 0.4 | n |  | TRUE
44 | bus_LV_66-29_0_5_node_15 | 0.4 | n |  | TRUE
45 | bus_LV_66-29_0_5_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_66-29_0_5_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_66-29_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_66-29_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_66-29_0_5_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_66-29_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_66-29_0_5_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_66-29_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_66-29_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_66-29_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_66-29_0_5_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_66-29_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_66-29_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_66-29_0_5_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_66-29_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_66-29_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_66-29_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_66-29_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_66-29_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_66-29_0_5_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_66-29_0_5_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_66-29_0_5_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_66-29_0_5_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_66-29_0_5_node_121 | 0.4 | n |  | TRUE
69 | bus_LV_66-29_0_5_node_30 | 0.4 | n |  | TRUE
70 | bus_LV_66-29_0_5_node_31 | 0.4 | n |  | TRUE
71 | bus_LV_66-29_0_5_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_66-29_0_5_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_66-29_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_66-29_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_66-29_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_66-29_0_5_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_66-29_0_5_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_66-29_0_5_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_66-29_0_5_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_66-29_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_66-29_0_5_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_66-29_0_5_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_66-29_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_66-29_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_66-29_0_5_node_123 | 0.4 | n |  | TRUE
86 | bus_LV_66-29_0_5_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_66-29_0_5_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_66-29_0_5_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_66-29_0_5_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_66-29_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_66-29_0_5_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_66-29_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_66-29_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_66-29_0_5_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_66-29_0_5_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_66-29_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_66-29_0_5_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_66-29_0_5_node_110 | 0.4 | n |  | TRUE
99 | bus_LV_66-29_0_5_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_66-29_0_5_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_66-29_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_66-29_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_66-29_0_5_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_66-29_0_5_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_66-29_0_5_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_66-29_0_5_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_66-29_0_5_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_66-29_0_5_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_66-29_0_5_node_96 | 0.4 | n |  | TRUE
110 | bus_LV_66-29_0_5_node_126 | 0.4 | n |  | TRUE
111 | bus_LV_66-29_0_5_node_116 | 0.4 | n |  | TRUE
112 | bus_LV_66-29_0_5_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_66-29_0_5_node_115 | 0.4 | n |  | TRUE
114 | bus_LV_66-29_0_5_node_114 | 0.4 | n |  | TRUE
115 | bus_LV_66-29_0_5_node_111 | 0.4 | n |  | TRUE
116 | bus_LV_66-29_0_5_node_112 | 0.4 | n |  | TRUE
117 | bus_LV_66-29_0_5_node_113 | 0.4 | n |  | TRUE
118 | bus_MV_551_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-29_0_5_load_0 | 0 | 0.024333 | 0.0060984 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-29_0_5_load_68 | 4 | 0.0071193 | 0.0017843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-29_0_5_load_49 | 6 | 0.01068 | 0.0026767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-29_0_5_load_63 | 7 | 0.010842 | 0.0027173 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-29_0_5_load_105 | 10 | 0.0047245 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-29_0_5_load_107 | 14 | 0.0024093 | 0.00060383 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-29_0_5_load_124 | 15 | 0.0028543 | 0.00071535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-29_0_5_load_125 | 17 | 0.0038755 | 0.00097129 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-29_0_5_load_82 | 19 | 0.0058531 | 0.0014669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-29_0_5_load_118 | 20 | 0.003043 | 0.00076266 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-29_0_5_load_50 | 21 | 0.0041127 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-29_0_5_load_46 | 22 | 0.010677 | 0.0026758 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-29_0_5_load_67 | 23 | 0.0071207 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-29_0_5_load_47 | 24 | 0.0043041 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-29_0_5_load_64 | 25 | 0.010844 | 0.0027177 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-29_0_5_load_108 | 26 | 0.0027493 | 0.00068905 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-29_0_5_load_119 | 28 | 0.0026968 | 0.00067588 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-29_0_5_load_122 | 30 | 0.0049756 | 0.001247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-29_0_5_load_120 | 31 | 0.0016524 | 0.00041413 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-29_0_5_load_74 | 36 | 0.010879 | 0.0027266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-29_0_5_load_35 | 37 | 0.046402 | 0.011629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-29_0_5_load_55 | 38 | 0.0034569 | 0.00086638 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-29_0_5_load_80 | 39 | 0.0078026 | 0.0019555 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-29_0_5_load_76 | 40 | 0.0063951 | 0.0016028 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_66-29_0_5_load_12 | 41 | 0.059719 | 0.014967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_66-29_0_5_load_15 | 44 | 0.014031 | 0.0035166 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_66-29_0_5_load_25 | 47 | 0.0072136 | 0.0018079 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_66-29_0_5_load_40 | 48 | 0.0081039 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_66-29_0_5_load_86 | 49 | 0.0063535 | 0.0015923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_66-29_0_5_load_39 | 50 | 0.032629 | 0.0081776 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_66-29_0_5_load_44 | 53 | 0.0069993 | 0.0017542 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_66-29_0_5_load_75 | 55 | 0.0064644 | 0.0016201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_66-29_0_5_load_38 | 57 | 0.04639 | 0.011627 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_66-29_0_5_load_57 | 58 | 0.0011305 | 0.00028332 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_66-29_0_5_load_56 | 59 | 0.0011366 | 0.00028486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_66-29_0_5_load_71 | 60 | 0.0050533 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_66-29_0_5_load_72 | 61 | 0.0077411 | 0.0019401 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_66-29_0_5_load_81 | 62 | 0.0075964 | 0.0019038 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_66-29_0_5_load_42 | 63 | 0.007001 | 0.0017546 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_66-29_0_5_load_77 | 64 | 0.0049591 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_66-29_0_5_load_78 | 65 | 0.0048391 | 0.0012128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_66-29_0_5_load_83 | 66 | 0.0046498 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_66-29_0_5_load_84 | 67 | 0.0044391 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_66-29_0_5_load_121 | 68 | 0.002698 | 0.00067618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_66-29_0_5_load_30 | 69 | 0.018446 | 0.004623 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_66-29_0_5_load_31 | 70 | 0.0078582 | 0.0019695 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_66-29_0_5_load_36 | 72 | 0.016896 | 0.0042346 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_66-29_0_5_load_51 | 73 | 0.014018 | 0.0035132 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_66-29_0_5_load_52 | 74 | 0.0081023 | 0.0020306 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_66-29_0_5_load_60 | 75 | 0.0072146 | 0.0018081 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_66-29_0_5_load_43 | 76 | 0.007216 | 0.0018085 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_66-29_0_5_load_53 | 78 | 0.0068359 | 0.0017132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_66-29_0_5_load_59 | 82 | 0.013281 | 0.0033284 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_66-29_0_5_load_66 | 83 | 0.0035317 | 0.00088514 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_66-29_0_5_load_69 | 84 | 0.0038755 | 0.0009713 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_66-29_0_5_load_123 | 85 | 0.0043041 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_66-29_0_5_load_62 | 86 | 0.0043083 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_66-29_0_5_load_61 | 87 | 0.0068334 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_66-29_0_5_load_79 | 90 | 0.0051172 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_66-29_0_5_load_87 | 91 | 0.0018262 | 0.00045768 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_66-29_0_5_load_88 | 92 | 0.0031722 | 0.00079502 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_66-29_0_5_load_89 | 93 | 0.0013372 | 0.00033513 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_66-29_0_5_load_91 | 95 | 0.0030087 | 0.00075406 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_66-29_0_5_load_99 | 96 | 0.0009172 | 0.00022987 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_66-29_0_5_load_102 | 97 | 0.00094758 | 0.00023748 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_66-29_0_5_load_110 | 98 | 0.0014978 | 0.00037538 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_66-29_0_5_load_97 | 99 | 0.0020366 | 0.00051042 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_66-29_0_5_load_101 | 100 | 0.00094359 | 0.00023649 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_66-29_0_5_load_92 | 102 | 0.0020802 | 0.00052134 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_66-29_0_5_load_93 | 103 | 0.0020778 | 0.00052074 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_66-29_0_5_load_94 | 104 | 0.0020589 | 0.000516 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_66-29_0_5_load_95 | 105 | 0.0020598 | 0.00051622 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_66-29_0_5_load_106 | 107 | 0.0020287 | 0.00050844 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_66-29_0_5_load_98 | 108 | 0.00086591 | 0.00021702 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_66-29_0_5_load_96 | 109 | 0.000873 | 0.0002188 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_66-29_0_5_load_126 | 110 | 0.0020251 | 0.00050753 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_66-29_0_5_load_116 | 111 | 0.0023265 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_66-29_0_5_load_117 | 112 | 0.0017041 | 0.0004271 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_66-29_0_5_load_115 | 113 | 0.0020967 | 0.00052549 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_66-29_0_5_load_114 | 114 | 0.0023455 | 0.00058784 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_66-29_0_5_load_111 | 115 | 0.0016967 | 0.00042524 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_66-29_0_5_load_112 | 116 | 0.0015611 | 0.00039126 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_66-29_0_5_load_113 | 117 | 0.0020813 | 0.00052161 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-29_0_5_line_0 |  | 0 | 1 | 0.0051515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_66-29_0_5_line_1 |  | 1 | 2 | 0.025276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_66-29_0_5_line_2 |  | 2 | 3 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_66-29_0_5_line_3 |  | 2 | 4 | 0.0052366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-29_0_5_line_4 |  | 3 | 21 | 0.017291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_66-29_0_5_line_5 |  | 3 | 22 | 0.0040358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_66-29_0_5_line_6 |  | 4 | 23 | 0.024072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-29_0_5_line_7 |  | 5 | 6 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-29_0_5_line_8 |  | 5 | 7 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_66-29_0_5_line_9 |  | 6 | 24 | 0.00069651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-29_0_5_line_10 |  | 7 | 25 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-29_0_5_line_11 |  | 8 | 9 | 0.028332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_66-29_0_5_line_12 |  | 8 | 10 | 0.023636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_66-29_0_5_line_13 |  | 9 | 16 | 0.009932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_66-29_0_5_line_14 |  | 9 | 17 | 0.006813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_66-29_0_5_line_15 |  | 11 | 12 | 0.0337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_66-29_0_5_line_16 |  | 11 | 13 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_66-29_0_5_line_17 |  | 11 | 14 | 0.003301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_66-29_0_5_line_18 |  | 12 | 15 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_66-29_0_5_line_19 |  | 13 | 20 | 0.022901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_66-29_0_5_line_20 |  | 13 | 18 | 0.006807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_66-29_0_5_line_21 |  | 14 | 26 | 0.010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-29_0_5_line_22 |  | 15 | 17 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_66-29_0_5_line_23 |  | 16 | 25 | 0.017694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_66-29_0_5_line_24 |  | 18 | 19 | 0.042519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_66-29_0_5_line_25 |  | 19 | 40 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_66-29_0_5_line_26 |  | 20 | 27 | 0.0088457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_66-29_0_5_line_27 |  | 21 | 81 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_66-29_0_5_line_28 |  | 22 | 24 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_66-29_0_5_line_29 |  | 25 | 83 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_66-29_0_5_line_30 |  | 26 | 101 | 0.05029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_66-29_0_5_line_31 |  | 27 | 28 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_66-29_0_5_line_32 |  | 28 | 68 | 0.0018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-29_0_5_line_33 |  | 29 | 30 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_66-29_0_5_line_34 |  | 29 | 31 | 0.0033497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_66-29_0_5_line_35 |  | 31 | 68 | 0.027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_66-29_0_5_line_36 |  | 32 | 33 | 0.057215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-29_0_5_line_37 |  | 32 | 34 | 0.03263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_66-29_0_5_line_38 |  | 32 | 35 | 0.06079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-29_0_5_line_39 |  | 32 | 36 | 0.024004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-29_0_5_line_40 |  | 33 | 39 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-29_0_5_line_41 |  | 34 | 37 | 0.034249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_66-29_0_5_line_42 |  | 35 | 38 | 0.038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_66-29_0_5_line_43 |  | 36 | 55 | 0.021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_66-29_0_5_line_44 |  | 38 | 59 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-29_0_5_line_45 |  | 39 | 62 | 0.020896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_66-29_0_5_line_46 |  | 40 | 55 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_66-29_0_5_line_47 |  | 41 | 42 | 0.08702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_66-29_0_5_line_48 |  | 42 | 47 | 0.027804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_66-29_0_5_line_49 |  | 43 | 44 | 0.029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_66-29_0_5_line_50 |  | 43 | 45 | 0.046853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_66-29_0_5_line_51 |  | 43 | 46 | 0.07387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_66-29_0_5_line_52 |  | 44 | 48 | 0.065517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_66-29_0_5_line_53 |  | 45 | 49 | 0.015216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_66-29_0_5_line_54 |  | 46 | 50 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_66-29_0_5_line_55 |  | 47 | 53 | 0.029241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_66-29_0_5_line_56 |  | 48 | 54 | 0.054752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_66-29_0_5_line_57 |  | 50 | 51 | 0.044669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_66-29_0_5_line_58 |  | 51 | 52 | 0.007335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_66-29_0_5_line_59 |  | 52 | 56 | 0.035222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_66-29_0_5_line_60 |  | 53 | 63 | 0.023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_66-29_0_5_line_61 |  | 54 | 73 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_66-29_0_5_line_62 |  | 54 | 74 | 0.060316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_66-29_0_5_line_63 |  | 56 | 57 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_66-29_0_5_line_64 |  | 57 | 71 | 0.036527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_66-29_0_5_line_65 |  | 58 | 59 | 0.015916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_66-29_0_5_line_66 |  | 60 | 61 | 0.019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_66-29_0_5_line_67 |  | 61 | 88 | 0.0029155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_66-29_0_5_line_68 |  | 62 | 88 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_66-29_0_5_line_69 |  | 63 | 76 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_66-29_0_5_line_70 |  | 64 | 65 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_66-29_0_5_line_71 |  | 65 | 90 | 0.022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_66-29_0_5_line_72 |  | 66 | 67 | 0.021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_66-29_0_5_line_73 |  | 67 | 89 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_66-29_0_5_line_74 |  | 69 | 70 | 0.042264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_66-29_0_5_line_75 |  | 70 | 71 | 0.054034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_66-29_0_5_line_76 |  | 71 | 72 | 0.051883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_66-29_0_5_line_77 |  | 73 | 75 | 0.036167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_66-29_0_5_line_78 |  | 75 | 78 | 0.0069296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_66-29_0_5_line_79 |  | 76 | 77 | 0.0036736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_66-29_0_5_line_80 |  | 77 | 78 | 0.023848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_66-29_0_5_line_81 |  | 77 | 79 | 0.03767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_66-29_0_5_line_82 |  | 79 | 80 | 0.009028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_66-29_0_5_line_83 |  | 80 | 83 | 0.003382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_66-29_0_5_line_84 |  | 80 | 84 | 0.031755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_66-29_0_5_line_85 |  | 81 | 82 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_66-29_0_5_line_86 |  | 82 | 87 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_66-29_0_5_line_87 |  | 85 | 86 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_66-29_0_5_line_88 |  | 86 | 87 | 0.0024841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_66-29_0_5_line_89 |  | 88 | 89 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_66-29_0_5_line_90 |  | 89 | 90 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_66-29_0_5_line_91 |  | 91 | 92 | 0.025012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_66-29_0_5_line_92 |  | 91 | 93 | 0.0033655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_66-29_0_5_line_93 |  | 92 | 94 | 0.034085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_66-29_0_5_line_94 |  | 93 | 95 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_66-29_0_5_line_95 |  | 94 | 96 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_66-29_0_5_line_96 |  | 94 | 97 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_66-29_0_5_line_97 |  | 95 | 98 | 0.0043812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_66-29_0_5_line_98 |  | 96 | 99 | 7.9511e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_66-29_0_5_line_99 |  | 97 | 100 | 0.0047832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_66-29_0_5_line_100 |  | 98 | 101 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_66-29_0_5_line_101 |  | 99 | 109 | 0.00018798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_66-29_0_5_line_102 |  | 101 | 113 | 0.010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_66-29_0_5_line_103 |  | 101 | 112 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_66-29_0_5_line_104 |  | 102 | 103 | 0.0049511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_66-29_0_5_line_105 |  | 102 | 104 | 0.0083327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_66-29_0_5_line_106 |  | 104 | 105 | 0.0049122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_66-29_0_5_line_107 |  | 105 | 106 | 0.0057839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_66-29_0_5_line_108 |  | 106 | 107 | 0.0029509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_66-29_0_5_line_109 |  | 106 | 108 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_66-29_0_5_line_110 |  | 107 | 110 | 0.0037244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_66-29_0_5_line_111 |  | 108 | 109 | 2.3823e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_66-29_0_5_line_112 |  | 111 | 112 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_66-29_0_5_line_113 |  | 113 | 114 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_66-29_0_5_line_114 |  | 114 | 116 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_66-29_0_5_line_115 |  | 115 | 116 | 0.0071057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_66-29_0_5_line_116 |  | 115 | 117 | 0.024262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-29_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 118 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2685969.0515 | 1253199.3295 | 2685973.5639 | 1253201.8147
1 | 2685946.8228 | 1253187.1756 | 2685969.0515 | 1253199.3295
2 | 2685946.8228 | 1253187.1756 | 2685940.4263 | 1253195.8227
3 | 2685946.8228 | 1253187.1756 | 2685949.9406 | 1253182.9682
4 | 2685940.4263 | 1253195.8227 | 2685936.1038 | 1253193.1135 | 2685931.3701 | 1253190.1426 | 2685929.0593 | 1253188.6969 | 2685925.9247 | 1253190.9754
5 | 2685940.4263 | 1253195.8227 | 2685938.3388 | 1253199.2767
6 | 2685964.272 | 1253163.6277 | 2685949.9406 | 1253182.9682
7 | 2685919.3875 | 1253230.6329 | 2685926.1764 | 1253219.4002
8 | 2685919.3875 | 1253230.6329 | 2685912.3897 | 1253242.5756
9 | 2685926.1764 | 1253219.4002 | 2685926.5367 | 1253218.8041
10 | 2685900.4064 | 1253263.0267 | 2685912.3897 | 1253242.5756
11 | 2685886.604 | 1253286.9781 | 2685897.0211 | 1253293.5119 | 2685905.035 | 1253298.7209 | 2685910.5859 | 1253302.0595
12 | 2685910.5859 | 1253302.0595 | 2685921.0108 | 1253287.255 | 2685924.5215 | 1253282.9829
13 | 2685891.5436 | 1253278.3543 | 2685886.604 | 1253286.9781
14 | 2685886.604 | 1253286.9781 | 2685883.6804 | 1253293.1319
15 | 2685881.1249 | 1253323.4263 | 2685887.8249 | 1253327.1374 | 2685893.7904 | 1253330.5042 | 2685908.6384 | 1253342.6621
16 | 2685881.0401 | 1253355.8053 | 2685883.0136 | 1253351.8864 | 2685908.6384 | 1253342.6621
17 | 2685908.6384 | 1253342.6621 | 2685911.1161 | 1253344.8432
18 | 2685881.1249 | 1253323.4263 | 2685877.6148 | 1253317.7823 | 2685876.8663 | 1253307.4747 | 2685876.9648 | 1253307.2676
19 | 2685881.0401 | 1253355.8053 | 2685875.9574 | 1253366.4953 | 2685871.1372 | 1253376.4543
20 | 2685874.6532 | 1253353.3997 | 2685881.0401 | 1253355.8053
21 | 2685911.1161 | 1253344.8432 | 2685913.5187 | 1253346.9583 | 2685918.3792 | 1253352.9183
22 | 2685876.9648 | 1253307.2676 | 2685883.6804 | 1253293.1319
23 | 2685891.5436 | 1253278.3543 | 2685900.4064 | 1253263.0267
24 | 2685874.6532 | 1253353.3997 | 2685869.6625 | 1253351.5037 | 2685864.6264 | 1253360.0261 | 2685855.9092 | 1253355.4407 | 2685851.9179 | 1253356.9618 | 2685846.588 | 1253357.6407 | 2685842.0921 | 1253351.2818
25 | 2685842.0921 | 1253351.2818 | 2685836.7269 | 1253352.8386 | 2685822.1833 | 1253344.0165
26 | 2685867.2835 | 1253384.4165 | 2685871.1372 | 1253376.4543
27 | 2685912.4611 | 1253182.1957 | 2685924.6091 | 1253190.1112 | 2685925.9247 | 1253190.9754
28 | 2685938.3388 | 1253199.2767 | 2685926.5367 | 1253218.8041
29 | 2685900.4064 | 1253263.0267 | 2685888.7795 | 1253255.0965
30 | 2685946.5132 | 1253394.5953 | 2685919.3092 | 1253354.0588 | 2685918.3792 | 1253352.9183
31 | 2685867.2835 | 1253384.4165 | 2685859.9865 | 1253397.7354
32 | 2685859.1113 | 1253399.3328 | 2685859.9865 | 1253397.7354
33 | 2685844.1228 | 1253426.6907 | 2685833.2945 | 1253446.4603
34 | 2685844.1228 | 1253426.6907 | 2685845.7322 | 1253423.7531
35 | 2685845.7322 | 1253423.7531 | 2685859.1113 | 1253399.3328
36 | 2685763.7453 | 1253312.4066 | 2685759.2579 | 1253332.0232 | 2685763.8475 | 1253331.4002 | 2685781.9501 | 1253331.9627 | 2685795.2985 | 1253337.2267
37 | 2685741.7767 | 1253298.4558 | 2685752.6967 | 1253301.5384 | 2685759.453 | 1253303.4487 | 2685757.7892 | 1253311.5197 | 2685763.7453 | 1253312.4066
38 | 2685739.4222 | 1253355.7763 | 2685746.6944 | 1253357.494 | 2685752.2071 | 1253335.3347 | 2685752.8163 | 1253332.875 | 2685753.8162 | 1253328.4417 | 2685755.071 | 1253323.0891 | 2685757.7892 | 1253311.5197 | 2685763.7453 | 1253312.4066
39 | 2685763.7453 | 1253312.4066 | 2685784.9536 | 1253323.6504
40 | 2685795.2985 | 1253337.2267 | 2685790.6224 | 1253350.7907
41 | 2685741.7767 | 1253298.4558 | 2685738.0469 | 1253306.9305 | 2685733.6581 | 1253310.8811 | 2685715.0936 | 1253306.4558
42 | 2685739.4222 | 1253355.7763 | 2685739.278 | 1253360.5223 | 2685731.915 | 1253393.4009
43 | 2685784.9536 | 1253323.6504 | 2685796.4782 | 1253329.7603 | 2685804.7607 | 1253327.9011 | 2685804.7607 | 1253327.9011
44 | 2685731.915 | 1253393.4009 | 2685726.1926 | 1253418.9534
45 | 2685790.6224 | 1253350.7907 | 2685783.8119 | 1253370.5462
46 | 2685804.7607 | 1253327.9011 | 2685806.4912 | 1253334.4978 | 2685822.1833 | 1253344.0165
47 | 2685780.6361 | 1253268.4955 | 2685782.2192 | 1253263.915 | 2685784.4955 | 1253257.3318 | 2685791.6188 | 1253238.6097 | 2685806.4612 | 1253204.8434 | 2685814.9257 | 1253188.6277
48 | 2685780.6361 | 1253268.4955 | 2685805.8293 | 1253280.2581
49 | 2685865.9121 | 1253113.7245 | 2685889.4623 | 1253131.6879
50 | 2685865.9121 | 1253113.7245 | 2685862.1136 | 1253110.2668 | 2685890.7547 | 1253079.9367
51 | 2685817.3627 | 1253148.3029 | 2685822.8855 | 1253151.5075 | 2685828.558 | 1253154.7922 | 2685844.565 | 1253131.8178 | 2685862.1136 | 1253110.2668 | 2685865.9121 | 1253113.7245
52 | 2685920.9195 | 1253127.4339 | 2685928.1944 | 1253117.2634 | 2685920.2157 | 1253111.1653 | 2685899.3488 | 1253132.5568 | 2685895.6182 | 1253136.3834 | 2685889.4623 | 1253131.6879
53 | 2685890.7547 | 1253079.9367 | 2685902.7765 | 1253089.2643
54 | 2685817.3627 | 1253148.3029 | 2685810.7146 | 1253158.909
55 | 2685805.8293 | 1253280.2581 | 2685823.4279 | 1253288.4749 | 2685827.923 | 1253279.7451
56 | 2685889.3189 | 1253172.1414 | 2685894.5414 | 1253164.3112 | 2685920.9195 | 1253127.4339
57 | 2685788.7244 | 1253197.759 | 2685801.8354 | 1253173.0746 | 2685810.7146 | 1253158.909
58 | 2685781.9671 | 1253194.8589 | 2685788.7244 | 1253197.759
59 | 2685781.9671 | 1253194.8589 | 2685768.9133 | 1253227.5837
60 | 2685827.923 | 1253279.7451 | 2685838.4616 | 1253259.2782
61 | 2685889.3189 | 1253172.1414 | 2685881.6676 | 1253184.8871
62 | 2685889.3189 | 1253172.1414 | 2685894.0525 | 1253175.1234 | 2685906.8342 | 1253161.2093 | 2685898.5718 | 1253177.2683 | 2685910.8847 | 1253164.4594
63 | 2685768.9133 | 1253227.5837 | 2685746.3731 | 1253227.0237 | 2685744.3484 | 1253226.9716
64 | 2685707.8334 | 1253226.0319 | 2685744.3484 | 1253226.9716
65 | 2685726.1926 | 1253418.9534 | 2685722.7144 | 1253434.4848
66 | 2685771.7935 | 1253408.7902 | 2685773.2345 | 1253401.2225 | 2685777.0653 | 1253390.1151
67 | 2685778.0158 | 1253387.3589 | 2685777.0653 | 1253390.1151
68 | 2685778.0158 | 1253387.3589 | 2685783.8119 | 1253370.5462
69 | 2685845.5301 | 1253245.5505 | 2685838.4616 | 1253259.2782
70 | 2685778.4901 | 1253443.7033 | 2685780.055 | 1253433.5902 | 2685786.0798 | 1253424.0035 | 2685786.0798 | 1253424.0035
71 | 2685786.0798 | 1253424.0035 | 2685786.0854 | 1253418.9331 | 2685787.7105 | 1253413.0188 | 2685794.2039 | 1253403.9059
72 | 2685814.1098 | 1253365.4074 | 2685814.1022 | 1253365.4315 | 2685807.102 | 1253372.5355 | 2685803.9914 | 1253384.0993
73 | 2685796.4767 | 1253393.909 | 2685798.0799 | 1253390.5519 | 2685803.9914 | 1253384.0993
74 | 2685734.4863 | 1253175.8536 | 2685720.7518 | 1253176.0587 | 2685719.0076 | 1253182.3827 | 2685697.0399 | 1253182.3983
75 | 2685707.8334 | 1253226.0319 | 2685707.5497 | 1253215.3975 | 2685701.7236 | 1253215.4244 | 2685701.6578 | 1253197.0317 | 2685696.8323 | 1253196.7395 | 2685697.0399 | 1253182.3983 | 2685697.0399 | 1253182.3983
76 | 2685707.8334 | 1253226.0319 | 2685708.3219 | 1253252.7593 | 2685683.1708 | 1253252.7177
77 | 2685863.0528 | 1253215.8961 | 2685881.6676 | 1253184.8871
78 | 2685863.0528 | 1253215.8961 | 2685859.4862 | 1253221.8374
79 | 2685847.2118 | 1253242.2844 | 2685845.5301 | 1253245.5505
80 | 2685847.2118 | 1253242.2844 | 2685859.4862 | 1253221.8374
81 | 2685879.0457 | 1253253.9991 | 2685868.8037 | 1253248.3908 | 2685866.6519 | 1253252.1069 | 2685847.2118 | 1253242.2844
82 | 2685887.1368 | 1253258.0528 | 2685879.0457 | 1253253.9991
83 | 2685887.1368 | 1253258.0528 | 2685888.7795 | 1253255.0965
84 | 2685887.1368 | 1253258.0528 | 2685884.3366 | 1253265.3733 | 2685885.793 | 1253265.8948 | 2685890.6716 | 1253258.3598 | 2685891.3285 | 1253259.3701 | 2685886.9001 | 1253270.7256
85 | 2685912.4611 | 1253182.1957 | 2685906.4802 | 1253195.0474
86 | 2685906.4802 | 1253195.0474 | 2685896.8391 | 1253215.7643
87 | 2685889.9946 | 1253230.4719 | 2685895.791 | 1253218.0165
88 | 2685895.791 | 1253218.0165 | 2685896.8391 | 1253215.7643
89 | 2685778.0158 | 1253387.3589 | 2685786.0067 | 1253387.9084 | 2685796.4767 | 1253393.909
90 | 2685796.4767 | 1253393.909 | 2685794.6946 | 1253397.6416 | 2685794.2039 | 1253403.9059
91 | 2685971.7317 | 1253356.1955 | 2685979.6924 | 1253344.2607 | 2685986.0045 | 1253335.6629
92 | 2685971.7317 | 1253356.1955 | 2685969.8641 | 1253358.9953
93 | 2686006.5929 | 1253308.524 | 2686002.6724 | 1253312.9593 | 2685986.0045 | 1253335.6629
94 | 2685959.7357 | 1253374.18 | 2685969.8641 | 1253358.9953
95 | 2686006.5929 | 1253308.524 | 2685994.7829 | 1253298.5866
96 | 2686006.5929 | 1253308.524 | 2686016.9935 | 1253296.7596
97 | 2685959.7357 | 1253374.18 | 2685957.3045 | 1253377.8248
98 | 2685994.7221 | 1253298.5354 | 2685994.7829 | 1253298.5866
99 | 2686020.1617 | 1253293.1761 | 2686016.9935 | 1253296.7596
100 | 2685946.5132 | 1253394.5953 | 2685954.1511 | 1253382.5525 | 2685957.3045 | 1253377.8248
101 | 2685994.5782 | 1253298.4144 | 2685994.7221 | 1253298.5354
102 | 2685946.5132 | 1253394.5953 | 2685940.4336 | 1253403.563
103 | 2685946.5132 | 1253394.5953 | 2685959.147 | 1253412.8387
104 | 2685990.9949 | 1253270.531 | 2685994.2104 | 1253266.7662
105 | 2685990.9949 | 1253270.531 | 2685985.583 | 1253276.8671
106 | 2685982.3927 | 1253280.6023 | 2685985.583 | 1253276.8671
107 | 2685978.6363 | 1253285.0003 | 2685982.3927 | 1253280.6023
108 | 2685978.6363 | 1253285.0003 | 2685976.7189 | 1253287.2435
109 | 2685978.6363 | 1253285.0003 | 2685994.56 | 1253298.3991
110 | 2685974.299 | 1253290.0746 | 2685976.7189 | 1253287.2435
111 | 2685994.56 | 1253298.3991 | 2685994.5782 | 1253298.4144
112 | 2685971.9737 | 1253431.3606 | 2685959.147 | 1253412.8387
113 | 2685927.6634 | 1253422.3998 | 2685940.4336 | 1253403.563
114 | 2685917.1961 | 1253437.1993 | 2685921.7372 | 1253431.1414 | 2685927.6634 | 1253422.3998
115 | 2685912.9341 | 1253442.8849 | 2685917.1961 | 1253437.1993
116 | 2685912.9341 | 1253442.8849 | 2685908.1401 | 1253449.2803 | 2685897.3274 | 1253461.4363

## bus_geodata
| x | y | coords
0 | 2685973.5639 | 1253201.8147
1 | 2685969.0515 | 1253199.3295
2 | 2685946.8228 | 1253187.1756
3 | 2685940.4263 | 1253195.8227
4 | 2685949.9406 | 1253182.9682
5 | 2685919.3875 | 1253230.6329
6 | 2685926.1764 | 1253219.4002
7 | 2685912.3897 | 1253242.5756
8 | 2685910.5859 | 1253302.0595
9 | 2685886.604 | 1253286.9781
10 | 2685924.5215 | 1253282.9829
11 | 2685908.6384 | 1253342.6621
12 | 2685881.1249 | 1253323.4263
13 | 2685881.0401 | 1253355.8053
14 | 2685911.1161 | 1253344.8432
15 | 2685876.9648 | 1253307.2676
16 | 2685891.5436 | 1253278.3543
17 | 2685883.6804 | 1253293.1319
18 | 2685874.6532 | 1253353.3997
19 | 2685842.0921 | 1253351.2818
20 | 2685871.1372 | 1253376.4543
21 | 2685925.9247 | 1253190.9754
22 | 2685938.3388 | 1253199.2767
23 | 2685964.272 | 1253163.6277
24 | 2685926.5367 | 1253218.8041
25 | 2685900.4064 | 1253263.0267
26 | 2685918.3792 | 1253352.9183
27 | 2685867.2835 | 1253384.4165
28 | 2685859.9865 | 1253397.7354
29 | 2685844.1228 | 1253426.6907
30 | 2685833.2945 | 1253446.4603
31 | 2685845.7322 | 1253423.7531
32 | 2685763.7453 | 1253312.4066
33 | 2685795.2985 | 1253337.2267
34 | 2685741.7767 | 1253298.4558
35 | 2685739.4222 | 1253355.7763
36 | 2685784.9536 | 1253323.6504
37 | 2685715.0936 | 1253306.4558
38 | 2685731.915 | 1253393.4009
39 | 2685790.6224 | 1253350.7907
40 | 2685822.1833 | 1253344.0165
41 | 2685814.9257 | 1253188.6277
42 | 2685780.6361 | 1253268.4955
43 | 2685865.9121 | 1253113.7245
44 | 2685889.4623 | 1253131.6879
45 | 2685890.7547 | 1253079.9367
46 | 2685817.3627 | 1253148.3029
47 | 2685805.8293 | 1253280.2581
48 | 2685920.9195 | 1253127.4339
49 | 2685902.7765 | 1253089.2643
50 | 2685810.7146 | 1253158.909
51 | 2685788.7244 | 1253197.759
52 | 2685781.9671 | 1253194.8589
53 | 2685827.923 | 1253279.7451
54 | 2685889.3189 | 1253172.1414
55 | 2685804.7607 | 1253327.9011
56 | 2685768.9133 | 1253227.5837
57 | 2685744.3484 | 1253226.9716
58 | 2685722.7144 | 1253434.4848
59 | 2685726.1926 | 1253418.9534
60 | 2685771.7935 | 1253408.7902
61 | 2685777.0653 | 1253390.1151
62 | 2685783.8119 | 1253370.5462
63 | 2685838.4616 | 1253259.2782
64 | 2685778.4901 | 1253443.7033
65 | 2685786.0798 | 1253424.0035
66 | 2685814.1098 | 1253365.4074
67 | 2685803.9914 | 1253384.0993
68 | 2685859.1113 | 1253399.3328
69 | 2685734.4863 | 1253175.8536
70 | 2685697.0399 | 1253182.3983
71 | 2685707.8334 | 1253226.0319
72 | 2685683.1708 | 1253252.7177
73 | 2685881.6676 | 1253184.8871
74 | 2685910.8847 | 1253164.4594
75 | 2685863.0528 | 1253215.8961
76 | 2685845.5301 | 1253245.5505
77 | 2685847.2118 | 1253242.2844
78 | 2685859.4862 | 1253221.8374
79 | 2685879.0457 | 1253253.9991
80 | 2685887.1368 | 1253258.0528
81 | 2685912.4611 | 1253182.1957
82 | 2685906.4802 | 1253195.0474
83 | 2685888.7795 | 1253255.0965
84 | 2685886.9001 | 1253270.7256
85 | 2685889.9946 | 1253230.4719
86 | 2685895.791 | 1253218.0165
87 | 2685896.8391 | 1253215.7643
88 | 2685778.0158 | 1253387.3589
89 | 2685796.4767 | 1253393.909
90 | 2685794.2039 | 1253403.9059
91 | 2685971.7317 | 1253356.1955
92 | 2685986.0045 | 1253335.6629
93 | 2685969.8641 | 1253358.9953
94 | 2686006.5929 | 1253308.524
95 | 2685959.7357 | 1253374.18
96 | 2685994.7829 | 1253298.5866
97 | 2686016.9935 | 1253296.7596
98 | 2685957.3045 | 1253377.8248
99 | 2685994.7221 | 1253298.5354
100 | 2686020.1617 | 1253293.1761
101 | 2685946.5132 | 1253394.5953
102 | 2685990.9949 | 1253270.531
103 | 2685994.2104 | 1253266.7662
104 | 2685985.583 | 1253276.8671
105 | 2685982.3927 | 1253280.6023
106 | 2685978.6363 | 1253285.0003
107 | 2685976.7189 | 1253287.2435
108 | 2685994.56 | 1253298.3991
109 | 2685994.5782 | 1253298.4144
110 | 2685974.299 | 1253290.0746
111 | 2685971.9737 | 1253431.3606
112 | 2685959.147 | 1253412.8387
113 | 2685940.4336 | 1253403.563
114 | 2685927.6634 | 1253422.3998
115 | 2685912.9341 | 1253442.8849
116 | 2685917.1961 | 1253437.1993
117 | 2685897.3274 | 1253461.4363
118 | 2685847.2118 | 1253242.2844

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1