## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-2_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-2_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-2_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_66-2_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_66-2_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_66-2_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_66-2_0_8_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_66-2_0_8_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_66-2_0_8_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_66-2_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_66-2_0_8_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_66-2_0_8_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_66-2_0_8_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_66-2_0_8_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_66-2_0_8_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_66-2_0_8_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_66-2_0_8_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_66-2_0_8_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_66-2_0_8_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_66-2_0_8_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_66-2_0_8_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_66-2_0_8_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_66-2_0_8_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_66-2_0_8_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_66-2_0_8_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_66-2_0_8_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_66-2_0_8_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_66-2_0_8_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_66-2_0_8_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_66-2_0_8_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_66-2_0_8_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_66-2_0_8_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_66-2_0_8_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_66-2_0_8_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_66-2_0_8_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_66-2_0_8_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_66-2_0_8_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_66-2_0_8_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_66-2_0_8_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_66-2_0_8_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_66-2_0_8_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_66-2_0_8_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_66-2_0_8_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_66-2_0_8_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_66-2_0_8_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_66-2_0_8_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_66-2_0_8_node_49 | 0.4 | n |  | TRUE
47 | bus_MV_639_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-2_0_8_load_0 | 0 | 0.016641 | 0.0041707 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-2_0_8_load_44 | 6 | 0.024543 | 0.006151 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-2_0_8_load_50 | 7 | 0.0022768 | 0.00057062 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-2_0_8_load_51 | 8 | 0.026218 | 0.0065708 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-2_0_8_load_46 | 13 | 0.016646 | 0.0041719 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-2_0_8_load_26 | 14 | 0.009672 | 0.002424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-2_0_8_load_34 | 16 | 0.0019659 | 0.0004927 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-2_0_8_load_33 | 18 | 0.031353 | 0.0078578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-2_0_8_load_40 | 20 | 0.037773 | 0.0094669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-2_0_8_load_39 | 22 | 0.0055898 | 0.0014009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-2_0_8_load_32 | 24 | 0.010598 | 0.0026561 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-2_0_8_load_30 | 25 | 0.064677 | 0.016209 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-2_0_8_load_52 | 28 | 0.016048 | 0.0040219 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-2_0_8_load_28 | 32 | 0.082453 | 0.020665 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-2_0_8_load_29 | 34 | 0.096623 | 0.024216 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-2_0_8_load_38 | 35 | 0.0077876 | 0.0019518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-2_0_8_load_45 | 36 | 0.0065477 | 0.001641 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-2_0_8_load_37 | 37 | 0.024882 | 0.006236 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-2_0_8_load_27 | 39 | 0.017877 | 0.0044805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-2_0_8_load_36 | 41 | 0.0052834 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-2_0_8_load_48 | 42 | 0.01272 | 0.0031879 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-2_0_8_load_35 | 44 | 0.0075737 | 0.0018982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-2_0_8_load_41 | 45 | 0.066907 | 0.016768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-2_0_8_load_49 | 46 | 0.010568 | 0.0026485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-2_0_8_line_0 |  | 0 | 1 | 0.046761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_66-2_0_8_line_1 |  | 0 | 2 | 0.15182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_66-2_0_8_line_2 |  | 1 | 3 | 0.026962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_66-2_0_8_line_3 |  | 1 | 4 | 0.15375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-2_0_8_line_4 |  | 2 | 5 | 0.14496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_66-2_0_8_line_5 |  | 3 | 6 | 0.06103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_66-2_0_8_line_6 |  | 4 | 7 | 0.025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-2_0_8_line_7 |  | 5 | 8 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-2_0_8_line_8 |  | 6 | 38 | 0.055947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_66-2_0_8_line_9 |  | 9 | 10 | 0.10278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-2_0_8_line_10 |  | 9 | 11 | 0.20314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-2_0_8_line_11 |  | 9 | 12 | 0.10099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_66-2_0_8_line_12 |  | 9 | 13 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_66-2_0_8_line_13 |  | 10 | 28 | 0.082026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_66-2_0_8_line_14 |  | 10 | 29 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_66-2_0_8_line_15 |  | 11 | 14 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_66-2_0_8_line_16 |  | 12 | 32 | 0.031122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_66-2_0_8_line_17 |  | 12 | 26 | 0.01859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_66-2_0_8_line_18 |  | 14 | 39 | 0.0013591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_66-2_0_8_line_19 |  | 15 | 16 | 0.061001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_66-2_0_8_line_20 |  | 15 | 17 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_66-2_0_8_line_21 |  | 15 | 18 | 0.026675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-2_0_8_line_22 |  | 16 | 40 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_66-2_0_8_line_23 |  | 17 | 32 | 0.043165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_66-2_0_8_line_24 |  | 18 | 30 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_66-2_0_8_line_25 |  | 19 | 20 | 0.16565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_66-2_0_8_line_26 |  | 19 | 21 | 0.064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_66-2_0_8_line_27 |  | 19 | 22 | 0.08098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_66-2_0_8_line_28 |  | 20 | 38 | 0.10506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_66-2_0_8_line_29 |  | 21 | 37 | 0.04989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_66-2_0_8_line_30 |  | 23 | 24 | 0.051682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_66-2_0_8_line_31 |  | 23 | 25 | 0.046348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_66-2_0_8_line_32 |  | 25 | 26 | 0.039361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-2_0_8_line_33 |  | 26 | 27 | 0.040226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_66-2_0_8_line_34 |  | 27 | 35 | 0.073367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_66-2_0_8_line_35 |  | 29 | 42 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_66-2_0_8_line_36 |  | 29 | 43 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-2_0_8_line_37 |  | 30 | 31 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_66-2_0_8_line_38 |  | 31 | 36 | 0.042324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-2_0_8_line_39 |  | 31 | 33 | 0.021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-2_0_8_line_40 |  | 33 | 34 | 0.01404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-2_0_8_line_41 |  | 35 | 37 | 0.064279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_66-2_0_8_line_42 |  | 40 | 41 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_66-2_0_8_line_43 |  | 41 | 44 | 0.032853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_66-2_0_8_line_44 |  | 42 | 46 | 0.0020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-2_0_8_line_45 |  | 43 | 45 | 0.082524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-2_0_8_trafo_17 | 0.63 MVA 20/0.4 kV | 47 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2684487.9829 | 1254820.6532 | 2684477.2853 | 1254833.3325 | 2684457.8377 | 1254856.4006
1 | 2684361.0103 | 1254973.3262 | 2684425.8386 | 1254894.3454 | 2684435.9911 | 1254882.3143 | 2684457.8377 | 1254856.4006
2 | 2684506.0882 | 1254800.6296 | 2684487.9829 | 1254820.6532
3 | 2684487.9829 | 1254820.6532 | 2684514.4978 | 1254843.5823 | 2684529.454 | 1254825.8934 | 2684586.1707 | 1254873.984 | 2684579.1422 | 1254883.8245 | 2684573.8839 | 1254891.2217
4 | 2684361.0103 | 1254973.3262 | 2684367.0681 | 1254978.0939 | 2684371.8574 | 1254978.1733 | 2684380.8702 | 1254964.5802 | 2684413.5226 | 1254925.3045 | 2684456.2583 | 1254956.6042 | 2684453.3861 | 1254964.3914 | 2684452.1804 | 1254967.9992
5 | 2684506.0882 | 1254800.6296 | 2684459.3695 | 1254761.3616
6 | 2684573.8839 | 1254891.2217 | 2684594.1048 | 1254906.2962
7 | 2684452.1804 | 1254967.9992 | 2684445.4781 | 1254964.5232 | 2684438.6582 | 1254965.5823
8 | 2684413.3147 | 1254735.7019 | 2684424.0006 | 1254733.8972 | 2684428.1402 | 1254735.1127 | 2684459.3695 | 1254761.3616
9 | 2684596.0256 | 1254671.6598 | 2684608.6546 | 1254682.7709 | 2684612.909 | 1254686.5123 | 2684614.8464 | 1254688.1968 | 2684619.7062 | 1254691.2796 | 2684626.9606 | 1254694.6748 | 2684625.9276 | 1254697.2731 | 2684624.4145 | 1254701.7882 | 2684623.7574 | 1254706.5936 | 2684625.2259 | 1254711.5295 | 2684624.9636 | 1254725.6476 | 2684624.6909 | 1254740.4994 | 2684627.9748 | 1254739.301 | 2684632.2677 | 1254738.2281 | 2684641.7658 | 1254737.719
10 | 2684510.4432 | 1254794.1535 | 2684519.8564 | 1254797.9907 | 2684533.0861 | 1254806.119 | 2684544.0441 | 1254812.1912 | 2684559.4495 | 1254817.9933 | 2684570.7789 | 1254820.7793 | 2684584.0717 | 1254822.893 | 2684591.1497 | 1254821.2039 | 2684598.2155 | 1254820.3708 | 2684602.531 | 1254819.2983 | 2684604.7279 | 1254818.1399 | 2684609.9519 | 1254813.6778 | 2684614.7802 | 1254805.763 | 2684614.6156 | 1254794.5855 | 2684615.9013 | 1254775.8896 | 2684617.9391 | 1254768.4464 | 2684618.5071 | 1254757.2126 | 2684618.2544 | 1254746.3897 | 2684624.6909 | 1254740.4994 | 2684627.9748 | 1254739.301 | 2684632.2677 | 1254738.2281 | 2684641.7658 | 1254737.719
11 | 2684641.7658 | 1254737.719 | 2684640.0273 | 1254731.0891 | 2684634.9977 | 1254727.2254 | 2684633.182 | 1254720.7168 | 2684629.7734 | 1254717.9771 | 2684630.5403 | 1254707.6135 | 2684630.8578 | 1254703.8708 | 2684633.1555 | 1254698.2994 | 2684657.4539 | 1254666.8004 | 2684661.1515 | 1254661.994 | 2684662.8572 | 1254660.3616 | 2684665.4437 | 1254659.3979 | 2684668.2 | 1254659.2149 | 2684670.8921 | 1254659.8316
12 | 2684641.7658 | 1254737.719 | 2684646.3095 | 1254738.1065 | 2684652.0749 | 1254739.5789
13 | 2684596.0256 | 1254671.6598 | 2684557.86 | 1254714.8588 | 2684539.2185 | 1254698.9695
14 | 2684596.0256 | 1254671.6598 | 2684589.9383 | 1254666.3133 | 2684585.4763 | 1254664.4259 | 2684580.8692 | 1254663.1925 | 2684571.8228 | 1254662.1848
15 | 2684510.4432 | 1254794.1535 | 2684499.6991 | 1254784.8571
16 | 2684670.8921 | 1254659.8316 | 2684680.7433 | 1254666.2885 | 2684696.4049 | 1254677.6407
17 | 2684670.8921 | 1254659.8316 | 2684673.9747 | 1254656.3508 | 2684683.2226 | 1254645.9195
18 | 2684499.6991 | 1254784.8571 | 2684498.6713 | 1254783.9678
19 | 2684734.4773 | 1254688.7629 | 2684776.5307 | 1254644.5743
20 | 2684731.3542 | 1254702.9735 | 2684733.053 | 1254700.7739 | 2684727.6569 | 1254696.1598 | 2684732.5623 | 1254690.7815 | 2684734.4773 | 1254688.7629
21 | 2684734.4773 | 1254688.7629 | 2684755.297 | 1254705.4383
22 | 2684789.4126 | 1254631.0384 | 2684776.5307 | 1254644.5743
23 | 2684731.3542 | 1254702.9735 | 2684696.4049 | 1254677.6407
24 | 2684766.4384 | 1254714.3619 | 2684755.297 | 1254705.4383
25 | 2684599.1546 | 1254543.5294 | 2684569.8967 | 1254556.7327 | 2684552.2299 | 1254569.7571 | 2684541.5607 | 1254581.4692 | 2684533.5221 | 1254592.8187 | 2684485.3235 | 1254645.9714 | 2684478.7991 | 1254653.6839
26 | 2684599.1546 | 1254543.5294 | 2684576.1704 | 1254563.3051 | 2684574.934 | 1254565.3556 | 2684600.3137 | 1254584.3658
27 | 2684599.1546 | 1254543.5294 | 2684608.7312 | 1254538.0731 | 2684646.8926 | 1254512.6879 | 2684666.8054 | 1254499.0691
28 | 2684413.3147 | 1254735.7019 | 2684419.4154 | 1254726.8932 | 2684430.5323 | 1254710.7394 | 2684478.7991 | 1254653.6839
29 | 2684600.3137 | 1254584.3658 | 2684610.4536 | 1254570.6447 | 2684608.6737 | 1254562.6799 | 2684629.1076 | 1254548.8624
30 | 2684745.069 | 1254586.5811 | 2684768.2981 | 1254565.542 | 2684783.6555 | 1254552.203
31 | 2684745.069 | 1254586.5811 | 2684711.6247 | 1254618.6692
32 | 2684683.2226 | 1254645.9195 | 2684711.6247 | 1254618.6692
33 | 2684682.4993 | 1254617.3764 | 2684686.5227 | 1254624.0723 | 2684689.7498 | 1254627.8992 | 2684679.2877 | 1254637.2456 | 2684676.1625 | 1254640.0141 | 2684683.2226 | 1254645.9195
34 | 2684682.4993 | 1254617.3764 | 2684680.2738 | 1254613.6751 | 2684678.2388 | 1254609.8431 | 2684677.8058 | 1254605.3001 | 2684679.4681 | 1254600.9094 | 2684691.6346 | 1254584.76 | 2684693.9066 | 1254580.9896 | 2684694.7072 | 1254576.7089 | 2684694.399 | 1254572.4123 | 2684692.241 | 1254568.2116 | 2684679.2949 | 1254556.5195
35 | 2684571.8228 | 1254662.1848 | 2684552.3193 | 1254684.723
36 | 2684569.8965 | 1254640.7076 | 2684568.6917 | 1254643.7149 | 2684566.6263 | 1254646.2318 | 2684564.5633 | 1254648.0482 | 2684563.1565 | 1254650.4077 | 2684562.5448 | 1254653.0899 | 2684562.7925 | 1254655.8177 | 2684563.8653 | 1254658.3572 | 2684565.6614 | 1254660.4288 | 2684568.0174 | 1254661.8635 | 2684571.8228 | 1254662.1848
37 | 2684766.4384 | 1254714.3619 | 2684775.135 | 1254715.0313 | 2684777.5934 | 1254717.2126
38 | 2684777.5934 | 1254717.2126 | 2684805.4958 | 1254685.3878
39 | 2684763.5392 | 1254733.4794 | 2684765.4264 | 1254731.2936 | 2684767.9349 | 1254728.394 | 2684770.1598 | 1254725.8127 | 2684772.1006 | 1254723.5721 | 2684774.4328 | 1254720.8701 | 2684777.5934 | 1254717.2126
40 | 2684763.5392 | 1254733.4794 | 2684774.156 | 1254742.6668
41 | 2684629.1076 | 1254548.8624 | 2684652.9585 | 1254532.7343 | 2684679.2949 | 1254556.5195
42 | 2684789.4126 | 1254631.0384 | 2684800.5968 | 1254641.5708
43 | 2684824.5134 | 1254664.0938 | 2684800.5968 | 1254641.5708
44 | 2684550.9882 | 1254686.2612 | 2684552.3193 | 1254684.723
45 | 2684569.8965 | 1254640.7076 | 2684569.9428 | 1254633.7697 | 2684566.6712 | 1254616.154 | 2684572.285 | 1254608.1837 | 2684578.2791 | 1254605.2782 | 2684588.9461 | 1254606.9317 | 2684598.5398 | 1254611.8836 | 2684615.1676 | 1254622.3885

## bus_geodata
| x | y | coords
0 | 2684457.8377 | 1254856.4006
1 | 2684487.9829 | 1254820.6532
2 | 2684361.0103 | 1254973.3262
3 | 2684506.0882 | 1254800.6296
4 | 2684573.8839 | 1254891.2217
5 | 2684452.1804 | 1254967.9992
6 | 2684459.3695 | 1254761.3616
7 | 2684594.1048 | 1254906.2962
8 | 2684438.6582 | 1254965.5823
9 | 2684641.7658 | 1254737.719
10 | 2684596.0256 | 1254671.6598
11 | 2684510.4432 | 1254794.1535
12 | 2684670.8921 | 1254659.8316
13 | 2684652.0749 | 1254739.5789
14 | 2684499.6991 | 1254784.8571
15 | 2684734.4773 | 1254688.7629
16 | 2684776.5307 | 1254644.5743
17 | 2684731.3542 | 1254702.9735
18 | 2684755.297 | 1254705.4383
19 | 2684599.1546 | 1254543.5294
20 | 2684478.7991 | 1254653.6839
21 | 2684600.3137 | 1254584.3658
22 | 2684666.8054 | 1254499.0691
23 | 2684745.069 | 1254586.5812
24 | 2684783.6555 | 1254552.203
25 | 2684711.6247 | 1254618.6692
26 | 2684683.2226 | 1254645.9195
27 | 2684682.4993 | 1254617.3764
28 | 2684539.2185 | 1254698.9695
29 | 2684571.8228 | 1254662.1848
30 | 2684766.4384 | 1254714.3619
31 | 2684777.5934 | 1254717.2126
32 | 2684696.4049 | 1254677.6407
33 | 2684763.5392 | 1254733.4794
34 | 2684774.156 | 1254742.6668
35 | 2684679.2949 | 1254556.5195
36 | 2684805.4958 | 1254685.3878
37 | 2684629.1076 | 1254548.8624
38 | 2684413.3147 | 1254735.7019
39 | 2684498.6713 | 1254783.9678
40 | 2684789.4126 | 1254631.0384
41 | 2684800.5968 | 1254641.5708
42 | 2684552.3193 | 1254684.723
43 | 2684569.8965 | 1254640.7076
44 | 2684824.5134 | 1254664.0938
45 | 2684615.1676 | 1254622.3885
46 | 2684550.9882 | 1254686.2612
47 | 2684673.9747 | 1254656.3508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1