## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6607-11_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_6607-11_1_3_node_123 | 0.4 | n |  | TRUE
2 | bus_LV_6607-11_1_3_node_122 | 0.4 | n |  | TRUE
3 | bus_LV_6607-11_1_3_node_124 | 0.4 | n |  | TRUE
4 | bus_LV_6607-11_1_3_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_6607-11_1_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_6607-11_1_3_node_146 | 0.4 | n |  | TRUE
7 | bus_LV_6607-11_1_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_6607-11_1_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_6607-11_1_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_6607-11_1_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_6607-11_1_3_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_6607-11_1_3_node_119 | 0.4 | n |  | TRUE
13 | bus_LV_6607-11_1_3_node_116 | 0.4 | n |  | TRUE
14 | bus_LV_6607-11_1_3_node_120 | 0.4 | n |  | TRUE
15 | bus_LV_6607-11_1_3_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_6607-11_1_3_node_130 | 0.4 | n |  | TRUE
17 | bus_LV_6607-11_1_3_node_128 | 0.4 | n |  | TRUE
18 | bus_LV_6607-11_1_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_6607-11_1_3_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_6607-11_1_3_node_112 | 0.4 | n |  | TRUE
21 | bus_LV_6607-11_1_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_6607-11_1_3_node_131 | 0.4 | n |  | TRUE
23 | bus_LV_6607-11_1_3_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_6607-11_1_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_6607-11_1_3_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_6607-11_1_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_6607-11_1_3_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_6607-11_1_3_node_150 | 0.4 | n |  | TRUE
29 | bus_LV_6607-11_1_3_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_6607-11_1_3_node_129 | 0.4 | n |  | TRUE
31 | bus_LV_6607-11_1_3_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_6607-11_1_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_6607-11_1_3_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_6607-11_1_3_node_126 | 0.4 | n |  | TRUE
35 | bus_LV_6607-11_1_3_node_127 | 0.4 | n |  | TRUE
36 | bus_LV_6607-11_1_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_6607-11_1_3_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_6607-11_1_3_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_6607-11_1_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_6607-11_1_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_6607-11_1_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_6607-11_1_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_6607-11_1_3_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_6607-11_1_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_6607-11_1_3_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_6607-11_1_3_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_6607-11_1_3_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_6607-11_1_3_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_6607-11_1_3_node_137 | 0.4 | n |  | TRUE
50 | bus_LV_6607-11_1_3_node_136 | 0.4 | n |  | TRUE
51 | bus_LV_6607-11_1_3_node_140 | 0.4 | n |  | TRUE
52 | bus_LV_6607-11_1_3_node_135 | 0.4 | n |  | TRUE
53 | bus_LV_6607-11_1_3_node_133 | 0.4 | n |  | TRUE
54 | bus_LV_6607-11_1_3_node_132 | 0.4 | n |  | TRUE
55 | bus_LV_6607-11_1_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_6607-11_1_3_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_6607-11_1_3_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_6607-11_1_3_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_6607-11_1_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_6607-11_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_6607-11_1_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_6607-11_1_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_6607-11_1_3_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_6607-11_1_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_6607-11_1_3_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_6607-11_1_3_node_108 | 0.4 | n |  | TRUE
67 | bus_LV_6607-11_1_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_6607-11_1_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_6607-11_1_3_node_142 | 0.4 | n |  | TRUE
70 | bus_LV_6607-11_1_3_node_143 | 0.4 | n |  | TRUE
71 | bus_LV_6607-11_1_3_node_149 | 0.4 | n |  | TRUE
72 | bus_LV_6607-11_1_3_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_6607-11_1_3_node_113 | 0.4 | n |  | TRUE
74 | bus_LV_6607-11_1_3_node_141 | 0.4 | n |  | TRUE
75 | bus_LV_6607-11_1_3_node_134 | 0.4 | n |  | TRUE
76 | bus_MV_458_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6607-11_1_3_load_123 | 1 | 0.0044947 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6607-11_1_3_load_122 | 2 | 0.0041522 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6607-11_1_3_load_146 | 6 | 0.00053305 | 0.00013359 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6607-11_1_3_load_119 | 12 | 0.0026759 | 0.00067065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6607-11_1_3_load_116 | 13 | 0.0034099 | 0.0008546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6607-11_1_3_load_120 | 14 | 0.0024262 | 0.00060807 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6607-11_1_3_load_130 | 16 | 0.0087613 | 0.0021958 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6607-11_1_3_load_128 | 17 | 0.011898 | 0.002982 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6607-11_1_3_load_106 | 19 | 0.0051856 | 0.0012996 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6607-11_1_3_load_112 | 20 | 0.0027364 | 0.00068581 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6607-11_1_3_load_98 | 23 | 0.001323 | 0.00033158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6607-11_1_3_load_147 | 25 | 0.011491 | 0.00288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6607-11_1_3_load_80 | 26 | 0.0065142 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6607-11_1_3_load_150 | 28 | 0.0043172 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6607-11_1_3_load_129 | 30 | 0.0037464 | 0.00093893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6607-11_1_3_load_83 | 31 | 0.011747 | 0.0029442 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6607-11_1_3_load_114 | 33 | 0.00265 | 0.00066416 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6607-11_1_3_load_127 | 35 | 0.0053454 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6607-11_1_3_load_91 | 36 | 0.0033489 | 0.00083931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6607-11_1_3_load_92 | 37 | 0.0082249 | 0.0020614 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6607-11_1_3_load_84 | 39 | 0.0079519 | 0.0019929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6607-11_1_3_load_85 | 40 | 0.0080683 | 0.0020221 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6607-11_1_3_load_87 | 41 | 0.0079678 | 0.0019969 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6607-11_1_3_load_90 | 43 | 0.0034042 | 0.00085316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6607-11_1_3_load_94 | 44 | 0.0020041 | 0.00050228 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6607-11_1_3_load_95 | 45 | 0.004067 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6607-11_1_3_load_137 | 49 | 0.0033851 | 0.00084838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6607-11_1_3_load_135 | 52 | 0.0012454 | 0.00031212 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6607-11_1_3_load_133 | 53 | 0.00077951 | 0.00019536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6607-11_1_3_load_132 | 54 | 0.0017154 | 0.00042991 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6607-11_1_3_load_99 | 56 | 0.0049569 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6607-11_1_3_load_100 | 57 | 0.0052652 | 0.0013196 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6607-11_1_3_load_101 | 58 | 0.0051462 | 0.0012898 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6607-11_1_3_load_102 | 59 | 0.0041739 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6607-11_1_3_load_103 | 60 | 0.014645 | 0.0036704 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6607-11_1_3_load_104 | 61 | 0.006832 | 0.0017123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6607-11_1_3_load_105 | 62 | 0.0050835 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6607-11_1_3_load_121 | 63 | 0.0045622 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6607-11_1_3_load_107 | 65 | 0.012031 | 0.0030153 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6607-11_1_3_load_142 | 69 | 0.0047702 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6607-11_1_3_load_143 | 70 | 0.031775 | 0.0079637 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6607-11_1_3_load_149 | 71 | 0.0097521 | 0.0024441 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6607-11_1_3_load_118 | 72 | 0.0028958 | 0.00072575 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6607-11_1_3_load_113 | 73 | 0.0020794 | 0.00052115 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6607-11_1_3_load_141 | 74 | 0.0014015 | 0.00035124 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6607-11_1_3_load_134 | 75 | 0.0090037 | 0.0022565 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6607-11_1_3_line_0 |  | 0 | 1 | 0.094902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6607-11_1_3_line_1 |  | 0 | 2 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6607-11_1_3_line_2 |  | 1 | 3 | 0.033352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6607-11_1_3_line_3 |  | 3 | 29 | 0.062894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6607-11_1_3_line_4 |  | 4 | 5 | 0.048987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6607-11_1_3_line_5 |  | 4 | 6 | 0.011571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6607-11_1_3_line_6 |  | 5 | 20 | 0.045943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6607-11_1_3_line_7 |  | 5 | 18 | 0.023852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6607-11_1_3_line_8 |  | 6 | 24 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6607-11_1_3_line_9 |  | 7 | 8 | 0.006481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6607-11_1_3_line_10 |  | 7 | 9 | 0.049573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6607-11_1_3_line_11 |  | 8 | 23 | 0.0098807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6607-11_1_3_line_12 |  | 9 | 26 | 0.04606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6607-11_1_3_line_13 |  | 10 | 11 | 0.004585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6607-11_1_3_line_14 |  | 10 | 12 | 0.030814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6607-11_1_3_line_15 |  | 10 | 13 | 0.030888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6607-11_1_3_line_16 |  | 11 | 14 | 0.012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6607-11_1_3_line_17 |  | 11 | 15 | 0.072622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6607-11_1_3_line_18 |  | 13 | 33 | 0.0026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6607-11_1_3_line_19 |  | 14 | 34 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6607-11_1_3_line_20 |  | 15 | 16 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6607-11_1_3_line_21 |  | 15 | 17 | 0.010283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6607-11_1_3_line_22 |  | 16 | 21 | 0.034403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6607-11_1_3_line_23 |  | 17 | 35 | 0.0047474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6607-11_1_3_line_24 |  | 18 | 19 | 0.030938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6607-11_1_3_line_25 |  | 21 | 22 | 0.045645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6607-11_1_3_line_26 |  | 22 | 25 | 0.0043571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6607-11_1_3_line_27 |  | 23 | 34 | 0.011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6607-11_1_3_line_28 |  | 24 | 25 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6607-11_1_3_line_29 |  | 27 | 28 | 0.040561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6607-11_1_3_line_30 |  | 27 | 29 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6607-11_1_3_line_31 |  | 29 | 30 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6607-11_1_3_line_32 |  | 30 | 35 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6607-11_1_3_line_33 |  | 31 | 32 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6607-11_1_3_line_34 |  | 32 | 36 | 0.022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6607-11_1_3_line_35 |  | 32 | 37 | 0.043958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6607-11_1_3_line_36 |  | 32 | 38 | 0.029675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6607-11_1_3_line_37 |  | 33 | 73 | 0.019751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6607-11_1_3_line_38 |  | 34 | 48 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6607-11_1_3_line_39 |  | 37 | 46 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6607-11_1_3_line_40 |  | 38 | 42 | 0.007957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6607-11_1_3_line_41 |  | 38 | 39 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6607-11_1_3_line_42 |  | 39 | 40 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6607-11_1_3_line_43 |  | 40 | 41 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6607-11_1_3_line_44 |  | 41 | 43 | 0.024958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6607-11_1_3_line_45 |  | 42 | 44 | 0.0091401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6607-11_1_3_line_46 |  | 43 | 45 | 8.2449e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6607-11_1_3_line_47 |  | 44 | 47 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6607-11_1_3_line_48 |  | 45 | 48 | 0.021422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6607-11_1_3_line_49 |  | 46 | 49 | 0.088516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6607-11_1_3_line_50 |  | 47 | 55 | 0.004535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6607-11_1_3_line_51 |  | 50 | 51 | 0.009974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6607-11_1_3_line_52 |  | 50 | 52 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6607-11_1_3_line_53 |  | 51 | 74 | 0.015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6607-11_1_3_line_54 |  | 51 | 72 | 0.043915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6607-11_1_3_line_55 |  | 52 | 75 | 0.0091177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6607-11_1_3_line_56 |  | 53 | 54 | 0.0095164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6607-11_1_3_line_57 |  | 54 | 75 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6607-11_1_3_line_58 |  | 55 | 72 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6607-11_1_3_line_59 |  | 55 | 64 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6607-11_1_3_line_60 |  | 56 | 57 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6607-11_1_3_line_61 |  | 56 | 58 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6607-11_1_3_line_62 |  | 57 | 59 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6607-11_1_3_line_63 |  | 58 | 60 | 0.013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6607-11_1_3_line_64 |  | 59 | 61 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6607-11_1_3_line_65 |  | 60 | 62 | 0.0013916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_6607-11_1_3_line_66 |  | 62 | 63 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6607-11_1_3_line_67 |  | 63 | 64 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6607-11_1_3_line_68 |  | 64 | 66 | 0.073173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6607-11_1_3_line_69 |  | 65 | 66 | 0.035781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6607-11_1_3_line_70 |  | 66 | 67 | 0.062396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6607-11_1_3_line_71 |  | 66 | 68 | 0.11961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6607-11_1_3_line_72 |  | 67 | 69 | 0.030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6607-11_1_3_line_73 |  | 68 | 70 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6607-11_1_3_line_74 |  | 69 | 71 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6607-11_1_3_trafo_99 | 0.63 MVA 20/0.4 kV | 76 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2494387.4231 | 1113527.6394 | 2494415.2724 | 1113457.2417 | 2494422.2897 | 1113439.3743
1 | 2494387.4231 | 1113527.6394 | 2494405.8144 | 1113537.6806 | 2494407.2213 | 1113538.5249
2 | 2494434.4817 | 1113408.3308 | 2494422.2897 | 1113439.3743
3 | 2494434.4817 | 1113408.3308 | 2494439.3233 | 1113398.0176 | 2494440.7263 | 1113394.7466 | 2494473.7004 | 1113420.9998 | 2494478.2286 | 1113424.612
4 | 2494362.4554 | 1113319.6856 | 2494368.8769 | 1113320.6631 | 2494375.6965 | 1113321.4335 | 2494378.9354 | 1113321.099 | 2494382.7436 | 1113318.4198 | 2494385.6581 | 1113317.2015 | 2494388.2258 | 1113316.9232 | 2494391.1554 | 1113317.0166 | 2494393.094 | 1113308.1326 | 2494394.5178 | 1113301.6258 | 2494395.2188 | 1113298.4115
5 | 2494362.4554 | 1113319.6856 | 2494363.4565 | 1113328.3515 | 2494364.3688 | 1113331.0484
6 | 2494395.2188 | 1113298.4115 | 2494407.9621 | 1113301.2911 | 2494413.912 | 1113300.9205 | 2494430.3404 | 1113304.2472 | 2494440.1807 | 1113307.2331
7 | 2494385.3777 | 1113279.8935 | 2494386.8474 | 1113284.871 | 2494385.9797 | 1113288.7109 | 2494386.8272 | 1113292.5652 | 2494388.113 | 1113294.9666 | 2494390.5288 | 1113297.048 | 2494395.2188 | 1113298.4115
8 | 2494374.0376 | 1113335.7161 | 2494368.4189 | 1113333.3682 | 2494365.5131 | 1113331.9846 | 2494364.3688 | 1113331.0484
9 | 2494548.3406 | 1113350.832 | 2494545.7722 | 1113349.7427 | 2494542.2134 | 1113350.7831
10 | 2494548.3406 | 1113350.832 | 2494554.1904 | 1113353.1427 | 2494561.5562 | 1113355.5604 | 2494567.511 | 1113357.2467 | 2494574.8936 | 1113358.8525 | 2494579.7801 | 1113359.9681 | 2494580.6928 | 1113360.0301 | 2494581.4091 | 1113359.9064 | 2494581.9999 | 1113359.6737 | 2494582.6494 | 1113359.2622 | 2494583.0592 | 1113358.3989 | 2494587.3751 | 1113346.2715
11 | 2494542.2134 | 1113350.7831 | 2494533.2129 | 1113346.7065
12 | 2494587.3751 | 1113346.2715 | 2494600.3955 | 1113309.6324 | 2494602.7806 | 1113302.8643
13 | 2494491.8707 | 1113327.5341 | 2494496.0971 | 1113329.3394
14 | 2494491.8707 | 1113327.5341 | 2494467.8674 | 1113317.3348 | 2494463.9786 | 1113314.5119
15 | 2494491.8707 | 1113327.5341 | 2494495.0304 | 1113318.6734 | 2494502.2369 | 1113298.438
16 | 2494496.0971 | 1113329.3394 | 2494507.6761 | 1113334.8239
17 | 2494461.7351 | 1113364.8278 | 2494474.998 | 1113362.0726 | 2494486.0726 | 1113362.7467 | 2494492.1925 | 1113364.5968 | 2494496.0481 | 1113361.9723 | 2494498.6931 | 1113359.0355 | 2494500.1349 | 1113355.7749 | 2494494.6553 | 1113342.7954 | 2494493.6483 | 1113338.21 | 2494492.2301 | 1113337.512 | 2494494.8452 | 1113331.974 | 2494496.0971 | 1113329.3394
18 | 2494502.2369 | 1113298.438 | 2494503.1343 | 1113295.9182
19 | 2494522.9252 | 1113342.0468 | 2494507.6761 | 1113334.8239
20 | 2494461.7351 | 1113364.8278 | 2494453.2797 | 1113358.0578
21 | 2494461.7351 | 1113364.8278 | 2494465.6146 | 1113374.3512
22 | 2494423.6163 | 1113340.8324 | 2494442.2995 | 1113350.3017 | 2494449.3952 | 1113354.9476 | 2494453.2797 | 1113358.0578
23 | 2494467.1881 | 1113378.8161 | 2494466.8844 | 1113377.4683 | 2494465.6146 | 1113374.3512
24 | 2494385.3777 | 1113279.8935 | 2494398.7661 | 1113252.0029
25 | 2494388.328 | 1113351.9884 | 2494399.9626 | 1113334.2852 | 2494416.7461 | 1113338.9288 | 2494423.6163 | 1113340.8324
26 | 2494388.328 | 1113351.9884 | 2494385.0357 | 1113349.1343
27 | 2494522.9252 | 1113342.0468 | 2494533.2129 | 1113346.7065
28 | 2494374.0376 | 1113335.7161 | 2494380.9231 | 1113345.569 | 2494385.0357 | 1113349.1343
29 | 2494465.9511 | 1113447.9744 | 2494462.3489 | 1113443.4231 | 2494460.4396 | 1113439.8097 | 2494459.8736 | 1113437.04 | 2494459.943 | 1113434.8151 | 2494460.5979 | 1113432.5022 | 2494462.6581 | 1113430.1425 | 2494464.8629 | 1113428.9923 | 2494467.5588 | 1113428.9786 | 2494469.9229 | 1113429.4266 | 2494473.0363 | 1113431.2068 | 2494475.7049 | 1113432.7279 | 2494477.343 | 1113433.1885 | 2494479.4579 | 1113432.6402 | 2494481.2179 | 1113431.6756
30 | 2494481.2179 | 1113431.6756 | 2494484.0425 | 1113429.2915 | 2494478.2286 | 1113424.612
31 | 2494478.2286 | 1113424.612 | 2494477.1445 | 1113415.6029 | 2494471.7768 | 1113402.3991 | 2494470.8594 | 1113396.9942
32 | 2494467.1881 | 1113378.8161 | 2494469.564 | 1113389.3626 | 2494470.8594 | 1113396.9942
33 | 2494586.7773 | 1113242.7821 | 2494579.9716 | 1113261.8078
34 | 2494586.7773 | 1113242.7821 | 2494603.3365 | 1113257.9429
35 | 2494586.7773 | 1113242.7821 | 2494616.2928 | 1113210.207
36 | 2494564.6911 | 1113222.8983 | 2494586.7773 | 1113242.7821
37 | 2494509.7606 | 1113277.3122 | 2494503.1343 | 1113295.9182
38 | 2494526.6794 | 1113331.8304 | 2494522.9252 | 1113342.0468
39 | 2494633.1133 | 1113191.6427 | 2494616.2928 | 1113210.207
40 | 2494558.7502 | 1113217.5873 | 2494564.6911 | 1113222.8983
41 | 2494564.6911 | 1113222.8983 | 2494558.9095 | 1113239.3278
42 | 2494558.9095 | 1113239.3278 | 2494550.6325 | 1113262.8485
43 | 2494550.6325 | 1113262.8485 | 2494541.7821 | 1113287.9988
44 | 2494533.4973 | 1113311.5415 | 2494541.7821 | 1113287.9988
45 | 2494558.7502 | 1113217.5873 | 2494552.0466 | 1113211.374
46 | 2494533.47 | 1113311.6192 | 2494533.4973 | 1113311.5415
47 | 2494537.9098 | 1113198.2712 | 2494552.0466 | 1113211.374
48 | 2494526.6794 | 1113331.8304 | 2494529.8065 | 1113323.3149 | 2494529.6821 | 1113322.3831 | 2494533.47 | 1113311.6192
49 | 2494633.1133 | 1113191.6427 | 2494692.6848 | 1113126.1726
50 | 2494534.5802 | 1113195.1827 | 2494537.9098 | 1113198.2712
51 | 2494588.5668 | 1113153.4825 | 2494582.8331 | 1113154.7386 | 2494578.7496 | 1113155.3768
52 | 2494588.5668 | 1113153.4825 | 2494599.5674 | 1113143.7403
53 | 2494578.7496 | 1113155.3768 | 2494566.7365 | 1113145.2944
54 | 2494578.7496 | 1113155.3768 | 2494575.0371 | 1113157.7986 | 2494563.912 | 1113169.7666 | 2494558.6013 | 1113174.4621 | 2494549.5154 | 1113181.5249 | 2494546.1011 | 1113184.5259
55 | 2494599.5674 | 1113143.7403 | 2494606.3932 | 1113137.6953
56 | 2494619.2577 | 1113152.8478 | 2494612.5766 | 1113159.6245
57 | 2494619.2577 | 1113152.8478 | 2494619.2577 | 1113152.8478 | 2494606.3932 | 1113137.6953 | 2494606.3932 | 1113137.6953
58 | 2494534.5802 | 1113195.1827 | 2494541.0236 | 1113188.9887 | 2494546.1011 | 1113184.5259
59 | 2494534.5802 | 1113195.1827 | 2494514.8677 | 1113176.7587
60 | 2494493.0328 | 1113240.2709 | 2494488.2307 | 1113254.239
61 | 2494493.0328 | 1113240.2709 | 2494497.9666 | 1113225.9196
62 | 2494488.2307 | 1113254.239 | 2494487.6037 | 1113256.0625 | 2494450.2123 | 1113238.5801
63 | 2494497.9666 | 1113225.9196 | 2494502.3539 | 1113213.1582
64 | 2494450.2123 | 1113238.5801 | 2494448.8841 | 1113237.9591 | 2494457.6303 | 1113219.1061
65 | 2494502.8063 | 1113211.8422 | 2494502.3539 | 1113213.1582
66 | 2494507.5502 | 1113198.0434 | 2494502.8063 | 1113211.8422
67 | 2494514.8677 | 1113176.7587 | 2494507.5502 | 1113198.0434
68 | 2494514.8677 | 1113176.7587 | 2494467.2827 | 1113132.7596 | 2494460.9045 | 1113127.1894
69 | 2494460.9045 | 1113127.1894 | 2494457.2787 | 1113131.4776 | 2494454.3185 | 1113136.2767 | 2494443.7043 | 1113158.388
70 | 2494510.6565 | 1113089.4204 | 2494469.7137 | 1113119.3197 | 2494460.9045 | 1113127.1894
71 | 2494372.7671 | 1113046.0742 | 2494450.574 | 1113117.819 | 2494460.9045 | 1113127.1894
72 | 2494510.6565 | 1113089.4204 | 2494530.9522 | 1113112.0684
73 | 2494372.7671 | 1113046.0742 | 2494389.364 | 1113034.8337
74 | 2494540.2344 | 1113122.4264 | 2494530.9522 | 1113112.0684

## bus_geodata
| x | y | coords
0 | 2494387.4231 | 1113527.6394
1 | 2494422.2897 | 1113439.3743
2 | 2494407.2213 | 1113538.5249
3 | 2494434.4817 | 1113408.3308
4 | 2494362.4554 | 1113319.6856
5 | 2494395.2188 | 1113298.4115
6 | 2494364.3688 | 1113331.0484
7 | 2494548.3406 | 1113350.832
8 | 2494542.2134 | 1113350.7831
9 | 2494587.3751 | 1113346.2715
10 | 2494491.8707 | 1113327.5341
11 | 2494496.0971 | 1113329.3394
12 | 2494463.9786 | 1113314.5119
13 | 2494502.2369 | 1113298.438
14 | 2494507.6761 | 1113334.8239
15 | 2494461.7351 | 1113364.8278
16 | 2494453.2797 | 1113358.0578
17 | 2494465.6146 | 1113374.3512
18 | 2494385.3777 | 1113279.8935
19 | 2494398.7661 | 1113252.0029
20 | 2494440.1807 | 1113307.2331
21 | 2494423.6163 | 1113340.8324
22 | 2494388.328 | 1113351.9884
23 | 2494533.2129 | 1113346.7065
24 | 2494374.0376 | 1113335.7161
25 | 2494385.0357 | 1113349.1343
26 | 2494602.7806 | 1113302.8643
27 | 2494481.2179 | 1113431.6756
28 | 2494465.9511 | 1113447.9744
29 | 2494478.2286 | 1113424.612
30 | 2494470.8594 | 1113396.9942
31 | 2494579.9716 | 1113261.8078
32 | 2494586.7773 | 1113242.7821
33 | 2494503.1343 | 1113295.9182
34 | 2494522.9252 | 1113342.0468
35 | 2494467.1881 | 1113378.8161
36 | 2494603.3365 | 1113257.9429
37 | 2494616.2928 | 1113210.207
38 | 2494564.6911 | 1113222.8983
39 | 2494558.9095 | 1113239.3278
40 | 2494550.6325 | 1113262.8485
41 | 2494541.7821 | 1113287.9988
42 | 2494558.7502 | 1113217.5873
43 | 2494533.4973 | 1113311.5415
44 | 2494552.0466 | 1113211.374
45 | 2494533.47 | 1113311.6192
46 | 2494633.1133 | 1113191.6427
47 | 2494537.9098 | 1113198.2712
48 | 2494526.6794 | 1113331.8304
49 | 2494692.6848 | 1113126.1726
50 | 2494588.5668 | 1113153.4825
51 | 2494578.7496 | 1113155.3768
52 | 2494599.5674 | 1113143.7403
53 | 2494612.5766 | 1113159.6245
54 | 2494619.2577 | 1113152.8478
55 | 2494534.5802 | 1113195.1827
56 | 2494493.0328 | 1113240.2709
57 | 2494488.2307 | 1113254.239
58 | 2494497.9666 | 1113225.9196
59 | 2494450.2123 | 1113238.5801
60 | 2494502.3539 | 1113213.1582
61 | 2494457.6303 | 1113219.1061
62 | 2494502.8063 | 1113211.8422
63 | 2494507.5502 | 1113198.0434
64 | 2494514.8677 | 1113176.7587
65 | 2494443.7043 | 1113158.388
66 | 2494460.9045 | 1113127.1894
67 | 2494510.6565 | 1113089.4204
68 | 2494372.7671 | 1113046.0742
69 | 2494530.9522 | 1113112.0684
70 | 2494389.364 | 1113034.8337
71 | 2494540.2344 | 1113122.4264
72 | 2494546.1011 | 1113184.5259
73 | 2494509.7606 | 1113277.3122
74 | 2494566.7365 | 1113145.2944
75 | 2494606.3932 | 1113137.6953
76 | 2494514.8677 | 1113176.7587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1