## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6607-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6607-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6607-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6607-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6607-15_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6607-15_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6607-15_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6607-15_0_2_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_6607-15_0_2_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_6607-15_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6607-15_0_2_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_6607-15_0_2_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_6607-15_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6607-15_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_6607-15_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6607-15_0_2_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6607-15_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6607-15_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6607-15_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6607-15_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6607-15_0_2_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6607-15_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6607-15_0_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6607-15_0_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6607-15_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_6607-15_0_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_6607-15_0_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_6607-15_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_6607-15_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6607-15_0_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_6607-15_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6607-15_0_2_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_6607-15_0_2_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_6607-15_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6607-15_0_2_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6607-15_0_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_6607-15_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_6607-15_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6607-15_0_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_6607-15_0_2_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_6607-15_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_6607-15_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6607-15_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6607-15_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6607-15_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6607-15_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_6607-15_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6607-15_0_2_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_6607-15_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_6607-15_0_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_6607-15_0_2_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_6607-15_0_2_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_6607-15_0_2_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6607-15_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6607-15_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6607-15_0_2_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6607-15_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6607-15_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6607-15_0_2_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6607-15_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6607-15_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_6607-15_0_2_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6607-15_0_2_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6607-15_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6607-15_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6607-15_0_2_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6607-15_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6607-15_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_MV_464_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6607-15_0_2_load_0 | 0 | 0.00055713 | 0.00013963 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6607-15_0_2_load_5 | 4 | 0.00088718 | 0.00022235 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6607-15_0_2_load_7 | 6 | 0.00079331 | 0.00019882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6607-15_0_2_load_40 | 8 | 0.0024918 | 0.0006245 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6607-15_0_2_load_67 | 10 | 0.00090513 | 0.00022685 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6607-15_0_2_load_8 | 12 | 0.001499 | 0.00037568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6607-15_0_2_load_25 | 16 | 0.00050389 | 0.00012629 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6607-15_0_2_load_14 | 18 | 0.00036942 | 9.2585e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6607-15_0_2_load_11 | 19 | 0.00020284 | 5.0836e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6607-15_0_2_load_33 | 22 | 0.0024864 | 0.00062316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6607-15_0_2_load_24 | 23 | 0.045705 | 0.011455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6607-15_0_2_load_37 | 26 | 0.00045556 | 0.00011417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6607-15_0_2_load_17 | 28 | 0.00022002 | 5.5141e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6607-15_0_2_load_64 | 29 | 0.00017019 | 4.2654e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6607-15_0_2_load_68 | 31 | 0.00080654 | 0.00020214 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6607-15_0_2_load_69 | 32 | 0.0034888 | 0.00087436 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6607-15_0_2_load_49 | 34 | 8.441e-05 | 2.1155e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6607-15_0_2_load_44 | 35 | 0.00035399 | 8.8717e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6607-15_0_2_load_42 | 37 | 0.0018212 | 0.00045645 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6607-15_0_2_load_48 | 38 | 5.8824e-05 | 1.4743e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6607-15_0_2_load_20 | 39 | 0.029077 | 0.0072874 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6607-15_0_2_load_21 | 40 | 0.051347 | 0.012869 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6607-15_0_2_load_28 | 42 | 0.0001549 | 3.8821e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6607-15_0_2_load_29 | 43 | 0.00085465 | 0.0002142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6607-15_0_2_load_47 | 45 | 7.448e-05 | 1.8666e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6607-15_0_2_load_65 | 47 | 0.0013505 | 0.00033846 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6607-15_0_2_load_66 | 49 | 9.0738e-05 | 2.2741e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6607-15_0_2_load_34 | 51 | 0.035676 | 0.0089413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6607-15_0_2_load_46 | 53 | 0.00054177 | 0.00013578 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6607-15_0_2_load_45 | 54 | 0.002358 | 0.00059098 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6607-15_0_2_load_43 | 55 | 0.00053658 | 0.00013448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6607-15_0_2_load_50 | 56 | 0.00021538 | 5.3978e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6607-15_0_2_load_52 | 58 | 5.653e-05 | 1.4168e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6607-15_0_2_load_53 | 59 | 0.00019413 | 4.8653e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6607-15_0_2_load_54 | 61 | 5.4794e-05 | 1.3733e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6607-15_0_2_load_55 | 62 | 8.7439e-05 | 2.1914e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6607-15_0_2_load_60 | 64 | 5.2019e-05 | 1.3037e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6607-15_0_2_load_59 | 65 | 4.069e-05 | 1.0198e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6607-15_0_2_load_61 | 66 | 6.0888e-05 | 1.526e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6607-15_0_2_load_62 | 67 | 6.7247e-05 | 1.6854e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6607-15_0_2_line_0 |  | 0 | 1 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6607-15_0_2_line_1 |  | 0 | 2 | 0.0093673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6607-15_0_2_line_2 |  | 1 | 3 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6607-15_0_2_line_3 |  | 1 | 4 | 0.020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6607-15_0_2_line_4 |  | 2 | 5 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6607-15_0_2_line_5 |  | 3 | 6 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6607-15_0_2_line_6 |  | 4 | 7 | 0.022076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6607-15_0_2_line_7 |  | 5 | 8 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6607-15_0_2_line_8 |  | 6 | 12 | 0.0011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6607-15_0_2_line_9 |  | 7 | 9 | 0.005709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6607-15_0_2_line_10 |  | 8 | 20 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6607-15_0_2_line_11 |  | 9 | 10 | 0.005385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6607-15_0_2_line_12 |  | 9 | 11 | 0.03769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6607-15_0_2_line_13 |  | 11 | 25 | 0.00724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6607-15_0_2_line_14 |  | 11 | 26 | 0.03789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6607-15_0_2_line_15 |  | 12 | 21 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6607-15_0_2_line_16 |  | 13 | 14 | 0.03765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6607-15_0_2_line_17 |  | 13 | 15 | 0.007866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6607-15_0_2_line_18 |  | 13 | 16 | 0.0093995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6607-15_0_2_line_19 |  | 13 | 17 | 0.033022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6607-15_0_2_line_20 |  | 14 | 35 | 0.03845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6607-15_0_2_line_21 |  | 15 | 36 | 0.005257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6607-15_0_2_line_22 |  | 17 | 18 | 0.037008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6607-15_0_2_line_23 |  | 17 | 19 | 0.00080162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6607-15_0_2_line_24 |  | 19 | 27 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6607-15_0_2_line_25 |  | 20 | 37 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6607-15_0_2_line_26 |  | 20 | 30 | 0.081108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6607-15_0_2_line_27 |  | 21 | 22 | 0.005566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6607-15_0_2_line_28 |  | 21 | 23 | 0.048187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6607-15_0_2_line_29 |  | 23 | 24 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6607-15_0_2_line_30 |  | 24 | 39 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6607-15_0_2_line_31 |  | 25 | 53 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6607-15_0_2_line_32 |  | 25 | 52 | 0.12728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6607-15_0_2_line_33 |  | 26 | 36 | 0.037234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6607-15_0_2_line_34 |  | 27 | 28 | 0.036129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6607-15_0_2_line_35 |  | 28 | 29 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6607-15_0_2_line_36 |  | 30 | 31 | 0.036288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6607-15_0_2_line_37 |  | 30 | 32 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6607-15_0_2_line_38 |  | 30 | 33 | 0.11287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6607-15_0_2_line_39 |  | 33 | 34 | 0.072705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6607-15_0_2_line_40 |  | 34 | 38 | 0.0093421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6607-15_0_2_line_41 |  | 35 | 41 | 0.39768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6607-15_0_2_line_42 |  | 37 | 55 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6607-15_0_2_line_43 |  | 39 | 40 | 0.044041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6607-15_0_2_line_44 |  | 41 | 46 | 0.11741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6607-15_0_2_line_45 |  | 41 | 43 | 0.099415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6607-15_0_2_line_46 |  | 42 | 43 | 0.035714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6607-15_0_2_line_47 |  | 42 | 44 | 0.033419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6607-15_0_2_line_48 |  | 44 | 45 | 0.33355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6607-15_0_2_line_49 |  | 46 | 47 | 0.046409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6607-15_0_2_line_50 |  | 46 | 48 | 0.052256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6607-15_0_2_line_51 |  | 48 | 49 | 0.027343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6607-15_0_2_line_52 |  | 48 | 50 | 0.04667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6607-15_0_2_line_53 |  | 50 | 63 | 0.059075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6607-15_0_2_line_54 |  | 50 | 61 | 0.034536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6607-15_0_2_line_55 |  | 51 | 52 | 0.0239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6607-15_0_2_line_56 |  | 53 | 54 | 0.0033294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6607-15_0_2_line_57 |  | 56 | 57 | 0.041545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6607-15_0_2_line_58 |  | 57 | 58 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6607-15_0_2_line_59 |  | 57 | 59 | 0.011551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6607-15_0_2_line_60 |  | 59 | 60 | 0.045146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6607-15_0_2_line_61 |  | 60 | 63 | 0.15679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6607-15_0_2_line_62 |  | 61 | 62 | 0.042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6607-15_0_2_line_63 |  | 63 | 64 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6607-15_0_2_line_64 |  | 64 | 65 | 0.046884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6607-15_0_2_line_65 |  | 65 | 66 | 0.0010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6607-15_0_2_line_66 |  | 66 | 67 | 0.044575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6607-15_0_2_trafo_24 | 0.63 MVA 20/0.4 kV | 68 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2494790.7351 | 1117364.7215 | 2494803.0195 | 1117368.0231
1 | 2494812.0658 | 1117370.4543 | 2494803.0195 | 1117368.0231
2 | 2494786.5055 | 1117379.8714 | 2494790.7351 | 1117364.7215
3 | 2494790.7351 | 1117364.7215 | 2494784.2168 | 1117362.8114 | 2494773.5809 | 1117354.6883
4 | 2494809.2483 | 1117386.0133 | 2494816.9249 | 1117372.8492 | 2494816.8016 | 1117371.973 | 2494812.0658 | 1117370.4543
5 | 2494786.5055 | 1117379.8714 | 2494784.0329 | 1117386.4075 | 2494782.0948 | 1117390.4707
6 | 2494756.5706 | 1117340.6447 | 2494764.39 | 1117347.6688 | 2494773.5809 | 1117354.6883
7 | 2494809.2483 | 1117386.0133 | 2494818.4405 | 1117388.5217 | 2494820.6902 | 1117389.2079
8 | 2494782.0948 | 1117390.4707 | 2494781.6079 | 1117391.4915
9 | 2494751.6738 | 1117342.7423 | 2494754.8275 | 1117342.5207 | 2494756.5706 | 1117340.6447
10 | 2494836.0133 | 1117393.0414 | 2494826.3727 | 1117390.941 | 2494820.6902 | 1117389.2079
11 | 2494751.6738 | 1117342.7423 | 2494748.673 | 1117342.8835 | 2494747.0672 | 1117344.657
12 | 2494751.6738 | 1117342.7423 | 2494735.8641 | 1117328.6417 | 2494731.2696 | 1117323.2737 | 2494725.0991 | 1117316.0653
13 | 2494717.8391 | 1117315.9027 | 2494725.0991 | 1117316.0653
14 | 2494725.0991 | 1117316.0653 | 2494723.1733 | 1117310.5509 | 2494719.1823 | 1117302.1483 | 2494714.3852 | 1117292.2365 | 2494711.774 | 1117282.8315 | 2494711.6626 | 1117280.86
15 | 2494771.5105 | 1117404.1477 | 2494776.54 | 1117400.3578 | 2494779.6532 | 1117395.5895 | 2494781.6079 | 1117391.4915
16 | 2494738.4337 | 1117242.9754 | 2494765.0644 | 1117228.0471 | 2494770.9366 | 1117223.8756
17 | 2494738.4337 | 1117242.9754 | 2494731.4486 | 1117246.6326
18 | 2494738.4337 | 1117242.9754 | 2494735.7494 | 1117251.9835
19 | 2494768.3304 | 1117256.8977 | 2494757.3633 | 1117252.6746 | 2494738.4337 | 1117242.9754
20 | 2494770.9366 | 1117223.8756 | 2494754.0316 | 1117213.841 | 2494752.4958 | 1117212.9894 | 2494751.0386 | 1117212.659 | 2494748.4192 | 1117212.5378 | 2494735.5503 | 1117213.6647
21 | 2494726.8933 | 1117249.2802 | 2494731.4486 | 1117246.6326
22 | 2494768.3304 | 1117256.8977 | 2494776.9372 | 1117265.6869 | 2494780.3774 | 1117266.839 | 2494784.8937 | 1117267.7165 | 2494787.6119 | 1117267.7471 | 2494790.6433 | 1117267.5943 | 2494792.954 | 1117268.1656 | 2494795.4898 | 1117269.7002 | 2494798.0309 | 1117272.4245 | 2494799.1772 | 1117273.6176
23 | 2494769.1092 | 1117257.0875 | 2494768.3304 | 1117256.8977
24 | 2494798.215 | 1117262.5928 | 2494786.0855 | 1117261.225 | 2494769.1092 | 1117257.0875
25 | 2494836.0133 | 1117393.0414 | 2494835.2881 | 1117398.4019 | 2494836.0464 | 1117403.8255 | 2494837.2553 | 1117409.3305
26 | 2494836.0133 | 1117393.0414 | 2494841.0041 | 1117381.2582 | 2494843.8473 | 1117376.9394 | 2494846.9007 | 1117372.7281 | 2494878.1564 | 1117332.0923 | 2494873.8068 | 1117327.0313
27 | 2494771.5105 | 1117404.1477 | 2494774.9147 | 1117408.558
28 | 2494771.5105 | 1117404.1477 | 2494758.1957 | 1117406.5142 | 2494752.1796 | 1117409.0649 | 2494733.1521 | 1117429.7819
29 | 2494724.7621 | 1117443.0414 | 2494725.9466 | 1117439.6853 | 2494729.3285 | 1117433.945 | 2494733.1521 | 1117429.7819
30 | 2494724.7621 | 1117443.0414 | 2494717.4885 | 1117462.0468 | 2494717.1351 | 1117462.8787
31 | 2494717.8391 | 1117315.9027 | 2494715.5503 | 1117322.7913 | 2494721.6793 | 1117329.53
32 | 2494717.8391 | 1117315.9027 | 2494675.237 | 1117303.4361 | 2494654.3231 | 1117295.9398 | 2494649.1241 | 1117300.6334 | 2494619.2097 | 1117342.848 | 2494617.3408 | 1117342.3691
33 | 2494726.8933 | 1117249.2802 | 2494720.4371 | 1117254.4959 | 2494717.9248 | 1117257.4193 | 2494715.3968 | 1117260.7654 | 2494713.3244 | 1117264.1258 | 2494712.2098 | 1117268.3924 | 2494711.5071 | 1117272.8186 | 2494711.4728 | 1117277.5 | 2494711.6626 | 1117280.86
34 | 2494798.215 | 1117262.5928 | 2494796.3566 | 1117256.9548 | 2494792.6468 | 1117243.8553 | 2494792.5432 | 1117240.1214 | 2494793.5002 | 1117236.9917 | 2494794.6588 | 1117235.2482 | 2494796.1709 | 1117233.8543 | 2494797.7573 | 1117232.7372 | 2494799.5097 | 1117232.2842 | 2494801.1753 | 1117232.1662
35 | 2494810.441 | 1117238.4425 | 2494805.3384 | 1117234.0395 | 2494803.2285 | 1117232.5864 | 2494801.1753 | 1117232.1662
36 | 2494873.8068 | 1117327.0313 | 2494873.5529 | 1117323.9782 | 2494845.2239 | 1117306.4926
37 | 2494873.8068 | 1117327.0313 | 2494861.1715 | 1117345.407
38 | 2494873.8068 | 1117327.0313 | 2494878.1564 | 1117332.0923 | 2494897.3855 | 1117306.642 | 2494916.2582 | 1117283.3326 | 2494922.0683 | 1117277.3612 | 2494926.784 | 1117271.053 | 2494928.6895 | 1117266.9729 | 2494930.6903 | 1117261.7126 | 2494931.4702 | 1117257.274 | 2494933.4933 | 1117243.9636
39 | 2494933.4933 | 1117243.9636 | 2494938.9012 | 1117244.6146 | 2494944.0247 | 1117244.4478 | 2494949.2086 | 1117243.7573 | 2494958.2452 | 1117242.1883 | 2495005.3054 | 1117234.2184
40 | 2495014.5164 | 1117232.6584 | 2495005.3054 | 1117234.2184
41 | 2494735.5503 | 1117213.6647 | 2494520.8208 | 1116878.9428
42 | 2494837.2553 | 1117409.3305 | 2494837.4717 | 1117410.316 | 2494839.9262 | 1117420.0462 | 2494842.7565 | 1117427.0005
43 | 2494702.1148 | 1117504.2516 | 2494712.0672 | 1117474.8049 | 2494717.1351 | 1117462.8787
44 | 2494592.9853 | 1116786.1814 | 2494520.8208 | 1116878.9428
45 | 2494520.8208 | 1116878.9428 | 2494446.9099 | 1116832.1571 | 2494436.8215 | 1116825.7689
46 | 2494406.646 | 1116806.6652 | 2494423.8938 | 1116817.5826 | 2494436.8215 | 1116825.7689
47 | 2494378.4082 | 1116788.7913 | 2494406.646 | 1116806.6652
48 | 2494378.4082 | 1116788.7913 | 2494161.2443 | 1116535.6238
49 | 2494592.9853 | 1116786.1814 | 2494550.602 | 1116767.0075
50 | 2494592.9853 | 1116786.1814 | 2494624.2273 | 1116744.2326
51 | 2494624.2273 | 1116744.2326 | 2494598.079 | 1116735.9938
52 | 2494652.2613 | 1116706.9206 | 2494630.3007 | 1116736.0772 | 2494624.2273 | 1116744.2326
53 | 2494688.2523 | 1116660.0752 | 2494672.2011 | 1116680.9791 | 2494654.1339 | 1116704.4975 | 2494652.2613 | 1116706.9206
54 | 2494652.2613 | 1116706.9206 | 2494621.1456 | 1116691.9365
55 | 2494617.3408 | 1117342.3691 | 2494598.9293 | 1117327.1299
56 | 2494723.9195 | 1117331.993 | 2494721.6793 | 1117329.53
57 | 2494816.1452 | 1116659.1058 | 2494832.717 | 1116697.2027
58 | 2494816.1452 | 1116659.1058 | 2494789.264 | 1116665.555 | 2494785.5512 | 1116669.611 | 2494785.4048 | 1116669.7872
59 | 2494816.1452 | 1116659.1058 | 2494813.2082 | 1116647.9344
60 | 2494801.3418 | 1116604.8506 | 2494805.6877 | 1116611.8795 | 2494807.3252 | 1116621.6795 | 2494808.4723 | 1116629.9204 | 2494813.2082 | 1116647.9344
61 | 2494688.2523 | 1116660.0752 | 2494747.0903 | 1116583.458 | 2494748.9615 | 1116581.3908 | 2494801.3418 | 1116604.8506
62 | 2494621.1456 | 1116691.9365 | 2494583.0295 | 1116673.5812
63 | 2494688.2523 | 1116660.0752 | 2494668.978 | 1116643.6532
64 | 2494633.2908 | 1116613.2474 | 2494668.978 | 1116643.6532
65 | 2494633.2908 | 1116613.2474 | 2494632.4881 | 1116612.5634
66 | 2494597.9842 | 1116584.3649 | 2494612.1257 | 1116595.2145 | 2494632.4881 | 1116612.5634

## bus_geodata
| x | y | coords
0 | 2494803.0195 | 1117368.0231
1 | 2494790.7351 | 1117364.7215
2 | 2494812.0658 | 1117370.4543
3 | 2494786.5055 | 1117379.8714
4 | 2494773.5809 | 1117354.6883
5 | 2494809.2483 | 1117386.0133
6 | 2494782.0948 | 1117390.4707
7 | 2494756.5706 | 1117340.6447
8 | 2494820.6902 | 1117389.2079
9 | 2494751.6738 | 1117342.7423
10 | 2494747.0672 | 1117344.657
11 | 2494725.0991 | 1117316.0653
12 | 2494781.6079 | 1117391.4915
13 | 2494738.4337 | 1117242.9754
14 | 2494770.9366 | 1117223.8756
15 | 2494731.4486 | 1117246.6326
16 | 2494735.7494 | 1117251.9835
17 | 2494768.3304 | 1117256.8977
18 | 2494799.1772 | 1117273.6176
19 | 2494769.1092 | 1117257.0875
20 | 2494836.0133 | 1117393.0414
21 | 2494771.5105 | 1117404.1477
22 | 2494774.9147 | 1117408.558
23 | 2494733.1521 | 1117429.7819
24 | 2494724.7621 | 1117443.0414
25 | 2494717.8391 | 1117315.9027
26 | 2494711.6626 | 1117280.86
27 | 2494798.215 | 1117262.5928
28 | 2494801.1753 | 1117232.1662
29 | 2494810.441 | 1117238.4425
30 | 2494873.8068 | 1117327.0313
31 | 2494845.2239 | 1117306.4926
32 | 2494861.1715 | 1117345.407
33 | 2494933.4933 | 1117243.9636
34 | 2495005.3054 | 1117234.2184
35 | 2494735.5503 | 1117213.6647
36 | 2494726.8933 | 1117249.2802
37 | 2494837.2553 | 1117409.3305
38 | 2495014.5164 | 1117232.6584
39 | 2494717.1351 | 1117462.8787
40 | 2494702.1148 | 1117504.2516
41 | 2494520.8208 | 1116878.9428
42 | 2494406.646 | 1116806.6652
43 | 2494436.8215 | 1116825.7689
44 | 2494378.4082 | 1116788.7913
45 | 2494161.2443 | 1116535.6238
46 | 2494592.9853 | 1116786.1814
47 | 2494550.602 | 1116767.0075
48 | 2494624.2273 | 1116744.2326
49 | 2494598.079 | 1116735.9938
50 | 2494652.2613 | 1116706.9206
51 | 2494598.9293 | 1117327.1299
52 | 2494617.3408 | 1117342.3691
53 | 2494721.6793 | 1117329.53
54 | 2494723.9195 | 1117331.993
55 | 2494842.7565 | 1117427.0005
56 | 2494832.717 | 1116697.2027
57 | 2494816.1452 | 1116659.1058
58 | 2494785.4048 | 1116669.7872
59 | 2494813.2082 | 1116647.9344
60 | 2494801.3418 | 1116604.8506
61 | 2494621.1456 | 1116691.9365
62 | 2494583.0295 | 1116673.5812
63 | 2494688.2523 | 1116660.0752
64 | 2494668.978 | 1116643.6532
65 | 2494633.2908 | 1116613.2474
66 | 2494632.4881 | 1116612.5634
67 | 2494597.9842 | 1116584.3649
68 | 2494725.9466 | 1117439.6853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1