## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6612-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6612-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6612-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6612-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6612-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6612-12_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6612-12_0_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_6612-12_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6612-12_0_3_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_6612-12_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6612-12_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6612-12_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_6612-12_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_6612-12_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6612-12_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_6612-12_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6612-12_0_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_6612-12_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_6612-12_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6612-12_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6612-12_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6612-12_0_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_6612-12_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6612-12_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6612-12_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_6612-12_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_6612-12_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6612-12_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6612-12_0_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_6612-12_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6612-12_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_6612-12_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6612-12_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_6612-12_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6612-12_0_3_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_6612-12_0_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_6612-12_0_3_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_6612-12_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_6612-12_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6612-12_0_3_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_6612-12_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6612-12_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_6612-12_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6612-12_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_6612-12_0_3_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_6612-12_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6612-12_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6612-12_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6612-12_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6612-12_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6612-12_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6612-12_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6612-12_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6612-12_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6612-12_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6612-12_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_6612-12_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6612-12_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_6612-12_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6612-12_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6612-12_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_6612-12_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_6612-12_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6612-12_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6612-12_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_MV_648_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6612-12_0_3_load_0 | 0 | 0.0060519 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6612-12_0_3_load_2 | 2 | 0.010398 | 0.0026059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6612-12_0_3_load_4 | 4 | 0.0039846 | 0.00099863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6612-12_0_3_load_32 | 6 | 0.0013398 | 0.00033579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6612-12_0_3_load_73 | 8 | 0.022206 | 0.0055655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6612-12_0_3_load_24 | 11 | 0.0045307 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6612-12_0_3_load_22 | 12 | 0.00020452 | 5.1258e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6612-12_0_3_load_23 | 13 | 0.021801 | 0.0054639 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6612-12_0_3_load_19 | 14 | 0.010748 | 0.0026938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6612-12_0_3_load_39 | 16 | 0.0011215 | 0.00028109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6612-12_0_3_load_37 | 17 | 0.0060483 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6612-12_0_3_load_38 | 21 | 0.0015923 | 0.00039908 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6612-12_0_3_load_36 | 23 | 0.0015549 | 0.0003897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6612-12_0_3_load_31 | 24 | 0.0022705 | 0.00056904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6612-12_0_3_load_28 | 25 | 0.0025079 | 0.00062854 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6612-12_0_3_load_49 | 26 | 0.0002046 | 5.1276e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6612-12_0_3_load_25 | 27 | 0.018143 | 0.004547 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6612-12_0_3_load_60 | 28 | 0.021784 | 0.0054597 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6612-12_0_3_load_20 | 29 | 0.0032154 | 0.00080585 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6612-12_0_3_load_45 | 30 | 0.00062778 | 0.00015734 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6612-12_0_3_load_35 | 31 | 0.015196 | 0.0038085 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6612-12_0_3_load_47 | 32 | 0.00024461 | 6.1306e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6612-12_0_3_load_26 | 33 | 0.019193 | 0.0048103 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6612-12_0_3_load_70 | 34 | 0.017173 | 0.004304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6612-12_0_3_load_69 | 35 | 0.011514 | 0.0028857 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6612-12_0_3_load_72 | 36 | 0.0066234 | 0.00166 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6612-12_0_3_load_67 | 39 | 0.00038728 | 9.7061e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6612-12_0_3_load_61 | 41 | 0.019049 | 0.0047741 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6612-12_0_3_load_27 | 42 | 0.018358 | 0.0046009 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6612-12_0_3_load_62 | 43 | 0.017816 | 0.004465 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6612-12_0_3_load_64 | 44 | 0.00099335 | 0.00024896 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6612-12_0_3_load_30 | 45 | 0.001607 | 0.00040276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6612-12_0_3_load_43 | 46 | 0.00084864 | 0.00021269 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6612-12_0_3_load_40 | 47 | 0.00089236 | 0.00022365 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6612-12_0_3_load_41 | 48 | 0.0017155 | 0.00042995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6612-12_0_3_load_42 | 49 | 0.0010764 | 0.00026977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6612-12_0_3_load_55 | 50 | 0.0020435 | 0.00051215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6612-12_0_3_load_56 | 51 | 0.0014663 | 0.0003675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6612-12_0_3_load_44 | 52 | 0.00090703 | 0.00022732 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6612-12_0_3_load_46 | 53 | 0.00079264 | 0.00019866 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6612-12_0_3_load_48 | 54 | 0.00020441 | 5.123e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6612-12_0_3_load_52 | 56 | 0.00030199 | 7.5686e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6612-12_0_3_load_59 | 57 | 0.0017724 | 0.00044422 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6612-12_0_3_load_51 | 58 | 0.00050009 | 0.00012533 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6612-12_0_3_load_58 | 59 | 0.0018015 | 0.00045151 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6612-12_0_3_load_63 | 62 | 0.00092247 | 0.00023119 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6612-12_0_3_load_57 | 63 | 0.0023936 | 0.0005999 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6612-12_0_3_load_71 | 64 | 0.014163 | 0.0035497 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6612-12_0_3_line_0 |  | 0 | 1 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6612-12_0_3_line_1 |  | 0 | 2 | 0.0078396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6612-12_0_3_line_2 |  | 1 | 3 | 0.039174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6612-12_0_3_line_3 |  | 1 | 4 | 0.047657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6612-12_0_3_line_4 |  | 3 | 5 | 0.0078573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6612-12_0_3_line_5 |  | 3 | 6 | 0.057853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6612-12_0_3_line_6 |  | 5 | 12 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6612-12_0_3_line_7 |  | 5 | 13 | 0.030053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6612-12_0_3_line_8 |  | 5 | 14 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6612-12_0_3_line_9 |  | 7 | 8 | 0.003895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6612-12_0_3_line_10 |  | 7 | 9 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6612-12_0_3_line_11 |  | 7 | 10 | 0.033243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6612-12_0_3_line_12 |  | 9 | 11 | 0.0041202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6612-12_0_3_line_13 |  | 10 | 27 | 0.04711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6612-12_0_3_line_14 |  | 12 | 19 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6612-12_0_3_line_15 |  | 13 | 28 | 0.026352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6612-12_0_3_line_16 |  | 14 | 29 | 0.028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6612-12_0_3_line_17 |  | 15 | 16 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6612-12_0_3_line_18 |  | 15 | 17 | 0.026495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6612-12_0_3_line_19 |  | 16 | 30 | 0.028694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6612-12_0_3_line_20 |  | 17 | 21 | 0.072309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6612-12_0_3_line_21 |  | 18 | 19 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6612-12_0_3_line_22 |  | 18 | 20 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6612-12_0_3_line_23 |  | 18 | 21 | 0.0041692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6612-12_0_3_line_24 |  | 19 | 26 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6612-12_0_3_line_25 |  | 19 | 22 | 0.0092315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6612-12_0_3_line_26 |  | 20 | 24 | 0.075907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6612-12_0_3_line_27 |  | 20 | 25 | 0.065155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6612-12_0_3_line_28 |  | 22 | 23 | 0.038002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6612-12_0_3_line_29 |  | 23 | 31 | 0.0051461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6612-12_0_3_line_30 |  | 26 | 32 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6612-12_0_3_line_31 |  | 27 | 33 | 0.025953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6612-12_0_3_line_32 |  | 28 | 41 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6612-12_0_3_line_33 |  | 29 | 38 | 0.044802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6612-12_0_3_line_34 |  | 30 | 46 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6612-12_0_3_line_35 |  | 31 | 45 | 0.023484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6612-12_0_3_line_36 |  | 32 | 54 | 0.0040539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6612-12_0_3_line_37 |  | 33 | 42 | 0.008958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6612-12_0_3_line_38 |  | 34 | 35 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6612-12_0_3_line_39 |  | 35 | 64 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6612-12_0_3_line_40 |  | 36 | 37 | 0.0098635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6612-12_0_3_line_41 |  | 37 | 61 | 0.005052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6612-12_0_3_line_42 |  | 38 | 39 | 0.0055487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6612-12_0_3_line_43 |  | 39 | 40 | 0.049767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6612-12_0_3_line_44 |  | 40 | 60 | 0.004563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6612-12_0_3_line_45 |  | 42 | 43 | 0.012275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6612-12_0_3_line_46 |  | 43 | 44 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6612-12_0_3_line_47 |  | 44 | 62 | 0.022326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6612-12_0_3_line_48 |  | 46 | 52 | 0.0043283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6612-12_0_3_line_49 |  | 47 | 48 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6612-12_0_3_line_50 |  | 48 | 49 | 0.0058399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6612-12_0_3_line_51 |  | 49 | 50 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6612-12_0_3_line_52 |  | 50 | 51 | 0.0057945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6612-12_0_3_line_53 |  | 51 | 63 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6612-12_0_3_line_54 |  | 52 | 53 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6612-12_0_3_line_55 |  | 54 | 55 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6612-12_0_3_line_56 |  | 55 | 56 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6612-12_0_3_line_57 |  | 55 | 57 | 0.012359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6612-12_0_3_line_58 |  | 56 | 58 | 0.0071817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6612-12_0_3_line_59 |  | 57 | 59 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6612-12_0_3_line_60 |  | 59 | 63 | 0.0021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6612-12_0_3_line_61 |  | 60 | 61 | 0.030752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6612-12_0_3_line_62 |  | 60 | 62 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6612-12_0_3_line_63 |  | 61 | 64 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6612-12_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 65 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2503654.5364 | 1117048.8656 | 2503650.5368 | 1117053.1986 | 2503646.1371 | 1117058.5838
1 | 2503641.177 | 1117064.6547 | 2503646.1371 | 1117058.5838
2 | 2503683.7113 | 1117075.0172 | 2503676.477 | 1117069.6624 | 2503654.5364 | 1117048.8656
3 | 2503619.9273 | 1117016.0077 | 2503624.0356 | 1117019.9447 | 2503654.5364 | 1117048.8656
4 | 2503683.7113 | 1117075.0172 | 2503686.5534 | 1117071.2029 | 2503689.0565 | 1117069.3731
5 | 2503683.7113 | 1117075.0172 | 2503683.2522 | 1117075.2802 | 2503663.2027 | 1117090.3087 | 2503645.3544 | 1117102.9674 | 2503636.7314 | 1117108.7555
6 | 2503689.0565 | 1117069.3731 | 2503713.9149 | 1117091.7165
7 | 2503689.0565 | 1117069.3731 | 2503683.9576 | 1117064.7959 | 2503679.9841 | 1117059.1334 | 2503679.9374 | 1117056.199 | 2503670.2805 | 1117046.9831
8 | 2503689.0565 | 1117069.3731 | 2503691.4689 | 1117067.667 | 2503701.8879 | 1117059.6962 | 2503704.0322 | 1117058.0136
9 | 2503607.7165 | 1116988.0961 | 2503605.4425 | 1116984.9304
10 | 2503594.7679 | 1116993.817 | 2503599.2709 | 1116990.0652 | 2503605.4425 | 1116984.9304
11 | 2503620.3824 | 1116958.3427 | 2503607.8962 | 1116969.8264 | 2503605.9529 | 1116972.3923 | 2503604.7126 | 1116974.9803 | 2503604.0847 | 1116977.7253 | 2503604.3016 | 1116981.6465 | 2503605.4425 | 1116984.9304
12 | 2503594.7679 | 1116993.817 | 2503598.2045 | 1116996.0899
13 | 2503620.3824 | 1116958.3427 | 2503628.0724 | 1116953.0391 | 2503632.9098 | 1116950.8941 | 2503641.8747 | 1116948.0718 | 2503648.8362 | 1116946.4711 | 2503657.9232 | 1116945.5035 | 2503664.7108 | 1116945.8537
14 | 2503725.4459 | 1117102.0807 | 2503713.9149 | 1117091.7165
15 | 2503651.2169 | 1117028.7897 | 2503670.2805 | 1117046.9831
16 | 2503704.0322 | 1117058.0136 | 2503726.3845 | 1117040.474
17 | 2503801.6162 | 1117192.4693 | 2503817.1261 | 1117185.8949
18 | 2503801.6162 | 1117192.4693 | 2503794.0716 | 1117175.8457 | 2503789.4325 | 1117169.0358
19 | 2503817.1261 | 1117185.8949 | 2503843.5451 | 1117174.6963
20 | 2503789.4325 | 1117169.0358 | 2503787.6055 | 1117166.3538 | 2503775.4625 | 1117151.371 | 2503751.011 | 1117124.1098 | 2503741.0427 | 1117115.5218
21 | 2503737.8841 | 1117112.8006 | 2503725.4459 | 1117102.0807
22 | 2503737.8841 | 1117112.8006 | 2503735.5277 | 1117115.6064 | 2503743.6734 | 1117123.415 | 2503741.5044 | 1117129.7423
23 | 2503737.8841 | 1117112.8006 | 2503741.0427 | 1117115.5218
24 | 2503725.4459 | 1117102.0807 | 2503729.1006 | 1117099.3654 | 2503742.5908 | 1117090.8121 | 2503750.0377 | 1117086.3574
25 | 2503719.2157 | 1117108.873 | 2503722.9358 | 1117104.4444 | 2503725.4459 | 1117102.0807
26 | 2503741.5044 | 1117129.7423 | 2503744.8386 | 1117133.0802 | 2503747.848 | 1117133.9551 | 2503771.9806 | 1117160.0984 | 2503783.5065 | 1117175.6024 | 2503790.5345 | 1117186.7251
27 | 2503741.5044 | 1117129.7423 | 2503730.461 | 1117162.0156 | 2503727.0186 | 1117181.4602 | 2503726.609 | 1117192.75
28 | 2503719.2157 | 1117108.873 | 2503693.8939 | 1117137.2091
29 | 2503693.8939 | 1117137.2091 | 2503690.4649 | 1117141.0463
30 | 2503766.3652 | 1117076.5902 | 2503750.0377 | 1117086.3574
31 | 2503690.3255 | 1116949.5391 | 2503681.0977 | 1116947.2912 | 2503670.1084 | 1116946.1321 | 2503664.7108 | 1116945.8537
32 | 2503651.2169 | 1117028.7897 | 2503633.4095 | 1117011.7953
33 | 2503761.6306 | 1117012.8168 | 2503726.3845 | 1117040.474
34 | 2503863.3359 | 1117166.7958 | 2503853.3938 | 1117170.5216 | 2503843.5451 | 1117174.6963
35 | 2503674.8666 | 1117158.6022 | 2503682.5495 | 1117149.904 | 2503690.4649 | 1117141.0463
36 | 2503766.3652 | 1117076.5902 | 2503769.8442 | 1117074.509
37 | 2503690.3255 | 1116949.5391 | 2503699.029 | 1116951.6592
38 | 2503704.4369 | 1116947.6701 | 2503691.1966 | 1116944.2706
39 | 2503704.4369 | 1116947.6701 | 2503717.4764 | 1116951.0181
40 | 2503738.8529 | 1116953.487 | 2503741.3361 | 1116948.4666 | 2503741.926 | 1116944.2451
41 | 2503738.8529 | 1116953.487 | 2503735.962 | 1116957.6356
42 | 2503761.6306 | 1117012.8168 | 2503759.4233 | 1117009.9501 | 2503758.2562 | 1117008.4122
43 | 2503767.0735 | 1116970.1261 | 2503769.6616 | 1116976.0553 | 2503770.4197 | 1116979.5454 | 2503770.2677 | 1116981.638 | 2503769.8519 | 1116983.1677 | 2503769.3187 | 1116985.0774 | 2503768.5699 | 1116986.5347 | 2503767.5379 | 1116988.1521 | 2503766.2986 | 1116989.3503 | 2503770.1988 | 1116994.2913 | 2503772.2002 | 1116996.8277 | 2503772.8935 | 1116997.7061 | 2503758.2562 | 1117008.4122
44 | 2503762.9993 | 1116972.2033 | 2503767.0735 | 1116970.1261
45 | 2503699.029 | 1116951.6592 | 2503710.9553 | 1116954.5644
46 | 2503732.9681 | 1116960.61 | 2503730.1493 | 1116959.6293 | 2503726.4228 | 1116958.3322 | 2503710.9553 | 1116954.5644
47 | 2503753.0653 | 1116970.2023 | 2503739.2248 | 1116962.7868 | 2503732.9681 | 1116960.61
48 | 2503863.3359 | 1117166.7958 | 2503867.389 | 1117165.2769
49 | 2503842.1298 | 1117134.4584 | 2503836.9865 | 1117120.359
50 | 2503834.9852 | 1117114.8727 | 2503836.9865 | 1117120.359
51 | 2503828.4387 | 1117096.9269 | 2503834.9852 | 1117114.8727
52 | 2503828.4387 | 1117096.9269 | 2503826.4529 | 1117091.4832
53 | 2503826.4529 | 1117091.4832 | 2503819.8172 | 1117073.293
54 | 2503867.389 | 1117165.2769 | 2503882.4805 | 1117159.6213
55 | 2503798.9694 | 1117058.1286 | 2503791.7948 | 1117061.3781 | 2503769.8442 | 1117074.509
56 | 2503798.9694 | 1117058.1286 | 2503798.292 | 1117048.0666 | 2503797.1157 | 1117045.9506 | 2503793.4055 | 1117042.5987
57 | 2503798.9694 | 1117058.1286 | 2503801.1789 | 1117057.7377 | 2503806.3568 | 1117057.5886 | 2503809.8806 | 1117058.2775 | 2503810.9685 | 1117059.0679
58 | 2503788.0765 | 1117037.7843 | 2503793.4055 | 1117042.5987
59 | 2503810.9685 | 1117059.0679 | 2503813.6843 | 1117061.0409 | 2503817.7334 | 1117067.5806 | 2503819.086 | 1117071.2884
60 | 2503819.8172 | 1117073.293 | 2503819.086 | 1117071.2884
61 | 2503735.962 | 1116957.6356 | 2503741.5084 | 1116960.26 | 2503756.6881 | 1116967.612 | 2503760.441 | 1116970.0871 | 2503762.9993 | 1116972.2033
62 | 2503762.9993 | 1116972.2033 | 2503759.5794 | 1116973.1917 | 2503756.9788 | 1116972.2991 | 2503753.0653 | 1116970.2023
63 | 2503735.962 | 1116957.6356 | 2503732.4088 | 1116956.0689 | 2503725.5364 | 1116953.0875 | 2503717.4764 | 1116951.0181

## bus_geodata
| x | y | coords
0 | 2503646.1371 | 1117058.5838
1 | 2503654.5364 | 1117048.8656
2 | 2503641.177 | 1117064.6547
3 | 2503683.7113 | 1117075.0172
4 | 2503619.9273 | 1117016.0077
5 | 2503689.0565 | 1117069.3731
6 | 2503636.7314 | 1117108.7555
7 | 2503605.4425 | 1116984.9304
8 | 2503607.7165 | 1116988.0961
9 | 2503594.7679 | 1116993.817
10 | 2503620.3824 | 1116958.3427
11 | 2503598.2045 | 1116996.0899
12 | 2503713.9149 | 1117091.7165
13 | 2503670.2805 | 1117046.9831
14 | 2503704.0322 | 1117058.0136
15 | 2503801.6162 | 1117192.4693
16 | 2503817.1261 | 1117185.8949
17 | 2503789.4325 | 1117169.0358
18 | 2503737.8841 | 1117112.8006
19 | 2503725.4459 | 1117102.0807
20 | 2503741.5044 | 1117129.7423
21 | 2503741.0427 | 1117115.5218
22 | 2503719.2157 | 1117108.873
23 | 2503693.8939 | 1117137.2091
24 | 2503790.5345 | 1117186.7251
25 | 2503726.609 | 1117192.75
26 | 2503750.0377 | 1117086.3574
27 | 2503664.7108 | 1116945.8537
28 | 2503651.2169 | 1117028.7897
29 | 2503726.3845 | 1117040.474
30 | 2503843.5451 | 1117174.6963
31 | 2503690.4649 | 1117141.0463
32 | 2503766.3652 | 1117076.5902
33 | 2503690.3255 | 1116949.5391
34 | 2503691.1966 | 1116944.2706
35 | 2503704.4369 | 1116947.6701
36 | 2503741.926 | 1116944.2451
37 | 2503738.8529 | 1116953.487
38 | 2503761.6306 | 1117012.8168
39 | 2503758.2562 | 1117008.4122
40 | 2503767.0735 | 1116970.1261
41 | 2503633.4095 | 1117011.7953
42 | 2503699.029 | 1116951.6592
43 | 2503710.9553 | 1116954.5644
44 | 2503732.9681 | 1116960.61
45 | 2503674.8666 | 1117158.6022
46 | 2503863.3359 | 1117166.7958
47 | 2503842.1298 | 1117134.4584
48 | 2503836.9865 | 1117120.359
49 | 2503834.9852 | 1117114.8727
50 | 2503828.4387 | 1117096.9269
51 | 2503826.4529 | 1117091.4832
52 | 2503867.389 | 1117165.2769
53 | 2503882.4805 | 1117159.6213
54 | 2503769.8442 | 1117074.509
55 | 2503798.9694 | 1117058.1286
56 | 2503793.4055 | 1117042.5987
57 | 2503810.9685 | 1117059.0679
58 | 2503788.0765 | 1117037.7843
59 | 2503819.086 | 1117071.2884
60 | 2503762.9993 | 1116972.2033
61 | 2503735.962 | 1116957.6356
62 | 2503753.0653 | 1116970.2023
63 | 2503819.8172 | 1117073.293
64 | 2503717.4764 | 1116951.0181
65 | 2503689.0565 | 1117069.3731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1