## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6612-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6612-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6612-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6612-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6612-18_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6612-18_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6612-18_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6612-18_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6612-18_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_6612-18_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_6612-18_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_6612-18_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_6612-18_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6612-18_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6612-18_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6612-18_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6612-18_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6612-18_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6612-18_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6612-18_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6612-18_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6612-18_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6612-18_0_3_node_150 | 0.4 | n |  | TRUE
23 | bus_LV_6612-18_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6612-18_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_6612-18_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_6612-18_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6612-18_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6612-18_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_6612-18_0_3_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_6612-18_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6612-18_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6612-18_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_6612-18_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_6612-18_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_6612-18_0_3_node_122 | 0.4 | n |  | TRUE
36 | bus_LV_6612-18_0_3_node_130 | 0.4 | n |  | TRUE
37 | bus_LV_6612-18_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6612-18_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6612-18_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6612-18_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6612-18_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6612-18_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6612-18_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6612-18_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6612-18_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6612-18_0_3_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_6612-18_0_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_6612-18_0_3_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_6612-18_0_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_6612-18_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_6612-18_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_6612-18_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6612-18_0_3_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_6612-18_0_3_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_6612-18_0_3_node_149 | 0.4 | n |  | TRUE
56 | bus_LV_6612-18_0_3_node_148 | 0.4 | n |  | TRUE
57 | bus_LV_6612-18_0_3_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_6612-18_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6612-18_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6612-18_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6612-18_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_6612-18_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6612-18_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6612-18_0_3_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_6612-18_0_3_node_152 | 0.4 | n |  | TRUE
66 | bus_LV_6612-18_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6612-18_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6612-18_0_3_node_153 | 0.4 | n |  | TRUE
69 | bus_LV_6612-18_0_3_node_147 | 0.4 | n |  | TRUE
70 | bus_LV_6612-18_0_3_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_6612-18_0_3_node_128 | 0.4 | n |  | TRUE
72 | bus_LV_6612-18_0_3_node_136 | 0.4 | n |  | TRUE
73 | bus_LV_6612-18_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_6612-18_0_3_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_6612-18_0_3_node_117 | 0.4 | n |  | TRUE
76 | bus_LV_6612-18_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_6612-18_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_6612-18_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_6612-18_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_6612-18_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6612-18_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6612-18_0_3_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_6612-18_0_3_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_6612-18_0_3_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_6612-18_0_3_node_95 | 0.4 | n |  | TRUE
86 | bus_LV_6612-18_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_6612-18_0_3_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_6612-18_0_3_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_6612-18_0_3_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_6612-18_0_3_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_6612-18_0_3_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_6612-18_0_3_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_6612-18_0_3_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_6612-18_0_3_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_6612-18_0_3_node_137 | 0.4 | n |  | TRUE
96 | bus_LV_6612-18_0_3_node_116 | 0.4 | n |  | TRUE
97 | bus_LV_6612-18_0_3_node_111 | 0.4 | n |  | TRUE
98 | bus_LV_6612-18_0_3_node_141 | 0.4 | n |  | TRUE
99 | bus_LV_6612-18_0_3_node_115 | 0.4 | n |  | TRUE
100 | bus_LV_6612-18_0_3_node_113 | 0.4 | n |  | TRUE
101 | bus_LV_6612-18_0_3_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_6612-18_0_3_node_74 | 0.4 | n |  | TRUE
103 | bus_LV_6612-18_0_3_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_6612-18_0_3_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_6612-18_0_3_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_6612-18_0_3_node_79 | 0.4 | n |  | TRUE
107 | bus_LV_6612-18_0_3_node_80 | 0.4 | n |  | TRUE
108 | bus_LV_6612-18_0_3_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_6612-18_0_3_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_6612-18_0_3_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_6612-18_0_3_node_139 | 0.4 | n |  | TRUE
112 | bus_LV_6612-18_0_3_node_121 | 0.4 | n |  | TRUE
113 | bus_LV_6612-18_0_3_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_6612-18_0_3_node_93 | 0.4 | n |  | TRUE
115 | bus_LV_6612-18_0_3_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_6612-18_0_3_node_87 | 0.4 | n |  | TRUE
117 | bus_LV_6612-18_0_3_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_6612-18_0_3_node_89 | 0.4 | n |  | TRUE
119 | bus_LV_6612-18_0_3_node_119 | 0.4 | n |  | TRUE
120 | bus_LV_6612-18_0_3_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_6612-18_0_3_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_6612-18_0_3_node_91 | 0.4 | n |  | TRUE
123 | bus_LV_6612-18_0_3_node_92 | 0.4 | n |  | TRUE
124 | bus_LV_6612-18_0_3_node_94 | 0.4 | n |  | TRUE
125 | bus_LV_6612-18_0_3_node_97 | 0.4 | n |  | TRUE
126 | bus_LV_6612-18_0_3_node_98 | 0.4 | n |  | TRUE
127 | bus_LV_6612-18_0_3_node_123 | 0.4 | n |  | TRUE
128 | bus_LV_6612-18_0_3_node_135 | 0.4 | n |  | TRUE
129 | bus_LV_6612-18_0_3_node_132 | 0.4 | n |  | TRUE
130 | bus_LV_6612-18_0_3_node_124 | 0.4 | n |  | TRUE
131 | bus_LV_6612-18_0_3_node_133 | 0.4 | n |  | TRUE
132 | bus_LV_6612-18_0_3_node_101 | 0.4 | n |  | TRUE
133 | bus_LV_6612-18_0_3_node_102 | 0.4 | n |  | TRUE
134 | bus_LV_6612-18_0_3_node_103 | 0.4 | n |  | TRUE
135 | bus_LV_6612-18_0_3_node_104 | 0.4 | n |  | TRUE
136 | bus_LV_6612-18_0_3_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_6612-18_0_3_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_6612-18_0_3_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_6612-18_0_3_node_129 | 0.4 | n |  | TRUE
140 | bus_LV_6612-18_0_3_node_131 | 0.4 | n |  | TRUE
141 | bus_LV_6612-18_0_3_node_108 | 0.4 | n |  | TRUE
142 | bus_LV_6612-18_0_3_node_110 | 0.4 | n |  | TRUE
143 | bus_LV_6612-18_0_3_node_112 | 0.4 | n |  | TRUE
144 | bus_LV_6612-18_0_3_node_114 | 0.4 | n |  | TRUE
145 | bus_LV_6612-18_0_3_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_6612-18_0_3_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_6612-18_0_3_node_143 | 0.4 | n |  | TRUE
148 | bus_LV_6612-18_0_3_node_134 | 0.4 | n |  | TRUE
149 | bus_LV_6612-18_0_3_node_144 | 0.4 | n |  | TRUE
150 | bus_LV_6612-18_0_3_node_145 | 0.4 | n |  | TRUE
151 | bus_LV_6612-18_0_3_node_154 | 0.4 | n |  | TRUE
152 | bus_MV_460_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6612-18_0_3_load_0 | 0 | 0.00087027 | 0.00021811 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6612-18_0_3_load_1 | 1 | 0.0023001 | 0.00057646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6612-18_0_3_load_2 | 2 | 0.0013167 | 0.00032999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6612-18_0_3_load_3 | 3 | 0.0011345 | 0.00028433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6612-18_0_3_load_4 | 4 | 0.0013085 | 0.00032794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6612-18_0_3_load_5 | 5 | 0.00090283 | 0.00022627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6612-18_0_3_load_6 | 6 | 0.00046856 | 0.00011743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6612-18_0_3_load_22 | 8 | 0.0018101 | 0.00045364 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6612-18_0_3_load_52 | 10 | 0.0016529 | 0.00041427 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6612-18_0_3_load_23 | 11 | 0.0013698 | 0.0003433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6612-18_0_3_load_7 | 12 | 0.001962 | 0.00049171 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6612-18_0_3_load_8 | 13 | 0.001083 | 0.00027143 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6612-18_0_3_load_10 | 15 | 0.0010618 | 0.00026612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6612-18_0_3_load_12 | 17 | 0.0010026 | 0.00025127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6612-18_0_3_load_13 | 18 | 0.0010673 | 0.0002675 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6612-18_0_3_load_15 | 20 | 0.00072393 | 0.00018143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6612-18_0_3_load_16 | 21 | 0.00099382 | 0.00024907 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6612-18_0_3_load_150 | 22 | 0.001082 | 0.00027118 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6612-18_0_3_load_17 | 23 | 0.0010186 | 0.00025528 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6612-18_0_3_load_41 | 25 | 0.0010063 | 0.0002522 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6612-18_0_3_load_18 | 26 | 0.00099614 | 0.00024966 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6612-18_0_3_load_37 | 27 | 0.00062887 | 0.00015761 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6612-18_0_3_load_42 | 29 | 0.00098367 | 0.00024653 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6612-18_0_3_load_19 | 30 | 0.0010208 | 0.00025584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6612-18_0_3_load_20 | 31 | 0.0010503 | 0.00026322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6612-18_0_3_load_54 | 32 | 0.0012581 | 0.00031531 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6612-18_0_3_load_53 | 34 | 0.0015646 | 0.00039213 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6612-18_0_3_load_122 | 35 | 0.0021413 | 0.00053666 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6612-18_0_3_load_130 | 36 | 0.0010626 | 0.00026631 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6612-18_0_3_load_24 | 37 | 0.0018212 | 0.00045644 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6612-18_0_3_load_25 | 38 | 0.0031633 | 0.00079279 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6612-18_0_3_load_31 | 40 | 0.0015243 | 0.00038203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6612-18_0_3_load_27 | 41 | 0.00098415 | 0.00024665 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6612-18_0_3_load_28 | 42 | 0.0015566 | 0.00039013 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6612-18_0_3_load_32 | 43 | 0.00079925 | 0.00020031 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6612-18_0_3_load_29 | 44 | 0.0020308 | 0.00050897 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6612-18_0_3_load_30 | 45 | 0.0022826 | 0.00057208 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6612-18_0_3_load_82 | 46 | 0.0019458 | 0.00048767 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6612-18_0_3_load_84 | 47 | 0.0012099 | 0.00030323 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6612-18_0_3_load_83 | 48 | 0.0006842 | 0.00017148 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6612-18_0_3_load_33 | 50 | 0.0035359 | 0.00088617 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6612-18_0_3_load_34 | 51 | 0.0036843 | 0.00092337 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6612-18_0_3_load_35 | 52 | 0.00082026 | 0.00020558 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6612-18_0_3_load_146 | 53 | 0.0069349 | 0.001738 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6612-18_0_3_load_107 | 54 | 0.001324 | 0.00033182 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6612-18_0_3_load_149 | 55 | 0.00082062 | 0.00020567 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6612-18_0_3_load_148 | 56 | 0.00078667 | 0.00019716 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6612-18_0_3_load_105 | 57 | 0.0019029 | 0.0004769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6612-18_0_3_load_40 | 59 | 0.00082429 | 0.00020659 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6612-18_0_3_load_46 | 60 | 0.00072866 | 0.00018262 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6612-18_0_3_load_43 | 61 | 0.0027765 | 0.00069586 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6612-18_0_3_load_49 | 62 | 0.00072864 | 0.00018262 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6612-18_0_3_load_44 | 63 | 0.0019906 | 0.0004989 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6612-18_0_3_load_151 | 64 | 0.00099308 | 0.00024889 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6612-18_0_3_load_152 | 65 | 0.0010141 | 0.00025416 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6612-18_0_3_load_48 | 66 | 0.00073581 | 0.00018441 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6612-18_0_3_load_50 | 67 | 0.00071861 | 0.0001801 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6612-18_0_3_load_153 | 68 | 0.00072866 | 0.00018262 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6612-18_0_3_load_147 | 69 | 0.0024246 | 0.00060767 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6612-18_0_3_load_106 | 70 | 0.0016661 | 0.00041755 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6612-18_0_3_load_128 | 71 | 0.00097577 | 0.00024455 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6612-18_0_3_load_136 | 72 | 0.00047936 | 0.00012014 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6612-18_0_3_load_57 | 73 | 0.00097794 | 0.00024509 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6612-18_0_3_load_118 | 74 | 0.0016761 | 0.00042006 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6612-18_0_3_load_117 | 75 | 0.0056387 | 0.0014132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6612-18_0_3_load_58 | 76 | 0.0011825 | 0.00029636 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6612-18_0_3_load_59 | 77 | 0.00031284 | 7.8405e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6612-18_0_3_load_60 | 78 | 0.00049973 | 0.00012524 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6612-18_0_3_load_61 | 79 | 0.00047792 | 0.00011978 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6612-18_0_3_load_62 | 80 | 0.00045579 | 0.00011423 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6612-18_0_3_load_63 | 81 | 0.00033381 | 8.3661e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6612-18_0_3_load_64 | 82 | 0.00060641 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6612-18_0_3_load_99 | 83 | 0.0016224 | 0.00040662 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6612-18_0_3_load_138 | 84 | 0.0080558 | 0.002019 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6612-18_0_3_load_65 | 86 | 0.0018667 | 0.00046783 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6612-18_0_3_load_66 | 87 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6612-18_0_3_load_67 | 88 | 0.0020402 | 0.00051132 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6612-18_0_3_load_68 | 89 | 0.00076785 | 0.00019244 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6612-18_0_3_load_69 | 90 | 0.00055729 | 0.00013967 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6612-18_0_3_load_72 | 93 | 0.0034162 | 0.00085618 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6612-18_0_3_load_73 | 94 | 0.0028502 | 0.00071432 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6612-18_0_3_load_116 | 96 | 0.0034975 | 0.00087655 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6612-18_0_3_load_141 | 98 | 0.0014304 | 0.0003585 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6612-18_0_3_load_115 | 99 | 0.0017474 | 0.00043793 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6612-18_0_3_load_113 | 100 | 0.0015729 | 0.00039422 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6612-18_0_3_load_109 | 101 | 0.00088401 | 0.00022155 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6612-18_0_3_load_74 | 102 | 0.00082924 | 0.00020783 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6612-18_0_3_load_75 | 103 | 0.00080792 | 0.00020248 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6612-18_0_3_load_79 | 106 | 0.0032208 | 0.00080721 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6612-18_0_3_load_80 | 107 | 0.00080899 | 0.00020275 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6612-18_0_3_load_100 | 110 | 0.00082086 | 0.00020573 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6612-18_0_3_load_139 | 111 | 0.0023708 | 0.00059418 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6612-18_0_3_load_96 | 113 | 0.00098994 | 0.0002481 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6612-18_0_3_load_93 | 114 | 0.0017047 | 0.00042725 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6612-18_0_3_load_87 | 116 | 0.0011866 | 0.00029739 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6612-18_0_3_load_88 | 117 | 0.001097 | 0.00027493 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6612-18_0_3_load_89 | 118 | 0.00051036 | 0.00012791 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6612-18_0_3_load_119 | 119 | 0.00045269 | 0.00011345 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6612-18_0_3_load_120 | 120 | 0.00084134 | 0.00021086 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6612-18_0_3_load_90 | 121 | 0.001626 | 0.00040751 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6612-18_0_3_load_91 | 122 | 0.00057901 | 0.00014511 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6612-18_0_3_load_94 | 124 | 0.0011888 | 0.00029795 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6612-18_0_3_load_97 | 125 | 0.0014792 | 0.00037073 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6612-18_0_3_load_135 | 128 | 0.0030917 | 0.00077486 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6612-18_0_3_load_132 | 129 | 0.0011349 | 0.00028443 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6612-18_0_3_load_124 | 130 | 0.0029564 | 0.00074093 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6612-18_0_3_load_133 | 131 | 0.00037853 | 9.4869e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6612-18_0_3_load_101 | 132 | 0.00093708 | 0.00023485 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6612-18_0_3_load_102 | 133 | 0.0015317 | 0.00038388 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6612-18_0_3_load_103 | 134 | 0.0012181 | 0.00030528 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6612-18_0_3_load_104 | 135 | 0.00047662 | 0.00011945 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6612-18_0_3_load_125 | 136 | 0.00071441 | 0.00017905 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6612-18_0_3_load_126 | 137 | 0.00074108 | 0.00018573 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6612-18_0_3_load_127 | 138 | 0.00082044 | 0.00020562 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6612-18_0_3_load_129 | 139 | 0.00081988 | 0.00020548 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6612-18_0_3_load_131 | 140 | 0.00082018 | 0.00020556 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6612-18_0_3_load_108 | 141 | 0.0011936 | 0.00029915 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6612-18_0_3_load_110 | 142 | 0.0015017 | 0.00037636 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6612-18_0_3_load_112 | 143 | 0.0013879 | 0.00034785 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6612-18_0_3_load_114 | 144 | 0.00064767 | 0.00016232 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6612-18_0_3_load_140 | 145 | 0.0034563 | 0.00086624 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6612-18_0_3_load_142 | 146 | 0.0021386 | 0.00053598 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6612-18_0_3_load_143 | 147 | 0.0019649 | 0.00049244 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6612-18_0_3_load_144 | 149 | 0.00071113 | 0.00017823 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_6612-18_0_3_load_145 | 150 | 0.010076 | 0.0025254 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_6612-18_0_3_load_154 | 151 | 0.003092 | 0.00077492 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6612-18_0_3_line_0 |  | 0 | 1 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6612-18_0_3_line_1 |  | 0 | 2 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6612-18_0_3_line_2 |  | 1 | 3 | 0.0076106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6612-18_0_3_line_3 |  | 2 | 4 | 0.022943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6612-18_0_3_line_4 |  | 3 | 5 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6612-18_0_3_line_5 |  | 4 | 6 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6612-18_0_3_line_6 |  | 5 | 7 | 0.03586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6612-18_0_3_line_7 |  | 6 | 8 | 0.006198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6612-18_0_3_line_8 |  | 7 | 9 | 0.037361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6612-18_0_3_line_9 |  | 7 | 10 | 0.023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6612-18_0_3_line_10 |  | 8 | 11 | 0.0036077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6612-18_0_3_line_11 |  | 9 | 32 | 0.028781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6612-18_0_3_line_12 |  | 10 | 33 | 0.002894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6612-18_0_3_line_13 |  | 11 | 34 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6612-18_0_3_line_14 |  | 12 | 13 | 0.0090204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6612-18_0_3_line_15 |  | 12 | 14 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6612-18_0_3_line_16 |  | 13 | 15 | 0.0050882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6612-18_0_3_line_17 |  | 14 | 16 | 0.044788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6612-18_0_3_line_18 |  | 14 | 17 | 0.0085088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6612-18_0_3_line_19 |  | 15 | 18 | 0.0062908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6612-18_0_3_line_20 |  | 16 | 19 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6612-18_0_3_line_21 |  | 16 | 20 | 0.028536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6612-18_0_3_line_22 |  | 17 | 21 | 0.0058803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6612-18_0_3_line_23 |  | 18 | 22 | 0.0063571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6612-18_0_3_line_24 |  | 19 | 23 | 0.0046656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6612-18_0_3_line_25 |  | 20 | 24 | 0.0091902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6612-18_0_3_line_26 |  | 21 | 25 | 0.00589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6612-18_0_3_line_27 |  | 23 | 26 | 0.0059652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6612-18_0_3_line_28 |  | 24 | 27 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6612-18_0_3_line_29 |  | 24 | 28 | 0.035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6612-18_0_3_line_30 |  | 25 | 29 | 0.0058864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6612-18_0_3_line_31 |  | 26 | 30 | 0.0059751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6612-18_0_3_line_32 |  | 27 | 58 | 0.00049773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6612-18_0_3_line_33 |  | 28 | 59 | 0.056129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6612-18_0_3_line_34 |  | 29 | 64 | 0.0058478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6612-18_0_3_line_35 |  | 30 | 31 | 0.0061348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6612-18_0_3_line_36 |  | 32 | 59 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6612-18_0_3_line_37 |  | 33 | 69 | 0.035971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6612-18_0_3_line_38 |  | 34 | 35 | 0.0033047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6612-18_0_3_line_39 |  | 34 | 36 | 0.089323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6612-18_0_3_line_40 |  | 35 | 70 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6612-18_0_3_line_41 |  | 36 | 71 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6612-18_0_3_line_42 |  | 37 | 38 | 0.088001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6612-18_0_3_line_43 |  | 37 | 39 | 0.046463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6612-18_0_3_line_44 |  | 38 | 40 | 0.074994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6612-18_0_3_line_45 |  | 39 | 41 | 0.02155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6612-18_0_3_line_46 |  | 39 | 42 | 0.036764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6612-18_0_3_line_47 |  | 40 | 43 | 0.07353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6612-18_0_3_line_48 |  | 41 | 44 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6612-18_0_3_line_49 |  | 42 | 45 | 0.049572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6612-18_0_3_line_50 |  | 44 | 46 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6612-18_0_3_line_51 |  | 45 | 47 | 0.026135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6612-18_0_3_line_52 |  | 46 | 48 | 0.0020303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6612-18_0_3_line_53 |  | 47 | 49 | 0.065747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6612-18_0_3_line_54 |  | 48 | 113 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6612-18_0_3_line_55 |  | 49 | 115 | 0.046919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6612-18_0_3_line_56 |  | 49 | 116 | 0.0053194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6612-18_0_3_line_57 |  | 50 | 51 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6612-18_0_3_line_58 |  | 51 | 52 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6612-18_0_3_line_59 |  | 52 | 55 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6612-18_0_3_line_60 |  | 53 | 54 | 0.023079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6612-18_0_3_line_61 |  | 54 | 57 | 0.023362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6612-18_0_3_line_62 |  | 55 | 56 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6612-18_0_3_line_63 |  | 56 | 140 | 0.0088662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6612-18_0_3_line_64 |  | 57 | 134 | 0.031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6612-18_0_3_line_65 |  | 58 | 60 | 0.017959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6612-18_0_3_line_66 |  | 58 | 61 | 0.0056208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6612-18_0_3_line_67 |  | 60 | 62 | 0.0064596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6612-18_0_3_line_68 |  | 61 | 63 | 0.018762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6612-18_0_3_line_69 |  | 62 | 68 | 0.0064596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6612-18_0_3_line_70 |  | 64 | 65 | 0.005938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6612-18_0_3_line_71 |  | 66 | 67 | 0.0064468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6612-18_0_3_line_72 |  | 67 | 68 | 0.0064151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6612-18_0_3_line_73 |  | 69 | 72 | 0.029563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_6612-18_0_3_line_74 |  | 70 | 135 | 0.0008797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6612-18_0_3_line_75 |  | 71 | 137 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6612-18_0_3_line_76 |  | 72 | 148 | 0.016756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_6612-18_0_3_line_77 |  | 73 | 74 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6612-18_0_3_line_78 |  | 74 | 75 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6612-18_0_3_line_79 |  | 75 | 144 | 0.0086867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6612-18_0_3_line_80 |  | 76 | 77 | 0.0080123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6612-18_0_3_line_81 |  | 76 | 78 | 0.0026573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6612-18_0_3_line_82 |  | 77 | 79 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6612-18_0_3_line_83 |  | 78 | 80 | 0.0014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6612-18_0_3_line_84 |  | 79 | 81 | 0.0089783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6612-18_0_3_line_85 |  | 80 | 82 | 0.0064716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6612-18_0_3_line_86 |  | 81 | 83 | 0.030275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6612-18_0_3_line_87 |  | 82 | 84 | 0.0035919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6612-18_0_3_line_88 |  | 83 | 85 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6612-18_0_3_line_89 |  | 85 | 126 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_6612-18_0_3_line_90 |  | 85 | 123 | 0.087862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_6612-18_0_3_line_91 |  | 86 | 87 | 0.00057392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6612-18_0_3_line_92 |  | 86 | 88 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6612-18_0_3_line_93 |  | 87 | 89 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6612-18_0_3_line_94 |  | 88 | 90 | 0.0038377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6612-18_0_3_line_95 |  | 89 | 91 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6612-18_0_3_line_96 |  | 90 | 92 | 0.024919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6612-18_0_3_line_97 |  | 91 | 93 | 0.007003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6612-18_0_3_line_98 |  | 91 | 94 | 0.042715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6612-18_0_3_line_99 |  | 92 | 95 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6612-18_0_3_line_100 |  | 92 | 96 | 0.043593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6612-18_0_3_line_101 |  | 94 | 97 | 0.061174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6612-18_0_3_line_102 |  | 95 | 98 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6612-18_0_3_line_103 |  | 96 | 99 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6612-18_0_3_line_104 |  | 97 | 100 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6612-18_0_3_line_105 |  | 97 | 101 | 0.015044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6612-18_0_3_line_106 |  | 99 | 110 | 0.052677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6612-18_0_3_line_107 |  | 101 | 141 | 0.0078334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6612-18_0_3_line_108 |  | 102 | 103 | 0.016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6612-18_0_3_line_109 |  | 102 | 104 | 0.0036944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6612-18_0_3_line_110 |  | 103 | 105 | 0.0046267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6612-18_0_3_line_111 |  | 104 | 106 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6612-18_0_3_line_112 |  | 105 | 107 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6612-18_0_3_line_113 |  | 106 | 108 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6612-18_0_3_line_114 |  | 107 | 110 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6612-18_0_3_line_115 |  | 108 | 109 | 0.033014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6612-18_0_3_line_116 |  | 109 | 111 | 0.046068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6612-18_0_3_line_117 |  | 111 | 112 | 0.057284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6612-18_0_3_line_118 |  | 112 | 145 | 0.081796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6612-18_0_3_line_119 |  | 112 | 120 | 0.060803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
120 | LV_6612-18_0_3_line_120 |  | 113 | 114 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
121 | LV_6612-18_0_3_line_121 |  | 114 | 122 | 0.0073371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_6612-18_0_3_line_122 |  | 115 | 117 | 0.01399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6612-18_0_3_line_123 |  | 116 | 118 | 0.02829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
124 | LV_6612-18_0_3_line_124 |  | 118 | 119 | 0.0085734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
125 | LV_6612-18_0_3_line_125 |  | 119 | 120 | 0.0069729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
126 | LV_6612-18_0_3_line_126 |  | 121 | 122 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
127 | LV_6612-18_0_3_line_127 |  | 121 | 123 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
128 | LV_6612-18_0_3_line_128 |  | 123 | 124 | 0.043819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6612-18_0_3_line_129 |  | 124 | 125 | 0.053641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6612-18_0_3_line_130 |  | 125 | 127 | 0.036467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6612-18_0_3_line_131 |  | 126 | 128 | 0.073469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6612-18_0_3_line_132 |  | 126 | 129 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
133 | LV_6612-18_0_3_line_133 |  | 127 | 130 | 0.040799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6612-18_0_3_line_134 |  | 129 | 131 | 0.024395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
135 | LV_6612-18_0_3_line_135 |  | 130 | 146 | 0.034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6612-18_0_3_line_136 |  | 131 | 148 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_6612-18_0_3_line_137 |  | 132 | 133 | 0.025021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6612-18_0_3_line_138 |  | 132 | 134 | 0.008672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6612-18_0_3_line_139 |  | 133 | 135 | 0.0021137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6612-18_0_3_line_140 |  | 136 | 137 | 0.0085206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6612-18_0_3_line_141 |  | 136 | 138 | 0.012695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6612-18_0_3_line_142 |  | 138 | 139 | 0.011145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6612-18_0_3_line_143 |  | 139 | 140 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6612-18_0_3_line_144 |  | 141 | 142 | 0.020554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6612-18_0_3_line_145 |  | 142 | 143 | 0.0090058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_6612-18_0_3_line_146 |  | 143 | 144 | 0.023299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_6612-18_0_3_line_147 |  | 146 | 147 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6612-18_0_3_line_148 |  | 147 | 149 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6612-18_0_3_line_149 |  | 149 | 150 | 0.0096439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6612-18_0_3_line_150 |  | 150 | 151 | 0.090833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6612-18_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 152 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2502296.5134 | 1114816.9586 | 2502293.2178 | 1114818.7018 | 2502287.4943 | 1114824.1739
1 | 2502296.5134 | 1114816.9586 | 2502306.0753 | 1114811.9011 | 2502316.6705 | 1114809.4397 | 2502316.6705 | 1114809.4397
2 | 2502281.9933 | 1114829.4333 | 2502287.4943 | 1114824.1739
3 | 2502338.9992 | 1114810.2237 | 2502334.696 | 1114807.9701 | 2502316.6705 | 1114809.4397
4 | 2502281.9933 | 1114829.4333 | 2502281.8623 | 1114829.5585 | 2502276.1567 | 1114839.7125 | 2502274.8506 | 1114843.7828
5 | 2502350.5268 | 1114816.2602 | 2502348.0621 | 1114814.9699 | 2502338.9992 | 1114810.2237
6 | 2502270.815 | 1114879.0787 | 2502270.8229 | 1114864.2694 | 2502271.3332 | 1114854.7441 | 2502274.8506 | 1114843.7828
7 | 2502350.5268 | 1114816.2602 | 2502356.0147 | 1114819.1331 | 2502356.0177 | 1114819.135
8 | 2502248.211 | 1114850.0368 | 2502258.9672 | 1114860.8921 | 2502264.8025 | 1114873.5835 | 2502270.815 | 1114879.0787
9 | 2502270.815 | 1114879.0787 | 2502278.3796 | 1114901.7707
10 | 2502359.0592 | 1114821.0752 | 2502356.0177 | 1114819.135
11 | 2502248.211 | 1114850.0368 | 2502233.4739 | 1114840.8803 | 2502222.5401 | 1114837.5466
12 | 2502275.5808 | 1114902.5386 | 2502278.3796 | 1114901.7707
13 | 2502372.3006 | 1114829.5223 | 2502359.0592 | 1114821.0752
14 | 2502155.3837 | 1114761.7065 | 2502155.3277 | 1114770.7267
15 | 2502155.4593 | 1114749.5397 | 2502155.3837 | 1114761.7065
16 | 2502155.4373 | 1114775.8087 | 2502155.305 | 1114774.3799 | 2502155.3277 | 1114770.7267
17 | 2502155.4593 | 1114749.5397 | 2502185.4329 | 1114745.6751 | 2502200.1307 | 1114745.6932
18 | 2502155.4593 | 1114749.5397 | 2502155.3938 | 1114741.0312
19 | 2502156.0173 | 1114782.0728 | 2502155.4373 | 1114775.8087
20 | 2502200.1307 | 1114745.6932 | 2502200.0246 | 1114734.3545
21 | 2502200.1307 | 1114745.6932 | 2502221.5158 | 1114752.3296 | 2502226.944 | 1114755.2088
22 | 2502155.3485 | 1114735.1511 | 2502155.3938 | 1114741.0312
23 | 2502156.0173 | 1114782.0728 | 2502156.6033 | 1114788.4027
24 | 2502200.0246 | 1114734.3545 | 2502199.9802 | 1114729.6891
25 | 2502235.0628 | 1114759.5152 | 2502226.944 | 1114755.2088
26 | 2502155.3031 | 1114729.2613 | 2502155.3485 | 1114735.1511
27 | 2502199.9234 | 1114723.7242 | 2502199.9802 | 1114729.6891
28 | 2502235.0628 | 1114759.5152 | 2502244.9836 | 1114755.8829
29 | 2502201.7469 | 1114773.0507 | 2502226.8023 | 1114763.0731 | 2502235.0628 | 1114759.5152
30 | 2502155.2578 | 1114723.375 | 2502155.3031 | 1114729.2613
31 | 2502199.9234 | 1114723.7242 | 2502199.8666 | 1114717.7494
32 | 2502245.451 | 1114755.7117 | 2502244.9836 | 1114755.8829
33 | 2502201.7469 | 1114773.0507 | 2502195.1642 | 1114784.8422 | 2502195.5052 | 1114794.9429 | 2502203.8465 | 1114820.2683 | 2502206.9289 | 1114825.2454
34 | 2502155.2578 | 1114723.375 | 2502155.2128 | 1114717.5274
35 | 2502199.8666 | 1114717.7494 | 2502199.8082 | 1114711.6148
36 | 2502206.9289 | 1114825.2454 | 2502211.1344 | 1114832.0357 | 2502217.6482 | 1114836.0551 | 2502222.5401 | 1114837.5466
37 | 2502275.5808 | 1114902.5386 | 2502276.3726 | 1114910.4418 | 2502280.3115 | 1114928.6117 | 2502281.9299 | 1114937.9078
38 | 2502372.3006 | 1114829.5223 | 2502375.0867 | 1114831.2997 | 2502375.0867 | 1114831.2997
39 | 2502372.3006 | 1114829.5223 | 2502416.8492 | 1114752.1015
40 | 2502385.2466 | 1114842.7214 | 2502379.7662 | 1114838.9067 | 2502375.0867 | 1114831.2997
41 | 2502416.8492 | 1114752.1015 | 2502431.0234 | 1114760.2344
42 | 2502540.9953 | 1114971.7066 | 2502499.6783 | 1115024.9003 | 2502487.6972 | 1115041.7141
43 | 2502462.3994 | 1115080.4465 | 2502463.6197 | 1115076.6245 | 2502465.6486 | 1115072.656 | 2502487.6972 | 1115041.7141
44 | 2502540.9953 | 1114971.7066 | 2502580.3755 | 1114907.8839
45 | 2502462.3994 | 1115080.4465 | 2502442.107 | 1115087.7015
46 | 2502462.3994 | 1115080.4465 | 2502463.3659 | 1115086.2679 | 2502467.0542 | 1115097.0818 | 2502469.8513 | 1115103.3962 | 2502474.5983 | 1115112.3364 | 2502475.954 | 1115114.3271
47 | 2502619.3151 | 1114969.8178 | 2502608.7652 | 1114957.2576 | 2502605.7494 | 1114948.8676 | 2502587.5464 | 1114918.6752 | 2502580.3755 | 1114907.8839 | 2502580.3755 | 1114907.8839
48 | 2502442.107 | 1115087.7015 | 2502431.2709 | 1115091.5756
49 | 2502475.954 | 1115114.3271 | 2502478.5375 | 1115118.121 | 2502482.366 | 1115122.7844 | 2502490.7797 | 1115130.1867 | 2502512.3554 | 1115147.6254
50 | 2502404.4554 | 1115101.1626 | 2502431.2709 | 1115091.5756
51 | 2502532.6816 | 1115164.0542 | 2502512.3554 | 1115147.6254
52 | 2502404.4554 | 1115101.1626 | 2502402.5437 | 1115101.8461
53 | 2502579.7883 | 1115209.4803 | 2502562.1065 | 1115188.1073 | 2502556.797 | 1115183.5455 | 2502532.6816 | 1115164.0542
54 | 2502402.5437 | 1115101.8461 | 2502380.3111 | 1115109.7947
55 | 2502579.7883 | 1115209.4803 | 2502581.9962 | 1115207.5102 | 2502585.8287 | 1115204.2799 | 2502589.0143 | 1115200.6819 | 2502590.2968 | 1115198.3154 | 2502591.1098 | 1115195.5672 | 2502591.4419 | 1115192.2154 | 2502590.8808 | 1115189.5005 | 2502583.149 | 1115171.6806 | 2502582.2604 | 1115168.7708
56 | 2502579.7883 | 1115209.4803 | 2502583.1036 | 1115213.6403
57 | 2502533.7775 | 1114812.0213 | 2502539.9552 | 1114816.4891 | 2502544.412 | 1114820.1249
58 | 2502533.7775 | 1114812.0213 | 2502528.812 | 1114808.4302 | 2502518.0562 | 1114802.8444
59 | 2502518.0562 | 1114802.8444 | 2502518.0562 | 1114802.8444 | 2502509.136 | 1114797.5848 | 2502505.0424 | 1114795.7534
60 | 2502468.9973 | 1114878.4663 | 2502475.446 | 1114881.3462 | 2502488.459 | 1114890.684
61 | 2502468.9973 | 1114878.4663 | 2502458.4096 | 1114873.7382 | 2502447.225 | 1114870.0843
62 | 2502505.0424 | 1114795.7534 | 2502493.904 | 1114790.7704
63 | 2502486.0505 | 1114786.6556 | 2502493.904 | 1114790.7704 | 2502493.904 | 1114790.7704
64 | 2502447.225 | 1114870.0843 | 2502441.383 | 1114868.1758 | 2502422.0173 | 1114862.6846 | 2502417.1761 | 1114860.6166
65 | 2502245.451 | 1114755.7117 | 2502245.4878 | 1114737.7532
66 | 2502245.451 | 1114755.7117 | 2502250.7175 | 1114753.7477
67 | 2502245.4878 | 1114737.7532 | 2502245.501 | 1114731.2937
68 | 2502250.7175 | 1114753.7477 | 2502250.7175 | 1114753.7477 | 2502252.6259 | 1114735.0826
69 | 2502245.501 | 1114731.2937 | 2502245.5143 | 1114724.8341
70 | 2502155.2128 | 1114717.5274 | 2502155.167 | 1114711.5895
71 | 2502245.5274 | 1114718.4191 | 2502245.5407 | 1114711.9723
72 | 2502245.5143 | 1114724.8341 | 2502245.5274 | 1114718.4191
73 | 2502287.0002 | 1114967.0323 | 2502281.9299 | 1114937.9078
74 | 2502385.9686 | 1114843.2239 | 2502385.2466 | 1114842.7214
75 | 2502431.0234 | 1114760.2344 | 2502444.6801 | 1114768.0703
76 | 2502287.5702 | 1114983.5286 | 2502288.6287 | 1114979.7314 | 2502288.0243 | 1114972.9147 | 2502287.0002 | 1114967.0323
77 | 2503060.4212 | 1115230.3353 | 2503057.4289 | 1115217.0476
78 | 2503064.8467 | 1115249.4665 | 2503063.7731 | 1115245.2202 | 2503060.4212 | 1115230.3353
79 | 2503066.9759 | 1115257.8882 | 2503064.8467 | 1115249.4665
80 | 2502350.9795 | 1114997.2284 | 2502353.0564 | 1114995.1678 | 2502357.4707 | 1114992.6404
81 | 2502359.7768 | 1114991.3201 | 2502357.4707 | 1114992.6404
82 | 2502350.9795 | 1114997.2284 | 2502339.0341 | 1115009.0794
83 | 2502361.028 | 1114990.6038 | 2502359.7768 | 1114991.3201
84 | 2502332.6603 | 1115015.4029 | 2502339.0341 | 1115009.0794
85 | 2502361.028 | 1114990.6038 | 2502366.6442 | 1114987.3882
86 | 2502332.6603 | 1115015.4029 | 2502311.1683 | 1115036.7253
87 | 2502369.7614 | 1114985.6035 | 2502366.6442 | 1114987.3882
88 | 2502300.7904 | 1115047.0212 | 2502311.1683 | 1115036.7253
89 | 2502298.6255 | 1115032.525 | 2502300.7904 | 1115047.0212
90 | 2502300.7904 | 1115047.0212 | 2502303.7345 | 1115066.7304 | 2502306.7821 | 1115087.105 | 2502312.36 | 1115134.0885
91 | 2502941.8683 | 1115278.7325 | 2502941.3309 | 1115278.5311
92 | 2502941.3309 | 1115278.5311 | 2502929.4251 | 1115274.0698
93 | 2502955.1316 | 1115283.7025 | 2502941.8683 | 1115278.7325
94 | 2502925.9039 | 1115272.545 | 2502929.0251 | 1115273.9199 | 2502929.4251 | 1115274.0698
95 | 2502972.3858 | 1115290.168 | 2502955.1316 | 1115283.7025
96 | 2502905.5096 | 1115258.5209 | 2502916.9066 | 1115268.044 | 2502922.523 | 1115271.0557 | 2502925.9039 | 1115272.545
97 | 2502970.7032 | 1115296.9658 | 2502972.3858 | 1115290.168
98 | 2502972.3858 | 1115290.168 | 2503012.6617 | 1115304.3951
99 | 2502905.5096 | 1115258.5209 | 2502913.4747 | 1115254.3795 | 2502922.5935 | 1115248.9854
100 | 2502905.5096 | 1115258.5209 | 2502894.1227 | 1115263.5845 | 2502892.4817 | 1115264.3113 | 2502866.8169 | 1115278.5221
101 | 2503066.6708 | 1115332.0608 | 2503060.3719 | 1115327.4144 | 2503048.4697 | 1115318.633 | 2503027.7229 | 1115309.7154 | 2503012.6617 | 1115304.3951
102 | 2502936.4831 | 1115248.2844 | 2502926.1568 | 1115254.9542 | 2502922.5935 | 1115248.9854
103 | 2502843.6866 | 1115291.6577 | 2502847.381 | 1115289.2839 | 2502866.8169 | 1115278.5221
104 | 2503066.6708 | 1115332.0608 | 2503073.5415 | 1115342.0984
105 | 2503066.6708 | 1115332.0608 | 2503069.8113 | 1115317.3481
106 | 2502803.5407 | 1115325.5738 | 2502821.1275 | 1115308.7285 | 2502836.6797 | 1115296.1599 | 2502843.6866 | 1115291.6577
107 | 2503071.4465 | 1115309.6873 | 2503069.8113 | 1115317.3481
108 | 2502768.7896 | 1115356.1291 | 2502775.8628 | 1115351.3263 | 2502781.8306 | 1115346.621
109 | 2502765.7332 | 1115358.2044 | 2502768.7896 | 1115356.1291
110 | 2502785.4638 | 1115343.7563 | 2502781.8306 | 1115346.621
111 | 2502765.7332 | 1115358.2044 | 2502751.8662 | 1115366.0543 | 2502741.1399 | 1115371.3522 | 2502733.937 | 1115374.4983
112 | 2502785.4638 | 1115343.7563 | 2502794.2402 | 1115335.1105
113 | 2502718.065 | 1115381.4404 | 2502730.8332 | 1115375.8539 | 2502733.937 | 1115374.4983
114 | 2502794.2402 | 1115335.1105 | 2502795.4683 | 1115333.9006 | 2502803.0416 | 1115326.0519 | 2502803.5407 | 1115325.5738
115 | 2502686.9833 | 1115392.5692 | 2502696.6739 | 1115389.1335 | 2502708.4291 | 1115384.9086 | 2502718.065 | 1115381.4404
116 | 2502686.9833 | 1115392.5692 | 2502677.8383 | 1115372.7929 | 2502669.2452 | 1115360.4457 | 2502664.7989 | 1115354.3245 | 2502663.7881 | 1115352.994
117 | 2502631.6835 | 1115305.8049 | 2502635.7182 | 1115314.6566 | 2502639.4018 | 1115320.8901 | 2502643.5125 | 1115326.3051 | 2502663.7881 | 1115352.994
118 | 2502701.7256 | 1115263.43 | 2502636.4427 | 1115301.6146 | 2502631.6835 | 1115305.8049
119 | 2502631.6835 | 1115305.8049 | 2502625.0815 | 1115292.9031 | 2502608.1142 | 1115254.9748 | 2502606.0998 | 1115250.6623
120 | 2502380.3111 | 1115109.7947 | 2502369.0694 | 1115113.8138
121 | 2502362.1605 | 1115116.2839 | 2502369.0694 | 1115113.8138
122 | 2502582.2604 | 1115168.7708 | 2502578.1954 | 1115155.3842
123 | 2502599.3818 | 1115236.6454 | 2502595.4736 | 1115229.1623 | 2502583.1036 | 1115213.6403
124 | 2502599.3818 | 1115236.6454 | 2502600.9957 | 1115239.7355 | 2502603.1487 | 1115244.3447
125 | 2502606.0998 | 1115250.6623 | 2502603.1487 | 1115244.3447
126 | 2502362.1605 | 1115116.2839 | 2502346.0133 | 1115122.0568
127 | 2502312.36 | 1115134.0885 | 2502346.0133 | 1115122.0568
128 | 2502312.36 | 1115134.0885 | 2502315.775 | 1115161.4393 | 2502317.7852 | 1115177.5708
129 | 2502317.7852 | 1115177.5708 | 2502318.6675 | 1115184.6514 | 2502322.5376 | 1115217.7095 | 2502321.5752 | 1115230.896
130 | 2502310.1177 | 1115265.4173 | 2502321.3677 | 1115233.7383 | 2502321.5752 | 1115230.896
131 | 2502298.6255 | 1115032.525 | 2502331.8024 | 1114966.9377
132 | 2502298.6255 | 1115032.525 | 2502293.4119 | 1115023.8816
133 | 2502310.1177 | 1115265.4173 | 2502346.6678 | 1115249.551 | 2502347.5807 | 1115249.2742
134 | 2502289.9338 | 1114999.7363 | 2502291.8519 | 1115012.8888 | 2502293.4119 | 1115023.8816
135 | 2502380.6915 | 1115239.2349 | 2502347.5807 | 1115249.2742
136 | 2502287.5702 | 1114983.5286 | 2502289.9338 | 1114999.7363
137 | 2502409.2012 | 1114857.2101 | 2502390.9905 | 1114846.7194 | 2502387.7035 | 1114844.4315
138 | 2502409.2012 | 1114857.2101 | 2502409.2012 | 1114857.2101 | 2502417.1761 | 1114860.6166
139 | 2502385.9686 | 1114843.2239 | 2502387.7035 | 1114844.4315
140 | 2502452.0705 | 1114772.3108 | 2502444.6801 | 1114768.0703
141 | 2502452.0705 | 1114772.3108 | 2502452.0705 | 1114772.3108 | 2502459.3488 | 1114775.362 | 2502463.263 | 1114778.1451
142 | 2502473.5169 | 1114782.2936 | 2502473.5169 | 1114782.2936 | 2502470.2561 | 1114780.2782 | 2502463.263 | 1114778.1451 | 2502463.263 | 1114778.1451
143 | 2502473.5169 | 1114782.2936 | 2502478.3786 | 1114782.5265 | 2502482.5421 | 1114783.5267 | 2502485.1958 | 1114786.2078 | 2502486.0505 | 1114786.6556
144 | 2503071.4465 | 1115309.6873 | 2503071.9002 | 1115307.5619 | 2503073.8359 | 1115289.283
145 | 2503072.6869 | 1115280.4766 | 2503074.154 | 1115286.2793 | 2503073.8359 | 1115289.283
146 | 2503066.9759 | 1115257.8882 | 2503072.6869 | 1115280.4766
147 | 2502380.6915 | 1115239.2349 | 2502381.7964 | 1115238.8999 | 2502395.016 | 1115238.7977 | 2502402.1489 | 1115240.5296
148 | 2502415.0131 | 1115243.6531 | 2502402.1489 | 1115240.5296
149 | 2502424.3847 | 1115245.9286 | 2502415.0131 | 1115243.6531
150 | 2502424.3847 | 1115245.9286 | 2502456.8904 | 1115330.7461

## bus_geodata
| x | y | coords
0 | 2502296.5134 | 1114816.9586
1 | 2502287.4943 | 1114824.1739
2 | 2502316.6705 | 1114809.4397
3 | 2502281.9933 | 1114829.4333
4 | 2502338.9991 | 1114810.2237
5 | 2502274.8506 | 1114843.7828
6 | 2502350.5268 | 1114816.2602
7 | 2502270.815 | 1114879.0787
8 | 2502356.0177 | 1114819.135
9 | 2502248.211 | 1114850.0368
10 | 2502278.3796 | 1114901.7707
11 | 2502359.0592 | 1114821.0752
12 | 2502155.3837 | 1114761.7065
13 | 2502155.3277 | 1114770.7267
14 | 2502155.4593 | 1114749.5397
15 | 2502155.4373 | 1114775.8087
16 | 2502200.1307 | 1114745.6932
17 | 2502155.3938 | 1114741.0312
18 | 2502156.0173 | 1114782.0728
19 | 2502200.0246 | 1114734.3545
20 | 2502226.944 | 1114755.2088
21 | 2502155.3485 | 1114735.1511
22 | 2502156.6033 | 1114788.4027
23 | 2502199.9802 | 1114729.6891
24 | 2502235.0628 | 1114759.5152
25 | 2502155.3031 | 1114729.2613
26 | 2502199.9234 | 1114723.7242
27 | 2502244.9836 | 1114755.8829
28 | 2502201.7469 | 1114773.0507
29 | 2502155.2578 | 1114723.375
30 | 2502199.8666 | 1114717.7494
31 | 2502199.8082 | 1114711.6148
32 | 2502222.5401 | 1114837.5466
33 | 2502275.5808 | 1114902.5386
34 | 2502372.3006 | 1114829.5223
35 | 2502375.0867 | 1114831.2997
36 | 2502416.8492 | 1114752.1015
37 | 2502487.6972 | 1115041.7141
38 | 2502540.9953 | 1114971.7066
39 | 2502462.3994 | 1115080.4465
40 | 2502580.3755 | 1114907.8839
41 | 2502442.107 | 1115087.7015
42 | 2502475.954 | 1115114.3271
43 | 2502619.3151 | 1114969.8178
44 | 2502431.2709 | 1115091.5756
45 | 2502512.3554 | 1115147.6254
46 | 2502404.4554 | 1115101.1626
47 | 2502532.6816 | 1115164.0542
48 | 2502402.5437 | 1115101.8461
49 | 2502579.7883 | 1115209.4803
50 | 2502544.412 | 1114820.1249
51 | 2502533.7775 | 1114812.0213
52 | 2502518.0562 | 1114802.8444
53 | 2502488.459 | 1114890.684
54 | 2502468.9973 | 1114878.4663
55 | 2502505.0424 | 1114795.7534
56 | 2502493.904 | 1114790.7704
57 | 2502447.225 | 1114870.0843
58 | 2502245.451 | 1114755.7117
59 | 2502206.9289 | 1114825.2454
60 | 2502245.4878 | 1114737.7532
61 | 2502250.7175 | 1114753.7477
62 | 2502245.501 | 1114731.2937
63 | 2502252.6259 | 1114735.0826
64 | 2502155.2128 | 1114717.5274
65 | 2502155.167 | 1114711.5895
66 | 2502245.5407 | 1114711.9723
67 | 2502245.5274 | 1114718.4191
68 | 2502245.5143 | 1114724.8341
69 | 2502281.9299 | 1114937.9078
70 | 2502385.2466 | 1114842.7214
71 | 2502431.0234 | 1114760.2344
72 | 2502287.0002 | 1114967.0323
73 | 2503057.4289 | 1115217.0476
74 | 2503060.4212 | 1115230.3353
75 | 2503064.8467 | 1115249.4665
76 | 2502357.4707 | 1114992.6404
77 | 2502350.9795 | 1114997.2284
78 | 2502359.7768 | 1114991.3201
79 | 2502339.0341 | 1115009.0794
80 | 2502361.028 | 1114990.6038
81 | 2502332.6603 | 1115015.4029
82 | 2502366.6442 | 1114987.3882
83 | 2502311.1683 | 1115036.7253
84 | 2502369.7614 | 1114985.6035
85 | 2502300.7904 | 1115047.0212
86 | 2502941.3309 | 1115278.5311
87 | 2502941.8683 | 1115278.7325
88 | 2502929.4251 | 1115274.0698
89 | 2502955.1316 | 1115283.7025
90 | 2502925.9039 | 1115272.545
91 | 2502972.3858 | 1115290.168
92 | 2502905.5096 | 1115258.5209
93 | 2502970.7032 | 1115296.9658
94 | 2503012.6617 | 1115304.3951
95 | 2502922.5935 | 1115248.9854
96 | 2502866.8169 | 1115278.5221
97 | 2503066.6708 | 1115332.0608
98 | 2502936.4831 | 1115248.2844
99 | 2502843.6866 | 1115291.6577
100 | 2503073.5415 | 1115342.0984
101 | 2503069.8113 | 1115317.3481
102 | 2502768.7896 | 1115356.1291
103 | 2502781.8306 | 1115346.621
104 | 2502765.7332 | 1115358.2044
105 | 2502785.4638 | 1115343.7563
106 | 2502733.937 | 1115374.4983
107 | 2502794.2402 | 1115335.1105
108 | 2502718.065 | 1115381.4404
109 | 2502686.9833 | 1115392.5692
110 | 2502803.5407 | 1115325.5738
111 | 2502663.7881 | 1115352.994
112 | 2502631.6835 | 1115305.8049
113 | 2502380.3111 | 1115109.7947
114 | 2502369.0694 | 1115113.8138
115 | 2502582.2604 | 1115168.7708
116 | 2502583.1036 | 1115213.6403
117 | 2502578.1954 | 1115155.3842
118 | 2502599.3818 | 1115236.6454
119 | 2502603.1487 | 1115244.3447
120 | 2502606.0998 | 1115250.6623
121 | 2502346.0133 | 1115122.0568
122 | 2502362.1605 | 1115116.2839
123 | 2502312.36 | 1115134.0885
124 | 2502317.7852 | 1115177.5708
125 | 2502321.5752 | 1115230.896
126 | 2502298.6255 | 1115032.525
127 | 2502310.1177 | 1115265.4173
128 | 2502331.8024 | 1114966.9377
129 | 2502293.4119 | 1115023.8816
130 | 2502347.5807 | 1115249.2742
131 | 2502289.9338 | 1114999.7363
132 | 2502409.2012 | 1114857.2101
133 | 2502387.7035 | 1114844.4315
134 | 2502417.1761 | 1114860.6166
135 | 2502385.9686 | 1114843.2239
136 | 2502452.0705 | 1114772.3108
137 | 2502444.6801 | 1114768.0703
138 | 2502463.263 | 1114778.1451
139 | 2502473.5169 | 1114782.2936
140 | 2502486.0505 | 1114786.6556
141 | 2503071.4465 | 1115309.6873
142 | 2503073.8359 | 1115289.283
143 | 2503072.6869 | 1115280.4766
144 | 2503066.9759 | 1115257.8882
145 | 2502701.7256 | 1115263.43
146 | 2502380.6915 | 1115239.2349
147 | 2502402.1489 | 1115240.5296
148 | 2502287.5702 | 1114983.5286
149 | 2502415.0131 | 1115243.6531
150 | 2502424.3847 | 1115245.9286
151 | 2502456.8904 | 1115330.7461
152 | 2502462.3994 | 1115080.4465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1