## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6612-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6612-2_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6612-2_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6612-2_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6612-2_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6612-2_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6612-2_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6612-2_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6612-2_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_6612-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6612-2_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_6612-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6612-2_0_4_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_6612-2_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_6612-2_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_6612-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6612-2_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_6612-2_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6612-2_0_4_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_6612-2_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_6612-2_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_6612-2_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_6612-2_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6612-2_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6612-2_0_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6612-2_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6612-2_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6612-2_0_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_6612-2_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6612-2_0_4_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_6612-2_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_6612-2_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6612-2_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6612-2_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6612-2_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_6612-2_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_6612-2_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6612-2_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6612-2_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6612-2_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6612-2_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6612-2_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_6612-2_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_6612-2_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_6612-2_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6612-2_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6612-2_0_4_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_6612-2_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_6612-2_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_6612-2_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_6612-2_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6612-2_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6612-2_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6612-2_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6612-2_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_MV_647_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6612-2_0_4_load_0 | 0 | 0.009661 | 0.0024213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6612-2_0_4_load_4 | 2 | 0.0035036 | 0.00087809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6612-2_0_4_load_3 | 4 | 0.017148 | 0.0042977 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6612-2_0_4_load_33 | 8 | 0.010344 | 0.0025923 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6612-2_0_4_load_61 | 10 | 0.0067635 | 0.0016951 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6612-2_0_4_load_27 | 13 | 0.053981 | 0.013529 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6612-2_0_4_load_31 | 14 | 0.011205 | 0.0028082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6612-2_0_4_load_44 | 16 | 0.0056613 | 0.0014189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6612-2_0_4_load_32 | 19 | 0.0035111 | 0.00087996 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6612-2_0_4_load_58 | 20 | 0.013554 | 0.0033969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6612-2_0_4_load_59 | 21 | 0.0096617 | 0.0024214 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6612-2_0_4_load_56 | 24 | 0.010396 | 0.0026055 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6612-2_0_4_load_38 | 26 | 0.0046779 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6612-2_0_4_load_36 | 27 | 0.0027036 | 0.0006776 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6612-2_0_4_load_57 | 29 | 0.0039458 | 0.00098892 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6612-2_0_4_load_54 | 30 | 0.0017506 | 0.00043873 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6612-2_0_4_load_29 | 32 | 0.0049807 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6612-2_0_4_load_48 | 34 | 0.0059015 | 0.0014791 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6612-2_0_4_load_47 | 35 | 0.010471 | 0.0026244 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6612-2_0_4_load_26 | 36 | 0.0044692 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6612-2_0_4_load_30 | 37 | 0.0040601 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6612-2_0_4_load_39 | 39 | 0.0030032 | 0.00075267 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6612-2_0_4_load_51 | 41 | 0.0012937 | 0.00032424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6612-2_0_4_load_50 | 42 | 0.0030377 | 0.00076131 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6612-2_0_4_load_52 | 43 | 0.0012618 | 0.00031624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6612-2_0_4_load_46 | 44 | 0.0014856 | 0.00037232 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6612-2_0_4_load_49 | 45 | 0.0020902 | 0.00052385 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6612-2_0_4_load_23 | 46 | 0.0032229 | 0.00080772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6612-2_0_4_load_24 | 47 | 0.0068641 | 0.0017203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6612-2_0_4_load_25 | 48 | 0.051211 | 0.012835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6612-2_0_4_load_28 | 49 | 0.0023189 | 0.00058118 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6612-2_0_4_load_60 | 51 | 0.0089913 | 0.0022534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6612-2_0_4_load_43 | 52 | 0.0010029 | 0.00025136 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6612-2_0_4_load_53 | 53 | 0.0026773 | 0.00067098 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6612-2_0_4_load_55 | 54 | 0.0025552 | 0.0006404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6612-2_0_4_line_0 |  | 0 | 1 | 0.0073741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6612-2_0_4_line_1 |  | 1 | 2 | 0.05606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6612-2_0_4_line_2 |  | 1 | 3 | 0.079084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6612-2_0_4_line_3 |  | 2 | 6 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6612-2_0_4_line_4 |  | 3 | 7 | 0.032281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6612-2_0_4_line_5 |  | 3 | 8 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6612-2_0_4_line_6 |  | 4 | 5 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6612-2_0_4_line_7 |  | 5 | 19 | 0.033296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6612-2_0_4_line_8 |  | 5 | 8 | 0.035647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6612-2_0_4_line_9 |  | 6 | 20 | 0.029776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6612-2_0_4_line_10 |  | 6 | 21 | 0.037148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6612-2_0_4_line_11 |  | 7 | 14 | 0.062115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6612-2_0_4_line_12 |  | 7 | 9 | 0.036106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6612-2_0_4_line_13 |  | 9 | 10 | 0.0052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6612-2_0_4_line_14 |  | 9 | 11 | 0.06795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6612-2_0_4_line_15 |  | 11 | 12 | 0.004288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6612-2_0_4_line_16 |  | 11 | 13 | 0.048368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6612-2_0_4_line_17 |  | 12 | 15 | 0.003334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6612-2_0_4_line_18 |  | 13 | 36 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6612-2_0_4_line_19 |  | 14 | 37 | 0.028838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6612-2_0_4_line_20 |  | 15 | 16 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6612-2_0_4_line_21 |  | 16 | 38 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6612-2_0_4_line_22 |  | 17 | 18 | 0.064196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6612-2_0_4_line_23 |  | 17 | 19 | 0.041138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6612-2_0_4_line_24 |  | 18 | 39 | 0.032282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6612-2_0_4_line_25 |  | 20 | 40 | 0.022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6612-2_0_4_line_26 |  | 21 | 24 | 0.028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6612-2_0_4_line_27 |  | 22 | 23 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6612-2_0_4_line_28 |  | 22 | 24 | 0.002745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6612-2_0_4_line_29 |  | 23 | 31 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6612-2_0_4_line_30 |  | 23 | 32 | 0.0068458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6612-2_0_4_line_31 |  | 24 | 28 | 0.032759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6612-2_0_4_line_32 |  | 25 | 26 | 0.044919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6612-2_0_4_line_33 |  | 25 | 27 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6612-2_0_4_line_34 |  | 26 | 31 | 0.05455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6612-2_0_4_line_35 |  | 28 | 29 | 0.028696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6612-2_0_4_line_36 |  | 28 | 30 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6612-2_0_4_line_37 |  | 30 | 43 | 0.015809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6612-2_0_4_line_38 |  | 31 | 33 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6612-2_0_4_line_39 |  | 33 | 34 | 0.0075128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6612-2_0_4_line_40 |  | 33 | 35 | 0.033325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6612-2_0_4_line_41 |  | 34 | 45 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6612-2_0_4_line_42 |  | 35 | 44 | 0.027105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6612-2_0_4_line_43 |  | 36 | 47 | 0.016301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6612-2_0_4_line_44 |  | 37 | 49 | 0.025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6612-2_0_4_line_45 |  | 38 | 52 | 0.016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6612-2_0_4_line_46 |  | 40 | 50 | 0.08024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6612-2_0_4_line_47 |  | 41 | 42 | 0.008969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6612-2_0_4_line_48 |  | 42 | 45 | 0.0017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6612-2_0_4_line_49 |  | 43 | 53 | 0.052458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6612-2_0_4_line_50 |  | 46 | 47 | 0.01732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6612-2_0_4_line_51 |  | 46 | 48 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6612-2_0_4_line_52 |  | 50 | 51 | 0.028302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6612-2_0_4_line_53 |  | 53 | 54 | 0.054834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6612-2_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 55 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2503385.5172 | 1117039.4718 | 2503383.9972 | 1117036.1496 | 2503383.221 | 1117034.4387 | 2503382.4608 | 1117032.7609
1 | 2503385.5172 | 1117039.4718 | 2503342.0235 | 1117058.4893 | 2503333.9506 | 1117061.4265
2 | 2503385.5172 | 1117039.4718 | 2503409.1469 | 1117029.1771 | 2503446.2796 | 1117011.1399 | 2503450.3171 | 1117009.1854 | 2503453.5928 | 1117006.9095 | 2503455.1943 | 1117003.7376
3 | 2503317.2847 | 1117067.4902 | 2503333.9506 | 1117061.4265
4 | 2503455.1943 | 1117003.7376 | 2503453.5928 | 1117006.9095 | 2503450.3171 | 1117009.1854 | 2503452.3302 | 1117012.9334 | 2503454.4547 | 1117016.8908 | 2503455.2105 | 1117018.2907 | 2503455.8789 | 1117019.5364 | 2503456.9451 | 1117021.5206 | 2503453.4083 | 1117023.4004 | 2503454.7133 | 1117025.8366 | 2503456.5911 | 1117029.3311
5 | 2503455.1943 | 1117003.7376 | 2503455.3859 | 1116999.2984 | 2503453.9753 | 1116995.085 | 2503445.0818 | 1116983.4483
6 | 2503423.4359 | 1116955.1255 | 2503419.8694 | 1116957.0837 | 2503417.9602 | 1116957.4255 | 2503415.9338 | 1116957.2021 | 2503414.1686 | 1116956.4076 | 2503413.0529 | 1116954.7132 | 2503412.6531 | 1116952.396 | 2503412 | 1116950.6609 | 2503410.2203 | 1116949.4441 | 2503407.9974 | 1116949.4796
7 | 2503423.4359 | 1116955.1255 | 2503410.4836 | 1116936.443 | 2503404.9912 | 1116927.4201
8 | 2503423.4359 | 1116955.1255 | 2503445.0818 | 1116983.4483
9 | 2503317.2847 | 1117067.4902 | 2503315.4897 | 1117060.0031 | 2503310.9097 | 1117055.0621 | 2503307.0593 | 1117044.0836 | 2503305.0005 | 1117041.0022
10 | 2503317.2847 | 1117067.4902 | 2503296.3225 | 1117075.1188 | 2503282.0595 | 1117079.2209
11 | 2503456.5911 | 1117029.3311 | 2503412.79 | 1117051.8329 | 2503400.9773 | 1117056.9467
12 | 2503456.5911 | 1117029.3311 | 2503470.0855 | 1117022.0224 | 2503472.2081 | 1117021.9885 | 2503473.8784 | 1117022.64 | 2503476.5237 | 1117021.019 | 2503481.8187 | 1117030.1291 | 2503484.6433 | 1117028.6164
13 | 2503489.2362 | 1117026.1527 | 2503484.6433 | 1117028.6164
14 | 2503484.6433 | 1117028.6164 | 2503481.8187 | 1117030.1291 | 2503513.3845 | 1117082.6913 | 2503510.2572 | 1117084.1087
15 | 2503510.2572 | 1117084.1087 | 2503512.4469 | 1117087.7983
16 | 2503510.2572 | 1117084.1087 | 2503466.2105 | 1117104.0924
17 | 2503515.4739 | 1117086.3825 | 2503512.4469 | 1117087.7983
18 | 2503466.2105 | 1117104.0924 | 2503454.4806 | 1117109.4141 | 2503452.5789 | 1117110.3747
19 | 2503400.9773 | 1117056.9467 | 2503389.857 | 1117061.7607 | 2503374.3573 | 1117068.0313
20 | 2503515.4739 | 1117086.3825 | 2503523.0803 | 1117100.2278
21 | 2503532.0283 | 1117116.5149 | 2503523.0803 | 1117100.2278
22 | 2503338.1377 | 1116886.4008 | 2503341.9661 | 1116886.3396 | 2503345.8826 | 1116885.5099 | 2503352.0597 | 1116883.1319 | 2503356.0496 | 1116880.133 | 2503363.3795 | 1116896.2703 | 2503367.5089 | 1116898.617 | 2503373.0851 | 1116896.8046 | 2503388.0077 | 1116889.962
23 | 2503388.0077 | 1116889.962 | 2503400.2562 | 1116917.7392 | 2503404.6323 | 1116926.8305 | 2503404.9912 | 1116927.4201
24 | 2503338.1377 | 1116886.4008 | 2503337.8642 | 1116889.0957 | 2503338.0508 | 1116891.1051 | 2503339.4034 | 1116894.5856 | 2503339.5405 | 1116896.3957 | 2503339.3486 | 1116897.4327 | 2503338.5854 | 1116898.4678 | 2503328.7064 | 1116905.441 | 2503321.7117 | 1116908.3434
25 | 2503291.0054 | 1117023.1272 | 2503294.8093 | 1117029.2591 | 2503302.2818 | 1117036.9333 | 2503305.0005 | 1117041.0022
26 | 2503254.7816 | 1117086.3565 | 2503270.8622 | 1117082.4414 | 2503282.0595 | 1117079.2209
27 | 2503255.4188 | 1117089.0257 | 2503255.7664 | 1117090.4877 | 2503256.2221 | 1117092.4261 | 2503256.5697 | 1117093.8881 | 2503256.9172 | 1117095.339 | 2503257.2571 | 1117096.8011 | 2503257.6047 | 1117098.2631 | 2503258.0681 | 1117100.2013 | 2503258.408 | 1117101.6635 | 2503259.1609 | 1117104.8089
28 | 2503255.4188 | 1117089.0257 | 2503254.7816 | 1117086.3565
29 | 2503249.8908 | 1117111.2055 | 2503251.8152 | 1117108.4397 | 2503254.8792 | 1117105.967 | 2503259.1609 | 1117104.8089
30 | 2503259.1609 | 1117104.8089 | 2503265.7893 | 1117103.0975
31 | 2503254.7816 | 1117086.3565 | 2503244.5611 | 1117088.8436 | 2503222.6422 | 1117093.1302
32 | 2503302.3138 | 1117192.4509 | 2503298.911 | 1117191.5937 | 2503294.4579 | 1117188.3073 | 2503288.5209 | 1117182.9878 | 2503282.4372 | 1117174.7689 | 2503273.0837 | 1117159.7681
33 | 2503302.3138 | 1117192.4509 | 2503303.8951 | 1117192.8481 | 2503312.5037 | 1117197.8327
34 | 2503249.8908 | 1117111.2055 | 2503249.5153 | 1117113.7909 | 2503250.3101 | 1117118.1142 | 2503261.2893 | 1117140.8527 | 2503273.0837 | 1117159.7681
35 | 2503222.6422 | 1117093.1302 | 2503194.3038 | 1117097.6465
36 | 2503222.6422 | 1117093.1302 | 2503219.1188 | 1117083.7808 | 2503216.1509 | 1117075.7475
37 | 2503210.672 | 1117060.9181 | 2503216.1509 | 1117075.7475
38 | 2503237.8386 | 1117115.0117 | 2503242.8315 | 1117113.4309 | 2503249.8908 | 1117111.2055
39 | 2503237.8386 | 1117115.0117 | 2503241.489 | 1117121.5781
40 | 2503237.8386 | 1117115.0117 | 2503235.0655 | 1117112.9882 | 2503231.7768 | 1117111.551 | 2503227.633 | 1117111.1948 | 2503205.7683 | 1117114.701
41 | 2503241.489 | 1117121.5781 | 2503248.7924 | 1117134.7154 | 2503252.237 | 1117140.6786
42 | 2503179.0047 | 1117118.9907 | 2503191.5869 | 1117116.9751 | 2503205.7683 | 1117114.701
43 | 2503452.5789 | 1117110.3747 | 2503450.9577 | 1117111.1937 | 2503437.8945 | 1117117.4504 | 2503437.8945 | 1117117.4504
44 | 2503350.1383 | 1117077.464 | 2503362.7333 | 1117072.734 | 2503374.3573 | 1117068.0313
45 | 2503532.0283 | 1117116.5149 | 2503517.3554 | 1117123.0181
46 | 2503291.0054 | 1117023.1272 | 2503297.0124 | 1117012.5358 | 2503298.4933 | 1117003.7622 | 2503298.0145 | 1116994.0973 | 2503295.0644 | 1116983.9048 | 2503290.5886 | 1116976.305 | 2503284.6994 | 1116970.1286 | 2503279.683 | 1116963.0044 | 2503277.0633 | 1116956.5757 | 2503275.8208 | 1116950.8142
47 | 2503253.1191 | 1117142.2057 | 2503257.6053 | 1117149.9722
48 | 2503252.237 | 1117140.6786 | 2503253.1191 | 1117142.2057
49 | 2503210.672 | 1117060.9181 | 2503197.3621 | 1117024.8925 | 2503192.528 | 1117011.698
50 | 2503426.4523 | 1117130.4522 | 2503426.4523 | 1117130.4522 | 2503437.8945 | 1117117.4504
51 | 2503440.5597 | 1117145.9574 | 2503439.8942 | 1117145.0133 | 2503436.3709 | 1117141.9343 | 2503432.7916 | 1117138.7339 | 2503429.8454 | 1117135.5345 | 2503427.9637 | 1117133.2409 | 2503426.4523 | 1117130.4522
52 | 2503302.2971 | 1116955.8163 | 2503291.882 | 1116958.2176 | 2503275.8208 | 1116950.8142
53 | 2503173.6643 | 1116960.2105 | 2503192.528 | 1117011.698

## bus_geodata
| x | y | coords
0 | 2503382.4608 | 1117032.7609
1 | 2503385.5172 | 1117039.4718
2 | 2503333.9506 | 1117061.4265
3 | 2503455.1943 | 1117003.7376
4 | 2503407.9974 | 1116949.4796
5 | 2503423.4359 | 1116955.1255
6 | 2503317.2847 | 1117067.4902
7 | 2503456.5911 | 1117029.3311
8 | 2503445.0818 | 1116983.4483
9 | 2503484.6433 | 1117028.6164
10 | 2503489.2362 | 1117026.1527
11 | 2503510.2572 | 1117084.1087
12 | 2503512.4469 | 1117087.7983
13 | 2503466.2105 | 1117104.0924
14 | 2503400.9773 | 1117056.9467
15 | 2503515.4739 | 1117086.3825
16 | 2503523.0803 | 1117100.2278
17 | 2503388.0077 | 1116889.962
18 | 2503338.1377 | 1116886.4008
19 | 2503404.9912 | 1116927.4201
20 | 2503305.0005 | 1117041.0022
21 | 2503282.0595 | 1117079.2209
22 | 2503255.4188 | 1117089.0257
23 | 2503259.1609 | 1117104.8089
24 | 2503254.7816 | 1117086.3564
25 | 2503302.3138 | 1117192.4509
26 | 2503273.0837 | 1117159.7681
27 | 2503312.5037 | 1117197.8327
28 | 2503222.6422 | 1117093.1302
29 | 2503194.3038 | 1117097.6465
30 | 2503216.1509 | 1117075.7475
31 | 2503249.8908 | 1117111.2055
32 | 2503265.7893 | 1117103.0975
33 | 2503237.8386 | 1117115.0117
34 | 2503241.489 | 1117121.5781
35 | 2503205.7683 | 1117114.701
36 | 2503452.5789 | 1117110.3747
37 | 2503374.3573 | 1117068.0313
38 | 2503532.0283 | 1117116.5149
39 | 2503321.7117 | 1116908.3434
40 | 2503291.0054 | 1117023.1272
41 | 2503257.6053 | 1117149.9722
42 | 2503253.1191 | 1117142.2057
43 | 2503210.672 | 1117060.9181
44 | 2503179.0047 | 1117118.9907
45 | 2503252.237 | 1117140.6786
46 | 2503426.4523 | 1117130.4522
47 | 2503437.8945 | 1117117.4504
48 | 2503440.5597 | 1117145.9574
49 | 2503350.1383 | 1117077.464
50 | 2503275.8208 | 1116950.8142
51 | 2503302.2971 | 1116955.8163
52 | 2503517.3554 | 1117123.0181
53 | 2503192.528 | 1117011.698
54 | 2503173.6643 | 1116960.2105
55 | 2503374.3573 | 1117068.0313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1