## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6612-8_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_6612-8_1_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_6612-8_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_6612-8_1_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6612-8_1_2_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_6612-8_1_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_6612-8_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6612-8_1_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6612-8_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6612-8_1_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6612-8_1_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6612-8_1_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_6612-8_1_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_6612-8_1_2_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6612-8_1_2_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_6612-8_1_2_node_148 | 0.4 | n |  | TRUE
16 | bus_LV_6612-8_1_2_node_189 | 0.4 | n |  | TRUE
17 | bus_LV_6612-8_1_2_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_6612-8_1_2_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_6612-8_1_2_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_6612-8_1_2_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_6612-8_1_2_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_6612-8_1_2_node_125 | 0.4 | n |  | TRUE
23 | bus_LV_6612-8_1_2_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_6612-8_1_2_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_6612-8_1_2_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_6612-8_1_2_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_6612-8_1_2_node_107 | 0.4 | n |  | TRUE
28 | bus_LV_6612-8_1_2_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_6612-8_1_2_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_6612-8_1_2_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_6612-8_1_2_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_6612-8_1_2_node_112 | 0.4 | n |  | TRUE
33 | bus_LV_6612-8_1_2_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_6612-8_1_2_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_6612-8_1_2_node_171 | 0.4 | n |  | TRUE
36 | bus_LV_6612-8_1_2_node_172 | 0.4 | n |  | TRUE
37 | bus_LV_6612-8_1_2_node_116 | 0.4 | n |  | TRUE
38 | bus_LV_6612-8_1_2_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_6612-8_1_2_node_147 | 0.4 | n |  | TRUE
40 | bus_LV_6612-8_1_2_node_193 | 0.4 | n |  | TRUE
41 | bus_LV_6612-8_1_2_node_118 | 0.4 | n |  | TRUE
42 | bus_LV_6612-8_1_2_node_119 | 0.4 | n |  | TRUE
43 | bus_LV_6612-8_1_2_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_6612-8_1_2_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_6612-8_1_2_node_122 | 0.4 | n |  | TRUE
46 | bus_LV_6612-8_1_2_node_124 | 0.4 | n |  | TRUE
47 | bus_LV_6612-8_1_2_node_167 | 0.4 | n |  | TRUE
48 | bus_LV_6612-8_1_2_node_126 | 0.4 | n |  | TRUE
49 | bus_LV_6612-8_1_2_node_127 | 0.4 | n |  | TRUE
50 | bus_LV_6612-8_1_2_node_183 | 0.4 | n |  | TRUE
51 | bus_LV_6612-8_1_2_node_133 | 0.4 | n |  | TRUE
52 | bus_LV_6612-8_1_2_node_134 | 0.4 | n |  | TRUE
53 | bus_LV_6612-8_1_2_node_136 | 0.4 | n |  | TRUE
54 | bus_LV_6612-8_1_2_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_6612-8_1_2_node_157 | 0.4 | n |  | TRUE
56 | bus_LV_6612-8_1_2_node_144 | 0.4 | n |  | TRUE
57 | bus_LV_6612-8_1_2_node_145 | 0.4 | n |  | TRUE
58 | bus_LV_6612-8_1_2_node_146 | 0.4 | n |  | TRUE
59 | bus_LV_6612-8_1_2_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_6612-8_1_2_node_151 | 0.4 | n |  | TRUE
61 | bus_LV_6612-8_1_2_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_6612-8_1_2_node_152 | 0.4 | n |  | TRUE
63 | bus_LV_6612-8_1_2_node_208 | 0.4 | n |  | TRUE
64 | bus_LV_6612-8_1_2_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_6612-8_1_2_node_196 | 0.4 | n |  | TRUE
66 | bus_LV_6612-8_1_2_node_158 | 0.4 | n |  | TRUE
67 | bus_LV_6612-8_1_2_node_159 | 0.4 | n |  | TRUE
68 | bus_LV_6612-8_1_2_node_173 | 0.4 | n |  | TRUE
69 | bus_LV_6612-8_1_2_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_6612-8_1_2_node_169 | 0.4 | n |  | TRUE
71 | bus_LV_6612-8_1_2_node_170 | 0.4 | n |  | TRUE
72 | bus_LV_6612-8_1_2_node_176 | 0.4 | n |  | TRUE
73 | bus_LV_6612-8_1_2_node_174 | 0.4 | n |  | TRUE
74 | bus_LV_6612-8_1_2_node_177 | 0.4 | n |  | TRUE
75 | bus_LV_6612-8_1_2_node_178 | 0.4 | n |  | TRUE
76 | bus_LV_6612-8_1_2_node_180 | 0.4 | n |  | TRUE
77 | bus_LV_6612-8_1_2_node_182 | 0.4 | n |  | TRUE
78 | bus_LV_6612-8_1_2_node_184 | 0.4 | n |  | TRUE
79 | bus_LV_6612-8_1_2_node_185 | 0.4 | n |  | TRUE
80 | bus_LV_6612-8_1_2_node_206 | 0.4 | n |  | TRUE
81 | bus_LV_6612-8_1_2_node_190 | 0.4 | n |  | TRUE
82 | bus_LV_6612-8_1_2_node_191 | 0.4 | n |  | TRUE
83 | bus_LV_6612-8_1_2_node_192 | 0.4 | n |  | TRUE
84 | bus_LV_6612-8_1_2_node_194 | 0.4 | n |  | TRUE
85 | bus_LV_6612-8_1_2_node_195 | 0.4 | n |  | TRUE
86 | bus_LV_6612-8_1_2_node_205 | 0.4 | n |  | TRUE
87 | bus_LV_6612-8_1_2_node_197 | 0.4 | n |  | TRUE
88 | bus_LV_6612-8_1_2_node_210 | 0.4 | n |  | TRUE
89 | bus_LV_6612-8_1_2_node_198 | 0.4 | n |  | TRUE
90 | bus_LV_6612-8_1_2_node_199 | 0.4 | n |  | TRUE
91 | bus_LV_6612-8_1_2_node_200 | 0.4 | n |  | TRUE
92 | bus_LV_6612-8_1_2_node_201 | 0.4 | n |  | TRUE
93 | bus_LV_6612-8_1_2_node_202 | 0.4 | n |  | TRUE
94 | bus_LV_6612-8_1_2_node_203 | 0.4 | n |  | TRUE
95 | bus_LV_6612-8_1_2_node_204 | 0.4 | n |  | TRUE
96 | bus_LV_6612-8_1_2_node_207 | 0.4 | n |  | TRUE
97 | bus_LV_6612-8_1_2_node_209 | 0.4 | n |  | TRUE
98 | bus_MV_648_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6612-8_1_2_load_7 | 0 | 0.0016191 | 0.00040579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6612-8_1_2_load_8 | 1 | 0.0017226 | 0.00043172 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6612-8_1_2_load_9 | 2 | 0.0027331 | 0.00068497 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6612-8_1_2_load_20 | 4 | 0.0024005 | 0.00060161 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6612-8_1_2_load_11 | 6 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6612-8_1_2_load_12 | 7 | 0.0048268 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6612-8_1_2_load_13 | 8 | 0.0043387 | 0.0010874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6612-8_1_2_load_15 | 10 | 0.0033255 | 0.00083344 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6612-8_1_2_load_16 | 11 | 0.00055584 | 0.00013931 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6612-8_1_2_load_23 | 12 | 0.0022943 | 0.00057501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6612-8_1_2_load_95 | 14 | 0.0095135 | 0.0023843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6612-8_1_2_load_189 | 16 | 0.0016808 | 0.00042126 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6612-8_1_2_load_98 | 17 | 0.0010014 | 0.00025098 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6612-8_1_2_load_99 | 18 | 0.0010865 | 0.00027229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6612-8_1_2_load_100 | 19 | 0.00041324 | 0.00010357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6612-8_1_2_load_101 | 20 | 0.0015848 | 0.00039719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6612-8_1_2_load_102 | 21 | 0.00094559 | 0.00023699 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6612-8_1_2_load_125 | 22 | 0.0018573 | 0.00046549 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6612-8_1_2_load_103 | 23 | 0.00098733 | 0.00024745 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6612-8_1_2_load_104 | 24 | 0.0018549 | 0.00046488 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6612-8_1_2_load_105 | 25 | 0.0013194 | 0.00033067 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6612-8_1_2_load_107 | 27 | 0.0014784 | 0.00037052 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6612-8_1_2_load_108 | 28 | 0.0021434 | 0.00053718 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6612-8_1_2_load_109 | 29 | 0.0030485 | 0.00076402 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6612-8_1_2_load_110 | 30 | 0.005679 | 0.0014233 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6612-8_1_2_load_114 | 33 | 0.003097 | 0.00077619 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6612-8_1_2_load_115 | 34 | 0.0044849 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6612-8_1_2_load_171 | 35 | 0.0031814 | 0.00079734 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6612-8_1_2_load_172 | 36 | 0.0013751 | 0.00034462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6612-8_1_2_load_116 | 37 | 0.0033359 | 0.00083605 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6612-8_1_2_load_117 | 38 | 0.0011326 | 0.00028385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6612-8_1_2_load_193 | 40 | 0.0019595 | 0.00049109 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6612-8_1_2_load_118 | 41 | 0.0017805 | 0.00044624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6612-8_1_2_load_119 | 42 | 0.0012934 | 0.00032416 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6612-8_1_2_load_120 | 43 | 0.0030084 | 0.00075397 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6612-8_1_2_load_121 | 44 | 0.001869 | 0.00046842 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6612-8_1_2_load_122 | 45 | 0.0027904 | 0.00069934 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6612-8_1_2_load_124 | 46 | 0.0034038 | 0.00085307 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6612-8_1_2_load_126 | 48 | 0.0012768 | 0.00032001 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6612-8_1_2_load_127 | 49 | 0.00034152 | 8.5592e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6612-8_1_2_load_133 | 51 | 0.00049385 | 0.00012377 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6612-8_1_2_load_134 | 52 | 0.000329 | 8.2455e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6612-8_1_2_load_136 | 53 | 0.00033056 | 8.2846e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6612-8_1_2_load_137 | 54 | 0.00032395 | 8.119e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6612-8_1_2_load_157 | 55 | 0.00031825 | 7.976e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6612-8_1_2_load_144 | 56 | 0.0022938 | 0.00057488 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6612-8_1_2_load_146 | 58 | 0.0022871 | 0.00057321 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6612-8_1_2_load_150 | 59 | 0.002413 | 0.00060476 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6612-8_1_2_load_149 | 61 | 0.0049241 | 0.0012341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6612-8_1_2_load_152 | 62 | 0.0090409 | 0.0022659 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6612-8_1_2_load_208 | 63 | 0.0011609 | 0.00029095 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6612-8_1_2_load_160 | 64 | 0.017435 | 0.0043697 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6612-8_1_2_load_196 | 65 | 0.0070577 | 0.0017688 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6612-8_1_2_load_158 | 66 | 0.00062651 | 0.00015702 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6612-8_1_2_load_173 | 68 | 0.0014613 | 0.00036624 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6612-8_1_2_load_168 | 69 | 0.0025222 | 0.00063211 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6612-8_1_2_load_170 | 71 | 0.0018617 | 0.00046657 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6612-8_1_2_load_176 | 72 | 0.0017781 | 0.00044562 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6612-8_1_2_load_174 | 73 | 0.0025321 | 0.0006346 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6612-8_1_2_load_177 | 74 | 0.0011476 | 0.00028761 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6612-8_1_2_load_178 | 75 | 0.0028906 | 0.00072445 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6612-8_1_2_load_180 | 76 | 0.0010995 | 0.00027555 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6612-8_1_2_load_184 | 78 | 0.002432 | 0.00060952 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6612-8_1_2_load_185 | 79 | 0.00076565 | 0.00019189 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6612-8_1_2_load_206 | 80 | 0.0016507 | 0.0004137 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6612-8_1_2_load_190 | 81 | 0.0022743 | 0.00056998 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6612-8_1_2_load_191 | 82 | 0.0019393 | 0.00048603 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6612-8_1_2_load_192 | 83 | 0.0011962 | 0.0002998 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6612-8_1_2_load_194 | 84 | 0.0038113 | 0.00095519 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6612-8_1_2_load_195 | 85 | 0.00076671 | 0.00019215 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6612-8_1_2_load_205 | 86 | 0.0029267 | 0.00073349 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6612-8_1_2_load_197 | 87 | 0.011778 | 0.002952 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6612-8_1_2_load_210 | 88 | 0.0026182 | 0.00065619 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6612-8_1_2_load_198 | 89 | 0.0010575 | 0.00026503 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6612-8_1_2_load_199 | 90 | 0.0021967 | 0.00055056 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6612-8_1_2_load_200 | 91 | 0.0010183 | 0.0002552 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6612-8_1_2_load_201 | 92 | 0.0036118 | 0.00090521 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6612-8_1_2_load_202 | 93 | 0.00098955 | 0.000248 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6612-8_1_2_load_203 | 94 | 0.0020641 | 0.00051732 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6612-8_1_2_load_204 | 95 | 0.0010145 | 0.00025426 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6612-8_1_2_load_207 | 96 | 0.0021323 | 0.0005344 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6612-8_1_2_load_209 | 97 | 0.0021408 | 0.00053654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6612-8_1_2_line_0 |  | 0 | 1 | 0.0062628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6612-8_1_2_line_1 |  | 1 | 2 | 0.026647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6612-8_1_2_line_2 |  | 2 | 3 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6612-8_1_2_line_3 |  | 3 | 4 | 0.042743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6612-8_1_2_line_4 |  | 3 | 5 | 0.027776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6612-8_1_2_line_5 |  | 4 | 13 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6612-8_1_2_line_6 |  | 5 | 10 | 0.027066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6612-8_1_2_line_7 |  | 6 | 7 | 0.041566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6612-8_1_2_line_8 |  | 6 | 8 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6612-8_1_2_line_9 |  | 7 | 9 | 0.0005823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6612-8_1_2_line_10 |  | 9 | 10 | 0.029612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6612-8_1_2_line_11 |  | 9 | 11 | 0.064219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6612-8_1_2_line_12 |  | 11 | 12 | 0.003079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6612-8_1_2_line_13 |  | 12 | 16 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6612-8_1_2_line_14 |  | 13 | 14 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6612-8_1_2_line_15 |  | 13 | 15 | 0.050158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6612-8_1_2_line_16 |  | 15 | 61 | 0.028529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6612-8_1_2_line_17 |  | 17 | 18 | 0.039341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6612-8_1_2_line_18 |  | 17 | 19 | 0.014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6612-8_1_2_line_19 |  | 18 | 20 | 0.0082948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6612-8_1_2_line_20 |  | 19 | 21 | 0.003811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6612-8_1_2_line_21 |  | 20 | 22 | 0.068978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6612-8_1_2_line_22 |  | 21 | 23 | 0.0045382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6612-8_1_2_line_23 |  | 22 | 48 | 0.021255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6612-8_1_2_line_24 |  | 24 | 25 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6612-8_1_2_line_25 |  | 24 | 26 | 0.044156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6612-8_1_2_line_26 |  | 25 | 27 | 0.00060963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6612-8_1_2_line_27 |  | 26 | 28 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6612-8_1_2_line_28 |  | 26 | 29 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6612-8_1_2_line_29 |  | 27 | 30 | 0.032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6612-8_1_2_line_30 |  | 28 | 31 | 0.0024792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6612-8_1_2_line_31 |  | 29 | 32 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6612-8_1_2_line_32 |  | 31 | 33 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6612-8_1_2_line_33 |  | 31 | 34 | 0.023164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6612-8_1_2_line_34 |  | 32 | 35 | 0.045723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6612-8_1_2_line_35 |  | 32 | 36 | 0.042956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6612-8_1_2_line_36 |  | 33 | 37 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6612-8_1_2_line_37 |  | 34 | 38 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6612-8_1_2_line_38 |  | 35 | 68 | 0.00010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6612-8_1_2_line_39 |  | 36 | 73 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6612-8_1_2_line_40 |  | 37 | 39 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6612-8_1_2_line_41 |  | 38 | 40 | 0.017048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6612-8_1_2_line_42 |  | 39 | 60 | 0.028439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6612-8_1_2_line_43 |  | 39 | 57 | 0.036807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6612-8_1_2_line_44 |  | 40 | 82 | 0.0038881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6612-8_1_2_line_45 |  | 41 | 42 | 0.031494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6612-8_1_2_line_46 |  | 41 | 43 | 0.041399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6612-8_1_2_line_47 |  | 42 | 44 | 0.0058935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6612-8_1_2_line_48 |  | 43 | 45 | 0.0019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6612-8_1_2_line_49 |  | 45 | 46 | 0.034328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6612-8_1_2_line_50 |  | 46 | 47 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6612-8_1_2_line_51 |  | 47 | 69 | 0.053961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6612-8_1_2_line_52 |  | 47 | 70 | 0.057422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6612-8_1_2_line_53 |  | 47 | 55 | 0.02856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6612-8_1_2_line_54 |  | 48 | 49 | 0.026909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6612-8_1_2_line_55 |  | 49 | 50 | 0.043348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6612-8_1_2_line_56 |  | 50 | 78 | 0.028373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6612-8_1_2_line_57 |  | 50 | 79 | 0.031496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6612-8_1_2_line_58 |  | 50 | 77 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6612-8_1_2_line_59 |  | 51 | 52 | 0.041064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6612-8_1_2_line_60 |  | 52 | 53 | 0.0092504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6612-8_1_2_line_61 |  | 53 | 54 | 0.0091399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6612-8_1_2_line_62 |  | 54 | 55 | 0.0093047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6612-8_1_2_line_63 |  | 56 | 57 | 0.0010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6612-8_1_2_line_64 |  | 57 | 58 | 0.022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6612-8_1_2_line_65 |  | 58 | 59 | 0.025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6612-8_1_2_line_66 |  | 59 | 63 | 0.0021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6612-8_1_2_line_67 |  | 60 | 64 | 0.04545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6612-8_1_2_line_68 |  | 61 | 62 | 0.0084535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6612-8_1_2_line_69 |  | 62 | 65 | 0.005115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6612-8_1_2_line_70 |  | 63 | 97 | 0.0061238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6612-8_1_2_line_71 |  | 65 | 87 | 0.021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6612-8_1_2_line_72 |  | 66 | 67 | 0.0087402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6612-8_1_2_line_73 |  | 67 | 68 | 0.029827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6612-8_1_2_line_74 |  | 67 | 69 | 0.031164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6612-8_1_2_line_75 |  | 70 | 71 | 0.028379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6612-8_1_2_line_76 |  | 71 | 72 | 0.0012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6612-8_1_2_line_77 |  | 73 | 74 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6612-8_1_2_line_78 |  | 74 | 75 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6612-8_1_2_line_79 |  | 76 | 77 | 0.047794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6612-8_1_2_line_80 |  | 79 | 80 | 0.026946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6612-8_1_2_line_81 |  | 80 | 86 | 0.0042839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6612-8_1_2_line_82 |  | 81 | 82 | 0.030111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6612-8_1_2_line_83 |  | 81 | 83 | 0.0012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6612-8_1_2_line_84 |  | 83 | 84 | 0.001556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6612-8_1_2_line_85 |  | 84 | 85 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6612-8_1_2_line_86 |  | 85 | 86 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6612-8_1_2_line_87 |  | 87 | 88 | 0.078107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6612-8_1_2_line_88 |  | 88 | 96 | 0.016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6612-8_1_2_line_89 |  | 88 | 97 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6612-8_1_2_line_90 |  | 89 | 90 | 0.04636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6612-8_1_2_line_91 |  | 89 | 91 | 0.0001503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6612-8_1_2_line_92 |  | 90 | 92 | 0.002286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6612-8_1_2_line_93 |  | 91 | 93 | 0.00076119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6612-8_1_2_line_94 |  | 92 | 94 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6612-8_1_2_line_95 |  | 93 | 95 | 0.00034663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6612-8_1_2_line_96 |  | 94 | 96 | 0.00096438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6612-8_1_2_trafo_146 | 0.63 MVA 20/0.4 kV | 98 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2502512.7489 | 1116240.6349 | 2502518.7867 | 1116238.9711
1 | 2502544.4758 | 1116231.8919 | 2502518.7867 | 1116238.9711
2 | 2502569.4518 | 1116225.0092 | 2502544.4758 | 1116231.8919
3 | 2502569.4518 | 1116225.0092 | 2502567.7842 | 1116216.8755 | 2502569.6092 | 1116204.5829 | 2502574.4457 | 1116195.6551 | 2502583.2381 | 1116190.2324 | 2502584.6382 | 1116189.6174
4 | 2502569.4518 | 1116225.0092 | 2502574.3064 | 1116234.9372 | 2502580.0257 | 1116241.9828 | 2502586.2822 | 1116246.4293
5 | 2502612.8606 | 1116187.5317 | 2502605.1275 | 1116185.377 | 2502593.1442 | 1116185.8813 | 2502584.6382 | 1116189.6174
6 | 2502586.2822 | 1116246.4293 | 2502575.6287 | 1116271.3101
7 | 2502547.0886 | 1116337.1505 | 2502563.7396 | 1116299.0654
8 | 2502540.8047 | 1116351.5234 | 2502547.0886 | 1116337.1505
9 | 2502563.9728 | 1116298.5319 | 2502563.7396 | 1116299.0654
10 | 2502563.9728 | 1116298.5319 | 2502575.6287 | 1116271.3101
11 | 2502563.9728 | 1116298.5319 | 2502594.574 | 1116312.0476 | 2502613.0717 | 1116336.632
12 | 2502613.0717 | 1116336.632 | 2502614.9229 | 1116339.0923 | 2502614.9229 | 1116339.0923
13 | 2502618.9948 | 1116351.2566 | 2502614.9229 | 1116339.0923
14 | 2502612.8606 | 1116187.5317 | 2502620.4428 | 1116170.8544
15 | 2502612.8606 | 1116187.5317 | 2502620.5214 | 1116193.3565 | 2502626.0888 | 1116200.5602 | 2502629.8193 | 1116207.3377 | 2502652.7157 | 1116201.2433
16 | 2502652.7157 | 1116201.2433 | 2502661.615 | 1116228.3492
17 | 2503000.2123 | 1116196.9283 | 2503003.6354 | 1116204.7549 | 2503012.9921 | 1116215.7228 | 2503005.936 | 1116226.398 | 2503002.8375 | 1116228.2027
18 | 2502996.2464 | 1116183.3989 | 2502997.2952 | 1116190.2586 | 2503000.2123 | 1116196.9283
19 | 2502995.6698 | 1116232.3774 | 2503002.8375 | 1116228.2027
20 | 2502996.2464 | 1116183.3989 | 2502995.6705 | 1116179.6317
21 | 2502995.6698 | 1116232.3774 | 2502965.7505 | 1116294.5289
22 | 2502994.9847 | 1116175.1456 | 2502995.6705 | 1116179.6317
23 | 2502965.7505 | 1116294.5289 | 2502957.4947 | 1116296.8293 | 2502945.2201 | 1116300.0269
24 | 2502840.5613 | 1116104.4247 | 2502834.1631 | 1116081.2261
25 | 2502852.3012 | 1116146.9912 | 2502840.5613 | 1116104.4247
26 | 2502834.0011 | 1116080.6384 | 2502834.1631 | 1116081.2261
27 | 2502852.3012 | 1116146.9912 | 2502833.7234 | 1116152.3748
28 | 2502852.3012 | 1116146.9912 | 2502870.0222 | 1116142.3025
29 | 2502825.4242 | 1116049.5402 | 2502834.0011 | 1116080.6384
30 | 2502831.3422 | 1116153.0648 | 2502833.7234 | 1116152.3748
31 | 2502882.5876 | 1116138.9779 | 2502870.0222 | 1116142.3025
32 | 2502831.3422 | 1116153.0648 | 2502810.4512 | 1116158.9831
33 | 2502831.3422 | 1116153.0648 | 2502837.4244 | 1116175.4163
34 | 2502882.5876 | 1116138.9779 | 2502926.7718 | 1116127.2159
35 | 2502882.5876 | 1116138.9779 | 2502893.8892 | 1116180.4205
36 | 2502795.5614 | 1116163.2013 | 2502810.4512 | 1116158.9831
37 | 2502837.4244 | 1116175.4163 | 2502841.0144 | 1116188.6092
38 | 2502926.8763 | 1116127.188 | 2502926.7718 | 1116127.2159
39 | 2502893.8892 | 1116180.4205 | 2502897.1981 | 1116192.5539
40 | 2502782.7364 | 1116167.5545 | 2502795.5614 | 1116163.2013
41 | 2502845.4906 | 1116205.0588 | 2502841.0144 | 1116188.6092
42 | 2502775.0228 | 1116140.1837 | 2502782.7364 | 1116167.5545
43 | 2502782.7364 | 1116167.5545 | 2502759.4732 | 1116173.8988 | 2502746.7736 | 1116175.4817
44 | 2502846.5115 | 1116208.8105 | 2502845.4906 | 1116205.0588
45 | 2502999.4353 | 1115999.1325 | 2502989.0945 | 1115969.3845
46 | 2503013.0285 | 1116038.2368 | 2502999.4353 | 1115999.1325
47 | 2502987.1594 | 1115963.8177 | 2502989.0945 | 1115969.3845
48 | 2503013.0285 | 1116038.2368 | 2503013.6607 | 1116040.0556
49 | 2503013.6607 | 1116040.0556 | 2503016.4176 | 1116047.9864 | 2503026.9379 | 1116071.6881
50 | 2503037.5843 | 1116096.2548 | 2503034.4103 | 1116088.5231 | 2503026.9379 | 1116071.6881
51 | 2503037.5843 | 1116096.2548 | 2502985.6727 | 1116110.9836
52 | 2503090.155 | 1116073.2541 | 2503077.5751 | 1116080.3933 | 2503060.4482 | 1116088.5615 | 2503037.5843 | 1116096.2548
53 | 2503037.5843 | 1116096.2548 | 2503049.6502 | 1116122.1406
54 | 2502918.9207 | 1116301.7511 | 2502931.2976 | 1116303.6537 | 2502945.2201 | 1116300.0269
55 | 2502882.3398 | 1116325.008 | 2502918.9207 | 1116301.7511
56 | 2502882.3398 | 1116325.008 | 2502889.6848 | 1116337.6313 | 2502895.788 | 1116346.9836 | 2502897.3174 | 1116349.0875
57 | 2502882.3398 | 1116325.008 | 2502877.1987 | 1116314.5063 | 2502872.0285 | 1116302.2039 | 2502869.9971 | 1116296.0735
58 | 2502863.4836 | 1116335.0503 | 2502877.9472 | 1116327.4578 | 2502882.3398 | 1116325.008
59 | 2503079.3974 | 1116184.1312 | 2503061.6209 | 1116147.1148
60 | 2503057.6164 | 1116138.7761 | 2503061.6209 | 1116147.1148
61 | 2503057.6164 | 1116138.7761 | 2503053.6597 | 1116130.537
62 | 2503049.6502 | 1116122.1406 | 2503050.4029 | 1116123.7553 | 2503053.6597 | 1116130.537
63 | 2502746.7736 | 1116175.4817 | 2502745.7895 | 1116175.7512
64 | 2502746.7736 | 1116175.4817 | 2502752.8717 | 1116196.916
65 | 2502757.4292 | 1116221.3407 | 2502758.6977 | 1116217.3938 | 2502752.8717 | 1116196.916
66 | 2502757.4292 | 1116221.3407 | 2502756.7693 | 1116223.3939
67 | 2502775.0228 | 1116140.1837 | 2502755.3982 | 1116115.9173 | 2502746.2592 | 1116104.9957
68 | 2502664.252 | 1116236.3809 | 2502661.615 | 1116228.3492
69 | 2502665.8476 | 1116241.2407 | 2502664.252 | 1116236.3809
70 | 2502754.8955 | 1116229.224 | 2502756.7693 | 1116223.3939
71 | 2502672.4541 | 1116261.3631 | 2502665.8476 | 1116241.2407
72 | 2502955.6995 | 1116119.5152 | 2502959.4859 | 1116127.3926
73 | 2502955.6995 | 1116119.5152 | 2502926.8763 | 1116127.188
74 | 2502955.6995 | 1116119.5152 | 2502962.8245 | 1116117.4663 | 2502985.6727 | 1116110.9836
75 | 2503090.155 | 1116073.2541 | 2503096.0098 | 1116078.1856 | 2503110.4192 | 1116093.0799
76 | 2503110.4192 | 1116093.0799 | 2503111.2816 | 1116093.9713
77 | 2502897.1981 | 1116192.5539 | 2502902.0094 | 1116210.1967
78 | 2502904.8959 | 1116220.7816 | 2502902.0094 | 1116210.1967
79 | 2502863.4836 | 1116335.0503 | 2502847.1468 | 1116343.7957 | 2502845.4252 | 1116348.6152 | 2502845.3309 | 1116360.046 | 2502850.32 | 1116371.7405
80 | 2502862.4641 | 1116270.2068 | 2502868.166 | 1116290.5476 | 2502869.9971 | 1116296.0735
81 | 2502861.3079 | 1116266.0819 | 2502862.4641 | 1116270.2068
82 | 2502853.8448 | 1116238.0112 | 2502849.4035 | 1116219.4381 | 2502846.5115 | 1116208.8105
83 | 2502853.8448 | 1116238.0112 | 2502854.14 | 1116239.2457
84 | 2502854.5019 | 1116240.759 | 2502854.14 | 1116239.2457
85 | 2502854.5019 | 1116240.759 | 2502856.1993 | 1116247.8577 | 2502857.044 | 1116250.8708
86 | 2502861.3079 | 1116266.0819 | 2502857.044 | 1116250.8708
87 | 2502749.2117 | 1116246.9089 | 2502672.4541 | 1116261.3631
88 | 2502749.2117 | 1116246.9089 | 2502749.2117 | 1116246.9089 | 2502753.5261 | 1116262.3406
89 | 2502749.2117 | 1116246.9089 | 2502754.8955 | 1116229.224
90 | 2502775.1261 | 1116333.7459 | 2502767.3601 | 1116305.2089 | 2502764.2681 | 1116301.6342 | 2502761.1162 | 1116289.9942
91 | 2502775.1656 | 1116333.8909 | 2502775.1261 | 1116333.7459
92 | 2502761.1162 | 1116289.9942 | 2502760.5187 | 1116287.7878
93 | 2502775.3655 | 1116334.6254 | 2502775.1656 | 1116333.8909
94 | 2502753.7858 | 1116263.2694 | 2502756.7653 | 1116273.9265 | 2502760.5187 | 1116287.7878
95 | 2502775.4565 | 1116334.9598 | 2502775.3655 | 1116334.6254
96 | 2502753.7858 | 1116263.2694 | 2502753.5261 | 1116262.3406

## bus_geodata
| x | y | coords
0 | 2502512.7489 | 1116240.6349
1 | 2502518.7867 | 1116238.9711
2 | 2502544.4758 | 1116231.8919
3 | 2502569.4518 | 1116225.0092
4 | 2502584.6382 | 1116189.6174
5 | 2502586.2822 | 1116246.4293
6 | 2502547.0886 | 1116337.1505
7 | 2502563.7396 | 1116299.0654
8 | 2502540.8047 | 1116351.5234
9 | 2502563.9728 | 1116298.5319
10 | 2502575.6287 | 1116271.3101
11 | 2502613.0717 | 1116336.632
12 | 2502614.9229 | 1116339.0923
13 | 2502612.8606 | 1116187.5317
14 | 2502620.4428 | 1116170.8544
15 | 2502652.7157 | 1116201.2433
16 | 2502618.9948 | 1116351.2566
17 | 2503000.2123 | 1116196.9283
18 | 2503002.8375 | 1116228.2027
19 | 2502996.2464 | 1116183.3989
20 | 2502995.6698 | 1116232.3774
21 | 2502995.6705 | 1116179.6317
22 | 2502965.7505 | 1116294.5289
23 | 2502994.9847 | 1116175.1456
24 | 2502840.5613 | 1116104.4247
25 | 2502834.1631 | 1116081.2261
26 | 2502852.3012 | 1116146.9912
27 | 2502834.0011 | 1116080.6384
28 | 2502833.7234 | 1116152.3748
29 | 2502870.0222 | 1116142.3025
30 | 2502825.4242 | 1116049.5402
31 | 2502831.3422 | 1116153.0648
32 | 2502882.5876 | 1116138.9779
33 | 2502810.4512 | 1116158.9831
34 | 2502837.4244 | 1116175.4163
35 | 2502926.7718 | 1116127.2159
36 | 2502893.8892 | 1116180.4205
37 | 2502795.5614 | 1116163.2013
38 | 2502841.0144 | 1116188.6092
39 | 2502782.7364 | 1116167.5545
40 | 2502845.4906 | 1116205.0588
41 | 2502999.4353 | 1115999.1325
42 | 2502989.0945 | 1115969.3845
43 | 2503013.0285 | 1116038.2368
44 | 2502987.1594 | 1115963.8177
45 | 2503013.6607 | 1116040.0556
46 | 2503026.9379 | 1116071.6881
47 | 2503037.5843 | 1116096.2548
48 | 2502945.2201 | 1116300.0269
49 | 2502918.9207 | 1116301.7511
50 | 2502882.3398 | 1116325.008
51 | 2503079.3974 | 1116184.1312
52 | 2503061.6209 | 1116147.1148
53 | 2503057.6164 | 1116138.7761
54 | 2503053.6597 | 1116130.537
55 | 2503049.6502 | 1116122.1406
56 | 2502745.7895 | 1116175.7512
57 | 2502746.7736 | 1116175.4817
58 | 2502752.8717 | 1116196.916
59 | 2502757.4292 | 1116221.3407
60 | 2502775.0228 | 1116140.1837
61 | 2502661.615 | 1116228.3492
62 | 2502664.252 | 1116236.3809
63 | 2502756.7693 | 1116223.3939
64 | 2502746.2592 | 1116104.9957
65 | 2502665.8476 | 1116241.2407
66 | 2502959.4859 | 1116127.3926
67 | 2502955.6995 | 1116119.5152
68 | 2502926.8763 | 1116127.188
69 | 2502985.6727 | 1116110.9836
70 | 2503090.155 | 1116073.2541
71 | 2503110.4193 | 1116093.0799
72 | 2503111.2816 | 1116093.9713
73 | 2502897.1981 | 1116192.5539
74 | 2502902.0094 | 1116210.1967
75 | 2502904.8959 | 1116220.7816
76 | 2502850.32 | 1116371.7405
77 | 2502863.4836 | 1116335.0503
78 | 2502897.3174 | 1116349.0875
79 | 2502869.9971 | 1116296.0735
80 | 2502862.4641 | 1116270.2068
81 | 2502853.8448 | 1116238.0112
82 | 2502846.5115 | 1116208.8105
83 | 2502854.14 | 1116239.2457
84 | 2502854.5019 | 1116240.759
85 | 2502857.044 | 1116250.8708
86 | 2502861.3079 | 1116266.0819
87 | 2502672.4541 | 1116261.3631
88 | 2502749.2117 | 1116246.9089
89 | 2502775.1261 | 1116333.7459
90 | 2502761.1162 | 1116289.9942
91 | 2502775.1656 | 1116333.8909
92 | 2502760.5187 | 1116287.7878
93 | 2502775.3655 | 1116334.6254
94 | 2502753.7858 | 1116263.2694
95 | 2502775.4565 | 1116334.9598
96 | 2502753.5261 | 1116262.3406
97 | 2502754.8955 | 1116229.224
98 | 2502746.7736 | 1116175.4817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1