## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6613-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6613-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6613-2_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6613-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6613-2_0_5_node_108 | 0.4 | n |  | TRUE
5 | bus_LV_6613-2_0_5_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_6613-2_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6613-2_0_5_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_6613-2_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6613-2_0_5_node_112 | 0.4 | n |  | TRUE
10 | bus_LV_6613-2_0_5_node_121 | 0.4 | n |  | TRUE
11 | bus_LV_6613-2_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6613-2_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_6613-2_0_5_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_6613-2_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6613-2_0_5_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_6613-2_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6613-2_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6613-2_0_5_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_6613-2_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6613-2_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_6613-2_0_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6613-2_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_6613-2_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_6613-2_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6613-2_0_5_node_120 | 0.4 | n |  | TRUE
26 | bus_LV_6613-2_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6613-2_0_5_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_6613-2_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6613-2_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6613-2_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_6613-2_0_5_node_103 | 0.4 | n |  | TRUE
32 | bus_LV_6613-2_0_5_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_6613-2_0_5_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_6613-2_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_6613-2_0_5_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_6613-2_0_5_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_6613-2_0_5_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_6613-2_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6613-2_0_5_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_6613-2_0_5_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_6613-2_0_5_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_6613-2_0_5_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_6613-2_0_5_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_6613-2_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6613-2_0_5_node_135 | 0.4 | n |  | TRUE
46 | bus_LV_6613-2_0_5_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6613-2_0_5_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_6613-2_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6613-2_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6613-2_0_5_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_6613-2_0_5_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_6613-2_0_5_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_6613-2_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6613-2_0_5_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_6613-2_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_6613-2_0_5_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_6613-2_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_6613-2_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6613-2_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6613-2_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_6613-2_0_5_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_6613-2_0_5_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_6613-2_0_5_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_6613-2_0_5_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_6613-2_0_5_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_6613-2_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6613-2_0_5_node_133 | 0.4 | n |  | TRUE
68 | bus_LV_6613-2_0_5_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_6613-2_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6613-2_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_6613-2_0_5_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_6613-2_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_6613-2_0_5_node_99 | 0.4 | n |  | TRUE
74 | bus_LV_6613-2_0_5_node_113 | 0.4 | n |  | TRUE
75 | bus_LV_6613-2_0_5_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_6613-2_0_5_node_134 | 0.4 | n |  | TRUE
77 | bus_MV_648_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6613-2_0_5_load_0 | 0 | 0.0057808 | 0.0014488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6613-2_0_5_load_108 | 4 | 0.067289 | 0.016864 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6613-2_0_5_load_47 | 5 | 0.011465 | 0.0028735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6613-2_0_5_load_54 | 7 | 0.0069901 | 0.0017519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6613-2_0_5_load_121 | 10 | 0.0074479 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6613-2_0_5_load_62 | 13 | 0.0047393 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6613-2_0_5_load_37 | 15 | 0.0054625 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6613-2_0_5_load_39 | 18 | 0.011948 | 0.0029946 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6613-2_0_5_load_38 | 20 | 0.045397 | 0.011377 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6613-2_0_5_load_61 | 21 | 0.018284 | 0.0045825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6613-2_0_5_load_56 | 23 | 0.0057782 | 0.0014482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6613-2_0_5_load_120 | 25 | 0.0022015 | 0.00055176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6613-2_0_5_load_105 | 27 | 0.001223 | 0.00030652 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6613-2_0_5_load_41 | 29 | 0.0060781 | 0.0015233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6613-2_0_5_load_103 | 31 | 0.0009194 | 0.00023042 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6613-2_0_5_load_100 | 33 | 0.0022964 | 0.00057554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6613-2_0_5_load_48 | 35 | 0.0078586 | 0.0019695 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6613-2_0_5_load_109 | 36 | 0.011518 | 0.0028868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6613-2_0_5_load_36 | 38 | 0.011145 | 0.0027932 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6613-2_0_5_load_55 | 39 | 0.0053349 | 0.0013371 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6613-2_0_5_load_119 | 40 | 0.01735 | 0.0043484 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6613-2_0_5_load_116 | 41 | 0.0020715 | 0.00051916 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6613-2_0_5_load_111 | 42 | 0.021386 | 0.0053598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6613-2_0_5_load_110 | 43 | 0.014442 | 0.0036195 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6613-2_0_5_load_46 | 44 | 0.058235 | 0.014595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6613-2_0_5_load_135 | 45 | 0.0060172 | 0.0015081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6613-2_0_5_load_52 | 46 | 0.0019055 | 0.00047757 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6613-2_0_5_load_57 | 47 | 0.014309 | 0.0035862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6613-2_0_5_load_40 | 48 | 0.0082174 | 0.0020595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6613-2_0_5_load_102 | 50 | 0.0019196 | 0.00048109 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6613-2_0_5_load_104 | 51 | 0.0010685 | 0.00026779 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6613-2_0_5_load_115 | 52 | 0.0034813 | 0.00087249 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6613-2_0_5_load_49 | 53 | 0.0014297 | 0.00035833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6613-2_0_5_load_101 | 54 | 0.0011524 | 0.00028881 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6613-2_0_5_load_34 | 55 | 0.028119 | 0.0070473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6613-2_0_5_load_117 | 56 | 0.0015282 | 0.000383 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6613-2_0_5_load_42 | 59 | 0.015046 | 0.0037708 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6613-2_0_5_load_97 | 61 | 0.0028621 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6613-2_0_5_load_107 | 62 | 0.0028055 | 0.00070313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6613-2_0_5_load_106 | 63 | 0.0017418 | 0.00043653 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6613-2_0_5_load_118 | 64 | 0.0015152 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6613-2_0_5_load_33 | 65 | 0.023383 | 0.0058605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6613-2_0_5_load_133 | 67 | 0.0039571 | 0.00099174 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6613-2_0_5_load_98 | 68 | 0.0011177 | 0.00028012 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6613-2_0_5_load_50 | 69 | 0.0042258 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6613-2_0_5_load_58 | 70 | 0.0015187 | 0.00038063 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6613-2_0_5_load_132 | 71 | 0.0058342 | 0.0014622 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6613-2_0_5_load_60 | 72 | 0.0041096 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6613-2_0_5_load_99 | 73 | 0.0011139 | 0.00027918 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6613-2_0_5_load_113 | 74 | 0.0021276 | 0.00053323 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6613-2_0_5_load_114 | 75 | 0.001348 | 0.00033784 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6613-2_0_5_load_134 | 76 | 0.0055692 | 0.0013958 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6613-2_0_5_line_0 |  | 0 | 1 | 0.075282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6613-2_0_5_line_1 |  | 1 | 2 | 0.040939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6613-2_0_5_line_2 |  | 2 | 6 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6613-2_0_5_line_3 |  | 3 | 4 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6613-2_0_5_line_4 |  | 3 | 5 | 0.027892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6613-2_0_5_line_5 |  | 5 | 44 | 0.034563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6613-2_0_5_line_6 |  | 6 | 7 | 0.004605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6613-2_0_5_line_7 |  | 7 | 39 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6613-2_0_5_line_8 |  | 8 | 9 | 0.004961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6613-2_0_5_line_9 |  | 8 | 10 | 0.0082969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6613-2_0_5_line_10 |  | 9 | 42 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6613-2_0_5_line_11 |  | 9 | 26 | 0.005393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6613-2_0_5_line_12 |  | 10 | 47 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6613-2_0_5_line_13 |  | 11 | 12 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6613-2_0_5_line_14 |  | 11 | 13 | 0.013288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6613-2_0_5_line_15 |  | 11 | 14 | 0.026717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6613-2_0_5_line_16 |  | 11 | 15 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6613-2_0_5_line_17 |  | 12 | 43 | 0.0032888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6613-2_0_5_line_18 |  | 13 | 22 | 0.014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6613-2_0_5_line_19 |  | 14 | 23 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6613-2_0_5_line_20 |  | 16 | 17 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6613-2_0_5_line_21 |  | 16 | 18 | 0.0069455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6613-2_0_5_line_22 |  | 17 | 42 | 0.018837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6613-2_0_5_line_23 |  | 18 | 48 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6613-2_0_5_line_24 |  | 19 | 20 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6613-2_0_5_line_25 |  | 19 | 21 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6613-2_0_5_line_26 |  | 20 | 49 | 0.0045661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6613-2_0_5_line_27 |  | 21 | 22 | 0.0062173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6613-2_0_5_line_28 |  | 23 | 28 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6613-2_0_5_line_29 |  | 24 | 25 | 0.0051095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6613-2_0_5_line_30 |  | 24 | 26 | 0.038873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6613-2_0_5_line_31 |  | 24 | 27 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6613-2_0_5_line_32 |  | 25 | 50 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6613-2_0_5_line_33 |  | 26 | 40 | 0.009838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6613-2_0_5_line_34 |  | 26 | 41 | 0.031426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6613-2_0_5_line_35 |  | 27 | 51 | 0.0034841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6613-2_0_5_line_36 |  | 28 | 29 | 0.010222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6613-2_0_5_line_37 |  | 29 | 48 | 0.0067653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6613-2_0_5_line_38 |  | 30 | 31 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6613-2_0_5_line_39 |  | 30 | 32 | 0.004427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6613-2_0_5_line_40 |  | 30 | 33 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6613-2_0_5_line_41 |  | 31 | 52 | 0.0068404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6613-2_0_5_line_42 |  | 32 | 53 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6613-2_0_5_line_43 |  | 33 | 54 | 0.0088081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6613-2_0_5_line_44 |  | 34 | 35 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6613-2_0_5_line_45 |  | 34 | 36 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6613-2_0_5_line_46 |  | 35 | 44 | 0.0026014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6613-2_0_5_line_47 |  | 36 | 43 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6613-2_0_5_line_48 |  | 37 | 38 | 0.0011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6613-2_0_5_line_49 |  | 37 | 39 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6613-2_0_5_line_50 |  | 38 | 55 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6613-2_0_5_line_51 |  | 41 | 56 | 0.004418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6613-2_0_5_line_52 |  | 45 | 46 | 0.0098976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6613-2_0_5_line_53 |  | 46 | 69 | 0.032907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6613-2_0_5_line_54 |  | 49 | 65 | 0.0059949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6613-2_0_5_line_55 |  | 50 | 54 | 0.0074189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6613-2_0_5_line_56 |  | 51 | 63 | 0.005226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6613-2_0_5_line_57 |  | 52 | 75 | 0.0032186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6613-2_0_5_line_58 |  | 53 | 69 | 0.0063127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6613-2_0_5_line_59 |  | 55 | 65 | 0.039154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6613-2_0_5_line_60 |  | 56 | 64 | 0.0059154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6613-2_0_5_line_61 |  | 57 | 58 | 0.085098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6613-2_0_5_line_62 |  | 57 | 59 | 0.0091472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6613-2_0_5_line_63 |  | 58 | 60 | 0.048948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6613-2_0_5_line_64 |  | 58 | 61 | 0.040195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6613-2_0_5_line_65 |  | 60 | 66 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6613-2_0_5_line_66 |  | 60 | 67 | 0.001681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6613-2_0_5_line_67 |  | 61 | 68 | 0.0053763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6613-2_0_5_line_68 |  | 62 | 63 | 0.0099704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6613-2_0_5_line_69 |  | 66 | 70 | 0.0013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6613-2_0_5_line_70 |  | 67 | 71 | 0.040897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6613-2_0_5_line_71 |  | 68 | 73 | 0.00058454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6613-2_0_5_line_72 |  | 70 | 72 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6613-2_0_5_line_73 |  | 71 | 76 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6613-2_0_5_line_74 |  | 73 | 74 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6613-2_0_5_line_75 |  | 74 | 75 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6613-2_0_5_trafo_35 | 0.63 MVA 20/0.4 kV | 77 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2503842.038 | 1116525.327 | 2503817.5178 | 1116530.7757 | 2503785.389 | 1116542.3158 | 2503769.6264 | 1116545.2039
1 | 2503842.038 | 1116525.327 | 2503847.8757 | 1116535.5628 | 2503859.9715 | 1116556.7392 | 2503860.0547 | 1116559.0615 | 2503859.5291 | 1116561.4491
2 | 2503859.5291 | 1116561.4491 | 2503860.6217 | 1116562.1878 | 2503864.6021 | 1116564.8706 | 2503868.3868 | 1116567.3898 | 2503870.8839 | 1116569.0512
3 | 2503908.4975 | 1116587.3317 | 2503924.9831 | 1116599.8024
4 | 2503908.4975 | 1116587.3317 | 2503907.0896 | 1116588.6215 | 2503894.2823 | 1116600.3877 | 2503888.4912 | 1116605.7052 | 2503887.9586 | 1116606.2028 | 2503887.9586 | 1116606.2028
5 | 2503887.9586 | 1116606.2028 | 2503907.6706 | 1116634.594
6 | 2503870.8839 | 1116569.0512 | 2503867.3282 | 1116571.9775
7 | 2503850.8928 | 1116585.5035 | 2503867.3282 | 1116571.9775
8 | 2503818.1243 | 1116683.9493 | 2503822.9706 | 1116682.8271
9 | 2503822.9706 | 1116682.8271 | 2503831.0036 | 1116680.7514
10 | 2503818.1243 | 1116683.9493 | 2503821.8968 | 1116696.3858 | 2503822.4113 | 1116698.6542
11 | 2503812.8549 | 1116685.1671 | 2503818.1243 | 1116683.9493
12 | 2503843.9663 | 1116679.1218 | 2503834.02 | 1116679.9719 | 2503831.0036 | 1116680.7514
13 | 2503882.1036 | 1116668.2118 | 2503884.8227 | 1116667.8128 | 2503891.9525 | 1116665.1201
14 | 2503882.1036 | 1116668.2118 | 2503868.8199 | 1116668.537
15 | 2503866.6193 | 1116677.1855 | 2503866.7965 | 1116672.7911 | 2503884.6924 | 1116671.7617 | 2503882.1036 | 1116668.2118
16 | 2503882.1036 | 1116668.2118 | 2503874.8297 | 1116658.2383
17 | 2503891.9525 | 1116665.1201 | 2503895.0287 | 1116663.9568
18 | 2503854.6307 | 1116667.5923 | 2503857.5068 | 1116668.814 | 2503868.8199 | 1116668.537
19 | 2503866.6193 | 1116677.1855 | 2503866.4679 | 1116680.779 | 2503864.6656 | 1116685.9108 | 2503863.5567 | 1116690.5967
20 | 2503820.3969 | 1116714.6987 | 2503823.9024 | 1116725.394 | 2503826.5017 | 1116728.1433 | 2503830.9691 | 1116725.5374 | 2503832.386 | 1116726.76
21 | 2503832.386 | 1116726.76 | 2503837.9921 | 1116722.6597
22 | 2503820.3969 | 1116714.6987 | 2503825.2513 | 1116711.175 | 2503822.4113 | 1116698.6542
23 | 2503837.9921 | 1116722.6597 | 2503850.837 | 1116713.265
24 | 2503843.6212 | 1116660.8187 | 2503845.1241 | 1116656.7701 | 2503839.3155 | 1116648.3572
25 | 2503843.6212 | 1116660.8187 | 2503846.9298 | 1116664.9575 | 2503851.0294 | 1116662.5242
26 | 2503842.9782 | 1116645.6306 | 2503839.3155 | 1116648.3572
27 | 2503854.6307 | 1116667.5923 | 2503851.0294 | 1116662.5242
28 | 2503864.5868 | 1116703.2894 | 2503862.5471 | 1116699.3194 | 2503862.1892 | 1116697.2016 | 2503862.4446 | 1116695.2963 | 2503863.5567 | 1116690.5967
29 | 2503779.4743 | 1116687.8551 | 2503778.1759 | 1116684.3736 | 2503778.2285 | 1116682.9808
30 | 2503779.4743 | 1116687.8551 | 2503780.4635 | 1116687.4279 | 2503781.5832 | 1116686.9543 | 2503786.5218 | 1116684.8411 | 2503797.5797 | 1116680.0957 | 2503803.4328 | 1116682.0817 | 2503811.1651 | 1116680.3799 | 2503812.8549 | 1116685.1671
31 | 2503779.4743 | 1116687.8551 | 2503768.2856 | 1116694.9955
32 | 2503781.1449 | 1116671.5644 | 2503779.5326 | 1116677.4477 | 2503778.2519 | 1116682.36 | 2503778.2285 | 1116682.9808
33 | 2503815.9605 | 1116694.5013 | 2503813.6474 | 1116687.4226 | 2503812.8549 | 1116685.1671
34 | 2503812.8549 | 1116685.1671 | 2503806.6393 | 1116686.6001 | 2503789.0807 | 1116692.8165 | 2503783.9466 | 1116696.672
35 | 2503765.3486 | 1116696.8698 | 2503768.2856 | 1116694.9955
36 | 2503864.5868 | 1116703.2894 | 2503856.2983 | 1116709.2722
37 | 2503856.2983 | 1116709.2722 | 2503856.1292 | 1116709.3943 | 2503850.837 | 1116713.265
38 | 2503790.0356 | 1116636.8557 | 2503785.5432 | 1116638.3836 | 2503776.0764 | 1116637.9562
39 | 2503790.0356 | 1116636.8557 | 2503787.4114 | 1116634.4849 | 2503786.7456 | 1116633.884
40 | 2503790.0356 | 1116636.8557 | 2503789.3745 | 1116639.9459 | 2503788.7992 | 1116642.6122 | 2503786.6108 | 1116651.6192 | 2503785.4337 | 1116655.9145
41 | 2503769.2429 | 1116637.6477 | 2503776.0764 | 1116637.9562
42 | 2503786.7456 | 1116633.884 | 2503788.332 | 1116632.658 | 2503791.6847 | 1116628.8912 | 2503795.8272 | 1116623.0939
43 | 2503785.4337 | 1116655.9145 | 2503783.1057 | 1116664.4094
44 | 2503921.2009 | 1116654.0599 | 2503920.3162 | 1116652.8065 | 2503909.1542 | 1116636.7308
45 | 2503921.2009 | 1116654.0599 | 2503907.7431 | 1116659.1489
46 | 2503909.1542 | 1116636.7308 | 2503908.5348 | 1116635.8387 | 2503907.6706 | 1116634.594
47 | 2503907.7431 | 1116659.1489 | 2503895.0287 | 1116663.9568
48 | 2503836.1007 | 1116597.6771 | 2503836.7801 | 1116598.6446 | 2503836.7801 | 1116598.6446
49 | 2503836.1007 | 1116597.6771 | 2503850.8928 | 1116585.5035
50 | 2503836.7801 | 1116598.6446 | 2503826.3742 | 1116607.0152 | 2503829.6822 | 1116610.6315 | 2503829.6822 | 1116610.6315
51 | 2503783.9466 | 1116696.672 | 2503783.0457 | 1116697.3486 | 2503780.0034 | 1116698.6046
52 | 2503821.3243 | 1116593.6441 | 2503828.919 | 1116587.2972
53 | 2503821.3243 | 1116593.6441 | 2503811.1407 | 1116602.1543 | 2503808.1497 | 1116605.8486 | 2503799.4972 | 1116617.9577
54 | 2503842.9782 | 1116645.6306 | 2503839.512 | 1116640.7394
55 | 2503783.1057 | 1116664.4094 | 2503781.1449 | 1116671.5644
56 | 2503765.3486 | 1116696.8698 | 2503760.9433 | 1116699.6812
57 | 2503769.2429 | 1116637.6477 | 2503766.0276 | 1116637.5026
58 | 2503795.8272 | 1116623.0939 | 2503799.4972 | 1116617.9577
59 | 2503839.512 | 1116640.7394 | 2503822.3088 | 1116616.4634 | 2503829.6822 | 1116610.6315
60 | 2503780.0034 | 1116698.6046 | 2503774.5357 | 1116700.8621
61 | 2503633.1715 | 1116660.1663 | 2503630.2756 | 1116657.2217 | 2503631.9275 | 1116651.8699 | 2503628.3531 | 1116648.0133 | 2503632.2184 | 1116643.9604 | 2503633.0219 | 1116642.0575 | 2503636.9985 | 1116632.3882 | 2503644.6961 | 1116635.2897 | 2503653.0759 | 1116637.3908 | 2503668.321 | 1116639.1047 | 2503683.9699 | 1116639.9895 | 2503684.1052 | 1116635.8848
62 | 2503633.1715 | 1116660.1663 | 2503640.749 | 1116655.0425
63 | 2503684.1052 | 1116635.8848 | 2503684.2726 | 1116630.8791 | 2503708.8979 | 1116631.5764 | 2503714.1899 | 1116631.7812 | 2503715.4058 | 1116630.5611 | 2503717.5446 | 1116628.6259 | 2503718.8597 | 1116626.8483 | 2503719.3501 | 1116624.6725 | 2503719.4101 | 1116619.713
64 | 2503684.1052 | 1116635.8848 | 2503685.7697 | 1116635.6804 | 2503694.2454 | 1116635.0785 | 2503724.2519 | 1116636.0118
65 | 2503732.3951 | 1116608.9442 | 2503728.0914 | 1116612.626 | 2503719.4101 | 1116619.713
66 | 2503719.4101 | 1116619.713 | 2503718.1083 | 1116620.7765
67 | 2503724.2519 | 1116636.0118 | 2503729.6256 | 1116636.179
68 | 2503752.5386 | 1116705.0449 | 2503760.9433 | 1116699.6812
69 | 2503732.3951 | 1116608.9442 | 2503733.3131 | 1116610.0006
70 | 2503687.3452 | 1116607.417 | 2503703.6322 | 1116625.7567 | 2503707.6762 | 1116626.6151 | 2503712.4286 | 1116625.4165 | 2503718.1083 | 1116620.7765
71 | 2503729.6256 | 1116636.179 | 2503730.2099 | 1116636.1971
72 | 2503743.7836 | 1116622.0488 | 2503733.3131 | 1116610.0006
73 | 2503677.6958 | 1116596.5515 | 2503687.3452 | 1116607.417
74 | 2503752.0249 | 1116636.8757 | 2503730.2099 | 1116636.1971
75 | 2503752.0249 | 1116636.8757 | 2503752.4046 | 1116636.8875 | 2503766.0276 | 1116637.5026

## bus_geodata
| x | y | coords
0 | 2503769.6264 | 1116545.2039
1 | 2503842.038 | 1116525.327
2 | 2503859.5291 | 1116561.4491
3 | 2503908.4975 | 1116587.3317
4 | 2503924.9831 | 1116599.8024
5 | 2503887.9586 | 1116606.2028
6 | 2503870.8839 | 1116569.0512
7 | 2503867.3282 | 1116571.9775
8 | 2503822.9706 | 1116682.8271
9 | 2503818.1243 | 1116683.9493
10 | 2503831.0036 | 1116680.7514
11 | 2503882.1035 | 1116668.2118
12 | 2503891.9525 | 1116665.1201
13 | 2503868.8199 | 1116668.537
14 | 2503866.6193 | 1116677.1855
15 | 2503874.8297 | 1116658.2383
16 | 2503832.386 | 1116726.76
17 | 2503820.3969 | 1116714.6987
18 | 2503837.9921 | 1116722.6597
19 | 2503843.6212 | 1116660.8187
20 | 2503839.3155 | 1116648.3572
21 | 2503851.0294 | 1116662.5242
22 | 2503854.6307 | 1116667.5923
23 | 2503863.5567 | 1116690.5967
24 | 2503779.4743 | 1116687.8551
25 | 2503778.2285 | 1116682.9808
26 | 2503812.8549 | 1116685.1671
27 | 2503768.2856 | 1116694.9955
28 | 2503864.5868 | 1116703.2894
29 | 2503856.2984 | 1116709.2722
30 | 2503790.0356 | 1116636.8557
31 | 2503776.0764 | 1116637.9562
32 | 2503786.7456 | 1116633.884
33 | 2503785.4337 | 1116655.9145
34 | 2503921.2009 | 1116654.0599
35 | 2503909.1542 | 1116636.7308
36 | 2503907.7431 | 1116659.1489
37 | 2503836.1007 | 1116597.6771
38 | 2503836.7801 | 1116598.6446
39 | 2503850.8928 | 1116585.5035
40 | 2503815.9605 | 1116694.5013
41 | 2503783.9466 | 1116696.672
42 | 2503822.4113 | 1116698.6542
43 | 2503895.0287 | 1116663.9568
44 | 2503907.6706 | 1116634.594
45 | 2503828.919 | 1116587.2972
46 | 2503821.3243 | 1116593.6441
47 | 2503843.9663 | 1116679.1218
48 | 2503850.837 | 1116713.265
49 | 2503842.9782 | 1116645.6306
50 | 2503781.1449 | 1116671.5644
51 | 2503765.3486 | 1116696.8698
52 | 2503769.2429 | 1116637.6477
53 | 2503795.8272 | 1116623.0939
54 | 2503783.1057 | 1116664.4094
55 | 2503829.6822 | 1116610.6315
56 | 2503780.0034 | 1116698.6046
57 | 2503633.1715 | 1116660.1663
58 | 2503684.1052 | 1116635.8848
59 | 2503640.749 | 1116655.0425
60 | 2503719.4101 | 1116619.713
61 | 2503724.2519 | 1116636.0118
62 | 2503752.5386 | 1116705.0449
63 | 2503760.9433 | 1116699.6812
64 | 2503774.5357 | 1116700.8621
65 | 2503839.512 | 1116640.7394
66 | 2503732.3951 | 1116608.9442
67 | 2503718.1083 | 1116620.7765
68 | 2503729.6256 | 1116636.179
69 | 2503799.4972 | 1116617.9577
70 | 2503733.3131 | 1116610.0006
71 | 2503687.3452 | 1116607.417
72 | 2503743.7836 | 1116622.0488
73 | 2503730.2099 | 1116636.1971
74 | 2503752.0249 | 1116636.8757
75 | 2503766.0276 | 1116637.5026
76 | 2503677.6958 | 1116596.5515
77 | 2503843.6212 | 1116660.8187

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1