## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6613-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6613-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6613-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6613-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6613-5_0_3_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_6613-5_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6613-5_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_6613-5_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_6613-5_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_6613-5_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6613-5_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6613-5_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6613-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6613-5_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6613-5_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6613-5_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6613-5_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_6613-5_0_3_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_6613-5_0_3_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_6613-5_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6613-5_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6613-5_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6613-5_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6613-5_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6613-5_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6613-5_0_3_node_129 | 0.4 | n |  | TRUE
26 | bus_LV_6613-5_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6613-5_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_6613-5_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6613-5_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6613-5_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6613-5_0_3_node_139 | 0.4 | n |  | TRUE
32 | bus_LV_6613-5_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6613-5_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6613-5_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6613-5_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6613-5_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6613-5_0_3_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_6613-5_0_3_node_128 | 0.4 | n |  | TRUE
39 | bus_LV_6613-5_0_3_node_127 | 0.4 | n |  | TRUE
40 | bus_LV_6613-5_0_3_node_131 | 0.4 | n |  | TRUE
41 | bus_LV_6613-5_0_3_node_138 | 0.4 | n |  | TRUE
42 | bus_LV_6613-5_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6613-5_0_3_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_6613-5_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6613-5_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6613-5_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6613-5_0_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_6613-5_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6613-5_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6613-5_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6613-5_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6613-5_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_6613-5_0_3_node_137 | 0.4 | n |  | TRUE
54 | bus_LV_6613-5_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6613-5_0_3_node_140 | 0.4 | n |  | TRUE
56 | bus_LV_6613-5_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_6613-5_0_3_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_6613-5_0_3_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_6613-5_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_6613-5_0_3_node_135 | 0.4 | n |  | TRUE
61 | bus_LV_6613-5_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_6613-5_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_6613-5_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_6613-5_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_6613-5_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_6613-5_0_3_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_6613-5_0_3_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_6613-5_0_3_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_6613-5_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_6613-5_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6613-5_0_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_6613-5_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_6613-5_0_3_node_136 | 0.4 | n |  | TRUE
74 | bus_LV_6613-5_0_3_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_6613-5_0_3_node_134 | 0.4 | n |  | TRUE
76 | bus_LV_6613-5_0_3_node_132 | 0.4 | n |  | TRUE
77 | bus_LV_6613-5_0_3_node_133 | 0.4 | n |  | TRUE
78 | bus_MV_648_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6613-5_0_3_load_0 | 0 | 0.017961 | 0.0045015 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6613-5_0_3_load_1 | 1 | 0.017717 | 0.0044403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6613-5_0_3_load_34 | 4 | 0.0081736 | 0.0020485 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6613-5_0_3_load_36 | 6 | 0.013732 | 0.0034415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6613-5_0_3_load_35 | 7 | 0.0080494 | 0.0020174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6613-5_0_3_load_5 | 9 | 0.0057557 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6613-5_0_3_load_6 | 10 | 0.0010274 | 0.00025748 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6613-5_0_3_load_8 | 12 | 0.0012599 | 0.00031577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6613-5_0_3_load_28 | 16 | 0.0031467 | 0.00078864 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6613-5_0_3_load_92 | 17 | 0.0022934 | 0.00057479 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6613-5_0_3_load_90 | 18 | 0.0027275 | 0.00068359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6613-5_0_3_load_129 | 25 | 0.0028582 | 0.00071632 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6613-5_0_3_load_31 | 27 | 0.014517 | 0.0036383 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6613-5_0_3_load_30 | 28 | 0.015618 | 0.0039143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6613-5_0_3_load_32 | 29 | 0.0096473 | 0.0024178 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6613-5_0_3_load_139 | 31 | 0.0038214 | 0.00095772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6613-5_0_3_load_40 | 34 | 0.0054481 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6613-5_0_3_load_37 | 35 | 0.0041101 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6613-5_0_3_load_89 | 37 | 0.0023388 | 0.00058616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6613-5_0_3_load_128 | 38 | 0.0044219 | 0.0011082 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6613-5_0_3_load_127 | 39 | 0.0093205 | 0.0023359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6613-5_0_3_load_138 | 41 | 0.0067751 | 0.001698 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6613-5_0_3_load_82 | 43 | 0.00090341 | 0.00022642 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6613-5_0_3_load_41 | 45 | 0.0038401 | 0.00096243 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6613-5_0_3_load_33 | 46 | 0.0089597 | 0.0022455 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6613-5_0_3_load_91 | 47 | 0.0011404 | 0.00028582 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6613-5_0_3_load_29 | 48 | 0.014403 | 0.0036096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6613-5_0_3_load_43 | 49 | 0.0060048 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6613-5_0_3_load_42 | 50 | 0.0026324 | 0.00065975 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6613-5_0_3_load_137 | 53 | 0.00071167 | 0.00017836 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6613-5_0_3_load_38 | 54 | 0.0019627 | 0.0004919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6613-5_0_3_load_140 | 55 | 0.0067516 | 0.0016921 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6613-5_0_3_load_83 | 58 | 0.00088947 | 0.00022292 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6613-5_0_3_load_135 | 60 | 0.00073243 | 0.00018356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6613-5_0_3_load_72 | 61 | 0.0023623 | 0.00059204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6613-5_0_3_load_73 | 62 | 0.00092826 | 0.00023264 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6613-5_0_3_load_74 | 63 | 0.030768 | 0.0077112 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6613-5_0_3_load_75 | 64 | 0.00093646 | 0.0002347 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6613-5_0_3_load_76 | 65 | 0.00071992 | 0.00018043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6613-5_0_3_load_88 | 66 | 0.00072738 | 0.0001823 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6613-5_0_3_load_87 | 67 | 0.00071148 | 0.00017831 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6613-5_0_3_load_77 | 68 | 0.0027674 | 0.00069358 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6613-5_0_3_load_78 | 69 | 0.00091262 | 0.00022873 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6613-5_0_3_load_79 | 70 | 0.0018011 | 0.0004514 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6613-5_0_3_load_84 | 71 | 0.00089807 | 0.00022508 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6613-5_0_3_load_86 | 72 | 0.00088883 | 0.00022276 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6613-5_0_3_load_136 | 73 | 0.00089844 | 0.00022517 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6613-5_0_3_load_130 | 74 | 0.0068325 | 0.0017124 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6613-5_0_3_load_134 | 75 | 0.00088437 | 0.00022164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6613-5_0_3_load_132 | 76 | 0.00089936 | 0.0002254 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6613-5_0_3_load_133 | 77 | 0.0022544 | 0.000565 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6613-5_0_3_line_0 |  | 0 | 1 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6613-5_0_3_line_1 |  | 1 | 2 | 0.0078808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6613-5_0_3_line_2 |  | 2 | 3 | 0.058153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6613-5_0_3_line_3 |  | 3 | 4 | 0.0013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6613-5_0_3_line_4 |  | 4 | 7 | 0.022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6613-5_0_3_line_5 |  | 5 | 6 | 0.057127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6613-5_0_3_line_6 |  | 5 | 7 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6613-5_0_3_line_7 |  | 6 | 8 | 0.01196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6613-5_0_3_line_8 |  | 8 | 44 | 0.084126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6613-5_0_3_line_9 |  | 8 | 25 | 0.019394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6613-5_0_3_line_10 |  | 9 | 10 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6613-5_0_3_line_11 |  | 9 | 11 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6613-5_0_3_line_12 |  | 10 | 12 | 0.004671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6613-5_0_3_line_13 |  | 11 | 13 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6613-5_0_3_line_14 |  | 11 | 14 | 0.0073556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6613-5_0_3_line_15 |  | 13 | 15 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6613-5_0_3_line_16 |  | 13 | 16 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6613-5_0_3_line_17 |  | 14 | 17 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6613-5_0_3_line_18 |  | 14 | 18 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6613-5_0_3_line_19 |  | 15 | 29 | 0.010173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6613-5_0_3_line_20 |  | 16 | 34 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6613-5_0_3_line_21 |  | 18 | 47 | 0.0076735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6613-5_0_3_line_22 |  | 19 | 20 | 0.038873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6613-5_0_3_line_23 |  | 19 | 21 | 0.039568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6613-5_0_3_line_24 |  | 20 | 36 | 0.2687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6613-5_0_3_line_25 |  | 21 | 34 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6613-5_0_3_line_26 |  | 22 | 23 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6613-5_0_3_line_27 |  | 22 | 24 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6613-5_0_3_line_28 |  | 22 | 25 | 0.0002887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6613-5_0_3_line_29 |  | 23 | 38 | 0.009105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6613-5_0_3_line_30 |  | 23 | 39 | 0.0073545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6613-5_0_3_line_31 |  | 24 | 46 | 0.010503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6613-5_0_3_line_32 |  | 26 | 27 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6613-5_0_3_line_33 |  | 26 | 28 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6613-5_0_3_line_34 |  | 27 | 39 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6613-5_0_3_line_35 |  | 28 | 48 | 0.0020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6613-5_0_3_line_36 |  | 29 | 46 | 0.015689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6613-5_0_3_line_37 |  | 30 | 31 | 0.057027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6613-5_0_3_line_38 |  | 30 | 32 | 0.11818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6613-5_0_3_line_39 |  | 30 | 33 | 0.11139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6613-5_0_3_line_40 |  | 32 | 35 | 0.0084789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6613-5_0_3_line_41 |  | 33 | 40 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6613-5_0_3_line_42 |  | 33 | 41 | 0.006024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6613-5_0_3_line_43 |  | 33 | 42 | 0.056424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6613-5_0_3_line_44 |  | 35 | 54 | 0.054154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6613-5_0_3_line_45 |  | 36 | 37 | 0.077218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6613-5_0_3_line_46 |  | 40 | 55 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6613-5_0_3_line_47 |  | 40 | 56 | 0.019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6613-5_0_3_line_48 |  | 42 | 43 | 0.054721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6613-5_0_3_line_49 |  | 43 | 58 | 0.006577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6613-5_0_3_line_50 |  | 44 | 45 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6613-5_0_3_line_51 |  | 45 | 50 | 0.0090956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6613-5_0_3_line_52 |  | 47 | 57 | 0.090059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6613-5_0_3_line_53 |  | 49 | 50 | 0.0092815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6613-5_0_3_line_54 |  | 51 | 52 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6613-5_0_3_line_55 |  | 51 | 53 | 0.0032091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6613-5_0_3_line_56 |  | 52 | 59 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6613-5_0_3_line_57 |  | 53 | 60 | 0.0010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6613-5_0_3_line_58 |  | 56 | 74 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6613-5_0_3_line_59 |  | 56 | 57 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6613-5_0_3_line_60 |  | 58 | 71 | 0.0069691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6613-5_0_3_line_61 |  | 59 | 67 | 0.0042641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6613-5_0_3_line_62 |  | 59 | 70 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6613-5_0_3_line_63 |  | 60 | 77 | 0.00035333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6613-5_0_3_line_64 |  | 61 | 62 | 0.0089715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6613-5_0_3_line_65 |  | 61 | 63 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6613-5_0_3_line_66 |  | 62 | 64 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6613-5_0_3_line_67 |  | 64 | 65 | 0.0009188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6613-5_0_3_line_68 |  | 65 | 66 | 0.0065209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6613-5_0_3_line_69 |  | 66 | 67 | 0.0063063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6613-5_0_3_line_70 |  | 68 | 69 | 0.0031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6613-5_0_3_line_71 |  | 68 | 70 | 0.0021949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6613-5_0_3_line_72 |  | 71 | 72 | 0.005615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6613-5_0_3_line_73 |  | 72 | 73 | 0.0070171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6613-5_0_3_line_74 |  | 73 | 75 | 0.0053732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6613-5_0_3_line_75 |  | 75 | 76 | 0.0050729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6613-5_0_3_line_76 |  | 76 | 77 | 0.0053544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6613-5_0_3_trafo_90 | 0.63 MVA 20/0.4 kV | 78 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2503789.6617 | 1116858.3963 | 2503802.1041 | 1116875.0976
1 | 2503806.8123 | 1116881.4174 | 2503802.1041 | 1116875.0976
2 | 2503806.8123 | 1116881.4174 | 2503814.2963 | 1116884.0222 | 2503818.1666 | 1116883.1935 | 2503818.1417 | 1116881.6263 | 2503819.2839 | 1116875.2931 | 2503826.8737 | 1116872.8932 | 2503831.135 | 1116869.4678 | 2503832.4879 | 1116862.2974 | 2503829.1664 | 1116856.3688 | 2503828.1269 | 1116850.2371 | 2503828.8511 | 1116845.7673
3 | 2503828.8511 | 1116845.7673 | 2503830.0821 | 1116845.2004
4 | 2503830.0821 | 1116845.2004 | 2503844.6552 | 1116838.4894 | 2503850.0534 | 1116835.8229
5 | 2503867.4092 | 1116826.4315 | 2503854.861 | 1116805.418 | 2503847.4605 | 1116793.0168 | 2503845.4537 | 1116789.6578 | 2503838.1644 | 1116777.455 | 2503838.1217 | 1116777.3835
6 | 2503867.4092 | 1116826.4315 | 2503860.8647 | 1116830.4825 | 2503850.0534 | 1116835.8229
7 | 2503831.9932 | 1116767.1134 | 2503838.1217 | 1116777.3835
8 | 2503831.9932 | 1116767.1134 | 2503832.8878 | 1116766.5655 | 2503836.3822 | 1116764.4308 | 2503837.2234 | 1116763.9172 | 2503838.1797 | 1116763.3683 | 2503842.6854 | 1116760.7395 | 2503844.1466 | 1116759.8935 | 2503847.0582 | 1116764.8059 | 2503857.4271 | 1116782.2852 | 2503860.9179 | 1116788.1778 | 2503879.8391 | 1116820.0968
9 | 2503831.9932 | 1116767.1134 | 2503828.379 | 1116763.1684 | 2503824.7505 | 1116761.2471 | 2503821.333 | 1116760.9346 | 2503817.8788 | 1116761.7122 | 2503815.3567 | 1116763.272
10 | 2503765.0597 | 1116704.7745 | 2503762.8802 | 1116705.6744 | 2503756.6809 | 1116709.5865 | 2503750.3792 | 1116715.5457
11 | 2503740.5252 | 1116724.864 | 2503750.3792 | 1116715.5457
12 | 2503765.0597 | 1116704.7745 | 2503769.3771 | 1116702.992
13 | 2503761.3819 | 1116748.3356 | 2503740.5252 | 1116724.864
14 | 2503735.3236 | 1116719.6658 | 2503737.6911 | 1116721.9184 | 2503740.5252 | 1116724.864
15 | 2503761.3819 | 1116748.3356 | 2503771.9996 | 1116764.4544
16 | 2503761.3819 | 1116748.3356 | 2503783.3553 | 1116735.2447
17 | 2503735.3236 | 1116719.6658 | 2503742.061 | 1116711.7315 | 2503744.5622 | 1116710.1353
18 | 2503735.3236 | 1116719.6658 | 2503730.2748 | 1116714.8543 | 2503723.6499 | 1116711.6323
19 | 2503771.9996 | 1116764.4544 | 2503780.5268 | 1116758.9071
20 | 2503783.3553 | 1116735.2447 | 2503798.6053 | 1116731.6875
21 | 2503723.6499 | 1116711.6323 | 2503719.0079 | 1116709.3746 | 2503716.6601 | 1116708.4824
22 | 2503779.4743 | 1116687.8551 | 2503780.4635 | 1116687.4279 | 2503781.5832 | 1116686.9543 | 2503786.5218 | 1116684.8411 | 2503797.5797 | 1116680.0957 | 2503803.4328 | 1116682.0817 | 2503811.1651 | 1116680.3799 | 2503812.8549 | 1116685.1671
23 | 2503812.8549 | 1116685.1671 | 2503818.1243 | 1116683.9493 | 2503821.8968 | 1116696.3858 | 2503825.2513 | 1116711.175 | 2503820.3969 | 1116714.6987
24 | 2503779.4743 | 1116687.8551 | 2503778.1759 | 1116684.3736 | 2503778.2519 | 1116682.36 | 2503779.5326 | 1116677.4477 | 2503786.6108 | 1116651.6192 | 2503788.7992 | 1116642.6122 | 2503789.3745 | 1116639.9459 | 2503790.0356 | 1116636.8557 | 2503787.4114 | 1116634.4849 | 2503786.7456 | 1116633.884 | 2503788.332 | 1116632.658 | 2503791.6847 | 1116628.8912 | 2503808.1497 | 1116605.8486 | 2503811.1407 | 1116602.1543 | 2503849.1552 | 1116570.3861 | 2503857.1455 | 1116564.9892 | 2503859.5291 | 1116561.4491 | 2503860.0547 | 1116559.0615 | 2503859.9715 | 1116556.7392 | 2503847.8757 | 1116535.5628 | 2503842.038 | 1116525.327 | 2503834.4453 | 1116511.0611 | 2503818.559 | 1116482.6406 | 2503809.6802 | 1116466.6497
25 | 2503820.3969 | 1116714.6987 | 2503817.8324 | 1116716.5629 | 2503819.8664 | 1116720.6664 | 2503804.6857 | 1116730.2692 | 2503798.6053 | 1116731.6875
26 | 2503804.6645 | 1116774.5524 | 2503802.7177 | 1116771.5704 | 2503815.1111 | 1116763.4239
27 | 2503802.4821 | 1116744.6242 | 2503804.3167 | 1116747.3522 | 2503805.3289 | 1116748.8593 | 2503806.4045 | 1116750.4654 | 2503806.9974 | 1116751.3343 | 2503807.5194 | 1116752.1154 | 2503808.3577 | 1116753.3695 | 2503809.2038 | 1116754.6235 | 2503810.0498 | 1116755.8775 | 2503810.8805 | 1116757.1317 | 2503811.5998 | 1116758.1876 | 2503812.3197 | 1116759.2768 | 2503813.585 | 1116761.1579 | 2503814.5812 | 1116762.6318 | 2503815.1111 | 1116763.4239
28 | 2503815.3567 | 1116763.272 | 2503815.1111 | 1116763.4239
29 | 2503812.4484 | 1116769.7924 | 2503804.6645 | 1116774.5524
30 | 2503804.6645 | 1116774.5524 | 2503798.4474 | 1116778.4813
31 | 2503802.4821 | 1116744.6242 | 2503793.6782 | 1116750.3515
32 | 2503768.7691 | 1116797.2371 | 2503785.7624 | 1116786.4979
33 | 2503768.7691 | 1116797.2371 | 2503774.171 | 1116805.812 | 2503776.6466 | 1116809.551
34 | 2503798.4474 | 1116778.4813 | 2503785.7624 | 1116786.4979
35 | 2503777.8024 | 1116811.2966 | 2503776.6466 | 1116809.551
36 | 2503780.5268 | 1116758.9071 | 2503793.6782 | 1116750.3515
37 | 2503677.6958 | 1116596.5515 | 2503703.6322 | 1116625.7567 | 2503707.6762 | 1116626.6151 | 2503712.4286 | 1116625.4165 | 2503719.4101 | 1116619.713
38 | 2503617.8917 | 1116619.9404 | 2503626.8053 | 1116624.5346 | 2503638.2548 | 1116629.3441 | 2503645.3193 | 1116632.2445 | 2503653.9421 | 1116634.5753 | 2503662.2097 | 1116635.4553 | 2503684.1052 | 1116635.8848 | 2503684.2726 | 1116630.8791 | 2503708.8979 | 1116631.5764 | 2503714.1899 | 1116631.7812 | 2503715.4058 | 1116630.5611 | 2503717.5446 | 1116628.6259 | 2503718.8597 | 1116626.8483 | 2503719.3501 | 1116624.6725 | 2503719.4101 | 1116619.713
39 | 2503633.0219 | 1116642.0575 | 2503636.9985 | 1116632.3882 | 2503644.6961 | 1116635.2897 | 2503653.0759 | 1116637.3908 | 2503668.321 | 1116639.1047 | 2503683.9699 | 1116639.9895 | 2503684.1052 | 1116635.8848 | 2503684.2726 | 1116630.8791 | 2503708.8979 | 1116631.5764 | 2503714.1899 | 1116631.7812 | 2503715.4058 | 1116630.5611 | 2503717.5446 | 1116628.6259 | 2503718.8597 | 1116626.8483 | 2503719.3501 | 1116624.6725 | 2503719.4101 | 1116619.713
40 | 2503617.8917 | 1116619.9404 | 2503618.7226 | 1116616.3694 | 2503618.8733 | 1116612.7426 | 2503618.5655 | 1116611.6008
41 | 2503633.0219 | 1116642.0575 | 2503632.2184 | 1116643.9604 | 2503628.3531 | 1116648.0133 | 2503631.9275 | 1116651.8699 | 2503630.2756 | 1116657.2217
42 | 2503627.4118 | 1116639.8233 | 2503633.0219 | 1116642.0575
43 | 2503633.0219 | 1116642.0575 | 2503636.9985 | 1116632.3882 | 2503622.983 | 1116626.9303 | 2503595.4122 | 1116612.9164
44 | 2503604.471 | 1116559.3129 | 2503618.5655 | 1116611.6008
45 | 2503809.6802 | 1116466.6497 | 2503776.8939 | 1116480.0792 | 2503772.8239 | 1116484.3799 | 2503748.6525 | 1116494.7708 | 2503744.8245 | 1116486.0141
46 | 2503620.6329 | 1116653.3841 | 2503630.2756 | 1116657.2217
47 | 2503630.2756 | 1116657.2217 | 2503633.1715 | 1116660.1663 | 2503632.8288 | 1116663.8518 | 2503630.7168 | 1116667.4655 | 2503628.1199 | 1116669.7193 | 2503624.3697 | 1116670.335
48 | 2503595.4122 | 1116612.9164 | 2503553.2211 | 1116589.9079 | 2503546.9297 | 1116587.7117
49 | 2503546.9297 | 1116587.7117 | 2503543.7488 | 1116586.6013 | 2503540.6474 | 1116585.7814
50 | 2503879.8391 | 1116820.0968 | 2503890.7872 | 1116811.1108
51 | 2503897.8179 | 1116805.3403 | 2503890.7872 | 1116811.1108
52 | 2503630.6917 | 1116685.2657 | 2503638.4341 | 1116686.621 | 2503644.0133 | 1116691.7687 | 2503671.3439 | 1116698.004 | 2503711.0614 | 1116706.3548 | 2503716.6601 | 1116708.4824
53 | 2503904.9923 | 1116799.4517 | 2503897.8179 | 1116805.3403
54 | 2503504.5492 | 1116572.0618 | 2503491.6859 | 1116566.7303
55 | 2503504.5492 | 1116572.0618 | 2503505.463 | 1116575.138
56 | 2503479.8619 | 1116570.399 | 2503491.6859 | 1116566.7303
57 | 2503506.4447 | 1116575.5168 | 2503505.463 | 1116575.138
58 | 2503614.1778 | 1116665.9502 | 2503624.3697 | 1116670.335
59 | 2503624.3697 | 1116670.335 | 2503630.3707 | 1116681.1127 | 2503630.6917 | 1116685.2657
60 | 2503540.6474 | 1116585.7814 | 2503533.9098 | 1116584.0001
61 | 2503479.8619 | 1116570.399 | 2503475.8629 | 1116571.879
62 | 2503479.8619 | 1116570.399 | 2503474.3191 | 1116560.7815 | 2503474.0576 | 1116556.9722 | 2503474.0576 | 1116556.9722
63 | 2503506.4447 | 1116575.5168 | 2503506.7743 | 1116575.644
64 | 2503433.6177 | 1116586.2501 | 2503433.8422 | 1116586.1874 | 2503442.3079 | 1116584.0209
65 | 2503419.0915 | 1116590.3032 | 2503433.6177 | 1116586.2501
66 | 2503462.9715 | 1116576.65 | 2503444.7306 | 1116583.4008 | 2503442.3079 | 1116584.0209
67 | 2503462.9715 | 1116576.65 | 2503463.8331 | 1116576.3311
68 | 2503463.8331 | 1116576.3311 | 2503469.9486 | 1116574.0678
69 | 2503469.9486 | 1116574.0678 | 2503475.8629 | 1116571.879
70 | 2503475.1623 | 1116555.0756 | 2503478.3301 | 1116555.2141
71 | 2503475.1623 | 1116555.0756 | 2503475.1623 | 1116555.0756 | 2503474.0576 | 1116556.9722
72 | 2503533.9098 | 1116584.0001 | 2503528.4813 | 1116582.5649
73 | 2503521.6972 | 1116580.7713 | 2503528.4813 | 1116582.5649
74 | 2503516.5025 | 1116579.398 | 2503516.5025 | 1116579.398 | 2503521.6972 | 1116580.7713
75 | 2503511.7697 | 1116577.5717 | 2503516.5025 | 1116579.398
76 | 2503511.7697 | 1116577.5717 | 2503506.7743 | 1116575.644

## bus_geodata
| x | y | coords
0 | 2503789.6617 | 1116858.3963
1 | 2503802.1041 | 1116875.0976
2 | 2503806.8123 | 1116881.4174
3 | 2503828.8511 | 1116845.7673
4 | 2503830.0821 | 1116845.2004
5 | 2503867.4092 | 1116826.4315
6 | 2503838.1217 | 1116777.3835
7 | 2503850.0534 | 1116835.8229
8 | 2503831.9932 | 1116767.1134
9 | 2503750.3792 | 1116715.5457
10 | 2503765.0597 | 1116704.7745
11 | 2503740.5252 | 1116724.864
12 | 2503769.3771 | 1116702.992
13 | 2503761.3819 | 1116748.3356
14 | 2503735.3236 | 1116719.6658
15 | 2503771.9996 | 1116764.4544
16 | 2503783.3553 | 1116735.2447
17 | 2503744.5622 | 1116710.1353
18 | 2503723.6499 | 1116711.6323
19 | 2503812.8549 | 1116685.1671
20 | 2503779.4743 | 1116687.8551
21 | 2503820.3969 | 1116714.6987
22 | 2503815.1111 | 1116763.4239
23 | 2503804.6645 | 1116774.5524
24 | 2503802.4821 | 1116744.6242
25 | 2503815.3567 | 1116763.272
26 | 2503768.7691 | 1116797.2371
27 | 2503785.7624 | 1116786.4979
28 | 2503776.6466 | 1116809.551
29 | 2503780.5268 | 1116758.9071
30 | 2503719.4101 | 1116619.713
31 | 2503677.6958 | 1116596.5515
32 | 2503617.8917 | 1116619.9404
33 | 2503633.0219 | 1116642.0575
34 | 2503798.6053 | 1116731.6875
35 | 2503618.5655 | 1116611.6008
36 | 2503809.6802 | 1116466.6497
37 | 2503744.8245 | 1116486.0141
38 | 2503812.4484 | 1116769.7923
39 | 2503798.4474 | 1116778.4813
40 | 2503630.2756 | 1116657.2217
41 | 2503627.4118 | 1116639.8233
42 | 2503595.4122 | 1116612.9164
43 | 2503546.9297 | 1116587.7117
44 | 2503879.8391 | 1116820.0968
45 | 2503890.7872 | 1116811.1108
46 | 2503793.6782 | 1116750.3515
47 | 2503716.6601 | 1116708.4824
48 | 2503777.8024 | 1116811.2966
49 | 2503904.9923 | 1116799.4517
50 | 2503897.8179 | 1116805.3403
51 | 2503504.5492 | 1116572.0618
52 | 2503491.6859 | 1116566.7303
53 | 2503505.463 | 1116575.138
54 | 2503604.471 | 1116559.3129
55 | 2503620.6329 | 1116653.3841
56 | 2503624.3697 | 1116670.335
57 | 2503630.6917 | 1116685.2657
58 | 2503540.6474 | 1116585.7814
59 | 2503479.8619 | 1116570.399
60 | 2503506.4447 | 1116575.5168
61 | 2503433.6177 | 1116586.2501
62 | 2503442.3079 | 1116584.0209
63 | 2503419.0915 | 1116590.3032
64 | 2503462.9715 | 1116576.65
65 | 2503463.8331 | 1116576.3311
66 | 2503469.9486 | 1116574.0678
67 | 2503475.8629 | 1116571.879
68 | 2503475.1623 | 1116555.0756
69 | 2503478.3301 | 1116555.2141
70 | 2503474.0576 | 1116556.9722
71 | 2503533.9098 | 1116584.0001
72 | 2503528.4813 | 1116582.5649
73 | 2503521.6972 | 1116580.7713
74 | 2503614.1778 | 1116665.9502
75 | 2503516.5025 | 1116579.398
76 | 2503511.7697 | 1116577.5717
77 | 2503506.7743 | 1116575.644
78 | 2503723.6499 | 1116711.6323

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1