## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6613-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6613-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6613-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6613-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6613-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6613-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6613-7_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6613-7_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6613-7_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6613-7_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6613-7_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_6613-7_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_6613-7_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6613-7_0_4_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_6613-7_0_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_6613-7_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_6613-7_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6613-7_0_4_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_6613-7_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_6613-7_0_4_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_6613-7_0_4_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_6613-7_0_4_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_6613-7_0_4_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_6613-7_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_6613-7_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_6613-7_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6613-7_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6613-7_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6613-7_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6613-7_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6613-7_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6613-7_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6613-7_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6613-7_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6613-7_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6613-7_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6613-7_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6613-7_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_6613-7_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6613-7_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6613-7_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6613-7_0_4_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_6613-7_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6613-7_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6613-7_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6613-7_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6613-7_0_4_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_6613-7_0_4_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_6613-7_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_6613-7_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6613-7_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_6613-7_0_4_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_6613-7_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_6613-7_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6613-7_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6613-7_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6613-7_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6613-7_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6613-7_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6613-7_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6613-7_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6613-7_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6613-7_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_6613-7_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_6613-7_0_4_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_6613-7_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_6613-7_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_6613-7_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_6613-7_0_4_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_6613-7_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_6613-7_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6613-7_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_6613-7_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6613-7_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_6613-7_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_6613-7_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6613-7_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_6613-7_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_6613-7_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_6613-7_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6613-7_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_6613-7_0_4_node_92 | 0.4 | n |  | TRUE
82 | bus_LV_6613-7_0_4_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_6613-7_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_6613-7_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6613-7_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_6613-7_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_6613-7_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_6613-7_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_MV_648_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6613-7_0_4_load_0 | 0 | 0.006529 | 0.0016363 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6613-7_0_4_load_1 | 1 | 0.0087138 | 0.0021839 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6613-7_0_4_load_3 | 3 | 0.0064215 | 0.0016094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6613-7_0_4_load_12 | 7 | 0.0088421 | 0.002216 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6613-7_0_4_load_13 | 8 | 0.0034972 | 0.00087648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6613-7_0_4_load_14 | 9 | 0.0036322 | 0.00091033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6613-7_0_4_load_48 | 10 | 0.0080907 | 0.0020277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6613-7_0_4_load_47 | 11 | 0.043193 | 0.010825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6613-7_0_4_load_74 | 13 | 0.013982 | 0.0035042 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6613-7_0_4_load_75 | 14 | 0.0017309 | 0.00043381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6613-7_0_4_load_32 | 15 | 0.011717 | 0.0029364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6613-7_0_4_load_82 | 17 | 0.0051812 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6613-7_0_4_load_76 | 19 | 0.0024051 | 0.00060278 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6613-7_0_4_load_78 | 20 | 0.003394 | 0.0008506 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6613-7_0_4_load_77 | 21 | 0.0028266 | 0.00070842 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6613-7_0_4_load_83 | 22 | 0.0054069 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6613-7_0_4_load_62 | 23 | 0.0049895 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6613-7_0_4_load_29 | 24 | 0.0074101 | 0.0018571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6613-7_0_4_load_15 | 25 | 0.0055324 | 0.0013866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6613-7_0_4_load_18 | 28 | 0.0069913 | 0.0017522 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6613-7_0_4_load_19 | 29 | 0.0069984 | 0.001754 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6613-7_0_4_load_20 | 30 | 0.0050531 | 0.0012664 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6613-7_0_4_load_21 | 31 | 0.0050149 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6613-7_0_4_load_23 | 32 | 0.007467 | 0.0018714 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6613-7_0_4_load_24 | 33 | 0.0099083 | 0.0024833 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6613-7_0_4_load_25 | 34 | 0.0054829 | 0.0013741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6613-7_0_4_load_22 | 35 | 0.010209 | 0.0025585 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6613-7_0_4_load_81 | 37 | 0.0053847 | 0.0013495 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6613-7_0_4_load_34 | 38 | 0.0053834 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6613-7_0_4_load_44 | 39 | 0.0049642 | 0.0012441 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6613-7_0_4_load_26 | 40 | 0.02083 | 0.0052204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6613-7_0_4_load_45 | 43 | 0.0074414 | 0.001865 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6613-7_0_4_load_28 | 44 | 0.011316 | 0.002836 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6613-7_0_4_load_88 | 46 | 0.0080109 | 0.0020077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6613-7_0_4_load_79 | 47 | 0.0047426 | 0.0011886 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6613-7_0_4_load_63 | 48 | 0.0073164 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6613-7_0_4_load_93 | 51 | 0.0067444 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6613-7_0_4_load_54 | 56 | 0.00028922 | 7.2486e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6613-7_0_4_load_49 | 57 | 0.0005614 | 0.0001407 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6613-7_0_4_load_50 | 58 | 0.00048995 | 0.00012279 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6613-7_0_4_load_59 | 59 | 0.00043459 | 0.00010892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6613-7_0_4_load_61 | 61 | 0.0065673 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6613-7_0_4_load_36 | 62 | 0.0030401 | 0.00076192 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6613-7_0_4_load_37 | 63 | 0.0040578 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6613-7_0_4_load_39 | 65 | 0.0086689 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6613-7_0_4_load_40 | 66 | 0.0043239 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6613-7_0_4_load_42 | 68 | 0.0072296 | 0.0018119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6613-7_0_4_load_43 | 69 | 0.018747 | 0.0046985 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6613-7_0_4_load_66 | 70 | 0.00044721 | 0.00011208 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6613-7_0_4_load_87 | 71 | 0.020744 | 0.005199 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6613-7_0_4_load_72 | 72 | 0.00083974 | 0.00021046 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6613-7_0_4_load_86 | 73 | 0.014222 | 0.0035643 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6613-7_0_4_load_46 | 74 | 0.012663 | 0.0031736 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6613-7_0_4_load_60 | 75 | 0.00045074 | 0.00011297 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6613-7_0_4_load_65 | 78 | 0.0224 | 0.005614 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6613-7_0_4_load_64 | 79 | 0.0075108 | 0.0018824 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6613-7_0_4_load_68 | 80 | 0.037067 | 0.0092899 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6613-7_0_4_load_92 | 81 | 0.0065532 | 0.0016424 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6613-7_0_4_load_73 | 83 | 0.00038195 | 9.5727e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6613-7_0_4_load_70 | 85 | 0.0364 | 0.0091226 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6613-7_0_4_load_85 | 86 | 0.008441 | 0.0021155 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6613-7_0_4_load_84 | 87 | 0.0099186 | 0.0024858 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6613-7_0_4_load_90 | 88 | 0.0069379 | 0.0017388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6613-7_0_4_line_0 |  | 0 | 1 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6613-7_0_4_line_1 |  | 0 | 2 | 0.0040452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6613-7_0_4_line_2 |  | 1 | 3 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6613-7_0_4_line_3 |  | 2 | 4 | 0.02849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6613-7_0_4_line_4 |  | 2 | 5 | 0.073746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6613-7_0_4_line_5 |  | 2 | 6 | 0.080685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6613-7_0_4_line_6 |  | 3 | 7 | 0.0068851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6613-7_0_4_line_7 |  | 4 | 8 | 0.010314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6613-7_0_4_line_8 |  | 4 | 9 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6613-7_0_4_line_9 |  | 5 | 10 | 0.010825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6613-7_0_4_line_10 |  | 5 | 11 | 0.021627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6613-7_0_4_line_11 |  | 6 | 15 | 0.044612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6613-7_0_4_line_12 |  | 7 | 16 | 0.028471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6613-7_0_4_line_13 |  | 8 | 12 | 0.0080966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6613-7_0_4_line_14 |  | 9 | 18 | 0.027619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6613-7_0_4_line_15 |  | 12 | 13 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6613-7_0_4_line_16 |  | 12 | 14 | 0.023868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6613-7_0_4_line_17 |  | 13 | 19 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6613-7_0_4_line_18 |  | 16 | 17 | 0.0040966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6613-7_0_4_line_19 |  | 17 | 22 | 0.014234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6613-7_0_4_line_20 |  | 18 | 23 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6613-7_0_4_line_21 |  | 18 | 24 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6613-7_0_4_line_22 |  | 19 | 21 | 0.006261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6613-7_0_4_line_23 |  | 20 | 21 | 0.0074539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6613-7_0_4_line_24 |  | 22 | 86 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6613-7_0_4_line_25 |  | 23 | 48 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6613-7_0_4_line_26 |  | 24 | 36 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6613-7_0_4_line_27 |  | 25 | 26 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6613-7_0_4_line_28 |  | 26 | 30 | 0.02938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6613-7_0_4_line_29 |  | 26 | 31 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6613-7_0_4_line_30 |  | 27 | 28 | 0.0014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6613-7_0_4_line_31 |  | 27 | 29 | 0.015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6613-7_0_4_line_32 |  | 29 | 32 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6613-7_0_4_line_33 |  | 30 | 33 | 0.003196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6613-7_0_4_line_34 |  | 31 | 34 | 0.0032744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6613-7_0_4_line_35 |  | 32 | 37 | 0.0060316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6613-7_0_4_line_36 |  | 33 | 38 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6613-7_0_4_line_37 |  | 34 | 39 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6613-7_0_4_line_38 |  | 35 | 36 | 0.0093929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6613-7_0_4_line_39 |  | 36 | 40 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6613-7_0_4_line_40 |  | 37 | 41 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6613-7_0_4_line_41 |  | 38 | 42 | 0.002293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6613-7_0_4_line_42 |  | 39 | 43 | 0.0040925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6613-7_0_4_line_43 |  | 40 | 44 | 0.018299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6613-7_0_4_line_44 |  | 41 | 47 | 0.028576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6613-7_0_4_line_45 |  | 41 | 45 | 0.039789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6613-7_0_4_line_46 |  | 42 | 47 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6613-7_0_4_line_47 |  | 42 | 49 | 0.044378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6613-7_0_4_line_48 |  | 43 | 74 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6613-7_0_4_line_49 |  | 45 | 46 | 0.002724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6613-7_0_4_line_50 |  | 48 | 74 | 0.033042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6613-7_0_4_line_51 |  | 49 | 53 | 0.043518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6613-7_0_4_line_52 |  | 49 | 58 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6613-7_0_4_line_53 |  | 50 | 51 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6613-7_0_4_line_54 |  | 50 | 52 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6613-7_0_4_line_55 |  | 50 | 53 | 0.23294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6613-7_0_4_line_56 |  | 52 | 81 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6613-7_0_4_line_57 |  | 52 | 82 | 0.021137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6613-7_0_4_line_58 |  | 54 | 55 | 0.005989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6613-7_0_4_line_59 |  | 54 | 56 | 0.0043194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6613-7_0_4_line_60 |  | 54 | 57 | 0.012865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6613-7_0_4_line_61 |  | 55 | 59 | 0.019674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6613-7_0_4_line_62 |  | 56 | 75 | 0.036694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6613-7_0_4_line_63 |  | 57 | 58 | 0.054571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6613-7_0_4_line_64 |  | 59 | 60 | 0.017236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6613-7_0_4_line_65 |  | 60 | 61 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6613-7_0_4_line_66 |  | 62 | 63 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6613-7_0_4_line_67 |  | 62 | 64 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6613-7_0_4_line_68 |  | 63 | 65 | 0.00257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6613-7_0_4_line_69 |  | 64 | 66 | 0.009604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6613-7_0_4_line_70 |  | 64 | 67 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6613-7_0_4_line_71 |  | 65 | 68 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6613-7_0_4_line_72 |  | 67 | 69 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6613-7_0_4_line_73 |  | 68 | 70 | 0.024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6613-7_0_4_line_74 |  | 69 | 71 | 0.027857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6613-7_0_4_line_75 |  | 70 | 72 | 0.0060963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6613-7_0_4_line_76 |  | 71 | 73 | 0.027672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6613-7_0_4_line_77 |  | 72 | 83 | 0.0065221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6613-7_0_4_line_78 |  | 73 | 87 | 0.048554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6613-7_0_4_line_79 |  | 75 | 79 | 0.029462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6613-7_0_4_line_80 |  | 76 | 77 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_6613-7_0_4_line_81 |  | 76 | 78 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6613-7_0_4_line_82 |  | 77 | 80 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6613-7_0_4_line_83 |  | 78 | 79 | 0.050306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6613-7_0_4_line_84 |  | 80 | 84 | 0.024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6613-7_0_4_line_85 |  | 82 | 88 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6613-7_0_4_line_86 |  | 84 | 85 | 0.022256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6613-7_0_4_line_87 |  | 86 | 87 | 0.020896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6613-7_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 89 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2504261.4564 | 1116541.3985 | 2504263.5817 | 1116539.9628 | 2504276.5145 | 1116536.6585
1 | 2504258.1043 | 1116543.6629 | 2504261.4564 | 1116541.3985
2 | 2504276.5145 | 1116536.6585 | 2504290.5747 | 1116533.0662
3 | 2504258.1043 | 1116543.6629 | 2504230.4946 | 1116551.0043
4 | 2504219.6921 | 1116582.15 | 2504242.5195 | 1116576.085 | 2504240.5443 | 1116568.3671 | 2504256.4003 | 1116563.8022 | 2504256.0543 | 1116562.4291 | 2504258.5461 | 1116561.8115 | 2504257.7649 | 1116558.7998 | 2504257.3919 | 1116557.1825 | 2504256.9146 | 1116555.3222 | 2504256.3031 | 1116552.7859 | 2504260.1408 | 1116551.8357 | 2504259.3245 | 1116548.5577 | 2504258.1043 | 1116543.6629
5 | 2504258.1043 | 1116543.6629 | 2504259.3245 | 1116548.5577 | 2504260.1408 | 1116551.8357 | 2504256.3031 | 1116552.7859 | 2504256.9146 | 1116555.3222 | 2504257.3919 | 1116557.1825 | 2504257.7649 | 1116558.7998 | 2504258.5461 | 1116561.8115 | 2504256.0543 | 1116562.4291 | 2504256.4003 | 1116563.8022 | 2504258.3878 | 1116572.2982 | 2504262.6698 | 1116576.9778 | 2504264.5808 | 1116580.1495 | 2504265.5948 | 1116585.1921 | 2504265.0752 | 1116594.7951 | 2504264.6143 | 1116598.3602 | 2504261.9451 | 1116616.0577
6 | 2504297.2454 | 1116531.3618 | 2504290.5747 | 1116533.0662
7 | 2504230.4946 | 1116551.0043 | 2504220.5138 | 1116553.604
8 | 2504230.4946 | 1116551.0043 | 2504225.6468 | 1116532.2037
9 | 2504219.6921 | 1116582.15 | 2504209.2185 | 1116584.8849
10 | 2504219.6921 | 1116582.15 | 2504224.8734 | 1116603.1476
11 | 2504261.9451 | 1116616.0577 | 2504272.952 | 1116624.6444 | 2504277.7195 | 1116631.7067 | 2504281.7246 | 1116633.0441 | 2504299.597 | 1116631.8994
12 | 2504319.836 | 1116521.3727 | 2504320.8713 | 1116525.3255 | 2504297.2454 | 1116531.3618
13 | 2504212.6786 | 1116555.6448 | 2504220.5138 | 1116553.604
14 | 2504218.7861 | 1116505.4505 | 2504223.3624 | 1116523.3447 | 2504225.6468 | 1116532.2037
15 | 2504212.6786 | 1116555.6448 | 2504198.7061 | 1116559.0154
16 | 2504212.6786 | 1116555.6448 | 2504212.4633 | 1116554.7254 | 2504209.8366 | 1116543.9048 | 2504208.9777 | 1116540.3717 | 2504205.1873 | 1116540.4095 | 2504201.5587 | 1116537.9877
17 | 2504179.3655 | 1116563.6811 | 2504198.7061 | 1116559.0154
18 | 2504319.836 | 1116521.3727 | 2504318.7995 | 1116517.4094
19 | 2504315.1984 | 1116503.6384 | 2504318.7995 | 1116517.4094
20 | 2504218.7861 | 1116505.4505 | 2504215.6727 | 1116506.3115 | 2504197.0702 | 1116511.5399
21 | 2504218.7861 | 1116505.4505 | 2504214.0183 | 1116488.7622
22 | 2504179.3655 | 1116563.6811 | 2504173.2791 | 1116565.1494
23 | 2504166.0331 | 1116566.8974 | 2504173.2791 | 1116565.1494
24 | 2504310.8844 | 1116487.1412 | 2504315.1984 | 1116503.6384
25 | 2504197.0702 | 1116511.5399 | 2504182.5664 | 1116515.6163
26 | 2504210.2359 | 1116475.523 | 2504214.0183 | 1116488.7622
27 | 2504128.3472 | 1116459.5101 | 2504144.499 | 1116455.3517
28 | 2504128.3472 | 1116459.5101 | 2504120.496 | 1116431.1983
29 | 2504128.3472 | 1116459.5101 | 2504129.8046 | 1116464.7458 | 2504133.1111 | 1116476.6977
30 | 2504183.5209 | 1116445.3052 | 2504183.9233 | 1116446.6803
31 | 2504183.5209 | 1116445.3052 | 2504179.2337 | 1116430.4482
32 | 2504179.2337 | 1116430.4482 | 2504174.4089 | 1116413.7277
33 | 2504120.496 | 1116431.1983 | 2504119.642 | 1116428.1185
34 | 2504133.1111 | 1116476.6977 | 2504133.9842 | 1116479.8535
35 | 2504174.4089 | 1116413.7277 | 2504172.7366 | 1116407.9325
36 | 2504115.0791 | 1116411.6645 | 2504119.642 | 1116428.1185
37 | 2504137.4164 | 1116492.2596 | 2504133.9842 | 1116479.8535
38 | 2504210.2359 | 1116475.523 | 2504209.352 | 1116475.7816 | 2504207.2894 | 1116468.8878 | 2504206.0626 | 1116469.2395
39 | 2504210.2359 | 1116475.523 | 2504227.4752 | 1116470.536
40 | 2504169.8938 | 1116398.0809 | 2504172.7366 | 1116407.9325
41 | 2504114.4663 | 1116409.4548 | 2504115.0791 | 1116411.6645
42 | 2504137.4164 | 1116492.2596 | 2504138.5077 | 1116496.204
43 | 2504222.5153 | 1116452.9218 | 2504227.4752 | 1116470.536
44 | 2504169.8938 | 1116398.0809 | 2504168.6244 | 1116393.9873 | 2504145.3029 | 1116400.7788
45 | 2504208.3137 | 1116387.3215 | 2504169.8938 | 1116398.0809
46 | 2504114.4663 | 1116409.4548 | 2504144.3991 | 1116401.0421 | 2504145.3029 | 1116400.7788
47 | 2504094.353 | 1116371.4947 | 2504096.321 | 1116376.3109 | 2504099.9023 | 1116386.9384 | 2504100.8363 | 1116388.3801 | 2504110.2045 | 1116395.8362 | 2504114.4663 | 1116409.4548
48 | 2504151.4786 | 1116517.7386 | 2504150.2224 | 1116517.0767 | 2504142.7372 | 1116511.4919 | 2504138.5077 | 1116496.204
49 | 2504210.9426 | 1116386.5794 | 2504208.3137 | 1116387.3215
50 | 2504151.4786 | 1116517.7386 | 2504159.6669 | 1116522.0524 | 2504182.5664 | 1116515.6163
51 | 2504066.5444 | 1116397.0067 | 2504069.3933 | 1116400.8862 | 2504074.9065 | 1116395.551 | 2504081.6061 | 1116389.0742 | 2504094.353 | 1116371.4947
52 | 2504094.353 | 1116371.4947 | 2504099.6962 | 1116361.6135
53 | 2504072.5301 | 1116487.1673 | 2504060.5399 | 1116492.0715
54 | 2504052.4188 | 1116471.7211 | 2504055.0882 | 1116478.4051 | 2504060.5399 | 1116492.0715
55 | 2504060.5399 | 1116492.0715 | 2504062.4859 | 1116496.9548 | 2504062.3498 | 1116499.0805 | 2504062.033 | 1116503.9329 | 2504060.0668 | 1116513.8369 | 2504056.7221 | 1116519.0931 | 2504049.6358 | 1116525.0314 | 2504045.3036 | 1116528.391 | 2504039.6941 | 1116529.1138 | 2504033.0404 | 1116526.3065 | 2504027.8237 | 1116521.6085 | 2503997.1117 | 1116464.3605 | 2504011.7506 | 1116452.6655 | 2504019.1385 | 1116446.7558 | 2504054.7675 | 1116418.2843 | 2504052.3517 | 1116415.4209 | 2504059.7871 | 1116409.5771 | 2504069.3933 | 1116400.8862 | 2504066.5444 | 1116397.0067
56 | 2504064.413 | 1116466.5833 | 2504052.4188 | 1116471.7211
57 | 2504044.587 | 1116452.0888 | 2504047.1117 | 1116458.4082 | 2504052.4188 | 1116471.7211
58 | 2504127.2715 | 1116300.0957 | 2504122.0213 | 1116297.1883
59 | 2504127.2715 | 1116300.0957 | 2504131.102 | 1116302.0918
60 | 2504127.2715 | 1116300.0957 | 2504122.1797 | 1116311.9107
61 | 2504122.0213 | 1116297.1883 | 2504114.8748 | 1116315.5189
62 | 2504153.5177 | 1116273.1534 | 2504146.2025 | 1116280.9952 | 2504138.4895 | 1116290.7789 | 2504131.102 | 1116302.0918 | 2504131.102 | 1116302.0918
63 | 2504122.1797 | 1116311.9107 | 2504111.5875 | 1116336.4889 | 2504102.5818 | 1116356.2771 | 2504099.6962 | 1116361.6135
64 | 2504108.6142 | 1116331.5774 | 2504114.8748 | 1116315.5189
65 | 2504108.6142 | 1116331.5774 | 2504102.6105 | 1116344.8166
66 | 2504238.092 | 1116352.7834 | 2504249.4292 | 1116349.9682
67 | 2504277.158 | 1116343.0826 | 2504249.4292 | 1116349.9682
68 | 2504238.092 | 1116352.7834 | 2504235.5977 | 1116353.4028
69 | 2504277.158 | 1116343.0826 | 2504274.8178 | 1116333.7694
70 | 2504277.158 | 1116343.0826 | 2504279.6218 | 1116352.883
71 | 2504221.5603 | 1116356.8886 | 2504235.5977 | 1116353.4028
72 | 2504279.6218 | 1116352.883 | 2504282.8795 | 1116365.8409
73 | 2504221.5603 | 1116356.8886 | 2504220.1063 | 1116357.2496 | 2504212.8031 | 1116357.7989 | 2504197.9541 | 1116361.8023
74 | 2504289.6718 | 1116392.8576 | 2504282.8795 | 1116365.8409
75 | 2504192.068 | 1116363.3892 | 2504197.9541 | 1116361.8023
76 | 2504289.6718 | 1116392.8576 | 2504296.4188 | 1116419.6944
77 | 2504185.7708 | 1116365.0869 | 2504192.068 | 1116363.3892
78 | 2504305.598 | 1116466.9254 | 2504302.7418 | 1116456.0029 | 2504303.7322 | 1116449.7945 | 2504301.268 | 1116438.9824 | 2504296.4188 | 1116419.6944
79 | 2504153.5177 | 1116273.1534 | 2504156.361 | 1116270.1054 | 2504170.5998 | 1116258.9397 | 2504176.5821 | 1116254.9346
80 | 2504234.8315 | 1116228.0927 | 2504241.1858 | 1116224.1675 | 2504244.5057 | 1116224.6375
81 | 2504234.8315 | 1116228.0927 | 2504229.08 | 1116231.0744 | 2504221.7879 | 1116233.1954
82 | 2504244.5057 | 1116224.6375 | 2504247.2357 | 1116226.8623 | 2504252.4908 | 1116247.8252
83 | 2504176.5821 | 1116254.9346 | 2504179.9209 | 1116252.6993 | 2504189.672 | 1116247.2749 | 2504197.7926 | 1116243.2327 | 2504214.855 | 1116235.3244 | 2504220.833 | 1116233.4731 | 2504221.7879 | 1116233.1954
84 | 2504258.3867 | 1116271.3243 | 2504257.8266 | 1116269.1096 | 2504252.4908 | 1116247.8252
85 | 2504056.7732 | 1116446.8812 | 2504044.587 | 1116452.0888
86 | 2504258.3867 | 1116271.3243 | 2504263.7984 | 1116292.9124
87 | 2504305.598 | 1116466.9254 | 2504310.8844 | 1116487.1412

## bus_geodata
| x | y | coords
0 | 2504261.4564 | 1116541.3985
1 | 2504276.5145 | 1116536.6585
2 | 2504258.1043 | 1116543.6629
3 | 2504290.5747 | 1116533.0662
4 | 2504230.4946 | 1116551.0043
5 | 2504219.6921 | 1116582.15
6 | 2504261.9451 | 1116616.0577
7 | 2504297.2454 | 1116531.3618
8 | 2504220.5138 | 1116553.604
9 | 2504225.6468 | 1116532.2037
10 | 2504209.2185 | 1116584.8849
11 | 2504224.8734 | 1116603.1476
12 | 2504212.6786 | 1116555.6448
13 | 2504198.7061 | 1116559.0154
14 | 2504201.5587 | 1116537.9877
15 | 2504299.597 | 1116631.8994
16 | 2504319.836 | 1116521.3727
17 | 2504318.7995 | 1116517.4094
18 | 2504218.7861 | 1116505.4505
19 | 2504179.3655 | 1116563.6811
20 | 2504166.0331 | 1116566.8974
21 | 2504173.2791 | 1116565.1494
22 | 2504315.1984 | 1116503.6384
23 | 2504197.0702 | 1116511.5399
24 | 2504214.0183 | 1116488.7622
25 | 2504144.499 | 1116455.3517
26 | 2504128.3472 | 1116459.5101
27 | 2504183.5209 | 1116445.3052
28 | 2504183.9233 | 1116446.6803
29 | 2504179.2337 | 1116430.4482
30 | 2504120.496 | 1116431.1983
31 | 2504133.1111 | 1116476.6977
32 | 2504174.4089 | 1116413.7277
33 | 2504119.642 | 1116428.1185
34 | 2504133.9842 | 1116479.8535
35 | 2504206.0626 | 1116469.2395
36 | 2504210.2359 | 1116475.523
37 | 2504172.7366 | 1116407.9325
38 | 2504115.0791 | 1116411.6645
39 | 2504137.4164 | 1116492.2596
40 | 2504227.4752 | 1116470.536
41 | 2504169.8938 | 1116398.0809
42 | 2504114.4663 | 1116409.4548
43 | 2504138.5077 | 1116496.204
44 | 2504222.5153 | 1116452.9218
45 | 2504208.3137 | 1116387.3215
46 | 2504210.9426 | 1116386.5794
47 | 2504145.303 | 1116400.7788
48 | 2504182.5664 | 1116515.6163
49 | 2504094.353 | 1116371.4947
50 | 2504060.5399 | 1116492.0715
51 | 2504072.5301 | 1116487.1673
52 | 2504052.4188 | 1116471.7211
53 | 2504066.5444 | 1116397.0067
54 | 2504127.2715 | 1116300.0957
55 | 2504122.0213 | 1116297.1883
56 | 2504131.102 | 1116302.0918
57 | 2504122.1797 | 1116311.9107
58 | 2504099.6962 | 1116361.6135
59 | 2504114.8748 | 1116315.5189
60 | 2504108.6142 | 1116331.5774
61 | 2504102.6105 | 1116344.8166
62 | 2504249.4292 | 1116349.9682
63 | 2504238.092 | 1116352.7834
64 | 2504277.158 | 1116343.0826
65 | 2504235.5977 | 1116353.4028
66 | 2504274.8178 | 1116333.7694
67 | 2504279.6218 | 1116352.883
68 | 2504221.5603 | 1116356.8886
69 | 2504282.8795 | 1116365.8409
70 | 2504197.9541 | 1116361.8023
71 | 2504289.6718 | 1116392.8576
72 | 2504192.068 | 1116363.3892
73 | 2504296.4188 | 1116419.6944
74 | 2504151.4786 | 1116517.7386
75 | 2504153.5177 | 1116273.1534
76 | 2504234.8315 | 1116228.0927
77 | 2504244.5057 | 1116224.6375
78 | 2504221.7879 | 1116233.1954
79 | 2504176.5821 | 1116254.9346
80 | 2504252.4908 | 1116247.8252
81 | 2504064.413 | 1116466.5833
82 | 2504044.587 | 1116452.0888
83 | 2504185.7708 | 1116365.0869
84 | 2504258.3867 | 1116271.3243
85 | 2504263.7984 | 1116292.9124
86 | 2504310.8844 | 1116487.1412
87 | 2504305.598 | 1116466.9254
88 | 2504056.7732 | 1116446.8812
89 | 2504210.2359 | 1116475.523

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1