## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6616-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6616-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6616-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6616-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6616-12_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6616-12_0_4_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_6616-12_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_6616-12_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6616-12_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_6616-12_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_6616-12_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6616-12_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6616-12_0_4_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_6616-12_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_6616-12_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6616-12_0_4_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_6616-12_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6616-12_0_4_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_6616-12_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_6616-12_0_4_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_6616-12_0_4_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_6616-12_0_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_6616-12_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6616-12_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6616-12_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6616-12_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6616-12_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6616-12_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6616-12_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_6616-12_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6616-12_0_4_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_6616-12_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6616-12_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_6616-12_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_6616-12_0_4_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_6616-12_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6616-12_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6616-12_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6616-12_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6616-12_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6616-12_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_6616-12_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_6616-12_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_6616-12_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6616-12_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6616-12_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_6616-12_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6616-12_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6616-12_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6616-12_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6616-12_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_6616-12_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6616-12_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_6616-12_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_6616-12_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_6616-12_0_4_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_6616-12_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6616-12_0_4_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_6616-12_0_4_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_6616-12_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_6616-12_0_4_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_6616-12_0_4_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_6616-12_0_4_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_6616-12_0_4_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_6616-12_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6616-12_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6616-12_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_6616-12_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6616-12_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6616-12_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_6616-12_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6616-12_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6616-12_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_6616-12_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6616-12_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_6616-12_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_6616-12_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6616-12_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_6616-12_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6616-12_0_4_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_6616-12_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_6616-12_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_6616-12_0_4_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_6616-12_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_6616-12_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_6616-12_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6616-12_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_6616-12_0_4_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_6616-12_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6616-12_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_6616-12_0_4_node_103 | 0.4 | n |  | TRUE
93 | bus_LV_6616-12_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_6616-12_0_4_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_6616-12_0_4_node_102 | 0.4 | n |  | TRUE
96 | bus_LV_6616-12_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_6616-12_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_6616-12_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_MV_459_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-12_0_4_load_0 | 0 | 0.015634 | 0.0039183 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-12_0_4_load_6 | 5 | 0.0032852 | 0.00082336 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-12_0_4_load_8 | 6 | 0.0019422 | 0.00048676 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-12_0_4_load_106 | 7 | 0.0044771 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-12_0_4_load_7 | 9 | 0.0013608 | 0.00034104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-12_0_4_load_66 | 10 | 0.0020488 | 0.00051348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-12_0_4_load_10 | 13 | 0.0021199 | 0.0005313 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-12_0_4_load_58 | 14 | 0.0018043 | 0.00045219 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-12_0_4_load_59 | 15 | 0.00055232 | 0.00013843 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-12_0_4_load_12 | 16 | 0.0015871 | 0.00039777 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-12_0_4_load_104 | 17 | 0.013017 | 0.0032624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-12_0_4_load_54 | 21 | 0.0014392 | 0.0003607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-12_0_4_load_93 | 22 | 0.0055075 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-12_0_4_load_16 | 24 | 0.029134 | 0.0073016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-12_0_4_load_17 | 25 | 0.020752 | 0.005201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-12_0_4_load_20 | 28 | 0.0078833 | 0.0019758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-12_0_4_load_21 | 29 | 0.017602 | 0.0044115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-12_0_4_load_56 | 32 | 0.022389 | 0.0056112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-12_0_4_load_67 | 34 | 0.0096819 | 0.0024265 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-12_0_4_load_44 | 35 | 0.041931 | 0.010509 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-12_0_4_load_22 | 38 | 0.01103 | 0.0027643 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-12_0_4_load_24 | 39 | 0.0023748 | 0.00059518 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-12_0_4_load_64 | 42 | 0.00090034 | 0.00022565 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-12_0_4_load_53 | 43 | 0.0044082 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-12_0_4_load_51 | 44 | 0.0066935 | 0.0016775 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-12_0_4_load_29 | 45 | 0.017325 | 0.0043421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-12_0_4_load_33 | 46 | 0.052291 | 0.013105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-12_0_4_load_34 | 47 | 0.014098 | 0.0035333 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-12_0_4_load_38 | 51 | 0.02821 | 0.00707 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-12_0_4_load_43 | 53 | 0.0096866 | 0.0024277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-12_0_4_load_62 | 54 | 0.025012 | 0.0062685 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-12_0_4_load_61 | 55 | 0.015389 | 0.0038567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-12_0_4_load_105 | 57 | 0.0041537 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-12_0_4_load_92 | 60 | 0.019015 | 0.0047656 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-12_0_4_load_75 | 61 | 0.0049808 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-12_0_4_load_90 | 62 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-12_0_4_load_89 | 63 | 0.00092704 | 0.00023234 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-12_0_4_load_101 | 64 | 0.003935 | 0.0009862 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-12_0_4_load_99 | 65 | 0.01475 | 0.0036966 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-12_0_4_load_49 | 66 | 0.0030087 | 0.00075404 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-12_0_4_load_47 | 67 | 0.0072919 | 0.0018275 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-12_0_4_load_48 | 68 | 0.0010153 | 0.00025447 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-12_0_4_load_50 | 69 | 0.0011701 | 0.00029325 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-12_0_4_load_60 | 70 | 0.0020301 | 0.00050879 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-12_0_4_load_74 | 71 | 0.022012 | 0.0055167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-12_0_4_load_63 | 72 | 0.0013886 | 0.000348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-12_0_4_load_65 | 73 | 0.013419 | 0.0033631 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-12_0_4_load_68 | 74 | 0.0048507 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-12_0_4_load_69 | 75 | 0.0044497 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-12_0_4_load_71 | 77 | 0.0021788 | 0.00054606 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-12_0_4_load_72 | 78 | 0.0017126 | 0.00042921 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-12_0_4_load_73 | 79 | 0.00053443 | 0.00013394 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-12_0_4_load_86 | 81 | 0.0019096 | 0.00047859 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-12_0_4_load_87 | 83 | 0.00060589 | 0.00015185 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-12_0_4_load_77 | 86 | 0.00054492 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-12_0_4_load_78 | 87 | 0.00022747 | 5.7009e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-12_0_4_load_80 | 88 | 0.00046994 | 0.00011778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-12_0_4_load_79 | 89 | 0.00074171 | 0.00018589 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-12_0_4_load_81 | 90 | 0.00076723 | 0.00019229 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-12_0_4_load_95 | 91 | 0.00076678 | 0.00019217 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-12_0_4_load_96 | 93 | 0.00076723 | 0.00019229 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6616-12_0_4_load_102 | 95 | 0.00042952 | 0.00010765 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6616-12_0_4_load_82 | 96 | 0.00023588 | 5.9118e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6616-12_0_4_load_97 | 97 | 0.00064521 | 0.00016171 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6616-12_0_4_load_98 | 98 | 0.00050417 | 0.00012636 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-12_0_4_line_0 |  | 0 | 1 | 0.036853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-12_0_4_line_1 |  | 0 | 2 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-12_0_4_line_2 |  | 1 | 3 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-12_0_4_line_3 |  | 1 | 4 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-12_0_4_line_4 |  | 2 | 5 | 0.004264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-12_0_4_line_5 |  | 3 | 6 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-12_0_4_line_6 |  | 4 | 7 | 0.009193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-12_0_4_line_7 |  | 4 | 8 | 0.046582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-12_0_4_line_8 |  | 6 | 9 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6616-12_0_4_line_9 |  | 8 | 10 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-12_0_4_line_10 |  | 8 | 11 | 0.019516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-12_0_4_line_11 |  | 9 | 12 | 0.048872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6616-12_0_4_line_12 |  | 10 | 42 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6616-12_0_4_line_13 |  | 11 | 40 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6616-12_0_4_line_14 |  | 11 | 38 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-12_0_4_line_15 |  | 12 | 13 | 0.033997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6616-12_0_4_line_16 |  | 13 | 14 | 0.053511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6616-12_0_4_line_17 |  | 14 | 15 | 0.0029887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-12_0_4_line_18 |  | 15 | 70 | 0.02757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-12_0_4_line_19 |  | 16 | 17 | 0.086275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6616-12_0_4_line_20 |  | 17 | 18 | 0.046072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-12_0_4_line_21 |  | 18 | 22 | 0.030384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-12_0_4_line_22 |  | 19 | 20 | 0.040892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-12_0_4_line_23 |  | 19 | 21 | 0.075963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6616-12_0_4_line_24 |  | 20 | 66 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6616-12_0_4_line_25 |  | 20 | 31 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-12_0_4_line_26 |  | 22 | 23 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6616-12_0_4_line_27 |  | 23 | 60 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6616-12_0_4_line_28 |  | 23 | 63 | 0.036878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-12_0_4_line_29 |  | 24 | 25 | 0.0089203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6616-12_0_4_line_30 |  | 24 | 26 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6616-12_0_4_line_31 |  | 25 | 27 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6616-12_0_4_line_32 |  | 26 | 28 | 0.041828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6616-12_0_4_line_33 |  | 26 | 29 | 0.039501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6616-12_0_4_line_34 |  | 27 | 30 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6616-12_0_4_line_35 |  | 27 | 31 | 0.013222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6616-12_0_4_line_36 |  | 28 | 32 | 0.0086782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6616-12_0_4_line_37 |  | 29 | 33 | 0.0039781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-12_0_4_line_38 |  | 30 | 34 | 0.028969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-12_0_4_line_39 |  | 31 | 35 | 0.032885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-12_0_4_line_40 |  | 32 | 36 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6616-12_0_4_line_41 |  | 33 | 37 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-12_0_4_line_42 |  | 34 | 40 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-12_0_4_line_43 |  | 36 | 53 | 0.023998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6616-12_0_4_line_44 |  | 37 | 46 | 0.035698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-12_0_4_line_45 |  | 37 | 45 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-12_0_4_line_46 |  | 38 | 39 | 0.041427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-12_0_4_line_47 |  | 40 | 41 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-12_0_4_line_48 |  | 41 | 43 | 0.0016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6616-12_0_4_line_49 |  | 41 | 44 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6616-12_0_4_line_50 |  | 42 | 72 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6616-12_0_4_line_51 |  | 47 | 48 | 0.003995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-12_0_4_line_52 |  | 48 | 52 | 0.016494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6616-12_0_4_line_53 |  | 48 | 53 | 0.013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6616-12_0_4_line_54 |  | 49 | 50 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-12_0_4_line_55 |  | 49 | 51 | 0.039981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-12_0_4_line_56 |  | 49 | 52 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6616-12_0_4_line_57 |  | 50 | 54 | 0.0094997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6616-12_0_4_line_58 |  | 50 | 55 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6616-12_0_4_line_59 |  | 51 | 56 | 0.029872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-12_0_4_line_60 |  | 52 | 57 | 0.039668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-12_0_4_line_61 |  | 54 | 61 | 0.04176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-12_0_4_line_62 |  | 56 | 58 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-12_0_4_line_63 |  | 56 | 59 | 0.041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-12_0_4_line_64 |  | 58 | 60 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6616-12_0_4_line_65 |  | 59 | 64 | 0.014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6616-12_0_4_line_66 |  | 59 | 65 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6616-12_0_4_line_67 |  | 61 | 71 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-12_0_4_line_68 |  | 62 | 63 | 0.0022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-12_0_4_line_69 |  | 66 | 67 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-12_0_4_line_70 |  | 67 | 68 | 0.042269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-12_0_4_line_71 |  | 68 | 69 | 0.0086422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-12_0_4_line_72 |  | 71 | 80 | 0.0065129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-12_0_4_line_73 |  | 72 | 73 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-12_0_4_line_74 |  | 74 | 75 | 0.0034624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-12_0_4_line_75 |  | 74 | 76 | 0.0097415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-12_0_4_line_76 |  | 75 | 77 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-12_0_4_line_77 |  | 76 | 78 | 0.03019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6616-12_0_4_line_78 |  | 76 | 79 | 0.077079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6616-12_0_4_line_79 |  | 77 | 80 | 0.047384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6616-12_0_4_line_80 |  | 78 | 81 | 0.083193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6616-12_0_4_line_81 |  | 79 | 82 | 0.021093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6616-12_0_4_line_82 |  | 81 | 83 | 0.009909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6616-12_0_4_line_83 |  | 82 | 84 | 0.052899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6616-12_0_4_line_84 |  | 82 | 85 | 0.061716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6616-12_0_4_line_85 |  | 84 | 97 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6616-12_0_4_line_86 |  | 85 | 94 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6616-12_0_4_line_87 |  | 85 | 96 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6616-12_0_4_line_88 |  | 86 | 87 | 0.0011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6616-12_0_4_line_89 |  | 87 | 88 | 0.037304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6616-12_0_4_line_90 |  | 88 | 91 | 0.067634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6616-12_0_4_line_91 |  | 89 | 90 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6616-12_0_4_line_92 |  | 90 | 92 | 0.02056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6616-12_0_4_line_93 |  | 91 | 93 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6616-12_0_4_line_94 |  | 92 | 94 | 0.001092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6616-12_0_4_line_95 |  | 92 | 95 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6616-12_0_4_line_96 |  | 93 | 94 | 0.018337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6616-12_0_4_line_97 |  | 97 | 98 | 0.0070196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-12_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 99 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2504655.7975 | 1122967.1623 | 2504663.6455 | 1122962.5357 | 2504665.7851 | 1122961.2678 | 2504673.8518 | 1122952.9021 | 2504681.4299 | 1122941.5673
1 | 2504693.8872 | 1122922.9345 | 2504681.4299 | 1122941.5673
2 | 2504655.7975 | 1122967.1623 | 2504643.4765 | 1122966.434
3 | 2504665.6006 | 1122985.2521 | 2504655.7975 | 1122967.1623
4 | 2504693.8872 | 1122922.9345 | 2504696.2947 | 1122919.4151
5 | 2504643.4765 | 1122966.434 | 2504637.0009 | 1122965.6579 | 2504628.1527 | 1122963.8256
6 | 2504665.6006 | 1122985.2521 | 2504671.1378 | 1122982.7743 | 2504672.4171 | 1122985.6448
7 | 2504665.6006 | 1122985.2521 | 2504673.166 | 1122999.8639 | 2504680.1125 | 1123012.8956 | 2504683.3965 | 1123018.6585 | 2504687.0461 | 1123024.1265 | 2504688.308 | 1123025.8966
8 | 2504613.7277 | 1122959.8628 | 2504625.7266 | 1122963.3232 | 2504628.1527 | 1122963.8256
9 | 2504688.308 | 1123025.8966 | 2504675.8055 | 1123036.0137
10 | 2504699.1152 | 1123042.1361 | 2504695.8239 | 1123036.3956 | 2504688.308 | 1123025.8966
11 | 2504567.3522 | 1122968.4366 | 2504586.3731 | 1122959.7199 | 2504592.9227 | 1122957.8598 | 2504597.8958 | 1122957.2698 | 2504601.9298 | 1122957.284 | 2504608.4019 | 1122958.3269 | 2504613.7277 | 1122959.8628
12 | 2504675.8055 | 1123036.0137 | 2504667.7235 | 1123042.5536 | 2504664.1142 | 1123043.8422
13 | 2504699.1152 | 1123042.1361 | 2504700.4953 | 1123044.5491 | 2504705.6819 | 1123053.584 | 2504694.6507 | 1123059.8062 | 2504699.8115 | 1123067.2071 | 2504703.7111 | 1123070.9257
14 | 2504699.1152 | 1123042.1361 | 2504708.4862 | 1123037.7412 | 2504716.1544 | 1123034.1488
15 | 2504567.3522 | 1122968.4366 | 2504584.6694 | 1122985.1623 | 2504591.2268 | 1122992.608
16 | 2504591.2268 | 1122992.608 | 2504606.997 | 1123010.5143 | 2504608.4735 | 1123012.6812 | 2504609.4224 | 1123014.6452 | 2504609.6777 | 1123016.1644 | 2504609.6091 | 1123017.6775 | 2504608.8859 | 1123019.7457 | 2504606.9476 | 1123023.0116 | 2504603.1854 | 1123028.4855 | 2504597.4357 | 1123035.6177
17 | 2504597.4357 | 1123035.6177 | 2504595.56 | 1123037.9445
18 | 2504578.3282 | 1123059.4658 | 2504588.7145 | 1123046.436 | 2504595.56 | 1123037.9445
19 | 2504961.5573 | 1123179.6101 | 2504945.4289 | 1123094.8556
20 | 2504961.5573 | 1123179.6101 | 2504965.218 | 1123186.301 | 2504967.4156 | 1123190.1911 | 2504967.6969 | 1123192.8772 | 2504966.8787 | 1123195.2804 | 2504965.3324 | 1123197.495 | 2504962.2136 | 1123199.7565 | 2504948.9528 | 1123207.8922 | 2504952.5887 | 1123213.494
21 | 2504952.5887 | 1123213.494 | 2504926.4716 | 1123229.0204
22 | 2504818.3977 | 1123077.7672 | 2504811.3292 | 1123080.4691 | 2504780.1361 | 1123092.49
23 | 2504818.3977 | 1123077.7672 | 2504796.954 | 1123028.6638 | 2504787.3373 | 1123008.4541
24 | 2504780.1361 | 1123092.49 | 2504788.6844 | 1123106.3638 | 2504789.4001 | 1123107.236
25 | 2504751.9125 | 1123104.0306 | 2504759.724 | 1123101.0057 | 2504771.1943 | 1123096.222 | 2504780.1361 | 1123092.49
26 | 2504909.0422 | 1123239.8173 | 2504921.4289 | 1123232.0176 | 2504922.6209 | 1123231.3096 | 2504926.4716 | 1123229.0204
27 | 2504909.0422 | 1123239.8173 | 2504888.9111 | 1123252.4816
28 | 2504909.0422 | 1123239.8173 | 2504889.5612 | 1123208.5046 | 2504889.5612 | 1123208.5046
29 | 2504747.6737 | 1123122.1199 | 2504752.8888 | 1123129.3568
30 | 2504758.9382 | 1123137.7516 | 2504752.8888 | 1123129.3568
31 | 2504739.6759 | 1123109.1266 | 2504747.016 | 1123121.2071 | 2504747.6737 | 1123122.1199
32 | 2504758.9382 | 1123137.7516 | 2504771.2047 | 1123153.1455 | 2504781.5434 | 1123166.1128 | 2504785.0089 | 1123170.4613
33 | 2504758.9382 | 1123137.7516 | 2504729.2475 | 1123163.8048
34 | 2504739.6759 | 1123109.1266 | 2504736.6305 | 1123104.3049 | 2504732.2326 | 1123097.3478
35 | 2504751.9125 | 1123104.0306 | 2504739.6759 | 1123109.1266
36 | 2504789.9962 | 1123177.5619 | 2504785.3673 | 1123170.911 | 2504785.0089 | 1123170.4613
37 | 2504726.2574 | 1123166.4286 | 2504729.2475 | 1123163.8048
38 | 2504732.2326 | 1123097.3478 | 2504723.7025 | 1123102.73 | 2504713.6535 | 1123086.743
39 | 2504751.9125 | 1123104.0306 | 2504750.0553 | 1123099.2347 | 2504737.7803 | 1123074.3559
40 | 2504798.0958 | 1123189.1995 | 2504789.9962 | 1123177.5619
41 | 2504726.2574 | 1123166.4286 | 2504713.0705 | 1123176.7873
42 | 2504703.7111 | 1123070.9257 | 2504713.6535 | 1123086.743
43 | 2504798.0958 | 1123189.1995 | 2504807.6004 | 1123203.5697 | 2504811.3865 | 1123209.1803
44 | 2504694.6026 | 1123146.2153 | 2504713.0705 | 1123176.7873
45 | 2504713.0705 | 1123176.7873 | 2504694.764 | 1123187.5744
46 | 2504735.348 | 1123003.9082 | 2504735.569 | 1123011.565 | 2504735.3029 | 1123021.0972 | 2504734.4139 | 1123023.9018 | 2504732.8922 | 1123026.205 | 2504730.8343 | 1123027.2714 | 2504716.1544 | 1123034.1488
47 | 2504703.7111 | 1123070.9257 | 2504686.6686 | 1123082.3236 | 2504685.2914 | 1123084.9803 | 2504681.3574 | 1123087.3882
48 | 2504681.3574 | 1123087.3882 | 2504679.9716 | 1123088.2457
49 | 2504681.3574 | 1123087.3882 | 2504687.6109 | 1123097.0733 | 2504693.1209 | 1123103.1457
50 | 2504649.0226 | 1123033.6837 | 2504650.8199 | 1123037.3393 | 2504654.3071 | 1123041.32 | 2504658.5023 | 1123043.7331 | 2504662.8687 | 1123044.2868 | 2504664.1142 | 1123043.8422
51 | 2504819.6392 | 1123220.1902 | 2504816.7284 | 1123222.9266
52 | 2504819.6392 | 1123220.1902 | 2504823.3157 | 1123223.9569 | 2504828.4773 | 1123228.4895 | 2504831.9526 | 1123225.8554
53 | 2504819.6392 | 1123220.1902 | 2504814.6602 | 1123214.0316 | 2504811.3865 | 1123209.1803
54 | 2504812.0409 | 1123259.2449 | 2504823.2698 | 1123241.6017 | 2504825.3921 | 1123238.2663
55 | 2504825.3921 | 1123238.2663 | 2504829.8409 | 1123241.1202 | 2504832.3703 | 1123240.6134 | 2504835.633 | 1123241.129 | 2504838.4559 | 1123243.0968 | 2504844.9202 | 1123249.5435 | 2504853.7228 | 1123258.5326 | 2504856.153 | 1123261.27
56 | 2504825.3921 | 1123238.2663 | 2504830.8914 | 1123230.4527 | 2504828.4773 | 1123228.4895 | 2504831.9526 | 1123225.8554
57 | 2504812.0409 | 1123259.2449 | 2504806.5993 | 1123267.0317
58 | 2504812.0409 | 1123259.2449 | 2504797.3498 | 1123246.8417
59 | 2504876.1214 | 1123276.769 | 2504871.8233 | 1123280.0497 | 2504861.8022 | 1123267.6332 | 2504856.153 | 1123261.27
60 | 2504864.7425 | 1123203.6034 | 2504841.4286 | 1123220.3028 | 2504836.1968 | 1123222.5754 | 2504834.8557 | 1123223.6083 | 2504831.9526 | 1123225.8554
61 | 2504806.5993 | 1123267.0317 | 2504797.3108 | 1123280.3231 | 2504790.2251 | 1123288.7621 | 2504787.2576 | 1123292.2999 | 2504780.1425 | 1123299.1949
62 | 2504878.1744 | 1123259.237 | 2504880.0805 | 1123262.2422 | 2504878.5655 | 1123264.4785 | 2504878.0226 | 1123266.2437 | 2504878.0173 | 1123269.3346 | 2504878.8848 | 1123271.5334 | 2504880.313 | 1123273.5788 | 2504876.1214 | 1123276.769
63 | 2504857.127 | 1123303.7733 | 2504882.1976 | 1123284.5336 | 2504876.1214 | 1123276.769
64 | 2504878.1744 | 1123259.237 | 2504880.2211 | 1123257.9485 | 2504888.9111 | 1123252.4816
65 | 2504857.127 | 1123303.7733 | 2504848.2765 | 1123292.717
66 | 2504857.127 | 1123303.7733 | 2504858.3888 | 1123312.8812 | 2504856.2531 | 1123318.7962
67 | 2504765.4474 | 1123313.4349 | 2504766.6033 | 1123312.3153 | 2504780.1425 | 1123299.1949
68 | 2504889.5612 | 1123208.5046 | 2504887.5754 | 1123209.6177
69 | 2504802.3987 | 1123121.999 | 2504797.1063 | 1123116.6263 | 2504789.4001 | 1123107.236
70 | 2504802.3987 | 1123121.999 | 2504821.0042 | 1123140.887 | 2504829.2382 | 1123154.3206
71 | 2504832.9099 | 1123161.5396 | 2504833.4164 | 1123161.1372 | 2504829.2382 | 1123154.3206
72 | 2504760.7693 | 1123317.9662 | 2504765.4474 | 1123313.4349
73 | 2504643.0904 | 1123021.6183 | 2504649.0226 | 1123033.6837
74 | 2504712.6181 | 1123361.2977 | 2504714.4055 | 1123360.1783 | 2504715.4082 | 1123359.2693
75 | 2504703.6929 | 1123365.0502 | 2504707.7925 | 1123363.8626 | 2504710.8544 | 1123362.4023 | 2504712.6181 | 1123361.2977
76 | 2504725.8565 | 1123350.0007 | 2504718.8612 | 1123356.139 | 2504715.4082 | 1123359.2693
77 | 2504703.6929 | 1123365.0502 | 2504700.2741 | 1123365.3932 | 2504697.2763 | 1123365.5406 | 2504694.003 | 1123365.3254 | 2504689.2315 | 1123364.5001 | 2504681.962 | 1123363.2362 | 2504673.8199 | 1123361.8971
78 | 2504703.6929 | 1123365.0502 | 2504704.3075 | 1123368.8095 | 2504707.4466 | 1123396.1989 | 2504707.5778 | 1123406.4698 | 2504707.3544 | 1123412.8439 | 2504706.7487 | 1123417.4674 | 2504705.7669 | 1123421.2296 | 2504704.6668 | 1123425.3161 | 2504702.4315 | 1123429.7874 | 2504699.4378 | 1123435.0823 | 2504696.1665 | 1123438.9029 | 2504696.0638 | 1123439.0215
79 | 2504760.7693 | 1123317.9662 | 2504748.1352 | 1123329.6169 | 2504738.8381 | 1123338.1798 | 2504729.0926 | 1123347.1611 | 2504725.8565 | 1123350.0007
80 | 2504673.8199 | 1123361.8971 | 2504673.8199 | 1123361.8971 | 2504668.5285 | 1123361.358 | 2504664.7704 | 1123361.2172 | 2504660.0329 | 1123361.5699 | 2504656.3323 | 1123362.1398 | 2504649.8008 | 1123364.144 | 2504642.1864 | 1123366.9214 | 2504624.1551 | 1123375.2221 | 2504613.0415 | 1123380.0894 | 2504599.9926 | 1123385.4764 | 2504595.5345 | 1123386.532
81 | 2504681.4778 | 1123454.2439 | 2504692.2809 | 1123443.3891 | 2504696.0638 | 1123439.0215
82 | 2504585.8096 | 1123388.4016 | 2504591.6406 | 1123387.4539 | 2504595.5345 | 1123386.532
83 | 2504642.9145 | 1123417.93 | 2504669.0585 | 1123442.8328 | 2504681.4778 | 1123454.2439
84 | 2504637.5284 | 1123496.8744 | 2504638.6423 | 1123494.6443 | 2504640.7949 | 1123490.3077 | 2504644.9781 | 1123486.1169 | 2504662.4046 | 1123471.2774 | 2504672.3976 | 1123462.3588 | 2504681.4778 | 1123454.2439
85 | 2504642.9145 | 1123417.93 | 2504656.7289 | 1123405.7317
86 | 2504637.5284 | 1123496.8744 | 2504638.6423 | 1123494.6443 | 2504628.6116 | 1123485.0523
87 | 2504637.5284 | 1123496.8744 | 2504636.109 | 1123502.2223 | 2504635.6144 | 1123507.0441 | 2504635.9715 | 1123511.5857 | 2504636.8262 | 1123516.3863
88 | 2504592.2477 | 1123458.1097 | 2504593.1433 | 1123457.3878
89 | 2504593.1433 | 1123457.3878 | 2504594.0905 | 1123456.6242 | 2504606.1929 | 1123453.3311 | 2504609.9818 | 1123450.0582 | 2504621.9676 | 1123435.9159
90 | 2504621.9676 | 1123435.9159 | 2504630.8781 | 1123425.4023 | 2504633.6634 | 1123424.013 | 2504636.3571 | 1123423.6592 | 2504643.5657 | 1123426.4472 | 2504646.9411 | 1123429.707 | 2504648.7427 | 1123431.9578 | 2504656.1021 | 1123437.9453 | 2504658.0557 | 1123442.9842 | 2504657.9065 | 1123446.7222 | 2504655.8654 | 1123449.3338 | 2504648.5655 | 1123457.2538
91 | 2504599.1272 | 1123507.2421 | 2504611.4652 | 1123496.1512
92 | 2504627.8208 | 1123484.2976 | 2504626.6221 | 1123484.5723 | 2504623.0086 | 1123485.7745 | 2504611.4652 | 1123496.1512
93 | 2504637.742 | 1123469.4984 | 2504640.8601 | 1123465.6138 | 2504648.5655 | 1123457.2538
94 | 2504628.6116 | 1123485.0523 | 2504627.8208 | 1123484.2976
95 | 2504627.8208 | 1123484.2976 | 2504626.7088 | 1123483.2256 | 2504625.0833 | 1123481.8727 | 2504617.2298 | 1123474.5179
96 | 2504628.6116 | 1123485.0523 | 2504629.0749 | 1123482.1543 | 2504632.1017 | 1123476.5253 | 2504637.742 | 1123469.4984
97 | 2504661.9908 | 1123401.0854 | 2504659.9524 | 1123402.8854 | 2504656.7289 | 1123405.7317

## bus_geodata
| x | y | coords
0 | 2504681.4299 | 1122941.5673
1 | 2504655.7975 | 1122967.1623
2 | 2504693.8872 | 1122922.9345
3 | 2504643.4765 | 1122966.434
4 | 2504665.6006 | 1122985.2521
5 | 2504696.2947 | 1122919.4151
6 | 2504628.1527 | 1122963.8256
7 | 2504672.4171 | 1122985.6448
8 | 2504688.308 | 1123025.8966
9 | 2504613.7277 | 1122959.8628
10 | 2504675.8055 | 1123036.0137
11 | 2504699.1152 | 1123042.1361
12 | 2504567.3522 | 1122968.4366
13 | 2504591.2268 | 1122992.608
14 | 2504597.4357 | 1123035.6177
15 | 2504595.56 | 1123037.9445
16 | 2504945.4289 | 1123094.8556
17 | 2504961.5573 | 1123179.6101
18 | 2504952.5887 | 1123213.494
19 | 2504818.3977 | 1123077.7672
20 | 2504780.1361 | 1123092.49
21 | 2504787.3373 | 1123008.4541
22 | 2504926.4716 | 1123229.0204
23 | 2504909.0422 | 1123239.8173
24 | 2504752.8888 | 1123129.3568
25 | 2504747.6737 | 1123122.1199
26 | 2504758.9382 | 1123137.7516
27 | 2504739.6759 | 1123109.1266
28 | 2504785.0089 | 1123170.4613
29 | 2504729.2475 | 1123163.8048
30 | 2504732.2326 | 1123097.3478
31 | 2504751.9125 | 1123104.0306
32 | 2504789.9962 | 1123177.5619
33 | 2504726.2574 | 1123166.4286
34 | 2504713.6535 | 1123086.743
35 | 2504737.7803 | 1123074.3559
36 | 2504798.0958 | 1123189.1995
37 | 2504713.0705 | 1123176.7873
38 | 2504716.1544 | 1123034.1488
39 | 2504735.348 | 1123003.9082
40 | 2504703.7111 | 1123070.9257
41 | 2504681.3574 | 1123087.3882
42 | 2504664.1142 | 1123043.8422
43 | 2504679.9716 | 1123088.2457
44 | 2504693.121 | 1123103.1457
45 | 2504694.764 | 1123187.5744
46 | 2504694.6026 | 1123146.2153
47 | 2504816.7284 | 1123222.9266
48 | 2504819.6392 | 1123220.1902
49 | 2504825.3921 | 1123238.2663
50 | 2504812.0409 | 1123259.2449
51 | 2504856.153 | 1123261.27
52 | 2504831.9526 | 1123225.8554
53 | 2504811.3865 | 1123209.1803
54 | 2504806.5993 | 1123267.0317
55 | 2504797.3498 | 1123246.8417
56 | 2504876.1214 | 1123276.769
57 | 2504864.7425 | 1123203.6034
58 | 2504878.1744 | 1123259.237
59 | 2504857.127 | 1123303.7733
60 | 2504888.9111 | 1123252.4816
61 | 2504780.1425 | 1123299.1949
62 | 2504887.5754 | 1123209.6177
63 | 2504889.5612 | 1123208.5046
64 | 2504848.2765 | 1123292.717
65 | 2504856.2531 | 1123318.7962
66 | 2504789.4001 | 1123107.236
67 | 2504802.3987 | 1123121.999
68 | 2504829.2382 | 1123154.3206
69 | 2504832.9099 | 1123161.5396
70 | 2504578.3282 | 1123059.4658
71 | 2504765.4474 | 1123313.4349
72 | 2504649.0226 | 1123033.6837
73 | 2504643.0904 | 1123021.6183
74 | 2504712.6181 | 1123361.2977
75 | 2504715.4082 | 1123359.2693
76 | 2504703.6929 | 1123365.0502
77 | 2504725.8565 | 1123350.0007
78 | 2504673.8199 | 1123361.8971
79 | 2504696.0638 | 1123439.0215
80 | 2504760.7693 | 1123317.9662
81 | 2504595.5345 | 1123386.532
82 | 2504681.4778 | 1123454.2439
83 | 2504585.8096 | 1123388.4016
84 | 2504642.9145 | 1123417.93
85 | 2504637.5284 | 1123496.8744
86 | 2504592.2477 | 1123458.1097
87 | 2504593.1433 | 1123457.3878
88 | 2504621.9676 | 1123435.9159
89 | 2504599.1272 | 1123507.2421
90 | 2504611.4652 | 1123496.1512
91 | 2504648.5655 | 1123457.2538
92 | 2504627.8208 | 1123484.2976
93 | 2504637.742 | 1123469.4984
94 | 2504628.6116 | 1123485.0523
95 | 2504617.2298 | 1123474.5179
96 | 2504636.8262 | 1123516.3863
97 | 2504656.7289 | 1123405.7317
98 | 2504661.9908 | 1123401.0854
99 | 2504785.0089 | 1123170.4613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1