## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6616-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6616-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6616-13_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6616-13_0_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_6616-13_0_5_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_6616-13_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_6616-13_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_6616-13_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6616-13_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6616-13_0_5_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_6616-13_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6616-13_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6616-13_0_5_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_6616-13_0_5_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_6616-13_0_5_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6616-13_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6616-13_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_6616-13_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6616-13_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_6616-13_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6616-13_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6616-13_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6616-13_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6616-13_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6616-13_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6616-13_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6616-13_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6616-13_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_6616-13_0_5_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_6616-13_0_5_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_6616-13_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6616-13_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6616-13_0_5_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_6616-13_0_5_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6616-13_0_5_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_6616-13_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6616-13_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6616-13_0_5_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6616-13_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6616-13_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6616-13_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_6616-13_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6616-13_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6616-13_0_5_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_6616-13_0_5_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_6616-13_0_5_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_6616-13_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6616-13_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_6616-13_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_6616-13_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6616-13_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6616-13_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_6616-13_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_6616-13_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6616-13_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6616-13_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6616-13_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6616-13_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6616-13_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6616-13_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_6616-13_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_6616-13_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_6616-13_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6616-13_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6616-13_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6616-13_0_5_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_6616-13_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6616-13_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6616-13_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6616-13_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6616-13_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6616-13_0_5_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_6616-13_0_5_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6616-13_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_6616-13_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6616-13_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6616-13_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_6616-13_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_6616-13_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6616-13_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6616-13_0_5_node_79 | 0.4 | n |  | TRUE
83 | bus_MV_459_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-13_0_5_load_0 | 0 | 0.013662 | 0.003424 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-13_0_5_load_1 | 1 | 0.015338 | 0.0038442 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-13_0_5_load_3 | 3 | 0.032868 | 0.0082375 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-13_0_5_load_4 | 4 | 0.010396 | 0.0026055 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-13_0_5_load_12 | 5 | 0.0035099 | 0.00087966 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-13_0_5_load_37 | 7 | 0.018655 | 0.0046754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-13_0_5_load_36 | 8 | 0.012468 | 0.0031248 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-13_0_5_load_5 | 9 | 0.019678 | 0.0049319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-13_0_5_load_9 | 13 | 0.0011339 | 0.00028417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-13_0_5_load_85 | 14 | 0.03095 | 0.0077568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-13_0_5_load_87 | 15 | 0.00074343 | 0.00018632 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-13_0_5_load_50 | 16 | 0.00089804 | 0.00022507 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-13_0_5_load_10 | 17 | 0.0088797 | 0.0022255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-13_0_5_load_11 | 19 | 0.0029095 | 0.0007292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-13_0_5_load_38 | 20 | 0.0056438 | 0.0014145 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-13_0_5_load_13 | 21 | 0.0028189 | 0.00070648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-13_0_5_load_14 | 22 | 0.00064744 | 0.00016226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-13_0_5_load_42 | 29 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-13_0_5_load_51 | 30 | 0.00099103 | 0.00024838 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-13_0_5_load_63 | 31 | 0.00090151 | 0.00022594 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-13_0_5_load_26 | 32 | 0.0017901 | 0.00044863 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-13_0_5_load_23 | 33 | 0.003064 | 0.00076792 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-13_0_5_load_64 | 35 | 0.00055233 | 0.00013843 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-13_0_5_load_41 | 36 | 0.0069184 | 0.0017339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-13_0_5_load_22 | 37 | 0.0001983 | 4.9698e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-13_0_5_load_34 | 38 | 0.0017515 | 0.00043898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-13_0_5_load_70 | 39 | 0.0057822 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-13_0_5_load_24 | 40 | 0.0050303 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-13_0_5_load_20 | 41 | 0.0017541 | 0.00043963 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-13_0_5_load_25 | 43 | 0.0029679 | 0.00074382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-13_0_5_load_40 | 44 | 0.0019645 | 0.00049235 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-13_0_5_load_66 | 45 | 0.020654 | 0.0051765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-13_0_5_load_80 | 47 | 0.00045807 | 0.0001148 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-13_0_5_load_49 | 48 | 0.00021732 | 5.4465e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-13_0_5_load_28 | 49 | 0.0013079 | 0.00032778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-13_0_5_load_29 | 50 | 0.0016758 | 0.00042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-13_0_5_load_30 | 51 | 0.0019646 | 0.00049236 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-13_0_5_load_31 | 52 | 0.0014518 | 0.00036385 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-13_0_5_load_59 | 53 | 0.0013947 | 0.00034954 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-13_0_5_load_32 | 54 | 0.0013165 | 0.00032995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-13_0_5_load_58 | 55 | 0.0014034 | 0.00035173 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-13_0_5_load_33 | 56 | 0.00041125 | 0.00010307 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-13_0_5_load_39 | 57 | 0.0023136 | 0.00057985 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-13_0_5_load_43 | 58 | 0.001768 | 0.0004431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-13_0_5_load_44 | 59 | 0.00036604 | 9.1738e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-13_0_5_load_52 | 60 | 0.00042282 | 0.00010597 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-13_0_5_load_53 | 61 | 0.0013954 | 0.00034972 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-13_0_5_load_45 | 62 | 0.00031001 | 7.7697e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-13_0_5_load_48 | 64 | 0.00043958 | 0.00011017 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-13_0_5_load_54 | 65 | 0.00039611 | 9.9274e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-13_0_5_load_62 | 67 | 0.0013214 | 0.00033117 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-13_0_5_load_69 | 68 | 0.001243 | 0.00031153 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-13_0_5_load_56 | 69 | 0.00063101 | 0.00015815 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-13_0_5_load_57 | 70 | 0.0021303 | 0.0005339 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-13_0_5_load_67 | 71 | 0.0019989 | 0.00050098 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-13_0_5_load_68 | 72 | 0.0026578 | 0.00066611 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-13_0_5_load_83 | 73 | 0.00023212 | 5.8174e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-13_0_5_load_78 | 75 | 0.002913 | 0.00073006 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-13_0_5_load_71 | 76 | 0.00013856 | 3.4726e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-13_0_5_load_77 | 77 | 0.0011372 | 0.000285 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-13_0_5_load_76 | 79 | 0.0017981 | 0.00045066 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6616-13_0_5_load_74 | 80 | 0.00056183 | 0.00014081 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6616-13_0_5_load_82 | 81 | 0.00058046 | 0.00014548 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6616-13_0_5_load_79 | 82 | 0.00049135 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-13_0_5_line_0 |  | 0 | 1 | 0.02644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6616-13_0_5_line_1 |  | 0 | 2 | 0.026866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6616-13_0_5_line_2 |  | 1 | 3 | 0.053179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6616-13_0_5_line_3 |  | 2 | 4 | 0.020917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6616-13_0_5_line_4 |  | 3 | 5 | 0.00033903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6616-13_0_5_line_5 |  | 4 | 6 | 0.010685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-13_0_5_line_6 |  | 5 | 7 | 0.0050805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6616-13_0_5_line_7 |  | 6 | 8 | 0.025851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-13_0_5_line_8 |  | 7 | 20 | 0.028526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6616-13_0_5_line_9 |  | 9 | 10 | 0.035367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-13_0_5_line_10 |  | 9 | 11 | 0.22404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-13_0_5_line_11 |  | 10 | 12 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6616-13_0_5_line_12 |  | 10 | 13 | 0.023735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6616-13_0_5_line_13 |  | 11 | 15 | 0.027951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6616-13_0_5_line_14 |  | 11 | 14 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-13_0_5_line_15 |  | 12 | 16 | 0.047254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6616-13_0_5_line_16 |  | 13 | 17 | 0.037451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6616-13_0_5_line_17 |  | 16 | 18 | 0.04166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6616-13_0_5_line_18 |  | 17 | 19 | 0.015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6616-13_0_5_line_19 |  | 18 | 62 | 0.029347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6616-13_0_5_line_20 |  | 20 | 57 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6616-13_0_5_line_21 |  | 21 | 22 | 0.036949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6616-13_0_5_line_22 |  | 21 | 23 | 0.0092003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6616-13_0_5_line_23 |  | 22 | 24 | 0.052259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6616-13_0_5_line_24 |  | 23 | 25 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6616-13_0_5_line_25 |  | 24 | 26 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6616-13_0_5_line_26 |  | 25 | 27 | 0.081228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6616-13_0_5_line_27 |  | 25 | 28 | 0.06059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6616-13_0_5_line_28 |  | 25 | 29 | 0.01757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-13_0_5_line_29 |  | 26 | 34 | 0.12544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-13_0_5_line_30 |  | 26 | 35 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6616-13_0_5_line_31 |  | 27 | 30 | 0.046332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-13_0_5_line_32 |  | 27 | 31 | 0.02219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6616-13_0_5_line_33 |  | 28 | 32 | 0.038064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6616-13_0_5_line_34 |  | 28 | 33 | 0.0039704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6616-13_0_5_line_35 |  | 29 | 36 | 0.017341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6616-13_0_5_line_36 |  | 30 | 37 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6616-13_0_5_line_37 |  | 31 | 38 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-13_0_5_line_38 |  | 32 | 39 | 0.026066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-13_0_5_line_39 |  | 33 | 40 | 0.049225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6616-13_0_5_line_40 |  | 34 | 46 | 0.055118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6616-13_0_5_line_41 |  | 34 | 47 | 0.033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-13_0_5_line_42 |  | 35 | 48 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6616-13_0_5_line_43 |  | 36 | 58 | 0.012301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-13_0_5_line_44 |  | 37 | 42 | 0.036069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-13_0_5_line_45 |  | 38 | 56 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-13_0_5_line_46 |  | 40 | 43 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6616-13_0_5_line_47 |  | 41 | 42 | 0.048243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-13_0_5_line_48 |  | 43 | 44 | 0.026017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6616-13_0_5_line_49 |  | 44 | 45 | 0.021623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6616-13_0_5_line_50 |  | 45 | 57 | 0.0031786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6616-13_0_5_line_51 |  | 46 | 73 | 0.038449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-13_0_5_line_52 |  | 46 | 74 | 0.086817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6616-13_0_5_line_53 |  | 47 | 75 | 0.048237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6616-13_0_5_line_54 |  | 48 | 63 | 0.031989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6616-13_0_5_line_55 |  | 49 | 50 | 0.0084099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-13_0_5_line_56 |  | 49 | 51 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6616-13_0_5_line_57 |  | 50 | 52 | 0.032997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6616-13_0_5_line_58 |  | 51 | 53 | 0.060235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6616-13_0_5_line_59 |  | 52 | 54 | 0.0029412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-13_0_5_line_60 |  | 53 | 55 | 0.010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-13_0_5_line_61 |  | 54 | 56 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-13_0_5_line_62 |  | 58 | 59 | 0.030746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-13_0_5_line_63 |  | 59 | 60 | 0.0025744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-13_0_5_line_64 |  | 60 | 61 | 0.0082294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6616-13_0_5_line_65 |  | 61 | 67 | 0.00011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6616-13_0_5_line_66 |  | 62 | 63 | 0.053191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6616-13_0_5_line_67 |  | 63 | 64 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-13_0_5_line_68 |  | 64 | 65 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-13_0_5_line_69 |  | 65 | 66 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-13_0_5_line_70 |  | 66 | 69 | 0.04757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-13_0_5_line_71 |  | 66 | 70 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-13_0_5_line_72 |  | 67 | 68 | 0.042354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-13_0_5_line_73 |  | 69 | 71 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-13_0_5_line_74 |  | 71 | 72 | 0.0045681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-13_0_5_line_75 |  | 73 | 81 | 0.069781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-13_0_5_line_76 |  | 74 | 76 | 0.043004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-13_0_5_line_77 |  | 75 | 82 | 0.031018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6616-13_0_5_line_78 |  | 76 | 77 | 0.17882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6616-13_0_5_line_79 |  | 77 | 79 | 0.042467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6616-13_0_5_line_80 |  | 78 | 79 | 0.00035783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6616-13_0_5_line_81 |  | 78 | 80 | 0.14232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-13_0_5_trafo_11 | 0.63 MVA 20/0.4 kV | 83 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2504898.8893 | 1123305.5853 | 2504915.3174 | 1123326.3023
1 | 2504882.1976 | 1123284.5336 | 2504892.5055 | 1123297.5349 | 2504898.8893 | 1123305.5853
2 | 2504915.3174 | 1123326.3023 | 2504924.0268 | 1123337.2855 | 2504945.1535 | 1123363.925 | 2504948.2458 | 1123368.0574
3 | 2504882.1976 | 1123284.5336 | 2504865.6038 | 1123297.2681
4 | 2504948.4489 | 1123368.3289 | 2504948.2458 | 1123368.0574
5 | 2504857.127 | 1123303.7733 | 2504865.6038 | 1123297.2681
6 | 2504951.4928 | 1123372.3966 | 2504948.4489 | 1123368.3289
7 | 2504857.127 | 1123303.7733 | 2504858.3888 | 1123312.8812 | 2504856.2531 | 1123318.7962 | 2504856.7065 | 1123322.1245 | 2504858.886 | 1123328.7831
8 | 2504951.4928 | 1123372.3966 | 2504956.9861 | 1123379.7375 | 2504968.0143 | 1123395.6459
9 | 2505030.5586 | 1123294.251 | 2505028.4152 | 1123290.8604 | 2505011.6714 | 1123264.349
10 | 2505011.6714 | 1123264.349 | 2505201.8823 | 1123145.971
11 | 2505042.5702 | 1123309.6828 | 2505039.2563 | 1123306.3996 | 2505030.5586 | 1123294.251
12 | 2505030.5586 | 1123294.251 | 2505011.1457 | 1123307.9078
13 | 2505201.8823 | 1123145.971 | 2505211.7954 | 1123140.2343 | 2505225.6989 | 1123131.2441
14 | 2505201.8823 | 1123145.971 | 2505202.7814 | 1123144.2892 | 2505203.1146 | 1123142.9165 | 2505202.9535 | 1123139.5281 | 2505200.0851 | 1123130.8179
15 | 2505042.5702 | 1123309.6828 | 2505070.356 | 1123335.0952 | 2505077.4371 | 1123341.5777
16 | 2505011.1457 | 1123307.9078 | 2504994.4937 | 1123319.6222 | 2504993.9391 | 1123322.6105 | 2505003.508 | 1123332.9008
17 | 2505108.173 | 1123369.7003 | 2505091.3578 | 1123354.3216 | 2505077.4371 | 1123341.5777
18 | 2505014.8766 | 1123343.1162 | 2505008.1229 | 1123337.8636 | 2505003.508 | 1123332.9008
19 | 2505108.173 | 1123369.7003 | 2505129.1423 | 1123390.2322
20 | 2504976.3981 | 1123408.8763 | 2504969.1466 | 1123397.2792 | 2504968.0143 | 1123395.6459
21 | 2505090.6534 | 1123528.3277 | 2505093.3008 | 1123527.0631 | 2505125.4162 | 1123515.8545
22 | 2505082.8305 | 1123533.1201 | 2505087.7895 | 1123529.6957 | 2505090.6534 | 1123528.3277
23 | 2505174.8775 | 1123498.9878 | 2505138.0322 | 1123511.4514 | 2505125.4162 | 1123515.8545
24 | 2505069.5796 | 1123548.7155 | 2505075.9204 | 1123545.3806 | 2505073.5961 | 1123542.7377 | 2505082.8305 | 1123533.1201
25 | 2505174.8775 | 1123498.9878 | 2505187.6355 | 1123494.2181
26 | 2505069.5796 | 1123548.7155 | 2505075.9204 | 1123545.3806 | 2505082.0779 | 1123552.9552 | 2505092.3024 | 1123565.6134 | 2505098.8069 | 1123573.6718 | 2505122.4726 | 1123602.9848
27 | 2505040.7995 | 1123505.13 | 2505050.7671 | 1123517.1362 | 2505073.5961 | 1123542.7377 | 2505075.9204 | 1123545.3806 | 2505069.5796 | 1123548.7155
28 | 2505069.5796 | 1123548.7155 | 2505053.9725 | 1123556.7849
29 | 2505187.6355 | 1123494.2181 | 2505199.9991 | 1123489.3767 | 2505209.0443 | 1123484.8877 | 2505215.6393 | 1123481.0263 | 2505222.686 | 1123476.4686 | 2505236.4409 | 1123466.4134 | 2505292.3454 | 1123425.5567
30 | 2505187.6355 | 1123494.2181 | 2505183.4196 | 1123477.2331
31 | 2505122.4726 | 1123602.9848 | 2505152.3625 | 1123638.3859
32 | 2505122.4726 | 1123602.9848 | 2505102.7151 | 1123613.0856
33 | 2505040.7995 | 1123505.13 | 2505007.4387 | 1123523.4587
34 | 2505040.7995 | 1123505.13 | 2505038.323 | 1123502.0266
35 | 2505038.5684 | 1123564.7492 | 2505053.9725 | 1123556.7849
36 | 2505158.9304 | 1123646.1649 | 2505152.3625 | 1123638.3859
37 | 2505091.7066 | 1123618.7136 | 2505102.7151 | 1123613.0856
38 | 2504984.5939 | 1123536.0099 | 2505007.4387 | 1123523.4587
39 | 2505009.791 | 1123461.9426 | 2505019.0223 | 1123475.8098 | 2505020.4204 | 1123477.9113 | 2505030.4593 | 1123491.9955 | 2505034.9464 | 1123497.7952 | 2505038.323 | 1123502.0266
40 | 2505292.3454 | 1123425.5567 | 2505322.7478 | 1123404.4675 | 2505338.4671 | 1123395.2379
41 | 2505292.3454 | 1123425.5567 | 2505295.2464 | 1123429.5692 | 2505299.1304 | 1123435.7788 | 2505301.8001 | 1123440.7845 | 2505305.9319 | 1123447.0569 | 2505310.2255 | 1123453.3819
42 | 2505183.4196 | 1123477.2331 | 2505181.1399 | 1123468.0484 | 2505177.9508 | 1123457.8025
43 | 2505038.5684 | 1123564.7492 | 2505027.6416 | 1123570.3986
44 | 2505183.023 | 1123672.9995 | 2505165.2362 | 1123653.6334 | 2505158.9304 | 1123646.1649
45 | 2505091.7066 | 1123618.7136 | 2505080.9433 | 1123624.2162
46 | 2505009.791 | 1123461.9426 | 2505005.9263 | 1123456.1369 | 2505003.3259 | 1123451.974
47 | 2505183.023 | 1123672.9995 | 2505172.5212 | 1123683.9153 | 2505171.619 | 1123685.8862 | 2505172.0888 | 1123689.2809 | 2505147.5371 | 1123701.6705
48 | 2504989.5406 | 1123429.9094 | 2504993.379 | 1123436.0552 | 2504999.1937 | 1123445.3584 | 2505002.9279 | 1123451.3367 | 2505003.3259 | 1123451.974
49 | 2504989.5406 | 1123429.9094 | 2504981.9786 | 1123417.8011 | 2504978.0833 | 1123411.5714
50 | 2504976.3981 | 1123408.8763 | 2504978.0833 | 1123411.5714
51 | 2505338.4671 | 1123395.2379 | 2505340.2096 | 1123399.1463 | 2505342.8923 | 1123403.507 | 2505345.2274 | 1123407.8286 | 2505347.7032 | 1123410.7916 | 2505356.6409 | 1123419.1123 | 2505360.6312 | 1123423.7415 | 2505361.9068 | 1123425.2211
52 | 2505416.9196 | 1123357.5756 | 2505338.4671 | 1123395.2379
53 | 2505343.204 | 1123488.3277 | 2505339.9128 | 1123484.0472 | 2505329.7136 | 1123474.9458 | 2505322.125 | 1123468.0605 | 2505315.9951 | 1123461.2524 | 2505311.1817 | 1123454.7905 | 2505310.2255 | 1123453.3819
54 | 2505165.7913 | 1123428.6541 | 2505170.8983 | 1123435.1446 | 2505177.9508 | 1123457.8025
55 | 2505025.6812 | 1123653.149 | 2505032.9176 | 1123648.8641
56 | 2505015.1151 | 1123659.4055 | 2505025.6812 | 1123653.149
57 | 2505032.9176 | 1123648.8641 | 2505034.0947 | 1123648.167 | 2505062.2566 | 1123633.7696
58 | 2505015.1151 | 1123659.4055 | 2505022.6022 | 1123719.1737
59 | 2505062.2566 | 1123633.7696 | 2505064.8754 | 1123632.4307
60 | 2505026.9983 | 1123728.6616 | 2505022.6022 | 1123719.1737
61 | 2505064.8754 | 1123632.4307 | 2505080.9433 | 1123624.2162
62 | 2505000.3301 | 1123584.5195 | 2505027.6416 | 1123570.3986
63 | 2505000.3301 | 1123584.5195 | 2504998.0432 | 1123585.7019
64 | 2504998.0432 | 1123585.7019 | 2504990.7331 | 1123589.4814
65 | 2504990.7331 | 1123589.4814 | 2504990.63 | 1123589.5347
66 | 2505165.7913 | 1123428.6541 | 2505159.4661 | 1123420.226 | 2505153.3049 | 1123413.8966 | 2505138.3132 | 1123399.2118 | 2505129.1423 | 1123390.2322
67 | 2505165.7913 | 1123428.6541 | 2505143.0763 | 1123440.7337
68 | 2505131.8452 | 1123447.7641 | 2505141.2326 | 1123441.7141 | 2505143.0763 | 1123440.7337
69 | 2505116.4957 | 1123457.6566 | 2505131.8452 | 1123447.7641
70 | 2505116.4957 | 1123457.6566 | 2505094.3819 | 1123431.9325 | 2505084.9924 | 1123422.363 | 2505084.8237 | 1123422.191
71 | 2505116.4957 | 1123457.6566 | 2505105.1119 | 1123467.9194 | 2505103.0378 | 1123470.2433
72 | 2504968.9217 | 1123617.784 | 2504966.4135 | 1123608.351 | 2504966.5669 | 1123605.8471 | 2504967.2146 | 1123603.391 | 2504968.3251 | 1123601.4279 | 2504971.4864 | 1123599.4325 | 2504990.63 | 1123589.5347
73 | 2505073.6146 | 1123411.2187 | 2505078.7456 | 1123415.9906 | 2505084.8237 | 1123422.191
74 | 2505070.2695 | 1123408.1078 | 2505073.6146 | 1123411.2187
75 | 2505410.0676 | 1123475.6952 | 2505405.1733 | 1123470.8062 | 2505387.5047 | 1123453.072 | 2505380.2889 | 1123445.3691 | 2505369.6966 | 1123433.8168 | 2505363.9224 | 1123427.559 | 2505361.9068 | 1123425.2211
76 | 2505416.9196 | 1123357.5756 | 2505430.7977 | 1123350.9211 | 2505456.5014 | 1123340.8319
77 | 2505343.204 | 1123488.3277 | 2505346.8643 | 1123493.0883 | 2505352.5004 | 1123500.3822 | 2505356.0997 | 1123507.13 | 2505359.0155 | 1123512.5876 | 2505359.9304 | 1123514.3211
78 | 2505456.5014 | 1123340.8319 | 2505497.7092 | 1123166.827
79 | 2505481.109 | 1123127.7408 | 2505496.6599 | 1123164.5663 | 2505497.7092 | 1123166.827
80 | 2505481.109 | 1123127.7408 | 2505480.9698 | 1123127.4112
81 | 2505480.9698 | 1123127.4112 | 2505437.7956 | 1122991.7948

## bus_geodata
| x | y | coords
0 | 2504898.8893 | 1123305.5853
1 | 2504915.3174 | 1123326.3023
2 | 2504882.1976 | 1123284.5336
3 | 2504948.2458 | 1123368.0574
4 | 2504865.6038 | 1123297.2681
5 | 2504948.4489 | 1123368.3289
6 | 2504857.127 | 1123303.7733
7 | 2504951.4928 | 1123372.3966
8 | 2504858.886 | 1123328.7831
9 | 2505011.6714 | 1123264.349
10 | 2505030.5586 | 1123294.251
11 | 2505201.8823 | 1123145.971
12 | 2505042.5702 | 1123309.6828
13 | 2505011.1457 | 1123307.9078
14 | 2505200.0851 | 1123130.8179
15 | 2505225.6989 | 1123131.2441
16 | 2505077.4371 | 1123341.5777
17 | 2505003.508 | 1123332.9008
18 | 2505108.173 | 1123369.7003
19 | 2505014.8766 | 1123343.1162
20 | 2504968.0143 | 1123395.6459
21 | 2505090.6534 | 1123528.3277
22 | 2505125.4162 | 1123515.8545
23 | 2505082.8305 | 1123533.1201
24 | 2505174.8775 | 1123498.9878
25 | 2505069.5796 | 1123548.7155
26 | 2505187.6355 | 1123494.2181
27 | 2505122.4726 | 1123602.9848
28 | 2505040.7995 | 1123505.13
29 | 2505053.9725 | 1123556.7849
30 | 2505152.3625 | 1123638.3859
31 | 2505102.7151 | 1123613.0856
32 | 2505007.4387 | 1123523.4587
33 | 2505038.323 | 1123502.0266
34 | 2505292.3454 | 1123425.5567
35 | 2505183.4196 | 1123477.2331
36 | 2505038.5684 | 1123564.7492
37 | 2505158.9304 | 1123646.1649
38 | 2505091.7066 | 1123618.7136
39 | 2504984.5939 | 1123536.0099
40 | 2505009.791 | 1123461.9426
41 | 2505147.5371 | 1123701.6705
42 | 2505183.023 | 1123672.9995
43 | 2505003.3259 | 1123451.974
44 | 2504989.5406 | 1123429.9094
45 | 2504978.0833 | 1123411.5714
46 | 2505338.4671 | 1123395.2379
47 | 2505310.2255 | 1123453.3819
48 | 2505177.9508 | 1123457.8025
49 | 2505025.6812 | 1123653.149
50 | 2505032.9176 | 1123648.8641
51 | 2505015.1151 | 1123659.4055
52 | 2505062.2566 | 1123633.7696
53 | 2505022.6022 | 1123719.1737
54 | 2505064.8754 | 1123632.4307
55 | 2505026.9983 | 1123728.6616
56 | 2505080.9433 | 1123624.2162
57 | 2504976.3981 | 1123408.8763
58 | 2505027.6416 | 1123570.3986
59 | 2505000.3301 | 1123584.5195
60 | 2504998.0432 | 1123585.7019
61 | 2504990.7331 | 1123589.4814
62 | 2505129.1423 | 1123390.2322
63 | 2505165.7913 | 1123428.6541
64 | 2505143.0763 | 1123440.7337
65 | 2505131.8452 | 1123447.7641
66 | 2505116.4957 | 1123457.6566
67 | 2504990.63 | 1123589.5347
68 | 2504968.9217 | 1123617.784
69 | 2505084.8237 | 1123422.191
70 | 2505103.0378 | 1123470.2433
71 | 2505073.6146 | 1123411.2187
72 | 2505070.2695 | 1123408.1078
73 | 2505361.9068 | 1123425.2211
74 | 2505416.9196 | 1123357.5756
75 | 2505343.204 | 1123488.3277
76 | 2505456.5014 | 1123340.8319
77 | 2505497.7092 | 1123166.827
78 | 2505480.9698 | 1123127.4112
79 | 2505481.109 | 1123127.7408
80 | 2505437.7956 | 1122991.7948
81 | 2505410.0676 | 1123475.6952
82 | 2505359.9304 | 1123514.3211
83 | 2505030.5586 | 1123294.251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1