## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6616-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6616-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6616-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6616-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6616-2_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6616-2_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6616-2_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_6616-2_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6616-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6616-2_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6616-2_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_6616-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6616-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6616-2_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_6616-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6616-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6616-2_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6616-2_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_6616-2_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6616-2_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_6616-2_0_3_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_6616-2_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6616-2_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_6616-2_0_3_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_6616-2_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6616-2_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6616-2_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6616-2_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6616-2_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6616-2_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6616-2_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6616-2_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_6616-2_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_6616-2_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_6616-2_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6616-2_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6616-2_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6616-2_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6616-2_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6616-2_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6616-2_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6616-2_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6616-2_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6616-2_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6616-2_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6616-2_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6616-2_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6616-2_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6616-2_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6616-2_0_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6616-2_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_6616-2_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6616-2_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_6616-2_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6616-2_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6616-2_0_3_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_6616-2_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_6616-2_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6616-2_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6616-2_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6616-2_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6616-2_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_6616-2_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6616-2_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_MV_459_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-2_0_3_load_0 | 0 | 0.0035273 | 0.00088403 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-2_0_3_load_1 | 1 | 0.0015219 | 0.00038142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-2_0_3_load_3 | 3 | 0.00050214 | 0.00012585 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-2_0_3_load_4 | 4 | 0.0053855 | 0.0013497 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-2_0_3_load_5 | 5 | 0.0030247 | 0.00075807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-2_0_3_load_13 | 7 | 0.0025667 | 0.00064328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-2_0_3_load_16 | 8 | 0.0020857 | 0.00052272 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-2_0_3_load_10 | 9 | 0.002339 | 0.00058621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-2_0_3_load_6 | 10 | 0.0030268 | 0.00075858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-2_0_3_load_14 | 11 | 0.0020751 | 0.00052006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-2_0_3_load_17 | 12 | 0.0025888 | 0.00064882 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-2_0_3_load_7 | 13 | 0.0019751 | 0.00049502 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-2_0_3_load_9 | 14 | 0.0020792 | 0.00052109 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-2_0_3_load_26 | 15 | 0.00085302 | 0.00021379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-2_0_3_load_11 | 16 | 0.00046814 | 0.00011733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-2_0_3_load_12 | 17 | 0.00024624 | 6.1713e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-2_0_3_load_15 | 18 | 0.0027595 | 0.0006916 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-2_0_3_load_25 | 20 | 0.0095592 | 0.0023958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-2_0_3_load_23 | 21 | 0.011842 | 0.0029678 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-2_0_3_load_65 | 22 | 0.002139 | 0.0005361 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-2_0_3_load_47 | 23 | 0.0019147 | 0.00047986 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-2_0_3_load_50 | 24 | 0.0026457 | 0.00066309 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-2_0_3_load_18 | 26 | 0.0019476 | 0.00048811 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-2_0_3_load_19 | 27 | 0.0091442 | 0.0022918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-2_0_3_load_45 | 31 | 0.0049037 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-2_0_3_load_52 | 33 | 0.039447 | 0.0098864 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-2_0_3_load_41 | 34 | 0.035176 | 0.0088159 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-2_0_3_load_49 | 35 | 0.0014923 | 0.00037402 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-2_0_3_load_48 | 36 | 0.0010139 | 0.00025411 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-2_0_3_load_27 | 37 | 0.020162 | 0.0050532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-2_0_3_load_28 | 38 | 0.0016242 | 0.00040706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-2_0_3_load_29 | 39 | 0.0052117 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-2_0_3_load_31 | 41 | 0.0012941 | 0.00032433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-2_0_3_load_38 | 42 | 0.0093521 | 0.0023439 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-2_0_3_load_44 | 43 | 0.0028622 | 0.00071732 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-2_0_3_load_46 | 44 | 0.0070062 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-2_0_3_load_42 | 45 | 0.021347 | 0.00535 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-2_0_3_load_32 | 46 | 0.012117 | 0.0030369 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-2_0_3_load_33 | 47 | 0.0097031 | 0.0024318 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-2_0_3_load_34 | 48 | 0.0027789 | 0.00069647 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-2_0_3_load_36 | 49 | 0.01652 | 0.0041403 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-2_0_3_load_37 | 50 | 0.012197 | 0.0030569 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-2_0_3_load_59 | 51 | 0.0025482 | 0.00063864 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-2_0_3_load_61 | 52 | 0.0082791 | 0.0020749 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-2_0_3_load_58 | 54 | 0.005732 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-2_0_3_load_68 | 56 | 0.0024366 | 0.00061067 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-2_0_3_load_66 | 58 | 0.0038062 | 0.00095392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-2_0_3_load_53 | 59 | 0.0069559 | 0.0017433 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-2_0_3_load_54 | 60 | 0.017392 | 0.0043589 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-2_0_3_load_60 | 62 | 0.0045835 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-2_0_3_load_62 | 63 | 0.0018003 | 0.00045119 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-2_0_3_load_63 | 64 | 0.0019512 | 0.00048901 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-2_0_3_load_64 | 65 | 0.00090849 | 0.00022769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-2_0_3_line_0 |  | 0 | 1 | 0.033539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-2_0_3_line_1 |  | 0 | 2 | 0.033405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-2_0_3_line_2 |  | 1 | 3 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-2_0_3_line_3 |  | 2 | 4 | 0.015496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-2_0_3_line_4 |  | 2 | 5 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-2_0_3_line_5 |  | 3 | 6 | 0.035953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-2_0_3_line_6 |  | 4 | 7 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-2_0_3_line_7 |  | 5 | 8 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-2_0_3_line_8 |  | 6 | 9 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6616-2_0_3_line_9 |  | 6 | 10 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-2_0_3_line_10 |  | 7 | 11 | 0.0020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-2_0_3_line_11 |  | 8 | 12 | 0.026387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6616-2_0_3_line_12 |  | 9 | 16 | 0.039289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6616-2_0_3_line_13 |  | 10 | 13 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6616-2_0_3_line_14 |  | 11 | 18 | 0.023592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-2_0_3_line_15 |  | 12 | 22 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6616-2_0_3_line_16 |  | 13 | 14 | 0.030681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6616-2_0_3_line_17 |  | 14 | 15 | 0.039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-2_0_3_line_18 |  | 16 | 17 | 0.021183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-2_0_3_line_19 |  | 18 | 19 | 0.0024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6616-2_0_3_line_20 |  | 19 | 20 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-2_0_3_line_21 |  | 19 | 21 | 0.026395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-2_0_3_line_22 |  | 21 | 28 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-2_0_3_line_23 |  | 22 | 23 | 0.051937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6616-2_0_3_line_24 |  | 23 | 36 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6616-2_0_3_line_25 |  | 24 | 25 | 0.023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-2_0_3_line_26 |  | 25 | 55 | 0.006086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6616-2_0_3_line_27 |  | 26 | 27 | 0.022825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6616-2_0_3_line_28 |  | 26 | 28 | 0.030133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-2_0_3_line_29 |  | 27 | 29 | 0.026441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-2_0_3_line_30 |  | 28 | 30 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6616-2_0_3_line_31 |  | 29 | 31 | 0.010911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-2_0_3_line_32 |  | 30 | 32 | 0.008852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6616-2_0_3_line_33 |  | 30 | 33 | 0.026086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6616-2_0_3_line_34 |  | 32 | 34 | 0.023758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6616-2_0_3_line_35 |  | 34 | 45 | 0.0048207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6616-2_0_3_line_36 |  | 35 | 36 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6616-2_0_3_line_37 |  | 37 | 38 | 0.0055458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-2_0_3_line_38 |  | 37 | 39 | 0.0051199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-2_0_3_line_39 |  | 38 | 40 | 0.019753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-2_0_3_line_40 |  | 39 | 41 | 0.037868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6616-2_0_3_line_41 |  | 40 | 42 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-2_0_3_line_42 |  | 41 | 43 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-2_0_3_line_43 |  | 43 | 44 | 0.01615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-2_0_3_line_44 |  | 43 | 45 | 0.025932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6616-2_0_3_line_45 |  | 44 | 49 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-2_0_3_line_46 |  | 46 | 47 | 0.0015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-2_0_3_line_47 |  | 46 | 48 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-2_0_3_line_48 |  | 48 | 49 | 0.0080102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6616-2_0_3_line_49 |  | 48 | 50 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6616-2_0_3_line_50 |  | 50 | 51 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6616-2_0_3_line_51 |  | 51 | 54 | 0.0040443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-2_0_3_line_52 |  | 52 | 53 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6616-2_0_3_line_53 |  | 53 | 62 | 0.029701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6616-2_0_3_line_54 |  | 53 | 54 | 0.011954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-2_0_3_line_55 |  | 53 | 61 | 0.067941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-2_0_3_line_56 |  | 55 | 56 | 0.002705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6616-2_0_3_line_57 |  | 56 | 57 | 0.070308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6616-2_0_3_line_58 |  | 57 | 58 | 0.0086661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6616-2_0_3_line_59 |  | 58 | 65 | 0.0017155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-2_0_3_line_60 |  | 59 | 60 | 0.0034568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-2_0_3_line_61 |  | 59 | 61 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-2_0_3_line_62 |  | 62 | 63 | 0.0077068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-2_0_3_line_63 |  | 63 | 64 | 0.009598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-2_0_3_line_64 |  | 64 | 65 | 0.0087799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-2_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 66 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2504119.8859 | 1121634.2406 | 2504094.194 | 1121612.6812
1 | 2504145.4701 | 1121655.7186 | 2504140.8414 | 1121651.823 | 2504134.6491 | 1121646.6291 | 2504119.8859 | 1121634.2406
2 | 2504094.194 | 1121612.6812 | 2504093.273 | 1121611.9084 | 2504087.6961 | 1121608.0612 | 2504085.6016 | 1121606.8493 | 2504084.574 | 1121606.2652 | 2504081.9273 | 1121605.3204
3 | 2504145.4701 | 1121655.7186 | 2504153.4076 | 1121652.2684 | 2504159.0391 | 1121649.8332 | 2504159.6701 | 1121649.5177
4 | 2504145.4701 | 1121655.7186 | 2504140.5991 | 1121676.9438
5 | 2504051.7005 | 1121620.2287 | 2504053.3374 | 1121617.8902 | 2504056.2578 | 1121614.7641 | 2504058.9884 | 1121612.3082 | 2504062.146 | 1121609.5453 | 2504064.6594 | 1121607.9933 | 2504065.6296 | 1121607.3887 | 2504069.1067 | 1121605.7992 | 2504073.0558 | 1121604.7804 | 2504076.9482 | 1121604.5629 | 2504081.1448 | 1121605.0411 | 2504081.9273 | 1121605.3204
6 | 2504159.6701 | 1121649.5177 | 2504175.7359 | 1121641.4837
7 | 2504136.5594 | 1121694.5461 | 2504140.5991 | 1121676.9438
8 | 2504051.7005 | 1121620.2287 | 2504045.096 | 1121611.4281 | 2504041.4789 | 1121601.494
9 | 2504051.7005 | 1121620.2287 | 2504049.0388 | 1121625.5631 | 2504045.8768 | 1121632.9067 | 2504043.8274 | 1121637.9312 | 2504043.3597 | 1121639.0838 | 2504042.1757 | 1121643.2273 | 2504041.8864 | 1121644.6588
10 | 2504177.6085 | 1121640.5473 | 2504175.7359 | 1121641.4837
11 | 2504129.8279 | 1121720.0213 | 2504130.505 | 1121718.4944 | 2504132.648 | 1121711.5895 | 2504136.5594 | 1121694.5461
12 | 2504028.0371 | 1121564.5759 | 2504031.496 | 1121574.0766 | 2504041.4789 | 1121601.494
13 | 2504041.8864 | 1121644.6588 | 2504040.8883 | 1121649.5961 | 2504040.2711 | 1121654.4533 | 2504040.2024 | 1121655.0021
14 | 2504198.7119 | 1121630.0011 | 2504178.3266 | 1121640.1883 | 2504177.6085 | 1121640.5473
15 | 2504118.2842 | 1121731.0454 | 2504121.2405 | 1121729.7037 | 2504123.7972 | 1121727.9621 | 2504125.6382 | 1121726.3319 | 2504127.4804 | 1121724.2904 | 2504129.075 | 1121721.7191 | 2504129.8279 | 1121720.0213
16 | 2504040.2024 | 1121655.0021 | 2504039.9767 | 1121656.8039 | 2504039.7754 | 1121665.5013 | 2504040.2479 | 1121674.3659 | 2504040.8875 | 1121678.6917 | 2504041.112 | 1121680.2002 | 2504042.2218 | 1121685.4747 | 2504042.2218 | 1121685.4747
17 | 2504042.2218 | 1121685.4747 | 2504045.3073 | 1121692.7413 | 2504049.5185 | 1121700.9462 | 2504052.9408 | 1121706.1062 | 2504057.7973 | 1121712.1995 | 2504063.2923 | 1121718.3704
18 | 2504028.0371 | 1121564.5759 | 2504020.79 | 1121544.6707
19 | 2504200.913 | 1121628.9012 | 2504198.7119 | 1121630.0011
20 | 2504200.913 | 1121628.9012 | 2504202.3411 | 1121632.8476 | 2504202.3703 | 1121636.6384 | 2504196.1439 | 1121640.9619 | 2504194.7608 | 1121642.2846
21 | 2504200.913 | 1121628.9012 | 2504201.4105 | 1121628.6487 | 2504222.2979 | 1121618.2114 | 2504224.4686 | 1121616.9979
22 | 2504237.2705 | 1121610.3471 | 2504231.8563 | 1121612.8678 | 2504224.4686 | 1121616.9979
23 | 2504118.2842 | 1121731.0454 | 2504104.8938 | 1121781.2267
24 | 2504104.8938 | 1121781.2267 | 2504102.314 | 1121781.0243 | 2504100.0355 | 1121780.8492 | 2504093.2376 | 1121779.7786 | 2504090.0062 | 1121779.8299 | 2504086.9523 | 1121780.3787 | 2504083.8606 | 1121781.4617 | 2504080.3753 | 1121783.018 | 2504079.4578 | 1121783.5169
25 | 2504213.8119 | 1121764.68 | 2504210.4856 | 1121763.1318 | 2504202.851 | 1121760.3733 | 2504199.0124 | 1121759.6003 | 2504196.3022 | 1121759.4432 | 2504191.5929 | 1121759.7068
26 | 2504213.8119 | 1121764.68 | 2504215.5555 | 1121758.8488
27 | 2504200.749 | 1121572.0026 | 2504210.104 | 1121581.4042 | 2504216.6667 | 1121588.359
28 | 2504237.2705 | 1121610.3471 | 2504225.6398 | 1121597.8682 | 2504216.6667 | 1121588.359
29 | 2504181.5169 | 1121553.8625 | 2504196.5339 | 1121567.7664 | 2504200.749 | 1121572.0026
30 | 2504237.2705 | 1121610.3471 | 2504250.4896 | 1121622.7787
31 | 2504181.5169 | 1121553.8625 | 2504170.9655 | 1121551.0836
32 | 2504256.6845 | 1121629.1178 | 2504250.4896 | 1121622.7787
33 | 2504250.4896 | 1121622.7787 | 2504246.3527 | 1121627.0357 | 2504261.275 | 1121640.5761
34 | 2504256.6845 | 1121629.1178 | 2504261.1079 | 1121624.923 | 2504264.5322 | 1121621.9447 | 2504270.243 | 1121619.1526 | 2504276.3224 | 1121616.1806
35 | 2504276.3224 | 1121616.1806 | 2504278.258 | 1121615.2344 | 2504280.6524 | 1121614.0616
36 | 2504066.096 | 1121790.7827 | 2504079.4578 | 1121783.5169
37 | 2504284.3944 | 1121547.5281 | 2504282.5473 | 1121542.2988
38 | 2504284.3944 | 1121547.5281 | 2504286.0996 | 1121552.3556
39 | 2504276.6112 | 1121523.4598 | 2504281.911 | 1121540.4974 | 2504282.5473 | 1121542.2988
40 | 2504286.0996 | 1121552.3556 | 2504298.7115 | 1121588.0613
41 | 2504276.6112 | 1121523.4598 | 2504283.7578 | 1121520.7227 | 2504292.8207 | 1121517.2497
42 | 2504303.7021 | 1121602.1903 | 2504298.7115 | 1121588.0613
43 | 2504303.7021 | 1121602.1903 | 2504306.0713 | 1121610.0354 | 2504308.3711 | 1121617.6502
44 | 2504303.7021 | 1121602.1903 | 2504289.9481 | 1121609.5569 | 2504280.8148 | 1121613.982 | 2504280.6524 | 1121614.0616
45 | 2504308.3711 | 1121617.6502 | 2504313.5169 | 1121634.6881
46 | 2504304.4435 | 1121651.5247 | 2504303.2188 | 1121652.5106
47 | 2504315.8328 | 1121642.3562 | 2504304.4435 | 1121651.5247
48 | 2504315.8328 | 1121642.3562 | 2504313.5169 | 1121634.6881
49 | 2504315.8328 | 1121642.3562 | 2504318.0285 | 1121648.9922 | 2504322.4376 | 1121661.4479
50 | 2504322.4376 | 1121661.4479 | 2504325.4016 | 1121669.8216 | 2504326.0831 | 1121672.4235 | 2504326.0831 | 1121672.4235
51 | 2504326.1888 | 1121676.4587 | 2504326.2615 | 1121675.8895 | 2504326.0831 | 1121672.4235
52 | 2504322.3578 | 1121687.5695 | 2504310.9282 | 1121677.0551 | 2504308.7868 | 1121675.1636
53 | 2504322.3578 | 1121687.5695 | 2504315.4292 | 1121700.6539 | 2504311.1179 | 1121706.081 | 2504306.3564 | 1121712.4657
54 | 2504322.3578 | 1121687.5695 | 2504325.5134 | 1121681.7494 | 2504326.1888 | 1121676.4587
55 | 2504322.3578 | 1121687.5695 | 2504331.4412 | 1121693.6406 | 2504335.1004 | 1121696.7291 | 2504354.7029 | 1121713.796 | 2504360.1399 | 1121707.3616 | 2504368.3417 | 1121697.2146 | 2504369.9761 | 1121695.1986 | 2504371.4631 | 1121693.6185
56 | 2504216.3321 | 1121756.2572 | 2504215.5555 | 1121758.8488
57 | 2504285.2054 | 1121742.1244 | 2504216.3321 | 1121756.2572
58 | 2504285.2054 | 1121742.1244 | 2504289.6467 | 1121734.6828
59 | 2504289.6467 | 1121734.6828 | 2504290.6936 | 1121733.3239
60 | 2504370.088 | 1121681.3105 | 2504371.6666 | 1121680.1515 | 2504372.9501 | 1121679.3783
61 | 2504371.4631 | 1121693.6185 | 2504369.1054 | 1121686.974 | 2504368.7186 | 1121685.4458 | 2504368.9605 | 1121683.1851 | 2504370.088 | 1121681.3105 | 2504370.088 | 1121681.3105
62 | 2504301.7491 | 1121718.6438 | 2504306.3564 | 1121712.4657
63 | 2504301.7491 | 1121718.6438 | 2504296.0113 | 1121726.3378
64 | 2504296.0113 | 1121726.3378 | 2504294.0687 | 1121728.9427 | 2504290.6936 | 1121733.3239

## bus_geodata
| x | y | coords
0 | 2504119.8859 | 1121634.2406
1 | 2504094.194 | 1121612.6813
2 | 2504145.4701 | 1121655.7186
3 | 2504081.9273 | 1121605.3204
4 | 2504159.6701 | 1121649.5177
5 | 2504140.5991 | 1121676.9438
6 | 2504051.7005 | 1121620.2287
7 | 2504175.7359 | 1121641.4837
8 | 2504136.5594 | 1121694.5461
9 | 2504041.4789 | 1121601.494
10 | 2504041.8864 | 1121644.6588
11 | 2504177.6085 | 1121640.5473
12 | 2504129.8279 | 1121720.0213
13 | 2504040.2024 | 1121655.0021
14 | 2504042.2218 | 1121685.4747
15 | 2504063.2923 | 1121718.3704
16 | 2504028.0371 | 1121564.5759
17 | 2504020.79 | 1121544.6707
18 | 2504198.7119 | 1121630.0011
19 | 2504200.913 | 1121628.9012
20 | 2504194.7608 | 1121642.2846
21 | 2504224.4686 | 1121616.9979
22 | 2504118.2842 | 1121731.0454
23 | 2504104.8938 | 1121781.2267
24 | 2504191.5929 | 1121759.7068
25 | 2504213.8119 | 1121764.68
26 | 2504216.6667 | 1121588.359
27 | 2504200.749 | 1121572.0026
28 | 2504237.2705 | 1121610.3471
29 | 2504181.5169 | 1121553.8625
30 | 2504250.4896 | 1121622.7787
31 | 2504170.9655 | 1121551.0836
32 | 2504256.6845 | 1121629.1178
33 | 2504261.275 | 1121640.5761
34 | 2504276.3224 | 1121616.1806
35 | 2504066.096 | 1121790.7827
36 | 2504079.4578 | 1121783.5169
37 | 2504284.3944 | 1121547.5281
38 | 2504282.5473 | 1121542.2988
39 | 2504286.0996 | 1121552.3556
40 | 2504276.6112 | 1121523.4598
41 | 2504298.7115 | 1121588.0613
42 | 2504292.8207 | 1121517.2497
43 | 2504303.7021 | 1121602.1903
44 | 2504308.3711 | 1121617.6502
45 | 2504280.6524 | 1121614.0616
46 | 2504304.4435 | 1121651.5247
47 | 2504303.2188 | 1121652.5106
48 | 2504315.8328 | 1121642.3562
49 | 2504313.5169 | 1121634.6881
50 | 2504322.4376 | 1121661.4479
51 | 2504326.0831 | 1121672.4235
52 | 2504308.7868 | 1121675.1636
53 | 2504322.3578 | 1121687.5695
54 | 2504326.1888 | 1121676.4587
55 | 2504215.5555 | 1121758.8488
56 | 2504216.3321 | 1121756.2572
57 | 2504285.2054 | 1121742.1244
58 | 2504289.6467 | 1121734.6828
59 | 2504370.088 | 1121681.3105
60 | 2504372.9501 | 1121679.3783
61 | 2504371.4631 | 1121693.6185
62 | 2504306.3564 | 1121712.4657
63 | 2504301.7491 | 1121718.6438
64 | 2504296.0113 | 1121726.3378
65 | 2504290.6936 | 1121733.3239
66 | 2504264.7775 | 1121643.7542

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1