## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6616-3_0_5_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_6616-3_0_5_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_6616-3_0_5_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_6616-3_0_5_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6616-3_0_5_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_6616-3_0_5_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_6616-3_0_5_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6616-3_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6616-3_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6616-3_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6616-3_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6616-3_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6616-3_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6616-3_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6616-3_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6616-3_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6616-3_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6616-3_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6616-3_0_5_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_6616-3_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6616-3_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6616-3_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_6616-3_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6616-3_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6616-3_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_6616-3_0_5_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_6616-3_0_5_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_6616-3_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6616-3_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6616-3_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6616-3_0_5_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_6616-3_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6616-3_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6616-3_0_5_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_6616-3_0_5_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_6616-3_0_5_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_6616-3_0_5_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_6616-3_0_5_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_6616-3_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6616-3_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6616-3_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6616-3_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6616-3_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6616-3_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_6616-3_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6616-3_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6616-3_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_6616-3_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6616-3_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6616-3_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6616-3_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6616-3_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6616-3_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6616-3_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_6616-3_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6616-3_0_5_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_6616-3_0_5_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_6616-3_0_5_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_6616-3_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6616-3_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6616-3_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_6616-3_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_6616-3_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6616-3_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6616-3_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6616-3_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6616-3_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6616-3_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6616-3_0_5_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6616-3_0_5_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_6616-3_0_5_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_6616-3_0_5_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_6616-3_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6616-3_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6616-3_0_5_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6616-3_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_6616-3_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_6616-3_0_5_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6616-3_0_5_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_6616-3_0_5_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_6616-3_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6616-3_0_5_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_6616-3_0_5_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_6616-3_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_6616-3_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_6616-3_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_6616-3_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_6616-3_0_5_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_6616-3_0_5_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6616-3_0_5_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_6616-3_0_5_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_6616-3_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_6616-3_0_5_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_6616-3_0_5_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_6616-3_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_6616-3_0_5_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_6616-3_0_5_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_6616-3_0_5_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_6616-3_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_MV_459_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-3_0_5_load_0 | 0 | 0.00025645 | 6.4272e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-3_0_5_load_26 | 2 | 0.00069202 | 0.00017344 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-3_0_5_load_27 | 3 | 0.004744 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-3_0_5_load_28 | 6 | 0.027878 | 0.0069869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-3_0_5_load_2 | 7 | 0.0003287 | 8.238e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-3_0_5_load_3 | 8 | 0.0011083 | 0.00027776 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-3_0_5_load_4 | 9 | 0.00070153 | 0.00017582 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-3_0_5_load_5 | 10 | 0.00031992 | 8.0179e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-3_0_5_load_6 | 11 | 0.00043142 | 0.00010812 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-3_0_5_load_8 | 12 | 0.0014637 | 0.00036684 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-3_0_5_load_9 | 13 | 0.0037747 | 0.00094604 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-3_0_5_load_7 | 15 | 0.0040347 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-3_0_5_load_22 | 16 | 0.0010527 | 0.00026383 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-3_0_5_load_13 | 17 | 0.0029748 | 0.00074555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-3_0_5_load_23 | 18 | 0.00061383 | 0.00015384 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-3_0_5_load_11 | 19 | 0.00061319 | 0.00015368 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-3_0_5_load_10 | 21 | 0.00046649 | 0.00011691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-3_0_5_load_14 | 22 | 0.028007 | 0.0070193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-3_0_5_load_25 | 23 | 0.010584 | 0.0026526 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-3_0_5_load_15 | 24 | 0.014694 | 0.0036827 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-3_0_5_load_99 | 27 | 0.0036624 | 0.00091789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-3_0_5_load_98 | 28 | 0.030727 | 0.0077009 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-3_0_5_load_17 | 29 | 0.00090839 | 0.00022766 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-3_0_5_load_20 | 33 | 0.001131 | 0.00028346 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-3_0_5_load_84 | 35 | 0.00072794 | 0.00018244 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-3_0_5_load_94 | 37 | 0.0039904 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-3_0_5_load_95 | 38 | 0.0032656 | 0.00081844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-3_0_5_load_33 | 40 | 0.007196 | 0.0018035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-3_0_5_load_32 | 41 | 0.0033245 | 0.0008332 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-3_0_5_load_35 | 43 | 0.003058 | 0.00076642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-3_0_5_load_36 | 44 | 0.03295 | 0.0082581 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-3_0_5_load_45 | 47 | 0.0194 | 0.0048621 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-3_0_5_load_37 | 48 | 0.029479 | 0.0073882 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-3_0_5_load_42 | 53 | 0.0053364 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-3_0_5_load_44 | 54 | 0.03648 | 0.0091426 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-3_0_5_load_46 | 56 | 0.07413 | 0.018579 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-3_0_5_load_96 | 57 | 0.0033965 | 0.00085124 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-3_0_5_load_82 | 59 | 0.030713 | 0.0076973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-3_0_5_load_49 | 60 | 0.0096996 | 0.0024309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-3_0_5_load_50 | 61 | 0.0061243 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-3_0_5_load_51 | 62 | 0.031787 | 0.0079667 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-3_0_5_load_53 | 65 | 0.017808 | 0.0044631 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-3_0_5_load_56 | 66 | 0.0012224 | 0.00030636 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-3_0_5_load_57 | 67 | 0.0011275 | 0.00028257 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-3_0_5_load_58 | 68 | 0.0020045 | 0.00050238 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-3_0_5_load_59 | 69 | 0.0016698 | 0.0004185 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-3_0_5_load_63 | 70 | 0.0016179 | 0.00040547 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-3_0_5_load_85 | 71 | 0.0016443 | 0.00041211 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-3_0_5_load_87 | 72 | 0.002961 | 0.0007421 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-3_0_5_load_102 | 73 | 0.0088263 | 0.0022121 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-3_0_5_load_61 | 74 | 0.0018303 | 0.00045872 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-3_0_5_load_60 | 75 | 0.0029914 | 0.00074972 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-3_0_5_load_62 | 76 | 0.0014684 | 0.000368 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-3_0_5_load_64 | 77 | 0.00048651 | 0.00012193 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-3_0_5_load_73 | 78 | 0.0014502 | 0.00036345 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-3_0_5_load_74 | 79 | 0.0012858 | 0.00032226 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-3_0_5_load_97 | 81 | 0.0060754 | 0.0015226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-3_0_5_load_66 | 82 | 0.0021213 | 0.00053164 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-3_0_5_load_69 | 85 | 0.0039726 | 0.00099564 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-3_0_5_load_71 | 87 | 0.016218 | 0.0040645 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-3_0_5_load_72 | 88 | 0.0078168 | 0.0019591 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6616-3_0_5_load_100 | 89 | 0.0016653 | 0.00041737 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6616-3_0_5_load_89 | 91 | 0.003886 | 0.00097392 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6616-3_0_5_load_101 | 92 | 0.0089463 | 0.0022421 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6616-3_0_5_load_80 | 93 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6616-3_0_5_load_75 | 94 | 0.00085286 | 0.00021375 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6616-3_0_5_load_76 | 95 | 0.0009584 | 0.0002402 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6616-3_0_5_load_77 | 98 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6616-3_0_5_load_91 | 99 | 0.0060863 | 0.0015254 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6616-3_0_5_load_93 | 100 | 0.0018859 | 0.00047264 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-3_0_5_line_0 |  | 0 | 1 | 0.035122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-3_0_5_line_1 |  | 1 | 2 | 0.10407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-3_0_5_line_2 |  | 2 | 3 | 0.00032821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-3_0_5_line_3 |  | 3 | 9 | 0.1037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-3_0_5_line_4 |  | 4 | 5 | 0.038201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-3_0_5_line_5 |  | 4 | 6 | 0.048675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-3_0_5_line_6 |  | 5 | 40 | 0.023563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-3_0_5_line_7 |  | 7 | 8 | 0.004861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-3_0_5_line_8 |  | 7 | 9 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6616-3_0_5_line_9 |  | 8 | 10 | 0.00053107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-3_0_5_line_10 |  | 9 | 11 | 0.034946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-3_0_5_line_11 |  | 10 | 16 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6616-3_0_5_line_12 |  | 11 | 17 | 0.025341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6616-3_0_5_line_13 |  | 12 | 13 | 0.029818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6616-3_0_5_line_14 |  | 12 | 14 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-3_0_5_line_15 |  | 12 | 15 | 1.3323e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6616-3_0_5_line_16 |  | 13 | 20 | 0.026058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6616-3_0_5_line_17 |  | 14 | 22 | 0.036542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-3_0_5_line_18 |  | 14 | 21 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-3_0_5_line_19 |  | 16 | 18 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6616-3_0_5_line_20 |  | 17 | 19 | 0.028301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-3_0_5_line_21 |  | 19 | 21 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-3_0_5_line_22 |  | 20 | 23 | 0.031824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-3_0_5_line_23 |  | 23 | 25 | 0.027597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6616-3_0_5_line_24 |  | 24 | 25 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6616-3_0_5_line_25 |  | 25 | 26 | 0.030432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-3_0_5_line_26 |  | 26 | 27 | 0.051789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6616-3_0_5_line_27 |  | 26 | 28 | 0.0023109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6616-3_0_5_line_28 |  | 28 | 63 | 0.0058249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-3_0_5_line_29 |  | 29 | 30 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-3_0_5_line_30 |  | 29 | 31 | 0.021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6616-3_0_5_line_31 |  | 30 | 32 | 0.12925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-3_0_5_line_32 |  | 31 | 33 | 0.039518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6616-3_0_5_line_33 |  | 31 | 34 | 0.052823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6616-3_0_5_line_34 |  | 32 | 35 | 0.062988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6616-3_0_5_line_35 |  | 34 | 36 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6616-3_0_5_line_36 |  | 34 | 37 | 0.035302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6616-3_0_5_line_37 |  | 35 | 71 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-3_0_5_line_38 |  | 35 | 68 | 0.070855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-3_0_5_line_39 |  | 36 | 38 | 0.033659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-3_0_5_line_40 |  | 36 | 39 | 0.007002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6616-3_0_5_line_41 |  | 39 | 93 | 0.016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6616-3_0_5_line_42 |  | 39 | 98 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-3_0_5_line_43 |  | 40 | 41 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-3_0_5_line_44 |  | 41 | 42 | 0.024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-3_0_5_line_45 |  | 42 | 43 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-3_0_5_line_46 |  | 42 | 44 | 0.022674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-3_0_5_line_47 |  | 44 | 45 | 0.0094734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-3_0_5_line_48 |  | 45 | 46 | 0.009376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6616-3_0_5_line_49 |  | 45 | 47 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6616-3_0_5_line_50 |  | 46 | 60 | 0.0087673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6616-3_0_5_line_51 |  | 47 | 56 | 0.0071037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6616-3_0_5_line_52 |  | 48 | 49 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6616-3_0_5_line_53 |  | 48 | 50 | 0.012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6616-3_0_5_line_54 |  | 49 | 51 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-3_0_5_line_55 |  | 50 | 52 | 0.004734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-3_0_5_line_56 |  | 50 | 53 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6616-3_0_5_line_57 |  | 51 | 54 | 0.022391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6616-3_0_5_line_58 |  | 52 | 55 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6616-3_0_5_line_59 |  | 52 | 56 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6616-3_0_5_line_60 |  | 53 | 57 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-3_0_5_line_61 |  | 55 | 58 | 0.039977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6616-3_0_5_line_62 |  | 55 | 59 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-3_0_5_line_63 |  | 58 | 80 | 0.035622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6616-3_0_5_line_64 |  | 58 | 81 | 0.029468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6616-3_0_5_line_65 |  | 60 | 61 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6616-3_0_5_line_66 |  | 61 | 62 | 0.0085951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6616-3_0_5_line_67 |  | 62 | 63 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-3_0_5_line_68 |  | 63 | 64 | 0.008714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-3_0_5_line_69 |  | 64 | 65 | 0.024466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-3_0_5_line_70 |  | 66 | 67 | 0.029224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-3_0_5_line_71 |  | 66 | 68 | 0.005983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-3_0_5_line_72 |  | 67 | 69 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-3_0_5_line_73 |  | 69 | 70 | 0.00013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-3_0_5_line_74 |  | 70 | 74 | 0.016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-3_0_5_line_75 |  | 71 | 72 | 0.0045221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-3_0_5_line_76 |  | 72 | 73 | 0.074974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-3_0_5_line_77 |  | 74 | 75 | 0.031286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6616-3_0_5_line_78 |  | 75 | 76 | 0.00056095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6616-3_0_5_line_79 |  | 76 | 77 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6616-3_0_5_line_80 |  | 77 | 78 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6616-3_0_5_line_81 |  | 78 | 79 | 0.0037993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6616-3_0_5_line_82 |  | 79 | 94 | 0.025114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6616-3_0_5_line_83 |  | 80 | 91 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6616-3_0_5_line_84 |  | 80 | 86 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6616-3_0_5_line_85 |  | 82 | 83 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6616-3_0_5_line_86 |  | 82 | 84 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6616-3_0_5_line_87 |  | 83 | 85 | 0.022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6616-3_0_5_line_88 |  | 83 | 86 | 0.021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6616-3_0_5_line_89 |  | 84 | 87 | 0.062532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6616-3_0_5_line_90 |  | 84 | 88 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6616-3_0_5_line_91 |  | 86 | 89 | 0.029587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6616-3_0_5_line_92 |  | 88 | 90 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_6616-3_0_5_line_93 |  | 89 | 92 | 0.0043714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6616-3_0_5_line_94 |  | 90 | 93 | 0.028779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_6616-3_0_5_line_95 |  | 94 | 95 | 0.00030033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6616-3_0_5_line_96 |  | 95 | 96 | 0.037198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6616-3_0_5_line_97 |  | 96 | 97 | 0.007514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6616-3_0_5_line_98 |  | 97 | 99 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6616-3_0_5_line_99 |  | 99 | 100 | 0.022703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-3_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 101 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2504051.7005 | 1121620.2287 | 2504053.3374 | 1121617.8902 | 2504056.2578 | 1121614.7641 | 2504058.9884 | 1121612.3082 | 2504062.146 | 1121609.5453 | 2504064.6594 | 1121607.9933 | 2504065.6296 | 1121607.3887 | 2504069.1067 | 1121605.7992 | 2504073.0558 | 1121604.7804 | 2504076.9482 | 1121604.5629 | 2504081.1448 | 1121605.0411
1 | 2504013.1117 | 1121523.5808 | 2504051.7005 | 1121620.2287
2 | 2504013.1117 | 1121523.5808 | 2504012.9995 | 1121523.2724
3 | 2503973.7336 | 1121427.2969 | 2504012.9995 | 1121523.2724
4 | 2504213.8533 | 1121533.7156 | 2504203.9827 | 1121538.8418 | 2504198.1598 | 1121541.8581 | 2504181.5169 | 1121553.8625
5 | 2504181.5169 | 1121553.8625 | 2504182.8521 | 1121544.1688 | 2504180.5966 | 1121540.102 | 2504170.4143 | 1121526.544 | 2504163.4962 | 1121516.4475 | 2504160.8191 | 1121512.1716
6 | 2504213.8533 | 1121533.7156 | 2504234.7729 | 1121522.8729
7 | 2503961.4433 | 1121432.0685 | 2503961.4433 | 1121432.0685 | 2503957.9634 | 1121433.0022 | 2503957.1031 | 1121433.2382 | 2503956.7497 | 1121433.333
8 | 2503961.4433 | 1121432.0685 | 2503973.7336 | 1121427.2969
9 | 2503956.7497 | 1121433.333 | 2503956.2368 | 1121433.4707
10 | 2503973.7336 | 1121427.2969 | 2503980.0752 | 1121424.8348 | 2503989.4201 | 1121421.0952 | 2504006.2006 | 1121414.3705
11 | 2503956.2368 | 1121433.4707 | 2503955.2978 | 1121433.7227 | 2503951.3942 | 1121434.6964 | 2503948.3953 | 1121434.8331 | 2503945.7563 | 1121434.7972 | 2503934.9915 | 1121434.0793
12 | 2504029.7229 | 1121404.9441 | 2504006.2006 | 1121414.3705
13 | 2504129.6838 | 1121362.6246 | 2504114.9783 | 1121368.6261 | 2504111.0533 | 1121355.2548
14 | 2504111.0533 | 1121355.2548 | 2504089.6398 | 1121381.0689
15 | 2504111.0495 | 1121355.242 | 2504111.0533 | 1121355.2548
16 | 2504153.8103 | 1121352.7784 | 2504129.6838 | 1121362.6246
17 | 2504089.6398 | 1121381.0689 | 2504117.0395 | 1121405.2472
18 | 2504089.6398 | 1121381.0689 | 2504067.9261 | 1121389.682
19 | 2503909.0939 | 1121451.6568 | 2503912.1286 | 1121447.9507 | 2503920.6262 | 1121438.4765 | 2503922.9399 | 1121436.4941 | 2503925.1362 | 1121435.3696 | 2503928.1144 | 1121434.4217 | 2503931.3225 | 1121433.8593 | 2503933.6932 | 1121433.9995 | 2503934.8515 | 1121434.07 | 2503934.9915 | 1121434.0793
20 | 2504029.7229 | 1121404.9441 | 2504055.9925 | 1121394.4167
21 | 2504067.9261 | 1121389.682 | 2504056.2674 | 1121394.3065 | 2504055.9925 | 1121394.4167
22 | 2504153.8103 | 1121352.7784 | 2504158.5145 | 1121365.3115 | 2504167.6766 | 1121379.2193 | 2504168.7835 | 1121380.617
23 | 2504186.2445 | 1121401.9834 | 2504177.4935 | 1121391.6157 | 2504168.7835 | 1121380.617
24 | 2504186.2445 | 1121401.9834 | 2504177.8794 | 1121405.7294 | 2504174.3224 | 1121407.2054
25 | 2504186.2445 | 1121401.9834 | 2504197.8935 | 1121414.1285 | 2504208.6121 | 1121422.5749
26 | 2504208.6121 | 1121422.5749 | 2504203.0714 | 1121428.811 | 2504191.9252 | 1121437.1816 | 2504165.8402 | 1121451.1925
27 | 2504208.6121 | 1121422.5749 | 2504210.4272 | 1121424.0051
28 | 2504215.0025 | 1121427.6101 | 2504210.4272 | 1121424.0051
29 | 2504305.3097 | 1121170.3001 | 2504289.0847 | 1121192.682
30 | 2504276.5288 | 1121210.0023 | 2504289.0847 | 1121192.682
31 | 2504305.3097 | 1121170.3001 | 2504434.1256 | 1121180.8692
32 | 2504276.5288 | 1121210.0023 | 2504286.6977 | 1121217.8239 | 2504306.9643 | 1121235.1899
33 | 2504244.3719 | 1121251.826 | 2504253.0105 | 1121242.439 | 2504267.6726 | 1121222.2167 | 2504276.5288 | 1121210.0023
34 | 2504434.1256 | 1121180.8692 | 2504404.941 | 1121210.7044 | 2504391.5465 | 1121227.2041
35 | 2504225.2639 | 1121269.4728 | 2504238.388 | 1121258.3359 | 2504244.3719 | 1121251.826
36 | 2504244.3719 | 1121251.826 | 2504270.0948 | 1121276.0033
37 | 2504391.5465 | 1121227.2041 | 2504391.5465 | 1121227.2041 | 2504400.4745 | 1121237.9775
38 | 2504332.9616 | 1121267.0565 | 2504391.5465 | 1121227.2041
39 | 2504225.2639 | 1121269.4728 | 2504242.7867 | 1121287.6175 | 2504247.2617 | 1121293.4836 | 2504247.5645 | 1121294.4952
40 | 2504219.92 | 1121274.0158 | 2504225.2639 | 1121269.4728
41 | 2504219.92 | 1121274.0158 | 2504218.6107 | 1121275.1261 | 2504206.7175 | 1121284.2416
42 | 2504219.92 | 1121274.0158 | 2504230.1876 | 1121284.215
43 | 2504246.2546 | 1121516.9677 | 2504239.2112 | 1121520.5725 | 2504234.7729 | 1121522.8729
44 | 2504268.161 | 1121505.7605 | 2504261.7633 | 1121509.0305 | 2504246.2546 | 1121516.9677
45 | 2504268.161 | 1121505.7605 | 2504275.2292 | 1121520.5652
46 | 2504268.161 | 1121505.7605 | 2504267.2753 | 1121502.4503 | 2504260.8767 | 1121484.2973
47 | 2504257.7274 | 1121475.3626 | 2504260.8767 | 1121484.2973
48 | 2504257.7274 | 1121475.3626 | 2504254.0727 | 1121466.7263
49 | 2504257.7274 | 1121475.3626 | 2504268.8983 | 1121469.5105
50 | 2504254.0727 | 1121466.7263 | 2504249.8407 | 1121459.0481
51 | 2504268.8983 | 1121469.5105 | 2504275.1908 | 1121466.214
52 | 2504313.8261 | 1121484.9471 | 2504313.2219 | 1121483.8226 | 2504304.2452 | 1121469.8855
53 | 2504297.7121 | 1121459.7422 | 2504304.2452 | 1121469.8855
54 | 2504313.8261 | 1121484.9471 | 2504322.5387 | 1121501.1969 | 2504324.6134 | 1121505.0665
55 | 2504295.1494 | 1121455.7581 | 2504297.7121 | 1121459.7422
56 | 2504297.7121 | 1121459.7422 | 2504302.7033 | 1121456.8059 | 2504308.7478 | 1121456.5656 | 2504312.0062 | 1121455.105
57 | 2504324.6134 | 1121505.0665 | 2504303.7051 | 1121513.0787
58 | 2504295.1494 | 1121455.7581 | 2504284.2429 | 1121439.3318
59 | 2504295.1494 | 1121455.7581 | 2504275.1908 | 1121466.214
60 | 2504322.1758 | 1121449.5377 | 2504317.695 | 1121452.5549 | 2504312.0062 | 1121455.105
61 | 2504262.1136 | 1121406.0062 | 2504284.2429 | 1121439.3318
62 | 2504284.2429 | 1121439.3318 | 2504303.4385 | 1121425.0822
63 | 2504262.1136 | 1121406.0062 | 2504242.5169 | 1121376.2316
64 | 2504262.1136 | 1121406.0062 | 2504286.2218 | 1121389.0606
65 | 2504249.8407 | 1121459.0481 | 2504245.9628 | 1121452.0124 | 2504242.4668 | 1121447.0648 | 2504237.4539 | 1121442.6894
66 | 2504237.4539 | 1121442.6894 | 2504235.9111 | 1121441.3429 | 2504230.4386 | 1121437.7485
67 | 2504215.0025 | 1121427.6101 | 2504230.4386 | 1121437.7485
68 | 2504208.9536 | 1121433.8987 | 2504215.0025 | 1121427.6101
69 | 2504208.9536 | 1121433.8987 | 2504187.5892 | 1121445.8205
70 | 2504328.8507 | 1121271.4035 | 2504308.771 | 1121292.6365
71 | 2504328.8507 | 1121271.4035 | 2504332.9616 | 1121267.0565
72 | 2504308.771 | 1121292.6365 | 2504298.6677 | 1121303.3201
73 | 2504298.7589 | 1121303.4186 | 2504298.6677 | 1121303.3201 | 2504298.6677 | 1121303.3201
74 | 2504310.0274 | 1121315.5771 | 2504298.7589 | 1121303.4186
75 | 2504403.3599 | 1121241.4593 | 2504400.4745 | 1121237.9775
76 | 2504403.3599 | 1121241.4593 | 2504427.2509 | 1121312.5252
77 | 2504331.2943 | 1121338.5236 | 2504310.0274 | 1121315.5771
78 | 2504331.6756 | 1121338.9351 | 2504331.2943 | 1121338.5236
79 | 2504331.6756 | 1121338.9351 | 2504339.0035 | 1121346.8418 | 2504339.0035 | 1121346.8418
80 | 2504347.1995 | 1121359.6049 | 2504339.0035 | 1121346.8418
81 | 2504347.1995 | 1121359.6049 | 2504349.2525 | 1121362.8018
82 | 2504349.2525 | 1121362.8018 | 2504362.8225 | 1121383.9337
83 | 2504242.5169 | 1121376.2316 | 2504259.1721 | 1121364.5489
84 | 2504242.5169 | 1121376.2316 | 2504234.6978 | 1121365.7602
85 | 2504221.7319 | 1121348.4105 | 2504214.1246 | 1121339.033
86 | 2504205.3652 | 1121328.2352 | 2504214.1246 | 1121339.033
87 | 2504221.7319 | 1121348.4105 | 2504239.9806 | 1121335.3258
88 | 2504221.7319 | 1121348.4105 | 2504234.6978 | 1121365.7602
89 | 2504205.3652 | 1121328.2352 | 2504176.2347 | 1121348.7205 | 2504191.7907 | 1121370.7986
90 | 2504205.3652 | 1121328.2352 | 2504194.7995 | 1121315.2124
91 | 2504234.6978 | 1121365.7602 | 2504214.5171 | 1121375.0856 | 2504213.3754 | 1121377.5274 | 2504215.0763 | 1121381.866
92 | 2504183.8759 | 1121301.7484 | 2504194.7995 | 1121315.2124
93 | 2504216.6718 | 1121385.9359 | 2504215.0763 | 1121381.866
94 | 2504183.8759 | 1121301.7484 | 2504206.7175 | 1121284.2416
95 | 2504362.9848 | 1121384.1864 | 2504362.8225 | 1121383.9337
96 | 2504383.0846 | 1121415.4866 | 2504362.9848 | 1121384.1864
97 | 2504383.0846 | 1121415.4866 | 2504375.5485 | 1121415.5614
98 | 2504375.5485 | 1121415.5614 | 2504372.091 | 1121417.9175 | 2504370.0051 | 1121422.6089 | 2504367.3856 | 1121424.5556
99 | 2504348.2812 | 1121436.7946 | 2504363.5848 | 1121427.3801 | 2504367.3856 | 1121424.5556

## bus_geodata
| x | y | coords
0 | 2504081.1448 | 1121605.0411
1 | 2504051.7005 | 1121620.2287
2 | 2504013.1117 | 1121523.5808
3 | 2504012.9995 | 1121523.2724
4 | 2504181.5169 | 1121553.8625
5 | 2504213.8533 | 1121533.7156
6 | 2504160.8191 | 1121512.1716
7 | 2503961.4433 | 1121432.0685
8 | 2503956.7497 | 1121433.333
9 | 2503973.7336 | 1121427.2969
10 | 2503956.2368 | 1121433.4707
11 | 2504006.2006 | 1121414.3705
12 | 2504111.0533 | 1121355.2548
13 | 2504129.6838 | 1121362.6246
14 | 2504089.6398 | 1121381.0689
15 | 2504111.0495 | 1121355.242
16 | 2503934.9915 | 1121434.0793
17 | 2504029.7229 | 1121404.9441
18 | 2503909.0939 | 1121451.6568
19 | 2504055.9925 | 1121394.4167
20 | 2504153.8103 | 1121352.7784
21 | 2504067.9261 | 1121389.682
22 | 2504117.0395 | 1121405.2472
23 | 2504168.7835 | 1121380.617
24 | 2504174.3224 | 1121407.2054
25 | 2504186.2445 | 1121401.9834
26 | 2504208.6121 | 1121422.5749
27 | 2504165.8402 | 1121451.1925
28 | 2504210.4272 | 1121424.0051
29 | 2504289.0847 | 1121192.682
30 | 2504305.3097 | 1121170.3001
31 | 2504276.5288 | 1121210.0023
32 | 2504434.1256 | 1121180.8692
33 | 2504306.9643 | 1121235.1899
34 | 2504244.3719 | 1121251.826
35 | 2504391.5465 | 1121227.2041
36 | 2504225.2639 | 1121269.4728
37 | 2504270.0948 | 1121276.0033
38 | 2504247.5645 | 1121294.4952
39 | 2504219.92 | 1121274.0158
40 | 2504234.7729 | 1121522.8729
41 | 2504246.2546 | 1121516.9677
42 | 2504268.161 | 1121505.7605
43 | 2504275.2292 | 1121520.5652
44 | 2504260.8767 | 1121484.2973
45 | 2504257.7274 | 1121475.3626
46 | 2504254.0727 | 1121466.7263
47 | 2504268.8983 | 1121469.5105
48 | 2504304.2452 | 1121469.8855
49 | 2504313.8261 | 1121484.9471
50 | 2504297.7121 | 1121459.7422
51 | 2504324.6134 | 1121505.0665
52 | 2504295.1494 | 1121455.7581
53 | 2504312.0062 | 1121455.105
54 | 2504303.7051 | 1121513.0787
55 | 2504284.2429 | 1121439.3318
56 | 2504275.1908 | 1121466.214
57 | 2504322.1758 | 1121449.5377
58 | 2504262.1136 | 1121406.0062
59 | 2504303.4385 | 1121425.0822
60 | 2504249.8407 | 1121459.0481
61 | 2504237.4539 | 1121442.6894
62 | 2504230.4386 | 1121437.7485
63 | 2504215.0025 | 1121427.6101
64 | 2504208.9536 | 1121433.8987
65 | 2504187.5892 | 1121445.8205
66 | 2504328.8507 | 1121271.4035
67 | 2504308.771 | 1121292.6365
68 | 2504332.9616 | 1121267.0565
69 | 2504298.6677 | 1121303.3201
70 | 2504298.7589 | 1121303.4186
71 | 2504400.4745 | 1121237.9775
72 | 2504403.3599 | 1121241.4593
73 | 2504427.2509 | 1121312.5252
74 | 2504310.0274 | 1121315.5771
75 | 2504331.2943 | 1121338.5236
76 | 2504331.6756 | 1121338.9351
77 | 2504339.0035 | 1121346.8418
78 | 2504347.1995 | 1121359.6049
79 | 2504349.2525 | 1121362.8018
80 | 2504242.5169 | 1121376.2316
81 | 2504286.2218 | 1121389.0606
82 | 2504214.1246 | 1121339.033
83 | 2504221.7319 | 1121348.4105
84 | 2504205.3652 | 1121328.2352
85 | 2504239.9806 | 1121335.3258
86 | 2504234.6978 | 1121365.7602
87 | 2504191.7907 | 1121370.7986
88 | 2504194.7995 | 1121315.2124
89 | 2504215.0763 | 1121381.866
90 | 2504183.8759 | 1121301.7484
91 | 2504259.1721 | 1121364.5489
92 | 2504216.6718 | 1121385.9359
93 | 2504206.7175 | 1121284.2416
94 | 2504362.8225 | 1121383.9337
95 | 2504362.9848 | 1121384.1864
96 | 2504383.0846 | 1121415.4866
97 | 2504375.5485 | 1121415.5614
98 | 2504230.1876 | 1121284.215
99 | 2504367.3856 | 1121424.5556
100 | 2504348.2812 | 1121436.7946
101 | 2504237.4539 | 1121442.6894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1