## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6616-6_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6616-6_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6616-6_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6616-6_0_4_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_6616-6_0_4_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_6616-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6616-6_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6616-6_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6616-6_0_4_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_6616-6_0_4_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_6616-6_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_6616-6_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_6616-6_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6616-6_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6616-6_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_6616-6_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_6616-6_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6616-6_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6616-6_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6616-6_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_6616-6_0_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_6616-6_0_4_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_6616-6_0_4_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_6616-6_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_6616-6_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6616-6_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6616-6_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6616-6_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6616-6_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6616-6_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6616-6_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6616-6_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6616-6_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6616-6_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6616-6_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6616-6_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6616-6_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6616-6_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6616-6_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6616-6_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6616-6_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_6616-6_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_6616-6_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6616-6_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_6616-6_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6616-6_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6616-6_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_6616-6_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6616-6_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6616-6_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6616-6_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_6616-6_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6616-6_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6616-6_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6616-6_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6616-6_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_6616-6_0_4_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_6616-6_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6616-6_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_6616-6_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_6616-6_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_6616-6_0_4_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_6616-6_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6616-6_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6616-6_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6616-6_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6616-6_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6616-6_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_6616-6_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6616-6_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_6616-6_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_6616-6_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6616-6_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6616-6_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6616-6_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6616-6_0_4_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_6616-6_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_6616-6_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_6616-6_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6616-6_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_6616-6_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_6616-6_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_MV_459_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-6_0_4_load_0 | 0 | 0.018065 | 0.0045275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-6_0_4_load_5 | 2 | 0.020664 | 0.0051788 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-6_0_4_load_80 | 5 | 0.0054043 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-6_0_4_load_88 | 6 | 0.0043418 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-6_0_4_load_70 | 11 | 0.012508 | 0.0031347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-6_0_4_load_27 | 12 | 0.00057211 | 0.00014338 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-6_0_4_load_26 | 13 | 0.00062695 | 0.00015713 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-6_0_4_load_9 | 15 | 0.02117 | 0.0053058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-6_0_4_load_65 | 17 | 0.0025112 | 0.00062937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-6_0_4_load_22 | 18 | 0.0005852 | 0.00014667 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-6_0_4_load_18 | 19 | 0.0014202 | 0.00035593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-6_0_4_load_11 | 20 | 0.063313 | 0.015868 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-6_0_4_load_51 | 21 | 0.053526 | 0.013415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-6_0_4_load_74 | 23 | 0.037306 | 0.0093497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-6_0_4_load_50 | 25 | 0.030353 | 0.0076072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-6_0_4_load_14 | 26 | 0.0067864 | 0.0017008 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-6_0_4_load_25 | 29 | 0.00086524 | 0.00021685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-6_0_4_load_19 | 30 | 0.0048878 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-6_0_4_load_20 | 31 | 0.0012705 | 0.00031842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-6_0_4_load_23 | 33 | 0.0030288 | 0.0007591 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-6_0_4_load_24 | 34 | 0.0011275 | 0.00028258 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-6_0_4_load_31 | 35 | 0.00050945 | 0.00012768 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-6_0_4_load_44 | 36 | 0.00056102 | 0.0001406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-6_0_4_load_29 | 37 | 0.00046679 | 0.00011699 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-6_0_4_load_45 | 38 | 0.0012219 | 0.00030624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-6_0_4_load_28 | 39 | 0.0021913 | 0.00054919 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-6_0_4_load_30 | 40 | 0.00055614 | 0.00013938 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-6_0_4_load_32 | 41 | 0.00062424 | 0.00015645 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-6_0_4_load_49 | 42 | 0.00085578 | 0.00021448 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-6_0_4_load_62 | 43 | 0.00019645 | 4.9236e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-6_0_4_load_33 | 44 | 0.0003627 | 9.0902e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-6_0_4_load_34 | 45 | 0.00050574 | 0.00012675 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-6_0_4_load_35 | 46 | 0.00038041 | 9.5341e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-6_0_4_load_36 | 47 | 0.00060878 | 0.00015257 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-6_0_4_load_58 | 49 | 0.00045753 | 0.00011467 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-6_0_4_load_55 | 50 | 0.00040097 | 0.00010049 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-6_0_4_load_38 | 51 | 0.00079422 | 0.00019905 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-6_0_4_load_48 | 55 | 0.00056075 | 0.00014054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-6_0_4_load_63 | 57 | 0.065095 | 0.016314 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-6_0_4_load_72 | 58 | 0.047477 | 0.011899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-6_0_4_load_46 | 59 | 0.0014352 | 0.0003597 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-6_0_4_load_53 | 60 | 0.00081431 | 0.00020409 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-6_0_4_load_71 | 61 | 0.0024116 | 0.00060442 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-6_0_4_load_47 | 62 | 0.0013725 | 0.00034398 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-6_0_4_load_73 | 63 | 0.0014155 | 0.00035477 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-6_0_4_load_59 | 66 | 0.0007635 | 0.00019135 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-6_0_4_load_60 | 67 | 0.00092278 | 0.00023127 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-6_0_4_load_61 | 68 | 0.00085657 | 0.00021468 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-6_0_4_load_64 | 69 | 0.0022361 | 0.00056042 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-6_0_4_load_79 | 72 | 0.0012058 | 0.00030219 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-6_0_4_load_77 | 73 | 0.00079556 | 0.00019939 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-6_0_4_load_75 | 74 | 0.001142 | 0.00028622 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-6_0_4_load_76 | 75 | 0.00045654 | 0.00011442 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-6_0_4_load_78 | 76 | 0.00074307 | 0.00018623 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-6_0_4_load_83 | 77 | 0.00030915 | 7.7481e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-6_0_4_load_81 | 78 | 0.00015023 | 3.7651e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-6_0_4_load_82 | 79 | 0.00015531 | 3.8925e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-6_0_4_load_84 | 80 | 0.00015502 | 3.885e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-6_0_4_load_85 | 81 | 0.00017044 | 4.2717e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-6_0_4_load_86 | 82 | 0.00016036 | 4.0191e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-6_0_4_load_87 | 83 | 0.00015533 | 3.8929e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-6_0_4_line_0 |  | 0 | 1 | 0.027231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-6_0_4_line_1 |  | 1 | 2 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-6_0_4_line_2 |  | 1 | 3 | 0.023319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-6_0_4_line_3 |  | 3 | 4 | 0.037365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-6_0_4_line_4 |  | 3 | 5 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-6_0_4_line_5 |  | 4 | 6 | 0.014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-6_0_4_line_6 |  | 4 | 7 | 0.08949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-6_0_4_line_7 |  | 4 | 8 | 0.042702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-6_0_4_line_8 |  | 4 | 9 | 0.02788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6616-6_0_4_line_9 |  | 7 | 10 | 0.009326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-6_0_4_line_10 |  | 7 | 11 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-6_0_4_line_11 |  | 8 | 12 | 0.0055875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6616-6_0_4_line_12 |  | 8 | 13 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6616-6_0_4_line_13 |  | 9 | 14 | 0.068851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6616-6_0_4_line_14 |  | 9 | 15 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-6_0_4_line_15 |  | 10 | 16 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6616-6_0_4_line_16 |  | 10 | 17 | 0.054039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6616-6_0_4_line_17 |  | 12 | 18 | 0.0034912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-6_0_4_line_18 |  | 13 | 19 | 0.052109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-6_0_4_line_19 |  | 14 | 21 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6616-6_0_4_line_20 |  | 15 | 20 | 0.0039985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-6_0_4_line_21 |  | 16 | 48 | 0.007396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-6_0_4_line_22 |  | 16 | 46 | 0.0073058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-6_0_4_line_23 |  | 17 | 69 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6616-6_0_4_line_24 |  | 18 | 31 | 0.025874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6616-6_0_4_line_25 |  | 19 | 27 | 0.018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-6_0_4_line_26 |  | 21 | 25 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6616-6_0_4_line_27 |  | 22 | 23 | 0.041569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6616-6_0_4_line_28 |  | 22 | 24 | 0.078094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-6_0_4_line_29 |  | 24 | 58 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-6_0_4_line_30 |  | 25 | 64 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6616-6_0_4_line_31 |  | 26 | 27 | 0.0056743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-6_0_4_line_32 |  | 27 | 28 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6616-6_0_4_line_33 |  | 28 | 29 | 0.086664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6616-6_0_4_line_34 |  | 30 | 31 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6616-6_0_4_line_35 |  | 30 | 32 | 0.0080173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6616-6_0_4_line_36 |  | 32 | 33 | 0.03859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6616-6_0_4_line_37 |  | 32 | 34 | 0.090124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-6_0_4_line_38 |  | 33 | 35 | 0.043199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-6_0_4_line_39 |  | 34 | 36 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-6_0_4_line_40 |  | 35 | 37 | 0.0083799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6616-6_0_4_line_41 |  | 36 | 38 | 0.021199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-6_0_4_line_42 |  | 37 | 39 | 0.043665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-6_0_4_line_43 |  | 38 | 61 | 0.068563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-6_0_4_line_44 |  | 39 | 40 | 0.0072415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-6_0_4_line_45 |  | 40 | 41 | 0.043473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-6_0_4_line_46 |  | 41 | 42 | 0.0030896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-6_0_4_line_47 |  | 42 | 43 | 0.029652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-6_0_4_line_48 |  | 43 | 63 | 0.0063799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6616-6_0_4_line_49 |  | 44 | 45 | 0.0020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6616-6_0_4_line_50 |  | 44 | 46 | 0.0054727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6616-6_0_4_line_51 |  | 45 | 47 | 0.0079609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-6_0_4_line_52 |  | 48 | 49 | 0.0085856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6616-6_0_4_line_53 |  | 48 | 50 | 0.016044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6616-6_0_4_line_54 |  | 49 | 68 | 0.008825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-6_0_4_line_55 |  | 50 | 65 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-6_0_4_line_56 |  | 51 | 52 | 0.035229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6616-6_0_4_line_57 |  | 52 | 53 | 0.050742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6616-6_0_4_line_58 |  | 52 | 54 | 0.033527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6616-6_0_4_line_59 |  | 53 | 55 | 0.023332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-6_0_4_line_60 |  | 54 | 56 | 0.032319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-6_0_4_line_61 |  | 54 | 57 | 0.038313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-6_0_4_line_62 |  | 55 | 59 | 0.040496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-6_0_4_line_63 |  | 56 | 58 | 0.01917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-6_0_4_line_64 |  | 57 | 60 | 0.044403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6616-6_0_4_line_65 |  | 59 | 62 | 0.042753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6616-6_0_4_line_66 |  | 60 | 64 | 0.026092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6616-6_0_4_line_67 |  | 65 | 66 | 0.007335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-6_0_4_line_68 |  | 65 | 67 | 0.007667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-6_0_4_line_69 |  | 69 | 70 | 0.063012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-6_0_4_line_70 |  | 70 | 71 | 0.066835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-6_0_4_line_71 |  | 71 | 72 | 0.077455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-6_0_4_line_72 |  | 72 | 73 | 0.0089254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-6_0_4_line_73 |  | 73 | 74 | 0.059254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-6_0_4_line_74 |  | 74 | 75 | 0.036509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-6_0_4_line_75 |  | 75 | 76 | 0.031492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-6_0_4_line_76 |  | 76 | 77 | 0.081143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-6_0_4_line_77 |  | 77 | 81 | 0.0021538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6616-6_0_4_line_78 |  | 77 | 78 | 0.0068434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6616-6_0_4_line_79 |  | 78 | 79 | 0.00099644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6616-6_0_4_line_80 |  | 79 | 80 | 0.00099626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6616-6_0_4_line_81 |  | 80 | 82 | 0.0068903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6616-6_0_4_line_82 |  | 81 | 83 | 0.037494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-6_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 84 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2504305.0642 | 1121798.2666 | 2504299.7118 | 1121788.6121 | 2504297.0486 | 1121780.705 | 2504295.9965 | 1121772.9268
1 | 2504305.0642 | 1121798.2666 | 2504307.2106 | 1121796.9207 | 2504321.685 | 1121787.2377
2 | 2504289.6059 | 1121794.9315 | 2504293.1008 | 1121804.2041 | 2504300.0153 | 1121801.4374 | 2504305.0642 | 1121798.2666
3 | 2504289.6059 | 1121794.9315 | 2504293.1008 | 1121804.2041 | 2504295.9136 | 1121811.8087 | 2504300.8551 | 1121825.2387 | 2504305.6279 | 1121823.6288
4 | 2504289.6059 | 1121794.9315 | 2504288.0498 | 1121790.6869 | 2504285.8577 | 1121784.7225
5 | 2504317.4465 | 1121815.8592 | 2504312.9225 | 1121818.5658 | 2504307.6723 | 1121820.7169 | 2504305.6279 | 1121823.6288
6 | 2504305.6279 | 1121823.6288 | 2504300.8551 | 1121825.2387 | 2504304.1344 | 1121837.4609 | 2504310.0982 | 1121862.3484 | 2504312.9933 | 1121880.5137 | 2504314.0573 | 1121891.1923 | 2504315.107 | 1121901.949 | 2504315.3837 | 1121908.2151
7 | 2504279.5937 | 1121842.219 | 2504283.8494 | 1121841.5735 | 2504289.2287 | 1121840.7545 | 2504304.1344 | 1121837.4609 | 2504300.8551 | 1121825.2387 | 2504305.6279 | 1121823.6288
8 | 2504332.1392 | 1121817.6278 | 2504310.0168 | 1121825.0602 | 2504305.6279 | 1121823.6288
9 | 2504315.3837 | 1121908.2151 | 2504315.9245 | 1121917.5234
10 | 2504315.3837 | 1121908.2151 | 2504326.5537 | 1121912.1074 | 2504330.0912 | 1121912.8741 | 2504333.5753 | 1121913.1969 | 2504336.4527 | 1121913.1958 | 2504340.5839 | 1121912.4856 | 2504343.4534 | 1121911.9843 | 2504344.146 | 1121911.6791
11 | 2504279.5937 | 1121842.219 | 2504274.1121 | 1121843.3015
12 | 2504279.5937 | 1121842.219 | 2504269.1001 | 1121831.0441
13 | 2504332.1392 | 1121817.6278 | 2504335.3236 | 1121815.5761 | 2504339.9773 | 1121812.7785 | 2504343.273 | 1121811.4256 | 2504347.8454 | 1121810.3192 | 2504352.0045 | 1121810.3868 | 2504356.5291 | 1121811.616 | 2504370.1691 | 1121819.4939 | 2504374.1491 | 1121820.9207 | 2504380.5002 | 1121830.326 | 2504386.7109 | 1121839.6335
14 | 2504332.1392 | 1121817.6278 | 2504339.759 | 1121831.1686
15 | 2504293.3426 | 1121920.7606 | 2504305.2959 | 1121919.5595 | 2504315.9245 | 1121917.5234
16 | 2504315.9245 | 1121917.5234 | 2504318.3631 | 1121939.4982 | 2504320.6484 | 1121956.6726 | 2504320.9802 | 1121959.1133 | 2504322.7057 | 1121971.1304
17 | 2504270.6872 | 1121843.9788 | 2504272.065 | 1121843.7058 | 2504274.1121 | 1121843.3015
18 | 2504269.1001 | 1121831.0441 | 2504243.507 | 1121803.7891 | 2504239.4636 | 1121799.3394 | 2504236.4122 | 1121795.174 | 2504234.3936 | 1121792.2596
19 | 2504386.7109 | 1121839.6335 | 2504390.2811 | 1121844.9025 | 2504406.6705 | 1121869.4593
20 | 2504341.7199 | 1121834.6533 | 2504339.759 | 1121831.1686
21 | 2504293.3426 | 1121920.7606 | 2504292.7861 | 1121913.3871
22 | 2504293.3426 | 1121920.7606 | 2504293.656 | 1121928.0596
23 | 2504325.1833 | 1121987.9233 | 2504324.5177 | 1121983.7501 | 2504322.7057 | 1121971.1304
24 | 2504270.6872 | 1121843.9788 | 2504262.5524 | 1121845.5909 | 2504245.1039 | 1121847.7484
25 | 2504224.0511 | 1121776.5028 | 2504227.1844 | 1121781.4562 | 2504228.1179 | 1121782.9201 | 2504230.1436 | 1121786.1233 | 2504234.3936 | 1121792.2596
26 | 2504413.1927 | 1121879.2317 | 2504406.6705 | 1121869.4593
27 | 2504424.1406 | 1121773.8236 | 2504416.7526 | 1121782.2566 | 2504396.978 | 1121795.722 | 2504400.6904 | 1121800.9769
28 | 2504424.1406 | 1121773.8236 | 2504444.2418 | 1121791.2387 | 2504452.7888 | 1121799.0195 | 2504471.1517 | 1121815.7951 | 2504475.3045 | 1121819.8542 | 2504481.8114 | 1121826.4443
29 | 2504481.8114 | 1121826.4443 | 2504473.9724 | 1121835.6294
30 | 2504422.3611 | 1121892.9691 | 2504413.1927 | 1121879.2317
31 | 2504224.0511 | 1121776.5028 | 2504225.3406 | 1121772.6912 | 2504225.5461 | 1121771.0536
32 | 2504213.8119 | 1121764.68 | 2504215.5515 | 1121765.8977 | 2504218.1081 | 1121768.0474 | 2504220.0587 | 1121770.4068 | 2504222.6505 | 1121774.2903 | 2504224.0511 | 1121776.5028
33 | 2504213.8119 | 1121764.68 | 2504210.4856 | 1121763.1318 | 2504202.851 | 1121760.3733 | 2504199.0124 | 1121759.6003 | 2504196.3022 | 1121759.4432 | 2504191.5929 | 1121759.7068 | 2504187.5977 | 1121760.7263 | 2504182.02 | 1121762.6604 | 2504161.0105 | 1121770.7094 | 2504144.9458 | 1121776.8123 | 2504141.6079 | 1121777.9326 | 2504137.9017 | 1121779.181 | 2504131.6841 | 1121780.6471
34 | 2504245.1039 | 1121847.7484 | 2504230.7198 | 1121849.527
35 | 2504224.4741 | 1121853.7991 | 2504226.19 | 1121851.0924 | 2504229.9621 | 1121849.6207 | 2504230.7198 | 1121849.527
36 | 2504224.4741 | 1121853.7991 | 2504185.9176 | 1121855.4117
37 | 2504224.4741 | 1121853.7991 | 2504224.3312 | 1121872.5239 | 2504224.2535 | 1121882.22 | 2504223.9776 | 1121916.89 | 2504223.7259 | 1121943.9197
38 | 2504185.9176 | 1121855.4117 | 2504142.7567 | 1121857.2168
39 | 2504223.7259 | 1121943.9197 | 2504223.597 | 1121957.757
40 | 2504142.7567 | 1121857.2168 | 2504134.3842 | 1121857.567
41 | 2504223.597 | 1121957.757 | 2504223.4695 | 1121971.4538 | 2504221.7057 | 1121971.6263 | 2504216.0023 | 1121972.1763
42 | 2504090.7518 | 1121859.2469 | 2504091.8601 | 1121859.2047 | 2504128.5576 | 1121857.8107 | 2504134.3842 | 1121857.567
43 | 2504147.7562 | 1121978.7582 | 2504216.0023 | 1121972.1763
44 | 2504083.5155 | 1121859.5218 | 2504090.7518 | 1121859.2469
45 | 2504083.5155 | 1121859.5218 | 2504040.0735 | 1121861.1727
46 | 2504040.0735 | 1121861.1727 | 2504037.0838 | 1121861.2863 | 2504036.9861 | 1121861.29
47 | 2504036.9861 | 1121861.29 | 2504010.6627 | 1121862.2619 | 2504007.356 | 1121862.4257
48 | 2504002.3191 | 1121866.3414 | 2504007.356 | 1121862.4257
49 | 2504293.8907 | 1121933.5273 | 2504293.979 | 1121935.5832
50 | 2504293.8907 | 1121933.5273 | 2504293.656 | 1121928.0596
51 | 2504294.3205 | 1121943.5368 | 2504293.979 | 1121935.5832
52 | 2504292.7861 | 1121913.3871 | 2504292.3155 | 1121904.8144
53 | 2504292.7861 | 1121913.3871 | 2504276.8199 | 1121914.9643
54 | 2504291.8319 | 1121896.0026 | 2504292.3155 | 1121904.8144
55 | 2504261.0073 | 1121916.5255 | 2504264.9046 | 1121916.1413 | 2504276.8199 | 1121914.9643
56 | 2504528.5692 | 1121865.1294 | 2504538.2116 | 1121874.872 | 2504553.2413 | 1121890.2759
57 | 2504528.5692 | 1121865.1294 | 2504517.6126 | 1121875.7089 | 2504531.3701 | 1121889.5779 | 2504542.7027 | 1121900.8392
58 | 2504528.5692 | 1121865.1294 | 2504521.928 | 1121861.2653 | 2504515.5025 | 1121862.2674 | 2504513.5033 | 1121870.0037 | 2504504.6045 | 1121877.0486
59 | 2504542.7027 | 1121900.8392 | 2504539.4077 | 1121903.7041 | 2504523.3284 | 1121913.7616
60 | 2504504.6045 | 1121877.0486 | 2504485.3022 | 1121851.0932
61 | 2504504.6045 | 1121877.0486 | 2504498.456 | 1121882.3934 | 2504474.1826 | 1121898.6869 | 2504473.3979 | 1121899.1882
62 | 2504488.8144 | 1121934.9395 | 2504502.773 | 1121926.619 | 2504523.3284 | 1121913.7616
63 | 2504485.3022 | 1121851.0932 | 2504473.9724 | 1121835.6294
64 | 2504473.3979 | 1121899.1882 | 2504442.4204 | 1121918.979 | 2504437.64 | 1121917.1757 | 2504436.2877 | 1121915.0332
65 | 2504488.8144 | 1121934.9395 | 2504452.091 | 1121956.8299
66 | 2504422.3611 | 1121892.9691 | 2504436.2877 | 1121915.0332
67 | 2504261.0073 | 1121916.5255 | 2504261.455 | 1121923.8451
68 | 2504261.0073 | 1121916.5255 | 2504260.3849 | 1121908.8862
69 | 2504339.6397 | 1122049.1954 | 2504332.695 | 1122023.723 | 2504329.8465 | 1122012.3945 | 2504327.5494 | 1122002.7583 | 2504325.1833 | 1121987.9233
70 | 2504278.2405 | 1122075.2388 | 2504280.9823 | 1122073.0162 | 2504284.3726 | 1122070.8279 | 2504289.7944 | 1122067.8402 | 2504293.3604 | 1122066.0271 | 2504315.4416 | 1122057.9948 | 2504339.6397 | 1122049.1954
71 | 2504278.2405 | 1122075.2388 | 2504276.8366 | 1122073.7823 | 2504274.9683 | 1122072.7113 | 2504272.9968 | 1122071.942 | 2504270.6285 | 1122071.4459 | 2504267.1037 | 1122071.4795 | 2504263.5258 | 1122072.0476 | 2504229.2428 | 1122082.6082 | 2504216.5828 | 1122085.4327 | 2504206.0586 | 1122087.712 | 2504204.1151 | 1122088.1064
72 | 2504204.1151 | 1122088.1064 | 2504195.368 | 1122089.8818
73 | 2504137.2361 | 1122101.353 | 2504150.9639 | 1122098.7698 | 2504159.5315 | 1122097.1552 | 2504195.368 | 1122089.8818
74 | 2504137.2361 | 1122101.353 | 2504109.0868 | 1122106.6499 | 2504108.2716 | 1122106.8073 | 2504101.3625 | 1122108.1349
75 | 2504070.4009 | 1122113.8903 | 2504099.8198 | 1122108.4313 | 2504101.3625 | 1122108.1349
76 | 2504070.4009 | 1122113.8903 | 2503989.8138 | 1122104.4107
77 | 2503990.0616 | 1122102.2711 | 2503989.8138 | 1122104.4107
78 | 2503989.0265 | 1122111.2087 | 2503989.8138 | 1122104.4107
79 | 2503989.0265 | 1122111.2087 | 2503988.9118 | 1122112.1985
80 | 2503988.9118 | 1122112.1985 | 2503988.7972 | 1122113.1881
81 | 2503988.7972 | 1122113.1881 | 2503988.6505 | 1122114.4551 | 2503988.3509 | 1122120.0619
82 | 2503995.2028 | 1122065.143 | 2503992.483 | 1122081.3628 | 2503990.0616 | 1122102.2711

## bus_geodata
| x | y | coords
0 | 2504295.9965 | 1121772.9268
1 | 2504305.0642 | 1121798.2666
2 | 2504321.685 | 1121787.2377
3 | 2504289.6059 | 1121794.9315
4 | 2504305.6279 | 1121823.6288
5 | 2504285.8577 | 1121784.7225
6 | 2504317.4465 | 1121815.8592
7 | 2504315.3837 | 1121908.2151
8 | 2504279.5937 | 1121842.219
9 | 2504332.1392 | 1121817.6278
10 | 2504315.9245 | 1121917.5234
11 | 2504344.146 | 1121911.6791
12 | 2504274.1121 | 1121843.3015
13 | 2504269.1001 | 1121831.0441
14 | 2504386.7109 | 1121839.6335
15 | 2504339.759 | 1121831.1686
16 | 2504293.3426 | 1121920.7606
17 | 2504322.7057 | 1121971.1304
18 | 2504270.6872 | 1121843.9788
19 | 2504234.3936 | 1121792.2596
20 | 2504341.7199 | 1121834.6533
21 | 2504406.6705 | 1121869.4593
22 | 2504424.1406 | 1121773.8236
23 | 2504400.6904 | 1121800.9769
24 | 2504481.8114 | 1121826.4443
25 | 2504413.1927 | 1121879.2317
26 | 2504225.5461 | 1121771.0536
27 | 2504224.0511 | 1121776.5028
28 | 2504213.8119 | 1121764.68
29 | 2504131.6841 | 1121780.6471
30 | 2504230.7198 | 1121849.527
31 | 2504245.1039 | 1121847.7484
32 | 2504224.4741 | 1121853.7991
33 | 2504185.9176 | 1121855.4117
34 | 2504223.7259 | 1121943.9197
35 | 2504142.7567 | 1121857.2168
36 | 2504223.597 | 1121957.757
37 | 2504134.3842 | 1121857.567
38 | 2504216.0023 | 1121972.1763
39 | 2504090.7518 | 1121859.2469
40 | 2504083.5155 | 1121859.5218
41 | 2504040.0735 | 1121861.1727
42 | 2504036.9861 | 1121861.29
43 | 2504007.356 | 1121862.4257
44 | 2504293.8907 | 1121933.5273
45 | 2504293.979 | 1121935.5832
46 | 2504293.656 | 1121928.0596
47 | 2504294.3205 | 1121943.5368
48 | 2504292.7861 | 1121913.3871
49 | 2504292.3155 | 1121904.8144
50 | 2504276.8199 | 1121914.9643
51 | 2504553.2413 | 1121890.2759
52 | 2504528.5692 | 1121865.1294
53 | 2504542.7027 | 1121900.8392
54 | 2504504.6045 | 1121877.0486
55 | 2504523.3284 | 1121913.7616
56 | 2504485.3022 | 1121851.0932
57 | 2504473.3979 | 1121899.1882
58 | 2504473.9724 | 1121835.6294
59 | 2504488.8144 | 1121934.9395
60 | 2504436.2877 | 1121915.0332
61 | 2504147.7562 | 1121978.7582
62 | 2504452.091 | 1121956.8299
63 | 2504002.3191 | 1121866.3414
64 | 2504422.3611 | 1121892.9691
65 | 2504261.0073 | 1121916.5255
66 | 2504261.455 | 1121923.8451
67 | 2504260.3849 | 1121908.8862
68 | 2504291.8319 | 1121896.0026
69 | 2504325.1833 | 1121987.9233
70 | 2504339.6397 | 1122049.1954
71 | 2504278.2405 | 1122075.2388
72 | 2504204.1151 | 1122088.1064
73 | 2504195.368 | 1122089.8818
74 | 2504137.2361 | 1122101.353
75 | 2504101.3625 | 1122108.1349
76 | 2504070.4009 | 1122113.8903
77 | 2503989.8138 | 1122104.4107
78 | 2503989.0265 | 1122111.2087
79 | 2503988.9118 | 1122112.1985
80 | 2503988.7972 | 1122113.1881
81 | 2503990.0616 | 1122102.2711
82 | 2503988.3509 | 1122120.0619
83 | 2503995.2028 | 1122065.143
84 | 2504374.1491 | 1121820.9207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1