## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-7_1_2_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_6616-7_1_2_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_6616-7_1_2_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_6616-7_1_2_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_6616-7_1_2_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_6616-7_1_2_node_90 | 0.4 | n |  | TRUE
6 | bus_LV_6616-7_1_2_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_6616-7_1_2_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_6616-7_1_2_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_6616-7_1_2_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6616-7_1_2_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_6616-7_1_2_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_6616-7_1_2_node_147 | 0.4 | n |  | TRUE
13 | bus_LV_6616-7_1_2_node_174 | 0.4 | n |  | TRUE
14 | bus_LV_6616-7_1_2_node_129 | 0.4 | n |  | TRUE
15 | bus_LV_6616-7_1_2_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_6616-7_1_2_node_183 | 0.4 | n |  | TRUE
17 | bus_LV_6616-7_1_2_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_6616-7_1_2_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_6616-7_1_2_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_6616-7_1_2_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_6616-7_1_2_node_208 | 0.4 | n |  | TRUE
22 | bus_LV_6616-7_1_2_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_6616-7_1_2_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_6616-7_1_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_6616-7_1_2_node_137 | 0.4 | n |  | TRUE
26 | bus_LV_6616-7_1_2_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_6616-7_1_2_node_118 | 0.4 | n |  | TRUE
28 | bus_LV_6616-7_1_2_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_6616-7_1_2_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_6616-7_1_2_node_109 | 0.4 | n |  | TRUE
31 | bus_LV_6616-7_1_2_node_157 | 0.4 | n |  | TRUE
32 | bus_LV_6616-7_1_2_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_6616-7_1_2_node_112 | 0.4 | n |  | TRUE
34 | bus_LV_6616-7_1_2_node_138 | 0.4 | n |  | TRUE
35 | bus_LV_6616-7_1_2_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_6616-7_1_2_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_6616-7_1_2_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_6616-7_1_2_node_116 | 0.4 | n |  | TRUE
39 | bus_LV_6616-7_1_2_node_117 | 0.4 | n |  | TRUE
40 | bus_LV_6616-7_1_2_node_167 | 0.4 | n |  | TRUE
41 | bus_LV_6616-7_1_2_node_119 | 0.4 | n |  | TRUE
42 | bus_LV_6616-7_1_2_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_6616-7_1_2_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_6616-7_1_2_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_6616-7_1_2_node_130 | 0.4 | n |  | TRUE
46 | bus_LV_6616-7_1_2_node_136 | 0.4 | n |  | TRUE
47 | bus_LV_6616-7_1_2_node_135 | 0.4 | n |  | TRUE
48 | bus_LV_6616-7_1_2_node_171 | 0.4 | n |  | TRUE
49 | bus_LV_6616-7_1_2_node_177 | 0.4 | n |  | TRUE
50 | bus_LV_6616-7_1_2_node_175 | 0.4 | n |  | TRUE
51 | bus_LV_6616-7_1_2_node_148 | 0.4 | n |  | TRUE
52 | bus_LV_6616-7_1_2_node_139 | 0.4 | n |  | TRUE
53 | bus_LV_6616-7_1_2_node_170 | 0.4 | n |  | TRUE
54 | bus_LV_6616-7_1_2_node_168 | 0.4 | n |  | TRUE
55 | bus_LV_6616-7_1_2_node_149 | 0.4 | n |  | TRUE
56 | bus_LV_6616-7_1_2_node_152 | 0.4 | n |  | TRUE
57 | bus_LV_6616-7_1_2_node_153 | 0.4 | n |  | TRUE
58 | bus_LV_6616-7_1_2_node_154 | 0.4 | n |  | TRUE
59 | bus_LV_6616-7_1_2_node_155 | 0.4 | n |  | TRUE
60 | bus_LV_6616-7_1_2_node_156 | 0.4 | n |  | TRUE
61 | bus_LV_6616-7_1_2_node_160 | 0.4 | n |  | TRUE
62 | bus_LV_6616-7_1_2_node_162 | 0.4 | n |  | TRUE
63 | bus_LV_6616-7_1_2_node_158 | 0.4 | n |  | TRUE
64 | bus_LV_6616-7_1_2_node_159 | 0.4 | n |  | TRUE
65 | bus_LV_6616-7_1_2_node_161 | 0.4 | n |  | TRUE
66 | bus_LV_6616-7_1_2_node_163 | 0.4 | n |  | TRUE
67 | bus_LV_6616-7_1_2_node_164 | 0.4 | n |  | TRUE
68 | bus_LV_6616-7_1_2_node_169 | 0.4 | n |  | TRUE
69 | bus_LV_6616-7_1_2_node_176 | 0.4 | n |  | TRUE
70 | bus_LV_6616-7_1_2_node_178 | 0.4 | n |  | TRUE
71 | bus_LV_6616-7_1_2_node_181 | 0.4 | n |  | TRUE
72 | bus_LV_6616-7_1_2_node_182 | 0.4 | n |  | TRUE
73 | bus_LV_6616-7_1_2_node_184 | 0.4 | n |  | TRUE
74 | bus_LV_6616-7_1_2_node_185 | 0.4 | n |  | TRUE
75 | bus_LV_6616-7_1_2_node_201 | 0.4 | n |  | TRUE
76 | bus_LV_6616-7_1_2_node_202 | 0.4 | n |  | TRUE
77 | bus_LV_6616-7_1_2_node_207 | 0.4 | n |  | TRUE
78 | bus_LV_6616-7_1_2_node_227 | 0.4 | n |  | TRUE
79 | bus_LV_6616-7_1_2_node_209 | 0.4 | n |  | TRUE
80 | bus_LV_6616-7_1_2_node_218 | 0.4 | n |  | TRUE
81 | bus_LV_6616-7_1_2_node_214 | 0.4 | n |  | TRUE
82 | bus_LV_6616-7_1_2_node_215 | 0.4 | n |  | TRUE
83 | bus_LV_6616-7_1_2_node_216 | 0.4 | n |  | TRUE
84 | bus_MV_459_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-7_1_2_load_39 | 0 | 0.0015982 | 0.00040054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-7_1_2_load_40 | 1 | 0.00041187 | 0.00010322 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-7_1_2_load_43 | 3 | 0.0036466 | 0.00091392 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-7_1_2_load_44 | 4 | 0.0012207 | 0.00030593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-7_1_2_load_90 | 5 | 0.00058666 | 0.00014703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-7_1_2_load_108 | 6 | 0.00070349 | 0.00017631 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-7_1_2_load_45 | 7 | 0.0021533 | 0.00053966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-7_1_2_load_46 | 8 | 0.00057401 | 0.00014386 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-7_1_2_load_47 | 9 | 0.0020297 | 0.00050869 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-7_1_2_load_49 | 10 | 0.0014963 | 0.00037501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-7_1_2_load_48 | 11 | 0.0043349 | 0.0010864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-7_1_2_load_147 | 12 | 0.0017196 | 0.00043098 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-7_1_2_load_174 | 13 | 0.0086285 | 0.0021625 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-7_1_2_load_129 | 14 | 0.0031313 | 0.00078478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-7_1_2_load_80 | 15 | 0.00072205 | 0.00018096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-7_1_2_load_183 | 16 | 0.0021065 | 0.00052795 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-7_1_2_load_81 | 17 | 0.0059214 | 0.001484 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-7_1_2_load_86 | 20 | 0.001691 | 0.0004238 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-7_1_2_load_208 | 21 | 0.001041 | 0.0002609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-7_1_2_load_84 | 22 | 0.0019605 | 0.00049134 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-7_1_2_load_85 | 23 | 0.00099585 | 0.00024958 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-7_1_2_load_110 | 24 | 0.0021093 | 0.00052864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-7_1_2_load_91 | 26 | 0.0013991 | 0.00035065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-7_1_2_load_118 | 27 | 0.0065308 | 0.0016368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-7_1_2_load_106 | 28 | 0.00075674 | 0.00018966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-7_1_2_load_107 | 29 | 0.00038203 | 9.5745e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-7_1_2_load_109 | 30 | 0.00063138 | 0.00015824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-7_1_2_load_157 | 31 | 0.0028121 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-7_1_2_load_111 | 32 | 0.001343 | 0.00033658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-7_1_2_load_112 | 33 | 0.00092905 | 0.00023284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-7_1_2_load_138 | 34 | 0.0017129 | 0.0004293 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-7_1_2_load_113 | 35 | 0.00045668 | 0.00011445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-7_1_2_load_114 | 36 | 0.0051204 | 0.0012833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-7_1_2_load_115 | 37 | 0.00091629 | 0.00022964 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-7_1_2_load_116 | 38 | 0.00034849 | 8.7339e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-7_1_2_load_117 | 39 | 0.00086782 | 0.0002175 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-7_1_2_load_167 | 40 | 0.0010065 | 0.00025225 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-7_1_2_load_119 | 41 | 0.00095451 | 0.00023922 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-7_1_2_load_121 | 42 | 0.0015587 | 0.00039064 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-7_1_2_load_123 | 43 | 0.00045153 | 0.00011317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-7_1_2_load_134 | 44 | 0.0010966 | 0.00027484 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-7_1_2_load_135 | 47 | 0.0013106 | 0.00032846 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-7_1_2_load_171 | 48 | 0.0016175 | 0.00040539 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-7_1_2_load_177 | 49 | 0.0030412 | 0.00076221 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-7_1_2_load_175 | 50 | 0.0013168 | 0.00033003 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-7_1_2_load_148 | 51 | 0.00042587 | 0.00010673 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-7_1_2_load_139 | 52 | 0.0011363 | 0.00028479 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-7_1_2_load_168 | 54 | 0.0014655 | 0.00036728 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-7_1_2_load_149 | 55 | 0.00093436 | 0.00023417 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-7_1_2_load_152 | 56 | 0.0014538 | 0.00036435 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-7_1_2_load_153 | 57 | 0.006605 | 0.0016554 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-7_1_2_load_155 | 59 | 0.0024844 | 0.00062264 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-7_1_2_load_156 | 60 | 0.0037904 | 0.00094995 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-7_1_2_load_160 | 61 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-7_1_2_load_162 | 62 | 0.0010125 | 0.00025375 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-7_1_2_load_158 | 63 | 0.00093178 | 0.00023353 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-7_1_2_load_159 | 64 | 0.0013164 | 0.00032991 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-7_1_2_load_161 | 65 | 0.001317 | 0.00033008 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-7_1_2_load_164 | 67 | 0.003994 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-7_1_2_load_169 | 68 | 0.0014856 | 0.00037232 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-7_1_2_load_178 | 70 | 0.0038796 | 0.00097232 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6616-7_1_2_load_181 | 71 | 0.0044422 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6616-7_1_2_load_182 | 72 | 0.001025 | 0.00025689 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6616-7_1_2_load_184 | 73 | 0.001122 | 0.00028121 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6616-7_1_2_load_185 | 74 | 0.00092131 | 0.0002309 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6616-7_1_2_load_201 | 75 | 0.0011825 | 0.00029637 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6616-7_1_2_load_227 | 78 | 0.00084833 | 0.00021261 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6616-7_1_2_load_209 | 79 | 0.0010899 | 0.00027315 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6616-7_1_2_load_218 | 80 | 0.0024163 | 0.00060558 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6616-7_1_2_load_214 | 81 | 0.0025232 | 0.00063238 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6616-7_1_2_load_215 | 82 | 0.0098245 | 0.0024622 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6616-7_1_2_load_216 | 83 | 0.0031753 | 0.00079581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-7_1_2_line_0 |  | 0 | 1 | 0.034893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-7_1_2_line_1 |  | 0 | 2 | 0.0092678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-7_1_2_line_2 |  | 2 | 3 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-7_1_2_line_3 |  | 2 | 4 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-7_1_2_line_4 |  | 3 | 5 | 0.00055269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-7_1_2_line_5 |  | 4 | 6 | 0.0041472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-7_1_2_line_6 |  | 5 | 26 | 0.010569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-7_1_2_line_7 |  | 6 | 28 | 0.023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-7_1_2_line_8 |  | 7 | 8 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6616-7_1_2_line_9 |  | 7 | 9 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6616-7_1_2_line_10 |  | 9 | 10 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6616-7_1_2_line_11 |  | 10 | 14 | 0.03045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6616-7_1_2_line_12 |  | 11 | 12 | 0.00059892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6616-7_1_2_line_13 |  | 11 | 13 | 0.066906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6616-7_1_2_line_14 |  | 12 | 54 | 0.051439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6616-7_1_2_line_15 |  | 13 | 65 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6616-7_1_2_line_16 |  | 14 | 45 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6616-7_1_2_line_17 |  | 15 | 16 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-7_1_2_line_18 |  | 16 | 20 | 0.0055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-7_1_2_line_19 |  | 17 | 18 | 0.02221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6616-7_1_2_line_20 |  | 17 | 19 | 0.082479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-7_1_2_line_21 |  | 18 | 20 | 0.027313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-7_1_2_line_22 |  | 18 | 21 | 0.19634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-7_1_2_line_23 |  | 19 | 22 | 0.029359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6616-7_1_2_line_24 |  | 19 | 23 | 0.028266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6616-7_1_2_line_25 |  | 21 | 79 | 0.0012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-7_1_2_line_26 |  | 22 | 24 | 0.021352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6616-7_1_2_line_27 |  | 23 | 25 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6616-7_1_2_line_28 |  | 24 | 32 | 0.0091507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6616-7_1_2_line_29 |  | 25 | 51 | 0.03461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-7_1_2_line_30 |  | 25 | 45 | 0.036974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6616-7_1_2_line_31 |  | 26 | 27 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-7_1_2_line_32 |  | 28 | 29 | 0.0013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6616-7_1_2_line_33 |  | 29 | 30 | 0.00061125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6616-7_1_2_line_34 |  | 30 | 31 | 0.0020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6616-7_1_2_line_35 |  | 31 | 58 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6616-7_1_2_line_36 |  | 32 | 33 | 0.019892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6616-7_1_2_line_37 |  | 33 | 34 | 0.0036978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6616-7_1_2_line_38 |  | 34 | 52 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6616-7_1_2_line_39 |  | 35 | 36 | 0.0037759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-7_1_2_line_40 |  | 35 | 37 | 0.034791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6616-7_1_2_line_41 |  | 36 | 38 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-7_1_2_line_42 |  | 37 | 39 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-7_1_2_line_43 |  | 38 | 40 | 0.0025653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-7_1_2_line_44 |  | 40 | 67 | 0.024143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-7_1_2_line_45 |  | 41 | 42 | 0.01978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-7_1_2_line_46 |  | 42 | 43 | 0.0046452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-7_1_2_line_47 |  | 43 | 44 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-7_1_2_line_48 |  | 44 | 47 | 0.0072849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6616-7_1_2_line_49 |  | 45 | 46 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6616-7_1_2_line_50 |  | 46 | 49 | 0.003473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6616-7_1_2_line_51 |  | 46 | 50 | 0.03783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-7_1_2_line_52 |  | 47 | 48 | 0.01589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6616-7_1_2_line_53 |  | 48 | 53 | 0.00087269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6616-7_1_2_line_54 |  | 50 | 69 | 0.029555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-7_1_2_line_55 |  | 51 | 55 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-7_1_2_line_56 |  | 52 | 53 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6616-7_1_2_line_57 |  | 53 | 68 | 0.033143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6616-7_1_2_line_58 |  | 54 | 68 | 0.0062043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6616-7_1_2_line_59 |  | 56 | 57 | 0.05135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-7_1_2_line_60 |  | 56 | 58 | 0.017803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-7_1_2_line_61 |  | 57 | 59 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-7_1_2_line_62 |  | 58 | 60 | 0.0031834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-7_1_2_line_63 |  | 59 | 61 | 0.030169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-7_1_2_line_64 |  | 60 | 62 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6616-7_1_2_line_65 |  | 61 | 63 | 0.0088531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6616-7_1_2_line_66 |  | 62 | 66 | 0.0071907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6616-7_1_2_line_67 |  | 63 | 64 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-7_1_2_line_68 |  | 64 | 65 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-7_1_2_line_69 |  | 66 | 67 | 0.029881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-7_1_2_line_70 |  | 69 | 70 | 0.034481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-7_1_2_line_71 |  | 70 | 71 | 0.048078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-7_1_2_line_72 |  | 71 | 72 | 0.046803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-7_1_2_line_73 |  | 72 | 73 | 0.019836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-7_1_2_line_74 |  | 73 | 74 | 0.02596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-7_1_2_line_75 |  | 74 | 75 | 0.027767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-7_1_2_line_76 |  | 75 | 76 | 0.035856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-7_1_2_line_77 |  | 76 | 77 | 0.059928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6616-7_1_2_line_78 |  | 77 | 78 | 0.060376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6616-7_1_2_line_79 |  | 79 | 80 | 0.11693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6616-7_1_2_line_80 |  | 80 | 83 | 0.0073009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6616-7_1_2_line_81 |  | 81 | 82 | 0.0081743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6616-7_1_2_line_82 |  | 81 | 83 | 0.035183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-7_1_2_trafo_46 | 0.63 MVA 20/0.4 kV | 84 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2504963.812 | 1121929.0606 | 2504960.0951 | 1121925.1557 | 2504953.965 | 1121918.9483 | 2504948.4946 | 1121913.9757 | 2504938.2477 | 1121905.3636
1 | 2504970.2054 | 1121935.7699 | 2504967.8525 | 1121933.3054 | 2504963.812 | 1121929.0606
2 | 2504970.2054 | 1121935.7699 | 2504987.6994 | 1121921.752
3 | 2504970.2054 | 1121935.7699 | 2504978.7113 | 1121945.865
4 | 2504987.6994 | 1121921.752 | 2504988.1307 | 1121921.4064
5 | 2504978.7113 | 1121945.865 | 2504981.3835 | 1121949.0365
6 | 2504988.1307 | 1121921.4064 | 2504996.3786 | 1121914.7973
7 | 2504981.3835 | 1121949.0365 | 2504985.3768 | 1121953.7758 | 2504987.6486 | 1121956.4751 | 2504991.0363 | 1121960.4799 | 2504996.257 | 1121967.2224
8 | 2505126.4964 | 1121786.51 | 2505117.8777 | 1121795.3321
9 | 2505126.4964 | 1121786.51 | 2505136.6749 | 1121776.0913 | 2505139.6471 | 1121773.0452
10 | 2505151.9178 | 1121759.28 | 2505149.8396 | 1121762.5987 | 2505145.4666 | 1121767.0812 | 2505139.6471 | 1121773.0452
11 | 2505151.9178 | 1121759.28 | 2505154.7614 | 1121754.7389 | 2505157.6334 | 1121751.9366 | 2505157.1771 | 1121746.9518 | 2505168.8388 | 1121735.8899
12 | 2505078.3456 | 1121807.1187 | 2505078.0214 | 1121806.6151
13 | 2505078.3456 | 1121807.1187 | 2505113.1502 | 1121864.2588
14 | 2505050.1787 | 1121763.3631 | 2505078.0214 | 1121806.6151
15 | 2505113.1502 | 1121864.2588 | 2505125.9546 | 1121875.9963
16 | 2505181.7517 | 1121723.641 | 2505168.8388 | 1121735.8899
17 | 2505026.9479 | 1121613.6926 | 2505050.3433 | 1121595.4428
18 | 2505054.7511 | 1121592.0045 | 2505050.3433 | 1121595.4428
19 | 2505076.2868 | 1121575.2054 | 2505089.1325 | 1121593.3234
20 | 2505136.8366 | 1121660.6071 | 2505089.1325 | 1121593.3234
21 | 2505076.2868 | 1121575.2054 | 2505054.7511 | 1121592.0045
22 | 2505076.2868 | 1121575.2054 | 2505128.985 | 1121386.069
23 | 2505136.8366 | 1121660.6071 | 2505112.1711 | 1121676.5317
24 | 2505136.8366 | 1121660.6071 | 2505153.2189 | 1121683.6411
25 | 2505128.985 | 1121386.069 | 2505130.1968 | 1121386.0993 | 2505130.1968 | 1121386.0993
26 | 2505094.228 | 1121688.1063 | 2505106.1282 | 1121680.4234 | 2505110.9091 | 1121677.3465 | 2505112.1711 | 1121676.5317
27 | 2505160.2497 | 1121693.5266 | 2505153.2189 | 1121683.6411
28 | 2505094.228 | 1121688.1063 | 2505086.5403 | 1121693.0696
29 | 2505160.2497 | 1121693.5266 | 2505164.9743 | 1121690.7952 | 2505190.1818 | 1121676.1498
30 | 2505181.7517 | 1121723.641 | 2505179.4327 | 1121720.3976 | 2505160.2497 | 1121693.5266
31 | 2505006.5209 | 1121906.6703 | 2504996.3786 | 1121914.7973
32 | 2504997.1048 | 1121968.3172 | 2504996.257 | 1121967.2224
33 | 2504997.479 | 1121968.8005 | 2504997.1048 | 1121968.3172
34 | 2504998.7498 | 1121970.4418 | 2504997.479 | 1121968.8005
35 | 2505011.115 | 1121986.4246 | 2505004.4062 | 1121977.747 | 2504998.7498 | 1121970.4418
36 | 2505069.8264 | 1121703.8564 | 2505081.7358 | 1121696.1715 | 2505086.5403 | 1121693.0696
37 | 2505069.8264 | 1121703.8564 | 2505066.7193 | 1121705.8614
38 | 2505047.383 | 1121718.3388 | 2505066.7193 | 1121705.8614
39 | 2505100.4509 | 1121971.7235 | 2505097.4348 | 1121973.9951
40 | 2505128.2415 | 1121950.7926 | 2505100.4509 | 1121971.7235
41 | 2505082.1337 | 1121984.9742 | 2505092.3548 | 1121977.8212 | 2505097.4348 | 1121973.9951
42 | 2505138.5172 | 1121943.0532 | 2505128.2415 | 1121950.7926
43 | 2505082.1337 | 1121984.9742 | 2505081.5963 | 1121985.3503 | 2505079.9491 | 1121986.316
44 | 2505079.9491 | 1121986.316 | 2505066.9818 | 1121993.9183 | 2505063.588 | 1121996.3953 | 2505059.5831 | 1121999.2353
45 | 2504990.2553 | 1121754.3655 | 2504984.6028 | 1121757.8905 | 2504973.4717 | 1121764.8321
46 | 2504990.2553 | 1121754.3655 | 2504994.1969 | 1121751.9074
47 | 2505008.4757 | 1121743.0029 | 2504994.1969 | 1121751.9074
48 | 2505008.4757 | 1121743.0029 | 2505014.6572 | 1121739.148
49 | 2505181.7517 | 1121723.641 | 2505200.468 | 1121749.7857 | 2505204.6641 | 1121755.6568
50 | 2505204.6641 | 1121755.6568 | 2505201.8338 | 1121757.6802
51 | 2505204.6641 | 1121755.6568 | 2505208.0163 | 1121760.3516 | 2505226.6294 | 1121786.4569
52 | 2505028.1403 | 1121730.7397 | 2505014.6572 | 1121739.148
53 | 2505028.1403 | 1121730.7397 | 2505028.8808 | 1121730.2779
54 | 2505243.7874 | 1121810.5214 | 2505226.6294 | 1121786.4569
55 | 2505190.1818 | 1121676.1498 | 2505192.0365 | 1121675.0723 | 2505207.7677 | 1121665.8687
56 | 2505028.8808 | 1121730.2779 | 2505047.383 | 1121718.3388
57 | 2505028.8808 | 1121730.2779 | 2505046.8205 | 1121758.1462
58 | 2505050.1787 | 1121763.3631 | 2505046.8205 | 1121758.1462
59 | 2505065.2492 | 1121943.4004 | 2505046.5209 | 1121957.8732 | 2505024.9711 | 1121975.2466
60 | 2505011.115 | 1121986.4246 | 2505013.8343 | 1121984.225 | 2505024.9711 | 1121975.2466
61 | 2505090.5353 | 1121923.8599 | 2505065.2492 | 1121943.4004
62 | 2505011.115 | 1121986.4246 | 2505013.1033 | 1121988.9108
63 | 2505090.5353 | 1121923.8599 | 2505114.4072 | 1121905.4122
64 | 2505013.1033 | 1121988.9108 | 2505020.8092 | 1121998.5464 | 2505030.7125 | 1122010.9081
65 | 2505121.4134 | 1121899.9999 | 2505114.97 | 1121904.9773 | 2505114.4072 | 1121905.4122
66 | 2505035.2083 | 1122016.52 | 2505030.7125 | 1122010.9081
67 | 2505121.4134 | 1121899.9999 | 2505138.0941 | 1121887.1146 | 2505138.0941 | 1121887.1146
68 | 2505125.9546 | 1121875.9963 | 2505133.4451 | 1121882.8627 | 2505138.0941 | 1121887.1146
69 | 2505035.2083 | 1122016.52 | 2505059.5831 | 1121999.2353
70 | 2505243.7874 | 1121810.5214 | 2505239.6088 | 1121816.0903 | 2505237.5677 | 1121820.2248 | 2505236.943 | 1121823.6812 | 2505235.6309 | 1121831.5065 | 2505235.7972 | 1121835.7176 | 2505236.5768 | 1121839.1853 | 2505237.3854 | 1121842.7876
71 | 2505246.0826 | 1121889.9722 | 2505246.0081 | 1121885.2211 | 2505243.2593 | 1121873.2569 | 2505241.329 | 1121860.357 | 2505237.3854 | 1121842.7876
72 | 2505237.0484 | 1121935.6672 | 2505237.6169 | 1121934.0268 | 2505240.281 | 1121924.3681 | 2505244.913 | 1121906.8848 | 2505245.3554 | 1121901.1522 | 2505245.528 | 1121898.8814 | 2505246.112 | 1121891.8457 | 2505246.0826 | 1121889.9722
73 | 2505237.0484 | 1121935.6672 | 2505230.553 | 1121954.4099
74 | 2505225.3441 | 1121979.7899 | 2505226.656 | 1121970.4654 | 2505227.8987 | 1121963.6306 | 2505230.2369 | 1121955.3222 | 2505230.553 | 1121954.4099
75 | 2505225.3441 | 1121979.7899 | 2505225.3235 | 1121979.9365 | 2505224.5532 | 1121985.4186 | 2505224.1724 | 1121990.6499 | 2505223.6951 | 1121997.1058 | 2505223.6537 | 1122004.2997 | 2505223.784 | 1122007.4678
76 | 2505226.9099 | 1122041.7271 | 2505228.2153 | 1122039.8722 | 2505229.2923 | 1122037.7206 | 2505229.7855 | 1122035.7228 | 2505229.775 | 1122033.5772 | 2505229.5517 | 1122032.1243 | 2505228.7546 | 1122029.5018 | 2505226.6621 | 1122023.9646 | 2505225.1582 | 1122019.5632 | 2505224.2928 | 1122015.0407 | 2505223.9156 | 1122010.6662 | 2505223.784 | 1122007.4678
77 | 2505226.9099 | 1122041.7271 | 2505223.1312 | 1122045.244 | 2505195.153 | 1122066.8848 | 2505179.7639 | 1122078.6889
78 | 2505147.9354 | 1122028.0129 | 2505149.8501 | 1122034.9982 | 2505151.9816 | 1122040.0679 | 2505155.9323 | 1122047.5104 | 2505161.0068 | 1122054.3127 | 2505179.7639 | 1122078.6889
79 | 2505130.1968 | 1121386.0993 | 2505244.5982 | 1121410.2805
80 | 2505244.5982 | 1121410.2805 | 2505247.046 | 1121410.793 | 2505251.6101 | 1121412.2795
81 | 2505284.6592 | 1121423.9606 | 2505292.6896 | 1121425.4875
82 | 2505284.6592 | 1121423.9606 | 2505278.8578 | 1121422.8575 | 2505271.608 | 1121420.5252 | 2505258.4449 | 1121414.5056 | 2505251.6101 | 1121412.2795

## bus_geodata
| x | y | coords
0 | 2504963.812 | 1121929.0606
1 | 2504938.2477 | 1121905.3636
2 | 2504970.2054 | 1121935.7699
3 | 2504987.6994 | 1121921.752
4 | 2504978.7113 | 1121945.865
5 | 2504988.1307 | 1121921.4064
6 | 2504981.3835 | 1121949.0365
7 | 2505126.4964 | 1121786.51
8 | 2505117.8777 | 1121795.3321
9 | 2505139.6471 | 1121773.0452
10 | 2505151.9178 | 1121759.28
11 | 2505078.3456 | 1121807.1187
12 | 2505078.0214 | 1121806.6151
13 | 2505113.1502 | 1121864.2588
14 | 2505168.8388 | 1121735.8899
15 | 2505026.9479 | 1121613.6926
16 | 2505050.3433 | 1121595.4428
17 | 2505089.1325 | 1121593.3234
18 | 2505076.2868 | 1121575.2054
19 | 2505136.8366 | 1121660.6071
20 | 2505054.7511 | 1121592.0045
21 | 2505128.985 | 1121386.069
22 | 2505112.1711 | 1121676.5317
23 | 2505153.2189 | 1121683.6411
24 | 2505094.228 | 1121688.1063
25 | 2505160.2497 | 1121693.5266
26 | 2504996.3786 | 1121914.7973
27 | 2505006.5209 | 1121906.6703
28 | 2504996.257 | 1121967.2224
29 | 2504997.1048 | 1121968.3172
30 | 2504997.479 | 1121968.8005
31 | 2504998.7498 | 1121970.4418
32 | 2505086.5403 | 1121693.0696
33 | 2505069.8264 | 1121703.8564
34 | 2505066.7193 | 1121705.8614
35 | 2505100.4509 | 1121971.7235
36 | 2505097.4348 | 1121973.9951
37 | 2505128.2415 | 1121950.7926
38 | 2505082.1337 | 1121984.9742
39 | 2505138.5172 | 1121943.0532
40 | 2505079.9491 | 1121986.316
41 | 2504973.4717 | 1121764.8321
42 | 2504990.2553 | 1121754.3655
43 | 2504994.1969 | 1121751.9074
44 | 2505008.4757 | 1121743.0029
45 | 2505181.7517 | 1121723.641
46 | 2505204.6641 | 1121755.6568
47 | 2505014.6572 | 1121739.148
48 | 2505028.1403 | 1121730.7397
49 | 2505201.8338 | 1121757.6802
50 | 2505226.6294 | 1121786.4569
51 | 2505190.1818 | 1121676.1498
52 | 2505047.383 | 1121718.3388
53 | 2505028.8808 | 1121730.2779
54 | 2505050.1787 | 1121763.3631
55 | 2505207.7677 | 1121665.8687
56 | 2505024.9711 | 1121975.2466
57 | 2505065.2492 | 1121943.4004
58 | 2505011.115 | 1121986.4246
59 | 2505090.5353 | 1121923.8599
60 | 2505013.1033 | 1121988.9108
61 | 2505114.4072 | 1121905.4122
62 | 2505030.7125 | 1122010.9081
63 | 2505121.4134 | 1121899.9999
64 | 2505138.0941 | 1121887.1146
65 | 2505125.9546 | 1121875.9963
66 | 2505035.2083 | 1122016.52
67 | 2505059.5831 | 1121999.2353
68 | 2505046.8205 | 1121758.1462
69 | 2505243.7874 | 1121810.5214
70 | 2505237.3854 | 1121842.7876
71 | 2505246.0826 | 1121889.9722
72 | 2505237.0484 | 1121935.6672
73 | 2505230.553 | 1121954.4099
74 | 2505225.3441 | 1121979.7899
75 | 2505223.784 | 1122007.4678
76 | 2505226.9099 | 1122041.7271
77 | 2505179.7639 | 1122078.6889
78 | 2505147.9354 | 1122028.0129
79 | 2505130.1968 | 1121386.0993
80 | 2505244.5982 | 1121410.2805
81 | 2505284.6592 | 1121423.9606
82 | 2505292.6896 | 1121425.4875
83 | 2505251.6101 | 1121412.2795
84 | 2505181.7517 | 1121723.641

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1