## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6616-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6616-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6616-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6616-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6616-9_0_3_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_6616-9_0_3_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_6616-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6616-9_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6616-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6616-9_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6616-9_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6616-9_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_6616-9_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6616-9_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6616-9_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6616-9_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6616-9_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6616-9_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6616-9_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6616-9_0_3_node_111 | 0.4 | n |  | TRUE
20 | bus_LV_6616-9_0_3_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_6616-9_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6616-9_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6616-9_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6616-9_0_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6616-9_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6616-9_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6616-9_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6616-9_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6616-9_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6616-9_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_6616-9_0_3_node_171 | 0.4 | n |  | TRUE
32 | bus_LV_6616-9_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6616-9_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6616-9_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6616-9_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6616-9_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6616-9_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6616-9_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6616-9_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6616-9_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6616-9_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6616-9_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_6616-9_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6616-9_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_6616-9_0_3_node_170 | 0.4 | n |  | TRUE
46 | bus_LV_6616-9_0_3_node_172 | 0.4 | n |  | TRUE
47 | bus_LV_6616-9_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6616-9_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_6616-9_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_6616-9_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_6616-9_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_6616-9_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_6616-9_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_6616-9_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_6616-9_0_3_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_6616-9_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_6616-9_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_6616-9_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_6616-9_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6616-9_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_6616-9_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_6616-9_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_6616-9_0_3_node_159 | 0.4 | n |  | TRUE
64 | bus_LV_6616-9_0_3_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_6616-9_0_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_6616-9_0_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6616-9_0_3_node_107 | 0.4 | n |  | TRUE
68 | bus_LV_6616-9_0_3_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_6616-9_0_3_node_132 | 0.4 | n |  | TRUE
70 | bus_LV_6616-9_0_3_node_133 | 0.4 | n |  | TRUE
71 | bus_LV_6616-9_0_3_node_134 | 0.4 | n |  | TRUE
72 | bus_LV_6616-9_0_3_node_136 | 0.4 | n |  | TRUE
73 | bus_LV_6616-9_0_3_node_137 | 0.4 | n |  | TRUE
74 | bus_LV_6616-9_0_3_node_156 | 0.4 | n |  | TRUE
75 | bus_LV_6616-9_0_3_node_155 | 0.4 | n |  | TRUE
76 | bus_LV_6616-9_0_3_node_157 | 0.4 | n |  | TRUE
77 | bus_LV_6616-9_0_3_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_6616-9_0_3_node_169 | 0.4 | n |  | TRUE
79 | bus_MV_459_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6616-9_0_3_load_0 | 0 | 0.0018568 | 0.00046537 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6616-9_0_3_load_1 | 1 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6616-9_0_3_load_3 | 3 | 0.0018475 | 0.00046302 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6616-9_0_3_load_27 | 4 | 0.0010146 | 0.00025428 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6616-9_0_3_load_42 | 5 | 0.0017271 | 0.00043285 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6616-9_0_3_load_6 | 6 | 0.001642 | 0.00041153 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6616-9_0_3_load_7 | 7 | 0.00042812 | 0.0001073 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6616-9_0_3_load_8 | 8 | 0.0017913 | 0.00044894 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6616-9_0_3_load_21 | 11 | 0.0043517 | 0.0010906 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6616-9_0_3_load_10 | 12 | 0.0086045 | 0.0021565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6616-9_0_3_load_11 | 13 | 0.002134 | 0.00053483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6616-9_0_3_load_111 | 19 | 0.0018532 | 0.00046447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6616-9_0_3_load_76 | 20 | 0.089946 | 0.022543 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6616-9_0_3_load_16 | 21 | 0.0056035 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6616-9_0_3_load_19 | 23 | 0.011954 | 0.0029959 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6616-9_0_3_load_58 | 24 | 0.00029458 | 7.3828e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6616-9_0_3_load_22 | 25 | 0.00078189 | 0.00019596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6616-9_0_3_load_23 | 26 | 0.0032127 | 0.00080517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6616-9_0_3_load_24 | 27 | 0.00059107 | 0.00014814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6616-9_0_3_load_25 | 28 | 0.00095225 | 0.00023866 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6616-9_0_3_load_26 | 29 | 0.0060335 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6616-9_0_3_load_37 | 30 | 0.0016758 | 0.00042 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6616-9_0_3_load_171 | 31 | 0.0019666 | 0.00049287 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6616-9_0_3_load_29 | 32 | 0.00086982 | 0.000218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6616-9_0_3_load_31 | 33 | 0.0008542 | 0.00021408 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6616-9_0_3_load_32 | 34 | 0.0010763 | 0.00026974 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6616-9_0_3_load_33 | 35 | 0.00071561 | 0.00017935 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6616-9_0_3_load_34 | 36 | 0.00086018 | 0.00021558 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6616-9_0_3_load_36 | 37 | 0.000852 | 0.00021353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6616-9_0_3_load_38 | 38 | 0.0006781 | 0.00016995 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6616-9_0_3_load_39 | 39 | 0.00080629 | 0.00020208 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6616-9_0_3_load_40 | 40 | 0.00033172 | 8.3138e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6616-9_0_3_load_41 | 41 | 0.001574 | 0.00039449 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6616-9_0_3_load_44 | 43 | 0.00096067 | 0.00024077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6616-9_0_3_load_45 | 44 | 0.0029674 | 0.00074369 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6616-9_0_3_load_170 | 45 | 0.0013855 | 0.00034724 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6616-9_0_3_load_172 | 46 | 0.0053162 | 0.0013324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6616-9_0_3_load_56 | 47 | 0.0019366 | 0.00048535 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6616-9_0_3_load_57 | 48 | 0.043627 | 0.010934 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6616-9_0_3_load_60 | 49 | 0.0062528 | 0.0015671 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6616-9_0_3_load_65 | 51 | 0.00025445 | 6.3772e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6616-9_0_3_load_66 | 52 | 0.0058877 | 0.0014756 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6616-9_0_3_load_61 | 53 | 0.0090777 | 0.0022751 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6616-9_0_3_load_63 | 55 | 0.017731 | 0.0044437 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6616-9_0_3_load_79 | 56 | 0.022491 | 0.0056369 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6616-9_0_3_load_78 | 58 | 0.0088207 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6616-9_0_3_load_69 | 59 | 0.022129 | 0.0055459 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6616-9_0_3_load_67 | 60 | 0.0038954 | 0.00097628 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6616-9_0_3_load_70 | 62 | 0.011004 | 0.0027578 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6616-9_0_3_load_159 | 63 | 0.0086481 | 0.0021674 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6616-9_0_3_load_72 | 64 | 0.0018614 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6616-9_0_3_load_77 | 66 | 0.0026798 | 0.00067162 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6616-9_0_3_load_107 | 67 | 0.0033905 | 0.00084973 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6616-9_0_3_load_109 | 68 | 0.000748 | 0.00018747 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6616-9_0_3_load_132 | 69 | 0.0047163 | 0.001182 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6616-9_0_3_load_133 | 70 | 0.0014984 | 0.00037554 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6616-9_0_3_load_137 | 73 | 0.0014599 | 0.00036588 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6616-9_0_3_load_156 | 74 | 0.00078373 | 0.00019642 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6616-9_0_3_load_155 | 75 | 0.0034521 | 0.00086517 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6616-9_0_3_load_162 | 77 | 0.00026298 | 6.5909e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6616-9_0_3_load_169 | 78 | 0.0013855 | 0.00034725 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6616-9_0_3_line_0 |  | 0 | 1 | 0.0016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6616-9_0_3_line_1 |  | 0 | 2 | 0.020861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6616-9_0_3_line_2 |  | 1 | 3 | 0.042721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6616-9_0_3_line_3 |  | 2 | 4 | 0.05889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6616-9_0_3_line_4 |  | 3 | 5 | 0.028094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6616-9_0_3_line_5 |  | 4 | 32 | 0.0012224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6616-9_0_3_line_6 |  | 5 | 10 | 0.006679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6616-9_0_3_line_7 |  | 5 | 40 | 0.061701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6616-9_0_3_line_8 |  | 6 | 7 | 0.0082885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6616-9_0_3_line_9 |  | 6 | 8 | 0.017024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6616-9_0_3_line_10 |  | 7 | 9 | 0.036077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6616-9_0_3_line_11 |  | 9 | 10 | 0.012365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6616-9_0_3_line_12 |  | 9 | 11 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6616-9_0_3_line_13 |  | 10 | 14 | 0.022646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6616-9_0_3_line_14 |  | 11 | 25 | 0.016232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6616-9_0_3_line_15 |  | 12 | 13 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6616-9_0_3_line_16 |  | 12 | 14 | 0.038034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6616-9_0_3_line_17 |  | 13 | 15 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6616-9_0_3_line_18 |  | 15 | 16 | 0.037086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6616-9_0_3_line_19 |  | 15 | 17 | 0.033233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6616-9_0_3_line_20 |  | 16 | 21 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6616-9_0_3_line_21 |  | 17 | 24 | 0.032709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6616-9_0_3_line_22 |  | 18 | 19 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6616-9_0_3_line_23 |  | 18 | 20 | 0.041488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6616-9_0_3_line_24 |  | 19 | 68 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6616-9_0_3_line_25 |  | 20 | 66 | 0.060789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6616-9_0_3_line_26 |  | 21 | 22 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6616-9_0_3_line_27 |  | 22 | 23 | 0.0043026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6616-9_0_3_line_28 |  | 24 | 47 | 0.033886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6616-9_0_3_line_29 |  | 26 | 27 | 0.0036223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6616-9_0_3_line_30 |  | 26 | 28 | 0.0020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6616-9_0_3_line_31 |  | 27 | 29 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6616-9_0_3_line_32 |  | 29 | 30 | 0.071089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6616-9_0_3_line_33 |  | 29 | 31 | 0.066774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6616-9_0_3_line_34 |  | 31 | 78 | 0.022835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6616-9_0_3_line_35 |  | 32 | 33 | 0.02433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6616-9_0_3_line_36 |  | 33 | 34 | 0.0051059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6616-9_0_3_line_37 |  | 34 | 35 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6616-9_0_3_line_38 |  | 35 | 36 | 0.0056553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6616-9_0_3_line_39 |  | 36 | 37 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6616-9_0_3_line_40 |  | 38 | 39 | 7.8264e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6616-9_0_3_line_41 |  | 38 | 40 | 0.0010841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6616-9_0_3_line_42 |  | 39 | 41 | 0.025779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6616-9_0_3_line_43 |  | 41 | 42 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6616-9_0_3_line_44 |  | 42 | 43 | 0.0028287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6616-9_0_3_line_45 |  | 42 | 44 | 0.040693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6616-9_0_3_line_46 |  | 43 | 45 | 0.00031844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6616-9_0_3_line_47 |  | 44 | 46 | 0.015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6616-9_0_3_line_48 |  | 45 | 78 | 8.3321e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6616-9_0_3_line_49 |  | 47 | 48 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6616-9_0_3_line_50 |  | 47 | 49 | 0.044069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6616-9_0_3_line_51 |  | 48 | 50 | 0.022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6616-9_0_3_line_52 |  | 49 | 53 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6616-9_0_3_line_53 |  | 49 | 54 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6616-9_0_3_line_54 |  | 50 | 51 | 0.008545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6616-9_0_3_line_55 |  | 50 | 52 | 0.02571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6616-9_0_3_line_56 |  | 52 | 59 | 0.011247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6616-9_0_3_line_57 |  | 53 | 55 | 0.00057671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6616-9_0_3_line_58 |  | 55 | 56 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6616-9_0_3_line_59 |  | 56 | 57 | 0.016464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6616-9_0_3_line_60 |  | 57 | 58 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6616-9_0_3_line_61 |  | 58 | 65 | 0.0052567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6616-9_0_3_line_62 |  | 59 | 61 | 0.024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6616-9_0_3_line_63 |  | 60 | 61 | 0.020291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6616-9_0_3_line_64 |  | 61 | 62 | 0.0016917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6616-9_0_3_line_65 |  | 62 | 63 | 0.007593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6616-9_0_3_line_66 |  | 63 | 73 | 0.039781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6616-9_0_3_line_67 |  | 64 | 65 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6616-9_0_3_line_68 |  | 65 | 66 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6616-9_0_3_line_69 |  | 67 | 68 | 0.0063165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6616-9_0_3_line_70 |  | 69 | 70 | 0.0019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6616-9_0_3_line_71 |  | 69 | 71 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6616-9_0_3_line_72 |  | 71 | 72 | 0.033077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6616-9_0_3_line_73 |  | 71 | 73 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6616-9_0_3_line_74 |  | 72 | 74 | 0.059476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6616-9_0_3_line_75 |  | 74 | 75 | 0.044977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6616-9_0_3_line_76 |  | 75 | 76 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6616-9_0_3_line_77 |  | 76 | 77 | 0.10096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6616-9_0_3_trafo_62 | 0.63 MVA 20/0.4 kV | 79 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2505088.1316 | 1122158.8197 | 2505086.9727 | 1122159.9752
1 | 2505102.9042 | 1122144.0905 | 2505088.1316 | 1122158.8197
2 | 2505056.7218 | 1122190.1412 | 2505066.0846 | 1122180.8021 | 2505086.9727 | 1122159.9752
3 | 2505102.9042 | 1122144.0905 | 2505089.4267 | 1122086.7636
4 | 2505036.8298 | 1122209.9794 | 2505048.8826 | 1122197.9605 | 2505056.7218 | 1122190.1412
5 | 2505089.4267 | 1122086.7636 | 2505088.6797 | 1122085.796
6 | 2505036.8298 | 1122209.9794 | 2505032.028 | 1122214.6354
7 | 2505036.8298 | 1122209.9794 | 2505003.1926 | 1122167.9378 | 2505000.6217 | 1122164.8541 | 2504998.2164 | 1122161.855
8 | 2504996.4655 | 1122170.4241 | 2504996.9545 | 1122171.0266 | 2505001.6912 | 1122176.8576
9 | 2504985.7373 | 1122157.2055 | 2504996.4655 | 1122170.4241
10 | 2505024.4383 | 1122204.8598 | 2505001.6912 | 1122176.8576
11 | 2505024.4383 | 1122204.8598 | 2505032.028 | 1122214.6354
12 | 2505024.4383 | 1122204.8598 | 2505018.3883 | 1122209.1241 | 2505011.7715 | 1122214.6204 | 2505011.4594 | 1122215.0296
13 | 2505032.028 | 1122214.6354 | 2505016.3803 | 1122231.0469
14 | 2504999.872 | 1122226.21 | 2505007.4031 | 1122220.3481 | 2505011.4594 | 1122215.0296
15 | 2504971.937 | 1122272.4762 | 2504989.0706 | 1122257.5109
16 | 2505016.3803 | 1122231.0469 | 2504991.7367 | 1122255.1822 | 2504989.0706 | 1122257.5109
17 | 2504960.2233 | 1122284.4065 | 2504964.6351 | 1122279.4786 | 2504968.0419 | 1122275.8784 | 2504971.937 | 1122272.4762
18 | 2504960.2233 | 1122284.4065 | 2504957.1741 | 1122282.2976 | 2504953.6539 | 1122281.1411 | 2504949.9496 | 1122281.0327 | 2504946.3623 | 1122281.9785 | 2504940.5163 | 1122281.548 | 2504933.5288 | 1122280.1459 | 2504924.2979 | 1122279.3128
19 | 2504948.8206 | 1122306.3436 | 2504952.0642 | 1122306.5928 | 2504955.2642 | 1122306.031 | 2504958.228 | 1122304.6725 | 2504960.7491 | 1122302.6316 | 2504962.675 | 1122300.022 | 2504963.9211 | 1122296.856 | 2504964.3 | 1122293.4813 | 2504963.769 | 1122290.1321 | 2504962.3781 | 1122287.0298 | 2504960.2233 | 1122284.4065
20 | 2504924.2979 | 1122279.3128 | 2504917.2529 | 1122275.2322 | 2504913.6314 | 1122272.522
21 | 2504948.8206 | 1122306.3436 | 2504948.6938 | 1122308.0912 | 2504948.7764 | 1122310.4024 | 2504949.3999 | 1122313.7502 | 2504950.3452 | 1122316.4703 | 2504952.1854 | 1122320.177 | 2504955.3997 | 1122324.4513 | 2504960.7461 | 1122330.8822 | 2504963.7121 | 1122334.2795
22 | 2505077.4474 | 1122252.0227 | 2505085.6274 | 1122244.0035
23 | 2505077.4474 | 1122252.0227 | 2505071.1116 | 1122293.0236
24 | 2505097.852 | 1122232.0188 | 2505097.2368 | 1122232.6224 | 2505085.6274 | 1122244.0035
25 | 2505071.1116 | 1122293.0236 | 2505110.4632 | 1122305.1479 | 2505104.8461 | 1122323.9377
26 | 2504900.8434 | 1122261.3485 | 2504906.3508 | 1122266.7318 | 2504911.5782 | 1122270.9855 | 2504913.6314 | 1122272.522
27 | 2504900.8434 | 1122261.3485 | 2504897.9393 | 1122258.1738
28 | 2504985.998 | 1122359.8059 | 2504963.7121 | 1122334.2795
29 | 2504874.8331 | 1122091.6934 | 2504871.7603 | 1122093.6114
30 | 2504870.0039 | 1122094.7077 | 2504871.7603 | 1122093.6114
31 | 2504889.8784 | 1122081.2776 | 2504887.7411 | 1122082.7121 | 2504881.9327 | 1122086.6393 | 2504880.7878 | 1122087.4133 | 2504879.941 | 1122088.5051 | 2504874.8331 | 1122091.6934
32 | 2504889.8784 | 1122081.2776 | 2504842.2834 | 1122028.473
33 | 2504952.2797 | 1122105.0441 | 2504889.8784 | 1122081.2776
34 | 2504952.2797 | 1122105.0441 | 2504966.7623 | 1122122.6989
35 | 2505073.8167 | 1122066.5336 | 2505080.6269 | 1122075.3649 | 2505088.6797 | 1122085.796
36 | 2505073.8167 | 1122066.5336 | 2505070.6987 | 1122062.4903
37 | 2505070.6987 | 1122062.4903 | 2505069.3351 | 1122060.7222 | 2505065.9099 | 1122056.2843 | 2505059.5805 | 1122048.0871
38 | 2505056.1242 | 1122043.611 | 2505056.6735 | 1122044.3221 | 2505059.5805 | 1122048.0871
39 | 2505056.1242 | 1122043.611 | 2505051.4214 | 1122037.5226 | 2505044.5702 | 1122028.6412
40 | 2504997.5381 | 1122161.0093 | 2504997.4892 | 1122160.9483
41 | 2504998.2164 | 1122161.855 | 2504997.5381 | 1122161.0093
42 | 2504997.4892 | 1122160.9483 | 2504984.2955 | 1122144.4982 | 2504981.3597 | 1122140.8386
43 | 2504968.8112 | 1122125.1965 | 2504981.3597 | 1122140.8386
44 | 2504968.8112 | 1122125.1965 | 2504967.0171 | 1122123.0095
45 | 2504968.8112 | 1122125.1965 | 2504962.5533 | 1122125.0726 | 2504959.0445 | 1122125.6281 | 2504956.9236 | 1122126.6287 | 2504951.0569 | 1122130.2898 | 2504932.7134 | 1122141.7342
46 | 2504967.0171 | 1122123.0095 | 2504966.8152 | 1122122.7633
47 | 2504919.8142 | 1122149.7819 | 2504932.7134 | 1122141.7342
48 | 2504966.8152 | 1122122.7633 | 2504966.7623 | 1122122.6989
49 | 2504985.998 | 1122359.8059 | 2504992.7659 | 1122367.5578
50 | 2504985.998 | 1122359.8059 | 2505021.7794 | 1122334.0805
51 | 2505007.4751 | 1122384.3693 | 2505000.3198 | 1122376.2101 | 2504992.7659 | 1122367.5578
52 | 2505021.7794 | 1122334.0805 | 2505035.1299 | 1122342.2869 | 2505040.2045 | 1122343.7776
53 | 2505015.1227 | 1122319.3428 | 2505013.4508 | 1122325.8397 | 2505014.1078 | 1122329.3648 | 2505021.7794 | 1122334.0805
54 | 2505007.4751 | 1122384.3693 | 2505001.0461 | 1122390.0182
55 | 2505007.4751 | 1122384.3693 | 2505024.4469 | 1122403.6818
56 | 2505024.4469 | 1122403.6818 | 2505031.8711 | 1122412.1299
57 | 2505040.7579 | 1122343.9402 | 2505040.2045 | 1122343.7776
58 | 2505040.7579 | 1122343.9402 | 2505046.3741 | 1122345.5901 | 2505057.8364 | 1122348.534
59 | 2505068.6644 | 1122336.6345 | 2505066.049 | 1122342.0011 | 2505057.8364 | 1122348.534
60 | 2505068.6644 | 1122336.6345 | 2505093.2779 | 1122344.2818
61 | 2505098.2979 | 1122345.8415 | 2505093.2779 | 1122344.2818
62 | 2505048.8766 | 1122430.2135 | 2505039.1133 | 1122420.0273 | 2505035.4039 | 1122416.1499 | 2505031.8711 | 1122412.1299
63 | 2505048.8766 | 1122430.2135 | 2505038.4189 | 1122440.6286 | 2505034.2084 | 1122444.2159
64 | 2505048.8766 | 1122430.2135 | 2505050.0408 | 1122431.441
65 | 2505050.0408 | 1122431.441 | 2505054.4455 | 1122436.0852 | 2505055.2916 | 1122436.9251
66 | 2505055.2916 | 1122436.9251 | 2505065.9795 | 1122447.5333 | 2505083.5229 | 1122464.9518
67 | 2505098.2979 | 1122345.8415 | 2505112.9125 | 1122350.3486
68 | 2505098.2979 | 1122345.8415 | 2505104.8461 | 1122323.9377
69 | 2505097.852 | 1122232.0188 | 2505102.3609 | 1122227.5952
70 | 2505118.7603 | 1122467.4143 | 2505117.354 | 1122468.774
71 | 2505102.1264 | 1122483.4988 | 2505117.354 | 1122468.774
72 | 2505128.3986 | 1122503.6654 | 2505118.9252 | 1122496.6987 | 2505110.599 | 1122490.5812 | 2505102.1264 | 1122483.4988
73 | 2505102.1264 | 1122483.4988 | 2505088.0368 | 1122469.4336 | 2505083.5229 | 1122464.9518
74 | 2505128.3986 | 1122503.6654 | 2505115.0391 | 1122516.9276 | 2505083.756 | 1122542.8879
75 | 2505048.4522 | 1122570.6981 | 2505059.2817 | 1122563.198 | 2505083.756 | 1122542.8879
76 | 2505035.8417 | 1122579.4316 | 2505048.4522 | 1122570.6981
77 | 2505035.8417 | 1122579.4316 | 2505086.8814 | 1122666.5426

## bus_geodata
| x | y | coords
0 | 2505088.1316 | 1122158.8197
1 | 2505086.9727 | 1122159.9752
2 | 2505102.9042 | 1122144.0905
3 | 2505056.7218 | 1122190.1412
4 | 2505089.4267 | 1122086.7636
5 | 2505036.8298 | 1122209.9794
6 | 2504996.4655 | 1122170.4241
7 | 2505001.6912 | 1122176.8576
8 | 2504985.7373 | 1122157.2055
9 | 2505024.4383 | 1122204.8598
10 | 2505032.028 | 1122214.6354
11 | 2505011.4594 | 1122215.0296
12 | 2504989.0706 | 1122257.5109
13 | 2504971.937 | 1122272.4762
14 | 2505016.3803 | 1122231.0469
15 | 2504960.2233 | 1122284.4065
16 | 2504924.2979 | 1122279.3128
17 | 2504948.8206 | 1122306.3436
18 | 2505077.4474 | 1122252.0227
19 | 2505085.6274 | 1122244.0035
20 | 2505071.1116 | 1122293.0236
21 | 2504913.6314 | 1122272.522
22 | 2504900.8434 | 1122261.3485
23 | 2504897.9393 | 1122258.1738
24 | 2504963.7121 | 1122334.2795
25 | 2504999.872 | 1122226.21
26 | 2504871.7603 | 1122093.6114
27 | 2504874.8331 | 1122091.6934
28 | 2504870.0039 | 1122094.7077
29 | 2504889.8784 | 1122081.2776
30 | 2504842.2834 | 1122028.473
31 | 2504952.2797 | 1122105.0441
32 | 2505088.6797 | 1122085.796
33 | 2505073.8167 | 1122066.5336
34 | 2505070.6987 | 1122062.4903
35 | 2505059.5805 | 1122048.0871
36 | 2505056.1242 | 1122043.611
37 | 2505044.5702 | 1122028.6412
38 | 2504997.5381 | 1122161.0093
39 | 2504997.4892 | 1122160.9483
40 | 2504998.2164 | 1122161.855
41 | 2504981.3597 | 1122140.8386
42 | 2504968.8112 | 1122125.1965
43 | 2504967.0171 | 1122123.0095
44 | 2504932.7134 | 1122141.7342
45 | 2504966.8152 | 1122122.7633
46 | 2504919.8142 | 1122149.7819
47 | 2504985.998 | 1122359.8059
48 | 2504992.7659 | 1122367.5578
49 | 2505021.7794 | 1122334.0805
50 | 2505007.4751 | 1122384.3693
51 | 2505001.0461 | 1122390.0182
52 | 2505024.4469 | 1122403.6818
53 | 2505040.2045 | 1122343.7776
54 | 2505015.1227 | 1122319.3428
55 | 2505040.7579 | 1122343.9402
56 | 2505057.8364 | 1122348.534
57 | 2505068.6644 | 1122336.6345
58 | 2505093.2779 | 1122344.2818
59 | 2505031.8711 | 1122412.1299
60 | 2505034.2084 | 1122444.2159
61 | 2505048.8766 | 1122430.2135
62 | 2505050.0407 | 1122431.441
63 | 2505055.2916 | 1122436.9251
64 | 2505112.9125 | 1122350.3486
65 | 2505098.2979 | 1122345.8415
66 | 2505104.8461 | 1122323.9377
67 | 2505102.3609 | 1122227.5952
68 | 2505097.852 | 1122232.0188
69 | 2505117.354 | 1122468.774
70 | 2505118.7603 | 1122467.4143
71 | 2505102.1264 | 1122483.4988
72 | 2505128.3986 | 1122503.6654
73 | 2505083.5229 | 1122464.9518
74 | 2505083.756 | 1122542.8879
75 | 2505048.4522 | 1122570.6981
76 | 2505035.8417 | 1122579.4316
77 | 2505086.8814 | 1122666.5426
78 | 2504966.7623 | 1122122.6989
79 | 2504981.2119 | 1122307.4462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1