## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6617-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6617-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6617-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6617-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6617-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6617-12_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_6617-12_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_6617-12_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_6617-12_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_6617-12_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_6617-12_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6617-12_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6617-12_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6617-12_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6617-12_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6617-12_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6617-12_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6617-12_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6617-12_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6617-12_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_6617-12_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6617-12_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6617-12_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_6617-12_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_6617-12_0_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6617-12_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6617-12_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_6617-12_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_6617-12_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_6617-12_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_6617-12_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_6617-12_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_6617-12_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_6617-12_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6617-12_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6617-12_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6617-12_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6617-12_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6617-12_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6617-12_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_6617-12_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6617-12_0_3_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_6617-12_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6617-12_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_6617-12_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6617-12_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_6617-12_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6617-12_0_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_6617-12_0_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6617-12_0_3_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_6617-12_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_6617-12_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6617-12_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6617-12_0_3_node_278 | 0.4 | n |  | TRUE
54 | bus_LV_6617-12_0_3_node_277 | 0.4 | n |  | TRUE
55 | bus_LV_6617-12_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_6617-12_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_6617-12_0_3_node_194 | 0.4 | n |  | TRUE
58 | bus_LV_6617-12_0_3_node_195 | 0.4 | n |  | TRUE
59 | bus_LV_6617-12_0_3_node_192 | 0.4 | n |  | TRUE
60 | bus_LV_6617-12_0_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_6617-12_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_6617-12_0_3_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_6617-12_0_3_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_6617-12_0_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_6617-12_0_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_6617-12_0_3_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_6617-12_0_3_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_6617-12_0_3_node_118 | 0.4 | n |  | TRUE
69 | bus_LV_6617-12_0_3_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_6617-12_0_3_node_114 | 0.4 | n |  | TRUE
71 | bus_LV_6617-12_0_3_node_116 | 0.4 | n |  | TRUE
72 | bus_LV_6617-12_0_3_node_117 | 0.4 | n |  | TRUE
73 | bus_LV_6617-12_0_3_node_193 | 0.4 | n |  | TRUE
74 | bus_LV_6617-12_0_3_node_217 | 0.4 | n |  | TRUE
75 | bus_LV_6617-12_0_3_node_204 | 0.4 | n |  | TRUE
76 | bus_LV_6617-12_0_3_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_6617-12_0_3_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_6617-12_0_3_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_6617-12_0_3_node_191 | 0.4 | n |  | TRUE
80 | bus_LV_6617-12_0_3_node_251 | 0.4 | n |  | TRUE
81 | bus_LV_6617-12_0_3_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_6617-12_0_3_node_124 | 0.4 | n |  | TRUE
83 | bus_LV_6617-12_0_3_node_125 | 0.4 | n |  | TRUE
84 | bus_LV_6617-12_0_3_node_126 | 0.4 | n |  | TRUE
85 | bus_LV_6617-12_0_3_node_127 | 0.4 | n |  | TRUE
86 | bus_LV_6617-12_0_3_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_6617-12_0_3_node_171 | 0.4 | n |  | TRUE
88 | bus_LV_6617-12_0_3_node_280 | 0.4 | n |  | TRUE
89 | bus_LV_6617-12_0_3_node_173 | 0.4 | n |  | TRUE
90 | bus_LV_6617-12_0_3_node_169 | 0.4 | n |  | TRUE
91 | bus_LV_6617-12_0_3_node_281 | 0.4 | n |  | TRUE
92 | bus_LV_6617-12_0_3_node_129 | 0.4 | n |  | TRUE
93 | bus_LV_6617-12_0_3_node_130 | 0.4 | n |  | TRUE
94 | bus_LV_6617-12_0_3_node_131 | 0.4 | n |  | TRUE
95 | bus_LV_6617-12_0_3_node_133 | 0.4 | n |  | TRUE
96 | bus_LV_6617-12_0_3_node_134 | 0.4 | n |  | TRUE
97 | bus_LV_6617-12_0_3_node_174 | 0.4 | n |  | TRUE
98 | bus_LV_6617-12_0_3_node_175 | 0.4 | n |  | TRUE
99 | bus_LV_6617-12_0_3_node_143 | 0.4 | n |  | TRUE
100 | bus_LV_6617-12_0_3_node_144 | 0.4 | n |  | TRUE
101 | bus_LV_6617-12_0_3_node_145 | 0.4 | n |  | TRUE
102 | bus_LV_6617-12_0_3_node_146 | 0.4 | n |  | TRUE
103 | bus_LV_6617-12_0_3_node_147 | 0.4 | n |  | TRUE
104 | bus_LV_6617-12_0_3_node_148 | 0.4 | n |  | TRUE
105 | bus_LV_6617-12_0_3_node_149 | 0.4 | n |  | TRUE
106 | bus_LV_6617-12_0_3_node_150 | 0.4 | n |  | TRUE
107 | bus_LV_6617-12_0_3_node_151 | 0.4 | n |  | TRUE
108 | bus_LV_6617-12_0_3_node_233 | 0.4 | n |  | TRUE
109 | bus_LV_6617-12_0_3_node_214 | 0.4 | n |  | TRUE
110 | bus_LV_6617-12_0_3_node_232 | 0.4 | n |  | TRUE
111 | bus_LV_6617-12_0_3_node_172 | 0.4 | n |  | TRUE
112 | bus_LV_6617-12_0_3_node_213 | 0.4 | n |  | TRUE
113 | bus_LV_6617-12_0_3_node_167 | 0.4 | n |  | TRUE
114 | bus_LV_6617-12_0_3_node_168 | 0.4 | n |  | TRUE
115 | bus_LV_6617-12_0_3_node_170 | 0.4 | n |  | TRUE
116 | bus_LV_6617-12_0_3_node_176 | 0.4 | n |  | TRUE
117 | bus_LV_6617-12_0_3_node_177 | 0.4 | n |  | TRUE
118 | bus_LV_6617-12_0_3_node_178 | 0.4 | n |  | TRUE
119 | bus_LV_6617-12_0_3_node_179 | 0.4 | n |  | TRUE
120 | bus_LV_6617-12_0_3_node_180 | 0.4 | n |  | TRUE
121 | bus_LV_6617-12_0_3_node_181 | 0.4 | n |  | TRUE
122 | bus_LV_6617-12_0_3_node_182 | 0.4 | n |  | TRUE
123 | bus_LV_6617-12_0_3_node_183 | 0.4 | n |  | TRUE
124 | bus_LV_6617-12_0_3_node_250 | 0.4 | n |  | TRUE
125 | bus_LV_6617-12_0_3_node_196 | 0.4 | n |  | TRUE
126 | bus_LV_6617-12_0_3_node_258 | 0.4 | n |  | TRUE
127 | bus_LV_6617-12_0_3_node_238 | 0.4 | n |  | TRUE
128 | bus_LV_6617-12_0_3_node_207 | 0.4 | n |  | TRUE
129 | bus_LV_6617-12_0_3_node_208 | 0.4 | n |  | TRUE
130 | bus_LV_6617-12_0_3_node_209 | 0.4 | n |  | TRUE
131 | bus_LV_6617-12_0_3_node_237 | 0.4 | n |  | TRUE
132 | bus_LV_6617-12_0_3_node_210 | 0.4 | n |  | TRUE
133 | bus_LV_6617-12_0_3_node_211 | 0.4 | n |  | TRUE
134 | bus_LV_6617-12_0_3_node_212 | 0.4 | n |  | TRUE
135 | bus_LV_6617-12_0_3_node_224 | 0.4 | n |  | TRUE
136 | bus_LV_6617-12_0_3_node_225 | 0.4 | n |  | TRUE
137 | bus_LV_6617-12_0_3_node_226 | 0.4 | n |  | TRUE
138 | bus_LV_6617-12_0_3_node_227 | 0.4 | n |  | TRUE
139 | bus_LV_6617-12_0_3_node_228 | 0.4 | n |  | TRUE
140 | bus_LV_6617-12_0_3_node_229 | 0.4 | n |  | TRUE
141 | bus_LV_6617-12_0_3_node_230 | 0.4 | n |  | TRUE
142 | bus_LV_6617-12_0_3_node_239 | 0.4 | n |  | TRUE
143 | bus_LV_6617-12_0_3_node_266 | 0.4 | n |  | TRUE
144 | bus_LV_6617-12_0_3_node_234 | 0.4 | n |  | TRUE
145 | bus_LV_6617-12_0_3_node_235 | 0.4 | n |  | TRUE
146 | bus_LV_6617-12_0_3_node_236 | 0.4 | n |  | TRUE
147 | bus_MV_459_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6617-12_0_3_load_0 | 0 | 0.00028869 | 7.2353e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6617-12_0_3_load_1 | 1 | 0.00048355 | 0.00012119 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6617-12_0_3_load_2 | 2 | 0.0028225 | 0.00070739 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6617-12_0_3_load_3 | 3 | 0.0010941 | 0.00027421 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6617-12_0_3_load_4 | 4 | 0.00012014 | 3.0111e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6617-12_0_3_load_11 | 5 | 0.00042501 | 0.00010652 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6617-12_0_3_load_12 | 6 | 0.0014648 | 0.00036712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6617-12_0_3_load_24 | 8 | 0.00062495 | 0.00015663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6617-12_0_3_load_25 | 9 | 0.0016359 | 0.00040999 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6617-12_0_3_load_13 | 10 | 0.00098365 | 0.00024653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6617-12_0_3_load_14 | 11 | 0.0017358 | 0.00043503 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6617-12_0_3_load_15 | 12 | 0.00035374 | 8.8656e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6617-12_0_3_load_16 | 13 | 0.0021441 | 0.00053737 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6617-12_0_3_load_17 | 14 | 0.00074962 | 0.00018787 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6617-12_0_3_load_18 | 15 | 0.0015815 | 0.00039636 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6617-12_0_3_load_19 | 16 | 0.00046381 | 0.00011624 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6617-12_0_3_load_20 | 17 | 0.0004389 | 0.00011 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6617-12_0_3_load_22 | 18 | 0.00078841 | 0.0001976 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6617-12_0_3_load_34 | 19 | 0.00095903 | 0.00024036 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6617-12_0_3_load_28 | 20 | 0.00067828 | 0.00016999 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6617-12_0_3_load_21 | 21 | 0.0022884 | 0.00057353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6617-12_0_3_load_35 | 22 | 0.00049866 | 0.00012498 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6617-12_0_3_load_48 | 23 | 0.0015625 | 0.00039161 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6617-12_0_3_load_58 | 24 | 0.0017939 | 0.00044959 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6617-12_0_3_load_46 | 25 | 0.00067033 | 0.000168 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6617-12_0_3_load_59 | 26 | 0.0012202 | 0.0003058 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6617-12_0_3_load_36 | 27 | 0.00087352 | 0.00021893 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6617-12_0_3_load_37 | 28 | 0.00025862 | 6.4817e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6617-12_0_3_load_49 | 31 | 0.00098074 | 0.0002458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6617-12_0_3_load_38 | 32 | 0.00045093 | 0.00011301 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6617-12_0_3_load_39 | 33 | 0.00041751 | 0.00010464 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6617-12_0_3_load_41 | 35 | 0.0013644 | 0.00034195 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6617-12_0_3_load_43 | 37 | 0.0016258 | 0.00040747 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6617-12_0_3_load_45 | 39 | 0.0020926 | 0.00052446 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6617-12_0_3_load_54 | 40 | 0.0022851 | 0.00057271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6617-12_0_3_load_68 | 41 | 0.0013597 | 0.00034078 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6617-12_0_3_load_55 | 42 | 0.0013595 | 0.00034073 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6617-12_0_3_load_69 | 43 | 0.0020354 | 0.00051012 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6617-12_0_3_load_47 | 44 | 0.00096105 | 0.00024086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6617-12_0_3_load_52 | 45 | 0.00074493 | 0.0001867 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6617-12_0_3_load_53 | 46 | 0.0016526 | 0.00041419 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6617-12_0_3_load_65 | 47 | 0.00092622 | 0.00023213 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6617-12_0_3_load_62 | 48 | 0.00064297 | 0.00016114 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6617-12_0_3_load_63 | 50 | 0.00031594 | 7.9183e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6617-12_0_3_load_56 | 51 | 0.0015657 | 0.00039239 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6617-12_0_3_load_278 | 53 | 0.0035721 | 0.00089525 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6617-12_0_3_load_277 | 54 | 0.001159 | 0.00029046 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6617-12_0_3_load_60 | 55 | 0.0026373 | 0.00066097 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6617-12_0_3_load_61 | 56 | 0.00044951 | 0.00011266 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6617-12_0_3_load_195 | 58 | 0.0016669 | 0.00041775 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6617-12_0_3_load_192 | 59 | 0.0010723 | 0.00026875 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6617-12_0_3_load_70 | 61 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6617-12_0_3_load_80 | 62 | 0.0024843 | 0.00062263 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6617-12_0_3_load_115 | 63 | 0.0022469 | 0.00056313 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6617-12_0_3_load_111 | 64 | 0.0018635 | 0.00046703 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6617-12_0_3_load_109 | 65 | 0.0015709 | 0.00039371 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6617-12_0_3_load_110 | 66 | 0.0018229 | 0.00045686 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6617-12_0_3_load_120 | 67 | 0.00057445 | 0.00014397 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6617-12_0_3_load_118 | 68 | 0.0014026 | 0.00035152 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6617-12_0_3_load_112 | 69 | 0.00020302 | 5.0882e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6617-12_0_3_load_114 | 70 | 0.00020309 | 5.0899e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6617-12_0_3_load_116 | 71 | 0.00031214 | 7.8229e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6617-12_0_3_load_117 | 72 | 0.0010554 | 0.0002645 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6617-12_0_3_load_193 | 73 | 0.0012217 | 0.00030618 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6617-12_0_3_load_217 | 74 | 0.002022 | 0.00050675 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6617-12_0_3_load_119 | 76 | 0.0014092 | 0.00035317 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6617-12_0_3_load_121 | 77 | 0.0010616 | 0.00026605 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6617-12_0_3_load_122 | 78 | 0.00056032 | 0.00014043 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6617-12_0_3_load_191 | 79 | 0.0017235 | 0.00043196 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6617-12_0_3_load_251 | 80 | 0.0010809 | 0.00027089 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6617-12_0_3_load_123 | 81 | 0.002501 | 0.00062681 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6617-12_0_3_load_124 | 82 | 0.00063792 | 0.00015988 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6617-12_0_3_load_125 | 83 | 0.0015675 | 0.00039286 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6617-12_0_3_load_126 | 84 | 0.00044189 | 0.00011075 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6617-12_0_3_load_127 | 85 | 0.0019581 | 0.00049074 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6617-12_0_3_load_128 | 86 | 0.0010854 | 0.00027202 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6617-12_0_3_load_280 | 88 | 0.0010315 | 0.00025851 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6617-12_0_3_load_173 | 89 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6617-12_0_3_load_169 | 90 | 0.001815 | 0.00045488 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6617-12_0_3_load_281 | 91 | 0.00087877 | 0.00022024 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6617-12_0_3_load_129 | 92 | 0.0030973 | 0.00077626 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6617-12_0_3_load_130 | 93 | 0.0014468 | 0.00036261 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6617-12_0_3_load_131 | 94 | 0.0012484 | 0.00031288 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6617-12_0_3_load_133 | 95 | 0.00043294 | 0.00010851 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6617-12_0_3_load_134 | 96 | 0.0019436 | 0.00048712 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6617-12_0_3_load_174 | 97 | 0.0016001 | 0.00040102 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6617-12_0_3_load_175 | 98 | 0.00051738 | 0.00012967 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6617-12_0_3_load_143 | 99 | 0.001972 | 0.00049424 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6617-12_0_3_load_144 | 100 | 0.001739 | 0.00043583 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6617-12_0_3_load_146 | 102 | 0.0014617 | 0.00036634 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6617-12_0_3_load_147 | 103 | 0.0011914 | 0.00029859 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6617-12_0_3_load_148 | 104 | 0.00040875 | 0.00010244 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6617-12_0_3_load_149 | 105 | 0.003239 | 0.00081178 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6617-12_0_3_load_150 | 106 | 0.0017894 | 0.00044847 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6617-12_0_3_load_151 | 107 | 0.00040959 | 0.00010265 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6617-12_0_3_load_233 | 108 | 0.0024939 | 0.00062503 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6617-12_0_3_load_214 | 109 | 0.0021782 | 0.0005459 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6617-12_0_3_load_232 | 110 | 0.00069324 | 0.00017374 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6617-12_0_3_load_172 | 111 | 0.00084003 | 0.00021053 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6617-12_0_3_load_213 | 112 | 0.0014821 | 0.00037146 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6617-12_0_3_load_167 | 113 | 0.0022645 | 0.00056755 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6617-12_0_3_load_168 | 114 | 0.0037797 | 0.00094727 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6617-12_0_3_load_170 | 115 | 0.00068472 | 0.00017161 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6617-12_0_3_load_176 | 116 | 0.001058 | 0.00026516 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6617-12_0_3_load_177 | 117 | 0.0054623 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6617-12_0_3_load_178 | 118 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6617-12_0_3_load_181 | 121 | 0.0022778 | 0.00057086 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6617-12_0_3_load_182 | 122 | 0.002007 | 0.00050301 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6617-12_0_3_load_183 | 123 | 0.0013544 | 0.00033946 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6617-12_0_3_load_250 | 124 | 0.0012926 | 0.00032395 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6617-12_0_3_load_196 | 125 | 0.0023405 | 0.0005866 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6617-12_0_3_load_258 | 126 | 0.00055707 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6617-12_0_3_load_238 | 127 | 0.00042081 | 0.00010546 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6617-12_0_3_load_207 | 128 | 0.0014029 | 0.0003516 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6617-12_0_3_load_208 | 129 | 0.0010542 | 0.00026422 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6617-12_0_3_load_237 | 131 | 0.0010867 | 0.00027235 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6617-12_0_3_load_210 | 132 | 0.0012837 | 0.00032173 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6617-12_0_3_load_211 | 133 | 0.0014812 | 0.00037123 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6617-12_0_3_load_212 | 134 | 0.0019019 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6617-12_0_3_load_224 | 135 | 0.0005389 | 0.00013506 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6617-12_0_3_load_225 | 136 | 0.001977 | 0.00049548 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6617-12_0_3_load_226 | 137 | 0.00046118 | 0.00011558 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6617-12_0_3_load_228 | 139 | 0.0016708 | 0.00041875 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6617-12_0_3_load_230 | 141 | 0.0017444 | 0.00043719 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_6617-12_0_3_load_239 | 142 | 0.0013546 | 0.00033948 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_6617-12_0_3_load_266 | 143 | 0.0028335 | 0.00071014 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_6617-12_0_3_load_234 | 144 | 0.0012292 | 0.00030807 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_6617-12_0_3_load_235 | 145 | 0.00063425 | 0.00015896 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_6617-12_0_3_load_236 | 146 | 0.0015887 | 0.00039816 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 106 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6617-12_0_3_line_0 |  | 0 | 1 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6617-12_0_3_line_1 |  | 0 | 2 | 0.029154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6617-12_0_3_line_2 |  | 2 | 3 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6617-12_0_3_line_3 |  | 3 | 4 | 0.0044794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6617-12_0_3_line_4 |  | 4 | 5 | 0.00085067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6617-12_0_3_line_5 |  | 5 | 6 | 0.052041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6617-12_0_3_line_6 |  | 6 | 7 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6617-12_0_3_line_7 |  | 7 | 8 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6617-12_0_3_line_8 |  | 7 | 9 | 0.038044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6617-12_0_3_line_9 |  | 8 | 23 | 0.047776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6617-12_0_3_line_10 |  | 9 | 24 | 0.023052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6617-12_0_3_line_11 |  | 10 | 11 | 0.033708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6617-12_0_3_line_12 |  | 10 | 12 | 0.0062472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6617-12_0_3_line_13 |  | 11 | 13 | 0.030594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6617-12_0_3_line_14 |  | 12 | 14 | 0.00083098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6617-12_0_3_line_15 |  | 13 | 15 | 0.001602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6617-12_0_3_line_16 |  | 13 | 16 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6617-12_0_3_line_17 |  | 14 | 17 | 0.045036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6617-12_0_3_line_18 |  | 15 | 18 | 0.031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6617-12_0_3_line_19 |  | 16 | 19 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6617-12_0_3_line_20 |  | 17 | 20 | 0.0018379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6617-12_0_3_line_21 |  | 18 | 21 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6617-12_0_3_line_22 |  | 19 | 22 | 0.025221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6617-12_0_3_line_23 |  | 22 | 27 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6617-12_0_3_line_24 |  | 23 | 25 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6617-12_0_3_line_25 |  | 24 | 26 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6617-12_0_3_line_26 |  | 25 | 44 | 0.045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6617-12_0_3_line_27 |  | 27 | 28 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6617-12_0_3_line_28 |  | 28 | 29 | 0.027067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6617-12_0_3_line_29 |  | 29 | 30 | 0.005554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6617-12_0_3_line_30 |  | 29 | 31 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6617-12_0_3_line_31 |  | 30 | 45 | 0.031973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6617-12_0_3_line_32 |  | 30 | 46 | 0.064527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6617-12_0_3_line_33 |  | 31 | 44 | 0.01741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6617-12_0_3_line_34 |  | 32 | 33 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6617-12_0_3_line_35 |  | 32 | 34 | 0.05761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6617-12_0_3_line_36 |  | 33 | 35 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6617-12_0_3_line_37 |  | 34 | 36 | 0.008969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6617-12_0_3_line_38 |  | 34 | 37 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6617-12_0_3_line_39 |  | 36 | 38 | 0.005631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6617-12_0_3_line_40 |  | 36 | 39 | 0.038415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6617-12_0_3_line_41 |  | 38 | 40 | 0.031191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6617-12_0_3_line_42 |  | 39 | 41 | 0.019949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6617-12_0_3_line_43 |  | 40 | 42 | 0.044675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6617-12_0_3_line_44 |  | 41 | 43 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6617-12_0_3_line_45 |  | 42 | 51 | 0.034763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6617-12_0_3_line_46 |  | 43 | 60 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6617-12_0_3_line_47 |  | 45 | 47 | 0.052694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6617-12_0_3_line_48 |  | 46 | 48 | 0.0027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6617-12_0_3_line_49 |  | 47 | 49 | 0.024091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6617-12_0_3_line_50 |  | 48 | 50 | 0.032784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6617-12_0_3_line_51 |  | 49 | 63 | 0.034142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6617-12_0_3_line_52 |  | 49 | 64 | 0.031581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6617-12_0_3_line_53 |  | 50 | 60 | 0.016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6617-12_0_3_line_54 |  | 51 | 52 | 0.054418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6617-12_0_3_line_55 |  | 52 | 53 | 0.00635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6617-12_0_3_line_56 |  | 53 | 54 | 0.033833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6617-12_0_3_line_57 |  | 54 | 123 | 0.04664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6617-12_0_3_line_58 |  | 55 | 56 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6617-12_0_3_line_59 |  | 56 | 57 | 0.022156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6617-12_0_3_line_60 |  | 57 | 58 | 0.0068011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6617-12_0_3_line_61 |  | 57 | 59 | 0.032208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6617-12_0_3_line_62 |  | 58 | 125 | 0.037732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6617-12_0_3_line_63 |  | 59 | 73 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6617-12_0_3_line_64 |  | 60 | 61 | 0.035406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6617-12_0_3_line_65 |  | 61 | 62 | 0.035126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6617-12_0_3_line_66 |  | 62 | 65 | 0.036631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6617-12_0_3_line_67 |  | 63 | 72 | 0.014363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6617-12_0_3_line_68 |  | 64 | 69 | 0.056633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6617-12_0_3_line_69 |  | 65 | 66 | 0.027394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6617-12_0_3_line_70 |  | 67 | 68 | 0.00040468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6617-12_0_3_line_71 |  | 68 | 76 | 0.00073686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6617-12_0_3_line_72 |  | 69 | 70 | 0.0091848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6617-12_0_3_line_73 |  | 70 | 71 | 0.0084146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6617-12_0_3_line_74 |  | 71 | 73 | 0.00084276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6617-12_0_3_line_75 |  | 72 | 74 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6617-12_0_3_line_76 |  | 74 | 75 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6617-12_0_3_line_77 |  | 75 | 111 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6617-12_0_3_line_78 |  | 75 | 106 | 0.013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6617-12_0_3_line_79 |  | 76 | 77 | 0.011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6617-12_0_3_line_80 |  | 77 | 78 | 0.00075853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6617-12_0_3_line_81 |  | 78 | 79 | 0.0034986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6617-12_0_3_line_82 |  | 79 | 80 | 0.004482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6617-12_0_3_line_83 |  | 80 | 124 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6617-12_0_3_line_84 |  | 81 | 82 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6617-12_0_3_line_85 |  | 81 | 83 | 0.0035706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6617-12_0_3_line_86 |  | 82 | 84 | 0.019262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6617-12_0_3_line_87 |  | 83 | 85 | 0.030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6617-12_0_3_line_88 |  | 84 | 86 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6617-12_0_3_line_89 |  | 85 | 87 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6617-12_0_3_line_90 |  | 86 | 88 | 0.004652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6617-12_0_3_line_91 |  | 87 | 89 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6617-12_0_3_line_92 |  | 87 | 90 | 0.058619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6617-12_0_3_line_93 |  | 88 | 91 | 0.0024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6617-12_0_3_line_94 |  | 89 | 116 | 0.0041834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6617-12_0_3_line_95 |  | 90 | 113 | 0.0054989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6617-12_0_3_line_96 |  | 91 | 143 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6617-12_0_3_line_97 |  | 92 | 93 | 0.026134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6617-12_0_3_line_98 |  | 92 | 94 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6617-12_0_3_line_99 |  | 94 | 95 | 0.0055871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6617-12_0_3_line_100 |  | 95 | 96 | 0.0095133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6617-12_0_3_line_101 |  | 96 | 97 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6617-12_0_3_line_102 |  | 97 | 98 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6617-12_0_3_line_103 |  | 98 | 116 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6617-12_0_3_line_104 |  | 99 | 100 | 0.015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6617-12_0_3_line_105 |  | 99 | 101 | 0.016763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6617-12_0_3_line_106 |  | 100 | 102 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6617-12_0_3_line_107 |  | 101 | 103 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6617-12_0_3_line_108 |  | 101 | 104 | 0.041181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6617-12_0_3_line_109 |  | 102 | 105 | 0.04469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6617-12_0_3_line_110 |  | 103 | 106 | 0.042637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6617-12_0_3_line_111 |  | 104 | 107 | 0.012859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6617-12_0_3_line_112 |  | 105 | 108 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6617-12_0_3_line_113 |  | 107 | 109 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6617-12_0_3_line_114 |  | 108 | 110 | 0.0087745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6617-12_0_3_line_115 |  | 109 | 112 | 0.018485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6617-12_0_3_line_116 |  | 110 | 144 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6617-12_0_3_line_117 |  | 111 | 115 | 0.0395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6617-12_0_3_line_118 |  | 112 | 133 | 0.013261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6617-12_0_3_line_119 |  | 113 | 114 | 0.029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6617-12_0_3_line_120 |  | 114 | 115 | 0.040091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6617-12_0_3_line_121 |  | 117 | 118 | 0.035929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6617-12_0_3_line_122 |  | 117 | 119 | 0.040787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6617-12_0_3_line_123 |  | 118 | 120 | 0.029901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6617-12_0_3_line_124 |  | 119 | 121 | 0.037946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6617-12_0_3_line_125 |  | 120 | 122 | 0.0008509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6617-12_0_3_line_126 |  | 121 | 123 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6617-12_0_3_line_127 |  | 124 | 146 | 0.0029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6617-12_0_3_line_128 |  | 125 | 126 | 0.002221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6617-12_0_3_line_129 |  | 126 | 127 | 0.020553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6617-12_0_3_line_130 |  | 127 | 131 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6617-12_0_3_line_131 |  | 128 | 129 | 0.007417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6617-12_0_3_line_132 |  | 129 | 130 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6617-12_0_3_line_133 |  | 130 | 131 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6617-12_0_3_line_134 |  | 132 | 133 | 0.033161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6617-12_0_3_line_135 |  | 132 | 134 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6617-12_0_3_line_136 |  | 135 | 136 | 0.0057959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6617-12_0_3_line_137 |  | 135 | 137 | 0.0063077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6617-12_0_3_line_138 |  | 136 | 138 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6617-12_0_3_line_139 |  | 137 | 139 | 0.01794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6617-12_0_3_line_140 |  | 138 | 140 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6617-12_0_3_line_141 |  | 139 | 141 | 0.0095487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6617-12_0_3_line_142 |  | 140 | 142 | 0.02232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6617-12_0_3_line_143 |  | 141 | 143 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6617-12_0_3_line_144 |  | 144 | 145 | 0.011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6617-12_0_3_line_145 |  | 145 | 146 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6617-12_0_3_trafo_150 | 0.63 MVA 20/0.4 kV | 147 | 106 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2503866.0633 | 1120603.3387 | 2503861.4978 | 1120593.774
1 | 2503866.0633 | 1120603.3387 | 2503878.622 | 1120629.6492
2 | 2503883.9569 | 1120640.8258 | 2503878.622 | 1120629.6492
3 | 2503885.8865 | 1120644.8683 | 2503883.9569 | 1120640.8258
4 | 2503886.253 | 1120645.636 | 2503886.253 | 1120645.636 | 2503885.8865 | 1120644.8683
5 | 2503924.2164 | 1120680.0808 | 2503923.795 | 1120679.916 | 2503915.1835 | 1120675.0165 | 2503906.9459 | 1120669.3662 | 2503899.7797 | 1120663.1651 | 2503893.8541 | 1120656.8665 | 2503890.5412 | 1120652.3164 | 2503886.253 | 1120645.636
6 | 2503940.3092 | 1120684.9345 | 2503929.6956 | 1120682.2237 | 2503924.2164 | 1120680.0808
7 | 2503940.3092 | 1120684.9345 | 2503945.0762 | 1120680.4783 | 2503952.4041 | 1120677.1091
8 | 2503940.3092 | 1120684.9345 | 2503943.0313 | 1120693.0852 | 2503946.9958 | 1120698.8257 | 2503951.6767 | 1120704.9773 | 2503962.1905 | 1120715.3137
9 | 2503952.4041 | 1120677.1091 | 2503963.5361 | 1120671.9909 | 2503968.4536 | 1120669.7226 | 2503995.805 | 1120657.136
10 | 2503978.7988 | 1120731.2961 | 2503978.7988 | 1120731.2961 | 2503973.3334 | 1120726.2687 | 2503962.1905 | 1120715.3137
11 | 2504030.0181 | 1120510.8902 | 2504006.0655 | 1120534.6076
12 | 2504034.4573 | 1120506.4946 | 2504030.0181 | 1120510.8902
13 | 2503984.3256 | 1120556.1341 | 2504006.0655 | 1120534.6076
14 | 2504035.0478 | 1120505.9099 | 2504034.4573 | 1120506.4946
15 | 2503984.3256 | 1120556.1341 | 2503983.1834 | 1120555.0107
16 | 2503984.3256 | 1120556.1341 | 2503993.4131 | 1120564.9968
17 | 2504035.0478 | 1120505.9099 | 2504044.4285 | 1120496.6213 | 2504070.7708 | 1120478.7458
18 | 2503960.8676 | 1120533.0614 | 2503983.1834 | 1120555.0107
19 | 2504005.1145 | 1120576.1714 | 2504000.972 | 1120572.3687 | 2503993.4131 | 1120564.9968
20 | 2504070.7708 | 1120478.7458 | 2504072.2916 | 1120477.7138
21 | 2503960.8676 | 1120533.0614 | 2503950.3917 | 1120522.7576
22 | 2504005.1145 | 1120576.1714 | 2504015.1991 | 1120585.4286 | 2504024.0891 | 1120592.7739
23 | 2504024.0891 | 1120592.7739 | 2504035.8475 | 1120602.4891 | 2504046.1104 | 1120610.9698
24 | 2504005.4916 | 1120652.8916 | 2504003.5121 | 1120653.5893 | 2503995.805 | 1120657.136
25 | 2503995.2521 | 1120741.6306 | 2503992.5906 | 1120740.2826 | 2503986.4831 | 1120737.0887 | 2503982.7243 | 1120734.5802 | 2503978.7988 | 1120731.2961
26 | 2504005.4916 | 1120652.8916 | 2504009.2591 | 1120651.5635 | 2504011.699 | 1120650.702 | 2504020.0603 | 1120648.6013 | 2504050.3375 | 1120648.4021
27 | 2504059.5674 | 1120622.0898 | 2504046.1104 | 1120610.9698
28 | 2504080.39 | 1120639.3828 | 2504072.8362 | 1120633.0543 | 2504059.5674 | 1120622.0898
29 | 2504085.0071 | 1120642.4893 | 2504080.39 | 1120639.3828
30 | 2504080.39 | 1120639.3828 | 2504078.5507 | 1120641.6245 | 2504076.2189 | 1120643.9518 | 2504071.4781 | 1120646.1728 | 2504067.6709 | 1120647.3974
31 | 2504085.0071 | 1120642.4893 | 2504109.4877 | 1120663.0557
32 | 2504085.0071 | 1120642.4893 | 2504091.529 | 1120633.8694 | 2504117.2766 | 1120603.2423 | 2504126.0957 | 1120592.7504
33 | 2504050.3375 | 1120648.4021 | 2504061.9139 | 1120648.3259 | 2504067.4786 | 1120647.4593 | 2504067.6709 | 1120647.3974
34 | 2504177.4896 | 1120431.6896 | 2504166.2566 | 1120418.3284
35 | 2504214.7339 | 1120475.6417 | 2504193.0263 | 1120450.17 | 2504177.4896 | 1120431.6896
36 | 2504166.2566 | 1120418.3284 | 2504152.4282 | 1120401.88
37 | 2504214.7339 | 1120475.6417 | 2504220.5825 | 1120482.4532
38 | 2504214.7339 | 1120475.6417 | 2504211.337 | 1120478.4417 | 2504194.8818 | 1120459.1572
39 | 2504220.5825 | 1120482.4532 | 2504224.1851 | 1120486.7877
40 | 2504220.5825 | 1120482.4532 | 2504211.4738 | 1120490.9694 | 2504202.8452 | 1120500.0784 | 2504194.4229 | 1120510.4981
41 | 2504224.1851 | 1120486.7877 | 2504244.2731 | 1120510.6489
42 | 2504181.8822 | 1120526.013 | 2504194.4229 | 1120510.4981
43 | 2504244.2731 | 1120510.6489 | 2504273.0453 | 1120544.8256
44 | 2504181.8822 | 1120526.013 | 2504170.1462 | 1120540.5324 | 2504168.4981 | 1120542.464
45 | 2504295.4334 | 1120571.419 | 2504273.0453 | 1120544.8256
46 | 2504159.5108 | 1120552.9975 | 2504168.4981 | 1120542.464
47 | 2504149.8349 | 1120696.9497 | 2504125.1157 | 1120676.185 | 2504109.4877 | 1120663.0557
48 | 2504127.8737 | 1120590.6352 | 2504126.0957 | 1120592.7504
49 | 2504168.2815 | 1120712.4452 | 2504149.8349 | 1120696.9497
50 | 2504148.9685 | 1120565.5394 | 2504127.8737 | 1120590.6352
51 | 2504168.2815 | 1120712.4452 | 2504183.2917 | 1120723.8476 | 2504188.7597 | 1120727.5855 | 2504194.9604 | 1120730.8226 | 2504196.4988 | 1120731.481
52 | 2504168.2815 | 1120712.4452 | 2504162.439 | 1120718.6638 | 2504159.7865 | 1120724.6095 | 2504156.3385 | 1120736.8272 | 2504155.6576 | 1120740.6095
53 | 2504159.5108 | 1120552.9975 | 2504148.9685 | 1120565.5394
54 | 2504330.4804 | 1120613.0491 | 2504295.4334 | 1120571.419
55 | 2504330.4804 | 1120613.0491 | 2504334.5773 | 1120617.9095
56 | 2504334.5773 | 1120617.9095 | 2504356.386 | 1120643.7758
57 | 2504386.4499 | 1120679.4331 | 2504356.386 | 1120643.7758
58 | 2504060.1179 | 1120812.6434 | 2504054.561 | 1120799.3417
59 | 2504068.0452 | 1120833.331 | 2504061.4563 | 1120815.847 | 2504060.1179 | 1120812.6434
60 | 2504068.0452 | 1120833.331 | 2504070.3876 | 1120839.716
61 | 2504068.0452 | 1120833.331 | 2504098.7428 | 1120823.5839
62 | 2504070.3876 | 1120839.716 | 2504079.4806 | 1120864.5021 | 2504083.3815 | 1120875.1396
63 | 2504127.8035 | 1120808.5181 | 2504126.0898 | 1120810.0406 | 2504121.4334 | 1120813.6833 | 2504113.7691 | 1120817.8852 | 2504105.984 | 1120821.2774 | 2504101.7695 | 1120822.6228 | 2504098.7428 | 1120823.5839
64 | 2504159.5108 | 1120552.9975 | 2504166.1096 | 1120558.4629 | 2504180.2965 | 1120567.5437 | 2504185.5832 | 1120571.0398 | 2504188.8162 | 1120572.7458
65 | 2504188.8162 | 1120572.7458 | 2504190.2674 | 1120573.5116 | 2504220.7711 | 1120587.3245
66 | 2504220.7711 | 1120587.3245 | 2504229.2186 | 1120591.1498 | 2504235.6397 | 1120594.6502 | 2504250.8017 | 1120607.7608
67 | 2504196.4988 | 1120731.481 | 2504203.7774 | 1120734.5963 | 2504209.7632 | 1120736.9862
68 | 2504139.7811 | 1120794.5361 | 2504140.1639 | 1120794.052 | 2504143.0075 | 1120789.4597 | 2504143.7733 | 1120787.6353 | 2504146.4276 | 1120781.3227 | 2504148.8733 | 1120773.0455 | 2504152.1974 | 1120759.8292 | 2504155.6576 | 1120740.6095
69 | 2504271.5236 | 1120625.6788 | 2504250.8017 | 1120607.7608
70 | 2504194.1769 | 1121041.0364 | 2504194.1769 | 1121041.0364 | 2504193.8027 | 1121041.1905
71 | 2504194.8008 | 1121040.6443 | 2504194.1769 | 1121041.0364
72 | 2504134.0795 | 1120801.7367 | 2504134.1809 | 1120801.6182 | 2504139.7811 | 1120794.5361
73 | 2504134.0795 | 1120801.7367 | 2504129.7722 | 1120806.769 | 2504128.4335 | 1120807.9583
74 | 2504128.4335 | 1120807.9583 | 2504127.8035 | 1120808.5181
75 | 2504209.7632 | 1120736.9862 | 2504216.1778 | 1120739.5474 | 2504224.1424 | 1120742.1125
76 | 2504243.8178 | 1120747.9925 | 2504231.6416 | 1120744.5277 | 2504224.1424 | 1120742.1125
77 | 2504243.8178 | 1120747.9925 | 2504259.6931 | 1120752.2809
78 | 2504243.8178 | 1120747.9925 | 2504246.9222 | 1120757.905 | 2504247.5949 | 1120760.9481
79 | 2504203.5908 | 1121033.8161 | 2504203.5908 | 1121033.8161 | 2504199.3868 | 1121037.7629 | 2504194.8008 | 1121040.6443
80 | 2504204.1141 | 1121033.267 | 2504203.5908 | 1121033.8161
81 | 2504206.5277 | 1121030.7344 | 2504206.5277 | 1121030.7344 | 2504204.1141 | 1121033.267
82 | 2504209.2409 | 1121027.167 | 2504209.2409 | 1121027.167 | 2504206.5277 | 1121030.7344
83 | 2504209.2409 | 1121027.167 | 2504211.3755 | 1121023.5976 | 2504213.7197 | 1121018.1683 | 2504214.9721 | 1121013.9458 | 2504215.3484 | 1121011.474
84 | 2504372.0315 | 1120908.1283 | 2504372.0315 | 1120908.1283 | 2504369.7051 | 1120902.9953 | 2504368.9062 | 1120899.3168 | 2504369.0329 | 1120896.1128 | 2504369.6137 | 1120890.4001 | 2504372.5051 | 1120883.4501
85 | 2504372.5051 | 1120883.4501 | 2504372.5051 | 1120883.4501 | 2504374.742 | 1120880.667
86 | 2504383.3412 | 1120923.7163 | 2504375.6406 | 1120913.3855 | 2504372.0315 | 1120908.1283
87 | 2504393.9602 | 1120856.7565 | 2504374.742 | 1120880.667
88 | 2504383.3412 | 1120923.7163 | 2504395.8438 | 1120940.4892
89 | 2504406.963 | 1120840.579 | 2504393.9602 | 1120856.7565
90 | 2504398.6241 | 1120944.219 | 2504395.8438 | 1120940.4892
91 | 2504406.963 | 1120840.579 | 2504421.5199 | 1120851.3203
92 | 2504406.963 | 1120840.579 | 2504359.6226 | 1120806.0099
93 | 2504400.1073 | 1120946.2089 | 2504398.6241 | 1120944.219
94 | 2504424.8861 | 1120853.8041 | 2504421.5199 | 1120851.3203
95 | 2504359.6226 | 1120806.0099 | 2504355.1817 | 1120802.767
96 | 2504400.1073 | 1120946.2089 | 2504415.2576 | 1120966.5337
97 | 2504508.2496 | 1120916.3191 | 2504487.6572 | 1120900.2268
98 | 2504469.9419 | 1120887.0422 | 2504484.9969 | 1120898.1477 | 2504487.6572 | 1120900.2268
99 | 2504465.4458 | 1120883.7255 | 2504469.9419 | 1120887.0422
100 | 2504465.4458 | 1120883.7255 | 2504457.79 | 1120878.0781
101 | 2504445.9491 | 1120869.3434 | 2504457.79 | 1120878.0781
102 | 2504445.9491 | 1120869.3434 | 2504436.0794 | 1120862.0628
103 | 2504424.8861 | 1120853.8041 | 2504433.0135 | 1120859.8012 | 2504436.0794 | 1120862.0628
104 | 2504228.0657 | 1120852.1848 | 2504229.1661 | 1120848.7864 | 2504233.3031 | 1120837.4128
105 | 2504239.0287 | 1120821.658 | 2504236.4264 | 1120828.8258 | 2504233.3031 | 1120837.4128
106 | 2504219.9076 | 1120877.9138 | 2504220.8398 | 1120874.5007 | 2504228.0657 | 1120852.1848
107 | 2504239.0287 | 1120821.658 | 2504245.7373 | 1120802.765
108 | 2504239.0287 | 1120821.658 | 2504248.1228 | 1120828.3181 | 2504257.4623 | 1120841.7006 | 2504265.5628 | 1120852.6126
109 | 2504219.9076 | 1120877.9138 | 2504217.0551 | 1120888.358 | 2504215.6216 | 1120894.7847 | 2504213.5628 | 1120910.438 | 2504212.895 | 1120921.9093
110 | 2504247.5949 | 1120760.9481 | 2504249.2244 | 1120768.3194 | 2504250.0299 | 1120774.844 | 2504250.2289 | 1120782.0452 | 2504249.7615 | 1120788.5789 | 2504247.2271 | 1120798.5696 | 2504245.7373 | 1120802.765
111 | 2504273.507 | 1120862.7244 | 2504265.685 | 1120852.7772 | 2504265.5628 | 1120852.6126
112 | 2504212.789 | 1120942.2382 | 2504212.6779 | 1120939.7923 | 2504212.538 | 1120928.0428 | 2504212.895 | 1120921.9093
113 | 2504273.507 | 1120862.7244 | 2504278.5513 | 1120869.1391 | 2504280.5092 | 1120871.3844
114 | 2504212.789 | 1120942.2382 | 2504213.1872 | 1120951.0036
115 | 2504292.7028 | 1120885.2764 | 2504291.3365 | 1120883.8012 | 2504280.5092 | 1120871.3844
116 | 2504214.3002 | 1120975.3205 | 2504214.2667 | 1120974.7997 | 2504213.8275 | 1120965.1007 | 2504213.1872 | 1120951.0036
117 | 2504297.0475 | 1120764.917 | 2504292.001 | 1120762.5608 | 2504281.4444 | 1120758.5588 | 2504266.2892 | 1120754.0627 | 2504259.6931 | 1120752.2809
118 | 2504292.7028 | 1120885.2764 | 2504301.7139 | 1120895.0058
119 | 2504355.1817 | 1120802.767 | 2504331.4335 | 1120785.4255
120 | 2504297.0475 | 1120764.917 | 2504301.9505 | 1120767.2062 | 2504313.1619 | 1120773.5771 | 2504328.0548 | 1120782.9583 | 2504331.4335 | 1120785.4255
121 | 2504477.8063 | 1120788.0564 | 2504454.7088 | 1120760.5351
122 | 2504428.4883 | 1120729.2928 | 2504454.7088 | 1120760.5351
123 | 2504497.0283 | 1120810.9599 | 2504477.8063 | 1120788.0564
124 | 2504428.4883 | 1120729.2928 | 2504404.0284 | 1120700.2821
125 | 2504497.5668 | 1120811.6187 | 2504497.0283 | 1120810.9599
126 | 2504386.4499 | 1120679.4331 | 2504404.0284 | 1120700.2821
127 | 2504215.3484 | 1121011.474 | 2504215.7966 | 1121008.5295 | 2504215.7966 | 1121008.5295
128 | 2504084.1462 | 1120877.2249 | 2504083.3815 | 1120875.1396
129 | 2504084.1462 | 1120877.2249 | 2504088.7144 | 1120889.6821 | 2504090.8352 | 1120895.452 | 2504091.227 | 1120896.5197
130 | 2504094.7671 | 1120906.165 | 2504091.227 | 1120896.5197
131 | 2504107.3419 | 1120940.4288 | 2504104.7827 | 1120933.4672
132 | 2504100.9478 | 1120923.0197 | 2504104.2944 | 1120932.1389 | 2504104.7827 | 1120933.4672
133 | 2504100.9478 | 1120923.0197 | 2504098.7219 | 1120916.9401 | 2504094.7671 | 1120906.165
134 | 2504301.7139 | 1120895.0058 | 2504305.6151 | 1120899.218 | 2504322.1795 | 1120921.0686
135 | 2504335.0389 | 1120938.0318 | 2504322.1795 | 1120921.0686
136 | 2504450.6514 | 1121014.0163 | 2504454.1152 | 1121018.6633
137 | 2504446.8817 | 1121008.9591 | 2504450.6514 | 1121014.0163
138 | 2504462.9954 | 1121030.5765 | 2504454.1152 | 1121018.6633
139 | 2504446.8817 | 1121008.9591 | 2504436.16 | 1120994.5754
140 | 2504462.9954 | 1121030.5765 | 2504475.5544 | 1121019.26
141 | 2504436.16 | 1120994.5754 | 2504430.4533 | 1120986.9195
142 | 2504475.5544 | 1121019.26 | 2504469.6235 | 1121008.1691 | 2504476.504 | 1121001.2451
143 | 2504415.2576 | 1120966.5337 | 2504430.4533 | 1120986.9195
144 | 2504214.3002 | 1120975.3205 | 2504215.0133 | 1120986.4014
145 | 2504215.7966 | 1121008.5295 | 2504215.8846 | 1121003.3693 | 2504215.4439 | 1120993.0922 | 2504215.0133 | 1120986.4014

## bus_geodata
| x | y | coords
0 | 2503866.0633 | 1120603.3386
1 | 2503861.4978 | 1120593.774
2 | 2503878.622 | 1120629.6492
3 | 2503883.9569 | 1120640.8258
4 | 2503885.8865 | 1120644.8683
5 | 2503886.253 | 1120645.636
6 | 2503924.2164 | 1120680.0808
7 | 2503940.3092 | 1120684.9345
8 | 2503952.4041 | 1120677.1091
9 | 2503962.1905 | 1120715.3137
10 | 2504030.0181 | 1120510.8902
11 | 2504006.0655 | 1120534.6076
12 | 2504034.4573 | 1120506.4946
13 | 2503984.3256 | 1120556.1341
14 | 2504035.0478 | 1120505.9099
15 | 2503983.1834 | 1120555.0107
16 | 2503993.4131 | 1120564.9968
17 | 2504070.7708 | 1120478.7458
18 | 2503960.8676 | 1120533.0614
19 | 2504005.1145 | 1120576.1714
20 | 2504072.2916 | 1120477.7138
21 | 2503950.3917 | 1120522.7576
22 | 2504024.0891 | 1120592.7739
23 | 2503995.805 | 1120657.136
24 | 2503978.7988 | 1120731.2961
25 | 2504005.4916 | 1120652.8916
26 | 2503995.2521 | 1120741.6306
27 | 2504046.1104 | 1120610.9698
28 | 2504059.5674 | 1120622.0898
29 | 2504080.39 | 1120639.3828
30 | 2504085.0071 | 1120642.4893
31 | 2504067.6709 | 1120647.3974
32 | 2504177.4896 | 1120431.6896
33 | 2504166.2566 | 1120418.3284
34 | 2504214.7339 | 1120475.6417
35 | 2504152.4282 | 1120401.88
36 | 2504220.5825 | 1120482.4532
37 | 2504194.8818 | 1120459.1572
38 | 2504224.1851 | 1120486.7877
39 | 2504194.4229 | 1120510.4981
40 | 2504244.2731 | 1120510.6489
41 | 2504181.8822 | 1120526.013
42 | 2504273.0453 | 1120544.8256
43 | 2504168.4981 | 1120542.464
44 | 2504050.3375 | 1120648.4021
45 | 2504109.4878 | 1120663.0557
46 | 2504126.0957 | 1120592.7504
47 | 2504149.8349 | 1120696.9497
48 | 2504127.8737 | 1120590.6352
49 | 2504168.2815 | 1120712.4452
50 | 2504148.9685 | 1120565.5394
51 | 2504295.4334 | 1120571.419
52 | 2504330.4804 | 1120613.0491
53 | 2504334.5773 | 1120617.9095
54 | 2504356.386 | 1120643.7758
55 | 2504054.561 | 1120799.3417
56 | 2504060.1179 | 1120812.6434
57 | 2504068.0452 | 1120833.331
58 | 2504070.3876 | 1120839.716
59 | 2504098.7428 | 1120823.5839
60 | 2504159.5108 | 1120552.9975
61 | 2504188.8162 | 1120572.7458
62 | 2504220.7711 | 1120587.3245
63 | 2504196.4988 | 1120731.481
64 | 2504155.6576 | 1120740.6095
65 | 2504250.8017 | 1120607.7608
66 | 2504271.5236 | 1120625.6788
67 | 2504193.8027 | 1121041.1905
68 | 2504194.1769 | 1121041.0364
69 | 2504139.7811 | 1120794.5361
70 | 2504134.0795 | 1120801.7367
71 | 2504128.4335 | 1120807.9583
72 | 2504209.7632 | 1120736.9862
73 | 2504127.8035 | 1120808.5181
74 | 2504224.1424 | 1120742.1125
75 | 2504243.8178 | 1120747.9925
76 | 2504194.8008 | 1121040.6443
77 | 2504203.5908 | 1121033.8161
78 | 2504204.1141 | 1121033.267
79 | 2504206.5277 | 1121030.7344
80 | 2504209.2409 | 1121027.167
81 | 2504372.5051 | 1120883.4501
82 | 2504372.0315 | 1120908.1283
83 | 2504374.742 | 1120880.667
84 | 2504383.3412 | 1120923.7163
85 | 2504393.9602 | 1120856.7565
86 | 2504395.8438 | 1120940.4892
87 | 2504406.963 | 1120840.579
88 | 2504398.6241 | 1120944.219
89 | 2504421.5199 | 1120851.3203
90 | 2504359.6226 | 1120806.0099
91 | 2504400.1073 | 1120946.2089
92 | 2504487.6572 | 1120900.2268
93 | 2504508.2496 | 1120916.3191
94 | 2504469.9419 | 1120887.0422
95 | 2504465.4458 | 1120883.7255
96 | 2504457.79 | 1120878.0781
97 | 2504445.9491 | 1120869.3434
98 | 2504436.0794 | 1120862.0628
99 | 2504233.3031 | 1120837.4128
100 | 2504228.0657 | 1120852.1848
101 | 2504239.0287 | 1120821.658
102 | 2504219.9076 | 1120877.9138
103 | 2504245.7373 | 1120802.765
104 | 2504265.5628 | 1120852.6126
105 | 2504212.895 | 1120921.9093
106 | 2504247.5949 | 1120760.9481
107 | 2504273.507 | 1120862.7244
108 | 2504212.789 | 1120942.2382
109 | 2504280.5092 | 1120871.3844
110 | 2504213.1872 | 1120951.0036
111 | 2504259.6931 | 1120752.2809
112 | 2504292.7028 | 1120885.2764
113 | 2504355.1817 | 1120802.767
114 | 2504331.4335 | 1120785.4255
115 | 2504297.0475 | 1120764.917
116 | 2504424.8861 | 1120853.8041
117 | 2504454.7088 | 1120760.5351
118 | 2504477.8063 | 1120788.0564
119 | 2504428.4883 | 1120729.2928
120 | 2504497.0283 | 1120810.9599
121 | 2504404.0284 | 1120700.2821
122 | 2504497.5668 | 1120811.6187
123 | 2504386.4499 | 1120679.4331
124 | 2504215.3484 | 1121011.474
125 | 2504083.3815 | 1120875.1396
126 | 2504084.1462 | 1120877.2249
127 | 2504091.227 | 1120896.5197
128 | 2504107.3419 | 1120940.4288
129 | 2504104.7828 | 1120933.4672
130 | 2504100.9478 | 1120923.0197
131 | 2504094.7671 | 1120906.165
132 | 2504322.1795 | 1120921.0686
133 | 2504301.7139 | 1120895.0058
134 | 2504335.0389 | 1120938.0318
135 | 2504450.6514 | 1121014.0163
136 | 2504454.1152 | 1121018.6633
137 | 2504446.8817 | 1121008.9591
138 | 2504462.9954 | 1121030.5765
139 | 2504436.16 | 1120994.5754
140 | 2504475.5544 | 1121019.26
141 | 2504430.4533 | 1120986.9195
142 | 2504476.504 | 1121001.2451
143 | 2504415.2576 | 1120966.5337
144 | 2504214.3002 | 1120975.3205
145 | 2504215.0133 | 1120986.4014
146 | 2504215.7966 | 1121008.5295
147 | 2504243.8178 | 1120747.9925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1