## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6617-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6617-4_0_4_node_38 | 0.4 | n |  | TRUE
2 | bus_LV_6617-4_0_4_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_6617-4_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_6617-4_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_6617-4_0_4_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_6617-4_0_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_6617-4_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6617-4_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_6617-4_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_6617-4_0_4_node_85 | 0.4 | n |  | TRUE
11 | bus_LV_6617-4_0_4_node_108 | 0.4 | n |  | TRUE
12 | bus_LV_6617-4_0_4_node_2 | 0.4 | n |  | TRUE
13 | bus_LV_6617-4_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6617-4_0_4_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_6617-4_0_4_node_95 | 0.4 | n |  | TRUE
16 | bus_LV_6617-4_0_4_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_6617-4_0_4_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_6617-4_0_4_node_102 | 0.4 | n |  | TRUE
19 | bus_LV_6617-4_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_6617-4_0_4_node_3 | 0.4 | n |  | TRUE
21 | bus_LV_6617-4_0_4_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6617-4_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_6617-4_0_4_node_106 | 0.4 | n |  | TRUE
24 | bus_LV_6617-4_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_6617-4_0_4_node_4 | 0.4 | n |  | TRUE
26 | bus_LV_6617-4_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6617-4_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_6617-4_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_6617-4_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_6617-4_0_4_node_5 | 0.4 | n |  | TRUE
31 | bus_LV_6617-4_0_4_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_6617-4_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_6617-4_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_6617-4_0_4_node_6 | 0.4 | n |  | TRUE
35 | bus_LV_6617-4_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_6617-4_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_6617-4_0_4_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_6617-4_0_4_node_12 | 0.4 | n |  | TRUE
39 | bus_LV_6617-4_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6617-4_0_4_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_6617-4_0_4_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_6617-4_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6617-4_0_4_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_6617-4_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_6617-4_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6617-4_0_4_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_6617-4_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_6617-4_0_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_6617-4_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_6617-4_0_4_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_6617-4_0_4_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_6617-4_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6617-4_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6617-4_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_6617-4_0_4_node_111 | 0.4 | n |  | TRUE
56 | bus_LV_6617-4_0_4_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_6617-4_0_4_node_10 | 0.4 | n |  | TRUE
58 | bus_LV_6617-4_0_4_node_20 | 0.4 | n |  | TRUE
59 | bus_LV_6617-4_0_4_node_96 | 0.4 | n |  | TRUE
60 | bus_LV_6617-4_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_6617-4_0_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_6617-4_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6617-4_0_4_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_6617-4_0_4_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_6617-4_0_4_node_9 | 0.4 | n |  | TRUE
66 | bus_LV_6617-4_0_4_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_6617-4_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_6617-4_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6617-4_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6617-4_0_4_node_11 | 0.4 | n |  | TRUE
71 | bus_LV_6617-4_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6617-4_0_4_node_25 | 0.4 | n |  | TRUE
73 | bus_LV_6617-4_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_6617-4_0_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_6617-4_0_4_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_6617-4_0_4_node_15 | 0.4 | n |  | TRUE
77 | bus_LV_6617-4_0_4_node_17 | 0.4 | n |  | TRUE
78 | bus_LV_6617-4_0_4_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_6617-4_0_4_node_40 | 0.4 | n |  | TRUE
80 | bus_LV_6617-4_0_4_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_6617-4_0_4_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_6617-4_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_6617-4_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6617-4_0_4_node_19 | 0.4 | n |  | TRUE
85 | bus_LV_6617-4_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_6617-4_0_4_node_23 | 0.4 | n |  | TRUE
87 | bus_LV_6617-4_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_6617-4_0_4_node_21 | 0.4 | n |  | TRUE
89 | bus_LV_6617-4_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_6617-4_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_6617-4_0_4_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_6617-4_0_4_node_29 | 0.4 | n |  | TRUE
93 | bus_LV_6617-4_0_4_node_22 | 0.4 | n |  | TRUE
94 | bus_LV_6617-4_0_4_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_6617-4_0_4_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_6617-4_0_4_node_62 | 0.4 | n |  | TRUE
97 | bus_LV_6617-4_0_4_node_109 | 0.4 | n |  | TRUE
98 | bus_LV_6617-4_0_4_node_26 | 0.4 | n |  | TRUE
99 | bus_LV_6617-4_0_4_node_28 | 0.4 | n |  | TRUE
100 | bus_LV_6617-4_0_4_node_33 | 0.4 | n |  | TRUE
101 | bus_LV_6617-4_0_4_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_6617-4_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_6617-4_0_4_node_32 | 0.4 | n |  | TRUE
104 | bus_LV_6617-4_0_4_node_80 | 0.4 | n |  | TRUE
105 | bus_LV_6617-4_0_4_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_6617-4_0_4_node_36 | 0.4 | n |  | TRUE
107 | bus_LV_6617-4_0_4_node_55 | 0.4 | n |  | TRUE
108 | bus_LV_6617-4_0_4_node_63 | 0.4 | n |  | TRUE
109 | bus_LV_6617-4_0_4_node_56 | 0.4 | n |  | TRUE
110 | bus_LV_6617-4_0_4_node_44 | 0.4 | n |  | TRUE
111 | bus_LV_6617-4_0_4_node_93 | 0.4 | n |  | TRUE
112 | bus_MV_647_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6617-4_0_4_load_0 | 0 | 0.005809 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6617-4_0_4_load_38 | 1 | 0.0027317 | 0.00068462 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6617-4_0_4_load_52 | 2 | 0.0026446 | 0.00066279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6617-4_0_4_load_14 | 3 | 0.0031392 | 0.00078677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6617-4_0_4_load_8 | 4 | 0.0022952 | 0.00057524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6617-4_0_4_load_1 | 5 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6617-4_0_4_load_60 | 6 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6617-4_0_4_load_13 | 7 | 0.0021962 | 0.00055043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6617-4_0_4_load_47 | 8 | 0.0016937 | 0.00042448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6617-4_0_4_load_42 | 9 | 0.0039249 | 0.00098367 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6617-4_0_4_load_85 | 10 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6617-4_0_4_load_108 | 11 | 0.0041529 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6617-4_0_4_load_2 | 12 | 0.0018922 | 0.00047423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6617-4_0_4_load_7 | 13 | 0.0012642 | 0.00031683 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6617-4_0_4_load_112 | 14 | 0.003679 | 0.00092204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6617-4_0_4_load_95 | 15 | 0.0042715 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6617-4_0_4_load_97 | 16 | 0.0022194 | 0.00055623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6617-4_0_4_load_74 | 17 | 0.0019628 | 0.00049191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6617-4_0_4_load_102 | 18 | 0.0043568 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6617-4_0_4_load_53 | 19 | 0.0012329 | 0.00030899 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6617-4_0_4_load_3 | 20 | 0.00044064 | 0.00011044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6617-4_0_4_load_41 | 21 | 0.00056635 | 0.00014194 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6617-4_0_4_load_43 | 22 | 0.00065587 | 0.00016438 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6617-4_0_4_load_106 | 23 | 0.0028518 | 0.00071473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6617-4_0_4_load_65 | 24 | 0.00038327 | 9.6057e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6617-4_0_4_load_18 | 26 | 0.0020054 | 0.0005026 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6617-4_0_4_load_49 | 27 | 0.0039535 | 0.00099084 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6617-4_0_4_load_79 | 29 | 0.0022727 | 0.00056959 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6617-4_0_4_load_5 | 30 | 0.0012683 | 0.00031788 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6617-4_0_4_load_105 | 31 | 0.0015094 | 0.00037828 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6617-4_0_4_load_37 | 32 | 0.0085164 | 0.0021344 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6617-4_0_4_load_81 | 33 | 0.0015094 | 0.00037829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6617-4_0_4_load_6 | 34 | 0.0017942 | 0.00044966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6617-4_0_4_load_16 | 35 | 0.027924 | 0.0069984 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6617-4_0_4_load_61 | 37 | 0.0011965 | 0.00029988 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6617-4_0_4_load_12 | 38 | 0.0013219 | 0.00033131 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6617-4_0_4_load_46 | 39 | 0.00091093 | 0.0002283 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6617-4_0_4_load_75 | 40 | 0.0013001 | 0.00032584 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6617-4_0_4_load_87 | 41 | 0.0012011 | 0.00030103 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6617-4_0_4_load_27 | 42 | 0.00082605 | 0.00020703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6617-4_0_4_load_84 | 43 | 0.01257 | 0.0031502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6617-4_0_4_load_78 | 44 | 0.001841 | 0.00046141 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6617-4_0_4_load_39 | 45 | 0.001503 | 0.00037669 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6617-4_0_4_load_98 | 46 | 0.00030562 | 7.6595e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6617-4_0_4_load_82 | 47 | 0.0009366 | 0.00023474 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6617-4_0_4_load_99 | 48 | 0.0028615 | 0.00071717 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6617-4_0_4_load_24 | 49 | 0.00091476 | 0.00022926 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6617-4_0_4_load_88 | 50 | 0.0029521 | 0.00073987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6617-4_0_4_load_101 | 51 | 0.0028619 | 0.00071726 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6617-4_0_4_load_31 | 52 | 0.0046094 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6617-4_0_4_load_50 | 53 | 0.0028828 | 0.00072251 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6617-4_0_4_load_30 | 54 | 0.00078381 | 0.00019644 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6617-4_0_4_load_111 | 55 | 0.0023843 | 0.00059756 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6617-4_0_4_load_89 | 56 | 0.0015092 | 0.00037825 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6617-4_0_4_load_10 | 57 | 0.0014144 | 0.00035448 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6617-4_0_4_load_96 | 59 | 0.00066809 | 0.00016744 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6617-4_0_4_load_45 | 60 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6617-4_0_4_load_76 | 61 | 0.00068845 | 0.00017254 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6617-4_0_4_load_66 | 62 | 0.00074865 | 0.00018763 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6617-4_0_4_load_110 | 63 | 0.00094516 | 0.00023688 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6617-4_0_4_load_107 | 64 | 0.00096616 | 0.00024214 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6617-4_0_4_load_9 | 65 | 0.0015091 | 0.00037822 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6617-4_0_4_load_71 | 67 | 0.001553 | 0.00038923 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6617-4_0_4_load_68 | 69 | 0.002067 | 0.00051805 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6617-4_0_4_load_11 | 70 | 0.0020672 | 0.0005181 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6617-4_0_4_load_70 | 71 | 0.0014484 | 0.00036299 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6617-4_0_4_load_25 | 72 | 0.002067 | 0.00051803 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6617-4_0_4_load_72 | 73 | 0.00082595 | 0.000207 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6617-4_0_4_load_69 | 74 | 0.0036177 | 0.00090668 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6617-4_0_4_load_90 | 75 | 0.0021134 | 0.00052967 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6617-4_0_4_load_15 | 76 | 0.00042736 | 0.00010711 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6617-4_0_4_load_48 | 78 | 0.0016563 | 0.00041511 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6617-4_0_4_load_40 | 79 | 0.0021852 | 0.00054767 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6617-4_0_4_load_103 | 80 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6617-4_0_4_load_54 | 81 | 0.0022645 | 0.00056754 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6617-4_0_4_load_73 | 82 | 0.0039203 | 0.00098251 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6617-4_0_4_load_64 | 83 | 0.0017146 | 0.00042972 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6617-4_0_4_load_19 | 84 | 0.00062516 | 0.00015668 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6617-4_0_4_load_86 | 85 | 0.00063358 | 0.00015879 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6617-4_0_4_load_67 | 87 | 0.0011676 | 0.00029263 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6617-4_0_4_load_21 | 88 | 0.00020327 | 5.0945e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6617-4_0_4_load_83 | 89 | 0.0019623 | 0.00049179 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6617-4_0_4_load_91 | 90 | 0.0009813 | 0.00024594 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6617-4_0_4_load_100 | 91 | 0.0011539 | 0.00028919 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6617-4_0_4_load_29 | 92 | 0.001109 | 0.00027793 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6617-4_0_4_load_22 | 93 | 0.0006197 | 0.00015531 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6617-4_0_4_load_104 | 94 | 0.0018567 | 0.00046534 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6617-4_0_4_load_77 | 95 | 0.00070071 | 0.00017561 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6617-4_0_4_load_62 | 96 | 0.00081074 | 0.00020319 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6617-4_0_4_load_109 | 97 | 0.00091726 | 0.00022989 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6617-4_0_4_load_26 | 98 | 0.0008705 | 0.00021817 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6617-4_0_4_load_28 | 99 | 0.00078194 | 0.00019597 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6617-4_0_4_load_33 | 100 | 0.0022151 | 0.00055515 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6617-4_0_4_load_113 | 101 | 0.0013862 | 0.0003474 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6617-4_0_4_load_92 | 102 | 0.0015449 | 0.00038718 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6617-4_0_4_load_32 | 103 | 0.0020157 | 0.00050519 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6617-4_0_4_load_94 | 105 | 0.0021872 | 0.00054817 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6617-4_0_4_load_36 | 106 | 0.0023081 | 0.00057845 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6617-4_0_4_load_55 | 107 | 0.003195 | 0.00080075 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6617-4_0_4_load_63 | 108 | 0.0020643 | 0.00051737 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6617-4_0_4_load_56 | 109 | 0.0020076 | 0.00050316 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6617-4_0_4_load_44 | 110 | 0.0015082 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6617-4_0_4_load_93 | 111 | 0.00099527 | 0.00024944 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6617-4_0_4_line_0 |  | 0 | 1 | 0.0047562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6617-4_0_4_line_1 |  | 0 | 2 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6617-4_0_4_line_2 |  | 1 | 3 | 0.0014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6617-4_0_4_line_3 |  | 2 | 4 | 0.021126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6617-4_0_4_line_4 |  | 3 | 35 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6617-4_0_4_line_5 |  | 5 | 6 | 0.0030719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6617-4_0_4_line_6 |  | 5 | 7 | 0.028298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6617-4_0_4_line_7 |  | 6 | 8 | 0.050088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6617-4_0_4_line_8 |  | 7 | 9 | 0.052071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6617-4_0_4_line_9 |  | 8 | 10 | 0.056572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6617-4_0_4_line_10 |  | 10 | 11 | 0.036878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6617-4_0_4_line_11 |  | 11 | 68 | 0.049494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6617-4_0_4_line_12 |  | 12 | 13 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6617-4_0_4_line_13 |  | 12 | 14 | 0.0019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6617-4_0_4_line_14 |  | 13 | 18 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6617-4_0_4_line_15 |  | 14 | 19 | 0.026528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6617-4_0_4_line_16 |  | 15 | 16 | 0.0096078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6617-4_0_4_line_17 |  | 15 | 17 | 0.030697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6617-4_0_4_line_18 |  | 16 | 19 | 0.009609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6617-4_0_4_line_19 |  | 17 | 82 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6617-4_0_4_line_20 |  | 18 | 39 | 0.0083313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6617-4_0_4_line_21 |  | 20 | 21 | 0.0049818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6617-4_0_4_line_22 |  | 20 | 22 | 0.0076845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6617-4_0_4_line_23 |  | 21 | 23 | 0.029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6617-4_0_4_line_24 |  | 22 | 24 | 0.0038524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6617-4_0_4_line_25 |  | 23 | 100 | 0.0045349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6617-4_0_4_line_26 |  | 24 | 76 | 0.016744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6617-4_0_4_line_27 |  | 25 | 26 | 0.040676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6617-4_0_4_line_28 |  | 25 | 27 | 0.025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6617-4_0_4_line_29 |  | 26 | 28 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6617-4_0_4_line_30 |  | 27 | 29 | 0.041268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6617-4_0_4_line_31 |  | 28 | 63 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6617-4_0_4_line_32 |  | 29 | 42 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6617-4_0_4_line_33 |  | 30 | 31 | 0.0029513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6617-4_0_4_line_34 |  | 30 | 32 | 0.011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6617-4_0_4_line_35 |  | 31 | 33 | 0.0059563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6617-4_0_4_line_36 |  | 33 | 57 | 0.032484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6617-4_0_4_line_37 |  | 34 | 35 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6617-4_0_4_line_38 |  | 34 | 36 | 0.027956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6617-4_0_4_line_39 |  | 36 | 37 | 0.054296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6617-4_0_4_line_40 |  | 36 | 38 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6617-4_0_4_line_41 |  | 37 | 76 | 0.0090533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6617-4_0_4_line_42 |  | 38 | 74 | 0.030214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6617-4_0_4_line_43 |  | 39 | 40 | 0.0026578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6617-4_0_4_line_44 |  | 40 | 41 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6617-4_0_4_line_45 |  | 41 | 108 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6617-4_0_4_line_46 |  | 43 | 44 | 0.0062948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6617-4_0_4_line_47 |  | 43 | 45 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6617-4_0_4_line_48 |  | 44 | 46 | 0.0010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6617-4_0_4_line_49 |  | 45 | 47 | 0.0063906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6617-4_0_4_line_50 |  | 46 | 48 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6617-4_0_4_line_51 |  | 47 | 49 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6617-4_0_4_line_52 |  | 48 | 50 | 0.0048152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6617-4_0_4_line_53 |  | 49 | 51 | 0.0041584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6617-4_0_4_line_54 |  | 50 | 64 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6617-4_0_4_line_55 |  | 51 | 52 | 0.022369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6617-4_0_4_line_56 |  | 52 | 53 | 0.0025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6617-4_0_4_line_57 |  | 53 | 54 | 0.0089238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6617-4_0_4_line_58 |  | 54 | 55 | 0.021975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6617-4_0_4_line_59 |  | 55 | 62 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6617-4_0_4_line_60 |  | 56 | 57 | 0.0068927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6617-4_0_4_line_61 |  | 56 | 58 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6617-4_0_4_line_62 |  | 58 | 59 | 0.026902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6617-4_0_4_line_63 |  | 58 | 65 | 0.050018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6617-4_0_4_line_64 |  | 59 | 60 | 0.026377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6617-4_0_4_line_65 |  | 60 | 61 | 0.0002924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6617-4_0_4_line_66 |  | 61 | 62 | 0.027199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6617-4_0_4_line_67 |  | 63 | 64 | 0.00016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6617-4_0_4_line_68 |  | 65 | 66 | 0.049295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6617-4_0_4_line_69 |  | 66 | 67 | 0.026292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6617-4_0_4_line_70 |  | 67 | 70 | 0.0002151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6617-4_0_4_line_71 |  | 68 | 69 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6617-4_0_4_line_72 |  | 69 | 72 | 0.0035764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6617-4_0_4_line_73 |  | 70 | 71 | 0.001043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6617-4_0_4_line_74 |  | 71 | 72 | 0.066655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_6617-4_0_4_line_75 |  | 72 | 73 | 0.031232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6617-4_0_4_line_76 |  | 73 | 97 | 0.0055585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6617-4_0_4_line_77 |  | 74 | 75 | 0.0099601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6617-4_0_4_line_78 |  | 75 | 92 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6617-4_0_4_line_79 |  | 77 | 78 | 0.028185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6617-4_0_4_line_80 |  | 77 | 79 | 0.0039427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6617-4_0_4_line_81 |  | 78 | 82 | 0.019798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6617-4_0_4_line_82 |  | 79 | 83 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6617-4_0_4_line_83 |  | 80 | 81 | 0.0099118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6617-4_0_4_line_84 |  | 81 | 95 | 0.023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6617-4_0_4_line_85 |  | 81 | 93 | 0.0062973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6617-4_0_4_line_86 |  | 83 | 86 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6617-4_0_4_line_87 |  | 84 | 85 | 0.0072421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6617-4_0_4_line_88 |  | 84 | 86 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6617-4_0_4_line_89 |  | 85 | 87 | 0.028117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6617-4_0_4_line_90 |  | 87 | 103 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6617-4_0_4_line_91 |  | 88 | 89 | 0.0056016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_6617-4_0_4_line_92 |  | 88 | 90 | 0.009293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_6617-4_0_4_line_93 |  | 89 | 91 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_6617-4_0_4_line_94 |  | 90 | 92 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_6617-4_0_4_line_95 |  | 91 | 98 | 0.0030752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_6617-4_0_4_line_96 |  | 94 | 95 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6617-4_0_4_line_97 |  | 94 | 96 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6617-4_0_4_line_98 |  | 96 | 110 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6617-4_0_4_line_99 |  | 97 | 98 | 0.0013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_6617-4_0_4_line_100 |  | 99 | 100 | 0.0048217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_6617-4_0_4_line_101 |  | 99 | 101 | 0.00060614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_6617-4_0_4_line_102 |  | 101 | 102 | 0.041374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_6617-4_0_4_line_103 |  | 102 | 104 | 0.03861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_6617-4_0_4_line_104 |  | 103 | 104 | 0.02221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6617-4_0_4_line_105 |  | 103 | 105 | 0.053985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6617-4_0_4_line_106 |  | 106 | 107 | 0.033052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6617-4_0_4_line_107 |  | 106 | 108 | 0.005239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6617-4_0_4_line_108 |  | 107 | 109 | 0.004279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6617-4_0_4_line_109 |  | 109 | 110 | 0.041631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6617-4_0_4_line_110 |  | 110 | 111 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6617-4_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 112 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2503691.3842 | 1118112.8977 | 2503688.0694 | 1118109.4869
1 | 2503713.8459 | 1118136.0099 | 2503691.3842 | 1118112.8977
2 | 2503687.0549 | 1118108.443 | 2503688.0694 | 1118109.4869
3 | 2503713.8459 | 1118136.0099 | 2503728.5698 | 1118151.1602
4 | 2503687.0549 | 1118108.443 | 2503672.022 | 1118092.9747
5 | 2503635.453 | 1118338.2442 | 2503633.4984 | 1118335.8743
6 | 2503619.3489 | 1118312.8824 | 2503618.8062 | 1118318.0609 | 2503633.4984 | 1118335.8743
7 | 2503635.453 | 1118338.2442 | 2503667.323 | 1118376.8847
8 | 2503619.3489 | 1118312.8824 | 2503576.4181 | 1118283.4151
9 | 2503718.8034 | 1118353.4293 | 2503667.323 | 1118376.8847
10 | 2503718.8034 | 1118353.4293 | 2503721.8726 | 1118349.45 | 2503743.8623 | 1118326.4056
11 | 2503778.0311 | 1118290.598 | 2503743.8623 | 1118326.4056
12 | 2503554.1072 | 1118190.8271 | 2503562.6793 | 1118199.7764
13 | 2503554.1072 | 1118190.8271 | 2503552.7656 | 1118189.4264
14 | 2503562.6793 | 1118199.7764 | 2503576.5027 | 1118193.6009
15 | 2503534.4156 | 1118170.269 | 2503552.7656 | 1118189.4264
16 | 2503521.1229 | 1118156.3913 | 2503527.7689 | 1118163.3297
17 | 2503521.1229 | 1118156.3913 | 2503499.8893 | 1118134.2234
18 | 2503534.4156 | 1118170.269 | 2503527.7689 | 1118163.3297
19 | 2503483.1088 | 1118116.7045 | 2503499.8893 | 1118134.2234
20 | 2503582.5127 | 1118187.8311 | 2503576.5027 | 1118193.6009
21 | 2503569.6871 | 1118063.4225 | 2503566.2398 | 1118059.8259
22 | 2503569.6871 | 1118063.4225 | 2503575.0045 | 1118068.9702
23 | 2503545.5745 | 1118038.2657 | 2503566.2398 | 1118059.8259
24 | 2503575.0045 | 1118068.9702 | 2503577.6702 | 1118071.7513
25 | 2503542.4365 | 1118034.9918 | 2503545.5745 | 1118038.2657
26 | 2503589.2564 | 1118083.8392 | 2503577.6702 | 1118071.7513
27 | 2503995.1696 | 1118013.1885 | 2503959.3605 | 1117993.8948
28 | 2503995.1696 | 1118013.1885 | 2503986.2296 | 1118032.0642 | 2503984.0171 | 1118035.5723
29 | 2503944.8191 | 1117986.06 | 2503959.3605 | 1117993.8948
30 | 2503984.0171 | 1118035.5723 | 2503991.2666 | 1118076.1983
31 | 2503944.8191 | 1117986.06 | 2503928.6898 | 1117998.6616
32 | 2503991.2666 | 1118076.1983 | 2503996.9106 | 1118080.5356 | 2504003.1817 | 1118085.1167
33 | 2503866.2334 | 1118121.3053 | 2503864.6485 | 1118118.8157
34 | 2503858.6431 | 1118109.3826 | 2503864.6485 | 1118118.8157
35 | 2503869.4321 | 1118126.3297 | 2503866.2334 | 1118121.3053
36 | 2503886.877 | 1118153.7316 | 2503869.4321 | 1118126.3297
37 | 2503672.022 | 1118092.9747 | 2503672.022 | 1118092.9747 | 2503653.4601 | 1118110.4246
38 | 2503633.0917 | 1118129.5728 | 2503653.4601 | 1118110.4246
39 | 2503633.0917 | 1118129.5728 | 2503595.521 | 1118090.3751
40 | 2503633.0917 | 1118129.5728 | 2503648.8778 | 1118146.5631
41 | 2503589.2564 | 1118083.8392 | 2503595.521 | 1118090.3751
42 | 2503648.8778 | 1118146.5631 | 2503669.4438 | 1118168.6979
43 | 2503584.4299 | 1118185.9904 | 2503582.5127 | 1118187.8311
44 | 2503584.4299 | 1118185.9904 | 2503602.5143 | 1118168.6285 | 2503602.5143 | 1118168.6285
45 | 2503593.453 | 1118158.9035 | 2503602.5143 | 1118168.6285
46 | 2503895.0391 | 1118024.9523 | 2503895.0391 | 1118024.9523 | 2503899.9995 | 1118021.0769
47 | 2503895.0391 | 1118024.9523 | 2503905.8913 | 1118041.15
48 | 2503899.9995 | 1118021.0769 | 2503900.8183 | 1118020.4371
49 | 2503909.4483 | 1118046.4591 | 2503905.8913 | 1118041.15
50 | 2503914.4097 | 1118009.8184 | 2503900.8183 | 1118020.4371
51 | 2503909.4483 | 1118046.4591 | 2503915.7341 | 1118055.8409
52 | 2503918.2041 | 1118006.8539 | 2503914.4097 | 1118009.8184
53 | 2503918.0486 | 1118059.2956 | 2503915.7341 | 1118055.8409
54 | 2503918.2041 | 1118006.8539 | 2503928.5633 | 1117998.7604
55 | 2503918.0486 | 1118059.2956 | 2503930.4996 | 1118077.8794
56 | 2503930.4996 | 1118077.8794 | 2503931.9154 | 1118079.9927
57 | 2503936.8825 | 1118087.4063 | 2503931.9154 | 1118079.9927
58 | 2503949.1142 | 1118105.6629 | 2503936.8825 | 1118087.4063
59 | 2503960.798 | 1118123.1017 | 2503960.798 | 1118123.1017 | 2503949.1142 | 1118105.6629
60 | 2503890.5787 | 1118159.546 | 2503886.877 | 1118153.7316
61 | 2503902.3113 | 1118177.9754 | 2503890.5787 | 1118159.546
62 | 2503902.3113 | 1118177.9754 | 2503908.5663 | 1118170.8605 | 2503910.4207 | 1118166.6062 | 2503919.8686 | 1118157.9887
63 | 2503902.3113 | 1118177.9754 | 2503865.8268 | 1118212.1905
64 | 2503940.2805 | 1118141.3999 | 2503930.1709 | 1118150.4159 | 2503923.5456 | 1118154.6348 | 2503919.8686 | 1118157.9887
65 | 2503940.4987 | 1118141.2052 | 2503940.2805 | 1118141.3999
66 | 2503960.798 | 1118123.1017 | 2503940.4987 | 1118141.2052
67 | 2503928.6898 | 1117998.6616 | 2503928.5633 | 1117998.7604
68 | 2503827.4455 | 1118242.9829 | 2503852.275 | 1118224.8993 | 2503865.8268 | 1118212.1905
69 | 2503827.4455 | 1118242.9829 | 2503809.1274 | 1118224.1229
70 | 2503808.9775 | 1118223.9686 | 2503809.1274 | 1118224.1229
71 | 2503778.0311 | 1118290.598 | 2503762.8406 | 1118272.5067
72 | 2503760.5409 | 1118269.7677 | 2503762.8406 | 1118272.5067
73 | 2503808.2508 | 1118223.2204 | 2503808.9775 | 1118223.9686
74 | 2503760.5409 | 1118269.7677 | 2503808.2508 | 1118223.2204
75 | 2503740.2989 | 1118245.987 | 2503744.4899 | 1118250.6515 | 2503760.5409 | 1118269.7677
76 | 2503740.2989 | 1118245.987 | 2503736.584 | 1118241.8523
77 | 2503669.4438 | 1118168.6979 | 2503676.2233 | 1118175.9945
78 | 2503693.8326 | 1118194.9471 | 2503676.2233 | 1118175.9945
79 | 2503449.9179 | 1118082.0532 | 2503469.414 | 1118102.4071
80 | 2503449.9179 | 1118082.0532 | 2503447.1296 | 1118079.2657
81 | 2503483.1088 | 1118116.7045 | 2503469.414 | 1118102.4071
82 | 2503447.1296 | 1118079.2657 | 2503436.1736 | 1118068.3129
83 | 2503481.4528 | 1118038.701 | 2503481.4528 | 1118038.701 | 2503475.6222 | 1118046.7165
84 | 2503481.4528 | 1118038.701 | 2503497.7399 | 1118056.1809
85 | 2503481.4528 | 1118038.701 | 2503485.7457 | 1118043.3082
86 | 2503417.9484 | 1118052.2674 | 2503428.2441 | 1118060.3858 | 2503436.1736 | 1118068.3129
87 | 2503429.1701 | 1118036.4387 | 2503428.8038 | 1118036.9513 | 2503424.9804 | 1118042.3458
88 | 2503417.9484 | 1118052.2674 | 2503424.9804 | 1118042.3458
89 | 2503429.1701 | 1118036.4387 | 2503445.5184 | 1118013.5625
90 | 2503445.5184 | 1118013.5625 | 2503456.106 | 1117998.7475 | 2503466.5879 | 1117987.8818
91 | 2503709.5911 | 1118211.9076 | 2503712.256 | 1118214.7758 | 2503713.3831 | 1118216.0303
92 | 2503709.5911 | 1118211.9076 | 2503703.2657 | 1118205.0997
93 | 2503713.3831 | 1118216.0303 | 2503733.653 | 1118238.5903
94 | 2503693.8326 | 1118194.9471 | 2503703.2657 | 1118205.0997
95 | 2503735.7083 | 1118240.8777 | 2503733.653 | 1118238.5903
96 | 2503497.7399 | 1118056.1809 | 2503506.2093 | 1118065.2705
97 | 2503506.2093 | 1118065.2705 | 2503523.0829 | 1118083.3798
98 | 2503536.0528 | 1118097.2996 | 2503523.0829 | 1118083.3798
99 | 2503736.584 | 1118241.8523 | 2503735.7083 | 1118240.8777
100 | 2503542.4365 | 1118034.9918 | 2503539.1 | 1118031.5108
101 | 2503538.6806 | 1118031.0733 | 2503539.1 | 1118031.5108
102 | 2503538.6806 | 1118031.0733 | 2503510.0515 | 1118001.2044
103 | 2503483.3347 | 1117973.3307 | 2503510.0515 | 1118001.2044
104 | 2503483.3347 | 1117973.3307 | 2503479.2168 | 1117977.4545 | 2503467.0861 | 1117987.3653 | 2503466.5879 | 1117987.8818
105 | 2503466.5879 | 1117987.8818 | 2503438.7198 | 1117941.6462
106 | 2503589.8815 | 1118155.0705 | 2503567.3496 | 1118130.8885
107 | 2503589.8815 | 1118155.0705 | 2503593.453 | 1118158.9035
108 | 2503564.4326 | 1118127.7578 | 2503567.3496 | 1118130.8885
109 | 2503564.4326 | 1118127.7578 | 2503536.0528 | 1118097.2996
110 | 2503536.0528 | 1118097.2996 | 2503545.227 | 1118107.1457

## bus_geodata
| x | y | coords
0 | 2503691.3842 | 1118112.8977
1 | 2503688.0694 | 1118109.4869
2 | 2503713.8459 | 1118136.0099
3 | 2503687.0549 | 1118108.443
4 | 2503728.5698 | 1118151.1602
5 | 2503633.4984 | 1118335.8743
6 | 2503635.453 | 1118338.2442
7 | 2503619.3489 | 1118312.8824
8 | 2503667.323 | 1118376.8847
9 | 2503576.4181 | 1118283.4151
10 | 2503718.8034 | 1118353.4293
11 | 2503743.8623 | 1118326.4056
12 | 2503554.1072 | 1118190.8271
13 | 2503562.6793 | 1118199.7764
14 | 2503552.7656 | 1118189.4264
15 | 2503521.1229 | 1118156.3913
16 | 2503527.7689 | 1118163.3297
17 | 2503499.8893 | 1118134.2234
18 | 2503576.5027 | 1118193.6009
19 | 2503534.4156 | 1118170.269
20 | 2503569.6871 | 1118063.4225
21 | 2503566.2398 | 1118059.8259
22 | 2503575.0045 | 1118068.9702
23 | 2503545.5745 | 1118038.2657
24 | 2503577.6702 | 1118071.7513
25 | 2503995.1696 | 1118013.1885
26 | 2503959.3605 | 1117993.8948
27 | 2503984.0171 | 1118035.5723
28 | 2503944.8191 | 1117986.06
29 | 2503991.2666 | 1118076.1983
30 | 2503864.6485 | 1118118.8157
31 | 2503866.2334 | 1118121.3053
32 | 2503858.6431 | 1118109.3826
33 | 2503869.4321 | 1118126.3297
34 | 2503653.4601 | 1118110.4246
35 | 2503672.022 | 1118092.9747
36 | 2503633.0917 | 1118129.5728
37 | 2503595.521 | 1118090.3751
38 | 2503648.8778 | 1118146.5631
39 | 2503582.5127 | 1118187.8311
40 | 2503584.4299 | 1118185.9904
41 | 2503602.5143 | 1118168.6285
42 | 2504003.1817 | 1118085.1167
43 | 2503895.0391 | 1118024.9523
44 | 2503899.9995 | 1118021.0769
45 | 2503905.8913 | 1118041.15
46 | 2503900.8183 | 1118020.4371
47 | 2503909.4483 | 1118046.4591
48 | 2503914.4097 | 1118009.8184
49 | 2503915.7341 | 1118055.8409
50 | 2503918.2041 | 1118006.8539
51 | 2503918.0486 | 1118059.2956
52 | 2503930.4996 | 1118077.8794
53 | 2503931.9154 | 1118079.9927
54 | 2503936.8825 | 1118087.4063
55 | 2503949.1142 | 1118105.6629
56 | 2503890.5787 | 1118159.546
57 | 2503886.877 | 1118153.7316
58 | 2503902.3113 | 1118177.9754
59 | 2503919.8686 | 1118157.9887
60 | 2503940.2805 | 1118141.3999
61 | 2503940.4987 | 1118141.2052
62 | 2503960.798 | 1118123.1017
63 | 2503928.6898 | 1117998.6616
64 | 2503928.5633 | 1117998.7604
65 | 2503865.8268 | 1118212.1905
66 | 2503827.4455 | 1118242.9829
67 | 2503809.1274 | 1118224.1229
68 | 2503778.0311 | 1118290.598
69 | 2503762.8406 | 1118272.5067
70 | 2503808.9775 | 1118223.9686
71 | 2503808.2508 | 1118223.2204
72 | 2503760.5409 | 1118269.7677
73 | 2503740.2989 | 1118245.987
74 | 2503669.4438 | 1118168.6979
75 | 2503676.2233 | 1118175.9945
76 | 2503589.2564 | 1118083.8392
77 | 2503449.9179 | 1118082.0532
78 | 2503469.414 | 1118102.4071
79 | 2503447.1296 | 1118079.2657
80 | 2503475.6222 | 1118046.7165
81 | 2503481.4528 | 1118038.701
82 | 2503483.1088 | 1118116.7045
83 | 2503436.1736 | 1118068.3129
84 | 2503424.9804 | 1118042.3458
85 | 2503429.1701 | 1118036.4387
86 | 2503417.9484 | 1118052.2674
87 | 2503445.5184 | 1118013.5625
88 | 2503709.5911 | 1118211.9076
89 | 2503713.3831 | 1118216.0303
90 | 2503703.2657 | 1118205.0997
91 | 2503733.653 | 1118238.5903
92 | 2503693.8326 | 1118194.9471
93 | 2503485.7457 | 1118043.3082
94 | 2503506.2093 | 1118065.2705
95 | 2503497.7399 | 1118056.1809
96 | 2503523.0829 | 1118083.3798
97 | 2503736.584 | 1118241.8523
98 | 2503735.7083 | 1118240.8777
99 | 2503539.1 | 1118031.5109
100 | 2503542.4365 | 1118034.9918
101 | 2503538.6806 | 1118031.0733
102 | 2503510.0515 | 1118001.2044
103 | 2503466.5879 | 1117987.8818
104 | 2503483.3347 | 1117973.3307
105 | 2503438.7198 | 1117941.6462
106 | 2503589.8815 | 1118155.0705
107 | 2503567.3496 | 1118130.8885
108 | 2503593.453 | 1118158.9035
109 | 2503564.4326 | 1118127.7578
110 | 2503536.0528 | 1118097.2996
111 | 2503545.227 | 1118107.1457
112 | 2503713.8459 | 1118136.0099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1