## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6618-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6618-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6618-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6618-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6618-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6618-5_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6618-5_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6618-5_0_6_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_6618-5_0_6_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_6618-5_0_6_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_6618-5_0_6_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_6618-5_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6618-5_0_6_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_6618-5_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6618-5_0_6_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_6618-5_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6618-5_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6618-5_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6618-5_0_6_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_6618-5_0_6_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_6618-5_0_6_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_6618-5_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6618-5_0_6_node_107 | 0.4 | n |  | TRUE
23 | bus_LV_6618-5_0_6_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_6618-5_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_6618-5_0_6_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_6618-5_0_6_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_6618-5_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6618-5_0_6_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_6618-5_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_6618-5_0_6_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_6618-5_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_6618-5_0_6_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_6618-5_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6618-5_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_6618-5_0_6_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_6618-5_0_6_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6618-5_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6618-5_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6618-5_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6618-5_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_6618-5_0_6_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_6618-5_0_6_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_6618-5_0_6_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_6618-5_0_6_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_6618-5_0_6_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_6618-5_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_6618-5_0_6_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6618-5_0_6_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6618-5_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6618-5_0_6_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_6618-5_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6618-5_0_6_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6618-5_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_6618-5_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6618-5_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6618-5_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6618-5_0_6_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_6618-5_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6618-5_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6618-5_0_6_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_6618-5_0_6_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_6618-5_0_6_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_6618-5_0_6_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_6618-5_0_6_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_6618-5_0_6_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_6618-5_0_6_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_6618-5_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_6618-5_0_6_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_6618-5_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6618-5_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_6618-5_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_6618-5_0_6_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_6618-5_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_6618-5_0_6_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_6618-5_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_6618-5_0_6_node_100 | 0.4 | n |  | TRUE
77 | bus_LV_6618-5_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_6618-5_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6618-5_0_6_node_104 | 0.4 | n |  | TRUE
80 | bus_LV_6618-5_0_6_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_6618-5_0_6_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_6618-5_0_6_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_6618-5_0_6_node_105 | 0.4 | n |  | TRUE
84 | bus_LV_6618-5_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_6618-5_0_6_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_6618-5_0_6_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_6618-5_0_6_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_6618-5_0_6_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_6618-5_0_6_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_6618-5_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6618-5_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_6618-5_0_6_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_6618-5_0_6_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_6618-5_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_6618-5_0_6_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_6618-5_0_6_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_6618-5_0_6_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_6618-5_0_6_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_6618-5_0_6_node_102 | 0.4 | n |  | TRUE
100 | bus_LV_6618-5_0_6_node_106 | 0.4 | n |  | TRUE
101 | bus_MV_458_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6618-5_0_6_load_0 | 0 | 0.0081985 | 0.0020547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6618-5_0_6_load_6 | 5 | 0.014109 | 0.003536 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6618-5_0_6_load_98 | 8 | 0.0059657 | 0.0014951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6618-5_0_6_load_49 | 10 | 0.01353 | 0.0033909 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6618-5_0_6_load_51 | 12 | 0.0030636 | 0.00076782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6618-5_0_6_load_50 | 14 | 0.0029672 | 0.00074366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6618-5_0_6_load_14 | 16 | 0.0029467 | 0.00073852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6618-5_0_6_load_93 | 19 | 0.0036866 | 0.00092395 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6618-5_0_6_load_36 | 20 | 0.0029031 | 0.0007276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6618-5_0_6_load_12 | 21 | 0.013148 | 0.0032951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6618-5_0_6_load_107 | 22 | 0.0068972 | 0.0017286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6618-5_0_6_load_108 | 23 | 0.0069296 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6618-5_0_6_load_31 | 24 | 0.005873 | 0.0014719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6618-5_0_6_load_97 | 25 | 0.0046288 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6618-5_0_6_load_96 | 26 | 0.0030778 | 0.00077138 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6618-5_0_6_load_92 | 28 | 0.0011358 | 0.00028465 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6618-5_0_6_load_37 | 31 | 0.002856 | 0.00071578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6618-5_0_6_load_42 | 34 | 0.0092691 | 0.002323 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6618-5_0_6_load_13 | 35 | 0.018732 | 0.0046947 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6618-5_0_6_load_17 | 36 | 0.003602 | 0.00090275 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6618-5_0_6_load_35 | 37 | 0.0029268 | 0.00073353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6618-5_0_6_load_38 | 38 | 0.0028687 | 0.00071895 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6618-5_0_6_load_32 | 39 | 0.0029191 | 0.0007316 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6618-5_0_6_load_33 | 40 | 0.013659 | 0.0034233 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6618-5_0_6_load_95 | 41 | 0.013755 | 0.0034474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6618-5_0_6_load_18 | 42 | 0.016636 | 0.0041694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6618-5_0_6_load_21 | 45 | 0.0058392 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6618-5_0_6_load_24 | 46 | 0.009616 | 0.00241 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6618-5_0_6_load_62 | 48 | 0.0057886 | 0.0014508 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6618-5_0_6_load_52 | 50 | 0.0036966 | 0.00092646 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6618-5_0_6_load_63 | 51 | 0.0058181 | 0.0014582 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6618-5_0_6_load_60 | 52 | 0.0060022 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6618-5_0_6_load_43 | 54 | 0.0031811 | 0.00079725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6618-5_0_6_load_41 | 55 | 0.0038898 | 0.00097488 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6618-5_0_6_load_109 | 57 | 0.0054197 | 0.0013583 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6618-5_0_6_load_53 | 59 | 0.0036205 | 0.00090737 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6618-5_0_6_load_26 | 60 | 0.0067665 | 0.0016958 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6618-5_0_6_load_29 | 63 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6618-5_0_6_load_30 | 64 | 0.0070292 | 0.0017617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6618-5_0_6_load_64 | 67 | 0.0038678 | 0.00096935 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6618-5_0_6_load_74 | 68 | 0.0015139 | 0.00037943 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6618-5_0_6_load_65 | 69 | 0.0022386 | 0.00056104 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6618-5_0_6_load_56 | 71 | 0.0022441 | 0.00056242 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6618-5_0_6_load_76 | 72 | 0.0046269 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6618-5_0_6_load_75 | 73 | 0.0019927 | 0.00049941 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6618-5_0_6_load_57 | 74 | 0.00225 | 0.00056392 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6618-5_0_6_load_59 | 75 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6618-5_0_6_load_100 | 76 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6618-5_0_6_load_66 | 78 | 0.0022241 | 0.00055741 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6618-5_0_6_load_104 | 79 | 0.0021844 | 0.00054746 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6618-5_0_6_load_103 | 80 | 0.0022204 | 0.00055649 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6618-5_0_6_load_73 | 81 | 0.0066035 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6618-5_0_6_load_105 | 83 | 0.0042088 | 0.0010548 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6618-5_0_6_load_69 | 85 | 0.00089193 | 0.00022354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6618-5_0_6_load_70 | 86 | 0.0013405 | 0.00033595 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6618-5_0_6_load_90 | 87 | 0.0014102 | 0.00035343 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6618-5_0_6_load_101 | 88 | 0.0023843 | 0.00059757 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6618-5_0_6_load_78 | 90 | 0.013024 | 0.0032642 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6618-5_0_6_load_79 | 91 | 0.0016433 | 0.00041184 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6618-5_0_6_load_80 | 92 | 0.0059899 | 0.0015012 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6618-5_0_6_load_87 | 93 | 0.00080228 | 0.00020107 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6618-5_0_6_load_82 | 95 | 0.0021532 | 0.00053965 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6618-5_0_6_load_83 | 96 | 0.0012807 | 0.00032098 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6618-5_0_6_load_84 | 97 | 0.0020437 | 0.00051219 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6618-5_0_6_load_86 | 98 | 0.0081771 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6618-5_0_6_load_102 | 99 | 0.0023748 | 0.00059517 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6618-5_0_6_load_106 | 100 | 0.0024124 | 0.00060461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6618-5_0_6_line_0 |  | 0 | 1 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6618-5_0_6_line_1 |  | 0 | 2 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6618-5_0_6_line_2 |  | 1 | 3 | 0.007658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6618-5_0_6_line_3 |  | 1 | 4 | 0.040753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6618-5_0_6_line_4 |  | 2 | 5 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6618-5_0_6_line_5 |  | 2 | 6 | 0.030337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6618-5_0_6_line_6 |  | 3 | 7 | 0.010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6618-5_0_6_line_7 |  | 3 | 8 | 0.026785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6618-5_0_6_line_8 |  | 4 | 9 | 0.033377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6618-5_0_6_line_9 |  | 4 | 10 | 0.025764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6618-5_0_6_line_10 |  | 6 | 21 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6618-5_0_6_line_11 |  | 7 | 22 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6618-5_0_6_line_12 |  | 7 | 23 | 0.007798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6618-5_0_6_line_13 |  | 8 | 24 | 0.00012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6618-5_0_6_line_14 |  | 9 | 25 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6618-5_0_6_line_15 |  | 11 | 12 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6618-5_0_6_line_16 |  | 11 | 13 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6618-5_0_6_line_17 |  | 11 | 14 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6618-5_0_6_line_18 |  | 12 | 26 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6618-5_0_6_line_19 |  | 13 | 20 | 0.024842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6618-5_0_6_line_20 |  | 13 | 15 | 0.042229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6618-5_0_6_line_21 |  | 15 | 16 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6618-5_0_6_line_22 |  | 16 | 27 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6618-5_0_6_line_23 |  | 17 | 18 | 0.008497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6618-5_0_6_line_24 |  | 17 | 19 | 0.024524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6618-5_0_6_line_25 |  | 18 | 28 | 0.025343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6618-5_0_6_line_26 |  | 18 | 29 | 0.049516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6618-5_0_6_line_27 |  | 19 | 30 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6618-5_0_6_line_28 |  | 20 | 31 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6618-5_0_6_line_29 |  | 21 | 35 | 0.049767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6618-5_0_6_line_30 |  | 24 | 62 | 0.036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6618-5_0_6_line_31 |  | 25 | 32 | 0.033222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6618-5_0_6_line_32 |  | 26 | 63 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6618-5_0_6_line_33 |  | 27 | 36 | 0.031377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6618-5_0_6_line_34 |  | 29 | 66 | 0.038945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6618-5_0_6_line_35 |  | 29 | 67 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6618-5_0_6_line_36 |  | 30 | 41 | 0.031181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6618-5_0_6_line_37 |  | 30 | 36 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6618-5_0_6_line_38 |  | 31 | 38 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6618-5_0_6_line_39 |  | 32 | 33 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6618-5_0_6_line_40 |  | 33 | 34 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6618-5_0_6_line_41 |  | 34 | 54 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6618-5_0_6_line_42 |  | 37 | 38 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6618-5_0_6_line_43 |  | 39 | 40 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6618-5_0_6_line_44 |  | 40 | 65 | 0.026634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6618-5_0_6_line_45 |  | 41 | 65 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6618-5_0_6_line_46 |  | 42 | 43 | 0.0024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6618-5_0_6_line_47 |  | 42 | 44 | 0.043107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6618-5_0_6_line_48 |  | 43 | 45 | 0.015955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6618-5_0_6_line_49 |  | 44 | 46 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6618-5_0_6_line_50 |  | 44 | 47 | 0.006989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6618-5_0_6_line_51 |  | 45 | 48 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6618-5_0_6_line_52 |  | 46 | 49 | 0.021716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6618-5_0_6_line_53 |  | 47 | 50 | 0.014459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6618-5_0_6_line_54 |  | 48 | 51 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6618-5_0_6_line_55 |  | 49 | 55 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6618-5_0_6_line_56 |  | 50 | 59 | 0.01488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6618-5_0_6_line_57 |  | 52 | 53 | 0.064626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6618-5_0_6_line_58 |  | 53 | 70 | 0.047834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6618-5_0_6_line_59 |  | 53 | 71 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6618-5_0_6_line_60 |  | 53 | 56 | 0.0275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6618-5_0_6_line_61 |  | 56 | 57 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6618-5_0_6_line_62 |  | 56 | 58 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6618-5_0_6_line_63 |  | 58 | 59 | 0.0012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6618-5_0_6_line_64 |  | 60 | 61 | 0.029681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6618-5_0_6_line_65 |  | 60 | 62 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6618-5_0_6_line_66 |  | 61 | 63 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6618-5_0_6_line_67 |  | 62 | 64 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6618-5_0_6_line_68 |  | 66 | 68 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6618-5_0_6_line_69 |  | 67 | 69 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6618-5_0_6_line_70 |  | 68 | 81 | 0.0060299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6618-5_0_6_line_71 |  | 69 | 78 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6618-5_0_6_line_72 |  | 70 | 72 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6618-5_0_6_line_73 |  | 70 | 73 | 0.029401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6618-5_0_6_line_74 |  | 71 | 74 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6618-5_0_6_line_75 |  | 72 | 76 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6618-5_0_6_line_76 |  | 73 | 77 | 0.042167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6618-5_0_6_line_77 |  | 74 | 75 | 0.0068782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6618-5_0_6_line_78 |  | 76 | 88 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6618-5_0_6_line_79 |  | 77 | 84 | 0.009871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6618-5_0_6_line_80 |  | 77 | 86 | 0.013411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6618-5_0_6_line_81 |  | 78 | 79 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6618-5_0_6_line_82 |  | 79 | 80 | 0.010582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6618-5_0_6_line_83 |  | 80 | 83 | 0.015402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6618-5_0_6_line_84 |  | 82 | 83 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6618-5_0_6_line_85 |  | 82 | 84 | 0.006085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6618-5_0_6_line_86 |  | 84 | 87 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6618-5_0_6_line_87 |  | 85 | 86 | 0.051255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6618-5_0_6_line_88 |  | 87 | 89 | 0.024745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6618-5_0_6_line_89 |  | 88 | 99 | 0.010593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6618-5_0_6_line_90 |  | 89 | 93 | 0.0020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6618-5_0_6_line_91 |  | 89 | 92 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6618-5_0_6_line_92 |  | 90 | 91 | 0.0077291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6618-5_0_6_line_93 |  | 90 | 92 | 0.015215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6618-5_0_6_line_94 |  | 93 | 94 | 0.0096135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6618-5_0_6_line_95 |  | 94 | 98 | 0.056148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6618-5_0_6_line_96 |  | 94 | 96 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6618-5_0_6_line_97 |  | 95 | 96 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6618-5_0_6_line_98 |  | 95 | 97 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6618-5_0_6_line_99 |  | 99 | 100 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6618-5_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 101 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2495879.1969 | 1115548.8243 | 2495888.9822 | 1115526.7455
1 | 2495896.0645 | 1115510.7655 | 2495888.9822 | 1115526.7455
2 | 2495879.1969 | 1115548.8243 | 2495876.0427 | 1115555.8053
3 | 2495841.2066 | 1115534.3021 | 2495847.6095 | 1115535.2481 | 2495879.1969 | 1115548.8243
4 | 2495877.0885 | 1115502.6089 | 2495877.5162 | 1115501.4341 | 2495885.4236 | 1115504.9893 | 2495886.2752 | 1115506.4533 | 2495896.0645 | 1115510.7655
5 | 2495896.0645 | 1115510.7655 | 2495898.5472 | 1115505.1525 | 2495907.8611 | 1115497.543 | 2495909.7222 | 1115492.6079 | 2495909.8739 | 1115485.712
6 | 2495876.0427 | 1115555.8053 | 2495873.8631 | 1115554.7977 | 2495870.4733 | 1115562.4498
7 | 2495876.0427 | 1115555.8053 | 2495873.2455 | 1115561.9907 | 2495872.0587 | 1115564.824 | 2495865.2955 | 1115580.3386
8 | 2495809.8097 | 1115530.0064 | 2495816.1732 | 1115527.7732 | 2495818.7746 | 1115530.8415 | 2495822.5619 | 1115531.4767 | 2495827.3481 | 1115532.2726 | 2495841.2066 | 1115534.3021
9 | 2495841.2066 | 1115534.3021 | 2495852.4702 | 1115511.1308
10 | 2495909.8739 | 1115485.712 | 2495915.2677 | 1115467.3326
11 | 2495870.4733 | 1115562.4498 | 2495882.6258 | 1115567.6663
12 | 2495863.3219 | 1115559.293 | 2495870.4733 | 1115562.4498
13 | 2495865.2452 | 1115580.4541 | 2495865.2955 | 1115580.3386
14 | 2495809.8097 | 1115530.0064 | 2495812.967 | 1115517.266
15 | 2495927.0892 | 1115565.6891 | 2495915.6924 | 1115590.3936
16 | 2495934.4356 | 1115548.7631 | 2495927.0892 | 1115565.6891
17 | 2495927.0892 | 1115565.6891 | 2495932.6734 | 1115568.4282 | 2495934.4826 | 1115569.4533 | 2495937.3216 | 1115571.528 | 2495940.1627 | 1115573.725
18 | 2495915.6924 | 1115590.3936 | 2495909.2249 | 1115604.4129
19 | 2495934.4356 | 1115548.7631 | 2495957.8372 | 1115557.0997
20 | 2495934.4356 | 1115548.7631 | 2495936.7718 | 1115542.2633 | 2495939.8011 | 1115533.8503 | 2495943.0659 | 1115524.7661 | 2495946.855 | 1115513.8385 | 2495951.7338 | 1115515.5223
21 | 2495951.7338 | 1115515.5223 | 2495953.3421 | 1115516.0839 | 2495966.5301 | 1115520.9111
22 | 2495983.4568 | 1115527.1067 | 2495966.5301 | 1115520.9111
23 | 2495963.7101 | 1115457.5128 | 2495963.8728 | 1115454.8527 | 2495963.4864 | 1115452.5913 | 2495962.4244 | 1115449.2185
24 | 2495963.7101 | 1115457.5128 | 2495986.7167 | 1115466.0046
25 | 2495962.4244 | 1115449.2185 | 2495969.6677 | 1115451.8735 | 2495986.2168 | 1115457.9469
26 | 2495917.2792 | 1115430.9163 | 2495925.0111 | 1115433.6963 | 2495956.6777 | 1115443.7694 | 2495960.2468 | 1115446.0873 | 2495962.4244 | 1115449.2185
27 | 2496003.6583 | 1115472.2579 | 2495986.7167 | 1115466.0046
28 | 2495971.9145 | 1115562.1145 | 2495957.8372 | 1115557.0997
29 | 2495896.4992 | 1115435.9658 | 2495900.1032 | 1115436.7154 | 2495921.652 | 1115445.3837 | 2495916.4393 | 1115463.3403 | 2495915.2677 | 1115467.3326
30 | 2495850.7035 | 1115614.0228 | 2495855.6849 | 1115602.3853 | 2495865.2452 | 1115580.4541
31 | 2495820.9585 | 1115485.0191 | 2495812.967 | 1115517.266
32 | 2495909.2249 | 1115604.4129 | 2495903.3163 | 1115617.2208
33 | 2495983.4568 | 1115527.1067 | 2495994.3 | 1115497.663
34 | 2495917.2792 | 1115430.9163 | 2495925.0111 | 1115433.6963 | 2495933.9172 | 1115409.5611 | 2495935.5736 | 1115404.8407
35 | 2495917.2792 | 1115430.9163 | 2495921.0108 | 1115420.2342 | 2495922.9765 | 1115414.6413 | 2495923.9149 | 1115412.0884
36 | 2496003.6583 | 1115472.2579 | 2496011.9414 | 1115475.2063 | 2496032.8683 | 1115483.1648
37 | 2496003.6583 | 1115472.2579 | 2496003.1491 | 1115473.6342 | 2495994.3 | 1115497.663
38 | 2495985.8615 | 1115567.083 | 2495971.9145 | 1115562.1145
39 | 2495798.065 | 1115474.5065 | 2495820.9585 | 1115485.0191
40 | 2495798.065 | 1115474.5065 | 2495789.7654 | 1115487.8407
41 | 2495789.7654 | 1115487.8407 | 2495789.4607 | 1115488.3302 | 2495780.7145 | 1115503.8058
42 | 2495985.8615 | 1115567.083 | 2496000.0162 | 1115572.1254
43 | 2496035.4189 | 1115512.6273 | 2496030.334 | 1115526.5992
44 | 2496044.5278 | 1115487.5989 | 2496035.4189 | 1115512.6273
45 | 2496044.5278 | 1115487.5989 | 2496032.8683 | 1115483.1648
46 | 2495793.3467 | 1115402.7976 | 2495795.8022 | 1115402.7302
47 | 2495838.7665 | 1115403.3716 | 2495833.8358 | 1115402.2669 | 2495826.045 | 1115401.9008 | 2495795.8022 | 1115402.7302
48 | 2495793.3467 | 1115402.7976 | 2495793.1442 | 1115386.8436
49 | 2495838.7665 | 1115403.3716 | 2495841.6116 | 1115404.0009 | 2495849.4056 | 1115406.7907 | 2495850.7605 | 1115407.2917
50 | 2495841.0701 | 1115396.7722 | 2495838.7665 | 1115403.3716
51 | 2495793.1442 | 1115386.8436 | 2495792.955 | 1115371.9295
52 | 2495871.129 | 1115414.8221 | 2495850.7605 | 1115407.2917
53 | 2495841.0701 | 1115396.7722 | 2495836.0909 | 1115394.6455 | 2495835.913 | 1115385.6028
54 | 2495792.955 | 1115371.9295 | 2495792.7651 | 1115356.9632
55 | 2495871.129 | 1115414.8221 | 2495875.6907 | 1115403.0139
56 | 2495835.913 | 1115385.6028 | 2495835.6204 | 1115370.7254
57 | 2495840.4965 | 1115327.5824 | 2495835.2987 | 1115328.4613 | 2495827.5687 | 1115329.8397 | 2495825.0218 | 1115329.9391 | 2495818.2918 | 1115330.1885 | 2495804.1704 | 1115330.4095 | 2495790.5843 | 1115329.8652 | 2495776.1972 | 1115328.0638
58 | 2495840.4965 | 1115327.5824 | 2495847.0957 | 1115325.5676 | 2495865.8006 | 1115318.8414 | 2495872.0232 | 1115316.4773 | 2495877.4872 | 1115314.9156 | 2495881.597 | 1115314.5336 | 2495886.1861 | 1115314.6325
59 | 2495840.4965 | 1115327.5824 | 2495831.9885 | 1115317.0821
60 | 2495840.4965 | 1115327.5824 | 2495847.0957 | 1115325.5676 | 2495847.1691 | 1115338.3522 | 2495845.7022 | 1115338.3775 | 2495845.827 | 1115344.7238
61 | 2495845.827 | 1115344.7238 | 2495828.6952 | 1115345.03 | 2495822.8894 | 1115345.13
62 | 2495845.827 | 1115344.7238 | 2495846.3414 | 1115369.2195 | 2495839.6157 | 1115369.2686 | 2495835.5948 | 1115369.4268
63 | 2495835.5948 | 1115369.4268 | 2495835.6204 | 1115370.7254
64 | 2495895.8665 | 1115633.8696 | 2495868.6965 | 1115621.9208
65 | 2495850.7035 | 1115614.0228 | 2495856.4537 | 1115616.5366 | 2495868.6965 | 1115621.9208
66 | 2495895.8665 | 1115633.8696 | 2495898.5085 | 1115627.6424 | 2495903.3163 | 1115617.2208
67 | 2495850.7035 | 1115614.0228 | 2495844.667 | 1115611.4807 | 2495832.6123 | 1115606.1559
68 | 2495935.5736 | 1115404.8407 | 2495955.9374 | 1115412.1942
69 | 2495923.9149 | 1115412.0884 | 2495928.7246 | 1115399.0035
70 | 2495961.6089 | 1115414.2422 | 2495955.9374 | 1115412.1942
71 | 2495928.7246 | 1115399.0035 | 2495932.3867 | 1115389.0407
72 | 2495886.1861 | 1115314.6325 | 2495880.2035 | 1115331.0823
73 | 2495886.1861 | 1115314.6325 | 2495890.5734 | 1115315.124 | 2495895.3339 | 1115316.2095 | 2495905.2497 | 1115319.7745 | 2495914.2373 | 1115323.0511
74 | 2495831.9885 | 1115317.0821 | 2495823.5324 | 1115306.6457
75 | 2495874.9424 | 1115345.5485 | 2495880.2035 | 1115331.0823
76 | 2495953.9278 | 1115331.0447 | 2495947.7906 | 1115333.8854 | 2495946.1936 | 1115333.9796 | 2495943.7828 | 1115333.454 | 2495940.051 | 1115332.462 | 2495914.2373 | 1115323.0511
77 | 2495819.2022 | 1115301.3016 | 2495823.5324 | 1115306.6457
78 | 2495874.9424 | 1115345.5485 | 2495871.3182 | 1115355.5139
79 | 2495953.9278 | 1115331.0447 | 2495959.8864 | 1115338.9251
80 | 2495953.9278 | 1115331.0447 | 2495945.8485 | 1115320.341
81 | 2495936.0325 | 1115379.1224 | 2495932.3867 | 1115389.0407
82 | 2495939.6835 | 1115369.1899 | 2495936.0325 | 1115379.1224
83 | 2495939.6835 | 1115369.1899 | 2495944.9973 | 1115354.7335
84 | 2495957.8613 | 1115344.6636 | 2495949.8085 | 1115341.6445 | 2495944.9973 | 1115354.7335
85 | 2495957.8613 | 1115344.6636 | 2495959.8864 | 1115338.9251
86 | 2495959.8864 | 1115338.9251 | 2495975.3339 | 1115343.7085
87 | 2495915.0016 | 1115279.4073 | 2495937.5058 | 1115309.3132 | 2495940.2003 | 1115312.858 | 2495945.8485 | 1115320.341
88 | 2495998.9713 | 1115351.0278 | 2495975.3339 | 1115343.7085
89 | 2495871.3182 | 1115355.5139 | 2495867.6977 | 1115365.4688
90 | 2495998.9713 | 1115351.0278 | 2496000.8871 | 1115351.7199
91 | 2495998.9713 | 1115351.0278 | 2495997.4465 | 1115355.7681 | 2495994.241 | 1115363.3725 | 2495991.5568 | 1115369.8162
92 | 2495983.725 | 1115382.5736 | 2495983.239 | 1115387.7994 | 2495982.2619 | 1115390.0796
93 | 2495983.725 | 1115382.5736 | 2495983.8842 | 1115380.8616 | 2495990.859 | 1115371.4913 | 2495991.5568 | 1115369.8162
94 | 2496009.9286 | 1115354.9865 | 2496000.8871 | 1115351.7199
95 | 2496009.9286 | 1115354.9865 | 2496022.4278 | 1115363.2881 | 2496033.3465 | 1115370.394 | 2496039.4589 | 1115376.4484 | 2496044.3317 | 1115382.7243 | 2496051.0123 | 1115392.1671
96 | 2496009.9286 | 1115354.9865 | 2496013.1113 | 1115351.8965 | 2496021.35 | 1115344.1229
97 | 2496038.3137 | 1115328.1217 | 2496038.1596 | 1115328.2622 | 2496021.35 | 1115344.1229
98 | 2496048.4626 | 1115318.8682 | 2496038.3137 | 1115328.1217
99 | 2495867.6977 | 1115365.4688 | 2495864.0864 | 1115375.3986

## bus_geodata
| x | y | coords
0 | 2495888.9822 | 1115526.7455
1 | 2495879.1969 | 1115548.8243
2 | 2495896.0645 | 1115510.7655
3 | 2495876.0427 | 1115555.8053
4 | 2495841.2066 | 1115534.3021
5 | 2495877.0885 | 1115502.6089
6 | 2495909.8739 | 1115485.712
7 | 2495870.4733 | 1115562.4498
8 | 2495865.2955 | 1115580.3386
9 | 2495809.8097 | 1115530.0064
10 | 2495852.4702 | 1115511.1308
11 | 2495927.0892 | 1115565.6891
12 | 2495915.6924 | 1115590.3936
13 | 2495934.4356 | 1115548.7631
14 | 2495940.1627 | 1115573.725
15 | 2495951.7338 | 1115515.5223
16 | 2495966.5301 | 1115520.9111
17 | 2495963.7101 | 1115457.5128
18 | 2495962.4245 | 1115449.2185
19 | 2495986.7167 | 1115466.0046
20 | 2495957.8372 | 1115557.0997
21 | 2495915.2677 | 1115467.3326
22 | 2495882.6258 | 1115567.6663
23 | 2495863.3219 | 1115559.293
24 | 2495865.2452 | 1115580.4541
25 | 2495812.967 | 1115517.266
26 | 2495909.2249 | 1115604.4129
27 | 2495983.4568 | 1115527.1067
28 | 2495986.2168 | 1115457.9469
29 | 2495917.2792 | 1115430.9163
30 | 2496003.6583 | 1115472.2579
31 | 2495971.9145 | 1115562.1145
32 | 2495820.9585 | 1115485.0191
33 | 2495798.065 | 1115474.5065
34 | 2495789.7654 | 1115487.8407
35 | 2495896.4992 | 1115435.9658
36 | 2495994.3 | 1115497.663
37 | 2496000.0162 | 1115572.1254
38 | 2495985.8615 | 1115567.083
39 | 2496030.334 | 1115526.5992
40 | 2496035.4189 | 1115512.6273
41 | 2496032.8683 | 1115483.1648
42 | 2495795.8022 | 1115402.7302
43 | 2495793.3467 | 1115402.7976
44 | 2495838.7665 | 1115403.3716
45 | 2495793.1442 | 1115386.8436
46 | 2495850.7605 | 1115407.2917
47 | 2495841.0701 | 1115396.7722
48 | 2495792.955 | 1115371.9295
49 | 2495871.129 | 1115414.8221
50 | 2495835.913 | 1115385.6028
51 | 2495792.7651 | 1115356.9632
52 | 2495776.1972 | 1115328.0638
53 | 2495840.4965 | 1115327.5824
54 | 2495780.7145 | 1115503.8058
55 | 2495875.6907 | 1115403.0139
56 | 2495845.827 | 1115344.7238
57 | 2495822.8894 | 1115345.13
58 | 2495835.5948 | 1115369.4268
59 | 2495835.6204 | 1115370.7254
60 | 2495868.6965 | 1115621.9208
61 | 2495895.8665 | 1115633.8696
62 | 2495850.7035 | 1115614.0228
63 | 2495903.3163 | 1115617.2208
64 | 2495832.6123 | 1115606.1559
65 | 2496044.5278 | 1115487.5989
66 | 2495935.5736 | 1115404.8407
67 | 2495923.9149 | 1115412.0884
68 | 2495955.9374 | 1115412.1942
69 | 2495928.7246 | 1115399.0035
70 | 2495886.1861 | 1115314.6325
71 | 2495831.9885 | 1115317.0821
72 | 2495880.2035 | 1115331.0823
73 | 2495914.2373 | 1115323.0511
74 | 2495823.5324 | 1115306.6457
75 | 2495819.2022 | 1115301.3016
76 | 2495874.9424 | 1115345.5485
77 | 2495953.9278 | 1115331.0447
78 | 2495932.3867 | 1115389.0407
79 | 2495936.0325 | 1115379.1224
80 | 2495939.6835 | 1115369.1899
81 | 2495961.6089 | 1115414.2422
82 | 2495957.8613 | 1115344.6636
83 | 2495944.9973 | 1115354.7335
84 | 2495959.8864 | 1115338.9251
85 | 2495915.0016 | 1115279.4073
86 | 2495945.8485 | 1115320.341
87 | 2495975.3339 | 1115343.7085
88 | 2495871.3182 | 1115355.5139
89 | 2495998.9713 | 1115351.0278
90 | 2495983.725 | 1115382.5735
91 | 2495982.2619 | 1115390.0796
92 | 2495991.5568 | 1115369.8162
93 | 2496000.8871 | 1115351.7199
94 | 2496009.9286 | 1115354.9865
95 | 2496038.3137 | 1115328.1217
96 | 2496021.35 | 1115344.1229
97 | 2496048.4626 | 1115318.8682
98 | 2496051.0123 | 1115392.1671
99 | 2495867.6977 | 1115365.4688
100 | 2495864.0864 | 1115375.3986
101 | 2495909.8739 | 1115485.712

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1