## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-101_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-101_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-101_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-101_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-101_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6621-101_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6621-101_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6621-101_0_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_6621-101_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_6621-101_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6621-101_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_6621-101_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_6621-101_0_4_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_6621-101_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_6621-101_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_6621-101_0_4_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_6621-101_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6621-101_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_6621-101_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6621-101_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_6621-101_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_6621-101_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6621-101_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6621-101_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_6621-101_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6621-101_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_6621-101_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6621-101_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6621-101_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6621-101_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_6621-101_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6621-101_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6621-101_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6621-101_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6621-101_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_6621-101_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6621-101_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_6621-101_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6621-101_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6621-101_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6621-101_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_6621-101_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_6621-101_0_4_node_7 | 0.4 | n |  | TRUE
43 | bus_LV_6621-101_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6621-101_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6621-101_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6621-101_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6621-101_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_MV_651_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-101_0_4_load_0 | 0 | 0.0066852 | 0.0016755 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-101_0_4_load_1 | 1 | 0.0060648 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-101_0_4_load_2 | 2 | 0.0070169 | 0.0017586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-101_0_4_load_3 | 3 | 0.017913 | 0.0044895 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-101_0_4_load_51 | 7 | 0.0099409 | 0.0024914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-101_0_4_load_52 | 8 | 0.038847 | 0.009736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-101_0_4_load_54 | 12 | 0.012377 | 0.003102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-101_0_4_load_57 | 14 | 0.03098 | 0.0077642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-101_0_4_load_56 | 15 | 0.018999 | 0.0047617 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-101_0_4_load_10 | 16 | 0.014573 | 0.0036523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-101_0_4_load_6 | 17 | 0.032537 | 0.0081547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-101_0_4_load_42 | 20 | 0.0086176 | 0.0021598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-101_0_4_load_40 | 23 | 0.012358 | 0.0030972 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-101_0_4_load_38 | 24 | 0.0098403 | 0.0024662 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-101_0_4_load_36 | 25 | 0.03062 | 0.0076742 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-101_0_4_load_41 | 26 | 0.010097 | 0.0025305 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-101_0_4_load_49 | 29 | 0.040452 | 0.010138 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-101_0_4_load_47 | 33 | 0.010067 | 0.0025231 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-101_0_4_load_37 | 34 | 0.039206 | 0.009826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-101_0_4_load_39 | 36 | 0.023898 | 0.0059895 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-101_0_4_load_34 | 37 | 0.010391 | 0.0026042 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-101_0_4_load_32 | 38 | 0.036022 | 0.0090279 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-101_0_4_load_46 | 40 | 0.0087396 | 0.0021903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-101_0_4_load_53 | 41 | 0.027254 | 0.0068304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-101_0_4_load_7 | 42 | 0.027468 | 0.0068842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-101_0_4_load_33 | 44 | 0.033991 | 0.008519 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-101_0_4_load_44 | 45 | 0.0065696 | 0.0016465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-101_0_4_load_43 | 46 | 0.024366 | 0.0061066 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-101_0_4_load_48 | 47 | 0.0030805 | 0.00077205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-101_0_4_line_0 |  | 0 | 1 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6621-101_0_4_line_1 |  | 0 | 2 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6621-101_0_4_line_2 |  | 1 | 3 | 0.011214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6621-101_0_4_line_3 |  | 2 | 4 | 0.015253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6621-101_0_4_line_4 |  | 3 | 5 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6621-101_0_4_line_5 |  | 4 | 6 | 0.026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6621-101_0_4_line_6 |  | 4 | 7 | 0.029443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-101_0_4_line_7 |  | 5 | 8 | 0.008257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-101_0_4_line_8 |  | 5 | 9 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-101_0_4_line_9 |  | 6 | 26 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-101_0_4_line_10 |  | 6 | 23 | 0.029881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6621-101_0_4_line_11 |  | 8 | 41 | 0.021889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-101_0_4_line_12 |  | 9 | 16 | 0.017608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-101_0_4_line_13 |  | 9 | 17 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-101_0_4_line_14 |  | 10 | 11 | 0.028363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-101_0_4_line_15 |  | 10 | 12 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-101_0_4_line_16 |  | 11 | 37 | 0.006356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-101_0_4_line_17 |  | 11 | 38 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-101_0_4_line_18 |  | 11 | 13 | 0.06817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6621-101_0_4_line_19 |  | 11 | 31 | 0.039811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-101_0_4_line_20 |  | 13 | 14 | 0.054033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-101_0_4_line_21 |  | 13 | 15 | 0.030606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-101_0_4_line_22 |  | 14 | 39 | 0.10232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6621-101_0_4_line_23 |  | 17 | 42 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-101_0_4_line_24 |  | 18 | 19 | 0.0076855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-101_0_4_line_25 |  | 18 | 20 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-101_0_4_line_26 |  | 19 | 24 | 0.027047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-101_0_4_line_27 |  | 19 | 35 | 0.0061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-101_0_4_line_28 |  | 21 | 22 | 0.0073849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6621-101_0_4_line_29 |  | 21 | 23 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6621-101_0_4_line_30 |  | 22 | 24 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-101_0_4_line_31 |  | 22 | 25 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6621-101_0_4_line_32 |  | 25 | 34 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6621-101_0_4_line_33 |  | 27 | 28 | 0.0056455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-101_0_4_line_34 |  | 27 | 29 | 0.031374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-101_0_4_line_35 |  | 28 | 39 | 0.21288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6621-101_0_4_line_36 |  | 28 | 40 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-101_0_4_line_37 |  | 29 | 32 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-101_0_4_line_38 |  | 30 | 31 | 0.004624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6621-101_0_4_line_39 |  | 31 | 34 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6621-101_0_4_line_40 |  | 32 | 33 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-101_0_4_line_41 |  | 33 | 43 | 0.0068129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-101_0_4_line_42 |  | 35 | 36 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-101_0_4_line_43 |  | 38 | 44 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-101_0_4_line_44 |  | 40 | 45 | 6.8677e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-101_0_4_line_45 |  | 43 | 47 | 0.025548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-101_0_4_line_46 |  | 45 | 46 | 0.028939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-101_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 48 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2499077.4784 | 1118047.0343 | 2499089.7573 | 1118040.0914
1 | 2499077.4784 | 1118047.0343 | 2499063.1862 | 1118055.1157
2 | 2499089.7573 | 1118040.0914 | 2499099.5192 | 1118034.5717
3 | 2499058.2956 | 1118065.4157 | 2499055.6474 | 1118059.3783 | 2499063.1862 | 1118055.1157
4 | 2499122.0079 | 1118026.4174 | 2499120.1584 | 1118022.9016 | 2499099.5192 | 1118034.5717
5 | 2499049.881 | 1118051.0471 | 2499045.9812 | 1118053.2691 | 2499049.0762 | 1118058.7876 | 2499053.6482 | 1118067.7058 | 2499058.2956 | 1118065.4157
6 | 2499058.2956 | 1118065.4157 | 2499063.0143 | 1118076.1882 | 2499065.1169 | 1118080.9895 | 2499071.7648 | 1118082.0125 | 2499074.1975 | 1118087.1832
7 | 2499122.0079 | 1118026.4174 | 2499125.851 | 1118033.7256
8 | 2499122.0079 | 1118026.4174 | 2499129.8802 | 1118022.1724 | 2499135.1054 | 1118019.3501
9 | 2499049.881 | 1118051.0471 | 2499044.1837 | 1118041.1503
10 | 2499049.881 | 1118051.0471 | 2499075.7732 | 1118036.1324
11 | 2499125.851 | 1118033.7256 | 2499136.0386 | 1118053.0989
12 | 2499150.6517 | 1118010.9968 | 2499135.1054 | 1118019.3501
13 | 2499135.1054 | 1118019.3501 | 2499141.387 | 1118031.5225
14 | 2499180.5559 | 1117997.5455 | 2499186.7552 | 1117998.0536 | 2499196.8601 | 1117998.9969 | 2499206.9966 | 1117999.9842 | 2499207.1441 | 1117998.1806
15 | 2499207.1441 | 1117998.1806 | 2499223.5771 | 1117999.8085
16 | 2499180.5559 | 1117997.5455 | 2499174.2579 | 1117998.5289
17 | 2499180.5559 | 1117997.5455 | 2499188.4047 | 1118005.7754 | 2499189.9852 | 1118009.0915
18 | 2499180.5559 | 1117997.5455 | 2499176.1036 | 1117991.1713 | 2499171.1145 | 1117984.0833 | 2499173.063 | 1117982.4276 | 2499174.5612 | 1117980.6126 | 2499175.9733 | 1117977.3425 | 2499182.7935 | 1117959.5288 | 2499181.8085 | 1117957.3994 | 2499182.7086 | 1117954.4381 | 2499183.4888 | 1117947.9877 | 2499184.2656 | 1117938.5578 | 2499186.9847 | 1117939.135
19 | 2499150.5898 | 1117995.2546 | 2499171.1145 | 1117984.0833 | 2499176.1036 | 1117991.1713 | 2499180.5559 | 1117997.5455
20 | 2499186.9847 | 1117939.135 | 2499186.6579 | 1117935.2714 | 2499185.7368 | 1117932.8074 | 2499179.3006 | 1117919.4952 | 2499170.6748 | 1117901.2497 | 2499169.7343 | 1117898.0856 | 2499168.6092 | 1117892.6454 | 2499167.6101 | 1117889.0826
21 | 2499186.9847 | 1117939.135 | 2499217.209 | 1117943.9545
22 | 2499144.0528 | 1117816.2401 | 2499147.9869 | 1117820.2326 | 2499149.257 | 1117821.868 | 2499150.6402 | 1117824.2687 | 2499151.8579 | 1117825.5381 | 2499153.5798 | 1117826.4877 | 2499175.0509 | 1117835.0019 | 2499176.043 | 1117835.708 | 2499176.6751 | 1117836.5758 | 2499176.8278 | 1117837.863 | 2499176.3502 | 1117838.8493 | 2499159.3754 | 1117853.686 | 2499158.2503 | 1117855.1946 | 2499157.3082 | 1117857.4895 | 2499157.1429 | 1117860.0716 | 2499157.5399 | 1117862.1219 | 2499167.1072 | 1117887.2893 | 2499167.6101 | 1117889.0826
23 | 2499141.387 | 1118031.5225 | 2499146.8239 | 1118042.0579 | 2499150.6199 | 1118049.414
24 | 2499068.3717 | 1117992.046 | 2499072.3483 | 1117989.8005 | 2499075.063 | 1117988.2653
25 | 2499068.3717 | 1117992.046 | 2499074.9472 | 1118004.0356
26 | 2499075.063 | 1117988.2653 | 2499087.8994 | 1118012.0724
27 | 2499075.063 | 1117988.2653 | 2499075.2469 | 1117982.1695
28 | 2499088.5226 | 1118028.7885 | 2499092.3321 | 1118026.7125 | 2499095.0017 | 1118025.2448
29 | 2499088.5226 | 1118028.7885 | 2499075.7732 | 1118036.1324
30 | 2499095.0017 | 1118025.2448 | 2499087.8994 | 1118012.0724
31 | 2499095.0017 | 1118025.2448 | 2499105.0472 | 1118019.8993
32 | 2499105.0472 | 1118019.8993 | 2499129.4209 | 1118006.9292
33 | 2499198.7479 | 1117788.122 | 2499198.0444 | 1117789.9126 | 2499201.7068 | 1117790.5743
34 | 2499201.7068 | 1117790.5743 | 2499229.7019 | 1117804.7373
35 | 2499144.0528 | 1117816.2401 | 2499140.9964 | 1117813.0335 | 2499127.9932 | 1117799.4084 | 2499126.775 | 1117797.6498 | 2499122.2578 | 1117792.0216 | 2499108.1779 | 1117779.5708 | 2499104.042 | 1117776.9048 | 2499094.9643 | 1117772.7758 | 2499093.3409 | 1117771.7133 | 2499091.9114 | 1117769.7804 | 2499090.6842 | 1117767.4772 | 2499088.0684 | 1117759.6826 | 2499101.7915 | 1117756.763 | 2499108.6042 | 1117755.6153 | 2499116.7363 | 1117754.8904 | 2499132.9773 | 1117753.8967 | 2499135.5707 | 1117753.8757 | 2499143.9465 | 1117755.7261 | 2499174.15 | 1117762.4602 | 2499187.9505 | 1117766.4995 | 2499189.246 | 1117766.8781 | 2499191.8044 | 1117767.0689 | 2499191.1995 | 1117771.0704 | 2499190.7696 | 1117772.6008 | 2499190.5258 | 1117774.6506 | 2499190.7174 | 1117776.4151 | 2499191.2441 | 1117778.3743 | 2499192.0565 | 1117780.3397 | 2499193.1534 | 1117781.7668 | 2499194.5892 | 1117783.1549 | 2499199.6438 | 1117785.8279 | 2499198.7479 | 1117788.122
36 | 2499198.7479 | 1117788.122 | 2499205.6408 | 1117791.3203 | 2499206.4757 | 1117789.5386 | 2499209.5617 | 1117782.9091
37 | 2499254.0442 | 1117816.8968 | 2499244.3854 | 1117812.1658 | 2499229.7019 | 1117804.7373
38 | 2499147.8261 | 1117991.5428 | 2499150.5898 | 1117995.2546
39 | 2499150.5898 | 1117995.2546 | 2499143.8787 | 1117999.2357 | 2499129.4209 | 1118006.9292
40 | 2499254.0442 | 1117816.8968 | 2499255.4097 | 1117814.0612 | 2499259.0802 | 1117806.4364
41 | 2499262.0353 | 1117800.2977 | 2499259.0802 | 1117806.4364
42 | 2499075.2469 | 1117982.1695 | 2499080.8713 | 1117982.4537 | 2499094.9887 | 1117983.8325
43 | 2499189.9852 | 1118009.0915 | 2499198.4645 | 1118026.8815
44 | 2499209.5906 | 1117782.8469 | 2499209.5617 | 1117782.9091
45 | 2499262.0353 | 1117800.2977 | 2499262.6321 | 1117799.0537 | 2499263.7887 | 1117796.6552 | 2499283.1383 | 1117806.0395
46 | 2499230.9443 | 1117782.4377 | 2499213.7048 | 1117774.0084 | 2499209.5906 | 1117782.8469

## bus_geodata
| x | y | coords
0 | 2499077.4784 | 1118047.0343
1 | 2499089.7573 | 1118040.0914
2 | 2499063.1862 | 1118055.1157
3 | 2499099.5192 | 1118034.5717
4 | 2499058.2956 | 1118065.4157
5 | 2499122.0079 | 1118026.4174
6 | 2499049.881 | 1118051.0471
7 | 2499074.1975 | 1118087.1832
8 | 2499125.851 | 1118033.7256
9 | 2499135.1054 | 1118019.3501
10 | 2499207.1441 | 1117998.1806
11 | 2499180.5559 | 1117997.5455
12 | 2499223.5771 | 1117999.8085
13 | 2499186.9847 | 1117939.135
14 | 2499167.6101 | 1117889.0826
15 | 2499217.209 | 1117943.9545
16 | 2499150.6517 | 1118010.9968
17 | 2499141.387 | 1118031.5225
18 | 2499068.3717 | 1117992.046
19 | 2499075.063 | 1117988.2653
20 | 2499074.9472 | 1118004.0356
21 | 2499088.5226 | 1118028.7885
22 | 2499095.0017 | 1118025.2448
23 | 2499075.7732 | 1118036.1324
24 | 2499087.8994 | 1118012.0724
25 | 2499105.0472 | 1118019.8993
26 | 2499044.1837 | 1118041.1503
27 | 2499201.7068 | 1117790.5743
28 | 2499198.7479 | 1117788.122
29 | 2499229.7019 | 1117804.7373
30 | 2499147.8261 | 1117991.5428
31 | 2499150.5898 | 1117995.2546
32 | 2499254.0442 | 1117816.8968
33 | 2499259.0802 | 1117806.4364
34 | 2499129.4209 | 1118006.9292
35 | 2499075.2469 | 1117982.1695
36 | 2499094.9887 | 1117983.8325
37 | 2499174.2579 | 1117998.5289
38 | 2499189.9852 | 1118009.0915
39 | 2499144.0528 | 1117816.2401
40 | 2499209.5617 | 1117782.9091
41 | 2499136.0386 | 1118053.0989
42 | 2499150.6199 | 1118049.414
43 | 2499262.0353 | 1117800.2978
44 | 2499198.4645 | 1118026.8815
45 | 2499209.5906 | 1117782.8469
46 | 2499230.9443 | 1117782.4377
47 | 2499283.1383 | 1117806.0395
48 | 2499150.5898 | 1117995.2546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1