## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-125_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-125_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-125_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6621-125_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6621-125_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6621-125_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6621-125_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6621-125_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6621-125_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6621-125_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6621-125_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_6621-125_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_6621-125_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_6621-125_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6621-125_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6621-125_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6621-125_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_6621-125_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6621-125_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6621-125_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_6621-125_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6621-125_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_6621-125_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_6621-125_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6621-125_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6621-125_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6621-125_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_6621-125_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_6621-125_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6621-125_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6621-125_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6621-125_0_3_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_6621-125_0_3_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_6621-125_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_6621-125_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_6621-125_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_6621-125_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_6621-125_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6621-125_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_6621-125_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6621-125_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6621-125_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6621-125_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_6621-125_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_MV_649_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-125_0_3_load_0 | 0 | 0.0055214 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-125_0_3_load_3 | 2 | 0.028223 | 0.0070734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-125_0_3_load_8 | 6 | 0.026018 | 0.0065208 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-125_0_3_load_12 | 8 | 0.0065218 | 0.0016345 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-125_0_3_load_31 | 10 | 0.019169 | 0.0048043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-125_0_3_load_29 | 11 | 0.019699 | 0.0049371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-125_0_3_load_34 | 12 | 0.015315 | 0.0038382 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-125_0_3_load_9 | 13 | 0.021933 | 0.0054968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-125_0_3_load_38 | 16 | 0.0052197 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-125_0_3_load_33 | 19 | 0.0032112 | 0.0008048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-125_0_3_load_44 | 21 | 0.0084446 | 0.0021164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-125_0_3_load_41 | 22 | 0.016028 | 0.0040169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-125_0_3_load_28 | 23 | 0.008105 | 0.0020313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-125_0_3_load_37 | 24 | 0.0091189 | 0.0022854 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-125_0_3_load_35 | 26 | 0.013751 | 0.0034464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-125_0_3_load_47 | 27 | 0.007647 | 0.0019165 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-125_0_3_load_25 | 29 | 0.023899 | 0.0059898 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-125_0_3_load_30 | 30 | 0.016377 | 0.0041046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-125_0_3_load_10 | 31 | 0.023366 | 0.005856 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-125_0_3_load_11 | 32 | 0.0025314 | 0.00063444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-125_0_3_load_32 | 33 | 0.0038506 | 0.00096505 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-125_0_3_load_13 | 34 | 0.0059088 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-125_0_3_load_39 | 35 | 0.0082585 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-125_0_3_load_45 | 36 | 0.0075668 | 0.0018964 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-125_0_3_load_42 | 37 | 0.0084011 | 0.0021055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-125_0_3_load_46 | 38 | 0.0076913 | 0.0019276 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-125_0_3_load_36 | 39 | 0.0076516 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-125_0_3_load_26 | 40 | 0.0077055 | 0.0019312 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-125_0_3_load_27 | 41 | 0.0077288 | 0.001937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-125_0_3_load_43 | 42 | 0.0069398 | 0.0017393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-125_0_3_load_40 | 43 | 0.0091652 | 0.002297 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-125_0_3_line_0 |  | 0 | 1 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-125_0_3_line_1 |  | 1 | 2 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-125_0_3_line_2 |  | 2 | 6 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-125_0_3_line_3 |  | 3 | 4 | 0.006838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-125_0_3_line_4 |  | 3 | 5 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-125_0_3_line_5 |  | 4 | 7 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6621-125_0_3_line_6 |  | 4 | 8 | 0.024697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6621-125_0_3_line_7 |  | 5 | 12 | 0.030386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-125_0_3_line_8 |  | 5 | 10 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-125_0_3_line_9 |  | 6 | 13 | 0.0017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-125_0_3_line_10 |  | 7 | 24 | 0.025684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6621-125_0_3_line_11 |  | 7 | 25 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-125_0_3_line_12 |  | 7 | 26 | 0.002588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-125_0_3_line_13 |  | 9 | 10 | 0.013163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-125_0_3_line_14 |  | 9 | 11 | 0.0086601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-125_0_3_line_15 |  | 11 | 30 | 0.0089437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-125_0_3_line_16 |  | 13 | 31 | 0.0083201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-125_0_3_line_17 |  | 14 | 15 | 0.005145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-125_0_3_line_18 |  | 14 | 16 | 0.04902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-125_0_3_line_19 |  | 15 | 23 | 0.030925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-125_0_3_line_20 |  | 16 | 35 | 0.0076005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-125_0_3_line_21 |  | 17 | 18 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-125_0_3_line_22 |  | 17 | 19 | 0.018167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-125_0_3_line_23 |  | 17 | 20 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-125_0_3_line_24 |  | 18 | 21 | 0.02648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-125_0_3_line_25 |  | 18 | 22 | 0.014659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6621-125_0_3_line_26 |  | 20 | 33 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-125_0_3_line_27 |  | 20 | 34 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-125_0_3_line_28 |  | 21 | 36 | 0.0099185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-125_0_3_line_29 |  | 22 | 37 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6621-125_0_3_line_30 |  | 23 | 28 | 0.030744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-125_0_3_line_31 |  | 24 | 38 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6621-125_0_3_line_32 |  | 25 | 27 | 0.003901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-125_0_3_line_33 |  | 26 | 39 | 0.00061259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-125_0_3_line_34 |  | 28 | 29 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-125_0_3_line_35 |  | 29 | 40 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-125_0_3_line_36 |  | 31 | 32 | 0.022186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-125_0_3_line_37 |  | 32 | 33 | 0.0037477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-125_0_3_line_38 |  | 35 | 43 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-125_0_3_line_39 |  | 36 | 43 | 0.0096056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-125_0_3_line_40 |  | 37 | 42 | 0.0094095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6621-125_0_3_line_41 |  | 38 | 42 | 0.0082698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6621-125_0_3_line_42 |  | 40 | 41 | 0.0045988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-125_0_3_trafo_12 | 0.63 MVA 20/0.4 kV | 44 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2501042.4145 | 1116197.6712 | 2501036.7421 | 1116189.306
1 | 2501042.4145 | 1116197.6712 | 2501042.0371 | 1116208.1061 | 2501037.2026 | 1116215.134 | 2501032.0132 | 1116218.7825
2 | 2501013.7788 | 1116231.6028 | 2501032.0132 | 1116218.7825
3 | 2501011.3737 | 1116151.8948 | 2501007.368 | 1116146.3457
4 | 2501011.3737 | 1116151.8948 | 2501018.2469 | 1116153.3722 | 2501027.1563 | 1116147.1559
5 | 2500992.0266 | 1116136.057 | 2500996.864 | 1116131.5639 | 2501003.8407 | 1116141.7228 | 2501007.368 | 1116146.3457
6 | 2501007.368 | 1116146.3457 | 2501002.6514 | 1116152.5601 | 2500992.7921 | 1116166.2806
7 | 2501027.1563 | 1116147.1559 | 2501021.1053 | 1116138.3605 | 2501020.4631 | 1116134.98 | 2501021.6787 | 1116131.8804 | 2501030.6428 | 1116124.2846 | 2501031.556 | 1116123.5217
8 | 2501027.1563 | 1116147.1559 | 2501036.3891 | 1116159.0459
9 | 2501013.7788 | 1116231.6028 | 2501012.3828 | 1116232.5843
10 | 2500992.0266 | 1116136.057 | 2500993.1943 | 1116138.0502 | 2500993.4535 | 1116141.1479 | 2500992.5853 | 1116145.1869 | 2500982.9979 | 1116158.1634
11 | 2500984.7871 | 1116115.9851 | 2500996.864 | 1116131.5639 | 2500992.0266 | 1116136.057
12 | 2500992.0266 | 1116136.057 | 2500990.4014 | 1116134.0428
13 | 2501044.4621 | 1116169.4423 | 2501036.3891 | 1116159.0459
14 | 2501044.4621 | 1116169.4423 | 2501049.5229 | 1116176.4698
15 | 2501054.7494 | 1116183.7275 | 2501049.5229 | 1116176.4698
16 | 2501005.5766 | 1116237.3696 | 2501012.3828 | 1116232.5843
17 | 2500888.6175 | 1116106.309 | 2500884.0468 | 1116108.6964
18 | 2500884.0468 | 1116108.6964 | 2500891.189 | 1116125.1675 | 2500894.9694 | 1116132.5102 | 2500903.9341 | 1116146.6388 | 2500907.4154 | 1116151.6185
19 | 2500888.6175 | 1116106.309 | 2500899.2236 | 1116101.3877 | 2500916.8946 | 1116093.6046
20 | 2500907.4154 | 1116151.6185 | 2500911.7703 | 1116157.8476
21 | 2500948.0597 | 1116202.0621 | 2500945.2283 | 1116206.4556 | 2500943.0068 | 1116209.8941 | 2500943.5644 | 1116212.3532 | 2500942.774 | 1116214.5342 | 2500947.0014 | 1116218.0672 | 2500951.3855 | 1116221.731
22 | 2500951.3855 | 1116221.731 | 2500939.3028 | 1116235.2979
23 | 2500966.7004 | 1116202.5907 | 2500951.3855 | 1116221.731
24 | 2500948.0597 | 1116202.0621 | 2500945.5605 | 1116201.2803 | 2500930.7831 | 1116182.5456
25 | 2500948.0597 | 1116202.0621 | 2500951.0525 | 1116201.4016 | 2500957.9424 | 1116192.0762
26 | 2500966.7004 | 1116202.5907 | 2500982.7386 | 1116223.3745 | 2500986.9597 | 1116228.9069
27 | 2500966.7004 | 1116202.5907 | 2500974.8067 | 1116191.3097
28 | 2500924.6405 | 1116174.7581 | 2500930.7831 | 1116182.5456
29 | 2500957.9424 | 1116192.0762 | 2500966.2539 | 1116180.8266
30 | 2500944.3882 | 1116079.7348 | 2500926.4622 | 1116089.3898 | 2500916.8946 | 1116093.6046
31 | 2500976.7594 | 1116166.6073 | 2500982.9979 | 1116158.1634
32 | 2500984.7871 | 1116115.9851 | 2500983.6184 | 1116114.4033 | 2500982.4667 | 1116112.8494
33 | 2500990.0168 | 1116133.5661 | 2500990.4014 | 1116134.0428
34 | 2500944.3882 | 1116079.7348 | 2500948.6665 | 1116076.9297 | 2500952.8742 | 1116082.5532 | 2500959.1139 | 1116091.1777
35 | 2500966.8249 | 1116101.8359 | 2500959.1139 | 1116091.1777
36 | 2501005.5766 | 1116237.3696 | 2500999.706 | 1116241.4971 | 2500996.1688 | 1116240.9769 | 2500989.2329 | 1116231.8863
37 | 2500986.9597 | 1116228.9069 | 2500989.2329 | 1116231.8863
38 | 2500911.7703 | 1116157.8476 | 2500915.4228 | 1116163.0721 | 2500918.6917 | 1116167.2163
39 | 2500918.6917 | 1116167.2163 | 2500924.6405 | 1116174.7581
40 | 2500966.2539 | 1116180.8266 | 2500971.8452 | 1116173.2586
41 | 2500976.7594 | 1116166.6073 | 2500971.8452 | 1116173.2586
42 | 2500969.5206 | 1116105.5618 | 2500966.8249 | 1116101.8359

## bus_geodata
| x | y | coords
0 | 2501036.7421 | 1116189.306
1 | 2501042.4145 | 1116197.6712
2 | 2501032.0132 | 1116218.7825
3 | 2501011.3737 | 1116151.8948
4 | 2501007.368 | 1116146.3457
5 | 2501027.1563 | 1116147.1559
6 | 2501013.7788 | 1116231.6028
7 | 2500992.0266 | 1116136.057
8 | 2500992.7921 | 1116166.2806
9 | 2501044.4621 | 1116169.4423
10 | 2501036.3891 | 1116159.0459
11 | 2501049.5229 | 1116176.4698
12 | 2501031.556 | 1116123.5217
13 | 2501012.3828 | 1116232.5843
14 | 2500884.0468 | 1116108.6964
15 | 2500888.6175 | 1116106.309
16 | 2500907.4154 | 1116151.6185
17 | 2500951.3855 | 1116221.731
18 | 2500948.0597 | 1116202.0621
19 | 2500939.3028 | 1116235.2979
20 | 2500966.7004 | 1116202.5907
21 | 2500930.7831 | 1116182.5456
22 | 2500957.9424 | 1116192.0762
23 | 2500916.8946 | 1116093.6046
24 | 2500982.9979 | 1116158.1634
25 | 2500984.7871 | 1116115.9851
26 | 2500990.4014 | 1116134.0428
27 | 2500982.4667 | 1116112.8494
28 | 2500944.3882 | 1116079.7348
29 | 2500959.1139 | 1116091.1777
30 | 2501054.7494 | 1116183.7275
31 | 2501005.5766 | 1116237.3696
32 | 2500989.2329 | 1116231.8863
33 | 2500986.9597 | 1116228.9069
34 | 2500974.8067 | 1116191.3097
35 | 2500911.7703 | 1116157.8476
36 | 2500924.6405 | 1116174.7581
37 | 2500966.2539 | 1116180.8266
38 | 2500976.7594 | 1116166.6073
39 | 2500990.0168 | 1116133.5661
40 | 2500966.8249 | 1116101.8359
41 | 2500969.5206 | 1116105.5618
42 | 2500971.8452 | 1116173.2586
43 | 2500918.6917 | 1116167.2163
44 | 2501007.368 | 1116146.3457

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97559 | -0.47047 | 0.0055214 | 0.0013838
1 | 0.97565 | -0.46945 | 0 | 0
2 | 0.97578 | -0.46689 | 0.028223 | 0.0070734
3 | 0.99687 | -0.059458 | 0 | 0
4 | 0.99731 | -0.050999 | 0 | 0
5 | 0.99572 | -0.081629 | 0 | 0
6 | 0.97648 | -0.45313 | 0.026018 | 0.0065208
7 | 0.99515 | -0.092118 | 0 | 0
8 | 1 | 0 | -0.361 | -0.091959
9 | 0.99453 | -0.10463 | 0 | 0
10 | 0.99496 | -0.096261 | 0.019169 | 0.0048043
11 | 0.99424 | -0.11013 | 0.019699 | 0.0049371
12 | 0.9953 | -0.089813 | 0.015315 | 0.0038382
13 | 0.97657 | -0.45126 | 0.021933 | 0.0054968
14 | 0.98207 | -0.34421 | 0 | 0
15 | 0.98184 | -0.34862 | 0 | 0
16 | 0.98422 | -0.30227 | 0.0052197 | 0.0013082
17 | 0.98585 | -0.27043 | 0 | 0
18 | 0.98869 | -0.2157 | 0 | 0
19 | 0.98579 | -0.27147 | 0.0032112 | 0.0008048
20 | 0.98318 | -0.3221 | 0 | 0
21 | 0.98658 | -0.25643 | 0.0084446 | 0.0021164
22 | 0.99009 | -0.18872 | 0.016028 | 0.0040169
23 | 0.98048 | -0.37518 | 0.008105 | 0.0020313
24 | 0.99313 | -0.1306 | 0.0091189 | 0.0022854
25 | 0.99496 | -0.09566 | 0 | 0
26 | 0.9951 | -0.093092 | 0.013751 | 0.0034464
27 | 0.99494 | -0.096185 | 0.007647 | 0.0019165
28 | 0.97936 | -0.39713 | 0 | 0
29 | 0.97853 | -0.41343 | 0.023899 | 0.0059898
30 | 0.99411 | -0.11272 | 0.016377 | 0.0041046
31 | 0.9772 | -0.43885 | 0.023366 | 0.005856
32 | 0.97937 | -0.3964 | 0.0025314 | 0.00063444
33 | 0.97974 | -0.38907 | 0.0038506 | 0.00096505
34 | 0.9831 | -0.32358 | 0.0059088 | 0.0014809
35 | 0.98459 | -0.29507 | 0.0082585 | 0.0020698
36 | 0.98587 | -0.27024 | 0.0075668 | 0.0018964
37 | 0.99106 | -0.17028 | 0.0084011 | 0.0021055
38 | 0.99233 | -0.14581 | 0.0076913 | 0.0019276
39 | 0.99509 | -0.093175 | 0.0076516 | 0.0019177
40 | 0.97834 | -0.41713 | 0.0077055 | 0.0019312
41 | 0.97831 | -0.41778 | 0.0077288 | 0.001937
42 | 0.99173 | -0.15743 | 0.0069398 | 0.0017393
43 | 0.98525 | -0.28232 | 0.0091652 | 0.002297
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0055214 | -0.0013838 | 0.0055217 | 0.0013838 | 2.688e-07 | 4.582e-08 | 0.0084214 | 0.0084214 | 0.0084214 | 0.97559 | -0.47047 | 0.97565 | -0.46945 | 2.3136
1 | -0.0055217 | -0.0013838 | 0.0055223 | 0.001384 | 6.7326e-07 | 1.147e-07 | 0.0084214 | 0.0084213 | 0.0084214 | 0.97565 | -0.46945 | 0.97578 | -0.46689 | 2.3136
2 | -0.033745 | -0.0084573 | 0.033767 | 0.0084712 | 2.2135e-05 | 1.3888e-05 | 0.05146 | 0.05146 | 0.05146 | 0.97578 | -0.46689 | 0.97648 | -0.45313 | 14.1374
3 | -0.070705 | -0.017776 | 0.070734 | 0.017794 | 2.8574e-05 | 1.8198e-05 | 0.10556 | 0.10556 | 0.10556 | 0.99687 | -0.059458 | 0.99731 | -0.050999 | 29.0002
4 | 0.070705 | 0.017776 | -0.070631 | -0.017728 | 7.4772e-05 | 4.7621e-05 | 0.10556 | 0.10556 | 0.10556 | 0.99687 | -0.059458 | 0.99572 | -0.081629 | 29.0002
5 | 0.28773 | 0.0736 | -0.28716 | -0.073235 | 0.00057138 | 0.00036471 | 0.42983 | 0.42983 | 0.42983 | 0.99731 | -0.050999 | 0.99515 | -0.092118 | 39.3619
6 | -0.35847 | -0.091394 | 0.35935 | 0.091959 | 0.0008849 | 0.00056537 | 0.53539 | 0.53539 | 0.53539 | 0.99731 | -0.050999 | 1 | 0 | 49.0285
7 | 0.015321 | 0.0038416 | -0.015315 | -0.0038382 | 5.9733e-06 | 3.4279e-06 | 0.022896 | 0.022896 | 0.022896 | 0.99572 | -0.081629 | 0.9953 | -0.089813 | 6.2901
8 | 0.05531 | 0.013887 | -0.055272 | -0.013862 | 3.8576e-05 | 2.4493e-05 | 0.082665 | 0.082665 | 0.082665 | 0.99572 | -0.081629 | 0.99496 | -0.096261 | 22.7101
9 | -0.059786 | -0.014992 | 0.059791 | 0.014995 | 5.312e-06 | 3.3783e-06 | 0.091109 | 0.091109 | 0.091109 | 0.97648 | -0.45313 | 0.97657 | -0.45126 | 25.0299
10 | 0.25811 | 0.065953 | -0.25763 | -0.065647 | 0.00047932 | 0.00030576 | 0.38639 | 0.38639 | 0.38639 | 0.99515 | -0.092118 | 0.99313 | -0.1306 | 35.3838
11 | 0.0076485 | 0.0019171 | -0.0076472 | -0.0019166 | 1.2907e-06 | 4.8422e-07 | 0.011437 | 0.011437 | 0.011437 | 0.99515 | -0.092118 | 0.99496 | -0.09566 | 3.142
12 | 0.021404 | 0.0053647 | -0.021403 | -0.0053641 | 9.9411e-07 | 6.0261e-07 | 0.032005 | 0.032005 | 0.032005 | 0.99515 | -0.092118 | 0.9951 | -0.093092 | 8.7926
13 | -0.036088 | -0.0090487 | 0.036102 | 0.0090578 | 1.4392e-05 | 9.0397e-06 | 0.053996 | 0.053996 | 0.053996 | 0.99453 | -0.10463 | 0.99496 | -0.096261 | 14.8342
14 | 0.036088 | 0.0090487 | -0.036078 | -0.0090428 | 9.4685e-06 | 5.9475e-06 | 0.053996 | 0.053996 | 0.053996 | 0.99453 | -0.10463 | 0.99424 | -0.11013 | 14.8342
15 | 0.016379 | 0.0041057 | -0.016377 | -0.0041046 | 2.0155e-06 | 1.1739e-06 | 0.024514 | 0.024514 | 0.024514 | 0.99424 | -0.11013 | 0.99411 | -0.11272 | 6.7347
16 | -0.081724 | -0.020492 | 0.081772 | 0.020523 | 4.8383e-05 | 3.0861e-05 | 0.12453 | 0.12453 | 0.12453 | 0.97657 | -0.45126 | 0.9772 | -0.43885 | 34.2109
17 | 0.047584 | 0.011981 | -0.047574 | -0.011974 | 1.0035e-05 | 6.3572e-06 | 0.072118 | 0.072118 | 0.072118 | 0.98207 | -0.34421 | 0.98184 | -0.34862 | 19.8127
18 | -0.047584 | -0.011981 | 0.047679 | 0.012041 | 9.5609e-05 | 6.0568e-05 | 0.072118 | 0.072118 | 0.072118 | 0.98207 | -0.34421 | 0.98422 | -0.30227 | 19.8127
19 | 0.047574 | 0.011974 | -0.047514 | -0.011936 | 6.0316e-05 | 3.8212e-05 | 0.072118 | 0.072119 | 0.072119 | 0.98184 | -0.34862 | 0.98048 | -0.37518 | 19.8128
20 | -0.052899 | -0.01335 | 0.052917 | 0.013361 | 1.8246e-05 | 1.1581e-05 | 0.08001 | 0.08001 | 0.08001 | 0.98422 | -0.30227 | 0.98459 | -0.29507 | 21.9807
21 | -0.12154 | -0.030841 | 0.12186 | 0.031046 | 0.00032086 | 0.00020502 | 0.18359 | 0.18359 | 0.18359 | 0.98585 | -0.27043 | 0.98869 | -0.2157 | 50.4373
22 | 0.0032113 | 0.00080467 | -0.0032112 | -0.0008048 | 1.6006e-07 | -1.2919e-07 | 0.0048471 | 0.0048471 | 0.0048471 | 0.98585 | -0.27043 | 0.98579 | -0.27147 | 1.3316
23 | 0.11833 | 0.030037 | -0.11804 | -0.029849 | 0.00029339 | 0.00018746 | 0.17874 | 0.17874 | 0.17874 | 0.98585 | -0.27043 | 0.98318 | -0.3221 | 49.1057
24 | 0.086651 | 0.021931 | -0.086482 | -0.021823 | 0.00016908 | 0.00010787 | 0.13049 | 0.13049 | 0.13049 | 0.98869 | -0.2157 | 0.98658 | -0.25643 | 35.8489
25 | -0.20852 | -0.052978 | 0.20879 | 0.053151 | 0.00027115 | 0.00017316 | 0.31408 | 0.31408 | 0.31408 | 0.98869 | -0.2157 | 0.99009 | -0.18872 | 43.1431
26 | 0.11213 | 0.028368 | -0.11177 | -0.028139 | 0.00035909 | 0.0002294 | 0.1698 | 0.1698 | 0.1698 | 0.98318 | -0.3221 | 0.97974 | -0.38907 | 46.6488
27 | 0.0059092 | 0.001481 | -0.0059088 | -0.0014809 | 4.1667e-07 | 9.0517e-08 | 0.0089435 | 0.0089435 | 0.0089435 | 0.98318 | -0.3221 | 0.9831 | -0.32358 | 2.457
28 | 0.078038 | 0.019707 | -0.077986 | -0.019674 | 5.1573e-05 | 3.288e-05 | 0.11775 | 0.11775 | 0.11775 | 0.98658 | -0.25643 | 0.98587 | -0.27024 | 32.3499
29 | -0.22481 | -0.057168 | 0.22501 | 0.057295 | 0.00019994 | 0.00012742 | 0.33817 | 0.33817 | 0.33817 | 0.99009 | -0.18872 | 0.99106 | -0.17028 | 30.9679
30 | 0.039409 | 0.0099049 | -0.039367 | -0.0098789 | 4.1253e-05 | 2.6015e-05 | 0.059818 | 0.059818 | 0.059818 | 0.98048 | -0.37518 | 0.97936 | -0.39713 | 16.4336
31 | 0.24851 | 0.063362 | -0.24833 | -0.063246 | 0.00018231 | 0.00011627 | 0.37273 | 0.37273 | 0.37273 | 0.99313 | -0.1306 | 0.99233 | -0.14581 | 34.1326
32 | 0.0076472 | 0.0019166 | -0.007647 | -0.0019165 | 1.9134e-07 | 7.1797e-08 | 0.011437 | 0.011437 | 0.011437 | 0.99496 | -0.09566 | 0.99494 | -0.096185 | 3.142
33 | 0.0076517 | 0.0019177 | -0.0076516 | -0.0019177 | 3.0074e-08 | 1.1289e-08 | 0.011442 | 0.011442 | 0.011442 | 0.9951 | -0.093092 | 0.99509 | -0.093175 | 3.1434
34 | 0.039367 | 0.0098789 | -0.039337 | -0.0098596 | 3.0573e-05 | 1.928e-05 | 0.059818 | 0.059818 | 0.059818 | 0.97936 | -0.39713 | 0.97853 | -0.41343 | 16.4336
35 | 0.015437 | 0.0038699 | -0.015435 | -0.0038683 | 2.7186e-06 | 1.5747e-06 | 0.023475 | 0.023475 | 0.023475 | 0.97853 | -0.41343 | 0.97834 | -0.41713 | 6.4493
36 | -0.10514 | -0.026379 | 0.10535 | 0.026515 | 0.00021327 | 0.00013621 | 0.16011 | 0.16011 | 0.16011 | 0.9772 | -0.43885 | 0.97937 | -0.3964 | 43.9855
37 | -0.10788 | -0.02715 | 0.10792 | 0.027174 | 3.7778e-05 | 2.4131e-05 | 0.16395 | 0.16395 | 0.16395 | 0.97937 | -0.3964 | 0.97974 | -0.38907 | 45.0421
38 | -0.061176 | -0.015431 | 0.061213 | 0.015455 | 3.7382e-05 | 2.3776e-05 | 0.092491 | 0.092491 | 0.092491 | 0.98459 | -0.29507 | 0.98525 | -0.28232 | 25.4095
39 | 0.070419 | 0.017778 | -0.070378 | -0.017752 | 4.0728e-05 | 2.5943e-05 | 0.10633 | 0.10633 | 0.10633 | 0.98587 | -0.27024 | 0.98525 | -0.28232 | 29.2123
40 | -0.23342 | -0.059401 | 0.23356 | 0.059493 | 0.00014473 | 9.2261e-05 | 0.35078 | 0.35078 | 0.35078 | 0.99106 | -0.17028 | 0.99173 | -0.15743 | 32.1229
41 | 0.24064 | 0.061318 | -0.2405 | -0.061232 | 0.00013486 | 8.5991e-05 | 0.36119 | 0.3612 | 0.3612 | 0.99233 | -0.14581 | 0.99173 | -0.15743 | 33.0765
42 | 0.0077291 | 0.0019371 | -0.0077288 | -0.001937 | 2.3832e-07 | 9.478e-08 | 0.011756 | 0.011756 | 0.011756 | 0.97834 | -0.41713 | 0.97831 | -0.41778 | 3.2296

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36752 | 0.093594

## res_load
| p_mw | q_mvar
0 | 0.0055214 | 0.0013838
1 | 0.028223 | 0.0070734
2 | 0.026018 | 0.0065208
3 | 0.0065218 | 0.0016345
4 | 0.019169 | 0.0048043
5 | 0.019699 | 0.0049371
6 | 0.015315 | 0.0038382
7 | 0.021933 | 0.0054968
8 | 0.0052197 | 0.0013082
9 | 0.0032112 | 0.0008048
10 | 0.0084446 | 0.0021164
11 | 0.016028 | 0.0040169
12 | 0.008105 | 0.0020313
13 | 0.0091189 | 0.0022854
14 | 0.013751 | 0.0034464
15 | 0.007647 | 0.0019165
16 | 0.023899 | 0.0059898
17 | 0.016377 | 0.0041046
18 | 0.023366 | 0.005856
19 | 0.0025314 | 0.00063444
20 | 0.0038506 | 0.00096505
21 | 0.0059088 | 0.0014809
22 | 0.0082585 | 0.0020698
23 | 0.0075668 | 0.0018964
24 | 0.0084011 | 0.0021055
25 | 0.0076913 | 0.0019276
26 | 0.0076516 | 0.0019177
27 | 0.0077055 | 0.0019312
28 | 0.0077288 | 0.001937
29 | 0.0069398 | 0.0017393
30 | 0.0091652 | 0.002297

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1