## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-12_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6621-12_0_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_6621-12_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6621-12_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6621-12_0_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_6621-12_0_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6621-12_0_2_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_6621-12_0_2_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_6621-12_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6621-12_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6621-12_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_6621-12_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6621-12_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6621-12_0_2_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_6621-12_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_6621-12_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6621-12_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6621-12_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_6621-12_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6621-12_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6621-12_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6621-12_0_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6621-12_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_6621-12_0_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_6621-12_0_2_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_6621-12_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6621-12_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6621-12_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6621-12_0_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6621-12_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6621-12_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6621-12_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6621-12_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_6621-12_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6621-12_0_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_6621-12_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6621-12_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-12_0_2_load_0 | 0 | 0.0066703 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-12_0_2_load_20 | 7 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-12_0_2_load_34 | 9 | 0.0017811 | 0.00044639 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-12_0_2_load_38 | 10 | 0.0009034 | 0.00022641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-12_0_2_load_37 | 13 | 0.00064527 | 0.00016172 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-12_0_2_load_36 | 16 | 0.0007969 | 0.00019972 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-12_0_2_load_19 | 17 | 0.0026554 | 0.00066551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-12_0_2_load_31 | 20 | 0.0014194 | 0.00035573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-12_0_2_load_27 | 23 | 0.0015308 | 0.00038364 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-12_0_2_load_39 | 24 | 0.0048375 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-12_0_2_load_35 | 26 | 0.005064 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-12_0_2_load_43 | 27 | 0.012152 | 0.0030457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-12_0_2_load_29 | 28 | 0.0019994 | 0.0005011 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-12_0_2_load_32 | 29 | 0.0004346 | 0.00010892 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-12_0_2_load_25 | 30 | 0.0018652 | 0.00046746 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-12_0_2_load_26 | 32 | 0.001405 | 0.00035213 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-12_0_2_load_28 | 33 | 0.0011864 | 0.00029735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-12_0_2_load_33 | 34 | 0.003312 | 0.00083007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-12_0_2_load_41 | 35 | 0.00606 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-12_0_2_load_44 | 37 | 0.00074824 | 0.00018753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-12_0_2_load_47 | 39 | 0.0066453 | 0.0016655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-12_0_2_line_0 |  | 0 | 1 | 0.0039112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-12_0_2_line_1 |  | 0 | 2 | 0.023436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-12_0_2_line_2 |  | 1 | 3 | 0.23173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-12_0_2_line_3 |  | 2 | 4 | 0.039412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-12_0_2_line_4 |  | 2 | 5 | 0.075497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-12_0_2_line_5 |  | 3 | 8 | 0.018816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-12_0_2_line_6 |  | 3 | 9 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-12_0_2_line_7 |  | 4 | 17 | 0.014009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-12_0_2_line_8 |  | 5 | 6 | 0.059198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-12_0_2_line_9 |  | 5 | 7 | 0.030666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-12_0_2_line_10 |  | 6 | 10 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-12_0_2_line_11 |  | 8 | 28 | 0.085414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-12_0_2_line_12 |  | 11 | 12 | 0.13666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-12_0_2_line_13 |  | 11 | 13 | 0.039826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-12_0_2_line_14 |  | 12 | 17 | 0.0064423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-12_0_2_line_15 |  | 13 | 15 | 0.022458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-12_0_2_line_16 |  | 14 | 15 | 0.20579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-12_0_2_line_17 |  | 14 | 16 | 0.0087836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-12_0_2_line_18 |  | 15 | 21 | 0.092097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-12_0_2_line_19 |  | 15 | 22 | 0.27834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-12_0_2_line_20 |  | 18 | 19 | 0.16723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-12_0_2_line_21 |  | 18 | 20 | 0.21303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-12_0_2_line_22 |  | 19 | 23 | 0.065681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-12_0_2_line_23 |  | 20 | 29 | 0.016111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-12_0_2_line_24 |  | 21 | 27 | 0.009411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-12_0_2_line_25 |  | 21 | 25 | 0.07673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-12_0_2_line_26 |  | 22 | 24 | 0.055195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-12_0_2_line_27 |  | 23 | 30 | 0.054128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-12_0_2_line_28 |  | 24 | 31 | 0.11867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-12_0_2_line_29 |  | 25 | 26 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-12_0_2_line_30 |  | 28 | 33 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-12_0_2_line_31 |  | 29 | 34 | 0.014833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-12_0_2_line_32 |  | 30 | 32 | 0.025278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-12_0_2_line_33 |  | 31 | 35 | 0.045294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-12_0_2_line_34 |  | 31 | 36 | 0.084212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-12_0_2_line_35 |  | 32 | 33 | 0.0022683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-12_0_2_line_36 |  | 36 | 37 | 0.037463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-12_0_2_line_37 |  | 36 | 38 | 0.18511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-12_0_2_line_38 |  | 38 | 39 | 0.038589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-12_0_2_trafo_8 | 0.63 MVA 20/0.4 kV | 40 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2502052.3539 | 1118143.3135 | 2502049.2398 | 1118140.947
1 | 2502030.5806 | 1118126.767 | 2502049.2398 | 1118140.947
2 | 2502052.3539 | 1118143.3135 | 2502068.3754 | 1118155.5062 | 2502076.595 | 1118161.6325 | 2502080.0121 | 1118164.3455 | 2502184.858 | 1118248.7127 | 2502197.2469 | 1118257.7846 | 2502193.7843 | 1118262.7548 | 2502195.2696 | 1118270.5912 | 2502200.9028 | 1118271.9232 | 2502209.5354 | 1118277.8317 | 2502216.0313 | 1118283.3524 | 2502219.8351 | 1118286.1148 | 2502223.092 | 1118287.5186
3 | 2502030.5806 | 1118126.767 | 2502014.0041 | 1118147.9708 | 2502008.4098 | 1118151.4302 | 2502003.4938 | 1118154.8231
4 | 2501974.4597 | 1118087.0404 | 2501978.5164 | 1118082.0604 | 2501983.0594 | 1118084.6996 | 2501993.0788 | 1118092.3197 | 2501995.6814 | 1118094.301 | 2502001.7316 | 1118101.3518 | 2502021.4199 | 1118117.832 | 2502024.8968 | 1118122.801 | 2502030.5806 | 1118126.767
5 | 2502240.2907 | 1118292.3658 | 2502237.7362 | 1118290.4837 | 2502234.7598 | 1118288.286 | 2502231.1621 | 1118286.8099 | 2502223.092 | 1118287.5186
6 | 2502223.092 | 1118287.5186 | 2502218.445 | 1118291.7964 | 2502213.5248 | 1118298.0006
7 | 2502003.4938 | 1118154.8231 | 2501996.6328 | 1118156.3241 | 2501989.7433 | 1118157.4782
8 | 2501958.2817 | 1118035.2371 | 2501961.7955 | 1118039.1381 | 2501969.9769 | 1118058.1284 | 2501980.3141 | 1118079.1517 | 2501978.5164 | 1118082.0604 | 2501974.4597 | 1118087.0404
9 | 2501974.4597 | 1118087.0404 | 2501966.7383 | 1118097.85 | 2501962.9526 | 1118101.925 | 2501958.2187 | 1118106.082 | 2501953.8297 | 1118109.4293
10 | 2501958.2817 | 1118035.2371 | 2501951.0074 | 1118027.1378
11 | 2502240.2907 | 1118292.3658 | 2502181.3827 | 1118354.2159
12 | 2501893.5567 | 1118251.6762 | 2501898.1748 | 1118236.1139 | 2501904.193 | 1118224.5424 | 2501912.8162 | 1118207.959 | 2501924.0898 | 1118192.5 | 2501934.654 | 1118181.8443 | 2501945.9589 | 1118173.0667 | 2501959.0196 | 1118166.4176 | 2501983.4259 | 1118158.7284
13 | 2501893.5567 | 1118251.6762 | 2501879.4829 | 1118253.917 | 2501877.1825 | 1118254.8549 | 2501869.8515 | 1118259.7324 | 2501861.4312 | 1118266.4509 | 2501858.8805 | 1118268.8674
14 | 2501983.4259 | 1118158.7284 | 2501986.7869 | 1118157.9735 | 2501989.7433 | 1118157.4782
15 | 2501844.7016 | 1118286.2457 | 2501853.5767 | 1118274.739 | 2501856.7864 | 1118270.8512 | 2501858.8805 | 1118268.8674
16 | 2501844.7016 | 1118286.2457 | 2501848.5258 | 1118293.1102 | 2501852.4788 | 1118298.3937 | 2501855.691 | 1118301.7993 | 2501858.8597 | 1118305.3723 | 2501861.1049 | 1118307.2148 | 2501864.97 | 1118309.4646 | 2501869.7589 | 1118311.566 | 2501873.1601 | 1118312.8227 | 2501876.9038 | 1118313.7737 | 2501880.4004 | 1118314.2506 | 2501884.049 | 1118314.5805 | 2501888.3769 | 1118314.9105 | 2501891.6659 | 1118314.9572 | 2501894.9885 | 1118314.2251 | 2501900.8505 | 1118313.0071 | 2501913.5195 | 1118320.295 | 2501915.5704 | 1118327.2883 | 2501924.1122 | 1118337.5785 | 2501939.2289 | 1118353.4877 | 2501945.6048 | 1118359.2101 | 2501954.0536 | 1118365.1991 | 2501965.8236 | 1118373.2244 | 2501969.8282 | 1118369.3238 | 2501971.8107 | 1118366.8679 | 2501975.9834 | 1118366.1999 | 2501979.8069 | 1118365.4152 | 2501988.6045 | 1118365.3059 | 2502006.8958 | 1118376.6055
17 | 2502006.8958 | 1118376.6055 | 2502014.183 | 1118381.5093
18 | 2501786.917 | 1118236.2748 | 2501796.0316 | 1118241.8859 | 2501809.3149 | 1118250.3866 | 2501817.0534 | 1118248.7378 | 2501826.2845 | 1118246.7979 | 2501827.7455 | 1118252.6334 | 2501828.9785 | 1118258.6838 | 2501830.4987 | 1118278.1489 | 2501833.6528 | 1118281.2997 | 2501842.2679 | 1118285.1512 | 2501844.7016 | 1118286.2457
19 | 2501844.7016 | 1118286.2457 | 2501848.5258 | 1118293.1102 | 2501852.4788 | 1118298.3937 | 2501855.691 | 1118301.7993 | 2501858.8597 | 1118305.3723 | 2501861.1049 | 1118307.2148 | 2501864.97 | 1118309.4646 | 2501869.7589 | 1118311.566 | 2501873.1601 | 1118312.8227 | 2501876.9038 | 1118313.7737 | 2501880.4004 | 1118314.2506 | 2501884.049 | 1118314.5805 | 2501888.3769 | 1118314.9105 | 2501891.6659 | 1118314.9572 | 2501894.9885 | 1118314.2251 | 2501895.489 | 1118317.4746 | 2501895.776 | 1118318.515 | 2501899.6573 | 1118331.2822 | 2501894.7259 | 1118339.9008 | 2501887.0852 | 1118352.3214 | 2501907.1501 | 1118364.926 | 2501899.2761 | 1118377.2391 | 2501968.7021 | 1118420.785 | 2501957.0774 | 1118440.2744 | 2501983.2709 | 1118456.7157
20 | 2502060.5572 | 1118438.119 | 2502065.9329 | 1118440.2444 | 2502144.9866 | 1118489.3177 | 2502149.838 | 1118494.8204 | 2502202.458 | 1118526.4668
21 | 2502202.458 | 1118526.4668 | 2502243.9555 | 1118482.2464 | 2502284.3592 | 1118439.078 | 2502289.4198 | 1118433.6485 | 2502292.508 | 1118430.3521 | 2502321.1426 | 1118398.7256 | 2502318.9427 | 1118393.469 | 2502301.7553 | 1118377.3588 | 2502294.9071 | 1118370.92
22 | 2502060.5572 | 1118438.119 | 2502093.5138 | 1118401.7741 | 2502104.8632 | 1118389.6344
23 | 2502283.1692 | 1118359.8839 | 2502294.9071 | 1118370.92
24 | 2501786.917 | 1118236.2748 | 2501781.9603 | 1118244.2825
25 | 2501731.1632 | 1118227.7194 | 2501741.7117 | 1118219.921 | 2501744.7653 | 1118218.7818 | 2501746.6094 | 1118217.7846 | 2501747.5683 | 1118216.9462 | 2501749.0318 | 1118216.2776 | 2501750.5415 | 1118215.6082 | 2501752.5522 | 1118214.8862 | 2501754.1039 | 1118214.4274 | 2501756.742 | 1118213.8398 | 2501758.4661 | 1118212.5888 | 2501760.4221 | 1118212.7793 | 2501764.1458 | 1118212.4965 | 2501770.4794 | 1118210.8482 | 2501772.6398 | 1118219.8186 | 2501773.922 | 1118227.9473 | 2501786.917 | 1118236.2748
26 | 2501983.2709 | 1118456.7157 | 2501980.403 | 1118461.2094 | 2501953.543 | 1118503.221
27 | 2502149.371 | 1118377.0943 | 2502136.3802 | 1118370.5833 | 2502133.153 | 1118370.0575 | 2502130.1228 | 1118369.7841 | 2502127.4891 | 1118369.6822 | 2502124.4606 | 1118370.465 | 2502119.8038 | 1118373.6534 | 2502104.8632 | 1118389.6344
28 | 2501889.7456 | 1118603.2783 | 2501923.3362 | 1118550.4675 | 2501953.543 | 1118503.221
29 | 2501731.1632 | 1118227.7194 | 2501723.7927 | 1118223.0362 | 2501722.4575 | 1118220.6521
30 | 2502181.3827 | 1118354.2159 | 2502170.6627 | 1118365.4712
31 | 2502282.9625 | 1118349.3228 | 2502277.8656 | 1118354.8974 | 2502283.1692 | 1118359.8839
32 | 2502149.371 | 1118377.0943 | 2502153.7649 | 1118379.2964 | 2502156.1972 | 1118379.3571 | 2502158.4569 | 1118378.2866 | 2502169.0983 | 1118367.1138
33 | 2501889.7456 | 1118603.2783 | 2501865.2255 | 1118641.3997
34 | 2501889.7456 | 1118603.2783 | 2501858.9709 | 1118560.8846 | 2501840.9379 | 1118534.5831
35 | 2502169.0983 | 1118367.1138 | 2502170.6627 | 1118365.4712
36 | 2501840.9379 | 1118534.5831 | 2501877.9432 | 1118528.0898
37 | 2501733.5386 | 1118383.8333 | 2501761.4216 | 1118422.9602 | 2501774.7282 | 1118441.4667 | 2501818.6591 | 1118504.4482 | 2501830.8045 | 1118520.3832 | 2501840.9379 | 1118534.5831
38 | 2501733.5386 | 1118383.8333 | 2501771.6527 | 1118377.1212

## bus_geodata
| x | y | coords
0 | 2502049.2398 | 1118140.947
1 | 2502052.3539 | 1118143.3135
2 | 2502030.5806 | 1118126.767
3 | 2502223.092 | 1118287.5186
4 | 2502003.4938 | 1118154.8231
5 | 2501974.4597 | 1118087.0404
6 | 2501958.2817 | 1118035.2371
7 | 2501953.8297 | 1118109.4293
8 | 2502240.2907 | 1118292.3658
9 | 2502213.5248 | 1118298.0006
10 | 2501951.0074 | 1118027.1378
11 | 2501893.5567 | 1118251.6762
12 | 2501983.4259 | 1118158.7284
13 | 2501858.8805 | 1118268.8674
14 | 2502006.8958 | 1118376.6055
15 | 2501844.7016 | 1118286.2457
16 | 2502014.183 | 1118381.5093
17 | 2501989.7433 | 1118157.4782
18 | 2502202.458 | 1118526.4668
19 | 2502060.5572 | 1118438.119
20 | 2502294.9071 | 1118370.92
21 | 2501786.917 | 1118236.2748
22 | 2501983.2709 | 1118456.7157
23 | 2502104.8632 | 1118389.6344
24 | 2501953.543 | 1118503.221
25 | 2501731.1632 | 1118227.7194
26 | 2501722.4575 | 1118220.6521
27 | 2501781.9603 | 1118244.2825
28 | 2502181.3827 | 1118354.2159
29 | 2502283.1692 | 1118359.8839
30 | 2502149.371 | 1118377.0943
31 | 2501889.7456 | 1118603.2783
32 | 2502169.0983 | 1118367.1138
33 | 2502170.6627 | 1118365.4712
34 | 2502282.9625 | 1118349.3228
35 | 2501865.2255 | 1118641.3997
36 | 2501840.9379 | 1118534.5831
37 | 2501877.9432 | 1118528.0898
38 | 2501733.5386 | 1118383.8333
39 | 2501771.6527 | 1118377.1212
40 | 2502006.8958 | 1118376.6055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98139 | -0.35748 | 0.0066703 | 0.0016717
1 | 0.98134 | -0.35854 | 0 | 0
2 | 0.98186 | -0.34831 | 0 | 0
3 | 0.97812 | -0.42149 | 0 | 0
4 | 0.98273 | -0.33136 | 0 | 0
5 | 0.98171 | -0.35129 | 0 | 0
6 | 0.98166 | -0.35226 | 0 | 0
7 | 0.98168 | -0.352 | 0.0012734 | 0.00031914
8 | 0.97789 | -0.42601 | 0 | 0
9 | 0.9781 | -0.42195 | 0.0017811 | 0.00044639
10 | 0.98165 | -0.35244 | 0.0009034 | 0.00022641
11 | 0.98655 | -0.25724 | 0 | 0
12 | 0.9832 | -0.32226 | 0 | 0
13 | 0.98752 | -0.23838 | 0.00064527 | 0.00016172
14 | 1 | 0 | -0.066126 | -0.01655
15 | 0.98809 | -0.22749 | 0 | 0
16 | 0.99999 | -0.00012202 | 0.0007969 | 0.00019972
17 | 0.98304 | -0.32534 | 0.0026554 | 0.00066551
18 | 0.97501 | -0.48282 | 0 | 0
19 | 0.97581 | -0.46696 | 0 | 0
20 | 0.97399 | -0.50303 | 0.0014194 | 0.00035573
21 | 0.98663 | -0.25585 | 0 | 0
22 | 0.98338 | -0.31893 | 0 | 0
23 | 0.97613 | -0.46073 | 0.0015308 | 0.00038364
24 | 0.98245 | -0.33716 | 0.0048375 | 0.0012124
25 | 0.98627 | -0.26281 | 0 | 0
26 | 0.98622 | -0.26385 | 0.005064 | 0.0012692
27 | 0.98653 | -0.2579 | 0.012152 | 0.0030457
28 | 0.97685 | -0.44654 | 0.0019994 | 0.0005011
29 | 0.97393 | -0.50414 | 0.0004346 | 0.00010892
30 | 0.97647 | -0.45409 | 0.0018652 | 0.00046746
31 | 0.98097 | -0.36607 | 0 | 0
32 | 0.97667 | -0.45012 | 0.001405 | 0.00035213
33 | 0.97669 | -0.44971 | 0.0011864 | 0.00029735
34 | 0.97388 | -0.50504 | 0.003312 | 0.00083007
35 | 0.98071 | -0.37104 | 0.00606 | 0.0015188
36 | 0.98039 | -0.37736 | 0 | 0
37 | 0.98037 | -0.37787 | 0.00074824 | 0.00018753
38 | 0.97925 | -0.39971 | 0 | 0
39 | 0.97902 | -0.40437 | 0.0066453 | 0.0016655
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015012 | 0.0037811 | -0.015011 | -0.0037806 | 7.6033e-07 | 4.3719e-07 | 0.022768 | 0.022768 | 0.022768 | 0.98139 | -0.35748 | 0.98134 | -0.35854 | 6.255
1 | -0.021682 | -0.0054528 | 0.021692 | 0.0054586 | 9.5022e-06 | 5.7851e-06 | 0.032882 | 0.032882 | 0.032882 | 0.98139 | -0.35748 | 0.98186 | -0.34831 | 9.0335
2 | 0.015011 | 0.0037806 | -0.014966 | -0.0037547 | 4.505e-05 | 2.5914e-05 | 0.022768 | 0.022769 | 0.022769 | 0.98134 | -0.35854 | 0.97812 | -0.42149 | 6.2553
3 | -0.023869 | -0.0060022 | 0.023888 | 0.0060141 | 1.9347e-05 | 1.1883e-05 | 0.036181 | 0.03618 | 0.036181 | 0.98186 | -0.34831 | 0.98273 | -0.33136 | 9.9397
4 | 0.0021772 | 0.00054358 | -0.0021769 | -0.00054434 | 3.0812e-07 | -7.5753e-07 | 0.0032988 | 0.0032991 | 0.0032991 | 0.98186 | -0.34831 | 0.98171 | -0.35129 | 0.90635
5 | 0.013185 | 0.0033085 | -0.013182 | -0.0033069 | 2.8393e-06 | 1.581e-06 | 0.02006 | 0.02006 | 0.02006 | 0.97812 | -0.42149 | 0.97789 | -0.42601 | 5.5109
6 | 0.0017812 | 0.00044624 | -0.0017811 | -0.00044639 | 3.9193e-08 | -1.5358e-07 | 0.0027096 | 0.0027097 | 0.0027097 | 0.97812 | -0.42149 | 0.9781 | -0.42195 | 0.74442
7 | -0.023888 | -0.0060141 | 0.023895 | 0.0060183 | 6.8766e-06 | 4.2235e-06 | 0.03618 | 0.03618 | 0.03618 | 0.98273 | -0.33136 | 0.98304 | -0.32534 | 9.9397
8 | 0.00090345 | 0.00022556 | -0.00090341 | -0.00022628 | 4.1618e-08 | -7.2181e-07 | 0.0013691 | 0.0013694 | 0.0013694 | 0.98171 | -0.35129 | 0.98166 | -0.35226 | 0.3762
9 | 0.0012734 | 0.00031878 | -0.0012734 | -0.00031914 | 4.284e-08 | -3.603e-07 | 0.00193 | 0.0019302 | 0.0019302 | 0.98171 | -0.35129 | 0.98168 | -0.352 | 0.53027
10 | 0.00090341 | 0.00022628 | -0.0009034 | -0.00022641 | 7.6554e-09 | -1.3273e-07 | 0.0013694 | 0.0013694 | 0.0013694 | 0.98166 | -0.35226 | 0.98165 | -0.35244 | 0.37621
11 | 0.013182 | 0.0033069 | -0.013169 | -0.0032997 | 1.2889e-05 | 7.1785e-06 | 0.02006 | 0.02006 | 0.02006 | 0.97789 | -0.42601 | 0.97685 | -0.44654 | 5.511
12 | 0.026637 | 0.0067375 | -0.026554 | -0.0066862 | 8.2817e-05 | 5.1264e-05 | 0.040199 | 0.0402 | 0.0402 | 0.98655 | -0.25724 | 0.9832 | -0.32226 | 11.0439
13 | -0.026637 | -0.0067375 | 0.026661 | 0.0067524 | 2.4134e-05 | 1.4937e-05 | 0.040199 | 0.040199 | 0.040199 | 0.98655 | -0.25724 | 0.98752 | -0.23838 | 11.0437
14 | 0.026554 | 0.0066862 | -0.026551 | -0.0066838 | 3.9041e-06 | 2.4169e-06 | 0.0402 | 0.0402 | 0.0402 | 0.9832 | -0.32226 | 0.98304 | -0.32534 | 11.0439
15 | -0.027307 | -0.0069141 | 0.027321 | 0.006923 | 1.4275e-05 | 8.8487e-06 | 0.041171 | 0.041171 | 0.041171 | 0.98752 | -0.23838 | 0.98809 | -0.22749 | 11.3108
16 | 0.063679 | 0.01635 | -0.062984 | -0.015908 | 0.00069491 | 0.00044207 | 0.094894 | 0.094895 | 0.094895 | 1 | 0 | 0.98809 | -0.22749 | 26.0699
17 | 0.0007969 | 0.00019961 | -0.0007969 | -0.00019972 | 4.6314e-09 | -1.1227e-07 | 0.0011858 | 0.0011858 | 0.0011858 | 1 | 0 | 0.99999 | -0.00012202 | 0.32577
18 | 0.017243 | 0.0043293 | -0.01722 | -0.0043156 | 2.3293e-05 | 1.3729e-05 | 0.02597 | 0.02597 | 0.02597 | 0.98809 | -0.22749 | 0.98663 | -0.25585 | 7.1347
19 | 0.01842 | 0.004656 | -0.01834 | -0.0046081 | 8.0402e-05 | 4.7909e-05 | 0.027754 | 0.027755 | 0.027755 | 0.98809 | -0.22749 | 0.98338 | -0.31893 | 7.625
20 | -0.0051713 | -0.0012951 | 0.0051752 | 0.0012955 | 3.9054e-06 | 4.121e-07 | 0.0078919 | 0.0078912 | 0.0078919 | 0.97501 | -0.48282 | 0.97581 | -0.46696 | 2.1681
21 | 0.0051713 | 0.0012951 | -0.0051664 | -0.0012946 | 4.976e-06 | 5.3062e-07 | 0.0078919 | 0.0078929 | 0.0078929 | 0.97501 | -0.48282 | 0.97399 | -0.50303 | 2.1684
22 | -0.0051752 | -0.0012955 | 0.0051768 | 0.0012957 | 1.5337e-06 | 1.6078e-07 | 0.0078912 | 0.0078909 | 0.0078912 | 0.97581 | -0.46696 | 0.97613 | -0.46073 | 2.1679
23 | 0.003747 | 0.00093883 | -0.0037468 | -0.0009389 | 1.9798e-07 | -7.3795e-08 | 0.0057244 | 0.0057245 | 0.0057245 | 0.97399 | -0.50303 | 0.97393 | -0.50414 | 1.5727
24 | 0.012154 | 0.0030463 | -0.012152 | -0.0030457 | 1.1857e-06 | 6.387e-07 | 0.01833 | 0.01833 | 0.01833 | 0.98663 | -0.25585 | 0.98653 | -0.2579 | 5.0357
25 | 0.0050659 | 0.0012693 | -0.0050643 | -0.0012692 | 1.6797e-06 | 9.5445e-08 | 0.0076402 | 0.0076406 | 0.0076406 | 0.98663 | -0.25585 | 0.98627 | -0.26281 | 2.0991
26 | 0.01834 | 0.0046081 | -0.018324 | -0.0045986 | 1.5945e-05 | 9.5051e-06 | 0.027755 | 0.027755 | 0.027755 | 0.98338 | -0.31893 | 0.98245 | -0.33716 | 7.6251
27 | -0.0067075 | -0.0016793 | 0.0067097 | 0.00168 | 2.1219e-06 | 6.8113e-07 | 0.010224 | 0.010224 | 0.010224 | 0.97613 | -0.46073 | 0.97647 | -0.45409 | 2.8089
28 | 0.013486 | 0.0033862 | -0.013468 | -0.0033758 | 1.8571e-05 | 1.0385e-05 | 0.020428 | 0.020429 | 0.020429 | 0.98245 | -0.33716 | 0.98097 | -0.36607 | 5.6123
29 | 0.0050643 | 0.0012692 | -0.005064 | -0.0012692 | 2.5099e-07 | 1.4331e-08 | 0.0076406 | 0.0076406 | 0.0076406 | 0.98627 | -0.26281 | 0.98622 | -0.26385 | 2.0991
30 | 0.01117 | 0.0027986 | -0.011168 | -0.0027977 | 1.6874e-06 | 8.8538e-07 | 0.017014 | 0.017014 | 0.017014 | 0.97685 | -0.44654 | 0.97669 | -0.44971 | 4.6743
31 | 0.0033122 | 0.00082998 | -0.003312 | -0.00083007 | 1.4245e-07 | -9.3412e-08 | 0.0050605 | 0.0050605 | 0.0050605 | 0.97393 | -0.50414 | 0.97388 | -0.50504 | 1.3903
32 | -0.0085748 | -0.0021474 | 0.0085764 | 0.0021482 | 1.6184e-06 | 7.195e-07 | 0.013066 | 0.013066 | 0.013066 | 0.97647 | -0.45409 | 0.97667 | -0.45012 | 3.5897
33 | 0.0060614 | 0.0015191 | -0.00606 | -0.0015188 | 1.4359e-06 | 3.4733e-07 | 0.0091945 | 0.0091947 | 0.0091947 | 0.98097 | -0.36607 | 0.98071 | -0.37104 | 2.526
34 | 0.0074061 | 0.0018567 | -0.0074021 | -0.0018552 | 3.9858e-06 | 1.4884e-06 | 0.011234 | 0.011235 | 0.011235 | 0.98097 | -0.36607 | 0.98039 | -0.37736 | 3.0865
35 | -0.0099815 | -0.0025003 | 0.0099817 | 0.0025004 | 1.9671e-07 | 9.7506e-08 | 0.015207 | 0.015207 | 0.015207 | 0.97667 | -0.45012 | 0.97669 | -0.44971 | 4.1777
36 | 0.00074826 | 0.00018707 | -0.00074824 | -0.00018753 | 1.8117e-08 | -4.608e-07 | 0.0011355 | 0.0011357 | 0.0011357 | 0.98039 | -0.37736 | 0.98037 | -0.37787 | 0.312
37 | 0.0066539 | 0.0016681 | -0.0066468 | -0.0016659 | 7.0807e-06 | 2.2001e-06 | 0.010099 | 0.0101 | 0.0101 | 0.98039 | -0.37736 | 0.97925 | -0.39971 | 2.7747
38 | 0.0066468 | 0.0016659 | -0.0066453 | -0.0016655 | 1.4762e-06 | 4.5943e-07 | 0.0101 | 0.0101 | 0.0101 | 0.97925 | -0.39971 | 0.97902 | -0.40437 | 2.7748

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.066126 | 0.01655

## res_load
| p_mw | q_mvar
0 | 0.0066703 | 0.0016717
1 | 0.0012734 | 0.00031914
2 | 0.0017811 | 0.00044639
3 | 0.0009034 | 0.00022641
4 | 0.00064527 | 0.00016172
5 | 0.0007969 | 0.00019972
6 | 0.0026554 | 0.00066551
7 | 0.0014194 | 0.00035573
8 | 0.0015308 | 0.00038364
9 | 0.0048375 | 0.0012124
10 | 0.005064 | 0.0012692
11 | 0.012152 | 0.0030457
12 | 0.0019994 | 0.0005011
13 | 0.0004346 | 0.00010892
14 | 0.0018652 | 0.00046746
15 | 0.001405 | 0.00035213
16 | 0.0011864 | 0.00029735
17 | 0.003312 | 0.00083007
18 | 0.00606 | 0.0015188
19 | 0.00074824 | 0.00018753
20 | 0.0066453 | 0.0016655

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1