## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-131_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-131_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-131_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-131_0_5_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_6621-131_0_5_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_6621-131_0_5_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_6621-131_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6621-131_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6621-131_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6621-131_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6621-131_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6621-131_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_6621-131_0_5_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_6621-131_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6621-131_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_6621-131_0_5_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_6621-131_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_6621-131_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6621-131_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6621-131_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6621-131_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6621-131_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6621-131_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6621-131_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_6621-131_0_5_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_6621-131_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6621-131_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6621-131_0_5_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_6621-131_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6621-131_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6621-131_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6621-131_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6621-131_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6621-131_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6621-131_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_6621-131_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_6621-131_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_6621-131_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_6621-131_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_6621-131_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6621-131_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6621-131_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_6621-131_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6621-131_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6621-131_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_MV_649_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-131_0_5_load_0 | 0 | 0.01521 | 0.0038119 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-131_0_5_load_2 | 2 | 0.0087678 | 0.0021974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-131_0_5_load_3 | 6 | 0.017555 | 0.0043998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-131_0_5_load_4 | 7 | 0.008543 | 0.0021411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-131_0_5_load_5 | 8 | 0.0079791 | 0.0019997 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-131_0_5_load_7 | 10 | 0.0095717 | 0.0023989 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-131_0_5_load_30 | 15 | 0.0176 | 0.0044111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-131_0_5_load_36 | 16 | 0.051696 | 0.012956 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-131_0_5_load_8 | 17 | 0.058304 | 0.014612 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-131_0_5_load_9 | 18 | 0.023144 | 0.0058004 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-131_0_5_load_24 | 22 | 0.061414 | 0.015392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-131_0_5_load_38 | 23 | 0.0082007 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-131_0_5_load_44 | 24 | 0.024222 | 0.0060705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-131_0_5_load_42 | 26 | 0.019687 | 0.004934 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-131_0_5_load_46 | 27 | 0.068236 | 0.017101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-131_0_5_load_21 | 30 | 0.0027975 | 0.00070112 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-131_0_5_load_43 | 32 | 0.062984 | 0.015785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-131_0_5_load_29 | 33 | 0.0012291 | 0.00030805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-131_0_5_load_16 | 34 | 0.010399 | 0.0026062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-131_0_5_load_17 | 35 | 0.00076953 | 0.00019286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-131_0_5_load_19 | 37 | 0.0085472 | 0.0021421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-131_0_5_load_20 | 38 | 0.021104 | 0.0052891 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-131_0_5_load_39 | 39 | 0.020102 | 0.005038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-131_0_5_load_40 | 40 | 0.0083835 | 0.0021011 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-131_0_5_load_26 | 41 | 0.038645 | 0.0096853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-131_0_5_load_45 | 44 | 0.014526 | 0.0036406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-131_0_5_line_0 |  | 0 | 1 | 0.02397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-131_0_5_line_1 |  | 1 | 2 | 0.025791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-131_0_5_line_2 |  | 2 | 3 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-131_0_5_line_3 |  | 3 | 4 | 0.039089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-131_0_5_line_4 |  | 3 | 5 | 0.091285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-131_0_5_line_5 |  | 4 | 16 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-131_0_5_line_6 |  | 4 | 14 | 0.0073859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-131_0_5_line_7 |  | 5 | 40 | 0.074024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-131_0_5_line_8 |  | 6 | 7 | 0.0024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6621-131_0_5_line_9 |  | 6 | 8 | 0.0083494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6621-131_0_5_line_10 |  | 7 | 9 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6621-131_0_5_line_11 |  | 8 | 10 | 0.00034951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6621-131_0_5_line_12 |  | 9 | 11 | 0.004729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6621-131_0_5_line_13 |  | 10 | 12 | 0.0081408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6621-131_0_5_line_14 |  | 11 | 16 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6621-131_0_5_line_15 |  | 12 | 13 | 0.005004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6621-131_0_5_line_16 |  | 13 | 23 | 0.0051564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-131_0_5_line_17 |  | 13 | 19 | 0.036875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6621-131_0_5_line_18 |  | 14 | 15 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-131_0_5_line_19 |  | 17 | 18 | 0.0083221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-131_0_5_line_20 |  | 17 | 19 | 0.032339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-131_0_5_line_21 |  | 18 | 20 | 0.045299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-131_0_5_line_22 |  | 19 | 21 | 0.045516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6621-131_0_5_line_23 |  | 20 | 22 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-131_0_5_line_24 |  | 21 | 24 | 0.001096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-131_0_5_line_25 |  | 21 | 25 | 0.13545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-131_0_5_line_26 |  | 21 | 26 | 0.0085126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-131_0_5_line_27 |  | 22 | 31 | 0.0037902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-131_0_5_line_28 |  | 25 | 27 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-131_0_5_line_29 |  | 26 | 32 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-131_0_5_line_30 |  | 28 | 29 | 0.00585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-131_0_5_line_31 |  | 28 | 30 | 0.029381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-131_0_5_line_32 |  | 29 | 33 | 0.0095629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-131_0_5_line_33 |  | 31 | 41 | 0.0082578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-131_0_5_line_34 |  | 33 | 37 | 0.0078588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-131_0_5_line_35 |  | 34 | 35 | 0.0085178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-131_0_5_line_36 |  | 34 | 36 | 0.070807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-131_0_5_line_37 |  | 35 | 37 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-131_0_5_line_38 |  | 36 | 38 | 0.028869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-131_0_5_line_39 |  | 38 | 39 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-131_0_5_line_40 |  | 39 | 40 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-131_0_5_line_41 |  | 41 | 42 | 0.0085316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-131_0_5_line_42 |  | 42 | 43 | 0.041398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-131_0_5_line_43 |  | 43 | 44 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-131_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 45 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2500767.9262 | 1116463.8433 | 2500744.8833 | 1116470.4469
1 | 2500767.9262 | 1116463.8433 | 2500773.7222 | 1116483.9163 | 2500775.3422 | 1116488.5382
2 | 2500780.5731 | 1116501.9375 | 2500779.067 | 1116499.0826 | 2500777.8371 | 1116495.6562 | 2500775.3422 | 1116488.5382
3 | 2500753.0272 | 1116527.5385 | 2500754.8433 | 1116520.5822 | 2500777.454 | 1116505.7132 | 2500780.5731 | 1116501.9375
4 | 2500780.5731 | 1116501.9375 | 2500784.3282 | 1116499.7412 | 2500789.3439 | 1116497.2018 | 2500796.9374 | 1116493.1859 | 2500782.2777 | 1116463.7079 | 2500787.2866 | 1116461.2242 | 2500791.4441 | 1116458.61 | 2500792.7619 | 1116461.2789 | 2500802.6079 | 1116480.196 | 2500803.6417 | 1116481.5577 | 2500800.8043 | 1116483.2163
5 | 2500753.0272 | 1116527.5385 | 2500742.7086 | 1116534.4009 | 2500738.1678 | 1116537.5054
6 | 2500753.0272 | 1116527.5385 | 2500755.4728 | 1116530.7115 | 2500752.7176 | 1116532.669
7 | 2500800.8043 | 1116483.2163 | 2500798.9068 | 1116479.5674 | 2500793.628 | 1116468.4247 | 2500737.1082 | 1116479.4283
8 | 2500725.5494 | 1116561.5566 | 2500727.5388 | 1116560.1542
9 | 2500725.5494 | 1116561.5566 | 2500720.7721 | 1116564.9243 | 2500718.7273 | 1116566.3703
10 | 2500728.3255 | 1116550.0022 | 2500728.9029 | 1116551.7827 | 2500731.5342 | 1116557.3319 | 2500729.5727 | 1116558.7205 | 2500727.5388 | 1116560.1542
11 | 2500718.7273 | 1116566.3703 | 2500718.4419 | 1116566.5721
12 | 2500726.1486 | 1116545.8019 | 2500728.3255 | 1116550.0022
13 | 2500713.126 | 1116560.5581 | 2500714.9705 | 1116561.9176 | 2500717.4898 | 1116565.3451 | 2500718.406 | 1116566.5975 | 2500718.4419 | 1116566.5721
14 | 2500726.1486 | 1116545.8019 | 2500731.0951 | 1116542.3408 | 2500738.1678 | 1116537.5054
15 | 2500709.1989 | 1116557.4429 | 2500713.126 | 1116560.5581
16 | 2500709.1989 | 1116557.4429 | 2500713.4494 | 1116554.5236
17 | 2500709.1989 | 1116557.4429 | 2500702.8908 | 1116561.2043 | 2500691.5985 | 1116567.071 | 2500683.57 | 1116570.4493 | 2500675.9036 | 1116573.3103
18 | 2500752.7176 | 1116532.669 | 2500762.0287 | 1116543.5244
19 | 2500667.654 | 1116542.0408 | 2500665.531 | 1116533.9939
20 | 2500675.9036 | 1116573.3103 | 2500667.654 | 1116542.0408
21 | 2500653.7463 | 1116490.2555 | 2500658.0548 | 1116505.7722 | 2500660.4159 | 1116514.6057 | 2500665.531 | 1116533.9939
22 | 2500644.9897 | 1116567.7477 | 2500642.2367 | 1116578.7664 | 2500650.8177 | 1116578.0028 | 2500658.3131 | 1116576.9569 | 2500667.2984 | 1116575.4195 | 2500675.9036 | 1116573.3103
23 | 2500653.7463 | 1116490.2555 | 2500652.6094 | 1116485.4378 | 2500648.1998 | 1116466.722
24 | 2500645.2657 | 1116566.6869 | 2500644.9897 | 1116567.7477
25 | 2500639.438 | 1116584.1824 | 2500596.1705 | 1116585.6717 | 2500590.5836 | 1116585.8637 | 2500586.9263 | 1116586.9578 | 2500583.8586 | 1116588.687 | 2500581.9704 | 1116581.3801 | 2500595.9756 | 1116580.8608 | 2500629.4103 | 1116579.5998 | 2500642.2367 | 1116578.7664 | 2500644.9897 | 1116567.7477
26 | 2500644.9897 | 1116567.7477 | 2500636.7399 | 1116565.6485
27 | 2500647.3306 | 1116463.0327 | 2500648.1998 | 1116466.722
28 | 2500639.438 | 1116584.1824 | 2500651.2207 | 1116583.2662 | 2500658.97 | 1116582.1605
29 | 2500617.9695 | 1116566.0903 | 2500617.7343 | 1116567.2838 | 2500627.6271 | 1116569.7563 | 2500630.4633 | 1116567.0969 | 2500634.8124 | 1116565.3466 | 2500636.7399 | 1116565.6485
30 | 2500567.4491 | 1116516.2336 | 2500561.7424 | 1116517.5949
31 | 2500561.7424 | 1116517.5949 | 2500557.948 | 1116506.1279 | 2500554.9029 | 1116497.4947 | 2500553.008 | 1116490.2547 | 2500552.8697 | 1116489.6054
32 | 2500567.4491 | 1116516.2336 | 2500567.3968 | 1116513.5217 | 2500574.0606 | 1116511.9337
33 | 2500647.3306 | 1116463.0327 | 2500645.3986 | 1116455.0041
34 | 2500574.0606 | 1116511.9337 | 2500575.2647 | 1116511.6468 | 2500581.7384 | 1116510.258
35 | 2500594.8567 | 1116507.4439 | 2500603.1851 | 1116505.6574
36 | 2500672.6375 | 1116491.9798 | 2500650.0277 | 1116495.6088 | 2500603.1851 | 1116505.6574
37 | 2500594.8567 | 1116507.4439 | 2500581.7384 | 1116510.258
38 | 2500672.6375 | 1116491.9798 | 2500700.9746 | 1116486.463
39 | 2500700.9746 | 1116486.463 | 2500719.0155 | 1116482.9507
40 | 2500737.1082 | 1116479.4283 | 2500719.0155 | 1116482.9507
41 | 2500643.4026 | 1116446.7093 | 2500645.3986 | 1116455.0041
42 | 2500683.1468 | 1116435.1385 | 2500650.9066 | 1116444.2957 | 2500643.4026 | 1116446.7093
43 | 2500708.4748 | 1116430.5755 | 2500701.3304 | 1116429.9702 | 2500683.1468 | 1116435.1385

## bus_geodata
| x | y | coords
0 | 2500744.8833 | 1116470.4469
1 | 2500767.9262 | 1116463.8433
2 | 2500775.3422 | 1116488.5382
3 | 2500780.5731 | 1116501.9375
4 | 2500753.0272 | 1116527.5385
5 | 2500800.8043 | 1116483.2163
6 | 2500725.5494 | 1116561.5566
7 | 2500727.5388 | 1116560.1542
8 | 2500718.7273 | 1116566.3703
9 | 2500728.3255 | 1116550.0022
10 | 2500718.4419 | 1116566.5721
11 | 2500726.1486 | 1116545.8019
12 | 2500713.126 | 1116560.5581
13 | 2500709.1989 | 1116557.4429
14 | 2500752.7176 | 1116532.669
15 | 2500762.0287 | 1116543.5244
16 | 2500738.1678 | 1116537.5054
17 | 2500667.654 | 1116542.0408
18 | 2500665.531 | 1116533.9939
19 | 2500675.9036 | 1116573.3103
20 | 2500653.7463 | 1116490.2555
21 | 2500644.9897 | 1116567.7477
22 | 2500648.1998 | 1116466.722
23 | 2500713.4494 | 1116554.5236
24 | 2500645.2657 | 1116566.6869
25 | 2500639.438 | 1116584.1824
26 | 2500636.7399 | 1116565.6485
27 | 2500658.97 | 1116582.1605
28 | 2500561.7424 | 1116517.5949
29 | 2500567.4491 | 1116516.2336
30 | 2500552.8697 | 1116489.6054
31 | 2500647.3306 | 1116463.0327
32 | 2500617.9695 | 1116566.0903
33 | 2500574.0606 | 1116511.9337
34 | 2500603.1851 | 1116505.6574
35 | 2500594.8567 | 1116507.4439
36 | 2500672.6375 | 1116491.9798
37 | 2500581.7384 | 1116510.258
38 | 2500700.9746 | 1116486.463
39 | 2500719.0155 | 1116482.9507
40 | 2500737.1082 | 1116479.4283
41 | 2500645.3986 | 1116455.0041
42 | 2500643.4026 | 1116446.7093
43 | 2500683.1468 | 1116435.1385
44 | 2500708.4748 | 1116430.5755
45 | 2500675.9036 | 1116573.3103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98496 | -0.28787 | 0.01521 | 0.0038119
1 | 0.9853 | -0.28132 | 0 | 0
2 | 0.98566 | -0.27428 | 0.0087678 | 0.0021974
3 | 0.98598 | -0.26809 | 0 | 0
4 | 0.98951 | -0.20012 | 0 | 0
5 | 0.97973 | -0.38889 | 0 | 0
6 | 0.99333 | -0.12717 | 0.017555 | 0.0043998
7 | 0.99323 | -0.12905 | 0.008543 | 0.0021411
8 | 0.9937 | -0.12007 | 0.0079791 | 0.0019997
9 | 0.99273 | -0.13855 | 0 | 0
10 | 0.99371 | -0.11976 | 0.0095717 | 0.0023989
11 | 0.99255 | -0.14204 | 0 | 0
12 | 0.99411 | -0.11221 | 0 | 0
13 | 0.99435 | -0.10757 | 0 | 0
14 | 0.9894 | -0.20244 | 0 | 0
15 | 0.98916 | -0.20692 | 0.0176 | 0.0044111
16 | 0.99142 | -0.16359 | 0.051696 | 0.012956
17 | 0.99914 | -0.016402 | 0.058304 | 0.014612
18 | 1 | 0 | -0.57405 | -0.14575
19 | 0.99621 | -0.072129 | 0 | 0
20 | 0.99526 | -0.090904 | 0 | 0
21 | 0.99255 | -0.14239 | 0 | 0
22 | 0.99272 | -0.13978 | 0.061414 | 0.015392
23 | 0.99431 | -0.10831 | 0.0082007 | 0.0020553
24 | 0.99252 | -0.14286 | 0.024222 | 0.0060705
25 | 0.98402 | -0.30734 | 0 | 0
26 | 0.9919 | -0.15485 | 0.019687 | 0.004934
27 | 0.98278 | -0.33143 | 0.068236 | 0.017101
28 | 0.97023 | -0.57544 | 0 | 0
29 | 0.97025 | -0.57514 | 0 | 0
30 | 0.97016 | -0.57697 | 0.0027975 | 0.00070112
31 | 0.99254 | -0.14334 | 0 | 0
32 | 0.99064 | -0.17936 | 0.062984 | 0.015785
33 | 0.97027 | -0.57465 | 0.0012291 | 0.00030805
34 | 0.97057 | -0.56883 | 0.010399 | 0.0026062
35 | 0.97046 | -0.57094 | 0.00076953 | 0.00019286
36 | 0.97214 | -0.53777 | 0 | 0
37 | 0.9703 | -0.57406 | 0.0085472 | 0.0021421
38 | 0.97278 | -0.52514 | 0.021104 | 0.0052891
39 | 0.97355 | -0.50997 | 0.020102 | 0.005038
40 | 0.97466 | -0.48797 | 0.0083835 | 0.0021011
41 | 0.99214 | -0.15112 | 0.038645 | 0.0096853
42 | 0.99202 | -0.15331 | 0 | 0
43 | 0.99147 | -0.16397 | 0 | 0
44 | 0.99113 | -0.17067 | 0.014526 | 0.0036406
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01521 | -0.0038119 | 0.015215 | 0.0038147 | 4.746e-06 | 2.7322e-06 | 0.022978 | 0.022978 | 0.022978 | 0.98496 | -0.28787 | 0.9853 | -0.28132 | 6.3126
1 | -0.015215 | -0.0038147 | 0.01522 | 0.0038176 | 5.1063e-06 | 2.9395e-06 | 0.022978 | 0.022978 | 0.022978 | 0.9853 | -0.28132 | 0.98566 | -0.27428 | 6.3126
2 | -0.023987 | -0.006015 | 0.023995 | 0.0060194 | 7.0873e-06 | 4.3521e-06 | 0.036214 | 0.036214 | 0.036214 | 0.98566 | -0.27428 | 0.98598 | -0.26809 | 9.949
3 | -0.09826 | -0.024991 | 0.098583 | 0.025197 | 0.00032292 | 0.00020617 | 0.14842 | 0.14842 | 0.14842 | 0.98598 | -0.26809 | 0.98951 | -0.20012 | 40.7757
4 | 0.074266 | 0.018972 | -0.073835 | -0.018697 | 0.00043101 | 0.00027469 | 0.11221 | 0.11221 | 0.11221 | 0.98598 | -0.26809 | 0.97973 | -0.38889 | 30.8269
5 | -0.11619 | -0.029612 | 0.11639 | 0.029743 | 0.00020525 | 0.00013113 | 0.1749 | 0.1749 | 0.1749 | 0.98951 | -0.20012 | 0.99142 | -0.16359 | 48.0493
6 | 0.017606 | 0.0044144 | -0.017604 | -0.0044133 | 1.9416e-06 | 1.1477e-06 | 0.026476 | 0.026476 | 0.026476 | 0.98951 | -0.20012 | 0.9894 | -0.20244 | 7.2737
7 | 0.073835 | 0.018697 | -0.073485 | -0.018474 | 0.00034951 | 0.00022276 | 0.11221 | 0.11221 | 0.11221 | 0.97973 | -0.38889 | 0.97466 | -0.48797 | 30.827
8 | 0.17693 | 0.045028 | -0.17691 | -0.045018 | 1.606e-05 | 1.0152e-05 | 0.26529 | 0.26529 | 0.26529 | 0.99333 | -0.12717 | 0.99323 | -0.12905 | 18.2202
9 | -0.19448 | -0.049428 | 0.19455 | 0.04947 | 6.6552e-05 | 4.2161e-05 | 0.29158 | 0.29158 | 0.29158 | 0.99333 | -0.12717 | 0.9937 | -0.12007 | 20.0264
10 | 0.16837 | 0.042877 | -0.16829 | -0.042828 | 7.7128e-05 | 4.8694e-05 | 0.25249 | 0.25249 | 0.25249 | 0.99323 | -0.12905 | 0.99273 | -0.13855 | 17.3412
11 | -0.20253 | -0.05147 | 0.20253 | 0.051472 | 3.0189e-06 | 1.914e-06 | 0.30353 | 0.30353 | 0.30353 | 0.9937 | -0.12007 | 0.99371 | -0.11976 | 20.847
12 | 0.16829 | 0.042828 | -0.16827 | -0.042811 | 2.8263e-05 | 1.7844e-05 | 0.25249 | 0.25249 | 0.25249 | 0.99273 | -0.13855 | 0.99255 | -0.14204 | 17.3412
13 | -0.21211 | -0.053871 | 0.21218 | 0.05392 | 7.7112e-05 | 4.893e-05 | 0.31787 | 0.31787 | 0.31787 | 0.99371 | -0.11976 | 0.99411 | -0.11221 | 21.8314
14 | 0.16827 | 0.042811 | -0.16809 | -0.042699 | 0.00017457 | 0.00011135 | 0.25249 | 0.25249 | 0.25249 | 0.99255 | -0.14204 | 0.99142 | -0.16359 | 34.6825
15 | -0.21218 | -0.05392 | 0.21223 | 0.05395 | 4.74e-05 | 3.0076e-05 | 0.31787 | 0.31787 | 0.31787 | 0.99411 | -0.11221 | 0.99435 | -0.10757 | 21.8314
16 | 0.008201 | 0.0020554 | -0.0082007 | -0.0020553 | 2.9124e-07 | 1.1951e-07 | 0.012273 | 0.012273 | 0.012273 | 0.99435 | -0.10757 | 0.99431 | -0.10831 | 3.3716
17 | -0.22043 | -0.056005 | 0.22081 | 0.056245 | 0.00037678 | 0.00023923 | 0.33014 | 0.33014 | 0.33014 | 0.99435 | -0.10757 | 0.99621 | -0.072129 | 22.6743
18 | 0.017604 | 0.0044133 | -0.0176 | -0.0044111 | 3.7596e-06 | 2.2225e-06 | 0.026476 | 0.026476 | 0.026476 | 0.9894 | -0.20244 | 0.98916 | -0.20692 | 7.2738
19 | -0.45665 | -0.11628 | 0.45701 | 0.11651 | 0.00036154 | 0.00023095 | 0.68073 | 0.68073 | 0.68073 | 0.99914 | -0.016402 | 1 | 0 | 46.7537
20 | 0.39834 | 0.10167 | -0.39727 | -0.10099 | 0.0010694 | 0.00068272 | 0.5939 | 0.5939 | 0.5939 | 0.99914 | -0.016402 | 0.99621 | -0.072129 | 40.7901
21 | 0.1154 | 0.029235 | -0.1149 | -0.028915 | 0.00050152 | 0.00032038 | 0.17182 | 0.17182 | 0.17182 | 1 | 0 | 0.99526 | -0.090904 | 47.2043
22 | 0.17647 | 0.044744 | -0.17587 | -0.044365 | 0.00059376 | 0.00037882 | 0.26377 | 0.26377 | 0.26377 | 0.99621 | -0.072129 | 0.99255 | -0.14239 | 36.2318
23 | 0.1149 | 0.028915 | -0.11463 | -0.028744 | 0.00026768 | 0.000171 | 0.17182 | 0.17182 | 0.17182 | 0.99526 | -0.090904 | 0.99272 | -0.13978 | 47.2043
24 | 0.024222 | 0.0060708 | -0.024222 | -0.0060705 | 5.4198e-07 | 3.327e-07 | 0.036314 | 0.036314 | 0.036314 | 0.99255 | -0.14239 | 0.99252 | -0.14286 | 9.9763
25 | 0.068856 | 0.017497 | -0.068314 | -0.017151 | 0.00054218 | 0.00034526 | 0.10331 | 0.10331 | 0.10331 | 0.99255 | -0.14239 | 0.98402 | -0.30734 | 28.3831
26 | 0.082794 | 0.020797 | -0.082744 | -0.020766 | 4.9195e-05 | 3.1375e-05 | 0.12414 | 0.12414 | 0.12414 | 0.99255 | -0.14239 | 0.9919 | -0.15485 | 34.1044
27 | 0.053213 | 0.013352 | -0.053204 | -0.013346 | 9.0439e-06 | 5.7391e-06 | 0.079768 | 0.079768 | 0.079768 | 0.99272 | -0.13978 | 0.99254 | -0.14334 | 21.9143
28 | 0.068314 | 0.017151 | -0.068236 | -0.017101 | 7.8409e-05 | 4.9933e-05 | 0.10331 | 0.10331 | 0.10331 | 0.98402 | -0.30734 | 0.98278 | -0.33143 | 28.3832
29 | 0.063058 | 0.015832 | -0.062984 | -0.015785 | 7.3641e-05 | 4.6848e-05 | 0.094607 | 0.094607 | 0.094607 | 0.9919 | -0.15485 | 0.99064 | -0.17936 | 25.9909
30 | -0.0027977 | -0.00070089 | 0.0027978 | 0.00070084 | 4.0386e-08 | -4.6401e-08 | 0.0042907 | 0.0042906 | 0.0042907 | 0.97023 | -0.57544 | 0.97025 | -0.57514 | 1.1788
31 | 0.0027977 | 0.00070089 | -0.0027975 | -0.00070112 | 2.0284e-07 | -2.33e-07 | 0.0042907 | 0.0042908 | 0.0042908 | 0.97023 | -0.57544 | 0.97016 | -0.57697 | 1.1788
32 | -0.0027978 | -0.00070084 | 0.0027978 | 0.00070077 | 6.6018e-08 | -7.5856e-08 | 0.0042906 | 0.0042906 | 0.0042906 | 0.97025 | -0.57514 | 0.97027 | -0.57465 | 1.1787
33 | 0.053204 | 0.013346 | -0.053185 | -0.013334 | 1.9704e-05 | 1.2504e-05 | 0.079768 | 0.079768 | 0.079768 | 0.99254 | -0.14334 | 0.99214 | -0.15112 | 21.9143
34 | -0.0040269 | -0.0010088 | 0.004027 | 0.0010088 | 1.1239e-07 | -2.5135e-08 | 0.0061756 | 0.0061755 | 0.0061756 | 0.97027 | -0.57465 | 0.9703 | -0.57406 | 1.6966
35 | 0.013347 | 0.0033456 | -0.013346 | -0.0033448 | 1.3375e-06 | 7.5075e-07 | 0.020463 | 0.020463 | 0.020463 | 0.97057 | -0.56883 | 0.97046 | -0.57094 | 5.6217
36 | -0.023746 | -0.0059518 | 0.023781 | 0.0059735 | 3.5193e-05 | 2.1647e-05 | 0.036406 | 0.036406 | 0.036406 | 0.97057 | -0.56883 | 0.97214 | -0.53777 | 10.0017
37 | 0.012576 | 0.0031519 | -0.012574 | -0.0031509 | 1.8708e-06 | 1.0316e-06 | 0.019283 | 0.019283 | 0.019283 | 0.97046 | -0.57094 | 0.9703 | -0.57406 | 5.2976
38 | -0.023781 | -0.0059735 | 0.023796 | 0.0059823 | 1.4348e-05 | 8.8248e-06 | 0.036406 | 0.036406 | 0.036406 | 0.97214 | -0.53777 | 0.97278 | -0.52514 | 10.0016
39 | -0.044899 | -0.011271 | 0.044932 | 0.011292 | 3.2517e-05 | 2.0583e-05 | 0.068687 | 0.068687 | 0.068687 | 0.97278 | -0.52514 | 0.97355 | -0.50997 | 18.8701
40 | -0.065033 | -0.01633 | 0.065102 | 0.016373 | 6.831e-05 | 4.3489e-05 | 0.099411 | 0.099411 | 0.099411 | 0.97355 | -0.50997 | 0.97466 | -0.48797 | 27.3108
41 | 0.01454 | 0.0036483 | -0.014538 | -0.0036474 | 1.5216e-06 | 8.6366e-07 | 0.021808 | 0.021808 | 0.021808 | 0.99214 | -0.15112 | 0.99202 | -0.15331 | 5.9913
42 | 0.014538 | 0.0036474 | -0.014531 | -0.0036432 | 7.3834e-06 | 4.1912e-06 | 0.021808 | 0.021808 | 0.021808 | 0.99202 | -0.15331 | 0.99147 | -0.16397 | 5.9913
43 | 0.014531 | 0.0036432 | -0.014526 | -0.0036406 | 4.6374e-06 | 2.6327e-06 | 0.021808 | 0.021809 | 0.021809 | 0.99147 | -0.16397 | 0.99113 | -0.17067 | 5.9913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5972 | 0.15155

## res_load
| p_mw | q_mvar
0 | 0.01521 | 0.0038119
1 | 0.0087678 | 0.0021974
2 | 0.017555 | 0.0043998
3 | 0.008543 | 0.0021411
4 | 0.0079791 | 0.0019997
5 | 0.0095717 | 0.0023989
6 | 0.0176 | 0.0044111
7 | 0.051696 | 0.012956
8 | 0.058304 | 0.014612
9 | 0.023144 | 0.0058004
10 | 0.061414 | 0.015392
11 | 0.0082007 | 0.0020553
12 | 0.024222 | 0.0060705
13 | 0.019687 | 0.004934
14 | 0.068236 | 0.017101
15 | 0.0027975 | 0.00070112
16 | 0.062984 | 0.015785
17 | 0.0012291 | 0.00030805
18 | 0.010399 | 0.0026062
19 | 0.00076953 | 0.00019286
20 | 0.0085472 | 0.0021421
21 | 0.021104 | 0.0052891
22 | 0.020102 | 0.005038
23 | 0.0083835 | 0.0021011
24 | 0.038645 | 0.0096853
25 | 0.014526 | 0.0036406

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1