## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-146_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-146_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-146_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-146_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-146_0_5_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_6621-146_0_5_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_6621-146_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6621-146_0_5_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_6621-146_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_6621-146_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6621-146_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6621-146_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6621-146_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_6621-146_0_5_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_6621-146_0_5_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_6621-146_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6621-146_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6621-146_0_5_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_6621-146_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6621-146_0_5_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_6621-146_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6621-146_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6621-146_0_5_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_6621-146_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6621-146_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6621-146_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6621-146_0_5_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_6621-146_0_5_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_6621-146_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6621-146_0_5_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_6621-146_0_5_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_6621-146_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6621-146_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6621-146_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6621-146_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_6621-146_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6621-146_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6621-146_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6621-146_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6621-146_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_6621-146_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6621-146_0_5_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_6621-146_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6621-146_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6621-146_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6621-146_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6621-146_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6621-146_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6621-146_0_5_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_6621-146_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_6621-146_0_5_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6621-146_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6621-146_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6621-146_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_6621-146_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6621-146_0_5_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_6621-146_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6621-146_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6621-146_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6621-146_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_6621-146_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6621-146_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_6621-146_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6621-146_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_MV_650_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-146_0_5_load_0 | 0 | 0.016506 | 0.0041368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-146_0_5_load_3 | 3 | 0.0088674 | 0.0022224 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-146_0_5_load_28 | 5 | 0.013821 | 0.0034638 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-146_0_5_load_51 | 7 | 0.017584 | 0.0044071 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-146_0_5_load_56 | 8 | 0.01816 | 0.0045514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-146_0_5_load_47 | 12 | 0.014353 | 0.0035973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-146_0_5_load_53 | 13 | 0.016842 | 0.0042209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-146_0_5_load_34 | 14 | 0.015881 | 0.0039802 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-146_0_5_load_65 | 17 | 0.012269 | 0.003075 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-146_0_5_load_64 | 19 | 0.018121 | 0.0045415 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-146_0_5_load_66 | 22 | 0.019512 | 0.0048901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-146_0_5_load_38 | 24 | 0.021013 | 0.0052663 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-146_0_5_load_54 | 26 | 0.018315 | 0.0045903 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-146_0_5_load_52 | 27 | 0.016751 | 0.0041981 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-146_0_5_load_55 | 30 | 0.0069016 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-146_0_5_load_33 | 31 | 0.016842 | 0.004221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-146_0_5_load_39 | 32 | 0.0162 | 0.0040602 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-146_0_5_load_36 | 35 | 0.0039529 | 0.00099069 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-146_0_5_load_32 | 37 | 0.013982 | 0.0035041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-146_0_5_load_42 | 40 | 0.0030054 | 0.00075322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-146_0_5_load_62 | 41 | 0.034392 | 0.0086195 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-146_0_5_load_30 | 44 | 0.0088352 | 0.0022143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-146_0_5_load_29 | 45 | 0.0040962 | 0.0010266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-146_0_5_load_48 | 47 | 0.0035681 | 0.00089424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-146_0_5_load_67 | 48 | 0.013866 | 0.0034752 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-146_0_5_load_50 | 49 | 0.018438 | 0.0046209 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-146_0_5_load_57 | 50 | 0.014449 | 0.0036212 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-146_0_5_load_45 | 51 | 0.0094842 | 0.002377 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-146_0_5_load_49 | 52 | 0.020864 | 0.0052289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-146_0_5_load_63 | 53 | 0.025955 | 0.006505 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-146_0_5_load_37 | 54 | 0.0099843 | 0.0025023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-146_0_5_load_68 | 55 | 0.0151 | 0.0037845 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-146_0_5_load_40 | 56 | 0.0078643 | 0.001971 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-146_0_5_load_46 | 57 | 0.0033481 | 0.00083911 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-146_0_5_load_41 | 58 | 0.0067972 | 0.0017035 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-146_0_5_load_43 | 59 | 0.0044728 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-146_0_5_load_44 | 60 | 0.018705 | 0.0046878 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-146_0_5_load_58 | 61 | 0.045062 | 0.011294 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-146_0_5_load_59 | 62 | 0.011026 | 0.0027633 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-146_0_5_load_60 | 63 | 0.021654 | 0.0054271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-146_0_5_line_0 |  | 0 | 1 | 0.011065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-146_0_5_line_1 |  | 0 | 2 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-146_0_5_line_2 |  | 1 | 3 | 0.0027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-146_0_5_line_3 |  | 2 | 4 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-146_0_5_line_4 |  | 3 | 5 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-146_0_5_line_5 |  | 4 | 24 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-146_0_5_line_6 |  | 5 | 48 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-146_0_5_line_7 |  | 6 | 7 | 0.026668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6621-146_0_5_line_8 |  | 6 | 8 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6621-146_0_5_line_9 |  | 6 | 9 | 0.009947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6621-146_0_5_line_10 |  | 7 | 49 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6621-146_0_5_line_11 |  | 8 | 50 | 0.00046687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-146_0_5_line_12 |  | 9 | 13 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6621-146_0_5_line_13 |  | 10 | 11 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6621-146_0_5_line_14 |  | 10 | 12 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6621-146_0_5_line_15 |  | 11 | 14 | 0.0039547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6621-146_0_5_line_16 |  | 11 | 15 | 0.00262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-146_0_5_line_17 |  | 12 | 51 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6621-146_0_5_line_18 |  | 13 | 27 | 0.023062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6621-146_0_5_line_19 |  | 14 | 52 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-146_0_5_line_20 |  | 15 | 31 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-146_0_5_line_21 |  | 16 | 17 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6621-146_0_5_line_22 |  | 16 | 18 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6621-146_0_5_line_23 |  | 16 | 19 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-146_0_5_line_24 |  | 17 | 22 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6621-146_0_5_line_25 |  | 18 | 23 | 0.006024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-146_0_5_line_26 |  | 18 | 24 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6621-146_0_5_line_27 |  | 20 | 21 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6621-146_0_5_line_28 |  | 20 | 22 | 0.0097799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6621-146_0_5_line_29 |  | 21 | 47 | 0.0052378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6621-146_0_5_line_30 |  | 23 | 32 | 0.039712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-146_0_5_line_31 |  | 25 | 26 | 0.0021979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-146_0_5_line_32 |  | 25 | 27 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-146_0_5_line_33 |  | 26 | 30 | 0.018145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-146_0_5_line_34 |  | 28 | 29 | 0.041598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-146_0_5_line_35 |  | 28 | 30 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-146_0_5_line_36 |  | 29 | 53 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-146_0_5_line_37 |  | 29 | 46 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-146_0_5_line_38 |  | 33 | 34 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-146_0_5_line_39 |  | 33 | 35 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-146_0_5_line_40 |  | 33 | 36 | 0.006373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-146_0_5_line_41 |  | 34 | 54 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-146_0_5_line_42 |  | 35 | 55 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-146_0_5_line_43 |  | 36 | 37 | 0.017647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-146_0_5_line_44 |  | 38 | 39 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-146_0_5_line_45 |  | 38 | 40 | 0.059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-146_0_5_line_46 |  | 39 | 41 | 0.067499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-146_0_5_line_47 |  | 40 | 56 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-146_0_5_line_48 |  | 41 | 46 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-146_0_5_line_49 |  | 42 | 43 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-146_0_5_line_50 |  | 42 | 44 | 0.035234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-146_0_5_line_51 |  | 43 | 45 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-146_0_5_line_52 |  | 45 | 54 | 0.0058118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-146_0_5_line_53 |  | 47 | 57 | 0.027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6621-146_0_5_line_54 |  | 48 | 55 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-146_0_5_line_55 |  | 49 | 52 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6621-146_0_5_line_56 |  | 50 | 61 | 0.024452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-146_0_5_line_57 |  | 51 | 57 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6621-146_0_5_line_58 |  | 56 | 58 | 0.0033804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-146_0_5_line_59 |  | 58 | 59 | 0.003847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-146_0_5_line_60 |  | 59 | 60 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-146_0_5_line_61 |  | 61 | 62 | 0.0049745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-146_0_5_line_62 |  | 62 | 63 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-146_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 64 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2501520.8957 | 1117297.6274 | 2501509.831 | 1117297.6893
1 | 2501498.0231 | 1117297.7554 | 2501509.831 | 1117297.6893
2 | 2501520.8957 | 1117297.6274 | 2501523.6644 | 1117297.6272
3 | 2501498.0231 | 1117297.7554 | 2501491.8011 | 1117297.7789 | 2501485.0774 | 1117297.8106
4 | 2501535.9744 | 1117297.6261 | 2501523.6644 | 1117297.6272
5 | 2501485.0774 | 1117297.8106 | 2501472.6149 | 1117297.7732
6 | 2501535.9744 | 1117297.6261 | 2501550.979 | 1117297.6249
7 | 2501529.7285 | 1117334.1841 | 2501506.8781 | 1117347.9343
8 | 2501529.7285 | 1117334.1841 | 2501532.1048 | 1117337.4141 | 2501535.1466 | 1117343.7526
9 | 2501529.7285 | 1117334.1841 | 2501538.8738 | 1117330.2106
10 | 2501490.3234 | 1117357.896 | 2501506.8781 | 1117347.9343
11 | 2501535.3486 | 1117344.1735 | 2501535.1466 | 1117343.7526
12 | 2501538.8738 | 1117330.2106 | 2501544.8149 | 1117327.6345 | 2501552.3429 | 1117325.3217 | 2501557.5479 | 1117324.6592
13 | 2501452.7773 | 1117358.4966 | 2501453.188 | 1117367.1175 | 2501453.7668 | 1117379.8938
14 | 2501452.7773 | 1117358.4966 | 2501461.5047 | 1117353.162
15 | 2501453.7668 | 1117379.8938 | 2501457.1553 | 1117377.8548
16 | 2501453.7668 | 1117379.8938 | 2501451.5984 | 1117381.3745
17 | 2501461.5047 | 1117353.162 | 2501474.6435 | 1117345.131
18 | 2501579.6614 | 1117329.2007 | 2501578.2945 | 1117328.4348 | 2501569.3341 | 1117324.8005 | 2501560.5555 | 1117324.2763 | 2501557.5479 | 1117324.6592
19 | 2501457.1553 | 1117377.8548 | 2501473.102 | 1117368.2589
20 | 2501451.5984 | 1117381.3745 | 2501452.5075 | 1117402.2806
21 | 2501450.4 | 1117318.2659 | 2501452.1596 | 1117316.336 | 2501453.4717 | 1117314.8915 | 2501471.7491 | 1117314.9853
22 | 2501450.4 | 1117318.2659 | 2501448.3575 | 1117316.5759 | 2501448.1071 | 1117316.3687 | 2501447.9937 | 1117314.1469 | 2501448.1621 | 1117313.5883 | 2501448.6158 | 1117312.0577 | 2501449.0477 | 1117310.6053 | 2501449.494 | 1117309.0971 | 2501449.9475 | 1117307.5555 | 2501450.3499 | 1117306.1925 | 2501450.7525 | 1117304.8407 | 2501451.6672 | 1117301.7572 | 2501453.1232 | 1117296.8304 | 2501454.3971 | 1117295.8868
23 | 2501450.4 | 1117318.2659 | 2501447.0102 | 1117322.0123 | 2501447.3196 | 1117327.2821
24 | 2501471.7491 | 1117314.9853 | 2501484.6017 | 1117315.0513 | 2501488.5804 | 1117315.0733
25 | 2501454.6208 | 1117290.1908 | 2501453.5291 | 1117293.3105 | 2501454.3971 | 1117295.8868
26 | 2501454.3971 | 1117295.8868 | 2501458.0016 | 1117297.7293 | 2501472.6149 | 1117297.7732
27 | 2501498.3602 | 1117315.1273 | 2501510.7828 | 1117315.1918 | 2501512.4459 | 1117322.0245
28 | 2501498.3602 | 1117315.1273 | 2501488.5804 | 1117315.0733
29 | 2501512.4459 | 1117322.0245 | 2501507.9768 | 1117324.7562
30 | 2501454.6208 | 1117290.1908 | 2501481.8718 | 1117261.3036
31 | 2501593.377 | 1117338.24 | 2501595.104 | 1117339.5994
32 | 2501593.377 | 1117338.24 | 2501587.0673 | 1117333.3507 | 2501579.6614 | 1117329.2007
33 | 2501609.3621 | 1117350.8228 | 2501595.104 | 1117339.5994
34 | 2501593.7294 | 1117389.7774 | 2501606.05 | 1117374.0895 | 2501616.1517 | 1117361.9955 | 2501621.8973 | 1117360.6901
35 | 2501621.8973 | 1117360.6901 | 2501609.3621 | 1117350.8228
36 | 2501593.7294 | 1117389.7774 | 2501576.8125 | 1117376.9176
37 | 2501593.7294 | 1117389.7774 | 2501592.6326 | 1117394.009 | 2501594.0219 | 1117397.7887 | 2501588.5921 | 1117400.9457
38 | 2501598.8617 | 1117297.6589 | 2501596.3159 | 1117286.8602
39 | 2501598.8617 | 1117297.6589 | 2501588.8481 | 1117297.6217 | 2501581.0079 | 1117297.6224
40 | 2501605.2528 | 1117297.5882 | 2501598.8617 | 1117297.6589
41 | 2501596.3159 | 1117286.8602 | 2501577.2469 | 1117269.9648
42 | 2501567.6505 | 1117297.6235 | 2501581.0079 | 1117297.6224
43 | 2501605.2528 | 1117297.5882 | 2501612.5118 | 1117295.8135 | 2501622.6858 | 1117295.7044
44 | 2501539.3423 | 1117463.7526 | 2501541.6013 | 1117467.8406 | 2501546.8428 | 1117471.6133 | 2501550.547 | 1117473.8988
45 | 2501539.3423 | 1117463.7526 | 2501543.3059 | 1117458.2625 | 2501547.8755 | 1117448.2708 | 2501551.3488 | 1117438.2748 | 2501550.6829 | 1117433.8829 | 2501548.1825 | 1117431.5666 | 2501543.2407 | 1117431.5025 | 2501537.4777 | 1117432.6859 | 2501530.3655 | 1117431.134 | 2501525.4072 | 1117429.5804 | 2501525.4072 | 1117429.5804
46 | 2501550.547 | 1117473.8988 | 2501554.0588 | 1117464.3691 | 2501560.0322 | 1117448.1396 | 2501568.1536 | 1117424.9041 | 2501577.1688 | 1117412.3753
47 | 2501525.4072 | 1117429.5804 | 2501521.7473 | 1117430.9631 | 2501519.9295 | 1117430.27 | 2501517.217 | 1117426.7787 | 2501514.6328 | 1117423.5854
48 | 2501588.5921 | 1117400.9457 | 2501583.1614 | 1117404.047 | 2501577.1688 | 1117412.3753
49 | 2501569.8168 | 1117243.0085 | 2501559.9054 | 1117246.4052 | 2501552.2254 | 1117250.2992
50 | 2501569.8168 | 1117243.0085 | 2501573.0247 | 1117245.6246 | 2501587.2195 | 1117250.2076 | 2501600.8754 | 1117252.9873 | 2501603.1181 | 1117252.9643
51 | 2501552.2254 | 1117250.2992 | 2501557.4401 | 1117252.4157 | 2501572.8969 | 1117266.1106
52 | 2501572.8969 | 1117266.1106 | 2501577.2469 | 1117269.9648
53 | 2501507.9768 | 1117324.7562 | 2501484.3543 | 1117339.1954
54 | 2501550.979 | 1117297.6249 | 2501567.6505 | 1117297.6235
55 | 2501490.3234 | 1117357.896 | 2501473.102 | 1117368.2589
56 | 2501535.3486 | 1117344.1735 | 2501538.0183 | 1117349.7367 | 2501541.1733 | 1117355.7446 | 2501540.8508 | 1117360.1192 | 2501539.0582 | 1117362.3943 | 2501535.3268 | 1117364.35
57 | 2501484.3543 | 1117339.1954 | 2501474.6435 | 1117345.131
58 | 2501511.4417 | 1117422.47 | 2501514.6328 | 1117423.5854 | 2501514.6328 | 1117423.5854
59 | 2501507.7376 | 1117423.5087 | 2501511.4417 | 1117422.47 | 2501511.4417 | 1117422.47
60 | 2501498.6233 | 1117427.0037 | 2501499.9348 | 1117429.7952 | 2501501.3168 | 1117430.273 | 2501503.0798 | 1117430.9225 | 2501505.3178 | 1117426.1386 | 2501507.7376 | 1117423.5087
61 | 2501535.3268 | 1117364.35 | 2501530.9209 | 1117366.6594
62 | 2501515.6907 | 1117379.9967 | 2501521.3912 | 1117371.6542 | 2501530.9209 | 1117366.6594

## bus_geodata
| x | y | coords
0 | 2501509.831 | 1117297.6893
1 | 2501520.8957 | 1117297.6274
2 | 2501498.0231 | 1117297.7554
3 | 2501523.6644 | 1117297.6272
4 | 2501485.0774 | 1117297.8106
5 | 2501535.9744 | 1117297.6261
6 | 2501529.7285 | 1117334.1841
7 | 2501506.8781 | 1117347.9343
8 | 2501535.1466 | 1117343.7526
9 | 2501538.8738 | 1117330.2106
10 | 2501452.7773 | 1117358.4966
11 | 2501453.7668 | 1117379.8938
12 | 2501461.5047 | 1117353.162
13 | 2501557.5479 | 1117324.6592
14 | 2501457.1553 | 1117377.8548
15 | 2501451.5984 | 1117381.3745
16 | 2501450.4 | 1117318.2659
17 | 2501471.7491 | 1117314.9853
18 | 2501454.3971 | 1117295.8868
19 | 2501447.3196 | 1117327.2821
20 | 2501498.3602 | 1117315.1273
21 | 2501512.4459 | 1117322.0245
22 | 2501488.5804 | 1117315.0733
23 | 2501454.6208 | 1117290.1908
24 | 2501472.6149 | 1117297.7732
25 | 2501593.377 | 1117338.24
26 | 2501595.104 | 1117339.5994
27 | 2501579.6614 | 1117329.2007
28 | 2501621.8973 | 1117360.6901
29 | 2501593.7294 | 1117389.7774
30 | 2501609.3621 | 1117350.8228
31 | 2501452.5075 | 1117402.2806
32 | 2501481.8718 | 1117261.3036
33 | 2501598.8617 | 1117297.6589
34 | 2501596.3159 | 1117286.8602
35 | 2501581.0079 | 1117297.6224
36 | 2501605.2529 | 1117297.5882
37 | 2501622.6858 | 1117295.7044
38 | 2501539.3423 | 1117463.7526
39 | 2501550.547 | 1117473.8988
40 | 2501525.4072 | 1117429.5804
41 | 2501577.1688 | 1117412.3753
42 | 2501569.8168 | 1117243.0085
43 | 2501552.2254 | 1117250.2992
44 | 2501603.1181 | 1117252.9643
45 | 2501572.8969 | 1117266.1106
46 | 2501588.5921 | 1117400.9457
47 | 2501507.9768 | 1117324.7562
48 | 2501550.979 | 1117297.6249
49 | 2501490.3234 | 1117357.896
50 | 2501535.3486 | 1117344.1735
51 | 2501474.6435 | 1117345.131
52 | 2501473.102 | 1117368.2589
53 | 2501576.8125 | 1117376.9176
54 | 2501577.2469 | 1117269.9648
55 | 2501567.6505 | 1117297.6235
56 | 2501514.6328 | 1117423.5854
57 | 2501484.3543 | 1117339.1954
58 | 2501511.4417 | 1117422.47
59 | 2501507.7376 | 1117423.5087
60 | 2501498.6233 | 1117427.0037
61 | 2501535.3268 | 1117364.35
62 | 2501530.9209 | 1117366.6594
63 | 2501515.6907 | 1117379.9967
64 | 2501529.7285 | 1117334.1841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1