## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-14_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6621-14_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6621-14_0_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_6621-14_0_4_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6621-14_0_4_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_6621-14_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6621-14_0_4_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_6621-14_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6621-14_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6621-14_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6621-14_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6621-14_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6621-14_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_6621-14_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_6621-14_0_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_6621-14_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6621-14_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_6621-14_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_6621-14_0_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_6621-14_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_6621-14_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_6621-14_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_6621-14_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_6621-14_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_6621-14_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6621-14_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6621-14_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6621-14_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6621-14_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6621-14_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6621-14_0_4_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_6621-14_0_4_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_6621-14_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6621-14_0_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_6621-14_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6621-14_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_6621-14_0_4_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_6621-14_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_6621-14_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_6621-14_0_4_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_6621-14_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6621-14_0_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_6621-14_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_6621-14_0_4_node_91 | 0.4 | n |  | TRUE
45 | bus_MV_660_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-14_0_4_load_0 | 0 | 0.0026485 | 0.00066378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-14_0_4_load_74 | 4 | 0.00026685 | 6.688e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-14_0_4_load_72 | 5 | 0.00081046 | 0.00020312 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-14_0_4_load_75 | 7 | 0.00017087 | 4.2823e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-14_0_4_load_6 | 8 | 0.056363 | 0.014126 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-14_0_4_load_77 | 13 | 0.033063 | 0.0082864 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-14_0_4_load_68 | 14 | 0.014969 | 0.0037517 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-14_0_4_load_76 | 15 | 0.0149 | 0.0037342 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-14_0_4_load_63 | 20 | 0.0025731 | 0.00064488 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-14_0_4_load_60 | 21 | 0.032454 | 0.0081338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-14_0_4_load_66 | 22 | 0.0018347 | 0.00045981 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-14_0_4_load_11 | 24 | 0.0010414 | 0.00026101 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-14_0_4_load_12 | 25 | 0.00097651 | 0.00024474 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-14_0_4_load_92 | 31 | 0.0011324 | 0.0002838 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-14_0_4_load_69 | 32 | 0.0035814 | 0.00089758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-14_0_4_load_88 | 34 | 0.0054235 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-14_0_4_load_87 | 37 | 0.01085 | 0.0027193 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-14_0_4_load_89 | 39 | 0.0057532 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-14_0_4_load_90 | 40 | 0.041858 | 0.010491 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-14_0_4_load_71 | 42 | 0.010541 | 0.0026417 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-14_0_4_load_70 | 43 | 0.0054994 | 0.0013783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-14_0_4_load_91 | 44 | 0.0053045 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-14_0_4_line_0 |  | 0 | 1 | 0.22364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-14_0_4_line_1 |  | 1 | 2 | 0.007364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-14_0_4_line_2 |  | 2 | 3 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6621-14_0_4_line_3 |  | 2 | 4 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6621-14_0_4_line_4 |  | 3 | 5 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-14_0_4_line_5 |  | 3 | 6 | 0.33209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6621-14_0_4_line_6 |  | 4 | 7 | 0.0031949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6621-14_0_4_line_7 |  | 6 | 33 | 0.042792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-14_0_4_line_8 |  | 6 | 34 | 0.0031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-14_0_4_line_9 |  | 6 | 28 | 0.27 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6621-14_0_4_line_10 |  | 7 | 38 | 0.053476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6621-14_0_4_line_11 |  | 8 | 9 | 0.13866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-14_0_4_line_12 |  | 8 | 10 | 0.060193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-14_0_4_line_13 |  | 9 | 11 | 0.009946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-14_0_4_line_14 |  | 10 | 12 | 0.028757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-14_0_4_line_15 |  | 11 | 13 | 0.067585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-14_0_4_line_16 |  | 12 | 14 | 0.01045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-14_0_4_line_17 |  | 13 | 15 | 0.022955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6621-14_0_4_line_18 |  | 15 | 20 | 0.0020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6621-14_0_4_line_19 |  | 16 | 17 | 0.035535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-14_0_4_line_20 |  | 16 | 18 | 0.11921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-14_0_4_line_21 |  | 17 | 39 | 0.085404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6621-14_0_4_line_22 |  | 17 | 38 | 0.20424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6621-14_0_4_line_23 |  | 18 | 22 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-14_0_4_line_24 |  | 18 | 23 | 0.034212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-14_0_4_line_25 |  | 18 | 19 | 0.023031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6621-14_0_4_line_26 |  | 19 | 20 | 0.036509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6621-14_0_4_line_27 |  | 19 | 21 | 0.025668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-14_0_4_line_28 |  | 23 | 44 | 0.041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-14_0_4_line_29 |  | 24 | 25 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6621-14_0_4_line_30 |  | 24 | 26 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6621-14_0_4_line_31 |  | 25 | 27 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6621-14_0_4_line_32 |  | 26 | 28 | 0.087063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6621-14_0_4_line_33 |  | 27 | 29 | 0.11994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6621-14_0_4_line_34 |  | 28 | 32 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-14_0_4_line_35 |  | 28 | 30 | 0.12354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-14_0_4_line_36 |  | 29 | 40 | 0.006454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-14_0_4_line_37 |  | 30 | 31 | 0.004503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-14_0_4_line_38 |  | 33 | 37 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-14_0_4_line_39 |  | 35 | 36 | 0.05224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-14_0_4_line_40 |  | 35 | 37 | 0.024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-14_0_4_line_41 |  | 36 | 43 | 0.033231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-14_0_4_line_42 |  | 41 | 42 | 0.053592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-14_0_4_line_43 |  | 41 | 43 | 0.043298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-14_0_4_trafo_89 | 0.63 MVA 20/0.4 kV | 45 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2498374.6431 | 1117331.2322 | 2498372.6343 | 1117334.3568 | 2498371.0935 | 1117335.0053 | 2498366.984 | 1117334.4073 | 2498364.1866 | 1117333.7872 | 2498361.8322 | 1117333.8045 | 2498359.0606 | 1117334.2625 | 2498355.4362 | 1117335.4241 | 2498351.91 | 1117336.9176 | 2498347.823 | 1117339.0321 | 2498346.6872 | 1117339.8961 | 2498346.2878 | 1117340.9368 | 2498347.1284 | 1117341.801 | 2498348.6733 | 1117341.8529 | 2498353.9918 | 1117341.3521 | 2498356.695 | 1117341.4179 | 2498358.5475 | 1117341.8537 | 2498362.8991 | 1117343.5372 | 2498367.951 | 1117346.0094 | 2498373.6367 | 1117348.0597 | 2498374.2226 | 1117348.9282 | 2498373.2504 | 1117349.8784 | 2498364.1714 | 1117348.4967 | 2498361.8154 | 1117347.5023 | 2498358.8531 | 1117346.7183 | 2498356.7933 | 1117347.2643 | 2498342.2956 | 1117352.8225 | 2498340.8061 | 1117353.7704 | 2498341.0907 | 1117355.0886 | 2498343.3483 | 1117355.2842 | 2498346.8782 | 1117354.4688 | 2498356.6481 | 1117351.9475 | 2498358.7212 | 1117352.1906 | 2498359.93 | 1117352.9152 | 2498360.3948 | 1117354.8419 | 2498359.4284 | 1117355.6809 | 2498316.2732 | 1117366.7352 | 2498314.8898 | 1117366.6473 | 2498301.107 | 1117365.5894 | 2498301.0536 | 1117368.381 | 2498299.5308 | 1117407.3422
1 | 2498381.9003 | 1117329.865 | 2498374.6431 | 1117331.2322
2 | 2498375.3998 | 1117314.2421 | 2498379.1954 | 1117320.0487 | 2498380.9741 | 1117324.8218 | 2498381.9003 | 1117329.865
3 | 2498381.9003 | 1117329.865 | 2498392.7067 | 1117327.9156 | 2498402.688 | 1117326.4016
4 | 2498375.3998 | 1117314.2421 | 2498378.2281 | 1117310.2699 | 2498380.329 | 1117305.2759 | 2498380.5654 | 1117303.9442
5 | 2498238.7227 | 1117138.1949 | 2498243.2191 | 1117134.2502 | 2498256.6344 | 1117128.5765 | 2498318.1068 | 1117136.0368 | 2498321.2881 | 1117118.1609 | 2498326.1003 | 1117118.7582 | 2498329.3574 | 1117119.1593 | 2498318.7532 | 1117152.9032 | 2498312.3725 | 1117173.8014 | 2498303.1032 | 1117204.2764 | 2498303.1061 | 1117205.3659 | 2498303.4629 | 1117206.3828 | 2498304.3413 | 1117207.6577 | 2498305.3939 | 1117208.2737 | 2498307.8068 | 1117208.9781 | 2498308.3468 | 1117211.7041 | 2498311.2499 | 1117218.1482 | 2498320.3393 | 1117236.6627 | 2498335.3684 | 1117268.6636 | 2498340.4439 | 1117277.584 | 2498345.0697 | 1117283.6323 | 2498352.5049 | 1117290.5562 | 2498375.3998 | 1117314.2421
6 | 2498402.688 | 1117326.4016 | 2498405.8467 | 1117325.9224
7 | 2498211.2074 | 1117144.1838 | 2498212.8727 | 1117141.7542 | 2498214.9114 | 1117135.3603 | 2498217.0816 | 1117131.2768 | 2498219.0039 | 1117128.9763 | 2498221.1728 | 1117127.5723 | 2498223.7309 | 1117126.8066 | 2498226.5423 | 1117126.4146 | 2498229.0952 | 1117127.1832 | 2498231.7778 | 1117129.2283 | 2498233.6938 | 1117131.1417 | 2498236.2491 | 1117134.3452 | 2498238.7227 | 1117138.1949
8 | 2498238.7227 | 1117138.1949 | 2498241.2234 | 1117140.1392
9 | 2498238.7227 | 1117138.1949 | 2498243.2191 | 1117134.2502 | 2498256.6344 | 1117128.5765 | 2498318.1068 | 1117136.0368 | 2498321.2881 | 1117118.1609 | 2498326.1003 | 1117118.7582 | 2498329.3574 | 1117119.1593 | 2498332.3697 | 1117108.6799 | 2498336.8005 | 1117109.0946 | 2498344.3697 | 1117109.7345 | 2498366.304 | 1117112.0563 | 2498380.6304 | 1117114.1837 | 2498388.1656 | 1117116.025 | 2498397.1297 | 1117119.2765 | 2498433.9646 | 1117133.556 | 2498469.1874 | 1117147.4736 | 2498467.7857 | 1117152.7338 | 2498467.4419 | 1117154.3294
10 | 2498450.8332 | 1117302.2347 | 2498437.8205 | 1117316.6955 | 2498430.6599 | 1117321.9746 | 2498416.3629 | 1117324.3272 | 2498405.8467 | 1117325.9224
11 | 2498677.5929 | 1117610.9495 | 2498633.8129 | 1117600.7765 | 2498616.3393 | 1117596.8779 | 2498600.7603 | 1117592.7142 | 2498588.8001 | 1117589.3681 | 2498578.7148 | 1117585.9572 | 2498567.6848 | 1117581.9173 | 2498556.6166 | 1117576.5217 | 2498545.9599 | 1117569.8851
12 | 2498490.6731 | 1117546.1642 | 2498512.828 | 1117554.8202 | 2498523.822 | 1117559.4721 | 2498537.9563 | 1117565.8613 | 2498545.9599 | 1117569.8851
13 | 2498687.4509 | 1117612.3186 | 2498683.7653 | 1117612.1247 | 2498677.5929 | 1117610.9495
14 | 2498490.6731 | 1117546.1642 | 2498479.4489 | 1117533.3222 | 2498475.1968 | 1117529.2799 | 2498473.9581 | 1117523.5527
15 | 2498687.4509 | 1117612.3186 | 2498687.1088 | 1117606.643 | 2498683.6383 | 1117571.379 | 2498682.7285 | 1117562.2329 | 2498682.0318 | 1117555.2068 | 2498681.3618 | 1117548.3915 | 2498681.0303 | 1117545.0434
16 | 2498473.9581 | 1117523.5527 | 2498463.7153 | 1117521.4834
17 | 2498678.7715 | 1117522.1999 | 2498679.6893 | 1117531.5089 | 2498680.6277 | 1117540.9769 | 2498681.0303 | 1117545.0434
18 | 2498678.574 | 1117520.197 | 2498678.7715 | 1117522.1999
19 | 2498618.8624 | 1117353.6937 | 2498637.2204 | 1117349.5168 | 2498635.4729 | 1117352.1144 | 2498629.575 | 1117360.8854 | 2498628.5507 | 1117362.4146 | 2498627.4453 | 1117362.7889
20 | 2498627.4453 | 1117362.7889 | 2498627.8613 | 1117364.1161 | 2498669.5586 | 1117456.2979 | 2498672.4703 | 1117463.7427 | 2498673.5685 | 1117467.082 | 2498668.7338 | 1117468.8085
21 | 2498539.9179 | 1117378.1991 | 2498540.4739 | 1117374.9878 | 2498542.0351 | 1117372.3266 | 2498544.9513 | 1117370.3653 | 2498618.8624 | 1117353.6937
22 | 2498450.8332 | 1117302.2347 | 2498474.8323 | 1117295.6055 | 2498481.6823 | 1117293.4337 | 2498485.0292 | 1117292.7549 | 2498489.1969 | 1117292.6849 | 2498493.4325 | 1117293.4365 | 2498497.3298 | 1117294.7275 | 2498501.2139 | 1117296.6191 | 2498504.5696 | 1117298.7642 | 2498508.1896 | 1117301.016 | 2498512.0904 | 1117302.5181 | 2498516.3929 | 1117302.6572 | 2498521.5569 | 1117302.148 | 2498525.4087 | 1117300.2711 | 2498529.7419 | 1117296.7184 | 2498533.9014 | 1117292.9352 | 2498537.4393 | 1117292.5979 | 2498545.5933 | 1117296.8194 | 2498549.5684 | 1117295.8521 | 2498559.8286 | 1117301.3724 | 2498566.868 | 1117309.5707 | 2498570.1503 | 1117318.3879 | 2498573.0225 | 1117318.8623 | 2498574.2151 | 1117323.2228 | 2498590.3072 | 1117339.9858 | 2498617.3627 | 1117346.67 | 2498618.0414 | 1117349.8495 | 2498618.8624 | 1117353.6937
23 | 2498668.7338 | 1117468.8085 | 2498666.8291 | 1117465.2492 | 2498662.7175 | 1117455.7677 | 2498651.0036 | 1117456.4228
24 | 2498636.892 | 1117481.4387 | 2498640.5754 | 1117479.6536 | 2498647.054 | 1117476.5209 | 2498668.7338 | 1117468.8085
25 | 2498679.2492 | 1117484.0531 | 2498678.1068 | 1117480.8368 | 2498676.7731 | 1117476.8011 | 2498673.5685 | 1117467.082 | 2498668.7338 | 1117468.8085
26 | 2498679.2492 | 1117484.0531 | 2498676.4619 | 1117498.7757 | 2498678.574 | 1117520.197
27 | 2498679.2492 | 1117484.0531 | 2498687.4052 | 1117484.2722 | 2498704.9098 | 1117484.6599
28 | 2498633.9986 | 1117518.8329 | 2498630.5775 | 1117490.2167 | 2498636.8951 | 1117487.6092 | 2498636.892 | 1117481.4387
29 | 2498529.1023 | 1117127.93 | 2498525.9396 | 1117148.2076
30 | 2498522.4884 | 1117163.9787 | 2498525.8747 | 1117148.6234 | 2498525.9396 | 1117148.2076
31 | 2498531.1863 | 1117114.5684 | 2498529.1023 | 1117127.93
32 | 2498467.4419 | 1117154.3294 | 2498467.7857 | 1117152.7338 | 2498469.1874 | 1117147.4736 | 2498515.8823 | 1117166.4355 | 2498530.282 | 1117172.0197 | 2498531.2063 | 1117167.2902 | 2498522.4884 | 1117163.9787
33 | 2498531.1863 | 1117114.5684 | 2498537.4804 | 1117114.6851 | 2498548.4163 | 1117038.9763 | 2498552.4347 | 1117027.6907 | 2498531.5464 | 1117013.6432
34 | 2498467.4419 | 1117154.3294 | 2498467.381 | 1117160.3565 | 2498467.2667 | 1117170.5648 | 2498467.2049 | 1117176.5363 | 2498464.4185 | 1117179.7962 | 2498463.7025 | 1117182.1833
35 | 2498375.7822 | 1117171.6236 | 2498378.7665 | 1117165.9032 | 2498382.1502 | 1117160.9766 | 2498388.2255 | 1117155.4266 | 2498389.8057 | 1117150.219 | 2498392.5532 | 1117145.5699 | 2498396.8876 | 1117141.628 | 2498400.2389 | 1117138.9033 | 2498402.7952 | 1117137.1148 | 2498405.1458 | 1117135.9524 | 2498410.918 | 1117135.3329 | 2498417.6649 | 1117138.0435 | 2498421.8235 | 1117139.7192 | 2498433.9646 | 1117133.556 | 2498469.1874 | 1117147.4736 | 2498467.7857 | 1117152.7338 | 2498467.4419 | 1117154.3294
36 | 2498535.3031 | 1117008.388 | 2498531.5464 | 1117013.6432
37 | 2498375.7822 | 1117171.6236 | 2498373.6953 | 1117175.6167
38 | 2498211.2074 | 1117144.1838 | 2498203.8939 | 1117152.7594
39 | 2498185.2413 | 1117150.469 | 2498180.6615 | 1117182.9333 | 2498180.0973 | 1117185.6445 | 2498191.9072 | 1117197.4309
40 | 2498185.2413 | 1117150.469 | 2498198.2686 | 1117159.3554 | 2498203.8939 | 1117152.7594
41 | 2498191.9072 | 1117197.4309 | 2498199.4683 | 1117203.5631 | 2498213.372 | 1117208.5657 | 2498221.9196 | 1117210.2887
42 | 2498263.383 | 1117216.2739 | 2498268.6996 | 1117213.8163 | 2498270.7287 | 1117212.3591 | 2498272.3488 | 1117210.4528 | 2498274.5984 | 1117205.5786 | 2498275.7189 | 1117201.5128 | 2498276.0664 | 1117173.0668 | 2498276.332 | 1117168.3736
43 | 2498263.383 | 1117216.2739 | 2498259.1635 | 1117214.188 | 2498250.6753 | 1117210.3061 | 2498243.4224 | 1117209.1829 | 2498238.5131 | 1117208.7763 | 2498233.9144 | 1117210.3102 | 2498226.5568 | 1117211.2234 | 2498221.9196 | 1117210.2887

## bus_geodata
| x | y | coords
0 | 2498299.5308 | 1117407.3422
1 | 2498374.6431 | 1117331.2322
2 | 2498381.9003 | 1117329.865
3 | 2498375.3998 | 1117314.2421
4 | 2498402.688 | 1117326.4016
5 | 2498380.5654 | 1117303.9442
6 | 2498238.7227 | 1117138.1949
7 | 2498405.8467 | 1117325.9224
8 | 2498545.9599 | 1117569.8851
9 | 2498677.5929 | 1117610.9495
10 | 2498490.6731 | 1117546.1642
11 | 2498687.4509 | 1117612.3186
12 | 2498473.9581 | 1117523.5527
13 | 2498681.0303 | 1117545.0434
14 | 2498463.7153 | 1117521.4834
15 | 2498678.7715 | 1117522.1999
16 | 2498627.4453 | 1117362.7889
17 | 2498618.8624 | 1117353.6937
18 | 2498668.7338 | 1117468.8085
19 | 2498679.2492 | 1117484.0531
20 | 2498678.574 | 1117520.197
21 | 2498704.9098 | 1117484.6599
22 | 2498651.0036 | 1117456.4228
23 | 2498636.892 | 1117481.4387
24 | 2498525.9396 | 1117148.2076
25 | 2498529.1023 | 1117127.9299
26 | 2498522.4884 | 1117163.9787
27 | 2498531.1863 | 1117114.5684
28 | 2498467.4419 | 1117154.3294
29 | 2498531.5464 | 1117013.6432
30 | 2498375.7822 | 1117171.6236
31 | 2498373.6953 | 1117175.6167
32 | 2498463.7025 | 1117182.1833
33 | 2498211.2074 | 1117144.1838
34 | 2498241.2234 | 1117140.1392
35 | 2498185.2413 | 1117150.469
36 | 2498191.9072 | 1117197.4309
37 | 2498203.8939 | 1117152.7594
38 | 2498450.8332 | 1117302.2347
39 | 2498539.9179 | 1117378.1991
40 | 2498535.303 | 1117008.388
41 | 2498263.383 | 1117216.2739
42 | 2498276.332 | 1117168.3736
43 | 2498221.9196 | 1117210.2887
44 | 2498633.9986 | 1117518.8329
45 | 2498537.4875 | 1117367.6999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1