## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-236_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-236_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-236_0_6_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_6621-236_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-236_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6621-236_0_6_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_6621-236_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6621-236_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6621-236_0_6_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_6621-236_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6621-236_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6621-236_0_6_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_6621-236_0_6_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_6621-236_0_6_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6621-236_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6621-236_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6621-236_0_6_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_6621-236_0_6_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6621-236_0_6_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_6621-236_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6621-236_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6621-236_0_6_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6621-236_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_6621-236_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6621-236_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6621-236_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6621-236_0_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6621-236_0_6_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_6621-236_0_6_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_6621-236_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6621-236_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6621-236_0_6_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_6621-236_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_6621-236_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6621-236_0_6_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_6621-236_0_6_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_6621-236_0_6_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_6621-236_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_6621-236_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_6621-236_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_6621-236_0_6_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6621-236_0_6_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6621-236_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6621-236_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6621-236_0_6_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_6621-236_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6621-236_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6621-236_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_6621-236_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6621-236_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6621-236_0_6_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_6621-236_0_6_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_6621-236_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6621-236_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6621-236_0_6_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_6621-236_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_6621-236_0_6_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_6621-236_0_6_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_6621-236_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6621-236_0_6_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6621-236_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_6621-236_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6621-236_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6621-236_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6621-236_0_6_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_6621-236_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6621-236_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6621-236_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_6621-236_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6621-236_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_6621-236_0_6_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6621-236_0_6_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6621-236_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_6621-236_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6621-236_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_MV_650_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-236_0_6_load_0 | 0 | 0.006999 | 0.0017541 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-236_0_6_load_49 | 5 | 0.015419 | 0.0038642 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-236_0_6_load_38 | 8 | 0.010586 | 0.0026532 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-236_0_6_load_80 | 11 | 0.019165 | 0.0048033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-236_0_6_load_55 | 12 | 0.0042249 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-236_0_6_load_54 | 13 | 0.017904 | 0.0044872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-236_0_6_load_66 | 16 | 0.0076227 | 0.0019104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-236_0_6_load_39 | 17 | 0.0068927 | 0.0017275 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-236_0_6_load_47 | 18 | 0.007436 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-236_0_6_load_43 | 22 | 0.0018434 | 0.000462 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-236_0_6_load_42 | 26 | 0.0088747 | 0.0022242 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-236_0_6_load_46 | 28 | 0.0070209 | 0.0017596 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-236_0_6_load_45 | 29 | 0.0094045 | 0.002357 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-236_0_6_load_48 | 31 | 0.011761 | 0.0029476 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-236_0_6_load_58 | 34 | 0.02057 | 0.0051553 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-236_0_6_load_65 | 35 | 0.026202 | 0.0065668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-236_0_6_load_69 | 36 | 0.025344 | 0.0063518 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-236_0_6_load_51 | 39 | 0.034428 | 0.0086284 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-236_0_6_load_56 | 41 | 0.0070785 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-236_0_6_load_78 | 44 | 0.012409 | 0.0031101 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-236_0_6_load_44 | 48 | 0.011454 | 0.0028706 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-236_0_6_load_41 | 49 | 0.010591 | 0.0026544 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-236_0_6_load_75 | 50 | 0.0015403 | 0.00038604 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-236_0_6_load_72 | 51 | 0.0070241 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-236_0_6_load_40 | 53 | 0.009907 | 0.0024829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-236_0_6_load_74 | 54 | 0.01859 | 0.0046591 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-236_0_6_load_73 | 56 | 0.0045416 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-236_0_6_load_81 | 57 | 0.0066327 | 0.0016623 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-236_0_6_load_53 | 58 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-236_0_6_load_59 | 59 | 0.0014981 | 0.00037547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-236_0_6_load_61 | 60 | 0.0042801 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-236_0_6_load_50 | 61 | 0.0044117 | 0.0011057 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-236_0_6_load_57 | 62 | 0.046815 | 0.011733 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-236_0_6_load_63 | 63 | 0.016564 | 0.0041513 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-236_0_6_load_68 | 64 | 0.0080088 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-236_0_6_load_52 | 65 | 0.018172 | 0.0045543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-236_0_6_load_64 | 66 | 0.017185 | 0.0043069 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-236_0_6_load_62 | 67 | 0.018164 | 0.0045524 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-236_0_6_load_67 | 68 | 0.014173 | 0.0035521 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-236_0_6_load_77 | 69 | 0.0046007 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-236_0_6_load_79 | 70 | 0.010281 | 0.0025767 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-236_0_6_load_76 | 71 | 0.0096594 | 0.0024209 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-236_0_6_load_71 | 72 | 0.02912 | 0.0072981 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6621-236_0_6_load_70 | 73 | 0.022653 | 0.0056773 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6621-236_0_6_load_60 | 74 | 0.0055797 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-236_0_6_line_0 |  | 0 | 1 | 0.05183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-236_0_6_line_1 |  | 1 | 2 | 0.07329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-236_0_6_line_2 |  | 2 | 30 | 0.003421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6621-236_0_6_line_3 |  | 2 | 31 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6621-236_0_6_line_4 |  | 3 | 4 | 0.036144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6621-236_0_6_line_5 |  | 3 | 5 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6621-236_0_6_line_6 |  | 4 | 14 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-236_0_6_line_7 |  | 4 | 11 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6621-236_0_6_line_8 |  | 5 | 31 | 0.023707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6621-236_0_6_line_9 |  | 6 | 7 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6621-236_0_6_line_10 |  | 6 | 8 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6621-236_0_6_line_11 |  | 7 | 12 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6621-236_0_6_line_12 |  | 7 | 13 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-236_0_6_line_13 |  | 8 | 17 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6621-236_0_6_line_14 |  | 9 | 10 | 0.0084605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6621-236_0_6_line_15 |  | 9 | 11 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6621-236_0_6_line_16 |  | 10 | 15 | 0.028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6621-236_0_6_line_17 |  | 10 | 16 | 0.0086155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6621-236_0_6_line_18 |  | 12 | 60 | 0.010131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6621-236_0_6_line_19 |  | 13 | 38 | 0.0366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-236_0_6_line_20 |  | 14 | 18 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-236_0_6_line_21 |  | 15 | 17 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6621-236_0_6_line_22 |  | 16 | 52 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6621-236_0_6_line_23 |  | 19 | 20 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-236_0_6_line_24 |  | 19 | 21 | 0.01147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-236_0_6_line_25 |  | 19 | 22 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-236_0_6_line_26 |  | 20 | 27 | 0.001897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-236_0_6_line_27 |  | 20 | 28 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-236_0_6_line_28 |  | 21 | 50 | 0.0043626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-236_0_6_line_29 |  | 21 | 51 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-236_0_6_line_30 |  | 22 | 26 | 0.024454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-236_0_6_line_31 |  | 23 | 24 | 0.002305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-236_0_6_line_32 |  | 23 | 25 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-236_0_6_line_33 |  | 23 | 26 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-236_0_6_line_34 |  | 24 | 54 | 0.034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-236_0_6_line_35 |  | 25 | 29 | 0.015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-236_0_6_line_36 |  | 27 | 57 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-236_0_6_line_37 |  | 27 | 43 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-236_0_6_line_38 |  | 30 | 40 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6621-236_0_6_line_39 |  | 32 | 33 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-236_0_6_line_40 |  | 32 | 34 | 0.03343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-236_0_6_line_41 |  | 32 | 35 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-236_0_6_line_42 |  | 33 | 36 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-236_0_6_line_43 |  | 34 | 40 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6621-236_0_6_line_44 |  | 35 | 63 | 0.025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-236_0_6_line_45 |  | 36 | 64 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-236_0_6_line_46 |  | 37 | 38 | 0.002551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-236_0_6_line_47 |  | 37 | 39 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-236_0_6_line_48 |  | 39 | 65 | 0.03753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-236_0_6_line_49 |  | 40 | 41 | 0.0083132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-236_0_6_line_50 |  | 41 | 62 | 0.044352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-236_0_6_line_51 |  | 42 | 43 | 0.003792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-236_0_6_line_52 |  | 42 | 44 | 0.0093313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-236_0_6_line_53 |  | 43 | 49 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6621-236_0_6_line_54 |  | 44 | 69 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-236_0_6_line_55 |  | 45 | 46 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6621-236_0_6_line_56 |  | 45 | 47 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6621-236_0_6_line_57 |  | 45 | 48 | 0.010054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6621-236_0_6_line_58 |  | 46 | 52 | 0.002902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6621-236_0_6_line_59 |  | 46 | 53 | 0.0088911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-236_0_6_line_60 |  | 47 | 49 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6621-236_0_6_line_61 |  | 50 | 71 | 0.0030167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-236_0_6_line_62 |  | 51 | 72 | 0.02208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-236_0_6_line_63 |  | 52 | 55 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6621-236_0_6_line_64 |  | 55 | 56 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6621-236_0_6_line_65 |  | 56 | 61 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6621-236_0_6_line_66 |  | 58 | 59 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6621-236_0_6_line_67 |  | 59 | 74 | 0.00041526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6621-236_0_6_line_68 |  | 60 | 74 | 0.011093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6621-236_0_6_line_69 |  | 63 | 67 | 0.015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6621-236_0_6_line_70 |  | 64 | 68 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6621-236_0_6_line_71 |  | 66 | 67 | 0.0016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6621-236_0_6_line_72 |  | 69 | 70 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6621-236_0_6_line_73 |  | 72 | 73 | 0.021486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-236_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 75 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2501269.4065 | 1118048.9157 | 2501225.7795 | 1118020.934
1 | 2501269.4065 | 1118048.9157 | 2501270.2724 | 1118049.4686 | 2501271.6632 | 1118047.1889 | 2501272.4688 | 1118045.9416 | 2501273.0794 | 1118045.0422 | 2501303.111 | 1118064.6755 | 2501308.0231 | 1118057.2797 | 2501311.9891 | 1118053.3903 | 2501316.3685 | 1118047.4041 | 2501321.4832 | 1118039.6491
2 | 2501320.3498 | 1118036.4212 | 2501321.4832 | 1118039.6491
3 | 2501321.4832 | 1118039.6491 | 2501334.1131 | 1118048.1298
4 | 2501367.4571 | 1118068.4173 | 2501372.5109 | 1118071.5924 | 2501376.7613 | 1118074.2581 | 2501377.1207 | 1118076.8872 | 2501393.7628 | 1118088.223 | 2501396.0865 | 1118087.7626
5 | 2501367.4571 | 1118068.4173 | 2501364.8694 | 1118068.7819 | 2501353.7947 | 1118061.3455
6 | 2501396.0865 | 1118087.7626 | 2501403.279 | 1118092.3927 | 2501409.0514 | 1118096.0898
7 | 2501396.0865 | 1118087.7626 | 2501405.9927 | 1118078.2079
8 | 2501334.1131 | 1118048.1298 | 2501353.7947 | 1118061.3455
9 | 2501415.6248 | 1117997.4213 | 2501418.8148 | 1118001.8054 | 2501422.4549 | 1118006.8048
10 | 2501422.4549 | 1118006.8048 | 2501416.2937 | 1118015.9022
11 | 2501415.6248 | 1117997.4213 | 2501406.2893 | 1118010.9991
12 | 2501415.6248 | 1117997.4213 | 2501415.6148 | 1117993.4968 | 2501406.585 | 1117982.8669
13 | 2501416.2937 | 1118015.9022 | 2501404.9063 | 1118032.7164
14 | 2501418.0576 | 1118064.2455 | 2501421.139 | 1118061.0266 | 2501423.9094 | 1118058.1352
15 | 2501418.0576 | 1118064.2455 | 2501418.5053 | 1118066.1393 | 2501405.9927 | 1118078.2079
16 | 2501400.1992 | 1118041.7559 | 2501423.9094 | 1118058.1352
17 | 2501423.9094 | 1118058.1352 | 2501426.1367 | 1118057.921 | 2501430.7611 | 1118053.5287
18 | 2501400.5496 | 1118019.347 | 2501406.2893 | 1118010.9991
19 | 2501382.8898 | 1117954.9729 | 2501406.585 | 1117982.8669
20 | 2501409.0514 | 1118096.0898 | 2501409.9325 | 1118098.9995 | 2501419.9015 | 1118105.5964
21 | 2501400.1992 | 1118041.7559 | 2501399.8116 | 1118040.239 | 2501404.9063 | 1118032.7164
22 | 2501447.8009 | 1118037.3441 | 2501430.7611 | 1118053.5287
23 | 2501489.3532 | 1118078.0816 | 2501493.2673 | 1118081.431 | 2501497.3301 | 1118084.9003
24 | 2501497.3301 | 1118084.9003 | 2501498.7557 | 1118084.7548 | 2501500.5054 | 1118086.016 | 2501506.4788 | 1118091.1553
25 | 2501497.3301 | 1118084.9003 | 2501487.0681 | 1118097.9521
26 | 2501489.3532 | 1118078.0816 | 2501489.168 | 1118076.1945
27 | 2501489.3532 | 1118078.0816 | 2501481.7532 | 1118088.0539
28 | 2501506.4788 | 1118091.1553 | 2501505.7305 | 1118092.1347 | 2501503.7815 | 1118094.5839
29 | 2501506.4788 | 1118091.1553 | 2501518.5768 | 1118101.5623
30 | 2501471.9536 | 1118117.1758 | 2501487.0681 | 1118097.9521
31 | 2501464.6876 | 1118130.4714 | 2501465.8853 | 1118132.442
32 | 2501464.6876 | 1118130.4714 | 2501458.9481 | 1118126.896 | 2501454.3393 | 1118124.0248
33 | 2501464.6876 | 1118130.4714 | 2501468.578 | 1118121.4691 | 2501471.9536 | 1118117.1758
34 | 2501465.8853 | 1118132.442 | 2501487.4912 | 1118141.9293 | 2501497.6184 | 1118145.5608
35 | 2501454.3393 | 1118124.0248 | 2501463.633 | 1118111.8302
36 | 2501474.7286 | 1118061.6984 | 2501489.168 | 1118076.1945
37 | 2501489.168 | 1118076.1945 | 2501492.7485 | 1118070.4326 | 2501496.6371 | 1118064.1654
38 | 2501309.8319 | 1118029.5329 | 2501316.7685 | 1118034.0781 | 2501320.3498 | 1118036.4212
39 | 2501251.0038 | 1117993.1369 | 2501256.6829 | 1117996.7798 | 2501260.2559 | 1117999.0785
40 | 2501260.2559 | 1117999.0785 | 2501287.857 | 1118017.939
41 | 2501260.2559 | 1117999.0785 | 2501267.8236 | 1117989.1049
42 | 2501251.0038 | 1117993.1369 | 2501258.1142 | 1117983.6767
43 | 2501309.8319 | 1118029.5329 | 2501305.7511 | 1118030.1665 | 2501287.857 | 1118017.939
44 | 2501283.0828 | 1117968.9946 | 2501267.8236 | 1117989.1049
45 | 2501270.6968 | 1117966.9359 | 2501258.1142 | 1117983.6767
46 | 2501382.8898 | 1117954.9729 | 2501380.3646 | 1117955.381
47 | 2501380.3646 | 1117955.381 | 2501377.6239 | 1117955.8371 | 2501370.999 | 1117966.2005
48 | 2501348.2028 | 1117994.8349 | 2501360.2109 | 1117976.7562 | 2501365.5579 | 1117974.7122 | 2501370.999 | 1117966.2005
49 | 2501309.8319 | 1118029.5329 | 2501314.3604 | 1118022.5614
50 | 2501314.3604 | 1118022.5614 | 2501323.416 | 1118008.6205 | 2501328.6147 | 1118008.3689 | 2501341.1691 | 1117989.6687
51 | 2501496.6371 | 1118064.1654 | 2501497.5249 | 1118065.1182 | 2501500.0057 | 1118064.8221
52 | 2501500.0057 | 1118064.8221 | 2501506.7665 | 1118058.3906
53 | 2501496.6371 | 1118064.1654 | 2501474.7479 | 1118042.6071
54 | 2501519.9552 | 1118045.8443 | 2501506.7665 | 1118058.3906
55 | 2501448.6278 | 1118034.5623 | 2501453.3004 | 1118030.4503 | 2501458.8917 | 1118025.4005
56 | 2501458.8917 | 1118025.4005 | 2501460.952 | 1118025.3558 | 2501464.9334 | 1118029.5157 | 2501468.5928 | 1118033.3363
57 | 2501458.8917 | 1118025.4005 | 2501452.5747 | 1118017.5792
58 | 2501448.6278 | 1118034.5623 | 2501447.8009 | 1118037.3441
59 | 2501448.6278 | 1118034.5623 | 2501442.9107 | 1118027.753
60 | 2501468.5928 | 1118033.3363 | 2501468.1752 | 1118036.1337 | 2501474.7479 | 1118042.6071
61 | 2501501.903 | 1118096.9445 | 2501503.7815 | 1118094.5839
62 | 2501535.4431 | 1118115.8104 | 2501526.3484 | 1118108.2535 | 2501523.0445 | 1118105.4055 | 2501518.5768 | 1118101.5623
63 | 2501455.4353 | 1118045.4025 | 2501451.7279 | 1118041.4827 | 2501447.8009 | 1118037.3441
64 | 2501455.4353 | 1118045.4025 | 2501448.2343 | 1118052.4498
65 | 2501448.2343 | 1118052.4498 | 2501432.7165 | 1118067.6365
66 | 2501394.0295 | 1118028.83 | 2501388.1214 | 1118037.4228
67 | 2501394.2648 | 1118028.4878 | 2501394.0295 | 1118028.83
68 | 2501400.5496 | 1118019.347 | 2501394.2648 | 1118028.4878
69 | 2501292.711 | 1117956.3055 | 2501283.0828 | 1117968.9946
70 | 2501279.7167 | 1117954.9351 | 2501270.6968 | 1117966.9359
71 | 2501292.711 | 1117956.3055 | 2501293.6917 | 1117955.013
72 | 2501519.9552 | 1118045.8443 | 2501531.3698 | 1118034.9856
73 | 2501551.9687 | 1118129.5417 | 2501535.4431 | 1118115.8104

## bus_geodata
| x | y | coords
0 | 2501225.7795 | 1118020.934
1 | 2501269.4065 | 1118048.9157
2 | 2501321.4832 | 1118039.6491
3 | 2501367.4571 | 1118068.4173
4 | 2501396.0865 | 1118087.7626
5 | 2501353.7947 | 1118061.3455
6 | 2501422.4549 | 1118006.8048
7 | 2501415.6248 | 1117997.4213
8 | 2501416.2937 | 1118015.9022
9 | 2501418.0576 | 1118064.2455
10 | 2501423.9094 | 1118058.1352
11 | 2501405.9927 | 1118078.2079
12 | 2501406.2893 | 1118010.9991
13 | 2501406.585 | 1117982.8669
14 | 2501409.0514 | 1118096.0898
15 | 2501400.1992 | 1118041.7559
16 | 2501430.7611 | 1118053.5287
17 | 2501404.9063 | 1118032.7164
18 | 2501419.9015 | 1118105.5964
19 | 2501497.3301 | 1118084.9003
20 | 2501489.3532 | 1118078.0816
21 | 2501506.4788 | 1118091.1553
22 | 2501487.0681 | 1118097.9521
23 | 2501464.6876 | 1118130.4714
24 | 2501465.8853 | 1118132.442
25 | 2501454.3393 | 1118124.0248
26 | 2501471.9536 | 1118117.1758
27 | 2501489.168 | 1118076.1945
28 | 2501481.7532 | 1118088.0539
29 | 2501463.633 | 1118111.8302
30 | 2501320.3498 | 1118036.4212
31 | 2501334.1131 | 1118048.1298
32 | 2501260.2559 | 1117999.0785
33 | 2501251.0038 | 1117993.1369
34 | 2501287.857 | 1118017.939
35 | 2501267.8236 | 1117989.1049
36 | 2501258.1142 | 1117983.6767
37 | 2501380.3646 | 1117955.381
38 | 2501382.8898 | 1117954.9729
39 | 2501370.999 | 1117966.2005
40 | 2501309.8319 | 1118029.5329
41 | 2501314.3604 | 1118022.5614
42 | 2501500.0057 | 1118064.8221
43 | 2501496.6371 | 1118064.1654
44 | 2501506.7665 | 1118058.3906
45 | 2501458.8917 | 1118025.4005
46 | 2501448.6278 | 1118034.5623
47 | 2501468.5928 | 1118033.3363
48 | 2501452.5747 | 1118017.5792
49 | 2501474.7479 | 1118042.6071
50 | 2501503.7815 | 1118094.5839
51 | 2501518.5768 | 1118101.5623
52 | 2501447.8009 | 1118037.3441
53 | 2501442.9107 | 1118027.753
54 | 2501497.6184 | 1118145.5608
55 | 2501455.4353 | 1118045.4025
56 | 2501448.2343 | 1118052.4498
57 | 2501474.7286 | 1118061.6984
58 | 2501388.1214 | 1118037.4228
59 | 2501394.0295 | 1118028.83
60 | 2501400.5496 | 1118019.347
61 | 2501432.7165 | 1118067.6365
62 | 2501341.1691 | 1117989.6687
63 | 2501283.0828 | 1117968.9946
64 | 2501270.6968 | 1117966.9359
65 | 2501348.2028 | 1117994.8349
66 | 2501293.6917 | 1117955.013
67 | 2501292.711 | 1117956.3055
68 | 2501279.7167 | 1117954.9351
69 | 2501519.9552 | 1118045.8443
70 | 2501531.3698 | 1118034.9856
71 | 2501501.903 | 1118096.9445
72 | 2501535.4431 | 1118115.8104
73 | 2501551.9687 | 1118129.5417
74 | 2501394.2648 | 1118028.4878
75 | 2501415.6248 | 1117997.4213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1