## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-23_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-23_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-23_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-23_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-23_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6621-23_0_5_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_6621-23_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6621-23_0_5_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_6621-23_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_6621-23_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6621-23_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6621-23_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6621-23_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_6621-23_0_5_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6621-23_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6621-23_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6621-23_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6621-23_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6621-23_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6621-23_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6621-23_0_5_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_6621-23_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6621-23_0_5_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_6621-23_0_5_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_6621-23_0_5_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_6621-23_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6621-23_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6621-23_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6621-23_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6621-23_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6621-23_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_6621-23_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6621-23_0_5_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_6621-23_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_6621-23_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6621-23_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6621-23_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_6621-23_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6621-23_0_5_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_6621-23_0_5_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_6621-23_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6621-23_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6621-23_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6621-23_0_5_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_6621-23_0_5_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6621-23_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6621-23_0_5_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_6621-23_0_5_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_6621-23_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6621-23_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_6621-23_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_6621-23_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6621-23_0_5_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_6621-23_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_6621-23_0_5_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_6621-23_0_5_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6621-23_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6621-23_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_6621-23_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_6621-23_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_6621-23_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6621-23_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6621-23_0_5_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_6621-23_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6621-23_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_MV_662_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-23_0_5_load_0 | 0 | 0.0086558 | 0.0021693 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-23_0_5_load_1 | 1 | 0.011753 | 0.0029455 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-23_0_5_load_2 | 2 | 0.0072075 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-23_0_5_load_3 | 3 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-23_0_5_load_4 | 4 | 0.004466 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-23_0_5_load_51 | 5 | 0.0073837 | 0.0018505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-23_0_5_load_39 | 6 | 0.01123 | 0.0028146 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-23_0_5_load_54 | 7 | 0.0078024 | 0.0019555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-23_0_5_load_5 | 9 | 0.028543 | 0.0071535 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-23_0_5_load_6 | 10 | 0.021461 | 0.0053787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-23_0_5_load_7 | 11 | 0.029976 | 0.0075127 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-23_0_5_load_8 | 14 | 0.010773 | 0.0026999 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-23_0_5_load_9 | 15 | 0.010751 | 0.0026945 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-23_0_5_load_45 | 20 | 0.01125 | 0.0028196 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-23_0_5_load_37 | 22 | 0.014193 | 0.0035572 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-23_0_5_load_62 | 23 | 0.01409 | 0.0035313 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-23_0_5_load_57 | 24 | 0.017175 | 0.0043044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-23_0_5_load_34 | 28 | 0.02001 | 0.0050151 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-23_0_5_load_46 | 30 | 0.0049634 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-23_0_5_load_63 | 32 | 0.02453 | 0.0061479 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-23_0_5_load_42 | 33 | 0.025142 | 0.0063012 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-23_0_5_load_55 | 36 | 0.0088219 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-23_0_5_load_41 | 37 | 0.014727 | 0.0036909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-23_0_5_load_66 | 38 | 0.012044 | 0.0030186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-23_0_5_load_40 | 40 | 0.020912 | 0.0052411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-23_0_5_load_61 | 43 | 0.013043 | 0.0032689 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-23_0_5_load_47 | 44 | 0.0074356 | 0.0018635 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-23_0_5_load_64 | 46 | 0.0051175 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-23_0_5_load_50 | 47 | 0.014086 | 0.0035303 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-23_0_5_load_35 | 48 | 0.025127 | 0.0062974 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-23_0_5_load_56 | 49 | 0.015363 | 0.0038503 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-23_0_5_load_43 | 51 | 0.02202 | 0.0055186 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-23_0_5_load_67 | 52 | 0.01152 | 0.0028873 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-23_0_5_load_68 | 53 | 0.011977 | 0.0030018 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-23_0_5_load_60 | 54 | 0.023994 | 0.0060134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-23_0_5_load_48 | 55 | 0.0053178 | 0.0013328 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-23_0_5_load_33 | 56 | 0.013856 | 0.0034725 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-23_0_5_load_31 | 57 | 0.011292 | 0.0028301 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-23_0_5_load_36 | 58 | 0.0068758 | 0.0017232 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-23_0_5_load_38 | 59 | 0.021012 | 0.005266 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-23_0_5_load_49 | 60 | 0.0083483 | 0.0020923 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-23_0_5_load_52 | 61 | 0.0074119 | 0.0018576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-23_0_5_load_53 | 62 | 0.0049273 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6621-23_0_5_load_58 | 63 | 0.010213 | 0.0025597 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6621-23_0_5_load_59 | 64 | 0.012257 | 0.0030719 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-23_0_5_line_0 |  | 0 | 1 | 0.0081153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6621-23_0_5_line_1 |  | 0 | 2 | 0.001479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6621-23_0_5_line_2 |  | 1 | 3 | 0.0096494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6621-23_0_5_line_3 |  | 2 | 4 | 0.0062511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6621-23_0_5_line_4 |  | 3 | 5 | 0.0028626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-23_0_5_line_5 |  | 4 | 6 | 0.017698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6621-23_0_5_line_6 |  | 5 | 7 | 0.0068898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-23_0_5_line_7 |  | 6 | 8 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6621-23_0_5_line_8 |  | 7 | 62 | 0.0097007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-23_0_5_line_9 |  | 8 | 31 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6621-23_0_5_line_10 |  | 9 | 10 | 0.028016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-23_0_5_line_11 |  | 10 | 11 | 0.028508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-23_0_5_line_12 |  | 11 | 12 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-23_0_5_line_13 |  | 12 | 13 | 0.040504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-23_0_5_line_14 |  | 13 | 33 | 0.034095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-23_0_5_line_15 |  | 13 | 29 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6621-23_0_5_line_16 |  | 13 | 31 | 0.11749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6621-23_0_5_line_17 |  | 14 | 15 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6621-23_0_5_line_18 |  | 14 | 16 | 0.021982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6621-23_0_5_line_19 |  | 15 | 17 | 0.002171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-23_0_5_line_20 |  | 16 | 18 | 0.074415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-23_0_5_line_21 |  | 16 | 19 | 0.12927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6621-23_0_5_line_22 |  | 17 | 20 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6621-23_0_5_line_23 |  | 18 | 24 | 0.0042269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-23_0_5_line_24 |  | 18 | 23 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6621-23_0_5_line_25 |  | 19 | 27 | 0.13901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6621-23_0_5_line_26 |  | 19 | 37 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-23_0_5_line_27 |  | 20 | 30 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6621-23_0_5_line_28 |  | 21 | 22 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6621-23_0_5_line_29 |  | 21 | 23 | 0.0061497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6621-23_0_5_line_30 |  | 22 | 48 | 0.020087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-23_0_5_line_31 |  | 24 | 49 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-23_0_5_line_32 |  | 25 | 26 | 0.06148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6621-23_0_5_line_33 |  | 25 | 27 | 0.015754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6621-23_0_5_line_34 |  | 25 | 28 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6621-23_0_5_line_35 |  | 26 | 38 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-23_0_5_line_36 |  | 26 | 39 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-23_0_5_line_37 |  | 27 | 40 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-23_0_5_line_38 |  | 28 | 50 | 0.010065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6621-23_0_5_line_39 |  | 29 | 30 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6621-23_0_5_line_40 |  | 31 | 32 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-23_0_5_line_41 |  | 33 | 51 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-23_0_5_line_42 |  | 34 | 35 | 0.072727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-23_0_5_line_43 |  | 34 | 36 | 0.032824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-23_0_5_line_44 |  | 35 | 44 | 0.064085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-23_0_5_line_45 |  | 39 | 52 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-23_0_5_line_46 |  | 39 | 53 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-23_0_5_line_47 |  | 39 | 45 | 0.039081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-23_0_5_line_48 |  | 41 | 42 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6621-23_0_5_line_49 |  | 41 | 43 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6621-23_0_5_line_50 |  | 42 | 47 | 0.017033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6621-23_0_5_line_51 |  | 43 | 54 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-23_0_5_line_52 |  | 44 | 55 | 0.005034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-23_0_5_line_53 |  | 45 | 46 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-23_0_5_line_54 |  | 47 | 56 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6621-23_0_5_line_55 |  | 48 | 58 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-23_0_5_line_56 |  | 49 | 63 | 0.019845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-23_0_5_line_57 |  | 50 | 56 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6621-23_0_5_line_58 |  | 50 | 57 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-23_0_5_line_59 |  | 54 | 64 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-23_0_5_line_60 |  | 55 | 60 | 0.0097256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-23_0_5_line_61 |  | 58 | 59 | 0.0010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-23_0_5_line_62 |  | 60 | 61 | 0.005759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-23_0_5_line_63 |  | 61 | 62 | 0.0039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-23_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 65 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2499466.0838 | 1119215.323 | 2499461.6007 | 1119208.5584
1 | 2499466.0838 | 1119215.323 | 2499466.179 | 1119215.4666 | 2499466.8965 | 1119216.5587
2 | 2499461.6007 | 1119208.5584 | 2499456.2701 | 1119200.515
3 | 2499466.8965 | 1119216.5587 | 2499470.3288 | 1119221.7832
4 | 2499456.2701 | 1119200.515 | 2499454.6887 | 1119198.1289
5 | 2499470.3288 | 1119221.7832 | 2499480.0462 | 1119236.5743
6 | 2499454.6887 | 1119198.1289 | 2499450.8826 | 1119192.3859
7 | 2499490.4561 | 1119252.4197 | 2499480.0462 | 1119236.5743
8 | 2499445.5237 | 1119184.2997 | 2499450.8826 | 1119192.3859
9 | 2499490.4561 | 1119252.4197 | 2499492.7229 | 1119254.6056 | 2499495.0623 | 1119255.5895 | 2499498.333 | 1119255.9576 | 2499501.534 | 1119255.3819
10 | 2499550.1189 | 1119097.4124 | 2499561.7329 | 1119122.9076
11 | 2499561.7329 | 1119122.9076 | 2499573.551 | 1119148.8508
12 | 2499579.8238 | 1119166.7372 | 2499580.0813 | 1119163.1862 | 2499573.551 | 1119148.8508
13 | 2499579.8238 | 1119166.7372 | 2499579.4027 | 1119172.5144 | 2499594.3249 | 1119203.8641
14 | 2499594.3249 | 1119203.8641 | 2499577.5569 | 1119211.4584 | 2499563.7168 | 1119218.8433
15 | 2499594.3249 | 1119203.8641 | 2499604.0977 | 1119199.8105 | 2499606.8896 | 1119205.2676 | 2499609.1852 | 1119210.1214
16 | 2499501.534 | 1119255.3819 | 2499505.2834 | 1119260.8675 | 2499532.5514 | 1119244.2374 | 2499535.2776 | 1119242.491 | 2499590.5796 | 1119212.0981 | 2499596.6819 | 1119209.1616 | 2499594.3249 | 1119203.8641
17 | 2499627.8747 | 1119251.5516 | 2499630.0502 | 1119256.3707 | 2499630.1355 | 1119257.7924 | 2499630.3469 | 1119261.2244 | 2499633.9049 | 1119268.6962
18 | 2499635.4042 | 1119289.7139 | 2499637.5087 | 1119282.5967 | 2499636.6082 | 1119274.3732 | 2499633.9049 | 1119268.6962
19 | 2499626.9814 | 1119249.5729 | 2499627.8747 | 1119251.5516
20 | 2499635.4042 | 1119289.7139 | 2499619.2595 | 1119295.3297 | 2499611.2366 | 1119296.9306 | 2499592.8889 | 1119309.7654 | 2499587.0731 | 1119315.0764 | 2499589.0807 | 1119318.3895 | 2499584.0675 | 1119332.5261
21 | 2499635.4042 | 1119289.7139 | 2499682.0252 | 1119275.6761 | 2499695.2588 | 1119275.0785 | 2499696.1004 | 1119270.4505 | 2499739.0262 | 1119278.366 | 2499739.8329 | 1119292.1056 | 2499741.1517 | 1119294.3741 | 2499743.0204 | 1119292.5753
22 | 2499626.9814 | 1119249.5729 | 2499620.1512 | 1119234.4313
23 | 2499584.0675 | 1119332.5261 | 2499585.4636 | 1119336.5158
24 | 2499584.0675 | 1119332.5261 | 2499577.8952 | 1119324.2678 | 2499567.3848 | 1119315.3914
25 | 2499707.7943 | 1119405.4411 | 2499714.4731 | 1119405.6304 | 2499720.6959 | 1119404.382 | 2499724.2344 | 1119402.2887 | 2499732.0099 | 1119394.6217 | 2499739.759 | 1119373.7246 | 2499751.1577 | 1119336.4901 | 2499741.5044 | 1119322.1523 | 2499736.5753 | 1119310.6713 | 2499737.0486 | 1119301.9802 | 2499741.1517 | 1119294.3741 | 2499743.0204 | 1119292.5753
26 | 2499743.0204 | 1119292.5753 | 2499761.5806 | 1119297.3168
27 | 2499620.1512 | 1119234.4313 | 2499614.9389 | 1119222.8766
28 | 2499562.6864 | 1119311.4234 | 2499556.651 | 1119301.643
29 | 2499562.6864 | 1119311.4234 | 2499567.3848 | 1119315.3914
30 | 2499556.651 | 1119301.643 | 2499546.1022 | 1119284.5487
31 | 2499595.6685 | 1119349.0305 | 2499586.9763 | 1119340.8385 | 2499585.4636 | 1119336.5158
32 | 2499711.4517 | 1119420.7455 | 2499711.7523 | 1119421.6522 | 2499716.1949 | 1119424.7472 | 2499724.301 | 1119424.9129 | 2499729.627 | 1119425.436 | 2499731.1741 | 1119467.0586
33 | 2499707.7943 | 1119405.4411 | 2499710.3471 | 1119417.4285 | 2499711.4517 | 1119420.7455
34 | 2499711.4517 | 1119420.7455 | 2499708.2274 | 1119421.3105 | 2499700.1109 | 1119421.9121 | 2499699.2036 | 1119422.0474
35 | 2499715.0089 | 1119458.8549 | 2499724.4848 | 1119462.5111 | 2499729.2983 | 1119465.6333 | 2499731.1741 | 1119467.0586
36 | 2499731.1741 | 1119467.0586 | 2499735.8765 | 1119475.1191 | 2499735.2687 | 1119476.1631 | 2499734.7493 | 1119476.95
37 | 2499707.7943 | 1119405.4411 | 2499705.4148 | 1119394.2706
38 | 2499690.4771 | 1119426.4191 | 2499695.4149 | 1119422.6126 | 2499699.2036 | 1119422.0474
39 | 2499609.1852 | 1119210.1214 | 2499614.9389 | 1119222.8766
40 | 2499501.534 | 1119255.3819 | 2499505.1304 | 1119253.9879 | 2499519.056 | 1119244.8731
41 | 2499563.7168 | 1119218.8433 | 2499558.0725 | 1119221.8551 | 2499545.6644 | 1119228.9407
42 | 2499395.3444 | 1119111.5348 | 2499397.3897 | 1119110.1444 | 2499438.1557 | 1119082.3157 | 2499453.3116 | 1119071.9795 | 2499455.6246 | 1119070.9071
43 | 2499455.6246 | 1119070.9071 | 2499468.1543 | 1119082.7173 | 2499472.6215 | 1119085.4114 | 2499482.078 | 1119089.7125
44 | 2499395.3444 | 1119111.5348 | 2499412.1444 | 1119137.3939 | 2499417.0335 | 1119141.7931 | 2499420.4046 | 1119146.7957 | 2499431.9616 | 1119163.8946
45 | 2499716.1544 | 1119478.1257 | 2499722.2351 | 1119476.6906 | 2499729.1744 | 1119476.7756 | 2499733.1067 | 1119477.0217 | 2499734.7493 | 1119476.95
46 | 2499727.0146 | 1119490.331 | 2499732.4679 | 1119481.7797 | 2499733.9587 | 1119478.1416 | 2499734.7493 | 1119476.95
47 | 2499734.7493 | 1119476.95 | 2499735.2687 | 1119476.1631 | 2499735.8765 | 1119475.1191 | 2499762.2663 | 1119500.9534
48 | 2499640.3178 | 1119448.0648 | 2499645.9324 | 1119453.4194 | 2499654.6486 | 1119446.1703
49 | 2499640.3178 | 1119448.0648 | 2499628.0011 | 1119435.414
50 | 2499654.6486 | 1119446.1703 | 2499667.5789 | 1119435.0831
51 | 2499628.0011 | 1119435.414 | 2499615.0765 | 1119422.139
52 | 2499431.9616 | 1119163.8946 | 2499433.9589 | 1119166.8496 | 2499434.7695 | 1119168.0727
53 | 2499744.9558 | 1119506.0435 | 2499753.7804 | 1119503.0064 | 2499762.2663 | 1119500.9534
54 | 2499677.1793 | 1119426.8511 | 2499667.5789 | 1119435.0831
55 | 2499554.3006 | 1119273.2505 | 2499545.509 | 1119279.9668 | 2499546.1022 | 1119284.5487 | 2499546.1022 | 1119284.5487
56 | 2499605.0218 | 1119365.1097 | 2499604.319 | 1119357.1831 | 2499595.6685 | 1119349.0305
57 | 2499690.4771 | 1119426.4191 | 2499677.1793 | 1119426.8511
58 | 2499690.4771 | 1119426.4191 | 2499694.6029 | 1119436.4681 | 2499694.5974 | 1119438.4419
59 | 2499599.4217 | 1119406.0596 | 2499615.0765 | 1119422.139
60 | 2499434.7695 | 1119168.0727 | 2499440.1422 | 1119176.1796
61 | 2499555.1495 | 1119272.6021 | 2499554.3006 | 1119273.2505
62 | 2499443.3236 | 1119180.9801 | 2499440.1422 | 1119176.1796
63 | 2499443.3236 | 1119180.9801 | 2499445.5237 | 1119184.2997

## bus_geodata
| x | y | coords
0 | 2499466.0838 | 1119215.323
1 | 2499461.6007 | 1119208.5584
2 | 2499466.8965 | 1119216.5587
3 | 2499456.2701 | 1119200.515
4 | 2499470.3288 | 1119221.7832
5 | 2499454.6887 | 1119198.1289
6 | 2499480.0462 | 1119236.5743
7 | 2499450.8826 | 1119192.3859
8 | 2499490.4561 | 1119252.4197
9 | 2499550.1189 | 1119097.4124
10 | 2499561.7329 | 1119122.9076
11 | 2499573.551 | 1119148.8508
12 | 2499579.8238 | 1119166.7372
13 | 2499594.3249 | 1119203.8641
14 | 2499633.9049 | 1119268.6962
15 | 2499627.8747 | 1119251.5516
16 | 2499635.4042 | 1119289.7139
17 | 2499626.9814 | 1119249.5729
18 | 2499584.0675 | 1119332.5261
19 | 2499743.0204 | 1119292.5753
20 | 2499620.1512 | 1119234.4313
21 | 2499562.6864 | 1119311.4234
22 | 2499556.651 | 1119301.643
23 | 2499567.3848 | 1119315.3914
24 | 2499585.4636 | 1119336.5158
25 | 2499711.4517 | 1119420.7455
26 | 2499731.1741 | 1119467.0586
27 | 2499707.7943 | 1119405.4411
28 | 2499699.2036 | 1119422.0474
29 | 2499609.1852 | 1119210.1214
30 | 2499614.9389 | 1119222.8766
31 | 2499501.534 | 1119255.3819
32 | 2499519.056 | 1119244.8731
33 | 2499563.7168 | 1119218.8433
34 | 2499455.6246 | 1119070.9071
35 | 2499395.3444 | 1119111.5348
36 | 2499482.078 | 1119089.7125
37 | 2499761.5806 | 1119297.3168
38 | 2499715.0089 | 1119458.8549
39 | 2499734.7493 | 1119476.95
40 | 2499705.4148 | 1119394.2706
41 | 2499640.3178 | 1119448.0648
42 | 2499654.6486 | 1119446.1703
43 | 2499628.0011 | 1119435.414
44 | 2499431.9616 | 1119163.8946
45 | 2499762.2663 | 1119500.9534
46 | 2499744.9558 | 1119506.0435
47 | 2499667.5789 | 1119435.0831
48 | 2499546.1022 | 1119284.5487
49 | 2499595.6685 | 1119349.0305
50 | 2499690.4771 | 1119426.4191
51 | 2499545.6644 | 1119228.9407
52 | 2499716.1544 | 1119478.1257
53 | 2499727.0146 | 1119490.331
54 | 2499615.0765 | 1119422.139
55 | 2499434.7695 | 1119168.0727
56 | 2499677.1793 | 1119426.8511
57 | 2499694.5974 | 1119438.4419
58 | 2499554.3006 | 1119273.2505
59 | 2499555.1495 | 1119272.6021
60 | 2499440.1422 | 1119176.1796
61 | 2499443.3236 | 1119180.9801
62 | 2499445.5237 | 1119184.2997
63 | 2499605.0218 | 1119365.1097
64 | 2499599.4217 | 1119406.0596
65 | 2499562.6864 | 1119311.4234

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1