## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-245_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-245_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-245_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-245_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-245_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6621-245_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6621-245_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6621-245_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_6621-245_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_6621-245_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6621-245_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6621-245_0_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_6621-245_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6621-245_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_6621-245_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6621-245_0_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_6621-245_0_4_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6621-245_0_4_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6621-245_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6621-245_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_6621-245_0_4_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_6621-245_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6621-245_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6621-245_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_6621-245_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6621-245_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6621-245_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6621-245_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_6621-245_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6621-245_0_4_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_6621-245_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6621-245_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6621-245_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6621-245_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_6621-245_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6621-245_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6621-245_0_4_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_6621-245_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6621-245_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_6621-245_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6621-245_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6621-245_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_6621-245_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6621-245_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6621-245_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6621-245_0_4_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_6621-245_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_6621-245_0_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_6621-245_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_6621-245_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6621-245_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6621-245_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6621-245_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_6621-245_0_4_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_6621-245_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_6621-245_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6621-245_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_6621-245_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6621-245_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_6621-245_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_6621-245_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6621-245_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_6621-245_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_6621-245_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6621-245_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_6621-245_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_6621-245_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_6621-245_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6621-245_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6621-245_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_6621-245_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_MV_650_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-245_0_4_load_0 | 0 | 0.014692 | 0.0036821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-245_0_4_load_1 | 1 | 0.014562 | 0.0036497 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-245_0_4_load_3 | 3 | 0.014372 | 0.0036019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-245_0_4_load_5 | 4 | 0.019121 | 0.0047921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-245_0_4_load_66 | 8 | 0.013351 | 0.003346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-245_0_4_load_47 | 9 | 0.015434 | 0.0038682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-245_0_4_load_65 | 11 | 0.014057 | 0.0035229 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-245_0_4_load_64 | 13 | 0.018009 | 0.0045135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-245_0_4_load_72 | 16 | 0.018235 | 0.0045701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-245_0_4_load_60 | 17 | 0.013234 | 0.0033166 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-245_0_4_load_48 | 20 | 0.018754 | 0.0047003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-245_0_4_load_61 | 23 | 0.0087761 | 0.0021995 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-245_0_4_load_38 | 26 | 0.019622 | 0.0049178 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-245_0_4_load_40 | 27 | 0.019525 | 0.0048935 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-245_0_4_load_68 | 29 | 0.0094423 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-245_0_4_load_70 | 33 | 0.0083035 | 0.0020811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-245_0_4_load_35 | 35 | 0.042523 | 0.010657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-245_0_4_load_74 | 36 | 0.0097751 | 0.0024499 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-245_0_4_load_36 | 37 | 0.0074101 | 0.0018571 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-245_0_4_load_49 | 38 | 0.01895 | 0.0047494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-245_0_4_load_53 | 41 | 0.00078181 | 0.00019594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-245_0_4_load_54 | 44 | 0.00097249 | 0.00024373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-245_0_4_load_75 | 45 | 0.0013232 | 0.00033162 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-245_0_4_load_76 | 47 | 0.0018629 | 0.00046688 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-245_0_4_load_52 | 49 | 0.0046138 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-245_0_4_load_58 | 51 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-245_0_4_load_55 | 52 | 0.00031361 | 7.8597e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-245_0_4_load_69 | 53 | 0.012975 | 0.0032518 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-245_0_4_load_67 | 54 | 0.0036994 | 0.00092715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-245_0_4_load_44 | 55 | 0.018259 | 0.004576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-245_0_4_load_62 | 56 | 0.0036778 | 0.00092175 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-245_0_4_load_39 | 57 | 0.017153 | 0.004299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-245_0_4_load_73 | 59 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-245_0_4_load_50 | 60 | 0.0047301 | 0.0011855 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-245_0_4_load_78 | 62 | 0.0010206 | 0.00025579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-245_0_4_load_41 | 65 | 0.012166 | 0.0030491 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-245_0_4_load_42 | 66 | 0.015287 | 0.0038313 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-245_0_4_load_45 | 67 | 0.023995 | 0.0060137 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-245_0_4_load_59 | 68 | 0.015564 | 0.0039008 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-245_0_4_load_46 | 69 | 0.005286 | 0.0013248 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-245_0_4_load_51 | 70 | 0.0038681 | 0.00096943 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-245_0_4_line_0 |  | 0 | 1 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6621-245_0_4_line_1 |  | 0 | 2 | 0.019885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6621-245_0_4_line_2 |  | 1 | 3 | 0.018447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6621-245_0_4_line_3 |  | 2 | 4 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6621-245_0_4_line_4 |  | 3 | 5 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6621-245_0_4_line_5 |  | 4 | 9 | 0.021815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6621-245_0_4_line_6 |  | 5 | 38 | 0.021436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-245_0_4_line_7 |  | 5 | 28 | 0.024376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-245_0_4_line_8 |  | 5 | 34 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-245_0_4_line_9 |  | 6 | 7 | 0.016528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-245_0_4_line_10 |  | 6 | 8 | 0.0072045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-245_0_4_line_11 |  | 7 | 11 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-245_0_4_line_12 |  | 7 | 14 | 0.006974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-245_0_4_line_13 |  | 8 | 54 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-245_0_4_line_14 |  | 9 | 20 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6621-245_0_4_line_15 |  | 10 | 11 | 0.025916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-245_0_4_line_16 |  | 10 | 12 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-245_0_4_line_17 |  | 10 | 13 | 0.0066389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-245_0_4_line_18 |  | 12 | 17 | 0.0088554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-245_0_4_line_19 |  | 14 | 15 | 0.07529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-245_0_4_line_20 |  | 14 | 16 | 0.0093491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-245_0_4_line_21 |  | 15 | 49 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-245_0_4_line_22 |  | 18 | 19 | 0.005713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-245_0_4_line_23 |  | 18 | 20 | 0.018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-245_0_4_line_24 |  | 19 | 55 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-245_0_4_line_25 |  | 19 | 21 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-245_0_4_line_26 |  | 21 | 22 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-245_0_4_line_27 |  | 21 | 23 | 0.012655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-245_0_4_line_28 |  | 22 | 27 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-245_0_4_line_29 |  | 23 | 56 | 0.028042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-245_0_4_line_30 |  | 24 | 25 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-245_0_4_line_31 |  | 24 | 26 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-245_0_4_line_32 |  | 25 | 37 | 0.036988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-245_0_4_line_33 |  | 26 | 57 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-245_0_4_line_34 |  | 27 | 57 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-245_0_4_line_35 |  | 28 | 29 | 0.0097707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-245_0_4_line_36 |  | 29 | 54 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-245_0_4_line_37 |  | 30 | 31 | 0.024156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-245_0_4_line_38 |  | 30 | 32 | 0.03475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-245_0_4_line_39 |  | 30 | 33 | 0.0047357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-245_0_4_line_40 |  | 31 | 36 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-245_0_4_line_41 |  | 31 | 34 | 0.006583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-245_0_4_line_42 |  | 32 | 53 | 0.0054955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-245_0_4_line_43 |  | 34 | 35 | 0.040882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-245_0_4_line_44 |  | 36 | 58 | 0.004723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-245_0_4_line_45 |  | 38 | 60 | 0.00016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-245_0_4_line_46 |  | 39 | 40 | 0.053524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-245_0_4_line_47 |  | 39 | 41 | 0.0063498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-245_0_4_line_48 |  | 40 | 46 | 0.024498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-245_0_4_line_49 |  | 40 | 47 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-245_0_4_line_50 |  | 41 | 44 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-245_0_4_line_51 |  | 42 | 43 | 0.080211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-245_0_4_line_52 |  | 42 | 44 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-245_0_4_line_53 |  | 43 | 45 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-245_0_4_line_54 |  | 46 | 48 | 0.068949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-245_0_4_line_55 |  | 47 | 63 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-245_0_4_line_56 |  | 48 | 49 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-245_0_4_line_57 |  | 50 | 51 | 0.006313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6621-245_0_4_line_58 |  | 50 | 52 | 0.0074515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-245_0_4_line_59 |  | 52 | 64 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-245_0_4_line_60 |  | 55 | 66 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-245_0_4_line_61 |  | 56 | 69 | 0.027449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-245_0_4_line_62 |  | 58 | 59 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-245_0_4_line_63 |  | 60 | 70 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6621-245_0_4_line_64 |  | 61 | 62 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6621-245_0_4_line_65 |  | 61 | 63 | 0.009897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6621-245_0_4_line_66 |  | 63 | 64 | 0.042832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6621-245_0_4_line_67 |  | 65 | 66 | 0.021312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6621-245_0_4_line_68 |  | 67 | 68 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6621-245_0_4_line_69 |  | 68 | 70 | 9.1903e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-245_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 71 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2501652.5057 | 1117887.5869 | 2501638.4047 | 1117875.2029
1 | 2501667.2005 | 1117900.9781 | 2501660.348 | 1117894.4743 | 2501652.5057 | 1117887.5869
2 | 2501638.4047 | 1117875.2029 | 2501624.5445 | 1117863.0303
3 | 2501667.2005 | 1117900.9781 | 2501671.96 | 1117899.3442 | 2501681.0604 | 1117890.4877
4 | 2501609.2094 | 1117850.0115 | 2501611.0588 | 1117851.2378 | 2501620.761 | 1117859.7075 | 2501624.5445 | 1117863.0303
5 | 2501696.6939 | 1117875.2733 | 2501681.0604 | 1117890.4877
6 | 2501609.2094 | 1117850.0115 | 2501609.8272 | 1117841.0181 | 2501618.3323 | 1117831.9656
7 | 2501609.2094 | 1117850.0115 | 2501608.9133 | 1117855.0639 | 2501597.9166 | 1117866.183 | 2501596.5211 | 1117869.6079
8 | 2501590.4599 | 1117830.6267 | 2501595.4726 | 1117834.5921 | 2501603.9873 | 1117842.1916 | 2501604.7373 | 1117848.9058 | 2501609.2094 | 1117850.0115
9 | 2501633.9798 | 1117928.7021 | 2501639.2539 | 1117923.5909 | 2501645.8503 | 1117917.2019
10 | 2501645.8503 | 1117917.2019 | 2501640.4937 | 1117912.384
11 | 2501633.9798 | 1117928.7021 | 2501621.4344 | 1117916.5952
12 | 2501633.9798 | 1117928.7021 | 2501636.5521 | 1117931.184 | 2501636.5071 | 1117934.5868
13 | 2501640.4937 | 1117912.384 | 2501620.9409 | 1117894.7976
14 | 2501696.6939 | 1117875.2733 | 2501712.2883 | 1117860.0968
15 | 2501602.8083 | 1117903.5044 | 2501605.3155 | 1117901.0399 | 2501621.4344 | 1117916.5952
16 | 2501594.7613 | 1117895.2302 | 2501599.8171 | 1117900.429 | 2501602.8083 | 1117903.5044
17 | 2501602.8083 | 1117903.5044 | 2501598.0644 | 1117908.1488
18 | 2501594.7613 | 1117895.2302 | 2501588.362 | 1117901.3513
19 | 2501636.5071 | 1117934.5868 | 2501639.5232 | 1117937.7731 | 2501643.3717 | 1117941.8353 | 2501652.0211 | 1117933.5228 | 2501657.3212 | 1117939.029 | 2501663.0866 | 1117944.194 | 2501679.6167 | 1117945.3372 | 2501686.0636 | 1117944.9433 | 2501688.9735 | 1117944.4512 | 2501692.9536 | 1117942.363 | 2501699.4002 | 1117938.6226
20 | 2501636.5071 | 1117934.5868 | 2501629.6303 | 1117940.9204
21 | 2501699.4002 | 1117938.6226 | 2501705.6776 | 1117932.5502 | 2501708.7349 | 1117929.4278
22 | 2501724.0265 | 1117845.6537 | 2501726.1791 | 1117840.3599
23 | 2501724.0265 | 1117845.6537 | 2501722.0002 | 1117850.6453 | 2501712.2883 | 1117860.0968
24 | 2501726.1791 | 1117840.3599 | 2501721.8327 | 1117836.5392 | 2501713.4998 | 1117829.1968
25 | 2501739.319 | 1117827.1494 | 2501726.1791 | 1117840.3599
26 | 2501739.319 | 1117827.1494 | 2501742.9173 | 1117824.367 | 2501745.719 | 1117821.4863 | 2501749.9861 | 1117817.1032 | 2501752.6284 | 1117814.3919
27 | 2501739.319 | 1117827.1494 | 2501739.5522 | 1117822.4982 | 2501733.6819 | 1117817.0665
28 | 2501752.6284 | 1117814.3919 | 2501739.3255 | 1117802.0778
29 | 2501733.6819 | 1117817.0665 | 2501713.0988 | 1117798.0215
30 | 2501677.0129 | 1117744.3992 | 2501690.0701 | 1117756.4834
31 | 2501690.0701 | 1117756.4834 | 2501707.843 | 1117772.9352
32 | 2501677.0129 | 1117744.3992 | 2501670.1799 | 1117738.6289 | 2501668.844 | 1117740.0292 | 2501661.2109 | 1117748.6698 | 2501651.7652 | 1117759.776
33 | 2501707.843 | 1117772.9352 | 2501723.5663 | 1117787.4899
34 | 2501723.5663 | 1117787.4899 | 2501739.3255 | 1117802.0778
35 | 2501596.5211 | 1117869.6079 | 2501597.6241 | 1117873.8259 | 2501601.6471 | 1117877.4443
36 | 2501601.6471 | 1117877.4443 | 2501620.9409 | 1117894.7976
37 | 2501568.0593 | 1117845.4003 | 2501570.7007 | 1117847.3808 | 2501583.8849 | 1117831.2229
38 | 2501568.0593 | 1117845.4003 | 2501563.2591 | 1117852.1159 | 2501559.3498 | 1117857.6051 | 2501561.7805 | 1117859.4445 | 2501562.9687 | 1117862.7272 | 2501562.4 | 1117865.7272 | 2501566.129 | 1117869.0797 | 2501569.9598 | 1117872.5196
39 | 2501568.0593 | 1117845.4003 | 2501564.2694 | 1117842.5606
40 | 2501583.8849 | 1117831.2229 | 2501576.3234 | 1117824.3305
41 | 2501590.4599 | 1117830.6267 | 2501583.8849 | 1117831.2229
42 | 2501569.9598 | 1117872.5196 | 2501565.7517 | 1117876.054
43 | 2501590.4599 | 1117830.6267 | 2501596.2949 | 1117830.0981 | 2501620.1299 | 1117804.4364
44 | 2501576.5477 | 1117819.6128 | 2501576.3234 | 1117824.3305
45 | 2501618.3323 | 1117831.9656 | 2501618.4429 | 1117831.8479
46 | 2501795.2687 | 1117954.4643 | 2501787.4157 | 1117949.0885 | 2501788.5987 | 1117946.3565 | 2501791.3272 | 1117929.4684 | 2501801.9679 | 1117918.7557 | 2501808.7749 | 1117924.3709
47 | 2501808.7749 | 1117924.3709 | 2501813.1926 | 1117919.8097
48 | 2501776.5211 | 1117959.3717 | 2501787.4157 | 1117949.0885 | 2501795.2687 | 1117954.4643
49 | 2501795.2687 | 1117954.4643 | 2501792.8807 | 1117958.5723 | 2501791.516 | 1117962.4747 | 2501791.3704 | 1117966.3461 | 2501792.4631 | 1117970.4087 | 2501794.5643 | 1117973.8322 | 2501797.4671 | 1117976.2311
50 | 2501813.1926 | 1117919.8097 | 2501820.4345 | 1117912.3326
51 | 2501819.5384 | 1117900.7704 | 2501824.3905 | 1117895.8108 | 2501844.0535 | 1117875.4791 | 2501851.3614 | 1117881.0418 | 2501860.5525 | 1117885.6289 | 2501874.5627 | 1117895.1186 | 2501881.0766 | 1117900.7498
52 | 2501819.5384 | 1117900.7704 | 2501822.3191 | 1117910.3868 | 2501820.4345 | 1117912.3326
53 | 2501881.0766 | 1117900.7498 | 2501871.8731 | 1117910.1382
54 | 2501735.9223 | 1117929.2568 | 2501733.6632 | 1117936.5425 | 2501732.9155 | 1117939.4564 | 2501732.5196 | 1117941.6976 | 2501732.2734 | 1117943.6472 | 2501733.7947 | 1117946.5354 | 2501736.5287 | 1117949.4706 | 2501738.9814 | 1117951.243 | 2501741.0469 | 1117952.4658 | 2501743.6423 | 1117953.5243 | 2501745.7689 | 1117954.2346 | 2501753.4263 | 1117956.6006 | 2501764.7027 | 1117949.8577 | 2501776.5211 | 1117959.3717
55 | 2501817.3026 | 1117976.5204 | 2501810.5942 | 1117978.8752 | 2501805.9009 | 1117979.3516 | 2501801.1703 | 1117978.0054 | 2501797.4671 | 1117976.2311
56 | 2501735.9223 | 1117929.2568 | 2501731.3746 | 1117925.3949 | 2501726.8229 | 1117922.2336 | 2501724.47 | 1117921.8494 | 2501722.4234 | 1117923.2168 | 2501719.4951 | 1117927.3225 | 2501713.8859 | 1117924.1672 | 2501708.7349 | 1117929.4278
57 | 2501875.5839 | 1117996.565 | 2501881.9151 | 1117996.6512
58 | 2501875.5839 | 1117996.565 | 2501872.9432 | 1117994.1397 | 2501870.1869 | 1117991.4288
59 | 2501857.874 | 1117979.3194 | 2501870.1869 | 1117991.4288
60 | 2501697.6264 | 1117815.2101 | 2501713.4998 | 1117829.1968
61 | 2501692.9511 | 1117779.3791 | 2501713.0988 | 1117798.0215
62 | 2501576.5477 | 1117819.6128 | 2501564.0796 | 1117809.9662
63 | 2501633.1158 | 1117816.2304 | 2501618.4429 | 1117831.8479
64 | 2501824.1009 | 1117954.9856 | 2501819.3515 | 1117960.5661 | 2501816.1013 | 1117966.7227
65 | 2501816.1013 | 1117966.7227 | 2501816.5526 | 1117973.1193 | 2501817.3026 | 1117976.5204
66 | 2501817.3026 | 1117976.5204 | 2501819.803 | 1117979.3371 | 2501822.0818 | 1117981.3347 | 2501825.2454 | 1117980.783 | 2501831.1635 | 1117981.5764 | 2501839.2463 | 1117981.623 | 2501847.9514 | 1117980.5366 | 2501857.874 | 1117979.3194
67 | 2501681.6361 | 1117801.1205 | 2501697.6264 | 1117815.2101
68 | 2501647.9351 | 1117800.4572 | 2501633.1787 | 1117816.1635
69 | 2501633.1158 | 1117816.2304 | 2501633.1787 | 1117816.1635

## bus_geodata
| x | y | coords
0 | 2501652.5057 | 1117887.5869
1 | 2501638.4047 | 1117875.2029
2 | 2501667.2005 | 1117900.9781
3 | 2501624.5445 | 1117863.0303
4 | 2501681.0604 | 1117890.4877
5 | 2501609.2094 | 1117850.0115
6 | 2501645.8503 | 1117917.2019
7 | 2501633.9798 | 1117928.7021
8 | 2501640.4937 | 1117912.384
9 | 2501696.6939 | 1117875.2733
10 | 2501602.8083 | 1117903.5044
11 | 2501621.4344 | 1117916.5952
12 | 2501594.7613 | 1117895.2302
13 | 2501598.0644 | 1117908.1488
14 | 2501636.5071 | 1117934.5868
15 | 2501699.4002 | 1117938.6226
16 | 2501629.6303 | 1117940.9204
17 | 2501588.362 | 1117901.3513
18 | 2501724.0265 | 1117845.6537
19 | 2501726.1791 | 1117840.3599
20 | 2501712.2883 | 1117860.0968
21 | 2501739.319 | 1117827.1494
22 | 2501752.6284 | 1117814.3919
23 | 2501733.6819 | 1117817.0665
24 | 2501690.0701 | 1117756.4834
25 | 2501677.0129 | 1117744.3992
26 | 2501707.843 | 1117772.9352
27 | 2501739.3255 | 1117802.0778
28 | 2501596.5211 | 1117869.6079
29 | 2501601.6471 | 1117877.4443
30 | 2501568.0593 | 1117845.4003
31 | 2501583.8849 | 1117831.2229
32 | 2501569.9598 | 1117872.5196
33 | 2501564.2694 | 1117842.5606
34 | 2501590.4599 | 1117830.6267
35 | 2501620.1299 | 1117804.4364
36 | 2501576.3234 | 1117824.3305
37 | 2501651.7652 | 1117759.776
38 | 2501618.3323 | 1117831.9656
39 | 2501808.7749 | 1117924.3709
40 | 2501795.2687 | 1117954.4643
41 | 2501813.1926 | 1117919.8097
42 | 2501819.5384 | 1117900.7704
43 | 2501881.0766 | 1117900.7498
44 | 2501820.4345 | 1117912.3326
45 | 2501871.8731 | 1117910.1382
46 | 2501776.5211 | 1117959.3717
47 | 2501797.4671 | 1117976.2311
48 | 2501735.9223 | 1117929.2568
49 | 2501708.7349 | 1117929.4278
50 | 2501875.5839 | 1117996.565
51 | 2501881.9151 | 1117996.6512
52 | 2501870.1869 | 1117991.4288
53 | 2501565.7517 | 1117876.054
54 | 2501620.9409 | 1117894.7976
55 | 2501713.4998 | 1117829.1968
56 | 2501713.0988 | 1117798.0215
57 | 2501723.5663 | 1117787.4899
58 | 2501576.5477 | 1117819.6128
59 | 2501564.0796 | 1117809.9662
60 | 2501618.4429 | 1117831.8479
61 | 2501816.1013 | 1117966.7227
62 | 2501824.1009 | 1117954.9856
63 | 2501817.3026 | 1117976.5204
64 | 2501857.874 | 1117979.3194
65 | 2501681.6361 | 1117801.1205
66 | 2501697.6264 | 1117815.2101
67 | 2501647.9351 | 1117800.4572
68 | 2501633.1787 | 1117816.1635
69 | 2501692.9511 | 1117779.3791
70 | 2501633.1158 | 1117816.2304
71 | 2501609.2094 | 1117850.0115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1