## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-280_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-280_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-280_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6621-280_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6621-280_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_6621-280_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6621-280_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_6621-280_0_4_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_6621-280_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6621-280_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_6621-280_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6621-280_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6621-280_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_6621-280_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6621-280_0_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_6621-280_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6621-280_0_4_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_6621-280_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6621-280_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6621-280_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6621-280_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_6621-280_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_6621-280_0_4_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_6621-280_0_4_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_6621-280_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6621-280_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6621-280_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_6621-280_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_6621-280_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6621-280_0_4_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_6621-280_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6621-280_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6621-280_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_6621-280_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6621-280_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_6621-280_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6621-280_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6621-280_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_6621-280_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_6621-280_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6621-280_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6621-280_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6621-280_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6621-280_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6621-280_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6621-280_0_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_6621-280_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_6621-280_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_6621-280_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6621-280_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6621-280_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6621-280_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_6621-280_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6621-280_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_6621-280_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_6621-280_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_6621-280_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_6621-280_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6621-280_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_6621-280_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_6621-280_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_6621-280_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_6621-280_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6621-280_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6621-280_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_6621-280_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6621-280_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6621-280_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6621-280_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_MV_662_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-280_0_4_load_0 | 0 | 0.0013928 | 0.00034908 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-280_0_4_load_3 | 2 | 0.012145 | 0.0030439 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-280_0_4_load_34 | 4 | 0.0071279 | 0.0017864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-280_0_4_load_46 | 7 | 0.010215 | 0.0025602 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-280_0_4_load_73 | 9 | 0.002365 | 0.00059273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-280_0_4_load_33 | 12 | 0.0092547 | 0.0023194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-280_0_4_load_74 | 14 | 0.0030347 | 0.00076057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-280_0_4_load_65 | 16 | 0.0053619 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-280_0_4_load_53 | 21 | 0.016138 | 0.0040445 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-280_0_4_load_64 | 22 | 0.0090333 | 0.0022639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-280_0_4_load_39 | 23 | 0.0031002 | 0.00077697 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-280_0_4_load_37 | 24 | 0.0030169 | 0.0007561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-280_0_4_load_54 | 26 | 0.017061 | 0.0042759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-280_0_4_load_51 | 27 | 0.017468 | 0.0043778 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-280_0_4_load_62 | 29 | 0.015661 | 0.0039251 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-280_0_4_load_75 | 32 | 0.039115 | 0.0098031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-280_0_4_load_63 | 34 | 0.016921 | 0.0042407 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-280_0_4_load_44 | 37 | 0.019442 | 0.0048727 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-280_0_4_load_50 | 38 | 0.0077545 | 0.0019435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-280_0_4_load_49 | 40 | 0.020211 | 0.0050652 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-280_0_4_load_36 | 41 | 0.016232 | 0.0040681 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-280_0_4_load_38 | 47 | 0.012871 | 0.0032257 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-280_0_4_load_68 | 48 | 0.030542 | 0.0076544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-280_0_4_load_47 | 49 | 0.014041 | 0.0035191 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-280_0_4_load_48 | 50 | 0.014794 | 0.0037077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-280_0_4_load_52 | 51 | 0.016268 | 0.0040772 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-280_0_4_load_59 | 52 | 0.011893 | 0.0029806 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-280_0_4_load_61 | 53 | 0.011734 | 0.0029408 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-280_0_4_load_60 | 54 | 0.011646 | 0.0029187 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-280_0_4_load_40 | 55 | 0.0018149 | 0.00045485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-280_0_4_load_35 | 56 | 0.0039475 | 0.00098935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-280_0_4_load_45 | 57 | 0.012205 | 0.003059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-280_0_4_load_71 | 58 | 0.023662 | 0.0059303 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-280_0_4_load_41 | 59 | 0.0014961 | 0.00037496 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-280_0_4_load_72 | 60 | 0.080612 | 0.020203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-280_0_4_load_67 | 61 | 0.0042957 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-280_0_4_load_43 | 62 | 0.0036365 | 0.00091138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-280_0_4_load_66 | 63 | 0.02663 | 0.0066742 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-280_0_4_load_42 | 64 | 0.0065415 | 0.0016395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-280_0_4_load_55 | 65 | 0.013117 | 0.0032873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-280_0_4_load_56 | 66 | 0.011609 | 0.0029096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-280_0_4_load_57 | 67 | 0.012926 | 0.0032396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-280_0_4_load_58 | 68 | 0.011595 | 0.0029059 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-280_0_4_line_0 |  | 0 | 1 | 0.033323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-280_0_4_line_1 |  | 1 | 2 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-280_0_4_line_2 |  | 1 | 3 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-280_0_4_line_3 |  | 2 | 4 | 0.02384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-280_0_4_line_4 |  | 3 | 8 | 0.00551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-280_0_4_line_5 |  | 3 | 9 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-280_0_4_line_6 |  | 4 | 6 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-280_0_4_line_7 |  | 5 | 6 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-280_0_4_line_8 |  | 5 | 7 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-280_0_4_line_9 |  | 6 | 15 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-280_0_4_line_10 |  | 7 | 49 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-280_0_4_line_11 |  | 8 | 11 | 0.0082435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-280_0_4_line_12 |  | 8 | 23 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-280_0_4_line_13 |  | 9 | 13 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-280_0_4_line_14 |  | 10 | 11 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-280_0_4_line_15 |  | 10 | 12 | 0.020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-280_0_4_line_16 |  | 11 | 24 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-280_0_4_line_17 |  | 13 | 14 | 0.02795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-280_0_4_line_18 |  | 15 | 16 | 0.0058406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-280_0_4_line_19 |  | 17 | 18 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-280_0_4_line_20 |  | 17 | 19 | 0.0094164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6621-280_0_4_line_21 |  | 18 | 32 | 0.04295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6621-280_0_4_line_22 |  | 18 | 35 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-280_0_4_line_23 |  | 19 | 20 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-280_0_4_line_24 |  | 19 | 21 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-280_0_4_line_25 |  | 19 | 22 | 0.028645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-280_0_4_line_26 |  | 20 | 41 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-280_0_4_line_27 |  | 20 | 28 | 0.002911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-280_0_4_line_28 |  | 21 | 51 | 0.019233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-280_0_4_line_29 |  | 22 | 52 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-280_0_4_line_30 |  | 23 | 55 | 0.017315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-280_0_4_line_31 |  | 24 | 44 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-280_0_4_line_32 |  | 25 | 26 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-280_0_4_line_33 |  | 25 | 27 | 0.011948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-280_0_4_line_34 |  | 26 | 33 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-280_0_4_line_35 |  | 27 | 51 | 0.018648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-280_0_4_line_36 |  | 28 | 29 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-280_0_4_line_37 |  | 30 | 31 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6621-280_0_4_line_38 |  | 30 | 32 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6621-280_0_4_line_39 |  | 31 | 48 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6621-280_0_4_line_40 |  | 33 | 34 | 0.0087734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-280_0_4_line_41 |  | 35 | 36 | 0.02343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-280_0_4_line_42 |  | 35 | 37 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-280_0_4_line_43 |  | 36 | 38 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-280_0_4_line_44 |  | 37 | 57 | 0.016865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-280_0_4_line_45 |  | 38 | 39 | 0.0099364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-280_0_4_line_46 |  | 39 | 40 | 0.019392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-280_0_4_line_47 |  | 41 | 56 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-280_0_4_line_48 |  | 42 | 43 | 0.024461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-280_0_4_line_49 |  | 42 | 44 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-280_0_4_line_50 |  | 43 | 45 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-280_0_4_line_51 |  | 43 | 46 | 0.001478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-280_0_4_line_52 |  | 44 | 47 | 0.020742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-280_0_4_line_53 |  | 45 | 60 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6621-280_0_4_line_54 |  | 45 | 61 | 0.0064722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6621-280_0_4_line_55 |  | 46 | 58 | 0.028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-280_0_4_line_56 |  | 47 | 62 | 0.0027523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-280_0_4_line_57 |  | 48 | 63 | 0.009008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6621-280_0_4_line_58 |  | 49 | 50 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-280_0_4_line_59 |  | 52 | 67 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-280_0_4_line_60 |  | 53 | 54 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-280_0_4_line_61 |  | 54 | 68 | 0.011495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-280_0_4_line_62 |  | 55 | 59 | 0.0064179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-280_0_4_line_63 |  | 61 | 63 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6621-280_0_4_line_64 |  | 62 | 64 | 0.0088018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6621-280_0_4_line_65 |  | 65 | 66 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6621-280_0_4_line_66 |  | 65 | 67 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6621-280_0_4_line_67 |  | 66 | 68 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-280_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 69 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2499236.6854 | 1118548.3448 | 2499233.6306 | 1118548.4513 | 2499231.1251 | 1118547.2479 | 2499219.5735 | 1118536.3223 | 2499211.0951 | 1118528.4252
1 | 2499236.6854 | 1118548.3448 | 2499239.9142 | 1118546.6344 | 2499249.7751 | 1118535.9367
2 | 2499236.6854 | 1118548.3448 | 2499237.6107 | 1118551.0645 | 2499240.6363 | 1118553.838 | 2499244.0068 | 1118556.9283
3 | 2499265.9332 | 1118518.4074 | 2499249.7751 | 1118535.9367
4 | 2499244.0068 | 1118556.9283 | 2499242.9533 | 1118558.091 | 2499245.7476 | 1118560.8795
5 | 2499244.0068 | 1118556.9283 | 2499257.7167 | 1118542.408
6 | 2499278.9972 | 1118504.2347 | 2499265.9332 | 1118518.4074
7 | 2499278.9972 | 1118504.2347 | 2499280.6403 | 1118502.3173 | 2499284.6041 | 1118505.809 | 2499288.4738 | 1118509.2134
8 | 2499288.4738 | 1118509.2134 | 2499289.4823 | 1118508.1293 | 2499299.9695 | 1118516.931
9 | 2499258.7998 | 1118487.2382 | 2499278.9972 | 1118504.2347
10 | 2499299.9695 | 1118516.931 | 2499315.3915 | 1118529.8747
11 | 2499240.2227 | 1118566.9976 | 2499243.1784 | 1118563.7241 | 2499245.7476 | 1118560.8795
12 | 2499245.7476 | 1118560.8795 | 2499254.523 | 1118569.1101
13 | 2499264.7511 | 1118534.9579 | 2499257.7167 | 1118542.408
14 | 2499230.8556 | 1118558.8596 | 2499233.8152 | 1118561.3786 | 2499238.4113 | 1118565.2934 | 2499240.2227 | 1118566.9976
15 | 2499230.8556 | 1118558.8596 | 2499216.9995 | 1118573.6558
16 | 2499240.2227 | 1118566.9976 | 2499251.5812 | 1118577.735
17 | 2499264.7511 | 1118534.9579 | 2499282.135 | 1118549.4108 | 2499286.1998 | 1118552.9454
18 | 2499258.7998 | 1118487.2382 | 2499256.8232 | 1118489.517 | 2499258.9545 | 1118491.3698
19 | 2499366.4214 | 1118591.0897 | 2499374.0696 | 1118585.4701 | 2499376.2247 | 1118580.9314
20 | 2499376.2247 | 1118580.9314 | 2499381.5464 | 1118577.4407 | 2499384.0965 | 1118575.7639
21 | 2499366.4214 | 1118591.0897 | 2499360.3127 | 1118595.5275 | 2499330.7402 | 1118614.9843
22 | 2499366.4214 | 1118591.0897 | 2499367.7183 | 1118592.9582 | 2499369.6875 | 1118595.7939 | 2499371.942 | 1118599.0807 | 2499374.7736 | 1118603.1917
23 | 2499384.0965 | 1118575.7639 | 2499390.502 | 1118571.5325 | 2499396.8081 | 1118567.3583
24 | 2499384.0965 | 1118575.7639 | 2499384.9336 | 1118558.7688
25 | 2499384.0965 | 1118575.7639 | 2499362.2428 | 1118557.2448
26 | 2499396.8081 | 1118567.3583 | 2499397.3429 | 1118555.8787
27 | 2499396.8081 | 1118567.3583 | 2499399.2505 | 1118568.952
28 | 2499385.8798 | 1118539.5594 | 2499384.9336 | 1118558.7688
29 | 2499352.7753 | 1118549.2219 | 2499362.2428 | 1118557.2448
30 | 2499267.1526 | 1118580.9556 | 2499254.523 | 1118569.1101
31 | 2499261.1533 | 1118586.7836 | 2499251.5812 | 1118577.735
32 | 2499387.385 | 1118509.0007 | 2499384.0792 | 1118508.8667 | 2499379.6513 | 1118500.5755
33 | 2499387.385 | 1118509.0007 | 2499386.7972 | 1118520.934
34 | 2499376.051 | 1118486.564 | 2499377.3547 | 1118487.9098 | 2499375.6103 | 1118493.0087 | 2499379.6513 | 1118500.5755
35 | 2499386.7972 | 1118520.934 | 2499385.8798 | 1118539.5594
36 | 2499399.2505 | 1118568.952 | 2499400.2305 | 1118568.9357 | 2499421.6962 | 1118555.2279
37 | 2499314.8545 | 1118625.436 | 2499301.8906 | 1118633.9683
38 | 2499314.8545 | 1118625.436 | 2499330.7402 | 1118614.9843
39 | 2499296.3333 | 1118623.7766 | 2499300.8775 | 1118632.462 | 2499301.8906 | 1118633.9683
40 | 2499376.051 | 1118486.564 | 2499369.3928 | 1118480.8509
41 | 2499374.7736 | 1118603.1917 | 2499371.6327 | 1118606.9352 | 2499376.9377 | 1118614.0292 | 2499379.6593 | 1118618.0197 | 2499376.0627 | 1118621.2816
42 | 2499374.7736 | 1118603.1917 | 2499380.544 | 1118611.4109
43 | 2499376.0627 | 1118621.2816 | 2499373.4242 | 1118623.6715 | 2499377.1726 | 1118629.6145
44 | 2499390.2343 | 1118625.2135 | 2499380.544 | 1118611.4109
45 | 2499382.6989 | 1118637.8705 | 2499380.8964 | 1118635.31 | 2499378.046 | 1118630.9992 | 2499377.1726 | 1118629.6145
46 | 2499382.6989 | 1118637.8705 | 2499366.5008 | 1118648.5316
47 | 2499397.8778 | 1118544.4622 | 2499397.5986 | 1118550.3901 | 2499397.3429 | 1118555.8787
48 | 2499270.4503 | 1118595.8123 | 2499273.2573 | 1118592.4189 | 2499279.4382 | 1118598.342 | 2499284.8814 | 1118604.9221 | 2499287.6908 | 1118605.8426
49 | 2499261.1533 | 1118586.7836 | 2499270.4503 | 1118595.8123
50 | 2499287.6908 | 1118605.8426 | 2499292.976 | 1118605.7212 | 2499303.251 | 1118598.8681
51 | 2499287.4062 | 1118607.2927 | 2499287.6908 | 1118605.8426
52 | 2499261.1533 | 1118586.7836 | 2499247.1982 | 1118602.129
53 | 2499320.5387 | 1118588.0958 | 2499303.251 | 1118598.8681
54 | 2499303.251 | 1118598.8681 | 2499304.303 | 1118600.396 | 2499306.3738 | 1118604.5227
55 | 2499287.4062 | 1118607.2927 | 2499286.0662 | 1118610.7172 | 2499284.0292 | 1118613.0748 | 2499279.4437 | 1118616.2753 | 2499266.088 | 1118624.7463
56 | 2499247.1982 | 1118602.129 | 2499245.3464 | 1118604.1653
57 | 2499296.3333 | 1118623.7766 | 2499297.1919 | 1118622.9618 | 2499302.8909 | 1118617.6007
58 | 2499325.4087 | 1118538.282 | 2499315.3915 | 1118529.8747
59 | 2499352.7753 | 1118549.2219 | 2499342.715 | 1118540.6967
60 | 2499305.9556 | 1118509.5463 | 2499296.6076 | 1118501.6247
61 | 2499314.7254 | 1118516.978 | 2499305.9556 | 1118509.5463
62 | 2499267.1526 | 1118580.9556 | 2499271.8338 | 1118585.3461
63 | 2499302.8909 | 1118617.6007 | 2499308.3935 | 1118612.4243 | 2499309.7081 | 1118611.1794 | 2499308.5024 | 1118608.7646 | 2499306.3738 | 1118604.5227
64 | 2499245.3464 | 1118604.1653 | 2499239.4246 | 1118610.677
65 | 2499332.8414 | 1118532.3297 | 2499323.5289 | 1118524.4382
66 | 2499332.8414 | 1118532.3297 | 2499342.715 | 1118540.6967
67 | 2499314.7254 | 1118516.978 | 2499323.5289 | 1118524.4382

## bus_geodata
| x | y | coords
0 | 2499211.0951 | 1118528.4252
1 | 2499236.6854 | 1118548.3448
2 | 2499249.7751 | 1118535.9367
3 | 2499244.0068 | 1118556.9283
4 | 2499265.9332 | 1118518.4074
5 | 2499288.4738 | 1118509.2134
6 | 2499278.9972 | 1118504.2347
7 | 2499299.9695 | 1118516.931
8 | 2499245.7476 | 1118560.8795
9 | 2499257.7167 | 1118542.408
10 | 2499230.8556 | 1118558.8596
11 | 2499240.2227 | 1118566.9976
12 | 2499216.9995 | 1118573.6558
13 | 2499264.7511 | 1118534.9579
14 | 2499286.1998 | 1118552.9454
15 | 2499258.7998 | 1118487.2382
16 | 2499258.9545 | 1118491.3698
17 | 2499376.2247 | 1118580.9314
18 | 2499366.4214 | 1118591.0897
19 | 2499384.0965 | 1118575.7639
20 | 2499396.8081 | 1118567.3583
21 | 2499384.9336 | 1118558.7688
22 | 2499362.2428 | 1118557.2448
23 | 2499254.523 | 1118569.1101
24 | 2499251.5812 | 1118577.735
25 | 2499387.385 | 1118509.0007
26 | 2499379.6513 | 1118500.5755
27 | 2499386.7972 | 1118520.934
28 | 2499399.2505 | 1118568.952
29 | 2499421.6962 | 1118555.2279
30 | 2499314.8545 | 1118625.436
31 | 2499301.8906 | 1118633.9683
32 | 2499330.7402 | 1118614.9843
33 | 2499376.051 | 1118486.564
34 | 2499369.3928 | 1118480.8509
35 | 2499374.7736 | 1118603.1917
36 | 2499376.0627 | 1118621.2816
37 | 2499380.544 | 1118611.4109
38 | 2499377.1726 | 1118629.6145
39 | 2499382.6989 | 1118637.8705
40 | 2499366.5008 | 1118648.5316
41 | 2499397.3429 | 1118555.8787
42 | 2499270.4503 | 1118595.8123
43 | 2499287.6908 | 1118605.8426
44 | 2499261.1533 | 1118586.7836
45 | 2499303.251 | 1118598.8681
46 | 2499287.4062 | 1118607.2927
47 | 2499247.1982 | 1118602.129
48 | 2499296.3333 | 1118623.7766
49 | 2499315.3915 | 1118529.8747
50 | 2499325.4087 | 1118538.282
51 | 2499385.8798 | 1118539.5594
52 | 2499352.7753 | 1118549.2219
53 | 2499296.6076 | 1118501.6247
54 | 2499305.9556 | 1118509.5463
55 | 2499267.1526 | 1118580.9556
56 | 2499397.8778 | 1118544.4622
57 | 2499390.2343 | 1118625.2135
58 | 2499266.088 | 1118624.7463
59 | 2499271.8338 | 1118585.3461
60 | 2499320.5387 | 1118588.0958
61 | 2499306.3738 | 1118604.5227
62 | 2499245.3464 | 1118604.1653
63 | 2499302.8909 | 1118617.6007
64 | 2499239.4246 | 1118610.677
65 | 2499332.8414 | 1118532.3297
66 | 2499323.5289 | 1118524.4382
67 | 2499342.715 | 1118540.6967
68 | 2499314.7254 | 1118516.978
69 | 2499303.251 | 1118598.8681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1