## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-299_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-299_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-299_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-299_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6621-299_0_5_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_6621-299_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6621-299_0_5_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_6621-299_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6621-299_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_6621-299_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_6621-299_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6621-299_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6621-299_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_6621-299_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6621-299_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6621-299_0_5_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_6621-299_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_6621-299_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_6621-299_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6621-299_0_5_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6621-299_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6621-299_0_5_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_6621-299_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6621-299_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6621-299_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6621-299_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_6621-299_0_5_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_6621-299_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_6621-299_0_5_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6621-299_0_5_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_6621-299_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_6621-299_0_5_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_6621-299_0_5_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_6621-299_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6621-299_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_6621-299_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6621-299_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6621-299_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6621-299_0_5_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_6621-299_0_5_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_6621-299_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_6621-299_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6621-299_0_5_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_6621-299_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6621-299_0_5_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_6621-299_0_5_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_6621-299_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_6621-299_0_5_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_6621-299_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6621-299_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6621-299_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_6621-299_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6621-299_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6621-299_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_6621-299_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6621-299_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6621-299_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_6621-299_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6621-299_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_6621-299_0_5_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_6621-299_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6621-299_0_5_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6621-299_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6621-299_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6621-299_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6621-299_0_5_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_6621-299_0_5_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_6621-299_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_6621-299_0_5_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_6621-299_0_5_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_6621-299_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6621-299_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_6621-299_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_MV_662_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-299_0_5_load_0 | 0 | 0.024311 | 0.0060929 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-299_0_5_load_1 | 1 | 0.023174 | 0.005808 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-299_0_5_load_62 | 4 | 0.0076423 | 0.0019153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-299_0_5_load_61 | 6 | 0.019397 | 0.0048614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-299_0_5_load_56 | 8 | 0.0099263 | 0.0024878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-299_0_5_load_54 | 9 | 0.018428 | 0.0046185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-299_0_5_load_44 | 12 | 0.011513 | 0.0028854 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-299_0_5_load_60 | 15 | 0.012233 | 0.003066 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-299_0_5_load_34 | 17 | 0.004749 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-299_0_5_load_30 | 19 | 0.0098133 | 0.0024595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-299_0_5_load_28 | 20 | 0.01953 | 0.0048947 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-299_0_5_load_73 | 21 | 0.0085343 | 0.0021389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-299_0_5_load_64 | 26 | 0.011548 | 0.0028943 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-299_0_5_load_70 | 28 | 0.017214 | 0.0043143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-299_0_5_load_69 | 31 | 0.018933 | 0.0047451 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-299_0_5_load_66 | 32 | 0.0075906 | 0.0019024 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-299_0_5_load_35 | 33 | 0.016545 | 0.0041465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-299_0_5_load_32 | 35 | 0.0087543 | 0.002194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-299_0_5_load_72 | 38 | 0.004917 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-299_0_5_load_74 | 39 | 0.0055328 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-299_0_5_load_76 | 42 | 0.0068697 | 0.0017217 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-299_0_5_load_75 | 44 | 0.012976 | 0.003252 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-299_0_5_load_65 | 45 | 0.011714 | 0.0029359 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-299_0_5_load_63 | 46 | 0.011976 | 0.0030015 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-299_0_5_load_36 | 48 | 0.00077589 | 0.00019446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-299_0_5_load_29 | 49 | 0.0085569 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-299_0_5_load_46 | 51 | 0.0063421 | 0.0015895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-299_0_5_load_39 | 52 | 0.0088846 | 0.0022267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-299_0_5_load_59 | 53 | 0.012485 | 0.003129 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-299_0_5_load_53 | 54 | 0.017034 | 0.0042691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-299_0_5_load_42 | 55 | 0.0093335 | 0.0023392 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-299_0_5_load_58 | 56 | 0.012312 | 0.0030857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-299_0_5_load_50 | 57 | 0.012259 | 0.0030725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-299_0_5_load_68 | 58 | 0.0098615 | 0.0024715 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-299_0_5_load_67 | 59 | 0.0096724 | 0.0024241 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-299_0_5_load_48 | 60 | 0.016496 | 0.0041344 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-299_0_5_load_55 | 62 | 0.0064246 | 0.0016102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-299_0_5_load_49 | 63 | 0.016818 | 0.0042151 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-299_0_5_load_47 | 64 | 0.016717 | 0.0041897 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-299_0_5_load_38 | 65 | 0.0081968 | 0.0020543 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-299_0_5_load_40 | 66 | 0.00099019 | 0.00024816 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-299_0_5_load_41 | 67 | 0.011814 | 0.0029609 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-299_0_5_load_45 | 69 | 0.006101 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6621-299_0_5_load_51 | 70 | 0.0062698 | 0.0015714 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6621-299_0_5_load_52 | 71 | 0.024128 | 0.0060472 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6621-299_0_5_load_57 | 72 | 0.012247 | 0.0030695 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-299_0_5_line_0 |  | 0 | 1 | 0.026921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-299_0_5_line_1 |  | 0 | 2 | 0.012224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-299_0_5_line_2 |  | 2 | 3 | 0.032825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-299_0_5_line_3 |  | 3 | 4 | 0.029113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-299_0_5_line_4 |  | 4 | 5 | 0.031726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-299_0_5_line_5 |  | 5 | 6 | 0.012556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-299_0_5_line_6 |  | 6 | 53 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-299_0_5_line_7 |  | 7 | 8 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-299_0_5_line_8 |  | 7 | 9 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-299_0_5_line_9 |  | 8 | 10 | 0.0082466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-299_0_5_line_10 |  | 9 | 54 | 0.026791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-299_0_5_line_11 |  | 10 | 11 | 0.0042629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-299_0_5_line_12 |  | 10 | 12 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-299_0_5_line_13 |  | 11 | 16 | 0.032537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-299_0_5_line_14 |  | 11 | 17 | 0.023363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-299_0_5_line_15 |  | 12 | 55 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-299_0_5_line_16 |  | 13 | 14 | 0.035421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6621-299_0_5_line_17 |  | 13 | 15 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-299_0_5_line_18 |  | 14 | 21 | 0.010925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-299_0_5_line_19 |  | 14 | 22 | 0.026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6621-299_0_5_line_20 |  | 15 | 56 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-299_0_5_line_21 |  | 16 | 57 | 0.027274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6621-299_0_5_line_22 |  | 16 | 43 | 0.001563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-299_0_5_line_23 |  | 18 | 19 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-299_0_5_line_24 |  | 18 | 20 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-299_0_5_line_25 |  | 19 | 58 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-299_0_5_line_26 |  | 20 | 49 | 0.02342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-299_0_5_line_27 |  | 22 | 50 | 0.003033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6621-299_0_5_line_28 |  | 22 | 51 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-299_0_5_line_29 |  | 23 | 24 | 0.077145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-299_0_5_line_30 |  | 23 | 25 | 0.076611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-299_0_5_line_31 |  | 23 | 26 | 0.024736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-299_0_5_line_32 |  | 24 | 33 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6621-299_0_5_line_33 |  | 24 | 34 | 0.065341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-299_0_5_line_34 |  | 24 | 35 | 0.0097735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6621-299_0_5_line_35 |  | 25 | 52 | 0.0077895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-299_0_5_line_36 |  | 25 | 47 | 0.047095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-299_0_5_line_37 |  | 26 | 46 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-299_0_5_line_38 |  | 27 | 28 | 0.058028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-299_0_5_line_39 |  | 27 | 29 | 0.006725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-299_0_5_line_40 |  | 29 | 36 | 0.042579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-299_0_5_line_41 |  | 30 | 31 | 0.077367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-299_0_5_line_42 |  | 30 | 32 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-299_0_5_line_43 |  | 32 | 59 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-299_0_5_line_44 |  | 33 | 60 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6621-299_0_5_line_45 |  | 34 | 39 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-299_0_5_line_46 |  | 35 | 50 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6621-299_0_5_line_47 |  | 36 | 37 | 0.071304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-299_0_5_line_48 |  | 36 | 38 | 0.03128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-299_0_5_line_49 |  | 37 | 45 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-299_0_5_line_50 |  | 37 | 46 | 0.010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-299_0_5_line_51 |  | 40 | 41 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-299_0_5_line_52 |  | 40 | 42 | 0.024853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-299_0_5_line_53 |  | 41 | 43 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-299_0_5_line_54 |  | 41 | 44 | 0.042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-299_0_5_line_55 |  | 43 | 49 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-299_0_5_line_56 |  | 47 | 48 | 0.048104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-299_0_5_line_57 |  | 48 | 61 | 0.0017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6621-299_0_5_line_58 |  | 53 | 72 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-299_0_5_line_59 |  | 54 | 62 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-299_0_5_line_60 |  | 55 | 67 | 0.018441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-299_0_5_line_61 |  | 56 | 72 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-299_0_5_line_62 |  | 57 | 63 | 0.023131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6621-299_0_5_line_63 |  | 58 | 59 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6621-299_0_5_line_64 |  | 60 | 64 | 0.02381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6621-299_0_5_line_65 |  | 61 | 65 | 0.01942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6621-299_0_5_line_66 |  | 63 | 64 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6621-299_0_5_line_67 |  | 65 | 66 | 0.026004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6621-299_0_5_line_68 |  | 67 | 68 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6621-299_0_5_line_69 |  | 68 | 69 | 0.0084366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6621-299_0_5_line_70 |  | 69 | 70 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6621-299_0_5_line_71 |  | 70 | 71 | 0.0057923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-299_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 73 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2498661.6335 | 1118837.1297 | 2498684.3217 | 1118822.6393
1 | 2498651.3316 | 1118843.7093 | 2498661.6335 | 1118837.1297
2 | 2498623.5535 | 1118861.1969 | 2498634.8954 | 1118854.0579 | 2498646.8549 | 1118846.4638 | 2498651.3316 | 1118843.7093
3 | 2498623.5535 | 1118861.1969 | 2498629.9284 | 1118872.2192 | 2498627.6555 | 1118877.0603 | 2498618.3551 | 1118882.9935
4 | 2498596.3179 | 1118878.342 | 2498604.9063 | 1118891.573 | 2498618.3551 | 1118882.9935
5 | 2498596.3179 | 1118878.342 | 2498585.6918 | 1118885.0315
6 | 2498572.3243 | 1118893.447 | 2498585.6918 | 1118885.0315
7 | 2498669.3345 | 1118872.9483 | 2498666.5368 | 1118875.0298 | 2498652.4132 | 1118885.5797
8 | 2498669.3345 | 1118872.9483 | 2498680.4487 | 1118865.3087
9 | 2498650.8786 | 1118891.269 | 2498648.7224 | 1118888.3366 | 2498652.4132 | 1118885.5797
10 | 2498702.5269 | 1118850.1326 | 2498680.4487 | 1118865.3087
11 | 2498650.8786 | 1118891.269 | 2498652.7583 | 1118893.8169 | 2498651.8659 | 1118894.4545
12 | 2498650.8786 | 1118891.269 | 2498640.6947 | 1118898.8137
13 | 2498651.8659 | 1118894.4545 | 2498671.2756 | 1118920.6013
14 | 2498651.8659 | 1118894.4545 | 2498632.9881 | 1118908.2187
15 | 2498626.4792 | 1118909.3453 | 2498640.6947 | 1118898.8137
16 | 2498514.5965 | 1118929.7893 | 2498511.2742 | 1118931.8797 | 2498509.6536 | 1118933.7303 | 2498508.8162 | 1118935.8012 | 2498508.7752 | 1118938.4146 | 2498509.6468 | 1118941.602 | 2498513.7169 | 1118949.1162 | 2498520.0308 | 1118959.717
17 | 2498514.5965 | 1118929.7893 | 2498533.1244 | 1118918.1251
18 | 2498529.2791 | 1118953.8581 | 2498520.0308 | 1118959.717
19 | 2498536.3704 | 1118974.908 | 2498534.5694 | 1118972.4477 | 2498530.755 | 1118975.1134 | 2498524.1959 | 1118966.4513 | 2498520.0308 | 1118959.717
20 | 2498546.1494 | 1118909.9253 | 2498533.1244 | 1118918.1251
21 | 2498671.2756 | 1118920.6013 | 2498648.8259 | 1118936.0887
22 | 2498672.565 | 1118919.7125 | 2498671.2756 | 1118920.6013
23 | 2498711.0898 | 1118893.195 | 2498720.8879 | 1118886.4484
24 | 2498711.0898 | 1118893.195 | 2498701.6059 | 1118899.723
25 | 2498739.9892 | 1118873.2961 | 2498720.8879 | 1118886.4484
26 | 2498701.6059 | 1118899.723 | 2498682.3142 | 1118913.0019
27 | 2498536.3704 | 1118974.908 | 2498538.1635 | 1118977.3572
28 | 2498536.3704 | 1118974.908 | 2498560.1009 | 1118957.7735
29 | 2498554.2643 | 1119001.3244 | 2498557.1544 | 1119005.2118 | 2498560.3684 | 1119009.5495 | 2498565.3665 | 1119013.0345 | 2498574.8533 | 1119027.3733 | 2498616.7765 | 1119015.3407
30 | 2498588.4905 | 1119057.2412 | 2498584.8568 | 1119051.8099 | 2498584.3301 | 1119049.8619 | 2498583.2989 | 1119046.8217 | 2498590.3771 | 1119045.0242 | 2498611.7752 | 1119041.1074 | 2498616.8234 | 1119039.7664 | 2498619.3199 | 1119039.0575 | 2498618.7327 | 1119037.1772 | 2498618.1129 | 1119035.1975 | 2498617.5012 | 1119033.2398 | 2498616.971 | 1119031.5365 | 2498616.3102 | 1119029.413 | 2498615.723 | 1119027.5327 | 2498615.454 | 1119026.6811 | 2498619.7553 | 1119025.4416 | 2498619.4525 | 1119024.4127 | 2498618.8799 | 1119022.4877 | 2498616.7765 | 1119015.3407
31 | 2498616.7765 | 1119015.3407 | 2498640.5207 | 1119008.4068
32 | 2498554.2643 | 1119001.3244 | 2498571.0682 | 1118989.7319
33 | 2498554.2643 | 1119001.3244 | 2498557.1544 | 1119005.2118 | 2498560.3684 | 1119009.5495 | 2498565.3665 | 1119013.0345 | 2498565.1071 | 1119009.5367 | 2498602.8071 | 1118984.0663
34 | 2498554.2643 | 1119001.3244 | 2498552.2475 | 1119001.1804 | 2498547.1131 | 1118995.3731
35 | 2498588.4905 | 1119057.2412 | 2498592.3778 | 1119063.9914
36 | 2498547.3829 | 1119060.8328 | 2498554.7183 | 1119058.7307 | 2498584.3301 | 1119049.8619 | 2498584.8568 | 1119051.8099 | 2498588.4905 | 1119057.2412
37 | 2498659.251 | 1119003.0323 | 2498655.6381 | 1119005.2832 | 2498651.3923 | 1119005.2321 | 2498640.5207 | 1119008.4068
38 | 2498700.8977 | 1119049.5529 | 2498699.6481 | 1119052.8203 | 2498698.8707 | 1119054.3231 | 2498697.7884 | 1119055.1418 | 2498696.8799 | 1119055.7352 | 2498695.1592 | 1119056.2198 | 2498691.9996 | 1119056.5063 | 2498689.1236 | 1119056.2098 | 2498675.3179 | 1119059.999 | 2498668.3284 | 1119058.3373 | 2498648.0997 | 1119064.1365
39 | 2498703.5483 | 1119055.7346 | 2498700.8977 | 1119049.5529
40 | 2498703.5483 | 1119055.7346 | 2498706.4269 | 1119057.5653 | 2498711.9747 | 1119055.6379 | 2498713.7606 | 1119052.5949 | 2498706.3925 | 1119023.7335
41 | 2498786.3239 | 1118841.392 | 2498774.2124 | 1118823.7836 | 2498728.3529 | 1118855.9148
42 | 2498786.3239 | 1118841.392 | 2498775.8489 | 1118848.6046
43 | 2498775.8489 | 1118848.6046 | 2498759.0817 | 1118860.1498
44 | 2498571.0682 | 1118989.7319 | 2498589.1904 | 1118977.2298
45 | 2498604.7759 | 1118996.0742 | 2498603.63 | 1118991.7129 | 2498602.8071 | 1118984.0663
46 | 2498538.1635 | 1118977.3572 | 2498534.4197 | 1118980.0884 | 2498540.9341 | 1118988.3843 | 2498547.1131 | 1118995.3731
47 | 2498669.6685 | 1119000.156 | 2498671.5178 | 1119007.3407 | 2498672.0214 | 1119009.3001 | 2498672.5166 | 1119011.2152 | 2498673.0204 | 1119013.1858 | 2498673.4825 | 1119014.9681 | 2498674.0272 | 1119017.0714 | 2498674.5229 | 1119019.0199 | 2498674.7537 | 1119019.8943 | 2498671.6126 | 1119020.8253 | 2498671.9244 | 1119021.9319 | 2498672.4821 | 1119023.8905 | 2498678.7345 | 1119022.0957 | 2498691.6938 | 1119017.0755 | 2498697.5952 | 1119014.5973 | 2498703.3811 | 1119012.5992 | 2498704.1558 | 1119015.5325 | 2498706.3925 | 1119023.7335
48 | 2498706.3925 | 1119023.7335 | 2498736.5559 | 1119015.451
49 | 2498669.6685 | 1119000.156 | 2498691.5368 | 1118994.1063
50 | 2498669.6685 | 1119000.156 | 2498659.251 | 1119003.0323 | 2498659.251 | 1119003.0323
51 | 2498675.1877 | 1118933.8997 | 2498690.3458 | 1118942.629 | 2498691.6109 | 1118944.887
52 | 2498704.8052 | 1118965.857 | 2498700.6173 | 1118960.9685 | 2498691.6109 | 1118944.887
53 | 2498672.565 | 1118919.7125 | 2498674.7308 | 1118922.7559 | 2498677.4496 | 1118926.5572 | 2498676.4268 | 1118927.2414 | 2498675.1877 | 1118933.8997
54 | 2498671.8696 | 1118975.3813 | 2498670.3972 | 1118969.9581 | 2498668.2973 | 1118953.3495 | 2498671.6415 | 1118944.2767 | 2498675.1877 | 1118933.8997
55 | 2498672.565 | 1118919.7125 | 2498682.3142 | 1118913.0019
56 | 2498547.3829 | 1119060.8328 | 2498560.8016 | 1119107.027
57 | 2498561.2834 | 1119108.6854 | 2498560.8016 | 1119107.027
58 | 2498559.2024 | 1118901.7079 | 2498572.3243 | 1118893.447
59 | 2498702.5269 | 1118850.1326 | 2498721.3806 | 1118837.173
60 | 2498611.6618 | 1118920.3227 | 2498626.4792 | 1118909.3453
61 | 2498559.2024 | 1118901.7079 | 2498546.1494 | 1118909.9253
62 | 2498629.7863 | 1118949.2237 | 2498648.8259 | 1118936.0887
63 | 2498739.9892 | 1118873.2961 | 2498759.0817 | 1118860.1498
64 | 2498608.7892 | 1118963.7091 | 2498589.1904 | 1118977.2298
65 | 2498561.2834 | 1119108.6854 | 2498542.5542 | 1119113.8209
66 | 2498608.7892 | 1118963.7091 | 2498629.7863 | 1118949.2237
67 | 2498542.5542 | 1119113.8209 | 2498517.4758 | 1119120.6973
68 | 2498599.8852 | 1118929.0474 | 2498611.6618 | 1118920.3227
69 | 2498599.8852 | 1118929.0474 | 2498595.6389 | 1118924.827 | 2498593.6087 | 1118926.1979
70 | 2498580.9973 | 1118934.7135 | 2498593.6087 | 1118926.1979
71 | 2498576.2011 | 1118937.9612 | 2498578.872 | 1118936.1486 | 2498580.9973 | 1118934.7135

## bus_geodata
| x | y | coords
0 | 2498661.6335 | 1118837.1297
1 | 2498684.3217 | 1118822.6393
2 | 2498651.3316 | 1118843.7093
3 | 2498623.5535 | 1118861.1969
4 | 2498618.3551 | 1118882.9935
5 | 2498596.3179 | 1118878.342
6 | 2498585.6918 | 1118885.0315
7 | 2498669.3345 | 1118872.9483
8 | 2498652.4132 | 1118885.5797
9 | 2498680.4487 | 1118865.3087
10 | 2498650.8786 | 1118891.269
11 | 2498651.8659 | 1118894.4545
12 | 2498640.6947 | 1118898.8137
13 | 2498514.5965 | 1118929.7893
14 | 2498520.0308 | 1118959.7169
15 | 2498533.1244 | 1118918.1251
16 | 2498671.2756 | 1118920.6013
17 | 2498632.9881 | 1118908.2187
18 | 2498711.0898 | 1118893.195
19 | 2498720.8879 | 1118886.4484
20 | 2498701.6059 | 1118899.723
21 | 2498529.2791 | 1118953.8581
22 | 2498536.3704 | 1118974.908
23 | 2498616.7765 | 1119015.3407
24 | 2498554.2643 | 1119001.3244
25 | 2498588.4905 | 1119057.2412
26 | 2498640.5207 | 1119008.4068
27 | 2498700.8977 | 1119049.5529
28 | 2498648.0997 | 1119064.1365
29 | 2498703.5483 | 1119055.7346
30 | 2498786.3239 | 1118841.392
31 | 2498728.3529 | 1118855.9148
32 | 2498775.8489 | 1118848.6046
33 | 2498571.0682 | 1118989.7319
34 | 2498602.8071 | 1118984.0663
35 | 2498547.1131 | 1118995.3731
36 | 2498706.3925 | 1119023.7335
37 | 2498669.6685 | 1119000.156
38 | 2498736.5559 | 1119015.451
39 | 2498604.7759 | 1118996.0742
40 | 2498691.6109 | 1118944.887
41 | 2498675.1877 | 1118933.8997
42 | 2498704.8052 | 1118965.857
43 | 2498672.565 | 1118919.7125
44 | 2498671.8696 | 1118975.3813
45 | 2498691.5368 | 1118994.1063
46 | 2498659.251 | 1119003.0323
47 | 2498547.3829 | 1119060.8328
48 | 2498560.8016 | 1119107.027
49 | 2498682.3142 | 1118913.0019
50 | 2498538.1635 | 1118977.3572
51 | 2498560.1009 | 1118957.7735
52 | 2498592.3778 | 1119063.9914
53 | 2498572.3243 | 1118893.447
54 | 2498702.5269 | 1118850.1326
55 | 2498626.4792 | 1118909.3453
56 | 2498546.1494 | 1118909.9253
57 | 2498648.8259 | 1118936.0887
58 | 2498739.9892 | 1118873.2961
59 | 2498759.0817 | 1118860.1498
60 | 2498589.1904 | 1118977.2298
61 | 2498561.2834 | 1119108.6854
62 | 2498721.3806 | 1118837.173
63 | 2498629.7863 | 1118949.2237
64 | 2498608.7892 | 1118963.7091
65 | 2498542.5542 | 1119113.8209
66 | 2498517.4758 | 1119120.6973
67 | 2498611.6618 | 1118920.3227
68 | 2498599.8852 | 1118929.0474
69 | 2498593.6087 | 1118926.1979
70 | 2498580.9973 | 1118934.7135
71 | 2498576.2011 | 1118937.9612
72 | 2498559.2024 | 1118901.7079
73 | 2498671.2756 | 1118920.6013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1