## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-300_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_6621-300_1_4_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_6621-300_1_4_node_39 | 0.4 | n |  | TRUE
3 | bus_LV_6621-300_1_4_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_6621-300_1_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_6621-300_1_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_6621-300_1_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_6621-300_1_4_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_6621-300_1_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_6621-300_1_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6621-300_1_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6621-300_1_4_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_6621-300_1_4_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_6621-300_1_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_6621-300_1_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_6621-300_1_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_6621-300_1_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6621-300_1_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6621-300_1_4_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_6621-300_1_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_6621-300_1_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6621-300_1_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_6621-300_1_4_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_6621-300_1_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_6621-300_1_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_6621-300_1_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6621-300_1_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6621-300_1_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6621-300_1_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_6621-300_1_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6621-300_1_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6621-300_1_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6621-300_1_4_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_6621-300_1_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_6621-300_1_4_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_6621-300_1_4_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_6621-300_1_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_6621-300_1_4_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_6621-300_1_4_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_6621-300_1_4_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_6621-300_1_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_6621-300_1_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6621-300_1_4_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_6621-300_1_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_6621-300_1_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_6621-300_1_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_6621-300_1_4_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_6621-300_1_4_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_6621-300_1_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_6621-300_1_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_6621-300_1_4_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_6621-300_1_4_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_6621-300_1_4_node_79 | 0.4 | n |  | TRUE
53 | bus_MV_658_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-300_1_4_load_39 | 2 | 0.0034861 | 0.00087369 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-300_1_4_load_83 | 7 | 0.0037224 | 0.00093291 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-300_1_4_load_49 | 8 | 0.0015027 | 0.0003766 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-300_1_4_load_48 | 11 | 0.0081963 | 0.0020542 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-300_1_4_load_88 | 12 | 0.0036599 | 0.00091726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-300_1_4_load_42 | 13 | 0.0035134 | 0.00088055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-300_1_4_load_43 | 15 | 0.0066783 | 0.0016737 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-300_1_4_load_32 | 19 | 0.0098337 | 0.0024646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-300_1_4_load_41 | 20 | 0.0025459 | 0.00063806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-300_1_4_load_84 | 21 | 0.0032722 | 0.00082009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-300_1_4_load_73 | 22 | 0.0014753 | 0.00036975 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-300_1_4_load_45 | 23 | 0.0067624 | 0.0016948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-300_1_4_load_71 | 24 | 0.0024299 | 0.00060898 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-300_1_4_load_47 | 26 | 0.01321 | 0.0033107 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-300_1_4_load_38 | 28 | 0.037333 | 0.0093566 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-300_1_4_load_33 | 29 | 0.0098498 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-300_1_4_load_34 | 30 | 0.0098786 | 0.0024758 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-300_1_4_load_36 | 31 | 0.0099766 | 0.0025004 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-300_1_4_load_86 | 32 | 0.00091061 | 0.00022822 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-300_1_4_load_85 | 33 | 0.0077175 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-300_1_4_load_87 | 34 | 0.0018931 | 0.00047445 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-300_1_4_load_72 | 35 | 0.0029695 | 0.00074424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-300_1_4_load_80 | 37 | 0.0056637 | 0.0014194 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-300_1_4_load_59 | 38 | 0.022332 | 0.0055969 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-300_1_4_load_75 | 39 | 0.019068 | 0.0047788 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-300_1_4_load_53 | 40 | 0.045171 | 0.011321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-300_1_4_load_54 | 42 | 0.036826 | 0.0092295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-300_1_4_load_57 | 44 | 0.0015267 | 0.00038264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-300_1_4_load_60 | 45 | 0.064367 | 0.016132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-300_1_4_load_74 | 46 | 0.048822 | 0.012236 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-300_1_4_load_66 | 47 | 0.0025386 | 0.00063624 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-300_1_4_load_67 | 48 | 0.0017792 | 0.0004459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-300_1_4_load_68 | 49 | 0.0036561 | 0.0009163 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-300_1_4_load_78 | 51 | 0.0025182 | 0.00063111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-300_1_4_load_79 | 52 | 0.0071398 | 0.0017894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-300_1_4_line_0 |  | 0 | 1 | 0.058255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-300_1_4_line_1 |  | 0 | 2 | 0.10158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-300_1_4_line_2 |  | 1 | 15 | 0.062804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-300_1_4_line_3 |  | 2 | 14 | 0.040574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-300_1_4_line_4 |  | 3 | 4 | 0.1167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-300_1_4_line_5 |  | 3 | 5 | 0.050809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6621-300_1_4_line_6 |  | 3 | 6 | 0.5118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6621-300_1_4_line_7 |  | 3 | 7 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-300_1_4_line_8 |  | 4 | 12 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-300_1_4_line_9 |  | 5 | 8 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6621-300_1_4_line_10 |  | 6 | 18 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-300_1_4_line_11 |  | 6 | 19 | 0.023081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-300_1_4_line_12 |  | 7 | 21 | 0.049859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-300_1_4_line_13 |  | 8 | 22 | 0.005747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6621-300_1_4_line_14 |  | 9 | 10 | 0.080659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-300_1_4_line_15 |  | 9 | 11 | 0.0036699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-300_1_4_line_16 |  | 10 | 13 | 0.015415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-300_1_4_line_17 |  | 10 | 14 | 0.054348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-300_1_4_line_18 |  | 11 | 23 | 0.0043509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-300_1_4_line_19 |  | 13 | 24 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-300_1_4_line_20 |  | 14 | 20 | 0.047467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-300_1_4_line_21 |  | 15 | 16 | 0.022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-300_1_4_line_22 |  | 16 | 17 | 0.005643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-300_1_4_line_23 |  | 17 | 25 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-300_1_4_line_24 |  | 17 | 26 | 0.074311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-300_1_4_line_25 |  | 18 | 27 | 0.055407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-300_1_4_line_26 |  | 18 | 28 | 0.040938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-300_1_4_line_27 |  | 19 | 29 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-300_1_4_line_28 |  | 22 | 41 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6621-300_1_4_line_29 |  | 24 | 35 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-300_1_4_line_30 |  | 25 | 36 | 0.021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-300_1_4_line_31 |  | 26 | 37 | 0.042258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-300_1_4_line_32 |  | 27 | 33 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-300_1_4_line_33 |  | 29 | 30 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-300_1_4_line_34 |  | 30 | 31 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-300_1_4_line_35 |  | 31 | 32 | 0.041625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-300_1_4_line_36 |  | 32 | 34 | 0.004486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-300_1_4_line_37 |  | 36 | 40 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-300_1_4_line_38 |  | 38 | 39 | 0.025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-300_1_4_line_39 |  | 39 | 46 | 0.0028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-300_1_4_line_40 |  | 40 | 42 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-300_1_4_line_41 |  | 41 | 46 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-300_1_4_line_42 |  | 41 | 43 | 0.043945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6621-300_1_4_line_43 |  | 42 | 43 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-300_1_4_line_44 |  | 43 | 44 | 0.012897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6621-300_1_4_line_45 |  | 44 | 45 | 0.0090375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6621-300_1_4_line_46 |  | 45 | 47 | 0.0094809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6621-300_1_4_line_47 |  | 47 | 48 | 0.018551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-300_1_4_line_48 |  | 48 | 49 | 0.012149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-300_1_4_line_49 |  | 49 | 50 | 0.027652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-300_1_4_line_50 |  | 50 | 51 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-300_1_4_line_51 |  | 51 | 52 | 0.0066303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-300_1_4_trafo_66 | 0.63 MVA 20/0.4 kV | 53 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2498020.2949 | 1118509.382 | 2498017.6867 | 1118501.6433 | 2498025.5539 | 1118499.009 | 2498038.4487 | 1118494.7001 | 2498048.7129 | 1118480.8628 | 2498052.5815 | 1118475.4609 | 2498048.4754 | 1118474.107
1 | 2498020.2949 | 1118509.382 | 2497961.9058 | 1118529.2236 | 2497928.7289 | 1118541.4577 | 2497924.5526 | 1118543.2728
2 | 2498048.4754 | 1118474.107 | 2498046.7614 | 1118476.8265 | 2498043.8032 | 1118479.4558 | 2498038.4271 | 1118482.893 | 2497991.7216 | 1118498.5208
3 | 2497887.6089 | 1118560.0412 | 2497911.6417 | 1118548.884 | 2497924.5526 | 1118543.2728
4 | 2498053.5737 | 1118358.526 | 2498055.2077 | 1118334.1275 | 2498021.5827 | 1118313.9148 | 2497983.0566 | 1118330.7972 | 2497983.786 | 1118331.9412 | 2497987.7191 | 1118338.1344 | 2497988.7947 | 1118340.1175
5 | 2497988.7947 | 1118340.1175 | 2497984.4663 | 1118341.1467 | 2497999.0207 | 1118366.1059 | 2498005.5255 | 1118376.4916 | 2498000.6956 | 1118378.4521
6 | 2497734.3423 | 1118442.9452 | 2497732.5763 | 1118442.5859 | 2497731.3671 | 1118440.9164 | 2497708.2555 | 1118408.8981 | 2497705.8922 | 1118405.6249 | 2497707.5771 | 1118404.8403 | 2497751.0849 | 1118387.2937 | 2497765.6872 | 1118381.2542 | 2497778.6877 | 1118375.8867 | 2497825.5078 | 1118356.5391 | 2497815.0526 | 1118330.7438 | 2497799.7832 | 1118293.6784 | 2497796.0625 | 1118288.6492 | 2497804.5573 | 1118286.5932 | 2497916.5204 | 1118240.3515 | 2497958.6293 | 1118309.9516 | 2497973.0241 | 1118332.7566 | 2497975.0886 | 1118336.1683 | 2497980.2182 | 1118333.6691 | 2497984.4663 | 1118341.1467 | 2497988.7947 | 1118340.1175
7 | 2497988.7947 | 1118340.1175 | 2497995.0683 | 1118340.4675 | 2497999.4559 | 1118342.0278 | 2498005.0851 | 1118348.5592
8 | 2498053.5737 | 1118358.526 | 2498035.3626 | 1118356.1091
9 | 2498000.6956 | 1118378.4521 | 2497973.8016 | 1118389.3458
10 | 2497734.3423 | 1118442.9452 | 2497748.3182 | 1118461.4873
11 | 2497734.3423 | 1118442.9452 | 2497736.6368 | 1118440.7828 | 2497741.753 | 1118437.5054 | 2497745.75 | 1118435.6033 | 2497754.4643 | 1118432.0106
12 | 2498005.0851 | 1118348.5592 | 2498005.0851 | 1118348.5592 | 2498031.0768 | 1118391.1081
13 | 2497969.8348 | 1118393.5042 | 2497973.8016 | 1118389.3458
14 | 2497824.7773 | 1118562.6815 | 2497831.226 | 1118575.225 | 2497858.4107 | 1118561.5017 | 2497842.1372 | 1118580.5329 | 2497839.5514 | 1118587.8368 | 2497842.7172 | 1118588.8173
15 | 2497824.7773 | 1118562.6815 | 2497828.0663 | 1118561.0535
16 | 2497842.7172 | 1118588.8173 | 2497841.6317 | 1118592.1822 | 2497841.7538 | 1118596.6718 | 2497843.8091 | 1118601.8181 | 2497844.7865 | 1118603.3842
17 | 2497887.6089 | 1118560.0412 | 2497853.2123 | 1118576.3544 | 2497846.5462 | 1118582.9155 | 2497842.7172 | 1118588.8173
18 | 2497831.9657 | 1118559.1233 | 2497828.0663 | 1118561.0535
19 | 2497854.951 | 1118619.6702 | 2497844.7865 | 1118603.3842
20 | 2497887.6089 | 1118560.0412 | 2497911.1067 | 1118584.8491 | 2497923.3993 | 1118579.7796
21 | 2497970.8221 | 1118505.5138 | 2497991.7216 | 1118498.5208
22 | 2497969.1027 | 1118500.1394 | 2497969.8573 | 1118502.3169 | 2497970.8221 | 1118505.5138
23 | 2497969.1027 | 1118500.1394 | 2497962.4254 | 1118480.8954
24 | 2497969.1027 | 1118500.1394 | 2497945.05 | 1118508.7617 | 2497898.7393 | 1118524.0189
25 | 2497781.1073 | 1118506.2059 | 2497748.3182 | 1118461.4873
26 | 2497785.5668 | 1118478.702 | 2497748.3182 | 1118461.4873
27 | 2497765.8751 | 1118427.3061 | 2497754.4643 | 1118432.0106
28 | 2497973.2163 | 1118409.5462 | 2497970.0256 | 1118397.9483 | 2497969.8348 | 1118393.5042
29 | 2497854.951 | 1118619.6702 | 2497856.4231 | 1118622.029 | 2497863.7207 | 1118631.9083
30 | 2497948.5739 | 1118475.1699 | 2497950.0953 | 1118479.7916 | 2497951.5925 | 1118484.347 | 2497962.4254 | 1118480.8954
31 | 2497865.7122 | 1118523.0986 | 2497869.2495 | 1118533.7345 | 2497898.7393 | 1118524.0189
32 | 2497781.1073 | 1118506.2059 | 2497799.9355 | 1118498.3441
33 | 2497777.2515 | 1118422.6159 | 2497765.8751 | 1118427.3061
34 | 2497777.2515 | 1118422.6159 | 2497788.6729 | 1118417.907
35 | 2497788.6729 | 1118417.907 | 2497795.9737 | 1118414.897 | 2497811.6201 | 1118408.0617 | 2497811.9254 | 1118408.3123 | 2497817.0135 | 1118412.5068 | 2497821.5337 | 1118421.049
36 | 2497824.343 | 1118424.1792 | 2497822.9378 | 1118423.7027 | 2497821.5337 | 1118421.049
37 | 2497948.5739 | 1118475.1699 | 2497944.8137 | 1118463.7585
38 | 2497987.5371 | 1118454.7779 | 2497980.1034 | 1118430.3727
39 | 2497979.281 | 1118427.6725 | 2497980.1034 | 1118430.3727
40 | 2497944.8137 | 1118463.7585 | 2497936.3288 | 1118438.0089
41 | 2497973.2163 | 1118409.5462 | 2497976.9106 | 1118419.8904 | 2497979.281 | 1118427.6725
42 | 2497973.2163 | 1118409.5462 | 2497965.2237 | 1118412.0826 | 2497931.3264 | 1118422.8279
43 | 2497931.3264 | 1118422.8279 | 2497936.3288 | 1118438.0089
44 | 2497931.3264 | 1118422.8279 | 2497919.0039 | 1118426.7494
45 | 2497919.0039 | 1118426.7494 | 2497910.3919 | 1118429.4895
46 | 2497910.3919 | 1118429.4895 | 2497901.3573 | 1118432.3641
47 | 2497901.3573 | 1118432.3641 | 2497883.6794 | 1118437.9888
48 | 2497883.6794 | 1118437.9888 | 2497872.1023 | 1118441.6723
49 | 2497845.7523 | 1118450.0562 | 2497872.1023 | 1118441.6723
50 | 2497845.7523 | 1118450.0562 | 2497844.3089 | 1118450.5142 | 2497846.8433 | 1118458.954
51 | 2497848.7502 | 1118465.3041 | 2497846.8433 | 1118458.954

## bus_geodata
| x | y | coords
0 | 2498020.2949 | 1118509.382
1 | 2498048.4754 | 1118474.107
2 | 2497924.5526 | 1118543.2728
3 | 2497988.7947 | 1118340.1175
4 | 2498053.5737 | 1118358.526
5 | 2498000.6956 | 1118378.4521
6 | 2497734.3423 | 1118442.9452
7 | 2498005.0851 | 1118348.5592
8 | 2497973.8016 | 1118389.3458
9 | 2497824.7773 | 1118562.6815
10 | 2497842.7172 | 1118588.8173
11 | 2497828.0663 | 1118561.0535
12 | 2498035.3626 | 1118356.1091
13 | 2497844.7865 | 1118603.3842
14 | 2497887.6089 | 1118560.0412
15 | 2497991.7216 | 1118498.5208
16 | 2497970.8221 | 1118505.5138
17 | 2497969.1027 | 1118500.1394
18 | 2497748.3182 | 1118461.4873
19 | 2497754.4643 | 1118432.0106
20 | 2497923.3993 | 1118579.7796
21 | 2498031.0768 | 1118391.1081
22 | 2497969.8348 | 1118393.5042
23 | 2497831.9657 | 1118559.1233
24 | 2497854.951 | 1118619.6702
25 | 2497962.4254 | 1118480.8954
26 | 2497898.7393 | 1118524.0189
27 | 2497781.1073 | 1118506.2059
28 | 2497785.5668 | 1118478.702
29 | 2497765.8751 | 1118427.3061
30 | 2497777.2515 | 1118422.6159
31 | 2497788.6729 | 1118417.907
32 | 2497821.5337 | 1118421.049
33 | 2497799.9355 | 1118498.3441
34 | 2497824.343 | 1118424.1792
35 | 2497863.7207 | 1118631.9083
36 | 2497948.5739 | 1118475.1699
37 | 2497865.7122 | 1118523.0986
38 | 2497987.5371 | 1118454.7779
39 | 2497980.1034 | 1118430.3727
40 | 2497944.8137 | 1118463.7585
41 | 2497973.2163 | 1118409.5462
42 | 2497936.3288 | 1118438.0089
43 | 2497931.3264 | 1118422.8279
44 | 2497919.0039 | 1118426.7494
45 | 2497910.3919 | 1118429.4895
46 | 2497979.281 | 1118427.6725
47 | 2497901.3573 | 1118432.3641
48 | 2497883.6794 | 1118437.9888
49 | 2497872.1023 | 1118441.6723
50 | 2497845.7523 | 1118450.0562
51 | 2497846.8433 | 1118458.954
52 | 2497848.7502 | 1118465.3041
53 | 2497919.0039 | 1118426.7494

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1