## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-312_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-312_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-312_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6621-312_0_5_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_6621-312_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6621-312_0_5_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_6621-312_0_5_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_6621-312_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6621-312_0_5_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_6621-312_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6621-312_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6621-312_0_5_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_6621-312_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_6621-312_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6621-312_0_5_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_6621-312_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6621-312_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_6621-312_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_6621-312_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6621-312_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6621-312_0_5_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6621-312_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6621-312_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6621-312_0_5_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_6621-312_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6621-312_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6621-312_0_5_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6621-312_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_6621-312_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6621-312_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6621-312_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6621-312_0_5_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6621-312_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6621-312_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6621-312_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6621-312_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6621-312_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6621-312_0_5_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_6621-312_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_6621-312_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6621-312_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6621-312_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6621-312_0_5_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_6621-312_0_5_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_6621-312_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_6621-312_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6621-312_0_5_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_6621-312_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_6621-312_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6621-312_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6621-312_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6621-312_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6621-312_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_6621-312_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_6621-312_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_6621-312_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6621-312_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6621-312_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6621-312_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_6621-312_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_6621-312_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_6621-312_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_6621-312_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6621-312_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_6621-312_0_5_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6621-312_0_5_node_65 | 0.4 | n |  | TRUE
66 | bus_MV_462_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-312_0_5_load_0 | 0 | 0.02318 | 0.0058094 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-312_0_5_load_3 | 2 | 0.021292 | 0.0053364 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-312_0_5_load_63 | 3 | 0.021649 | 0.0054257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-312_0_5_load_54 | 5 | 0.0063909 | 0.0016017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-312_0_5_load_52 | 6 | 0.012224 | 0.0030637 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-312_0_5_load_59 | 8 | 0.0067577 | 0.0016936 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-312_0_5_load_25 | 11 | 0.048307 | 0.012107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-312_0_5_load_26 | 12 | 0.012598 | 0.0031572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-312_0_5_load_70 | 14 | 0.013432 | 0.0033664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-312_0_5_load_37 | 16 | 0.024437 | 0.0061246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-312_0_5_load_34 | 17 | 0.059278 | 0.014856 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-312_0_5_load_68 | 20 | 0.01761 | 0.0044134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-312_0_5_load_62 | 23 | 0.015636 | 0.0039188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-312_0_5_load_39 | 26 | 0.0013744 | 0.00034445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-312_0_5_load_44 | 27 | 0.013632 | 0.0034165 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-312_0_5_load_45 | 31 | 0.017414 | 0.0043644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-312_0_5_load_31 | 35 | 0.00060873 | 0.00015256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-312_0_5_load_33 | 36 | 0.009207 | 0.0023075 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-312_0_5_load_50 | 38 | 0.012189 | 0.0030548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-312_0_5_load_47 | 41 | 0.0057067 | 0.0014302 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-312_0_5_load_60 | 42 | 0.0013767 | 0.00034503 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-312_0_5_load_64 | 43 | 0.021268 | 0.0053303 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-312_0_5_load_53 | 44 | 0.012289 | 0.0030799 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-312_0_5_load_66 | 46 | 0.016367 | 0.004102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-312_0_5_load_61 | 47 | 0.00073885 | 0.00018517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-312_0_5_load_38 | 48 | 0.0025153 | 0.0006304 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-312_0_5_load_43 | 49 | 0.015894 | 0.0039833 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-312_0_5_load_36 | 51 | 0.0038267 | 0.00095906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-312_0_5_load_30 | 52 | 0.00061925 | 0.0001552 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-312_0_5_load_32 | 53 | 0.0082495 | 0.0020675 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-312_0_5_load_29 | 54 | 0.036056 | 0.0090366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-312_0_5_load_58 | 55 | 0.011463 | 0.002873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-312_0_5_load_55 | 56 | 0.011533 | 0.0028904 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-312_0_5_load_46 | 57 | 0.011439 | 0.002867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-312_0_5_load_40 | 58 | 0.0012822 | 0.00032134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-312_0_5_load_41 | 59 | 0.00091122 | 0.00022837 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-312_0_5_load_42 | 60 | 0.00041434 | 0.00010384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-312_0_5_load_56 | 61 | 0.011462 | 0.0028726 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-312_0_5_load_57 | 62 | 0.011516 | 0.0028862 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-312_0_5_load_69 | 63 | 0.016489 | 0.0041325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-312_0_5_load_67 | 64 | 0.01641 | 0.0041128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-312_0_5_load_65 | 65 | 0.016367 | 0.004102 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-312_0_5_line_0 |  | 0 | 1 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-312_0_5_line_1 |  | 1 | 2 | 0.026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-312_0_5_line_2 |  | 2 | 3 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-312_0_5_line_3 |  | 3 | 43 | 0.015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-312_0_5_line_4 |  | 4 | 5 | 0.0080994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-312_0_5_line_5 |  | 4 | 6 | 0.0069954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-312_0_5_line_6 |  | 5 | 7 | 0.026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-312_0_5_line_7 |  | 6 | 44 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-312_0_5_line_8 |  | 7 | 8 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-312_0_5_line_9 |  | 8 | 19 | 0.028926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-312_0_5_line_10 |  | 9 | 10 | 0.072156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-312_0_5_line_11 |  | 9 | 11 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-312_0_5_line_12 |  | 10 | 12 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-312_0_5_line_13 |  | 12 | 45 | 0.016719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-312_0_5_line_14 |  | 13 | 14 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-312_0_5_line_15 |  | 13 | 15 | 0.060054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-312_0_5_line_16 |  | 15 | 16 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-312_0_5_line_17 |  | 15 | 17 | 0.056378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-312_0_5_line_18 |  | 17 | 32 | 0.026525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6621-312_0_5_line_19 |  | 18 | 19 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6621-312_0_5_line_20 |  | 18 | 20 | 0.045045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-312_0_5_line_21 |  | 19 | 32 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6621-312_0_5_line_22 |  | 20 | 46 | 0.015676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6621-312_0_5_line_23 |  | 21 | 22 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-312_0_5_line_24 |  | 21 | 23 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-312_0_5_line_25 |  | 22 | 37 | 0.047038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6621-312_0_5_line_26 |  | 22 | 38 | 0.0097039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6621-312_0_5_line_27 |  | 22 | 25 | 0.10767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-312_0_5_line_28 |  | 23 | 47 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-312_0_5_line_29 |  | 24 | 25 | 0.14143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-312_0_5_line_30 |  | 24 | 26 | 0.47768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-312_0_5_line_31 |  | 25 | 27 | 0.10312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-312_0_5_line_32 |  | 26 | 48 | 0.0068558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-312_0_5_line_33 |  | 27 | 49 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-312_0_5_line_34 |  | 28 | 29 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-312_0_5_line_35 |  | 28 | 30 | 0.068092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-312_0_5_line_36 |  | 29 | 31 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-312_0_5_line_37 |  | 30 | 36 | 0.031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-312_0_5_line_38 |  | 31 | 50 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-312_0_5_line_39 |  | 32 | 51 | 0.035767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6621-312_0_5_line_40 |  | 33 | 34 | 0.047921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-312_0_5_line_41 |  | 33 | 35 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-312_0_5_line_42 |  | 34 | 42 | 0.00070559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-312_0_5_line_43 |  | 35 | 52 | 0.03758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-312_0_5_line_44 |  | 36 | 53 | 0.0033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-312_0_5_line_45 |  | 37 | 55 | 0.032381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6621-312_0_5_line_46 |  | 37 | 56 | 0.021753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-312_0_5_line_47 |  | 38 | 51 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6621-312_0_5_line_48 |  | 39 | 40 | 0.009179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-312_0_5_line_49 |  | 39 | 41 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-312_0_5_line_50 |  | 40 | 55 | 0.0016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6621-312_0_5_line_51 |  | 40 | 57 | 0.013428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6621-312_0_5_line_52 |  | 43 | 63 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-312_0_5_line_53 |  | 45 | 50 | 0.016431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-312_0_5_line_54 |  | 45 | 54 | 0.039857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-312_0_5_line_55 |  | 46 | 65 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-312_0_5_line_56 |  | 48 | 58 | 0.02441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-312_0_5_line_57 |  | 50 | 57 | 0.0069587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6621-312_0_5_line_58 |  | 52 | 53 | 0.031629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-312_0_5_line_59 |  | 56 | 61 | 0.00057241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-312_0_5_line_60 |  | 58 | 59 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-312_0_5_line_61 |  | 59 | 60 | 0.0077874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-312_0_5_line_62 |  | 61 | 62 | 0.00050967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-312_0_5_line_63 |  | 63 | 64 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6621-312_0_5_line_64 |  | 64 | 65 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-312_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 66 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2499041.2435 | 1120293.1651 | 2499053.2551 | 1120304.7593
1 | 2499041.2435 | 1120293.1651 | 2499059.0882 | 1120273.6037
2 | 2499059.0882 | 1120273.6037 | 2499069.2649 | 1120262.4479
3 | 2499069.2649 | 1120262.4479 | 2499079.4171 | 1120251.319
4 | 2499093.7503 | 1120159.3938 | 2499099.7654 | 1120164.8177
5 | 2499093.7503 | 1120159.3938 | 2499088.5546 | 1120154.7097
6 | 2499119.5963 | 1120182.6994 | 2499099.7654 | 1120164.8177
7 | 2499088.5546 | 1120154.7097 | 2499077.4471 | 1120144.6959
8 | 2499119.5963 | 1120182.6994 | 2499129.3135 | 1120171.9044
9 | 2499148.6658 | 1120150.4054 | 2499129.3135 | 1120171.9044
10 | 2499030.7176 | 1120024.2944 | 2499043.5541 | 1120034.2085 | 2499072.127 | 1120028.995 | 2499093.4173 | 1120025.7488 | 2499098.7685 | 1120025.9597
11 | 2499030.7176 | 1120024.2944 | 2499018.9866 | 1120015.0911
12 | 2499098.7685 | 1120025.9597 | 2499101.352 | 1120024.9382 | 2499103.73 | 1120025.0097 | 2499106.5816 | 1120026.185 | 2499109.5238 | 1120028.1594
13 | 2499121.2315 | 1120016.2233 | 2499109.5238 | 1120028.1594
14 | 2499048.3959 | 1120091.6971 | 2499050.4004 | 1120087.8946 | 2499051.0782 | 1120077.6546
15 | 2499051.0782 | 1120077.6546 | 2499052.8318 | 1120072.6889 | 2499055.1451 | 1120068.4254 | 2499058.5759 | 1120063.1537 | 2499078.6925 | 1120081.1293 | 2499091.1394 | 1120092.2174
16 | 2499074.5375 | 1120110.9618 | 2499091.1394 | 1120092.2174
17 | 2499091.1394 | 1120092.2174 | 2499105.9034 | 1120105.2793 | 2499109.8805 | 1120105.0017 | 2499120.8728 | 1120114.9356 | 2499133.9778 | 1120127.074
18 | 2499153.4765 | 1120145.0552 | 2499151.7771 | 1120143.5604 | 2499133.9778 | 1120127.074
19 | 2499148.6658 | 1120150.4054 | 2499153.0326 | 1120154.5241 | 2499160.9198 | 1120161.975
20 | 2499160.9198 | 1120161.975 | 2499130.5618 | 1120195.2538
21 | 2499153.4765 | 1120145.0552 | 2499148.6658 | 1120150.4054
22 | 2499130.5618 | 1120195.2538 | 2499119.9968 | 1120206.8352
23 | 2499195.2407 | 1120099.3747 | 2499200.2792 | 1120103.9714 | 2499208.4685 | 1120094.3733
24 | 2499208.4685 | 1120094.3733 | 2499216.5519 | 1120094.1496 | 2499226.144 | 1120083.5275 | 2499223.932 | 1120081.3741 | 2499222.1467 | 1120079.8299
25 | 2499174.0905 | 1120063.3603 | 2499195.8308 | 1120083.3993 | 2499197.6816 | 1120086.1035 | 2499198.6273 | 1120090.0569 | 2499198.2376 | 1120094.455 | 2499195.2407 | 1120099.3747
26 | 2499195.2407 | 1120099.3747 | 2499188.6929 | 1120106.5365
27 | 2499195.2407 | 1120099.3747 | 2499200.2792 | 1120103.9714 | 2499206.8915 | 1120110.3985 | 2499215.1754 | 1120118.4989 | 2499211.2991 | 1120122.9774 | 2499223.7551 | 1120134.1657 | 2499225.9147 | 1120135.9531 | 2499233.5361 | 1120142.2745 | 2499236.7731 | 1120145.278 | 2499240.5432 | 1120148.7841 | 2499220.4527 | 1120171.6665 | 2499224.1573 | 1120174.4843
28 | 2499213.9741 | 1120072.7611 | 2499222.1467 | 1120079.8299
29 | 2499224.1573 | 1120174.4843 | 2499229.441 | 1120178.521 | 2499318.1295 | 1120244.8965 | 2499319.7392 | 1120246.1038 | 2499331.7111 | 1120256.0552 | 2499336.3381 | 1120260.5143
30 | 2499336.3381 | 1120260.5143 | 2499315.283 | 1120269.0368 | 2499286.1667 | 1120277.2379 | 2499276.9086 | 1120287.0538 | 2499273.8907 | 1120296.2654 | 2499285.7579 | 1120323.5515 | 2499306.7076 | 1120344.3824 | 2499341.4681 | 1120373.0105 | 2499342.8946 | 1120384.9943 | 2499343.5712 | 1120400.6039 | 2499341.9208 | 1120427.059 | 2499326.5018 | 1120453.3433 | 2499289.2361 | 1120502.6391 | 2499262.2802 | 1120529.7384 | 2499196.1162 | 1120474.3173 | 2499175.9756 | 1120457.5618
31 | 2499224.1573 | 1120174.4843 | 2499158.2777 | 1120253.8152
32 | 2499175.9756 | 1120457.5618 | 2499170.7052 | 1120453.1772
33 | 2499145.1985 | 1120269.1919 | 2499150.5391 | 1120263.1338 | 2499158.2777 | 1120253.8152
34 | 2499140.5717 | 1119975.1861 | 2499146.5317 | 1119977.6549 | 2499157.9233 | 1119982.379 | 2499159.5863 | 1119983.074
35 | 2499159.5863 | 1119983.074 | 2499157.9233 | 1119982.379 | 2499160.8724 | 1119972.2791 | 2499162.7337 | 1119965.8996 | 2499183.6268 | 1119975.8353 | 2499207.5114 | 1119986.0769
36 | 2499140.5717 | 1119975.1861 | 2499136.932 | 1119986.4428 | 2499134.9245 | 1119987.299 | 2499131.9252 | 1119997.6864
37 | 2499207.5114 | 1119986.0769 | 2499210.4181 | 1119987.3182 | 2499234.9758 | 1120001.2633
38 | 2499133.7262 | 1120026.9327 | 2499130.7504 | 1120019.2442 | 2499129.3217 | 1120011.3186 | 2499130.1826 | 1120003.7217 | 2499131.9252 | 1119997.6864
39 | 2499153.4765 | 1120145.0552 | 2499177.6108 | 1120118.6578
40 | 2499278.6869 | 1120046.9515 | 2499280.1056 | 1120045.4936 | 2499282.679 | 1120042.0153 | 2499285.5316 | 1120038.1542 | 2499298.2014 | 1120046.4262 | 2499309.7109 | 1120055.4625 | 2499313.6192 | 1120049.6604
41 | 2499313.6192 | 1120049.6604 | 2499296.861 | 1120039.0959
42 | 2499278.1438 | 1120046.501 | 2499278.6869 | 1120046.9515
43 | 2499265.0707 | 1120019.0551 | 2499296.861 | 1120039.0959
44 | 2499237.8809 | 1120002.9129 | 2499234.9758 | 1120001.2633
45 | 2499174.0905 | 1120063.3603 | 2499150.0534 | 1120041.6636
46 | 2499174.0905 | 1120063.3603 | 2499164.3704 | 1120073.2507 | 2499158.8696 | 1120078.9006
47 | 2499188.6929 | 1120106.5365 | 2499177.6108 | 1120118.6578
48 | 2499148.8628 | 1120040.5888 | 2499155.1089 | 1120033.8471
49 | 2499155.1089 | 1120033.8471 | 2499156.443 | 1120027.3208 | 2499152.4501 | 1120023.4183 | 2499150.9627 | 1120020.888
50 | 2499148.8628 | 1120040.5888 | 2499150.0534 | 1120041.6636
51 | 2499148.8628 | 1120040.5888 | 2499138.8929 | 1120031.5941
52 | 2499089.5351 | 1120240.2275 | 2499079.4171 | 1120251.319
53 | 2499121.2315 | 1120016.2233 | 2499133.7262 | 1120026.9327
54 | 2499121.2315 | 1120016.2233 | 2499102.6341 | 1120000.0456 | 2499107.2121 | 1119985.5435
55 | 2499109.8482 | 1120217.9601 | 2499119.9968 | 1120206.8352
56 | 2499151.9397 | 1120437.5657 | 2499170.7052 | 1120453.1772
57 | 2499133.7262 | 1120026.9327 | 2499138.8929 | 1120031.5941
58 | 2499237.8809 | 1120002.9129 | 2499253.8426 | 1120011.9768 | 2499265.0707 | 1120019.0551
59 | 2499158.4703 | 1120079.3108 | 2499158.8696 | 1120078.9006
60 | 2499137.3195 | 1120425.5729 | 2499149.5273 | 1120435.5587 | 2499151.9397 | 1120437.5657
61 | 2499137.3195 | 1120425.5729 | 2499131.2919 | 1120420.6424
62 | 2499158.1148 | 1120079.6759 | 2499158.4703 | 1120079.3108
63 | 2499089.5351 | 1120240.2275 | 2499099.707 | 1120229.0769
64 | 2499109.8482 | 1120217.9601 | 2499099.707 | 1120229.0769

## bus_geodata
| x | y | coords
0 | 2499053.2551 | 1120304.7593
1 | 2499041.2435 | 1120293.1651
2 | 2499059.0882 | 1120273.6037
3 | 2499069.2649 | 1120262.4479
4 | 2499093.7503 | 1120159.3938
5 | 2499099.7654 | 1120164.8177
6 | 2499088.5546 | 1120154.7097
7 | 2499119.5963 | 1120182.6994
8 | 2499129.3135 | 1120171.9044
9 | 2499030.7176 | 1120024.2944
10 | 2499098.7685 | 1120025.9597
11 | 2499018.9866 | 1120015.0911
12 | 2499109.5238 | 1120028.1594
13 | 2499051.0782 | 1120077.6546
14 | 2499048.3959 | 1120091.6971
15 | 2499091.1394 | 1120092.2174
16 | 2499074.5375 | 1120110.9618
17 | 2499133.9778 | 1120127.074
18 | 2499160.9198 | 1120161.975
19 | 2499148.6658 | 1120150.4054
20 | 2499130.5618 | 1120195.2538
21 | 2499208.4685 | 1120094.3733
22 | 2499195.2407 | 1120099.3747
23 | 2499222.1467 | 1120079.8299
24 | 2499336.3381 | 1120260.5143
25 | 2499224.1573 | 1120174.4843
26 | 2499175.9756 | 1120457.5618
27 | 2499158.2777 | 1120253.8152
28 | 2499159.5863 | 1119983.074
29 | 2499140.5717 | 1119975.1861
30 | 2499207.5114 | 1119986.0769
31 | 2499131.9252 | 1119997.6864
32 | 2499153.4765 | 1120145.0552
33 | 2499313.6192 | 1120049.6604
34 | 2499278.6869 | 1120046.9515
35 | 2499296.861 | 1120039.0959
36 | 2499234.9758 | 1120001.2633
37 | 2499174.0905 | 1120063.3603
38 | 2499188.6929 | 1120106.5365
39 | 2499155.1089 | 1120033.8471
40 | 2499148.8628 | 1120040.5888
41 | 2499150.9627 | 1120020.888
42 | 2499278.1438 | 1120046.501
43 | 2499079.4171 | 1120251.319
44 | 2499077.4471 | 1120144.6959
45 | 2499121.2315 | 1120016.2233
46 | 2499119.9968 | 1120206.8352
47 | 2499213.9741 | 1120072.7611
48 | 2499170.7052 | 1120453.1772
49 | 2499145.1985 | 1120269.1919
50 | 2499133.7262 | 1120026.9327
51 | 2499177.6108 | 1120118.6578
52 | 2499265.0707 | 1120019.0551
53 | 2499237.8809 | 1120002.9129
54 | 2499107.2121 | 1119985.5435
55 | 2499150.0534 | 1120041.6636
56 | 2499158.8696 | 1120078.9006
57 | 2499138.8929 | 1120031.5941
58 | 2499151.9397 | 1120437.5657
59 | 2499137.3195 | 1120425.5729
60 | 2499131.2919 | 1120420.6424
61 | 2499158.4703 | 1120079.3108
62 | 2499158.1148 | 1120079.6759
63 | 2499089.5351 | 1120240.2276
64 | 2499099.707 | 1120229.0769
65 | 2499109.8482 | 1120217.9601
66 | 2499153.4765 | 1120145.0552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1