## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-32_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-32_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-32_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-32_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-32_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6621-32_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6621-32_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6621-32_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6621-32_0_7_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6621-32_0_7_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_6621-32_0_7_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6621-32_0_7_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_6621-32_0_7_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_6621-32_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6621-32_0_7_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_6621-32_0_7_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6621-32_0_7_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6621-32_0_7_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_6621-32_0_7_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_6621-32_0_7_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6621-32_0_7_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6621-32_0_7_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6621-32_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6621-32_0_7_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_6621-32_0_7_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6621-32_0_7_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6621-32_0_7_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6621-32_0_7_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6621-32_0_7_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6621-32_0_7_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_6621-32_0_7_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_6621-32_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6621-32_0_7_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_6621-32_0_7_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6621-32_0_7_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6621-32_0_7_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6621-32_0_7_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6621-32_0_7_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_6621-32_0_7_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6621-32_0_7_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_6621-32_0_7_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6621-32_0_7_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6621-32_0_7_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_6621-32_0_7_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6621-32_0_7_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6621-32_0_7_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_6621-32_0_7_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6621-32_0_7_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6621-32_0_7_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6621-32_0_7_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6621-32_0_7_node_42 | 0.4 | n |  | TRUE
51 | bus_MV_662_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-32_0_7_load_0 | 0 | 0.011578 | 0.0029018 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-32_0_7_load_1 | 1 | 0.0097914 | 0.002454 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-32_0_7_load_5 | 5 | 0.0084473 | 0.0021171 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-32_0_7_load_6 | 6 | 0.0069309 | 0.001737 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-32_0_7_load_9 | 8 | 0.014133 | 0.0035421 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-32_0_7_load_34 | 11 | 0.0027144 | 0.00068029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-32_0_7_load_33 | 12 | 0.0067741 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-32_0_7_load_35 | 14 | 0.012266 | 0.0030742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-32_0_7_load_36 | 15 | 0.0044735 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-32_0_7_load_44 | 17 | 0.011741 | 0.0029425 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-32_0_7_load_45 | 18 | 0.0066926 | 0.0016773 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-32_0_7_load_25 | 20 | 0.010445 | 0.0026179 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-32_0_7_load_24 | 21 | 0.0092117 | 0.0023087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-32_0_7_load_39 | 23 | 0.0065156 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-32_0_7_load_37 | 24 | 0.019642 | 0.0049226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-32_0_7_load_40 | 28 | 0.02519 | 0.0063133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-32_0_7_load_52 | 29 | 0.041131 | 0.010308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-32_0_7_load_28 | 30 | 0.01715 | 0.0042981 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-32_0_7_load_53 | 32 | 0.060257 | 0.015102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-32_0_7_load_31 | 34 | 0.0031746 | 0.00079564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-32_0_7_load_48 | 37 | 0.0043074 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-32_0_7_load_47 | 39 | 0.0095479 | 0.0023929 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-32_0_7_load_49 | 40 | 0.0023199 | 0.00058142 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-32_0_7_load_50 | 42 | 0.017934 | 0.0044947 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-32_0_7_load_43 | 43 | 0.016319 | 0.00409 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-32_0_7_load_38 | 44 | 0.021648 | 0.0054254 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-32_0_7_load_46 | 45 | 0.013546 | 0.003395 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-32_0_7_load_26 | 46 | 0.009938 | 0.0024907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-32_0_7_load_41 | 47 | 0.034971 | 0.0087644 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-32_0_7_load_27 | 48 | 0.010668 | 0.0026737 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-32_0_7_load_30 | 49 | 0.002304 | 0.00057743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-32_0_7_load_42 | 50 | 0.013561 | 0.0033986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-32_0_7_line_0 |  | 0 | 1 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6621-32_0_7_line_1 |  | 0 | 2 | 0.011948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6621-32_0_7_line_2 |  | 1 | 3 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6621-32_0_7_line_3 |  | 2 | 4 | 0.005197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6621-32_0_7_line_4 |  | 2 | 5 | 0.023781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-32_0_7_line_5 |  | 3 | 6 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-32_0_7_line_6 |  | 3 | 7 | 0.006339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6621-32_0_7_line_7 |  | 4 | 8 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-32_0_7_line_8 |  | 4 | 9 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-32_0_7_line_9 |  | 5 | 10 | 0.009106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-32_0_7_line_10 |  | 7 | 11 | 0.0099919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6621-32_0_7_line_11 |  | 7 | 12 | 0.011642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-32_0_7_line_12 |  | 9 | 34 | 0.005866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-32_0_7_line_13 |  | 9 | 35 | 0.01181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-32_0_7_line_14 |  | 9 | 36 | 0.008199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-32_0_7_line_15 |  | 10 | 17 | 0.022649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-32_0_7_line_16 |  | 10 | 18 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-32_0_7_line_17 |  | 11 | 43 | 0.02565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6621-32_0_7_line_18 |  | 13 | 14 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-32_0_7_line_19 |  | 13 | 15 | 0.031636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-32_0_7_line_20 |  | 13 | 16 | 0.032796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-32_0_7_line_21 |  | 14 | 44 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-32_0_7_line_22 |  | 16 | 30 | 0.014846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-32_0_7_line_23 |  | 17 | 45 | 0.011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-32_0_7_line_24 |  | 18 | 41 | 0.043576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-32_0_7_line_25 |  | 19 | 20 | 0.025811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-32_0_7_line_26 |  | 19 | 21 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-32_0_7_line_27 |  | 20 | 46 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-32_0_7_line_28 |  | 22 | 23 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-32_0_7_line_29 |  | 22 | 24 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-32_0_7_line_30 |  | 24 | 44 | 0.0048243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-32_0_7_line_31 |  | 25 | 26 | 0.13656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-32_0_7_line_32 |  | 25 | 27 | 0.13678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-32_0_7_line_33 |  | 25 | 28 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-32_0_7_line_34 |  | 26 | 42 | 0.080978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-32_0_7_line_35 |  | 27 | 29 | 0.004367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-32_0_7_line_36 |  | 28 | 47 | 0.017913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-32_0_7_line_37 |  | 30 | 48 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-32_0_7_line_38 |  | 31 | 32 | 0.019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-32_0_7_line_39 |  | 31 | 33 | 0.18878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-32_0_7_line_40 |  | 33 | 37 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-32_0_7_line_41 |  | 35 | 39 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-32_0_7_line_42 |  | 35 | 46 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-32_0_7_line_43 |  | 36 | 49 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-32_0_7_line_44 |  | 36 | 48 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-32_0_7_line_45 |  | 37 | 41 | 0.005118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-32_0_7_line_46 |  | 38 | 39 | 0.0023816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-32_0_7_line_47 |  | 38 | 40 | 0.0026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-32_0_7_line_48 |  | 43 | 50 | 0.0066703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-32_0_7_line_49 |  | 47 | 50 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-32_0_7_trafo_3 | 0.63 MVA 20/0.4 kV | 51 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2498968.577 | 1119158.0653 | 2498958.7902 | 1119141.8174
1 | 2498952.6254 | 1119131.5828 | 2498958.7902 | 1119141.8174
2 | 2498973.9877 | 1119170.7839 | 2498974.2331 | 1119167.4555 | 2498968.577 | 1119158.0653
3 | 2498952.6254 | 1119131.5828 | 2498956.4171 | 1119128.0172
4 | 2498952.6254 | 1119131.5828 | 2498935.2843 | 1119147.8554
5 | 2498973.9877 | 1119170.7839 | 2498954.7614 | 1119181.17
6 | 2498979.579 | 1119167.7664 | 2498973.9877 | 1119170.7839
7 | 2498956.4171 | 1119128.0172 | 2498963.6178 | 1119140.3747
8 | 2498946.4787 | 1119117.5322 | 2498953.1408 | 1119125.0145 | 2498954.1446 | 1119124.1194 | 2498956.4171 | 1119128.0172
9 | 2498928.6441 | 1119154.0865 | 2498935.2843 | 1119147.8554
10 | 2498979.579 | 1119167.7664 | 2498988.5253 | 1119163.3165
11 | 2498979.579 | 1119167.7664 | 2498973.7176 | 1119157.7073
12 | 2498942.5696 | 1119113.1503 | 2498944.8426 | 1119115.6917 | 2498946.4787 | 1119117.5322
13 | 2498937.9201 | 1119117.1082 | 2498942.5763 | 1119121.3998 | 2498946.4787 | 1119117.5322
14 | 2498949.2251 | 1119110.5375 | 2498949.4009 | 1119114.5926 | 2498946.4787 | 1119117.5322
15 | 2498928.6441 | 1119154.0865 | 2498932.2258 | 1119161.509 | 2498933.6422 | 1119164.5206 | 2498925.27 | 1119171.7773
16 | 2498928.6441 | 1119154.0865 | 2498916.9375 | 1119165.196
17 | 2499005.0152 | 1119146.406 | 2499005.0152 | 1119146.406 | 2499001.8758 | 1119156.6759 | 2498988.5253 | 1119163.3165
18 | 2498984.5406 | 1119102.587 | 2498992.6287 | 1119114.4879
19 | 2498984.5406 | 1119102.587 | 2499005.3899 | 1119078.7931
20 | 2498979.8399 | 1119077.6165 | 2498989.6748 | 1119087.9143 | 2498981.4391 | 1119098.036 | 2498984.5406 | 1119102.587
21 | 2498992.6287 | 1119114.4879 | 2498994.5894 | 1119117.3729 | 2499001.3611 | 1119113.486
22 | 2498979.8399 | 1119077.6165 | 2498968.9503 | 1119087.7066
23 | 2498916.4034 | 1119179.4625 | 2498925.27 | 1119171.7773
24 | 2498893.5286 | 1119196.122 | 2498889.9365 | 1119191.3123 | 2498894.4411 | 1119186.5451 | 2498916.9375 | 1119165.196
25 | 2498892.0295 | 1119160.0243 | 2498910.881 | 1119142.3947
26 | 2498892.0295 | 1119160.0243 | 2498890.4077 | 1119154.4257 | 2498887.126 | 1119151.1007
27 | 2498910.881 | 1119142.3947 | 2498920.5465 | 1119133.3558
28 | 2499015.1381 | 1119105.578 | 2499019.8071 | 1119114.7947
29 | 2499015.1381 | 1119105.578 | 2499005.5452 | 1119111.0844
30 | 2499005.5452 | 1119111.0844 | 2499001.3611 | 1119113.486
31 | 2499064.2945 | 1119118.5768 | 2499069.9663 | 1119129.1554 | 2499074.9032 | 1119138.7124 | 2499073.4837 | 1119141.9826 | 2499072.0319 | 1119145.6313 | 2499076.8299 | 1119148.2529 | 2499080.5508 | 1119151.0815 | 2499083.8251 | 1119154.8959 | 2499087.0738 | 1119160.4118 | 2499102.377 | 1119190.3865 | 2499106.6775 | 1119196.9633 | 2499113.3458 | 1119206.6804 | 2499119.2723 | 1119213.5747 | 2499134.1223 | 1119230.282
32 | 2499027.3937 | 1119209.9722 | 2499028.3117 | 1119207.6332 | 2499028.7633 | 1119205.1019 | 2499028.8896 | 1119203.4209 | 2499028.7797 | 1119201.9218 | 2499028.0697 | 1119200.077 | 2499027.1529 | 1119198.3245 | 2499025.326 | 1119195.6867 | 2499023.4576 | 1119193.3386 | 2499020.8743 | 1119190.6912 | 2499015.4216 | 1119185.3789 | 2499012.6999 | 1119179.5318 | 2499048.5927 | 1119163.189 | 2499069.0097 | 1119153.2198 | 2499072.0319 | 1119145.6313 | 2499073.4837 | 1119141.9826 | 2499074.9032 | 1119138.7124 | 2499069.9663 | 1119129.1554 | 2499064.2945 | 1119118.5768
33 | 2499064.2945 | 1119118.5768 | 2499040.2872 | 1119131.2222
34 | 2499134.1223 | 1119230.282 | 2499127.9341 | 1119236.8449 | 2499114.2379 | 1119250.8821 | 2499105.9337 | 1119264.2957 | 2499103.4917 | 1119267.8053 | 2499099.8266 | 1119272.0135 | 2499096.9377 | 1119274.6412 | 2499089.9312 | 1119278.8718 | 2499085.8197 | 1119281.7645 | 2499084.1083 | 1119283.2717 | 2499083.1021 | 1119284.9451 | 2499082.4504 | 1119286.5904 | 2499082.0714 | 1119288.3867 | 2499082.0313 | 1119290.144
35 | 2499023.5227 | 1119212.0159 | 2499027.3937 | 1119209.9722
36 | 2499024.1185 | 1119137.3353 | 2499031.3015 | 1119133.4256 | 2499034.9315 | 1119134.0432 | 2499040.2872 | 1119131.2222
37 | 2498968.9503 | 1119087.7066 | 2498955.3062 | 1119100.349
38 | 2498891.7603 | 1119301.7289 | 2498891.2303 | 1119305.5736 | 2498877.3687 | 1119313.3769
39 | 2498877.3687 | 1119313.3769 | 2498870.5173 | 1119313.9473 | 2498864.3154 | 1119313.6731 | 2498859.7734 | 1119312.9708 | 2498850.5054 | 1119311.1802 | 2498843.5486 | 1119309.6067 | 2498841.6519 | 1119308.7934 | 2498839.2564 | 1119307.2325 | 2498838.6225 | 1119306.7095 | 2498837.0185 | 1119305.4021 | 2498834.5228 | 1119302.4643 | 2498832.2116 | 1119299.4788 | 2498830.6836 | 1119297.1807 | 2498829.4947 | 1119294.3877 | 2498828.692 | 1119291.6216 | 2498828.3075 | 1119288.9375 | 2498827.9943 | 1119286.3633 | 2498828.1964 | 1119283.6805 | 2498828.7131 | 1119281.8151 | 2498829.6372 | 1119279.387 | 2498831.1832 | 1119276.3037 | 2498833.8752 | 1119272.0671 | 2498834.0042 | 1119270.5529 | 2498833.2773 | 1119268.1635 | 2498875.5452 | 1119241.2843 | 2498871.5815 | 1119235.0133 | 2498867.9187 | 1119229.2042 | 2498903.5752 | 1119208.9287
40 | 2498903.5752 | 1119208.9287 | 2498899.5279 | 1119199.9685 | 2498896.9585 | 1119196.9058
41 | 2498937.9201 | 1119117.1082 | 2498929.3722 | 1119108.4557
42 | 2498937.9201 | 1119117.1082 | 2498920.5465 | 1119133.3558
43 | 2498939.1697 | 1119100.4436 | 2498949.2251 | 1119110.5375
44 | 2498949.2251 | 1119110.5375 | 2498949.9633 | 1119105.2996 | 2498955.3062 | 1119100.349
45 | 2498893.5286 | 1119196.122 | 2498895.0392 | 1119194.618 | 2498896.9585 | 1119196.9058
46 | 2498927.6984 | 1119106.7614 | 2498929.3722 | 1119108.4557
47 | 2498927.6984 | 1119106.7614 | 2498925.8199 | 1119104.9284
48 | 2499005.0152 | 1119146.406 | 2499010.8469 | 1119143.1682
49 | 2499010.8469 | 1119143.1682 | 2499013.0674 | 1119141.9354 | 2499015.4541 | 1119142.0512 | 2499024.1185 | 1119137.3353

## bus_geodata
| x | y | coords
0 | 2498958.7902 | 1119141.8174
1 | 2498968.577 | 1119158.0653
2 | 2498952.6254 | 1119131.5828
3 | 2498973.9877 | 1119170.7839
4 | 2498956.4171 | 1119128.0172
5 | 2498935.2843 | 1119147.8554
6 | 2498954.7614 | 1119181.17
7 | 2498979.579 | 1119167.7664
8 | 2498963.6178 | 1119140.3747
9 | 2498946.4787 | 1119117.5322
10 | 2498928.6441 | 1119154.0865
11 | 2498988.5253 | 1119163.3165
12 | 2498973.7176 | 1119157.7073
13 | 2498984.5406 | 1119102.587
14 | 2498992.6287 | 1119114.4879
15 | 2499005.3899 | 1119078.7931
16 | 2498979.8399 | 1119077.6165
17 | 2498925.27 | 1119171.7773
18 | 2498916.9375 | 1119165.196
19 | 2498892.0295 | 1119160.0243
20 | 2498910.881 | 1119142.3947
21 | 2498887.126 | 1119151.1007
22 | 2499015.1381 | 1119105.578
23 | 2499019.8071 | 1119114.7947
24 | 2499005.5452 | 1119111.0844
25 | 2499064.2945 | 1119118.5768
26 | 2499134.1223 | 1119230.282
27 | 2499027.3937 | 1119209.9722
28 | 2499040.2872 | 1119131.2222
29 | 2499023.5227 | 1119212.0159
30 | 2498968.9503 | 1119087.7066
31 | 2498877.3687 | 1119313.3769
32 | 2498891.7603 | 1119301.7289
33 | 2498903.5752 | 1119208.9287
34 | 2498942.5696 | 1119113.1503
35 | 2498937.9201 | 1119117.1082
36 | 2498949.2251 | 1119110.5375
37 | 2498896.9585 | 1119196.9058
38 | 2498927.6984 | 1119106.7614
39 | 2498929.3722 | 1119108.4557
40 | 2498925.8199 | 1119104.9284
41 | 2498893.5286 | 1119196.122
42 | 2499082.0313 | 1119290.144
43 | 2499005.0152 | 1119146.406
44 | 2499001.3611 | 1119113.486
45 | 2498916.4034 | 1119179.4625
46 | 2498920.5465 | 1119133.3558
47 | 2499024.1185 | 1119137.3353
48 | 2498955.3062 | 1119100.349
49 | 2498939.1697 | 1119100.4436
50 | 2499010.8469 | 1119143.1682
51 | 2498979.579 | 1119167.7664

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1