## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-333_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-333_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-333_0_6_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_6621-333_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-333_0_6_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_6621-333_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6621-333_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_6621-333_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6621-333_0_6_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_6621-333_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6621-333_0_6_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6621-333_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6621-333_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6621-333_0_6_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_6621-333_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_6621-333_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_6621-333_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6621-333_0_6_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_6621-333_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6621-333_0_6_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_6621-333_0_6_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6621-333_0_6_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_6621-333_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6621-333_0_6_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_6621-333_0_6_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_6621-333_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6621-333_0_6_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_6621-333_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6621-333_0_6_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_6621-333_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6621-333_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_6621-333_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_6621-333_0_6_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6621-333_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6621-333_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6621-333_0_6_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_6621-333_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_6621-333_0_6_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_6621-333_0_6_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_6621-333_0_6_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_6621-333_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6621-333_0_6_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_6621-333_0_6_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_6621-333_0_6_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_6621-333_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6621-333_0_6_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6621-333_0_6_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_6621-333_0_6_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_6621-333_0_6_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6621-333_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6621-333_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6621-333_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_6621-333_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6621-333_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_6621-333_0_6_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_6621-333_0_6_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_6621-333_0_6_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_6621-333_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6621-333_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6621-333_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6621-333_0_6_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6621-333_0_6_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6621-333_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_MV_656_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-333_0_6_load_0 | 0 | 0.053496 | 0.013407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-333_0_6_load_59 | 4 | 0.012035 | 0.0030164 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-333_0_6_load_53 | 6 | 0.0091422 | 0.0022912 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-333_0_6_load_44 | 8 | 0.0049259 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-333_0_6_load_42 | 10 | 0.0074583 | 0.0018692 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-333_0_6_load_62 | 13 | 0.01064 | 0.0026667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-333_0_6_load_37 | 14 | 0.015279 | 0.0038294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-333_0_6_load_34 | 15 | 0.01764 | 0.0044211 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-333_0_6_load_43 | 17 | 0.0077822 | 0.0019504 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-333_0_6_load_61 | 19 | 0.0053138 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-333_0_6_load_21 | 20 | 0.010784 | 0.0027027 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-333_0_6_load_26 | 21 | 0.0080171 | 0.0020093 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-333_0_6_load_67 | 23 | 0.014787 | 0.003706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-333_0_6_load_66 | 24 | 0.014088 | 0.0035307 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-333_0_6_load_56 | 26 | 0.017686 | 0.0044326 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-333_0_6_load_32 | 27 | 0.0060203 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-333_0_6_load_28 | 28 | 0.011482 | 0.0028777 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-333_0_6_load_41 | 29 | 0.0072707 | 0.0018222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-333_0_6_load_40 | 30 | 0.0067033 | 0.00168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-333_0_6_load_54 | 31 | 0.0098199 | 0.0024611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-333_0_6_load_35 | 32 | 0.011954 | 0.0029959 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-333_0_6_load_19 | 33 | 0.0087125 | 0.0021836 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-333_0_6_load_25 | 34 | 0.0015344 | 0.00038455 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-333_0_6_load_47 | 35 | 0.0025236 | 0.00063247 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-333_0_6_load_49 | 36 | 0.0044031 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-333_0_6_load_45 | 37 | 0.024563 | 0.0061561 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-333_0_6_load_48 | 38 | 0.015052 | 0.0037723 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-333_0_6_load_55 | 39 | 0.0053816 | 0.0013487 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-333_0_6_load_27 | 40 | 0.0077707 | 0.0019475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-333_0_6_load_18 | 41 | 0.0028625 | 0.00071742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-333_0_6_load_20 | 42 | 0.013141 | 0.0032933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-333_0_6_load_22 | 43 | 0.0043155 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-333_0_6_load_23 | 44 | 0.01563 | 0.0039173 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-333_0_6_load_24 | 45 | 0.05543 | 0.013892 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-333_0_6_load_50 | 46 | 0.0060658 | 0.0015202 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-333_0_6_load_51 | 47 | 0.011508 | 0.0028843 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-333_0_6_load_29 | 48 | 0.0051501 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-333_0_6_load_30 | 49 | 0.023384 | 0.0058606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-333_0_6_load_31 | 50 | 0.0036599 | 0.00091725 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-333_0_6_load_33 | 51 | 0.0028709 | 0.00071951 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-333_0_6_load_52 | 52 | 0.021697 | 0.0054377 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-333_0_6_load_58 | 53 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-333_0_6_load_36 | 54 | 0.0098198 | 0.0024611 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6621-333_0_6_load_60 | 55 | 0.015444 | 0.0038706 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6621-333_0_6_load_65 | 56 | 0.0035066 | 0.00087884 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6621-333_0_6_load_38 | 57 | 0.0072783 | 0.0018241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6621-333_0_6_load_39 | 58 | 0.0091641 | 0.0022968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6621-333_0_6_load_46 | 59 | 0.010647 | 0.0026683 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6621-333_0_6_load_57 | 60 | 0.002947 | 0.0007386 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6621-333_0_6_load_63 | 61 | 0.0076573 | 0.0019191 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6621-333_0_6_load_64 | 62 | 0.0086123 | 0.0021584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-333_0_6_line_0 |  | 0 | 1 | 0.043122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-333_0_6_line_1 |  | 1 | 2 | 0.023888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-333_0_6_line_2 |  | 2 | 27 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-333_0_6_line_3 |  | 2 | 28 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6621-333_0_6_line_4 |  | 3 | 4 | 0.0084288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-333_0_6_line_5 |  | 3 | 5 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6621-333_0_6_line_6 |  | 3 | 6 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-333_0_6_line_7 |  | 5 | 14 | 0.030879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6621-333_0_6_line_8 |  | 5 | 15 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6621-333_0_6_line_9 |  | 6 | 29 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-333_0_6_line_10 |  | 7 | 8 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-333_0_6_line_11 |  | 7 | 9 | 0.019746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-333_0_6_line_12 |  | 7 | 10 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-333_0_6_line_13 |  | 9 | 16 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-333_0_6_line_14 |  | 9 | 17 | 0.0097112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-333_0_6_line_15 |  | 10 | 30 | 0.0052205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-333_0_6_line_16 |  | 11 | 12 | 0.032319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-333_0_6_line_17 |  | 11 | 13 | 0.0071546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-333_0_6_line_18 |  | 12 | 18 | 0.032577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-333_0_6_line_19 |  | 12 | 17 | 0.0094062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-333_0_6_line_20 |  | 14 | 31 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6621-333_0_6_line_21 |  | 15 | 32 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6621-333_0_6_line_22 |  | 16 | 20 | 0.0089323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-333_0_6_line_23 |  | 16 | 21 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-333_0_6_line_24 |  | 18 | 19 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-333_0_6_line_25 |  | 20 | 33 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6621-333_0_6_line_26 |  | 21 | 34 | 0.0076191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-333_0_6_line_27 |  | 22 | 23 | 0.0080382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-333_0_6_line_28 |  | 22 | 24 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-333_0_6_line_29 |  | 23 | 25 | 0.0038184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6621-333_0_6_line_30 |  | 24 | 38 | 0.0072703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-333_0_6_line_31 |  | 25 | 26 | 0.0089824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6621-333_0_6_line_32 |  | 26 | 39 | 0.0039961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6621-333_0_6_line_33 |  | 28 | 40 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-333_0_6_line_34 |  | 29 | 58 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-333_0_6_line_35 |  | 31 | 39 | 0.00094091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6621-333_0_6_line_36 |  | 32 | 54 | 0.0010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6621-333_0_6_line_37 |  | 33 | 41 | 0.0011742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6621-333_0_6_line_38 |  | 34 | 40 | 0.008939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-333_0_6_line_39 |  | 35 | 36 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-333_0_6_line_40 |  | 35 | 37 | 0.0077952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-333_0_6_line_41 |  | 36 | 60 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-333_0_6_line_42 |  | 37 | 59 | 0.0077388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-333_0_6_line_43 |  | 38 | 59 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-333_0_6_line_44 |  | 41 | 42 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6621-333_0_6_line_45 |  | 42 | 43 | 0.00077351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6621-333_0_6_line_46 |  | 43 | 44 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6621-333_0_6_line_47 |  | 44 | 45 | 0.0029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6621-333_0_6_line_48 |  | 45 | 46 | 0.0033351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6621-333_0_6_line_49 |  | 46 | 47 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6621-333_0_6_line_50 |  | 47 | 61 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6621-333_0_6_line_51 |  | 48 | 49 | 0.0083068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-333_0_6_line_52 |  | 48 | 50 | 0.00066213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-333_0_6_line_53 |  | 50 | 51 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-333_0_6_line_54 |  | 51 | 52 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-333_0_6_line_55 |  | 52 | 53 | 0.00027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-333_0_6_line_56 |  | 53 | 60 | 0.0098769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-333_0_6_line_57 |  | 54 | 55 | 0.00057102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6621-333_0_6_line_58 |  | 55 | 56 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6621-333_0_6_line_59 |  | 56 | 62 | 0.0034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6621-333_0_6_line_60 |  | 57 | 58 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-333_0_6_line_61 |  | 61 | 62 | 0.0030956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-333_0_6_trafo_23 | 0.63 MVA 20/0.4 kV | 63 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2500708.1159 | 1118882.7441 | 2500665.5998 | 1118875.5392
1 | 2500708.1159 | 1118882.7441 | 2500708.6926 | 1118879.3214 | 2500711.1951 | 1118864.3933 | 2500712.0743 | 1118859.1867
2 | 2500712.0743 | 1118859.1867 | 2500714.8138 | 1118859.6309 | 2500716.6148 | 1118857.9114 | 2500718.2588 | 1118848.0179
3 | 2500712.0743 | 1118859.1867 | 2500699.6039 | 1118857.0967
4 | 2500618.3258 | 1118689.0091 | 2500609.9157 | 1118689.5706
5 | 2500618.3258 | 1118689.0091 | 2500623.9899 | 1118689.4051 | 2500628.9661 | 1118689.7458
6 | 2500618.3258 | 1118689.0091 | 2500620.2712 | 1118713.5785
7 | 2500628.9661 | 1118689.7458 | 2500659.8279 | 1118690.7874
8 | 2500628.9661 | 1118689.7458 | 2500629.9668 | 1118702.175
9 | 2500620.2712 | 1118713.5785 | 2500621.6773 | 1118731.3356
10 | 2500618.2058 | 1118819.27 | 2500628.5833 | 1118818.588
11 | 2500630.0107 | 1118838.2768 | 2500628.5833 | 1118818.588
12 | 2500628.5833 | 1118818.588 | 2500627.2157 | 1118801.3002
13 | 2500630.0107 | 1118838.2768 | 2500630.6139 | 1118845.3936 | 2500636.381 | 1118846.4328 | 2500641.9314 | 1118847.4311
14 | 2500630.0107 | 1118838.2768 | 2500620.3318 | 1118839.0685
15 | 2500626.804 | 1118796.096 | 2500627.2157 | 1118801.3002
16 | 2500610.9569 | 1118839.8353 | 2500609.3858 | 1118837.6931 | 2500598.6811 | 1118810.0295
17 | 2500598.6811 | 1118810.0295 | 2500595.9921 | 1118803.3995
18 | 2500597.7812 | 1118858.0965 | 2500597.4693 | 1118851.7977 | 2500595.4843 | 1118846.5493 | 2500596.2831 | 1118844.4348 | 2500596.3613 | 1118842.6213 | 2500601.6398 | 1118840.7 | 2500606.9858 | 1118838.6554 | 2500609.3858 | 1118837.6931 | 2500610.9569 | 1118839.8353
19 | 2500610.9569 | 1118839.8353 | 2500620.3318 | 1118839.0685
20 | 2500674.8744 | 1118691.2952 | 2500659.8279 | 1118690.7874
21 | 2500631.8045 | 1118725.0002 | 2500629.9668 | 1118702.175
22 | 2500641.9314 | 1118847.4311 | 2500641.1598 | 1118838.5323
23 | 2500641.9314 | 1118847.4311 | 2500669.0449 | 1118851.9752
24 | 2500597.7812 | 1118858.0965 | 2500599.8095 | 1118857.9964 | 2500602.7649 | 1118859.8379 | 2500609.4219 | 1118876.4711
25 | 2500639.2344 | 1118816.3237 | 2500641.1598 | 1118838.5323
26 | 2500676.5592 | 1118853.2346 | 2500669.0449 | 1118851.9752
27 | 2500699.9002 | 1118693.6389 | 2500698.6009 | 1118692.0704 | 2500692.6024 | 1118691.8835
28 | 2500699.9002 | 1118693.6389 | 2500714.3242 | 1118711.5784
29 | 2500688.7858 | 1118691.7647 | 2500692.6024 | 1118691.8835
30 | 2500714.3242 | 1118711.5784 | 2500718.8798 | 1118717.2444
31 | 2500688.7858 | 1118691.7647 | 2500679.8085 | 1118691.4617
32 | 2500679.8085 | 1118691.4617 | 2500675.8147 | 1118691.3269
33 | 2500699.6039 | 1118857.0967 | 2500685.3752 | 1118854.7121
34 | 2500623.0738 | 1118748.9727 | 2500621.6773 | 1118731.3356
35 | 2500674.8744 | 1118691.2952 | 2500675.8147 | 1118691.3269
36 | 2500631.8045 | 1118725.0002 | 2500631.8853 | 1118726.0047
37 | 2500639.133 | 1118815.1539 | 2500639.2344 | 1118816.3237
38 | 2500685.3752 | 1118854.7121 | 2500676.5592 | 1118853.2346
39 | 2500735.5619 | 1118737.9924 | 2500736.5402 | 1118739.2882 | 2500733.789 | 1118755.7527
40 | 2500735.5619 | 1118737.9924 | 2500730.6773 | 1118731.9173
41 | 2500733.789 | 1118755.7527 | 2500731.7665 | 1118767.8565
42 | 2500725.8281 | 1118725.8862 | 2500730.6773 | 1118731.9173
43 | 2500725.8281 | 1118725.8862 | 2500718.8798 | 1118717.2444
44 | 2500639.133 | 1118815.1539 | 2500638.1504 | 1118803.8216 | 2500637.3771 | 1118794.2163
45 | 2500637.315 | 1118793.4453 | 2500637.3771 | 1118794.2163
46 | 2500637.315 | 1118793.4453 | 2500635.7061 | 1118773.4608
47 | 2500635.4683 | 1118770.5079 | 2500635.7061 | 1118773.4608
48 | 2500635.4683 | 1118770.5079 | 2500635.2007 | 1118767.1835
49 | 2500635.2007 | 1118767.1835 | 2500634.3179 | 1118756.219
50 | 2500634.3179 | 1118756.219 | 2500633.4944 | 1118745.9902
51 | 2500725.1094 | 1118806.9357 | 2500724.4957 | 1118810.4858 | 2500723.7246 | 1118815.1262
52 | 2500725.1094 | 1118806.9357 | 2500725.2222 | 1118806.2832
53 | 2500725.2222 | 1118806.2832 | 2500728.3567 | 1118788.1505
54 | 2500728.3567 | 1118788.1505 | 2500728.9152 | 1118784.9196 | 2500730.0936 | 1118777.8674
55 | 2500730.0936 | 1118777.8674 | 2500730.1386 | 1118777.5983
56 | 2500730.1386 | 1118777.5983 | 2500731.7665 | 1118767.8565
57 | 2500631.8853 | 1118726.0047 | 2500631.9312 | 1118726.5739
58 | 2500632.9658 | 1118739.4245 | 2500631.9312 | 1118726.5739
59 | 2500632.9658 | 1118739.4245 | 2500633.246 | 1118742.9046
60 | 2500623.0738 | 1118748.9727 | 2500624.4794 | 1118766.7246
61 | 2500633.246 | 1118742.9046 | 2500633.4944 | 1118745.9902

## bus_geodata
| x | y | coords
0 | 2500665.5998 | 1118875.5392
1 | 2500708.1159 | 1118882.7441
2 | 2500712.0743 | 1118859.1867
3 | 2500618.3258 | 1118689.0091
4 | 2500609.9157 | 1118689.5706
5 | 2500628.9661 | 1118689.7458
6 | 2500620.2712 | 1118713.5785
7 | 2500628.5833 | 1118818.588
8 | 2500618.2058 | 1118819.27
9 | 2500630.0107 | 1118838.2768
10 | 2500627.2157 | 1118801.3002
11 | 2500598.6811 | 1118810.0295
12 | 2500610.9569 | 1118839.8353
13 | 2500595.9921 | 1118803.3995
14 | 2500659.8279 | 1118690.7874
15 | 2500629.9668 | 1118702.175
16 | 2500641.9314 | 1118847.4311
17 | 2500620.3318 | 1118839.0685
18 | 2500597.7812 | 1118858.0965
19 | 2500609.4219 | 1118876.4711
20 | 2500641.1598 | 1118838.5323
21 | 2500669.0449 | 1118851.9752
22 | 2500699.9002 | 1118693.6389
23 | 2500692.6024 | 1118691.8835
24 | 2500714.3242 | 1118711.5784
25 | 2500688.7858 | 1118691.7647
26 | 2500679.8085 | 1118691.4617
27 | 2500718.2588 | 1118848.0179
28 | 2500699.6039 | 1118857.0967
29 | 2500621.6772 | 1118731.3356
30 | 2500626.804 | 1118796.096
31 | 2500674.8743 | 1118691.2952
32 | 2500631.8045 | 1118725.0002
33 | 2500639.2344 | 1118816.3237
34 | 2500676.5592 | 1118853.2346
35 | 2500735.5619 | 1118737.9924
36 | 2500733.789 | 1118755.7527
37 | 2500730.6773 | 1118731.9173
38 | 2500718.8798 | 1118717.2444
39 | 2500675.8147 | 1118691.3269
40 | 2500685.3752 | 1118854.7121
41 | 2500639.133 | 1118815.1539
42 | 2500637.3771 | 1118794.2163
43 | 2500637.315 | 1118793.4453
44 | 2500635.7061 | 1118773.4608
45 | 2500635.4683 | 1118770.5079
46 | 2500635.2007 | 1118767.1835
47 | 2500634.3179 | 1118756.219
48 | 2500725.1094 | 1118806.9357
49 | 2500723.7246 | 1118815.1262
50 | 2500725.2222 | 1118806.2832
51 | 2500728.3567 | 1118788.1505
52 | 2500730.0936 | 1118777.8674
53 | 2500730.1386 | 1118777.5983
54 | 2500631.8853 | 1118726.0047
55 | 2500631.9312 | 1118726.5739
56 | 2500632.9658 | 1118739.4245
57 | 2500624.4794 | 1118766.7246
58 | 2500623.0738 | 1118748.9727
59 | 2500725.8281 | 1118725.8862
60 | 2500731.7665 | 1118767.8565
61 | 2500633.4944 | 1118745.9902
62 | 2500633.246 | 1118742.9046
63 | 2500641.9314 | 1118847.4311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1