## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-33_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-33_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6621-33_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6621-33_0_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_6621-33_0_3_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_6621-33_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6621-33_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6621-33_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_6621-33_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6621-33_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_6621-33_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_6621-33_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6621-33_0_3_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_6621-33_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6621-33_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_6621-33_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_6621-33_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_6621-33_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6621-33_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6621-33_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6621-33_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6621-33_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6621-33_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6621-33_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6621-33_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6621-33_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_6621-33_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6621-33_0_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_6621-33_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6621-33_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_6621-33_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6621-33_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6621-33_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6621-33_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_6621-33_0_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_6621-33_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6621-33_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_6621-33_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6621-33_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_6621-33_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6621-33_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6621-33_0_3_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_6621-33_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_6621-33_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6621-33_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6621-33_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6621-33_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_6621-33_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6621-33_0_3_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_6621-33_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6621-33_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_6621-33_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_6621-33_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_6621-33_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6621-33_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6621-33_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6621-33_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6621-33_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6621-33_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_6621-33_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_MV_662_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-33_0_3_load_0 | 0 | 0.0058039 | 0.0014546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-33_0_3_load_1 | 1 | 0.0010199 | 0.00025562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-33_0_3_load_3 | 3 | 0.0039068 | 0.00097915 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-33_0_3_load_4 | 4 | 0.0068929 | 0.0017275 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-33_0_3_load_43 | 5 | 0.00080083 | 0.00020071 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-33_0_3_load_60 | 6 | 0.00092965 | 0.00023299 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-33_0_3_load_29 | 9 | 0.0011184 | 0.0002803 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-33_0_3_load_62 | 11 | 0.03618 | 0.0090676 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-33_0_3_load_49 | 12 | 0.0026336 | 0.00066004 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-33_0_3_load_48 | 14 | 0.0023645 | 0.0005926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-33_0_3_load_37 | 16 | 0.0059153 | 0.0014825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-33_0_3_load_45 | 18 | 0.0023671 | 0.00059324 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-33_0_3_load_41 | 21 | 0.041408 | 0.010378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-33_0_3_load_47 | 26 | 0.0078484 | 0.001967 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-33_0_3_load_46 | 27 | 0.0023705 | 0.00059412 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-33_0_3_load_63 | 29 | 0.0037365 | 0.00093645 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-33_0_3_load_50 | 31 | 0.0049648 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-33_0_3_load_55 | 35 | 0.00068588 | 0.0001719 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-33_0_3_load_66 | 36 | 0.0009506 | 0.00023824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-33_0_3_load_40 | 38 | 0.0035872 | 0.00089904 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-33_0_3_load_31 | 39 | 0.0036748 | 0.00092099 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-33_0_3_load_51 | 40 | 0.00068699 | 0.00017218 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-33_0_3_load_67 | 43 | 0.030549 | 0.0076563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-33_0_3_load_39 | 47 | 0.031749 | 0.0079571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-33_0_3_load_34 | 49 | 0.0054729 | 0.0013716 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-33_0_3_load_64 | 50 | 0.017721 | 0.0044414 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-33_0_3_load_30 | 51 | 0.0010221 | 0.00025615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-33_0_3_load_61 | 52 | 0.0047483 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-33_0_3_load_32 | 55 | 0.0009882 | 0.00024767 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-33_0_3_load_33 | 56 | 0.0011593 | 0.00029056 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-33_0_3_load_38 | 57 | 0.0024587 | 0.00061621 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-33_0_3_load_57 | 59 | 0.00094619 | 0.00023714 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-33_0_3_load_65 | 60 | 0.0038464 | 0.000964 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-33_0_3_load_58 | 61 | 0.019107 | 0.0047887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-33_0_3_line_0 |  | 0 | 1 | 0.0069172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-33_0_3_line_1 |  | 0 | 2 | 0.041749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6621-33_0_3_line_2 |  | 1 | 3 | 0.030171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6621-33_0_3_line_3 |  | 2 | 4 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6621-33_0_3_line_4 |  | 3 | 5 | 0.027409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-33_0_3_line_5 |  | 4 | 6 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6621-33_0_3_line_6 |  | 5 | 17 | 0.011457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-33_0_3_line_7 |  | 6 | 44 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6621-33_0_3_line_8 |  | 7 | 8 | 0.02132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6621-33_0_3_line_9 |  | 7 | 9 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-33_0_3_line_10 |  | 8 | 12 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-33_0_3_line_11 |  | 8 | 10 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-33_0_3_line_12 |  | 9 | 25 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-33_0_3_line_13 |  | 10 | 11 | 0.045861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6621-33_0_3_line_14 |  | 11 | 22 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-33_0_3_line_15 |  | 13 | 14 | 0.009201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-33_0_3_line_16 |  | 13 | 15 | 0.076576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-33_0_3_line_17 |  | 13 | 16 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6621-33_0_3_line_18 |  | 15 | 17 | 0.005827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6621-33_0_3_line_19 |  | 15 | 18 | 0.024557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-33_0_3_line_20 |  | 16 | 45 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6621-33_0_3_line_21 |  | 17 | 46 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-33_0_3_line_22 |  | 18 | 27 | 0.03741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-33_0_3_line_23 |  | 19 | 20 | 0.037997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6621-33_0_3_line_24 |  | 19 | 21 | 0.035467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-33_0_3_line_25 |  | 20 | 27 | 0.048692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6621-33_0_3_line_26 |  | 22 | 23 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6621-33_0_3_line_27 |  | 23 | 30 | 0.046274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-33_0_3_line_28 |  | 23 | 31 | 0.015218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-33_0_3_line_29 |  | 23 | 28 | 0.048892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-33_0_3_line_30 |  | 24 | 25 | 0.023684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6621-33_0_3_line_31 |  | 24 | 26 | 0.030283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-33_0_3_line_32 |  | 28 | 29 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-33_0_3_line_33 |  | 29 | 37 | 0.0145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-33_0_3_line_34 |  | 30 | 40 | 0.041486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6621-33_0_3_line_35 |  | 31 | 41 | 0.028314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-33_0_3_line_36 |  | 32 | 33 | 0.002532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-33_0_3_line_37 |  | 32 | 34 | 0.070549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-33_0_3_line_38 |  | 32 | 35 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-33_0_3_line_39 |  | 33 | 36 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-33_0_3_line_40 |  | 34 | 39 | 0.083203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-33_0_3_line_41 |  | 35 | 48 | 0.026805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-33_0_3_line_42 |  | 37 | 38 | 0.024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-33_0_3_line_43 |  | 38 | 47 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-33_0_3_line_44 |  | 39 | 51 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-33_0_3_line_45 |  | 40 | 48 | 0.049334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6621-33_0_3_line_46 |  | 41 | 42 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-33_0_3_line_47 |  | 42 | 43 | 0.00467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-33_0_3_line_48 |  | 44 | 52 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6621-33_0_3_line_49 |  | 45 | 57 | 0.009034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-33_0_3_line_50 |  | 45 | 49 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-33_0_3_line_51 |  | 46 | 50 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-33_0_3_line_52 |  | 48 | 58 | 0.027082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6621-33_0_3_line_53 |  | 51 | 55 | 0.035954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-33_0_3_line_54 |  | 52 | 53 | 0.0083922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6621-33_0_3_line_55 |  | 53 | 54 | 0.046263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6621-33_0_3_line_56 |  | 54 | 60 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-33_0_3_line_57 |  | 54 | 58 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6621-33_0_3_line_58 |  | 55 | 56 | 0.030171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-33_0_3_line_59 |  | 58 | 59 | 0.024912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-33_0_3_line_60 |  | 59 | 61 | 0.00099076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-33_0_3_trafo_0 | 0.63 MVA 20/0.4 kV | 62 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2499484.9391 | 1119764.0643 | 2499489.3915 | 1119769.358
1 | 2499458.0719 | 1119732.1139 | 2499459.8156 | 1119734.4086 | 2499476.9903 | 1119754.6135 | 2499484.9391 | 1119764.0643
2 | 2499508.8121 | 1119792.4481 | 2499489.3915 | 1119769.358
3 | 2499458.0719 | 1119732.1139 | 2499469.8032 | 1119721.4456
4 | 2499508.8121 | 1119792.4481 | 2499523.258 | 1119809.6236 | 2499524.2276 | 1119812.2424 | 2499524.2637 | 1119814.4158
5 | 2499477.8834 | 1119713.1572 | 2499476.8251 | 1119714.0575 | 2499471.7709 | 1119719.6562 | 2499469.8032 | 1119721.4456
6 | 2499517.4811 | 1119823.2725 | 2499521.6139 | 1119819.8128 | 2499523.4251 | 1119816.892 | 2499524.2679 | 1119814.6655 | 2499524.2637 | 1119814.4158
7 | 2499487.7462 | 1119702.5355 | 2499478.9177 | 1119712.2772 | 2499477.8834 | 1119713.1572
8 | 2499423.0052 | 1119705.2023 | 2499415.0038 | 1119696.0074 | 2499408.993 | 1119689.103
9 | 2499423.0052 | 1119705.2023 | 2499427.9198 | 1119711.1577 | 2499423.1228 | 1119715.5179 | 2499421.7315 | 1119718.6319 | 2499420.2719 | 1119724.5932 | 2499417.1455 | 1119727.2826
10 | 2499408.993 | 1119689.103 | 2499403.1078 | 1119682.33 | 2499397.5539 | 1119675.9441
11 | 2499408.993 | 1119689.103 | 2499412.4567 | 1119685.7767 | 2499416.5584 | 1119681.8393 | 2499419.786 | 1119682.8752 | 2499423.1462 | 1119682.608
12 | 2499400.9242 | 1119741.2366 | 2499417.1455 | 1119727.2826
13 | 2499423.1462 | 1119682.608 | 2499426.9446 | 1119680.8438 | 2499438.456 | 1119669.5564 | 2499441.7692 | 1119663.6754 | 2499455.5421 | 1119650.8772
14 | 2499481.6658 | 1119626.4778 | 2499473.4449 | 1119634.2415 | 2499455.5421 | 1119650.8772
15 | 2499477.7694 | 1119788.4662 | 2499471.9402 | 1119781.3364
16 | 2499471.9402 | 1119781.3364 | 2499484.5895 | 1119770.7306 | 2499516.2689 | 1119811.6298 | 2499516.7952 | 1119813.5779 | 2499516.7041 | 1119815.525 | 2499515.4061 | 1119817.2922 | 2499513.7944 | 1119818.7532
17 | 2499471.9402 | 1119781.3364 | 2499463.5932 | 1119788.2128
18 | 2499513.7944 | 1119818.7532 | 2499517.4811 | 1119823.2725
19 | 2499513.7944 | 1119818.7532 | 2499510.1524 | 1119814.6 | 2499503.6577 | 1119819.889 | 2499495.525 | 1119826.7764
20 | 2499446.8716 | 1119801.9883 | 2499463.5932 | 1119788.2128
21 | 2499517.4811 | 1119823.2725 | 2499520.0964 | 1119826.4755 | 2499528.7199 | 1119835.9827 | 2499530.6773 | 1119838.1404 | 2499532.4452 | 1119840.9683 | 2499533.9319 | 1119845.4465
22 | 2499466.9781 | 1119850.954 | 2499477.5181 | 1119842.0262 | 2499495.525 | 1119826.7764
23 | 2499429.8203 | 1119882.4222 | 2499425.597 | 1119886.0058 | 2499423.1249 | 1119886.7696 | 2499427.2128 | 1119891.7492 | 2499431.6711 | 1119897.1896 | 2499432.5625 | 1119894.6398 | 2499442.9397 | 1119885.7061
24 | 2499442.9397 | 1119885.7061 | 2499444.9025 | 1119884.0169 | 2499470.1456 | 1119862.953
25 | 2499429.8203 | 1119882.4222 | 2499447.5814 | 1119867.3841 | 2499466.9781 | 1119850.954
26 | 2499481.6658 | 1119626.4778 | 2499485.7882 | 1119630.7342 | 2499489.8322 | 1119634.9251
27 | 2499489.8322 | 1119634.9251 | 2499492.3918 | 1119633.3816 | 2499494.6772 | 1119633.9107 | 2499499.1065 | 1119638.5288 | 2499505.7426 | 1119645.9121 | 2499522.1838 | 1119664.2282
28 | 2499489.8322 | 1119634.9251 | 2499478.7394 | 1119645.3433
29 | 2499489.8322 | 1119634.9251 | 2499492.3918 | 1119633.3816 | 2499494.6772 | 1119633.9107 | 2499499.1065 | 1119638.5288 | 2499506.6575 | 1119631.7769 | 2499512.566 | 1119626.4977 | 2499514.1801 | 1119630.2843 | 2499518.3204 | 1119634.6961 | 2499524.5012 | 1119641.153
30 | 2499398.9315 | 1119757.8246 | 2499394.8765 | 1119752.9779 | 2499391.5458 | 1119748.9863 | 2499400.9242 | 1119741.2366
31 | 2499398.9315 | 1119757.8246 | 2499404.5269 | 1119753.2175 | 2499422.3298 | 1119738.6
32 | 2499524.5012 | 1119641.153 | 2499535.3709 | 1119641.3837
33 | 2499531.5898 | 1119628.405 | 2499531.3145 | 1119634.5913 | 2499531.311 | 1119636.7037 | 2499535.3709 | 1119641.3837
34 | 2499522.1838 | 1119664.2282 | 2499528.0605 | 1119670.9681 | 2499531.6044 | 1119681.2823 | 2499536.3178 | 1119689.9984 | 2499544.2277 | 1119698.6592
35 | 2499458.1008 | 1119664.7268 | 2499478.7394 | 1119645.3433
36 | 2499615.9018 | 1119776.242 | 2499616.5169 | 1119773.7858
37 | 2499616.5169 | 1119773.7858 | 2499619.9158 | 1119774.4521 | 2499624.0064 | 1119777.7418 | 2499626.6413 | 1119780.7333 | 2499630.3246 | 1119787.3763 | 2499635.0632 | 1119798.5491 | 2499635.7025 | 1119805.9098 | 2499635.8122 | 1119809.2656 | 2499634.8991 | 1119813.7613 | 2499637.7256 | 1119819.4624 | 2499639.7933 | 1119823.6196 | 2499641.8533 | 1119827.7769 | 2499645.0231 | 1119834.1728
38 | 2499616.5169 | 1119773.7858 | 2499614.1567 | 1119772.9245 | 2499611.6961 | 1119772.0648 | 2499607.4048 | 1119768.7784 | 2499601.9453 | 1119762.5207 | 2499595.331 | 1119755.0988
39 | 2499615.9018 | 1119776.242 | 2499614.6872 | 1119780.2425 | 2499611.788 | 1119790.1412
40 | 2499645.0231 | 1119834.1728 | 2499642.2905 | 1119835.052 | 2499624.7647 | 1119845.2381 | 2499581.9258 | 1119873.4447 | 2499574.7871 | 1119878.5398
41 | 2499577.4971 | 1119735.0872 | 2499595.331 | 1119755.0988
42 | 2499531.5898 | 1119628.405 | 2499543.9042 | 1119628.734 | 2499556.0641 | 1119629.0557
43 | 2499556.0641 | 1119629.0557 | 2499570.4956 | 1119629.4376
44 | 2499552.2377 | 1119894.6342 | 2499574.7871 | 1119878.5398
45 | 2499577.4971 | 1119735.0872 | 2499544.2277 | 1119698.6592
46 | 2499466.5086 | 1119678.4067 | 2499468.728 | 1119675.9016 | 2499458.1008 | 1119664.7268
47 | 2499470.0703 | 1119681.4383 | 2499466.5086 | 1119678.4067
48 | 2499487.7462 | 1119702.5355 | 2499492.8055 | 1119706.9875 | 2499497.914 | 1119709.7599 | 2499502.2305 | 1119710.8444 | 2499503.3545 | 1119710.9389
49 | 2499449.0604 | 1119810.6351 | 2499447.6885 | 1119807.9562 | 2499446.8716 | 1119801.9883
50 | 2499446.8716 | 1119801.9883 | 2499434.6444 | 1119812.126
51 | 2499533.9319 | 1119845.4465 | 2499540.0831 | 1119841.3195 | 2499550.2728 | 1119849.4549
52 | 2499557.0224 | 1119752.1934 | 2499559.2359 | 1119750.2555 | 2499561.1183 | 1119747.9005 | 2499562.6417 | 1119747.1636 | 2499564.0853 | 1119746.7283 | 2499565.5221 | 1119745.8817 | 2499566.6897 | 1119744.6282 | 2499567.4405 | 1119743.3705 | 2499568.1035 | 1119742.4033 | 2499577.4971 | 1119735.0872
53 | 2499552.2377 | 1119894.6342 | 2499531.7514 | 1119909.256 | 2499522.9901 | 1119915.5447
54 | 2499511.7047 | 1119710.698 | 2499506.8673 | 1119711.2343 | 2499503.3545 | 1119710.9389
55 | 2499511.7047 | 1119710.698 | 2499515.454 | 1119710.6246 | 2499519.4222 | 1119711.6482 | 2499522.5843 | 1119714.3195 | 2499524.5417 | 1119717.867 | 2499526.8901 | 1119721.2635 | 2499529.6467 | 1119724.1417 | 2499532.2096 | 1119726.5117 | 2499534.474 | 1119729.4982 | 2499535.7713 | 1119731.867 | 2499536.9278 | 1119735.5168 | 2499538.0365 | 1119739.5453 | 2499540.0198 | 1119743.2591
56 | 2499535.1067 | 1119751.3124 | 2499534.2175 | 1119749.8152 | 2499534.1955 | 1119748.0255 | 2499537.1038 | 1119745.6424 | 2499540.0198 | 1119743.2591
57 | 2499557.0224 | 1119752.1934 | 2499552.6882 | 1119749.1079 | 2499548.1054 | 1119746.8604 | 2499544.8983 | 1119745.6574 | 2499542.1357 | 1119744.736 | 2499540.0198 | 1119743.2591
58 | 2499522.9901 | 1119915.5447 | 2499498.4798 | 1119933.1378
59 | 2499557.0224 | 1119752.1934 | 2499569.15 | 1119760.7974 | 2499570.259 | 1119763.4473 | 2499570.5067 | 1119766.2783 | 2499570.4913 | 1119768.6023 | 2499570.4213 | 1119770.6046
60 | 2499570.3866 | 1119771.5948 | 2499570.4213 | 1119770.6046

## bus_geodata
| x | y | coords
0 | 2499484.9391 | 1119764.0643
1 | 2499489.3915 | 1119769.358
2 | 2499458.0719 | 1119732.1139
3 | 2499508.8121 | 1119792.4481
4 | 2499469.8031 | 1119721.4456
5 | 2499524.2637 | 1119814.4158
6 | 2499477.8834 | 1119713.1572
7 | 2499423.0052 | 1119705.2023
8 | 2499408.993 | 1119689.103
9 | 2499417.1455 | 1119727.2826
10 | 2499423.1462 | 1119682.608
11 | 2499455.5421 | 1119650.8772
12 | 2499397.5539 | 1119675.9441
13 | 2499471.9402 | 1119781.3364
14 | 2499477.7694 | 1119788.4662
15 | 2499513.7944 | 1119818.7532
16 | 2499463.5932 | 1119788.2128
17 | 2499517.4811 | 1119823.2725
18 | 2499495.525 | 1119826.7764
19 | 2499442.9397 | 1119885.7061
20 | 2499429.8203 | 1119882.4222
21 | 2499470.1456 | 1119862.953
22 | 2499481.6658 | 1119626.4778
23 | 2499489.8322 | 1119634.9251
24 | 2499398.9315 | 1119757.8246
25 | 2499400.9242 | 1119741.2366
26 | 2499422.3298 | 1119738.6
27 | 2499466.9781 | 1119850.954
28 | 2499524.5012 | 1119641.153
29 | 2499535.3709 | 1119641.3837
30 | 2499522.1838 | 1119664.2282
31 | 2499478.7394 | 1119645.3433
32 | 2499616.5169 | 1119773.7858
33 | 2499615.9018 | 1119776.242
34 | 2499645.0231 | 1119834.1728
35 | 2499595.331 | 1119755.0988
36 | 2499611.788 | 1119790.1412
37 | 2499531.5898 | 1119628.405
38 | 2499556.0641 | 1119629.0557
39 | 2499574.7871 | 1119878.5398
40 | 2499544.2277 | 1119698.6592
41 | 2499458.1008 | 1119664.7268
42 | 2499466.5086 | 1119678.4067
43 | 2499470.0703 | 1119681.4383
44 | 2499487.7462 | 1119702.5355
45 | 2499446.8716 | 1119801.9883
46 | 2499533.9319 | 1119845.4465
47 | 2499570.4956 | 1119629.4376
48 | 2499577.4971 | 1119735.0872
49 | 2499434.6444 | 1119812.126
50 | 2499550.2728 | 1119849.4549
51 | 2499552.2377 | 1119894.6342
52 | 2499503.3545 | 1119710.9389
53 | 2499511.7047 | 1119710.698
54 | 2499540.0198 | 1119743.2591
55 | 2499522.9901 | 1119915.5447
56 | 2499498.4798 | 1119933.1378
57 | 2499449.0604 | 1119810.6351
58 | 2499557.0224 | 1119752.1934
59 | 2499570.4213 | 1119770.6046
60 | 2499535.1067 | 1119751.3124
61 | 2499570.3866 | 1119771.5948
62 | 2499458.0719 | 1119732.1139

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1