## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6621-92_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6621-92_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6621-92_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6621-92_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6621-92_0_6_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6621-92_0_6_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_6621-92_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6621-92_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6621-92_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6621-92_0_6_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_6621-92_0_6_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_6621-92_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6621-92_0_6_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_6621-92_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6621-92_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6621-92_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6621-92_0_6_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_6621-92_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6621-92_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6621-92_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6621-92_0_6_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_6621-92_0_6_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6621-92_0_6_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_6621-92_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6621-92_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6621-92_0_6_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6621-92_0_6_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_6621-92_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6621-92_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6621-92_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6621-92_0_6_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_6621-92_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6621-92_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6621-92_0_6_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6621-92_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6621-92_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6621-92_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_6621-92_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6621-92_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_6621-92_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6621-92_0_6_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_6621-92_0_6_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_6621-92_0_6_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_6621-92_0_6_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_6621-92_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6621-92_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6621-92_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6621-92_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6621-92_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_6621-92_0_6_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_6621-92_0_6_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_6621-92_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6621-92_0_6_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_6621-92_0_6_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_6621-92_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_6621-92_0_6_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6621-92_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_6621-92_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6621-92_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_6621-92_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_6621-92_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6621-92_0_6_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_6621-92_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6621-92_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_6621-92_0_6_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_6621-92_0_6_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_6621-92_0_6_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_6621-92_0_6_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_6621-92_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_6621-92_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6621-92_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6621-92_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_6621-92_0_6_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_6621-92_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_6621-92_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6621-92_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6621-92_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6621-92_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_MV_651_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6621-92_0_6_load_0 | 0 | 0.0094747 | 0.0023746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6621-92_0_6_load_2 | 2 | 0.006847 | 0.001716 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6621-92_0_6_load_80 | 9 | 0.074206 | 0.018598 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6621-92_0_6_load_81 | 10 | 0.029206 | 0.0073198 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6621-92_0_6_load_78 | 12 | 0.0050031 | 0.0012539 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6621-92_0_6_load_74 | 16 | 0.0094849 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6621-92_0_6_load_76 | 20 | 0.016936 | 0.0042445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6621-92_0_6_load_49 | 21 | 0.089942 | 0.022542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6621-92_0_6_load_61 | 22 | 0.0019835 | 0.00049711 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6621-92_0_6_load_34 | 23 | 0.0061565 | 0.001543 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6621-92_0_6_load_46 | 25 | 0.024468 | 0.0061323 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6621-92_0_6_load_72 | 26 | 0.0067707 | 0.0016969 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6621-92_0_6_load_38 | 30 | 0.0010872 | 0.00027248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6621-92_0_6_load_60 | 33 | 0.0022342 | 0.00055995 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6621-92_0_6_load_59 | 36 | 0.00044802 | 0.00011228 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6621-92_0_6_load_40 | 38 | 0.011467 | 0.0028739 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6621-92_0_6_load_44 | 39 | 0.00045038 | 0.00011288 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6621-92_0_6_load_82 | 40 | 0.0011131 | 0.00027898 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6621-92_0_6_load_57 | 41 | 0.0011692 | 0.00029303 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6621-92_0_6_load_63 | 42 | 0.001188 | 0.00029773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6621-92_0_6_load_79 | 43 | 0.048585 | 0.012177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6621-92_0_6_load_41 | 45 | 0.015604 | 0.0039108 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6621-92_0_6_load_42 | 46 | 0.022196 | 0.0055629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6621-92_0_6_load_33 | 47 | 0.010589 | 0.0026539 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6621-92_0_6_load_30 | 48 | 0.032811 | 0.0082231 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6621-92_0_6_load_75 | 49 | 0.0096823 | 0.0024266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6621-92_0_6_load_62 | 50 | 0.028141 | 0.0070528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6621-92_0_6_load_65 | 52 | 0.00088977 | 0.000223 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6621-92_0_6_load_64 | 53 | 0.0013072 | 0.00032763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6621-92_0_6_load_77 | 54 | 0.0054083 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6621-92_0_6_load_54 | 55 | 0.003563 | 0.00089297 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6621-92_0_6_load_35 | 56 | 0.0067583 | 0.0016938 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6621-92_0_6_load_47 | 57 | 0.0044842 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6621-92_0_6_load_73 | 58 | 0.0026431 | 0.00066244 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6621-92_0_6_load_37 | 59 | 0.0014359 | 0.00035988 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6621-92_0_6_load_55 | 60 | 0.0014488 | 0.00036311 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6621-92_0_6_load_36 | 61 | 0.00030893 | 7.7424e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6621-92_0_6_load_43 | 62 | 0.00061476 | 0.00015407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6621-92_0_6_load_56 | 63 | 0.00054078 | 0.00013553 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6621-92_0_6_load_31 | 64 | 0.013981 | 0.0035039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6621-92_0_6_load_39 | 65 | 0.0026966 | 0.00067584 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6621-92_0_6_load_69 | 66 | 0.0018926 | 0.00047433 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6621-92_0_6_load_70 | 67 | 0.0050101 | 0.0012557 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6621-92_0_6_load_45 | 68 | 0.0023008 | 0.00057664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6621-92_0_6_load_50 | 69 | 0.0025251 | 0.00063284 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6621-92_0_6_load_51 | 70 | 0.0013767 | 0.00034503 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6621-92_0_6_load_52 | 71 | 0.0016112 | 0.00040379 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6621-92_0_6_load_53 | 72 | 0.0013435 | 0.00033671 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6621-92_0_6_load_58 | 73 | 0.0013611 | 0.00034113 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6621-92_0_6_load_66 | 74 | 0.00127 | 0.0003183 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6621-92_0_6_load_67 | 75 | 0.0094917 | 0.0023788 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6621-92_0_6_load_68 | 76 | 0.0096914 | 0.0024289 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6621-92_0_6_load_71 | 77 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6621-92_0_6_line_0 |  | 0 | 1 | 0.0083583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6621-92_0_6_line_1 |  | 1 | 2 | 0.007472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6621-92_0_6_line_2 |  | 1 | 3 | 0.048151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6621-92_0_6_line_3 |  | 1 | 4 | 0.10256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6621-92_0_6_line_4 |  | 2 | 5 | 0.0095712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6621-92_0_6_line_5 |  | 3 | 9 | 0.0098461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6621-92_0_6_line_6 |  | 4 | 23 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6621-92_0_6_line_7 |  | 4 | 11 | 0.035325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6621-92_0_6_line_8 |  | 4 | 17 | 0.005714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6621-92_0_6_line_9 |  | 5 | 47 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6621-92_0_6_line_10 |  | 5 | 48 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6621-92_0_6_line_11 |  | 6 | 7 | 0.037791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6621-92_0_6_line_12 |  | 6 | 8 | 0.044204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6621-92_0_6_line_13 |  | 6 | 9 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6621-92_0_6_line_14 |  | 7 | 10 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6621-92_0_6_line_15 |  | 8 | 43 | 0.0036747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6621-92_0_6_line_16 |  | 11 | 12 | 0.038573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6621-92_0_6_line_17 |  | 13 | 14 | 0.055759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6621-92_0_6_line_18 |  | 13 | 15 | 0.036625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6621-92_0_6_line_19 |  | 13 | 16 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6621-92_0_6_line_20 |  | 14 | 18 | 0.072271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6621-92_0_6_line_21 |  | 14 | 19 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6621-92_0_6_line_22 |  | 14 | 20 | 0.0072887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6621-92_0_6_line_23 |  | 15 | 17 | 0.029442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6621-92_0_6_line_24 |  | 16 | 49 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6621-92_0_6_line_25 |  | 17 | 22 | 0.040553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6621-92_0_6_line_26 |  | 18 | 21 | 0.0024444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6621-92_0_6_line_27 |  | 19 | 26 | 0.026931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6621-92_0_6_line_28 |  | 20 | 54 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6621-92_0_6_line_29 |  | 21 | 24 | 0.056709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6621-92_0_6_line_30 |  | 22 | 55 | 0.024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6621-92_0_6_line_31 |  | 23 | 56 | 0.035651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6621-92_0_6_line_32 |  | 24 | 25 | 0.0092924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6621-92_0_6_line_33 |  | 25 | 57 | 0.038646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6621-92_0_6_line_34 |  | 26 | 58 | 0.025331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6621-92_0_6_line_35 |  | 27 | 28 | 0.06281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6621-92_0_6_line_36 |  | 27 | 29 | 0.063454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6621-92_0_6_line_37 |  | 27 | 30 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6621-92_0_6_line_38 |  | 28 | 40 | 0.061861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6621-92_0_6_line_39 |  | 29 | 41 | 0.020113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6621-92_0_6_line_40 |  | 29 | 35 | 0.063064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6621-92_0_6_line_41 |  | 30 | 59 | 0.00048852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6621-92_0_6_line_42 |  | 31 | 32 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6621-92_0_6_line_43 |  | 31 | 33 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6621-92_0_6_line_44 |  | 32 | 37 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6621-92_0_6_line_45 |  | 32 | 38 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6621-92_0_6_line_46 |  | 33 | 60 | 0.038273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6621-92_0_6_line_47 |  | 34 | 35 | 0.030784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6621-92_0_6_line_48 |  | 34 | 36 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6621-92_0_6_line_49 |  | 35 | 39 | 0.023337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6621-92_0_6_line_50 |  | 36 | 61 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6621-92_0_6_line_51 |  | 37 | 42 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6621-92_0_6_line_52 |  | 38 | 44 | 0.058995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6621-92_0_6_line_53 |  | 39 | 62 | 0.00029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6621-92_0_6_line_54 |  | 41 | 63 | 0.0043589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6621-92_0_6_line_55 |  | 42 | 53 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6621-92_0_6_line_56 |  | 44 | 45 | 0.034493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6621-92_0_6_line_57 |  | 44 | 46 | 0.041899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6621-92_0_6_line_58 |  | 48 | 64 | 0.014097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6621-92_0_6_line_59 |  | 49 | 76 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6621-92_0_6_line_60 |  | 50 | 51 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6621-92_0_6_line_61 |  | 51 | 57 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6621-92_0_6_line_62 |  | 52 | 53 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6621-92_0_6_line_63 |  | 54 | 77 | 0.01351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6621-92_0_6_line_64 |  | 55 | 71 | 0.02929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6621-92_0_6_line_65 |  | 56 | 61 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6621-92_0_6_line_66 |  | 59 | 65 | 0.012545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6621-92_0_6_line_67 |  | 60 | 72 | 0.035871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6621-92_0_6_line_68 |  | 62 | 68 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6621-92_0_6_line_69 |  | 63 | 73 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6621-92_0_6_line_70 |  | 66 | 67 | 0.0016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6621-92_0_6_line_71 |  | 67 | 77 | 0.018337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6621-92_0_6_line_72 |  | 69 | 70 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6621-92_0_6_line_73 |  | 69 | 71 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6621-92_0_6_line_74 |  | 70 | 72 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_6621-92_0_6_line_75 |  | 74 | 75 | 0.012867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6621-92_0_6_line_76 |  | 75 | 76 | 0.02468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6621-92_0_6_trafo_11 | 0.63 MVA 20/0.4 kV | 78 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2498233.4801 | 1118738.2916 | 2498229.9878 | 1118745.8855
1 | 2498233.4801 | 1118738.2916 | 2498232.0451 | 1118737.4152 | 2498228.0009 | 1118735.1374 | 2498228.4047 | 1118734.0617
2 | 2498233.4801 | 1118738.2916 | 2498239.5166 | 1118742.0035 | 2498230.9397 | 1118760.2371 | 2498235.408 | 1118762.4967 | 2498242.1416 | 1118764.518 | 2498247.1588 | 1118757.1957
3 | 2498233.4801 | 1118738.2916 | 2498243.1146 | 1118715.9377 | 2498247.1891 | 1118703.5058 | 2498250.3095 | 1118686.6649 | 2498250.8842 | 1118680.9183 | 2498258.0781 | 1118678.6403 | 2498259.9122 | 1118661.4986 | 2498260.2817 | 1118653.643 | 2498269.8646 | 1118653.8931
4 | 2498231.7683 | 1118725.101 | 2498228.4047 | 1118734.0617
5 | 2498247.1588 | 1118757.1957 | 2498255.4152 | 1118762.5602
6 | 2498269.8646 | 1118653.8931 | 2498270.7285 | 1118636.807
7 | 2498253.1549 | 1118636.0629 | 2498251.9419 | 1118653.4165 | 2498260.2817 | 1118653.643 | 2498269.8646 | 1118653.8931
8 | 2498275.386 | 1118655.4235 | 2498269.8646 | 1118653.8931
9 | 2498231.7683 | 1118725.101 | 2498236.6931 | 1118720.0817 | 2498239.7395 | 1118714.438 | 2498240.7471 | 1118711.0604
10 | 2498231.7683 | 1118725.101 | 2498219.9425 | 1118714.871
11 | 2498220.0042 | 1118796.544 | 2498222.0072 | 1118793.1081 | 2498221.4339 | 1118789.7712 | 2498228.4209 | 1118776.1339 | 2498235.7004 | 1118777.1121 | 2498243.4029 | 1118776.1708
12 | 2498243.4029 | 1118776.1708 | 2498244.6229 | 1118781.2424 | 2498252.6006 | 1118785.1884 | 2498261.7997 | 1118793.828 | 2498269.7852 | 1118806.0348 | 2498270.1035 | 1118808.8979
13 | 2498243.4029 | 1118776.1708 | 2498251.4751 | 1118769.2195 | 2498255.4152 | 1118762.5602
14 | 2498220.0042 | 1118796.544 | 2498217.6338 | 1118800.6197 | 2498214.4882 | 1118801.2842 | 2498211.2564 | 1118806.453 | 2498210.6901 | 1118812.6998 | 2498209.3191 | 1118814.9893
15 | 2498270.1035 | 1118808.8979 | 2498272.1327 | 1118811.9615
16 | 2498253.1549 | 1118636.0629 | 2498245.8214 | 1118637.843 | 2498241.4291 | 1118636.4382 | 2498235.7703 | 1118632.7088 | 2498232.8653 | 1118631.6237 | 2498217.453 | 1118634.9295 | 2498216.7056 | 1118634.727
17 | 2498309.1929 | 1118688.9095 | 2498333.6669 | 1118703.5184 | 2498355.8717 | 1118719.5109
18 | 2498298.8562 | 1118662.6556 | 2498296.0822 | 1118665.2261 | 2498294.1726 | 1118667.7932 | 2498293.0828 | 1118670.4576 | 2498292.8387 | 1118673.3858 | 2498293.8499 | 1118677.5158 | 2498295.9615 | 1118680.9936 | 2498298.259 | 1118683.1341 | 2498309.1929 | 1118688.9095
19 | 2498309.1929 | 1118688.9095 | 2498320.6086 | 1118684.7191
20 | 2498300.7288 | 1118736.8042 | 2498319.9989 | 1118747.6537 | 2498322.7168 | 1118747.2522 | 2498340.2176 | 1118744.6898 | 2498342.7804 | 1118741.0333 | 2498351.9244 | 1118727.1265 | 2498354.0089 | 1118723.945 | 2498355.8717 | 1118719.5109
21 | 2498365.1897 | 1118727.426 | 2498355.8717 | 1118719.5109
22 | 2498355.8717 | 1118719.5109 | 2498358.564 | 1118717.1308 | 2498362.0457 | 1118715.893
23 | 2498275.386 | 1118655.4235 | 2498274.9836 | 1118660.4112 | 2498289.9733 | 1118659.5141 | 2498298.8562 | 1118662.6556
24 | 2498320.6086 | 1118684.7191 | 2498343.7446 | 1118676.2266
25 | 2498275.386 | 1118655.4235 | 2498280.3723 | 1118656.8072 | 2498285.02 | 1118656.4177 | 2498313.8286 | 1118645.767
26 | 2498300.7288 | 1118736.8042 | 2498299.5668 | 1118738.9548
27 | 2498365.1897 | 1118727.426 | 2498371.1485 | 1118732.4846 | 2498385.0258 | 1118745.6292
28 | 2498362.0457 | 1118715.893 | 2498375.375 | 1118711.154
29 | 2498301.2384 | 1118787.2829 | 2498298.9052 | 1118785.7768 | 2498285.8704 | 1118764.3046 | 2498299.5668 | 1118738.9548
30 | 2498336.5579 | 1118637.3639 | 2498313.8286 | 1118645.767
31 | 2498272.5286 | 1118601.2019 | 2498270.7285 | 1118636.807
32 | 2498301.2384 | 1118787.2829 | 2498306.0247 | 1118795.2479
33 | 2498325.7592 | 1118828.4744 | 2498314.7627 | 1118809.8698 | 2498313.1176 | 1118807.0512 | 2498306.0247 | 1118795.2479
34 | 2498385.0258 | 1118745.6292 | 2498403.4166 | 1118763.049
35 | 2498425.5127 | 1118490.13 | 2498485.505 | 1118470.9665
36 | 2498425.5127 | 1118490.13 | 2498364.9066 | 1118509.4935
37 | 2498425.5127 | 1118490.13 | 2498432.7336 | 1118513.7796
38 | 2498504.1635 | 1118529.9461 | 2498485.505 | 1118470.9665
39 | 2498364.9066 | 1118509.4935 | 2498370.8444 | 1118528.7099
40 | 2498364.9066 | 1118509.4935 | 2498304.6691 | 1118528.7291
41 | 2498432.8762 | 1118514.2468 | 2498432.7336 | 1118513.7796
42 | 2498530.2567 | 1118609.7474 | 2498530.292 | 1118606.7894 | 2498530.3829 | 1118600.2505 | 2498530.4445 | 1118595.6465
43 | 2498530.4445 | 1118595.6465 | 2498515.1482 | 1118595.9033
44 | 2498530.2567 | 1118609.7474 | 2498520.1755 | 1118610.1613 | 2498513.3434 | 1118606.8738
45 | 2498530.2567 | 1118609.7474 | 2498530.1998 | 1118613.7176 | 2498522.8522 | 1118628.8395
46 | 2498476.9265 | 1118597.5764 | 2498495.2808 | 1118596.2368 | 2498515.1482 | 1118595.9033
47 | 2498277.0831 | 1118541.1452 | 2498279.7172 | 1118538.0545 | 2498283.4027 | 1118535.5243 | 2498304.6691 | 1118528.7291
48 | 2498277.0831 | 1118541.1452 | 2498275.3836 | 1118544.7316 | 2498274.6883 | 1118558.4844
49 | 2498304.6691 | 1118528.7291 | 2498311.685 | 1118550.986
50 | 2498274.6883 | 1118558.4844 | 2498273.7987 | 1118576.0788
51 | 2498513.3434 | 1118606.8738 | 2498497.977 | 1118606.9539 | 2498482.6505 | 1118608.0036
52 | 2498498.0363 | 1118682.2003 | 2498505.3694 | 1118664.2993 | 2498513.2559 | 1118646.7226 | 2498515.3305 | 1118644.3196 | 2498522.8522 | 1118628.8395
53 | 2498311.7738 | 1118551.2677 | 2498311.685 | 1118550.986
54 | 2498372.1313 | 1118532.8745 | 2498370.8444 | 1118528.7099
55 | 2498482.6505 | 1118608.0036 | 2498475.3953 | 1118608.5005 | 2498459.0933 | 1118610.7755 | 2498455.8436 | 1118611.3817
56 | 2498498.0363 | 1118682.2003 | 2498488.4281 | 1118680.894 | 2498478.0227 | 1118680.8464 | 2498463.7905 | 1118682.9789
57 | 2498498.0363 | 1118682.2003 | 2498489.4585 | 1118710.084 | 2498486.6397 | 1118722.4933
58 | 2498219.9425 | 1118714.871 | 2498209.2808 | 1118705.6481
59 | 2498367.1422 | 1118667.638 | 2498343.7446 | 1118676.2266
60 | 2498332.3833 | 1118839.6813 | 2498335.0598 | 1118838.202 | 2498349.3616 | 1118829.6257
61 | 2498332.3833 | 1118839.6813 | 2498325.7592 | 1118828.4744
62 | 2498430.8109 | 1118616.6366 | 2498442.2578 | 1118613.9157 | 2498455.8436 | 1118611.3817
63 | 2498388.1041 | 1118706.6284 | 2498375.375 | 1118711.154
64 | 2498336.5579 | 1118637.3639 | 2498364.0306 | 1118627.2071
65 | 2498272.5286 | 1118601.2019 | 2498273.7987 | 1118576.0788
66 | 2498436.5397 | 1118526.2454 | 2498432.8762 | 1118514.2468
67 | 2498441.5183 | 1118603.2469 | 2498459.9438 | 1118599.8322 | 2498476.8791 | 1118597.5798 | 2498476.9265 | 1118597.5764
68 | 2498315.9295 | 1118564.4512 | 2498311.7738 | 1118551.2677
69 | 2498376.1304 | 1118545.8167 | 2498372.1313 | 1118532.8745
70 | 2498406.9238 | 1118699.9374 | 2498405.3817 | 1118700.4857
71 | 2498405.3817 | 1118700.4857 | 2498388.1041 | 1118706.6284
72 | 2498411.136 | 1118610.7204 | 2498401.3716 | 1118613.4019 | 2498384.387 | 1118619.6812
73 | 2498364.0306 | 1118627.2071 | 2498384.387 | 1118619.6812
74 | 2498411.136 | 1118610.7204 | 2498431.7737 | 1118605.0528 | 2498441.5183 | 1118603.2469
75 | 2498402.3898 | 1118654.6997 | 2498390.3109 | 1118659.1335
76 | 2498367.1422 | 1118667.638 | 2498390.3109 | 1118659.1335

## bus_geodata
| x | y | coords
0 | 2498229.9878 | 1118745.8855
1 | 2498233.4801 | 1118738.2916
2 | 2498228.4047 | 1118734.0617
3 | 2498247.1588 | 1118757.1957
4 | 2498269.8646 | 1118653.8931
5 | 2498231.7683 | 1118725.101
6 | 2498243.4029 | 1118776.1708
7 | 2498220.0042 | 1118796.544
8 | 2498270.1035 | 1118808.8979
9 | 2498255.4152 | 1118762.5602
10 | 2498209.3191 | 1118814.9893
11 | 2498253.1549 | 1118636.0629
12 | 2498216.7056 | 1118634.727
13 | 2498309.1929 | 1118688.9095
14 | 2498355.8717 | 1118719.5109
15 | 2498298.8562 | 1118662.6556
16 | 2498320.6086 | 1118684.7191
17 | 2498275.386 | 1118655.4235
18 | 2498300.7288 | 1118736.8042
19 | 2498365.1897 | 1118727.426
20 | 2498362.0457 | 1118715.893
21 | 2498299.5668 | 1118738.9548
22 | 2498313.8286 | 1118645.767
23 | 2498270.7285 | 1118636.807
24 | 2498301.2384 | 1118787.2829
25 | 2498306.0247 | 1118795.2479
26 | 2498385.0258 | 1118745.6292
27 | 2498425.5127 | 1118490.13
28 | 2498485.505 | 1118470.9665
29 | 2498364.9066 | 1118509.4935
30 | 2498432.7336 | 1118513.7796
31 | 2498530.4445 | 1118595.6465
32 | 2498530.2567 | 1118609.7474
33 | 2498515.1482 | 1118595.9033
34 | 2498277.0831 | 1118541.1452
35 | 2498304.6691 | 1118528.7291
36 | 2498274.6883 | 1118558.4844
37 | 2498513.3434 | 1118606.8738
38 | 2498522.8522 | 1118628.8395
39 | 2498311.685 | 1118550.986
40 | 2498504.1635 | 1118529.9461
41 | 2498370.8444 | 1118528.7099
42 | 2498482.6505 | 1118608.0036
43 | 2498272.1327 | 1118811.9615
44 | 2498498.0363 | 1118682.2003
45 | 2498463.7905 | 1118682.9789
46 | 2498486.6397 | 1118722.4933
47 | 2498240.7471 | 1118711.0604
48 | 2498219.9425 | 1118714.871
49 | 2498343.7446 | 1118676.2266
50 | 2498349.3616 | 1118829.6257
51 | 2498332.3833 | 1118839.6813
52 | 2498430.8109 | 1118616.6366
53 | 2498455.8436 | 1118611.3817
54 | 2498375.375 | 1118711.154
55 | 2498336.5579 | 1118637.3639
56 | 2498272.5286 | 1118601.2019
57 | 2498325.7592 | 1118828.4744
58 | 2498403.4166 | 1118763.049
59 | 2498432.8762 | 1118514.2469
60 | 2498476.9265 | 1118597.5764
61 | 2498273.7987 | 1118576.0788
62 | 2498311.7738 | 1118551.2677
63 | 2498372.1313 | 1118532.8745
64 | 2498209.2808 | 1118705.6481
65 | 2498436.5397 | 1118526.2454
66 | 2498406.9238 | 1118699.9374
67 | 2498405.3817 | 1118700.4857
68 | 2498315.9295 | 1118564.4512
69 | 2498384.387 | 1118619.6812
70 | 2498411.136 | 1118610.7204
71 | 2498364.0306 | 1118627.2071
72 | 2498441.5183 | 1118603.2469
73 | 2498376.1304 | 1118545.8167
74 | 2498402.3898 | 1118654.6997
75 | 2498390.3109 | 1118659.1335
76 | 2498367.1422 | 1118667.638
77 | 2498388.1041 | 1118706.6284
78 | 2498322.7168 | 1118747.2522

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1