## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6623-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6623-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6623-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6623-11_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6623-11_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6623-11_0_5_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_6623-11_0_5_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_6623-11_0_5_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_6623-11_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_6623-11_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6623-11_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6623-11_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6623-11_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_6623-11_0_5_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_6623-11_0_5_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_6623-11_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6623-11_0_5_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_6623-11_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6623-11_0_5_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6623-11_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_6623-11_0_5_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_6623-11_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6623-11_0_5_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_6623-11_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6623-11_0_5_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_6623-11_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6623-11_0_5_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_6623-11_0_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6623-11_0_5_node_100 | 0.4 | n |  | TRUE
29 | bus_LV_6623-11_0_5_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_6623-11_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6623-11_0_5_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_6623-11_0_5_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_6623-11_0_5_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_6623-11_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_6623-11_0_5_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6623-11_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6623-11_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_6623-11_0_5_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_6623-11_0_5_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_6623-11_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6623-11_0_5_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_6623-11_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6623-11_0_5_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_6623-11_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6623-11_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6623-11_0_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_6623-11_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6623-11_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6623-11_0_5_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_6623-11_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6623-11_0_5_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_6623-11_0_5_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_6623-11_0_5_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_6623-11_0_5_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_6623-11_0_5_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_6623-11_0_5_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_6623-11_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6623-11_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6623-11_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6623-11_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6623-11_0_5_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_6623-11_0_5_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_6623-11_0_5_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_6623-11_0_5_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_6623-11_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6623-11_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6623-11_0_5_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6623-11_0_5_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_6623-11_0_5_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_6623-11_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6623-11_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6623-11_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_6623-11_0_5_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_6623-11_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_6623-11_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_6623-11_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_6623-11_0_5_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_6623-11_0_5_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_6623-11_0_5_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_6623-11_0_5_node_94 | 0.4 | n |  | TRUE
81 | bus_LV_6623-11_0_5_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_6623-11_0_5_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_6623-11_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_6623-11_0_5_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_6623-11_0_5_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_6623-11_0_5_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_6623-11_0_5_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_6623-11_0_5_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_6623-11_0_5_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_6623-11_0_5_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6623-11_0_5_node_84 | 0.4 | n |  | TRUE
92 | bus_MV_462_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6623-11_0_5_load_0 | 0 | 0.030318 | 0.0075985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6623-11_0_5_load_1 | 1 | 0.010761 | 0.002697 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6623-11_0_5_load_2 | 2 | 0.010019 | 0.0025111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6623-11_0_5_load_4 | 3 | 0.010093 | 0.0025296 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6623-11_0_5_load_6 | 4 | 0.006703 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6623-11_0_5_load_88 | 5 | 0.0035331 | 0.00088548 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6623-11_0_5_load_103 | 6 | 0.013803 | 0.0034595 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6623-11_0_5_load_7 | 9 | 0.0061126 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6623-11_0_5_load_35 | 14 | 0.020363 | 0.0051034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6623-11_0_5_load_54 | 16 | 0.035703 | 0.008948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6623-11_0_5_load_91 | 20 | 0.0048939 | 0.0012265 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6623-11_0_5_load_85 | 22 | 0.0089665 | 0.0022472 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6623-11_0_5_load_82 | 24 | 0.012845 | 0.0032192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6623-11_0_5_load_37 | 27 | 0.0053186 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6623-11_0_5_load_87 | 29 | 0.0017265 | 0.00043271 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6623-11_0_5_load_86 | 31 | 0.0089507 | 0.0022433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6623-11_0_5_load_80 | 32 | 0.0059835 | 0.0014996 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6623-11_0_5_load_79 | 33 | 0.021468 | 0.0053803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6623-11_0_5_load_64 | 35 | 0.02354 | 0.0058998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6623-11_0_5_load_68 | 38 | 0.0075861 | 0.0019012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6623-11_0_5_load_78 | 39 | 0.011953 | 0.0029958 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6623-11_0_5_load_41 | 42 | 0.0024895 | 0.00062393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6623-11_0_5_load_40 | 43 | 0.0091873 | 0.0023026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6623-11_0_5_load_39 | 44 | 0.0048623 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6623-11_0_5_load_51 | 46 | 0.0068608 | 0.0017195 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6623-11_0_5_load_49 | 48 | 0.0012571 | 0.00031505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6623-11_0_5_load_90 | 49 | 0.0093779 | 0.0023503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6623-11_0_5_load_55 | 50 | 0.0045858 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6623-11_0_5_load_67 | 51 | 0.0011513 | 0.00028854 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6623-11_0_5_load_65 | 52 | 0.0039486 | 0.0009896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6623-11_0_5_load_92 | 53 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6623-11_0_5_load_89 | 54 | 0.0062573 | 0.0015682 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6623-11_0_5_load_71 | 55 | 0.0030632 | 0.00076771 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6623-11_0_5_load_83 | 56 | 0.01196 | 0.0029975 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6623-11_0_5_load_38 | 57 | 0.031856 | 0.0079839 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6623-11_0_5_load_56 | 58 | 0.0041864 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6623-11_0_5_load_57 | 59 | 0.0034796 | 0.00087207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6623-11_0_5_load_47 | 60 | 0.018094 | 0.0045349 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6623-11_0_5_load_97 | 61 | 0.010483 | 0.0026273 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6623-11_0_5_load_95 | 62 | 0.0093912 | 0.0023537 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6623-11_0_5_load_77 | 63 | 0.00076941 | 0.00019283 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6623-11_0_5_load_93 | 64 | 0.013417 | 0.0033627 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6623-11_0_5_load_62 | 65 | 0.015007 | 0.0037611 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6623-11_0_5_load_60 | 66 | 0.026586 | 0.0066631 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6623-11_0_5_load_66 | 67 | 0.0056296 | 0.0014109 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6623-11_0_5_load_42 | 68 | 0.0019699 | 0.00049371 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6623-11_0_5_load_102 | 69 | 0.007305 | 0.0018308 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6623-11_0_5_load_48 | 70 | 0.0011688 | 0.00029292 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6623-11_0_5_load_69 | 71 | 0.0053412 | 0.0013386 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6623-11_0_5_load_70 | 72 | 0.003206 | 0.00080349 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6623-11_0_5_load_43 | 73 | 0.0010285 | 0.00025775 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6623-11_0_5_load_50 | 76 | 0.0056753 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6623-11_0_5_load_104 | 77 | 0.0075341 | 0.0018882 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6623-11_0_5_load_94 | 80 | 0.006998 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6623-11_0_5_load_101 | 81 | 0.0066558 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6623-11_0_5_load_58 | 82 | 0.0007184 | 0.00018005 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6623-11_0_5_load_59 | 83 | 0.0012766 | 0.00031995 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6623-11_0_5_load_75 | 84 | 0.0017015 | 0.00042643 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6623-11_0_5_load_73 | 85 | 0.0023852 | 0.00059779 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6623-11_0_5_load_63 | 86 | 0.029023 | 0.0072739 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6623-11_0_5_load_72 | 87 | 0.003532 | 0.0008852 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6623-11_0_5_load_74 | 88 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6623-11_0_5_load_76 | 89 | 0.0017592 | 0.0004409 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6623-11_0_5_load_81 | 90 | 0.021466 | 0.0053799 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6623-11_0_5_load_84 | 91 | 0.011006 | 0.0027583 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6623-11_0_5_line_0 |  | 0 | 1 | 0.036409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6623-11_0_5_line_1 |  | 0 | 2 | 0.031609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6623-11_0_5_line_2 |  | 2 | 3 | 0.0071726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6623-11_0_5_line_3 |  | 3 | 4 | 0.024121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6623-11_0_5_line_4 |  | 4 | 5 | 0.005966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6623-11_0_5_line_5 |  | 5 | 8 | 0.064881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6623-11_0_5_line_6 |  | 6 | 7 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6623-11_0_5_line_7 |  | 7 | 77 | 0.0047312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6623-11_0_5_line_8 |  | 8 | 21 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6623-11_0_5_line_9 |  | 9 | 10 | 0.0034417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6623-11_0_5_line_10 |  | 9 | 11 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6623-11_0_5_line_11 |  | 10 | 12 | 0.026539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6623-11_0_5_line_12 |  | 10 | 13 | 0.088404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6623-11_0_5_line_13 |  | 11 | 14 | 0.017255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6623-11_0_5_line_14 |  | 12 | 43 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6623-11_0_5_line_15 |  | 12 | 44 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6623-11_0_5_line_16 |  | 13 | 49 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6623-11_0_5_line_17 |  | 13 | 15 | 0.032884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6623-11_0_5_line_18 |  | 14 | 25 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6623-11_0_5_line_19 |  | 15 | 16 | 0.044032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6623-11_0_5_line_20 |  | 16 | 50 | 0.051852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6623-11_0_5_line_21 |  | 17 | 18 | 0.038693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6623-11_0_5_line_22 |  | 17 | 19 | 0.052808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6623-11_0_5_line_23 |  | 17 | 20 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6623-11_0_5_line_24 |  | 18 | 29 | 0.041985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6623-11_0_5_line_25 |  | 18 | 30 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6623-11_0_5_line_26 |  | 18 | 31 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6623-11_0_5_line_27 |  | 19 | 36 | 0.024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6623-11_0_5_line_28 |  | 19 | 38 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6623-11_0_5_line_29 |  | 20 | 53 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6623-11_0_5_line_30 |  | 21 | 22 | 0.036633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6623-11_0_5_line_31 |  | 21 | 23 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6623-11_0_5_line_32 |  | 21 | 24 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6623-11_0_5_line_33 |  | 22 | 55 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6623-11_0_5_line_34 |  | 23 | 28 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6623-11_0_5_line_35 |  | 24 | 56 | 0.017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6623-11_0_5_line_36 |  | 25 | 26 | 0.004402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6623-11_0_5_line_37 |  | 25 | 27 | 0.020498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6623-11_0_5_line_38 |  | 26 | 57 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6623-11_0_5_line_39 |  | 28 | 61 | 0.00643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6623-11_0_5_line_40 |  | 29 | 63 | 0.0048396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6623-11_0_5_line_41 |  | 30 | 32 | 0.0081692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6623-11_0_5_line_42 |  | 30 | 33 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6623-11_0_5_line_43 |  | 31 | 46 | 0.0053163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6623-11_0_5_line_44 |  | 34 | 35 | 0.035096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6623-11_0_5_line_45 |  | 34 | 36 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6623-11_0_5_line_46 |  | 34 | 37 | 0.005056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6623-11_0_5_line_47 |  | 35 | 54 | 0.0201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6623-11_0_5_line_48 |  | 36 | 39 | 0.026271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6623-11_0_5_line_49 |  | 37 | 65 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6623-11_0_5_line_50 |  | 37 | 66 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6623-11_0_5_line_51 |  | 38 | 67 | 0.022139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6623-11_0_5_line_52 |  | 40 | 41 | 0.004213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6623-11_0_5_line_53 |  | 40 | 42 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6623-11_0_5_line_54 |  | 41 | 60 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6623-11_0_5_line_55 |  | 42 | 68 | 0.0097529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6623-11_0_5_line_56 |  | 45 | 46 | 0.0081705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6623-11_0_5_line_57 |  | 45 | 47 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6623-11_0_5_line_58 |  | 45 | 48 | 0.043811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6623-11_0_5_line_59 |  | 47 | 69 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6623-11_0_5_line_60 |  | 48 | 70 | 0.042278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6623-11_0_5_line_61 |  | 51 | 52 | 0.00097179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6623-11_0_5_line_62 |  | 52 | 67 | 0.0085257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6623-11_0_5_line_63 |  | 53 | 64 | 0.033282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6623-11_0_5_line_64 |  | 55 | 72 | 0.0090903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6623-11_0_5_line_65 |  | 56 | 91 | 0.016865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6623-11_0_5_line_66 |  | 57 | 71 | 0.0011957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6623-11_0_5_line_67 |  | 58 | 59 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6623-11_0_5_line_68 |  | 59 | 82 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6623-11_0_5_line_69 |  | 61 | 62 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6623-11_0_5_line_70 |  | 62 | 80 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6623-11_0_5_line_71 |  | 63 | 89 | 0.0066784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6623-11_0_5_line_72 |  | 65 | 86 | 0.0069818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6623-11_0_5_line_73 |  | 68 | 73 | 0.014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6623-11_0_5_line_74 |  | 69 | 81 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6623-11_0_5_line_75 |  | 70 | 76 | 0.011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6623-11_0_5_line_76 |  | 71 | 72 | 0.013977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6623-11_0_5_line_77 |  | 73 | 74 | 0.029558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6623-11_0_5_line_78 |  | 74 | 75 | 0.039015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6623-11_0_5_line_79 |  | 74 | 76 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6623-11_0_5_line_80 |  | 75 | 77 | 0.0029581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6623-11_0_5_line_81 |  | 78 | 79 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6623-11_0_5_line_82 |  | 78 | 80 | 0.0046815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6623-11_0_5_line_83 |  | 79 | 81 | 0.0054123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6623-11_0_5_line_84 |  | 82 | 83 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6623-11_0_5_line_85 |  | 83 | 84 | 0.032143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6623-11_0_5_line_86 |  | 84 | 85 | 0.0026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6623-11_0_5_line_87 |  | 85 | 87 | 0.0050722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6623-11_0_5_line_88 |  | 87 | 88 | 0.0045297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6623-11_0_5_line_89 |  | 88 | 89 | 0.010237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6623-11_0_5_line_90 |  | 90 | 91 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6623-11_0_5_trafo_81 | 0.63 MVA 20/0.4 kV | 92 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2498343.1763 | 1121242.5664 | 2498334.5763 | 1121247.7597 | 2498315.6758 | 1121260.2409 | 2498312.8237 | 1121262.6187
1 | 2498343.1763 | 1121242.5664 | 2498347.6061 | 1121239.8913 | 2498360.6457 | 1121232.145 | 2498370.3923 | 1121226.4917
2 | 2498376.5968 | 1121222.893 | 2498370.3923 | 1121226.4917
3 | 2498396.1986 | 1121208.9108 | 2498382.5975 | 1121219.4124 | 2498376.5968 | 1121222.893
4 | 2498400.651 | 1121204.9417 | 2498396.5964 | 1121208.6037 | 2498396.1986 | 1121208.9108
5 | 2498439.6153 | 1121153.4352 | 2498436.2415 | 1121158.3506 | 2498420.0034 | 1121183.2946 | 2498417.1146 | 1121187.6903 | 2498408.2242 | 1121198.1018 | 2498400.651 | 1121204.9417
6 | 2498443.215 | 1121271.2155 | 2498429.1262 | 1121284.5589
7 | 2498443.215 | 1121271.2155 | 2498446.843 | 1121268.1787
8 | 2498439.6153 | 1121153.4352 | 2498445.7607 | 1121158.7242 | 2498448.0297 | 1121155.5508
9 | 2498505.3803 | 1121049.588 | 2498507.3192 | 1121052.4315
10 | 2498513.1574 | 1121066.1234 | 2498511.4047 | 1121059.6154 | 2498508.8055 | 1121054.6114 | 2498507.3192 | 1121052.4315
11 | 2498505.3803 | 1121049.588 | 2498510.265 | 1121041.3675 | 2498510.3473 | 1121037.5415 | 2498510.6512 | 1121024.3948
12 | 2498435.2024 | 1121015.7339 | 2498441.3995 | 1121006.6463 | 2498447.1297 | 1121010.1745 | 2498490.9894 | 1121036.6325 | 2498496.5968 | 1121040.6631 | 2498500.7395 | 1121044.307 | 2498505.3803 | 1121049.588
13 | 2498513.1574 | 1121066.1234 | 2498514.133 | 1121072.2998 | 2498517.2245 | 1121082.8587
14 | 2498510.6512 | 1121024.3948 | 2498507.0945 | 1121025.3217 | 2498502.1761 | 1121025.1041 | 2498493.6601 | 1121022.9235 | 2498486.3208 | 1121020.5632
15 | 2498510.6512 | 1121024.3948 | 2498512.8788 | 1121021.5111 | 2498513.9616 | 1121017.9907 | 2498514.1002 | 1121012.9673
16 | 2498435.2024 | 1121015.7339 | 2498424.5595 | 1121009.116
17 | 2498435.2024 | 1121015.7339 | 2498432.1002 | 1121020.2889 | 2498432.1358 | 1121022.4118 | 2498422.3687 | 1121035.3062 | 2498418.2299 | 1121038.7779 | 2498419.8209 | 1121042.0866
18 | 2498521.4294 | 1121103.3969 | 2498520.5121 | 1121100.2325 | 2498521.7777 | 1121098.4101 | 2498517.2245 | 1121082.8587
19 | 2498419.8209 | 1121042.0866 | 2498422.0357 | 1121046.7079 | 2498418.0703 | 1121051.7777 | 2498426.9992 | 1121068.8829 | 2498438.4654 | 1121075.3721
20 | 2498469.0923 | 1121109.6127 | 2498459.4653 | 1121100.0794 | 2498458.2933 | 1121101.5 | 2498437.6191 | 1121081.946 | 2498438.6554 | 1121080.2498 | 2498436.9592 | 1121078.9441 | 2498438.4654 | 1121075.3721
21 | 2498559.5718 | 1121177.2477 | 2498557.7561 | 1121171.1187 | 2498565.1677 | 1121166.8139 | 2498571.864 | 1121166.7794 | 2498578.438 | 1121168.1922 | 2498579.0402 | 1121175.1087 | 2498580.6916 | 1121174.6696 | 2498582.3448 | 1121174.7975
22 | 2498627.1547 | 1121196.8377 | 2498624.4391 | 1121198.2285 | 2498621.7018 | 1121198.7859 | 2498618.1384 | 1121198.8457 | 2498615.1808 | 1121198.2282 | 2498611.8922 | 1121196.738 | 2498605.1947 | 1121192.1029 | 2498584.6385 | 1121175.8486 | 2498582.3448 | 1121174.7975
23 | 2498582.3448 | 1121174.7975 | 2498588.4227 | 1121196.8356
24 | 2498559.5718 | 1121177.2477 | 2498560.3962 | 1121177.1783 | 2498574.0328 | 1121216.0115
25 | 2498555.3852 | 1121163.1646 | 2498557.7561 | 1121171.1187 | 2498559.5718 | 1121177.2477
26 | 2498559.5718 | 1121177.2477 | 2498556.0632 | 1121177.818 | 2498548.77 | 1121182.6243
27 | 2498615.0164 | 1121176.4729 | 2498616.7251 | 1121176.2329 | 2498622.9254 | 1121188.4811 | 2498627.1547 | 1121196.8377
28 | 2498627.1547 | 1121196.8377 | 2498633.23 | 1121206.1391
29 | 2498588.4227 | 1121196.8356 | 2498592.6585 | 1121212.1944
30 | 2498448.0297 | 1121155.5508 | 2498447.1723 | 1121153.6529 | 2498447.0245 | 1121151.2872 | 2498448.9744 | 1121147.0296 | 2498463.2163 | 1121132.7592 | 2498468.794 | 1121127.9944
31 | 2498446.1445 | 1121166.4115 | 2498442.8735 | 1121162.753 | 2498445.7607 | 1121158.7242 | 2498448.0297 | 1121155.5508
32 | 2498448.0297 | 1121155.5508 | 2498449.9685 | 1121157.0636 | 2498453.5212 | 1121159.1164 | 2498462.8798 | 1121163.1479
33 | 2498468.794 | 1121127.9944 | 2498474.7929 | 1121122.8697 | 2498480.7719 | 1121119.8646
34 | 2498446.1445 | 1121166.4115 | 2498456.6276 | 1121171.3386
35 | 2498462.8798 | 1121163.1479 | 2498478.6187 | 1121169.9281
36 | 2498521.4294 | 1121103.3969 | 2498522.6577 | 1121107.6233
37 | 2498521.4294 | 1121103.3969 | 2498510.4884 | 1121105.2038 | 2498501.3809 | 1121107.5656
38 | 2498522.6577 | 1121107.6233 | 2498516.8522 | 1121106.9537 | 2498505.909 | 1121108.6273 | 2498502.5465 | 1121109.8384
39 | 2498456.6276 | 1121171.3386 | 2498452.9591 | 1121176.6257
40 | 2498575.5234 | 1121220.6134 | 2498575.0133 | 1121218.8037 | 2498574.0328 | 1121216.0115
41 | 2498555.3852 | 1121163.1646 | 2498549.2636 | 1121168.5741
42 | 2498555.3852 | 1121163.1646 | 2498556.3735 | 1121162.292 | 2498548.7589 | 1121146.1661
43 | 2498548.77 | 1121182.6243 | 2498544.331 | 1121185.5496
44 | 2498628.8192 | 1121169.5816 | 2498642.5127 | 1121192.055 | 2498647.4456 | 1121199.317
45 | 2498615.0164 | 1121176.4729 | 2498616.7251 | 1121176.2329 | 2498624.6471 | 1121171.9975 | 2498628.8192 | 1121169.5816
46 | 2498626.2158 | 1121165.2447 | 2498628.8192 | 1121169.5816
47 | 2498647.4456 | 1121199.317 | 2498658.74 | 1121215.9441
48 | 2498615.0164 | 1121176.4729 | 2498614.019 | 1121172.2091 | 2498611.5288 | 1121168.6375 | 2498606.6587 | 1121165.3171 | 2498604.3193 | 1121161.5429 | 2498603.8405 | 1121157.8374 | 2498604.4545 | 1121154.425
49 | 2498626.2158 | 1121165.2447 | 2498619.2513 | 1121153.4501
50 | 2498626.2158 | 1121165.2447 | 2498633.5582 | 1121160.9522 | 2498636.1036 | 1121159.5309 | 2498642.6884 | 1121155.5167
51 | 2498648.9034 | 1121221.4643 | 2498646.5538 | 1121218.1703 | 2498635.1209 | 1121209.034 | 2498633.23 | 1121206.1391
52 | 2498520.7738 | 1121334.4975 | 2498517.3117 | 1121336.9127
53 | 2498520.7738 | 1121334.4975 | 2498517.0053 | 1121329.2352 | 2498515.2751 | 1121326.8183 | 2498514.2929 | 1121325.6136
54 | 2498517.3117 | 1121336.9127 | 2498529.9328 | 1121354.4026
55 | 2498514.2929 | 1121325.6136 | 2498508.1302 | 1121318.0544
56 | 2498537.6077 | 1121190.191 | 2498542.404 | 1121186.8195 | 2498544.331 | 1121185.5496
57 | 2498537.6077 | 1121190.191 | 2498531.5946 | 1121193.2383 | 2498527.2755 | 1121194.7006 | 2498520.5069 | 1121195.4813 | 2498516.0617 | 1121195.4114
58 | 2498537.6077 | 1121190.191 | 2498514.6156 | 1121227.484
59 | 2498516.0617 | 1121195.4114 | 2498502.3929 | 1121213.4855
60 | 2498514.6156 | 1121227.484 | 2498509.2999 | 1121236.106 | 2498504.1477 | 1121244.4644 | 2498492.4297 | 1121263.4731
61 | 2498654.4187 | 1121229.1963 | 2498653.8543 | 1121228.4051
62 | 2498653.8543 | 1121228.4051 | 2498648.9034 | 1121221.4643
63 | 2498592.6585 | 1121212.1944 | 2498596.0642 | 1121224.5431 | 2498600.0317 | 1121238.9078 | 2498601.1639 | 1121244.3615
64 | 2498480.7719 | 1121119.8646 | 2498482.6426 | 1121118.9243 | 2498486.0616 | 1121115.7761 | 2498488.2715 | 1121114.9801
65 | 2498494.1072 | 1121176.6007 | 2498493.3893 | 1121176.2911 | 2498478.6187 | 1121169.9281
66 | 2498502.5465 | 1121109.8384 | 2498501.4216 | 1121110.2436
67 | 2498585.4866 | 1121317.879 | 2498584.5508 | 1121328.2669
68 | 2498585.4866 | 1121317.879 | 2498586.3453 | 1121308.3476 | 2498586.5097 | 1121296.237
69 | 2498452.9591 | 1121176.6257 | 2498465.0225 | 1121185.1507
70 | 2498465.0225 | 1121185.1507 | 2498476.7235 | 1121189.0813
71 | 2498575.5234 | 1121220.6134 | 2498577.3352 | 1121227.0414
72 | 2498619.2513 | 1121153.4501 | 2498615.7013 | 1121147.4382
73 | 2498498.8762 | 1121307.2721 | 2498502.813 | 1121311.529 | 2498507.5316 | 1121317.3201 | 2498508.1302 | 1121318.0544
74 | 2498489.6773 | 1121204.2488 | 2498489.6773 | 1121204.2488 | 2498502.3929 | 1121213.4855
75 | 2498486.3353 | 1121273.3592 | 2498492.4297 | 1121263.4731
76 | 2498488.2715 | 1121114.9801 | 2498501.4216 | 1121110.2436
77 | 2498478.8072 | 1121285.5712 | 2498498.8762 | 1121307.2721
78 | 2498478.8072 | 1121285.5712 | 2498460.9692 | 1121266.7145 | 2498458.3114 | 1121268.3268 | 2498455.7669 | 1121268.881 | 2498453.0078 | 1121268.5938 | 2498450.9096 | 1121267.6951 | 2498449.1113 | 1121266.28
79 | 2498478.8072 | 1121285.5712 | 2498486.3353 | 1121273.3592
80 | 2498449.1113 | 1121266.28 | 2498446.843 | 1121268.1787
81 | 2498481.1613 | 1121190.572 | 2498492.844 | 1121199.8595
82 | 2498481.1613 | 1121190.572 | 2498476.7235 | 1121189.0813
83 | 2498492.844 | 1121199.8595 | 2498489.6773 | 1121204.2488
84 | 2498586.39 | 1121280.7714 | 2498586.6696 | 1121284.4605 | 2498586.5097 | 1121296.237
85 | 2498586.39 | 1121280.7714 | 2498585.1436 | 1121264.329 | 2498583.336 | 1121252.2406 | 2498582.6155 | 1121248.8867
86 | 2498582.0596 | 1121246.2992 | 2498582.6155 | 1121248.8867
87 | 2498580.9943 | 1121241.3401 | 2498582.0596 | 1121246.2992
88 | 2498580.9943 | 1121241.3401 | 2498580.0429 | 1121236.9115
89 | 2498580.0429 | 1121236.9115 | 2498579.8042 | 1121235.8006 | 2498577.3352 | 1121227.0414
90 | 2498494.1072 | 1121176.6007 | 2498505.6452 | 1121181.5776 | 2498512.4421 | 1121183.398 | 2498514.0741 | 1121183.43

## bus_geodata
| x | y | coords
0 | 2498343.1763 | 1121242.5664
1 | 2498312.8237 | 1121262.6187
2 | 2498370.3923 | 1121226.4917
3 | 2498376.5968 | 1121222.893
4 | 2498396.1986 | 1121208.9108
5 | 2498400.651 | 1121204.9417
6 | 2498429.1262 | 1121284.5589
7 | 2498443.215 | 1121271.2155
8 | 2498439.6153 | 1121153.4352
9 | 2498507.3192 | 1121052.4315
10 | 2498505.3803 | 1121049.588
11 | 2498513.1574 | 1121066.1234
12 | 2498510.6512 | 1121024.3948
13 | 2498435.2024 | 1121015.7339
14 | 2498517.2245 | 1121082.8587
15 | 2498419.8209 | 1121042.0866
16 | 2498438.4654 | 1121075.3721
17 | 2498582.3448 | 1121174.7975
18 | 2498559.5718 | 1121177.2477
19 | 2498627.1547 | 1121196.8377
20 | 2498588.4227 | 1121196.8356
21 | 2498448.0297 | 1121155.5508
22 | 2498468.794 | 1121127.9944
23 | 2498446.1445 | 1121166.4115
24 | 2498462.8798 | 1121163.1479
25 | 2498521.4294 | 1121103.3969
26 | 2498522.6577 | 1121107.6233
27 | 2498501.3809 | 1121107.5656
28 | 2498456.6276 | 1121171.3386
29 | 2498574.0328 | 1121216.0115
30 | 2498555.3852 | 1121163.1646
31 | 2498548.77 | 1121182.6243
32 | 2498549.2636 | 1121168.5741
33 | 2498548.7589 | 1121146.1661
34 | 2498628.8192 | 1121169.5816
35 | 2498647.4456 | 1121199.317
36 | 2498615.0164 | 1121176.4729
37 | 2498626.2158 | 1121165.2447
38 | 2498633.23 | 1121206.1391
39 | 2498604.4545 | 1121154.425
40 | 2498520.7738 | 1121334.4975
41 | 2498517.3117 | 1121336.9127
42 | 2498514.2929 | 1121325.6136
43 | 2498486.3208 | 1121020.5632
44 | 2498514.1002 | 1121012.9673
45 | 2498537.6077 | 1121190.191
46 | 2498544.331 | 1121185.5496
47 | 2498516.0617 | 1121195.4114
48 | 2498514.6156 | 1121227.484
49 | 2498424.5595 | 1121009.116
50 | 2498469.0923 | 1121109.6127
51 | 2498654.4187 | 1121229.1963
52 | 2498653.8543 | 1121228.4051
53 | 2498592.6585 | 1121212.1944
54 | 2498658.74 | 1121215.944
55 | 2498480.7719 | 1121119.8646
56 | 2498478.6187 | 1121169.9281
57 | 2498502.5465 | 1121109.8384
58 | 2498584.5508 | 1121328.2669
59 | 2498585.4866 | 1121317.879
60 | 2498529.9328 | 1121354.4026
61 | 2498452.9591 | 1121176.6257
62 | 2498465.0225 | 1121185.1507
63 | 2498575.5234 | 1121220.6134
64 | 2498601.1639 | 1121244.3615
65 | 2498619.2513 | 1121153.4501
66 | 2498642.6884 | 1121155.5167
67 | 2498648.9034 | 1121221.4643
68 | 2498508.1302 | 1121318.0544
69 | 2498502.3929 | 1121213.4855
70 | 2498492.4297 | 1121263.4731
71 | 2498501.4216 | 1121110.2436
72 | 2498488.2715 | 1121114.9801
73 | 2498498.8762 | 1121307.2721
74 | 2498478.8072 | 1121285.5712
75 | 2498449.1113 | 1121266.28
76 | 2498486.3353 | 1121273.3592
77 | 2498446.843 | 1121268.1787
78 | 2498481.1613 | 1121190.572
79 | 2498492.844 | 1121199.8595
80 | 2498476.7235 | 1121189.0813
81 | 2498489.6773 | 1121204.2488
82 | 2498586.5097 | 1121296.237
83 | 2498586.39 | 1121280.7714
84 | 2498582.6155 | 1121248.8867
85 | 2498582.0596 | 1121246.2992
86 | 2498615.7013 | 1121147.4382
87 | 2498580.9943 | 1121241.3401
88 | 2498580.0429 | 1121236.9115
89 | 2498577.3352 | 1121227.0414
90 | 2498514.0741 | 1121183.43
91 | 2498494.1072 | 1121176.6007
92 | 2498555.3852 | 1121163.1646

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1