## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6623-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6623-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6623-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6623-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6623-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6623-13_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6623-13_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6623-13_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6623-13_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6623-13_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6623-13_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_6623-13_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_6623-13_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6623-13_0_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_6623-13_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_6623-13_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_6623-13_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_6623-13_0_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6623-13_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_6623-13_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6623-13_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_6623-13_0_3_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_6623-13_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6623-13_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6623-13_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6623-13_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6623-13_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6623-13_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6623-13_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6623-13_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6623-13_0_3_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_6623-13_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6623-13_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_6623-13_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6623-13_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_6623-13_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6623-13_0_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_6623-13_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6623-13_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6623-13_0_3_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_6623-13_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_6623-13_0_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_6623-13_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_6623-13_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6623-13_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6623-13_0_3_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_6623-13_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6623-13_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_6623-13_0_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6623-13_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6623-13_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6623-13_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6623-13_0_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_6623-13_0_3_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_6623-13_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6623-13_0_3_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_6623-13_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6623-13_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6623-13_0_3_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_6623-13_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_6623-13_0_3_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_6623-13_0_3_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_6623-13_0_3_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_6623-13_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_6623-13_0_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_6623-13_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_6623-13_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_6623-13_0_3_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_6623-13_0_3_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_6623-13_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_6623-13_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_6623-13_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6623-13_0_3_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_6623-13_0_3_node_35 | 0.4 | n |  | TRUE
74 | bus_LV_6623-13_0_3_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_6623-13_0_3_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_6623-13_0_3_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_6623-13_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_6623-13_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_6623-13_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_6623-13_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_6623-13_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6623-13_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_6623-13_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6623-13_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_6623-13_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_MV_462_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6623-13_0_3_load_0 | 0 | 0.013394 | 0.0033569 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6623-13_0_3_load_1 | 1 | 0.0093386 | 0.0023405 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6623-13_0_3_load_3 | 3 | 0.0018119 | 0.00045412 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6623-13_0_3_load_5 | 5 | 0.0031321 | 0.00078498 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6623-13_0_3_load_7 | 6 | 0.0089161 | 0.0022346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6623-13_0_3_load_8 | 7 | 0.0032758 | 0.00082099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6623-13_0_3_load_10 | 8 | 0.0018393 | 0.00046098 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6623-13_0_3_load_59 | 10 | 0.0020852 | 0.0005226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6623-13_0_3_load_11 | 12 | 0.0021921 | 0.00054938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6623-13_0_3_load_42 | 13 | 0.0014618 | 0.00036636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6623-13_0_3_load_65 | 14 | 0.0018616 | 0.00046657 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6623-13_0_3_load_58 | 15 | 0.0025146 | 0.00063022 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6623-13_0_3_load_63 | 16 | 0.0029221 | 0.00073234 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6623-13_0_3_load_60 | 17 | 0.0028542 | 0.00071532 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6623-13_0_3_load_43 | 18 | 0.0042229 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6623-13_0_3_load_49 | 19 | 0.0095162 | 0.002385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6623-13_0_3_load_66 | 21 | 0.0018248 | 0.00045734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6623-13_0_3_load_12 | 22 | 0.0033415 | 0.00083747 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6623-13_0_3_load_13 | 23 | 0.0021461 | 0.00053787 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6623-13_0_3_load_14 | 24 | 0.0044176 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6623-13_0_3_load_15 | 25 | 0.0019715 | 0.00049411 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6623-13_0_3_load_16 | 26 | 0.0018052 | 0.00045243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6623-13_0_3_load_18 | 27 | 0.001855 | 0.00046492 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6623-13_0_3_load_40 | 28 | 0.0018775 | 0.00047055 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6623-13_0_3_load_90 | 30 | 0.0060718 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6623-13_0_3_load_38 | 32 | 0.013765 | 0.0034498 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6623-13_0_3_load_81 | 34 | 0.0028354 | 0.00071063 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6623-13_0_3_load_67 | 39 | 0.0062577 | 0.0015683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6623-13_0_3_load_46 | 44 | 0.0027452 | 0.00068801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6623-13_0_3_load_87 | 45 | 0.021189 | 0.0053104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6623-13_0_3_load_39 | 46 | 0.0082753 | 0.002074 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6623-13_0_3_load_68 | 48 | 0.010369 | 0.0025988 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6623-13_0_3_load_86 | 52 | 0.022935 | 0.005748 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6623-13_0_3_load_83 | 53 | 0.0012685 | 0.00031792 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6623-13_0_3_load_91 | 55 | 0.0099934 | 0.0025046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6623-13_0_3_load_88 | 58 | 0.003421 | 0.00085737 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6623-13_0_3_load_41 | 59 | 0.0060134 | 0.0015071 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6623-13_0_3_load_36 | 60 | 0.0036165 | 0.00090638 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6623-13_0_3_load_89 | 61 | 0.0028338 | 0.00071021 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6623-13_0_3_load_76 | 62 | 0.011424 | 0.002863 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6623-13_0_3_load_74 | 63 | 0.0026406 | 0.0006618 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6623-13_0_3_load_82 | 64 | 0.0012062 | 0.0003023 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6623-13_0_3_load_85 | 65 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6623-13_0_3_load_45 | 66 | 0.0023895 | 0.00059887 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6623-13_0_3_load_37 | 67 | 0.0059719 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6623-13_0_3_load_84 | 68 | 0.0027423 | 0.00068729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6623-13_0_3_load_53 | 70 | 0.0024116 | 0.0006044 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6623-13_0_3_load_55 | 71 | 0.0028629 | 0.0007175 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6623-13_0_3_load_50 | 72 | 0.011147 | 0.0027936 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6623-13_0_3_load_35 | 73 | 0.0042129 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6623-13_0_3_load_44 | 74 | 0.0073228 | 0.0018353 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6623-13_0_3_load_47 | 75 | 0.0020693 | 0.00051861 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6623-13_0_3_load_51 | 76 | 0.0031204 | 0.00078206 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6623-13_0_3_load_54 | 77 | 0.0056906 | 0.0014262 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6623-13_0_3_load_56 | 78 | 0.0040115 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6623-13_0_3_load_73 | 79 | 0.0019677 | 0.00049315 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6623-13_0_3_load_71 | 80 | 0.0061001 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6623-13_0_3_load_70 | 81 | 0.0070022 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6623-13_0_3_load_72 | 82 | 0.0038702 | 0.00096996 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6623-13_0_3_load_77 | 83 | 0.0012408 | 0.00031098 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6623-13_0_3_load_79 | 84 | 0.003031 | 0.00075964 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6623-13_0_3_load_80 | 85 | 0.0015498 | 0.00038841 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6623-13_0_3_line_0 |  | 0 | 1 | 0.030057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6623-13_0_3_line_1 |  | 0 | 2 | 0.029931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6623-13_0_3_line_2 |  | 1 | 3 | 0.0048969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6623-13_0_3_line_3 |  | 2 | 4 | 0.004174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6623-13_0_3_line_4 |  | 2 | 5 | 0.031811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6623-13_0_3_line_5 |  | 3 | 6 | 0.0054814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6623-13_0_3_line_6 |  | 4 | 7 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6623-13_0_3_line_7 |  | 5 | 8 | 0.033237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6623-13_0_3_line_8 |  | 6 | 12 | 0.023794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6623-13_0_3_line_9 |  | 7 | 13 | 0.00050191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6623-13_0_3_line_10 |  | 8 | 14 | 0.0010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6623-13_0_3_line_11 |  | 9 | 10 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6623-13_0_3_line_12 |  | 9 | 11 | 0.006623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6623-13_0_3_line_13 |  | 10 | 15 | 0.03986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6623-13_0_3_line_14 |  | 11 | 16 | 0.0016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6623-13_0_3_line_15 |  | 11 | 17 | 0.0078706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6623-13_0_3_line_16 |  | 13 | 18 | 0.0097968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6623-13_0_3_line_17 |  | 14 | 21 | 0.0010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6623-13_0_3_line_18 |  | 15 | 78 | 0.0077573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6623-13_0_3_line_19 |  | 18 | 74 | 0.019923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6623-13_0_3_line_20 |  | 19 | 20 | 0.015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6623-13_0_3_line_21 |  | 20 | 76 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6623-13_0_3_line_22 |  | 20 | 75 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6623-13_0_3_line_23 |  | 21 | 79 | 0.0011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6623-13_0_3_line_24 |  | 22 | 23 | 0.0074982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6623-13_0_3_line_25 |  | 22 | 24 | 0.037331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6623-13_0_3_line_26 |  | 23 | 25 | 0.0052612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6623-13_0_3_line_27 |  | 24 | 26 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6623-13_0_3_line_28 |  | 26 | 27 | 0.0043246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6623-13_0_3_line_29 |  | 27 | 28 | 0.010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6623-13_0_3_line_30 |  | 28 | 59 | 0.015099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6623-13_0_3_line_31 |  | 29 | 30 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6623-13_0_3_line_32 |  | 29 | 31 | 0.041038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6623-13_0_3_line_33 |  | 31 | 32 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6623-13_0_3_line_34 |  | 32 | 60 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6623-13_0_3_line_35 |  | 33 | 34 | 0.031444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6623-13_0_3_line_36 |  | 33 | 35 | 0.029977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6623-13_0_3_line_37 |  | 33 | 36 | 0.007103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6623-13_0_3_line_38 |  | 34 | 61 | 0.0042198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6623-13_0_3_line_39 |  | 35 | 39 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6623-13_0_3_line_40 |  | 36 | 62 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6623-13_0_3_line_41 |  | 36 | 40 | 0.004355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6623-13_0_3_line_42 |  | 37 | 38 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6623-13_0_3_line_43 |  | 37 | 39 | 0.012767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6623-13_0_3_line_44 |  | 38 | 48 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6623-13_0_3_line_45 |  | 38 | 54 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6623-13_0_3_line_46 |  | 40 | 41 | 0.005091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6623-13_0_3_line_47 |  | 41 | 63 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6623-13_0_3_line_48 |  | 41 | 42 | 0.002896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6623-13_0_3_line_49 |  | 42 | 43 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6623-13_0_3_line_50 |  | 42 | 44 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6623-13_0_3_line_51 |  | 43 | 45 | 0.007119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6623-13_0_3_line_52 |  | 43 | 46 | 0.030614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6623-13_0_3_line_53 |  | 44 | 66 | 0.0088356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6623-13_0_3_line_54 |  | 46 | 67 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6623-13_0_3_line_55 |  | 47 | 48 | 0.0083351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6623-13_0_3_line_56 |  | 47 | 49 | 0.009895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6623-13_0_3_line_57 |  | 49 | 52 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6623-13_0_3_line_58 |  | 50 | 51 | 0.058501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6623-13_0_3_line_59 |  | 50 | 52 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6623-13_0_3_line_60 |  | 51 | 53 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6623-13_0_3_line_61 |  | 53 | 68 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6623-13_0_3_line_62 |  | 54 | 55 | 0.02228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6623-13_0_3_line_63 |  | 56 | 57 | 0.001174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6623-13_0_3_line_64 |  | 56 | 58 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6623-13_0_3_line_65 |  | 57 | 72 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6623-13_0_3_line_66 |  | 57 | 69 | 0.003688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6623-13_0_3_line_67 |  | 58 | 61 | 0.0033918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6623-13_0_3_line_68 |  | 59 | 66 | 0.02737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6623-13_0_3_line_69 |  | 60 | 73 | 0.0069473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6623-13_0_3_line_70 |  | 62 | 83 | 0.0089421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6623-13_0_3_line_71 |  | 63 | 82 | 0.0087235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_6623-13_0_3_line_72 |  | 64 | 65 | 0.0028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6623-13_0_3_line_73 |  | 65 | 74 | 0.0069076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6623-13_0_3_line_74 |  | 67 | 73 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6623-13_0_3_line_75 |  | 69 | 70 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6623-13_0_3_line_76 |  | 69 | 71 | 0.0093781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6623-13_0_3_line_77 |  | 70 | 76 | 0.0040602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6623-13_0_3_line_78 |  | 71 | 77 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6623-13_0_3_line_79 |  | 77 | 78 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6623-13_0_3_line_80 |  | 79 | 80 | 0.0079327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6623-13_0_3_line_81 |  | 80 | 81 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6623-13_0_3_line_82 |  | 81 | 82 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6623-13_0_3_line_83 |  | 83 | 84 | 0.0062125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6623-13_0_3_line_84 |  | 84 | 85 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6623-13_0_3_trafo_72 | 0.63 MVA 20/0.4 kV | 86 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2498831.1978 | 1121537.2683 | 2498829.2187 | 1121539.2794 | 2498817.0899 | 1121551.6568 | 2498810.1591 | 1121558.7338
1 | 2498852.1256 | 1121515.8703 | 2498845.5054 | 1121522.7298 | 2498831.1978 | 1121537.2683
2 | 2498810.1591 | 1121558.7338 | 2498806.7328 | 1121562.2324
3 | 2498855.0301 | 1121512.8643 | 2498852.1256 | 1121515.8703
4 | 2498852.1256 | 1121515.8703 | 2498843.1217 | 1121500.6225 | 2498834.7926 | 1121489.2418
5 | 2498802.8975 | 1121566.1487 | 2498806.7328 | 1121562.2324
6 | 2498855.0301 | 1121512.8643 | 2498850.1621 | 1121504.5739 | 2498845.2798 | 1121497.2732 | 2498842.4298 | 1121493.4216
7 | 2498834.7926 | 1121489.2418 | 2498831.1284 | 1121484.2351 | 2498819.5302 | 1121465.1839 | 2498817.2396 | 1121461.0472
8 | 2498786.249 | 1121583.1483 | 2498802.8975 | 1121566.1487
9 | 2498842.1312 | 1121493.0181 | 2498842.4298 | 1121493.4216
10 | 2498817.2396 | 1121461.0472 | 2498816.7455 | 1121460.155
11 | 2498897.7028 | 1121289.7996 | 2498889.7214 | 1121298.5898
12 | 2498893.1929 | 1121284.9386 | 2498897.7028 | 1121289.7996
13 | 2498889.7214 | 1121298.5898 | 2498862.9262 | 1121328.1003
14 | 2498893.1929 | 1121284.9386 | 2498892.4646 | 1121286.4449
15 | 2498893.1929 | 1121284.9386 | 2498895.6904 | 1121277.4747
16 | 2498842.1312 | 1121493.0181 | 2498836.3039 | 1121485.1429
17 | 2498816.2427 | 1121459.247 | 2498816.7455 | 1121460.155
18 | 2498862.9262 | 1121328.1003 | 2498857.7116 | 1121333.8434
19 | 2498825.4553 | 1121468.4558 | 2498826.731 | 1121470.8781 | 2498833.708 | 1121481.6348 | 2498836.3039 | 1121485.1429
20 | 2498881.4546 | 1121384.3084 | 2498890.4967 | 1121371.8969
21 | 2498881.4546 | 1121384.3084 | 2498861.1434 | 1121370.6284
22 | 2498881.4546 | 1121384.3084 | 2498895.2595 | 1121394.0769
23 | 2498816.2427 | 1121459.247 | 2498815.6941 | 1121458.2563
24 | 2498717.81 | 1121514.8377 | 2498713.4955 | 1121520.9703
25 | 2498717.81 | 1121514.8377 | 2498733.0295 | 1121493.2052 | 2498738.8587 | 1121484.0173
26 | 2498713.4955 | 1121520.9703 | 2498710.4681 | 1121525.2732
27 | 2498738.8587 | 1121484.0173 | 2498741.756 | 1121479.4504 | 2498745.7467 | 1121470.2041
28 | 2498747.4604 | 1121466.2335 | 2498745.7467 | 1121470.2041
29 | 2498747.4604 | 1121466.2335 | 2498748.6776 | 1121463.4133 | 2498751.839 | 1121456.3913
30 | 2498751.839 | 1121456.3913 | 2498758.0375 | 1121442.6233
31 | 2498694.5046 | 1121527.4498 | 2498676.1703 | 1121515.7163 | 2498673.0519 | 1121511.944 | 2498670.7477 | 1121509.1426
32 | 2498694.5046 | 1121527.4498 | 2498700.0429 | 1121520.486 | 2498712.5002 | 1121502.4104 | 2498718.2918 | 1121493.9859
33 | 2498718.2918 | 1121493.9859 | 2498730.3567 | 1121476.8842 | 2498731.2028 | 1121475.5233
34 | 2498731.2028 | 1121475.5233 | 2498737.3282 | 1121465.6715 | 2498741.6924 | 1121456.6341
35 | 2498786.9486 | 1121394.1624 | 2498788.0991 | 1121390.9967 | 2498789.8325 | 1121388.544 | 2498801.0549 | 1121378.6944 | 2498810.0011 | 1121373.92
36 | 2498795.3608 | 1121374.0646 | 2498780.3739 | 1121384.3997 | 2498782.8074 | 1121387.8167 | 2498786.9486 | 1121394.1624
37 | 2498790.8364 | 1121400.1122 | 2498786.9486 | 1121394.1624
38 | 2498810.0011 | 1121373.92 | 2498813.724 | 1121371.9332
39 | 2498795.3608 | 1121374.0646 | 2498790.6521 | 1121366.5387 | 2498787.5036 | 1121364.8128
40 | 2498790.8364 | 1121400.1122 | 2498794.316 | 1121402.889 | 2498799.8308 | 1121410.2999
41 | 2498787.3862 | 1121402.7827 | 2498790.8364 | 1121400.1122
42 | 2498764.6903 | 1121347.1611 | 2498776.5193 | 1121361.0829
43 | 2498776.5193 | 1121361.0829 | 2498778.6131 | 1121364.0275 | 2498785.6531 | 1121363.7984 | 2498787.5036 | 1121364.8128
44 | 2498764.6903 | 1121347.1611 | 2498773.5722 | 1121339.2559
45 | 2498746.094 | 1121352.5092 | 2498749.7017 | 1121349.5692 | 2498752.4424 | 1121347.3774 | 2498754.5011 | 1121350.0669 | 2498757.3016 | 1121353.7445 | 2498760.9428 | 1121350.5037 | 2498763.5274 | 1121348.2035 | 2498764.6903 | 1121347.1611
46 | 2498787.3862 | 1121402.7827 | 2498783.4991 | 1121406.0832
47 | 2498783.4991 | 1121406.0832 | 2498792.4564 | 1121418.5067
48 | 2498783.4991 | 1121406.0832 | 2498781.9765 | 1121403.6183
49 | 2498774.4429 | 1121391.4145 | 2498777.6388 | 1121396.5976 | 2498781.9765 | 1121403.6183
50 | 2498781.9765 | 1121403.6183 | 2498778.3821 | 1121404.1232 | 2498776.5421 | 1121405.277 | 2498774.0264 | 1121410.1523
51 | 2498774.4429 | 1121391.4145 | 2498770.1811 | 1121385.7045
52 | 2498774.4429 | 1121391.4145 | 2498763.2625 | 1121412.9819 | 2498760.4298 | 1121418.6326
53 | 2498769.9749 | 1121418.0043 | 2498774.0264 | 1121410.1523
54 | 2498760.4298 | 1121418.6326 | 2498756.4615 | 1121426.5487 | 2498753.637 | 1121433.9223
55 | 2498771.0901 | 1121333.1229 | 2498775.1427 | 1121337.8581 | 2498773.5722 | 1121339.2559
56 | 2498778.0153 | 1121326.0359 | 2498771.0901 | 1121333.1229
57 | 2498778.0153 | 1121326.0359 | 2498780.932 | 1121328.8221 | 2498785.6576 | 1121324.1561
58 | 2498798.3231 | 1121311.3979 | 2498800.056 | 1121308.9118 | 2498803.193 | 1121305.0457 | 2498807.8842 | 1121297.6959 | 2498813.5144 | 1121282.381 | 2498814.9337 | 1121277.2985 | 2498815.0798 | 1121268.5128 | 2498822.2689 | 1121259.6758
59 | 2498798.3231 | 1121311.3979 | 2498795.7245 | 1121314.2432 | 2498790.2444 | 1121319.6272 | 2498785.6576 | 1121324.1561
60 | 2498822.2689 | 1121259.6758 | 2498837.4701 | 1121244.7804
61 | 2498837.4701 | 1121244.7804 | 2498847.1287 | 1121235.316
62 | 2498746.094 | 1121352.5092 | 2498752.6467 | 1121360.9492 | 2498756.0305 | 1121365.8289 | 2498758.89 | 1121370.7286
63 | 2498834.7337 | 1121359.4965 | 2498833.836 | 1121360.2565
64 | 2498833.836 | 1121360.2565 | 2498830.5193 | 1121363.0693 | 2498819.6593 | 1121368.7657 | 2498816.7164 | 1121370.3363
65 | 2498834.7337 | 1121359.4965 | 2498845.0756 | 1121370.1832
66 | 2498834.7337 | 1121359.4965 | 2498837.5482 | 1121357.1035
67 | 2498816.7164 | 1121370.3363 | 2498813.724 | 1121371.9332
68 | 2498769.9749 | 1121418.0043 | 2498763.2786 | 1121430.9818 | 2498758.0375 | 1121442.6233
69 | 2498744.7135 | 1121450.3781 | 2498741.6924 | 1121456.6341
70 | 2498799.8308 | 1121410.2999 | 2498805.1691 | 1121417.4737
71 | 2498792.4564 | 1121418.5067 | 2498797.5582 | 1121425.5828
72 | 2498822.2364 | 1121462.344 | 2498820.8857 | 1121459.7795
73 | 2498825.4553 | 1121468.4558 | 2498822.2364 | 1121462.344
74 | 2498753.637 | 1121433.9223 | 2498749.7277 | 1121444.1281 | 2498747.0064 | 1121445.6301 | 2498744.7135 | 1121450.3781
75 | 2498837.5482 | 1121357.1035 | 2498850.9744 | 1121371.5101 | 2498857.0985 | 1121370.9791
76 | 2498837.5482 | 1121357.1035 | 2498840.2376 | 1121354.6125 | 2498840.8413 | 1121352.4232 | 2498843.1547 | 1121349.8755
77 | 2498857.0985 | 1121370.9791 | 2498861.1434 | 1121370.6284
78 | 2498850.1932 | 1121342.1237 | 2498843.1547 | 1121349.8755
79 | 2498850.1932 | 1121342.1237 | 2498857.7116 | 1121333.8434
80 | 2498811.8513 | 1121451.3165 | 2498815.6941 | 1121458.2563
81 | 2498804.7534 | 1121436.6913 | 2498808.8858 | 1121445.9611 | 2498811.8513 | 1121451.3165
82 | 2498804.7534 | 1121436.6913 | 2498803.4348 | 1121433.7335 | 2498797.5582 | 1121425.5828
83 | 2498805.1691 | 1121417.4737 | 2498808.8779 | 1121422.4576 | 2498808.8779 | 1121422.4576
84 | 2498816.5314 | 1121439.518 | 2498816.0766 | 1121435.8566 | 2498808.8209 | 1121425.9607 | 2498808.8779 | 1121422.4576

## bus_geodata
| x | y | coords
0 | 2498831.1978 | 1121537.2683
1 | 2498810.1591 | 1121558.7338
2 | 2498852.1256 | 1121515.8703
3 | 2498806.7328 | 1121562.2324
4 | 2498855.0301 | 1121512.8643
5 | 2498834.7926 | 1121489.2418
6 | 2498802.8975 | 1121566.1487
7 | 2498842.4298 | 1121493.4216
8 | 2498817.2396 | 1121461.0472
9 | 2498897.7028 | 1121289.7996
10 | 2498889.7214 | 1121298.5898
11 | 2498893.1929 | 1121284.9386
12 | 2498786.249 | 1121583.1483
13 | 2498842.1312 | 1121493.0181
14 | 2498816.7455 | 1121460.155
15 | 2498862.9262 | 1121328.1003
16 | 2498892.4646 | 1121286.4449
17 | 2498895.6904 | 1121277.4747
18 | 2498836.3039 | 1121485.1429
19 | 2498890.4967 | 1121371.8969
20 | 2498881.4546 | 1121384.3084
21 | 2498816.2427 | 1121459.247
22 | 2498717.81 | 1121514.8377
23 | 2498713.4955 | 1121520.9703
24 | 2498738.8587 | 1121484.0173
25 | 2498710.4681 | 1121525.2732
26 | 2498745.7467 | 1121470.2041
27 | 2498747.4604 | 1121466.2335
28 | 2498751.839 | 1121456.3913
29 | 2498694.5046 | 1121527.4498
30 | 2498670.7477 | 1121509.1426
31 | 2498718.2918 | 1121493.9859
32 | 2498731.2028 | 1121475.5233
33 | 2498786.9486 | 1121394.1624
34 | 2498810.0011 | 1121373.92
35 | 2498795.3608 | 1121374.0646
36 | 2498790.8364 | 1121400.1122
37 | 2498776.5193 | 1121361.0829
38 | 2498764.6903 | 1121347.1611
39 | 2498787.5036 | 1121364.8128
40 | 2498787.3862 | 1121402.7827
41 | 2498783.4991 | 1121406.0832
42 | 2498781.9765 | 1121403.6183
43 | 2498774.4429 | 1121391.4145
44 | 2498774.0264 | 1121410.1523
45 | 2498770.1811 | 1121385.7045
46 | 2498760.4298 | 1121418.6326
47 | 2498771.0901 | 1121333.1229
48 | 2498773.5722 | 1121339.2559
49 | 2498778.0153 | 1121326.0359
50 | 2498798.3231 | 1121311.3979
51 | 2498822.2689 | 1121259.6758
52 | 2498785.6576 | 1121324.1561
53 | 2498837.4701 | 1121244.7804
54 | 2498746.094 | 1121352.5092
55 | 2498758.89 | 1121370.7286
56 | 2498833.836 | 1121360.2565
57 | 2498834.7337 | 1121359.4965
58 | 2498816.7164 | 1121370.3363
59 | 2498758.0375 | 1121442.6233
60 | 2498741.6924 | 1121456.6341
61 | 2498813.724 | 1121371.9332
62 | 2498799.8308 | 1121410.2999
63 | 2498792.4564 | 1121418.5067
64 | 2498820.8857 | 1121459.7795
65 | 2498822.2364 | 1121462.344
66 | 2498769.9749 | 1121418.0043
67 | 2498753.637 | 1121433.9223
68 | 2498847.1287 | 1121235.316
69 | 2498837.5482 | 1121357.1035
70 | 2498857.0985 | 1121370.9791
71 | 2498843.1547 | 1121349.8755
72 | 2498845.0756 | 1121370.1832
73 | 2498744.7135 | 1121450.3781
74 | 2498825.4553 | 1121468.4558
75 | 2498895.2595 | 1121394.0769
76 | 2498861.1434 | 1121370.6284
77 | 2498850.1932 | 1121342.1237
78 | 2498857.7116 | 1121333.8434
79 | 2498815.6941 | 1121458.2563
80 | 2498811.8513 | 1121451.3165
81 | 2498804.7534 | 1121436.6913
82 | 2498797.5582 | 1121425.5828
83 | 2498805.1691 | 1121417.4737
84 | 2498808.8779 | 1121422.4576
85 | 2498816.5314 | 1121439.518
86 | 2498783.4991 | 1121406.0832

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1