## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6623-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6623-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6623-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6623-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6623-21_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6623-21_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6623-21_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6623-21_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6623-21_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_6623-21_0_5_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_6623-21_0_5_node_161 | 0.4 | n |  | TRUE
11 | bus_LV_6623-21_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6623-21_0_5_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_6623-21_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6623-21_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6623-21_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6623-21_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6623-21_0_5_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_6623-21_0_5_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_6623-21_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6623-21_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6623-21_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6623-21_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_6623-21_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6623-21_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6623-21_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6623-21_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6623-21_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6623-21_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6623-21_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_6623-21_0_5_node_118 | 0.4 | n |  | TRUE
31 | bus_LV_6623-21_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6623-21_0_5_node_162 | 0.4 | n |  | TRUE
33 | bus_LV_6623-21_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6623-21_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6623-21_0_5_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_6623-21_0_5_node_160 | 0.4 | n |  | TRUE
37 | bus_LV_6623-21_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_6623-21_0_5_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_6623-21_0_5_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_6623-21_0_5_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_6623-21_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6623-21_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6623-21_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6623-21_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6623-21_0_5_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6623-21_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6623-21_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6623-21_0_5_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_6623-21_0_5_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_6623-21_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6623-21_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_6623-21_0_5_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_6623-21_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_6623-21_0_5_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_6623-21_0_5_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_6623-21_0_5_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_6623-21_0_5_node_154 | 0.4 | n |  | TRUE
58 | bus_LV_6623-21_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6623-21_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6623-21_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_6623-21_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_6623-21_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_6623-21_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_6623-21_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_6623-21_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6623-21_0_5_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_6623-21_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6623-21_0_5_node_152 | 0.4 | n |  | TRUE
69 | bus_LV_6623-21_0_5_node_147 | 0.4 | n |  | TRUE
70 | bus_LV_6623-21_0_5_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_6623-21_0_5_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_6623-21_0_5_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_6623-21_0_5_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_6623-21_0_5_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_6623-21_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_6623-21_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6623-21_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_6623-21_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_6623-21_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_6623-21_0_5_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_6623-21_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_6623-21_0_5_node_155 | 0.4 | n |  | TRUE
83 | bus_LV_6623-21_0_5_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_6623-21_0_5_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_6623-21_0_5_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_6623-21_0_5_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_6623-21_0_5_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_6623-21_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_6623-21_0_5_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_6623-21_0_5_node_157 | 0.4 | n |  | TRUE
91 | bus_LV_6623-21_0_5_node_158 | 0.4 | n |  | TRUE
92 | bus_LV_6623-21_0_5_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_6623-21_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_6623-21_0_5_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_6623-21_0_5_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_6623-21_0_5_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_6623-21_0_5_node_133 | 0.4 | n |  | TRUE
98 | bus_LV_6623-21_0_5_node_120 | 0.4 | n |  | TRUE
99 | bus_LV_6623-21_0_5_node_134 | 0.4 | n |  | TRUE
100 | bus_LV_6623-21_0_5_node_131 | 0.4 | n |  | TRUE
101 | bus_LV_6623-21_0_5_node_119 | 0.4 | n |  | TRUE
102 | bus_LV_6623-21_0_5_node_135 | 0.4 | n |  | TRUE
103 | bus_LV_6623-21_0_5_node_132 | 0.4 | n |  | TRUE
104 | bus_LV_6623-21_0_5_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_6623-21_0_5_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_6623-21_0_5_node_138 | 0.4 | n |  | TRUE
107 | bus_LV_6623-21_0_5_node_137 | 0.4 | n |  | TRUE
108 | bus_LV_6623-21_0_5_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_6623-21_0_5_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_6623-21_0_5_node_95 | 0.4 | n |  | TRUE
111 | bus_LV_6623-21_0_5_node_96 | 0.4 | n |  | TRUE
112 | bus_LV_6623-21_0_5_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_6623-21_0_5_node_163 | 0.4 | n |  | TRUE
114 | bus_LV_6623-21_0_5_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_6623-21_0_5_node_142 | 0.4 | n |  | TRUE
116 | bus_LV_6623-21_0_5_node_139 | 0.4 | n |  | TRUE
117 | bus_LV_6623-21_0_5_node_99 | 0.4 | n |  | TRUE
118 | bus_LV_6623-21_0_5_node_140 | 0.4 | n |  | TRUE
119 | bus_LV_6623-21_0_5_node_100 | 0.4 | n |  | TRUE
120 | bus_LV_6623-21_0_5_node_101 | 0.4 | n |  | TRUE
121 | bus_LV_6623-21_0_5_node_102 | 0.4 | n |  | TRUE
122 | bus_LV_6623-21_0_5_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_6623-21_0_5_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_6623-21_0_5_node_105 | 0.4 | n |  | TRUE
125 | bus_LV_6623-21_0_5_node_106 | 0.4 | n |  | TRUE
126 | bus_LV_6623-21_0_5_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_6623-21_0_5_node_108 | 0.4 | n |  | TRUE
128 | bus_LV_6623-21_0_5_node_159 | 0.4 | n |  | TRUE
129 | bus_LV_6623-21_0_5_node_125 | 0.4 | n |  | TRUE
130 | bus_LV_6623-21_0_5_node_151 | 0.4 | n |  | TRUE
131 | bus_LV_6623-21_0_5_node_129 | 0.4 | n |  | TRUE
132 | bus_LV_6623-21_0_5_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_6623-21_0_5_node_153 | 0.4 | n |  | TRUE
134 | bus_LV_6623-21_0_5_node_130 | 0.4 | n |  | TRUE
135 | bus_LV_6623-21_0_5_node_128 | 0.4 | n |  | TRUE
136 | bus_LV_6623-21_0_5_node_109 | 0.4 | n |  | TRUE
137 | bus_LV_6623-21_0_5_node_110 | 0.4 | n |  | TRUE
138 | bus_LV_6623-21_0_5_node_111 | 0.4 | n |  | TRUE
139 | bus_LV_6623-21_0_5_node_112 | 0.4 | n |  | TRUE
140 | bus_LV_6623-21_0_5_node_113 | 0.4 | n |  | TRUE
141 | bus_LV_6623-21_0_5_node_114 | 0.4 | n |  | TRUE
142 | bus_LV_6623-21_0_5_node_115 | 0.4 | n |  | TRUE
143 | bus_LV_6623-21_0_5_node_116 | 0.4 | n |  | TRUE
144 | bus_LV_6623-21_0_5_node_121 | 0.4 | n |  | TRUE
145 | bus_LV_6623-21_0_5_node_122 | 0.4 | n |  | TRUE
146 | bus_LV_6623-21_0_5_node_123 | 0.4 | n |  | TRUE
147 | bus_LV_6623-21_0_5_node_126 | 0.4 | n |  | TRUE
148 | bus_LV_6623-21_0_5_node_136 | 0.4 | n |  | TRUE
149 | bus_LV_6623-21_0_5_node_127 | 0.4 | n |  | TRUE
150 | bus_LV_6623-21_0_5_node_148 | 0.4 | n |  | TRUE
151 | bus_LV_6623-21_0_5_node_149 | 0.4 | n |  | TRUE
152 | bus_LV_6623-21_0_5_node_141 | 0.4 | n |  | TRUE
153 | bus_LV_6623-21_0_5_node_143 | 0.4 | n |  | TRUE
154 | bus_LV_6623-21_0_5_node_144 | 0.4 | n |  | TRUE
155 | bus_LV_6623-21_0_5_node_145 | 0.4 | n |  | TRUE
156 | bus_LV_6623-21_0_5_node_150 | 0.4 | n |  | TRUE
157 | bus_LV_6623-21_0_5_node_156 | 0.4 | n |  | TRUE
158 | bus_MV_462_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6623-21_0_5_load_0 | 0 | 0.0016861 | 0.00042257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6623-21_0_5_load_3 | 3 | 0.0015355 | 0.00038482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6623-21_0_5_load_7 | 5 | 0.0011715 | 0.00029361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6623-21_0_5_load_5 | 6 | 0.00067691 | 0.00016965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6623-21_0_5_load_6 | 7 | 0.0018419 | 0.00046163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6623-21_0_5_load_32 | 8 | 0.0029552 | 0.00074065 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6623-21_0_5_load_31 | 9 | 0.0049222 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6623-21_0_5_load_161 | 10 | 0.0042028 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6623-21_0_5_load_9 | 11 | 0.0029843 | 0.00074793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6623-21_0_5_load_30 | 12 | 0.0037696 | 0.00094475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6623-21_0_5_load_10 | 14 | 0.0017768 | 0.00044531 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6623-21_0_5_load_11 | 15 | 0.0024757 | 0.00062046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6623-21_0_5_load_29 | 18 | 0.0042614 | 0.001068 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6623-21_0_5_load_13 | 19 | 0.0035958 | 0.0009012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6623-21_0_5_load_14 | 20 | 0.0018251 | 0.00045741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6623-21_0_5_load_15 | 21 | 0.0023408 | 0.00058667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6623-21_0_5_load_21 | 22 | 0.0024404 | 0.00061161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6623-21_0_5_load_18 | 25 | 0.0044656 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6623-21_0_5_load_19 | 26 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6623-21_0_5_load_20 | 27 | 0.0016751 | 0.00041982 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6623-21_0_5_load_34 | 28 | 0.0030112 | 0.00075468 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6623-21_0_5_load_35 | 29 | 0.0027343 | 0.00068527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6623-21_0_5_load_118 | 30 | 0.0021595 | 0.00054121 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6623-21_0_5_load_162 | 32 | 0.0010621 | 0.00026618 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6623-21_0_5_load_56 | 35 | 0.0086476 | 0.0021673 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6623-21_0_5_load_160 | 36 | 0.004401 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6623-21_0_5_load_61 | 37 | 0.0026511 | 0.00066442 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6623-21_0_5_load_57 | 38 | 0.013686 | 0.0034301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6623-21_0_5_load_88 | 39 | 0.0029855 | 0.00074823 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6623-21_0_5_load_117 | 40 | 0.00099947 | 0.00025049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6623-21_0_5_load_36 | 41 | 0.0024866 | 0.0006232 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6623-21_0_5_load_37 | 42 | 0.0027078 | 0.00067864 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6623-21_0_5_load_42 | 45 | 0.002088 | 0.00052331 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6623-21_0_5_load_43 | 46 | 0.003409 | 0.00085436 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6623-21_0_5_load_85 | 48 | 0.0011635 | 0.0002916 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6623-21_0_5_load_83 | 49 | 0.0014161 | 0.00035491 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6623-21_0_5_load_55 | 50 | 0.00086013 | 0.00021557 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6623-21_0_5_load_52 | 51 | 0.00085368 | 0.00021395 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6623-21_0_5_load_66 | 55 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6623-21_0_5_load_84 | 56 | 0.0007835 | 0.00019636 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6623-21_0_5_load_154 | 57 | 0.0008624 | 0.00021614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6623-21_0_5_load_53 | 58 | 0.00087515 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6623-21_0_5_load_44 | 59 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6623-21_0_5_load_45 | 60 | 0.0025217 | 0.00063201 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6623-21_0_5_load_46 | 61 | 0.0012151 | 0.00030454 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6623-21_0_5_load_47 | 62 | 0.0025283 | 0.00063364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6623-21_0_5_load_49 | 64 | 0.0011063 | 0.00027726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6623-21_0_5_load_89 | 66 | 0.00082132 | 0.00020584 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6623-21_0_5_load_152 | 68 | 0.00087654 | 0.00021968 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6623-21_0_5_load_147 | 69 | 0.0026533 | 0.00066499 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6623-21_0_5_load_80 | 70 | 0.00085905 | 0.0002153 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6623-21_0_5_load_90 | 72 | 0.00083455 | 0.00020916 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6623-21_0_5_load_79 | 73 | 0.00084993 | 0.00021301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6623-21_0_5_load_81 | 74 | 0.034229 | 0.0085786 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6623-21_0_5_load_78 | 75 | 0.00085824 | 0.0002151 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6623-21_0_5_load_75 | 76 | 0.0013057 | 0.00032725 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6623-21_0_5_load_62 | 78 | 0.00086287 | 0.00021626 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6623-21_0_5_load_63 | 79 | 0.00086163 | 0.00021594 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6623-21_0_5_load_64 | 80 | 0.00088131 | 0.00022088 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6623-21_0_5_load_65 | 81 | 0.0008624 | 0.00021614 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6623-21_0_5_load_155 | 82 | 0.00085816 | 0.00021508 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6623-21_0_5_load_59 | 84 | 0.0024759 | 0.00062053 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6623-21_0_5_load_60 | 85 | 0.0020652 | 0.00051759 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6623-21_0_5_load_82 | 86 | 0.0016727 | 0.00041921 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6623-21_0_5_load_86 | 87 | 0.0023588 | 0.00059116 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6623-21_0_5_load_87 | 88 | 0.0032903 | 0.00082463 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6623-21_0_5_load_76 | 89 | 0.00096451 | 0.00024173 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6623-21_0_5_load_157 | 90 | 0.0008571 | 0.00021481 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6623-21_0_5_load_158 | 91 | 0.00088901 | 0.00022281 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6623-21_0_5_load_67 | 92 | 0.0030356 | 0.00076079 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6623-21_0_5_load_69 | 93 | 0.0030078 | 0.00075383 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6623-21_0_5_load_73 | 94 | 0.003718 | 0.00093182 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6623-21_0_5_load_74 | 96 | 0.0027892 | 0.00069904 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6623-21_0_5_load_133 | 97 | 0.0082775 | 0.0020745 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6623-21_0_5_load_134 | 99 | 0.0030068 | 0.00075356 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6623-21_0_5_load_131 | 100 | 0.0018201 | 0.00045615 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6623-21_0_5_load_119 | 101 | 0.036045 | 0.0090338 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6623-21_0_5_load_135 | 102 | 0.0031482 | 0.00078902 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6623-21_0_5_load_132 | 103 | 0.003102 | 0.00077743 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6623-21_0_5_load_91 | 104 | 0.00081995 | 0.0002055 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6623-21_0_5_load_92 | 105 | 0.00091984 | 0.00023053 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6623-21_0_5_load_138 | 106 | 0.00091054 | 0.0002282 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6623-21_0_5_load_137 | 107 | 0.0019396 | 0.00048611 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6623-21_0_5_load_93 | 108 | 0.0023086 | 0.0005786 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6623-21_0_5_load_98 | 112 | 0.0024986 | 0.0006262 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6623-21_0_5_load_163 | 113 | 0.020301 | 0.005088 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6623-21_0_5_load_142 | 115 | 0.0046316 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6623-21_0_5_load_139 | 116 | 0.0028085 | 0.00070387 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6623-21_0_5_load_99 | 117 | 0.002321 | 0.0005817 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6623-21_0_5_load_140 | 118 | 0.006941 | 0.0017396 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6623-21_0_5_load_100 | 119 | 0.0019574 | 0.00049057 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6623-21_0_5_load_101 | 120 | 0.0011813 | 0.00029605 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6623-21_0_5_load_103 | 122 | 0.0034643 | 0.00086825 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6623-21_0_5_load_104 | 123 | 0.0050165 | 0.0012572 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6623-21_0_5_load_105 | 124 | 0.0010957 | 0.00027461 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6623-21_0_5_load_106 | 125 | 0.0009678 | 0.00024255 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6623-21_0_5_load_107 | 126 | 0.0023277 | 0.00058338 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6623-21_0_5_load_159 | 128 | 0.0071153 | 0.0017833 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6623-21_0_5_load_125 | 129 | 0.0020578 | 0.00051572 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6623-21_0_5_load_151 | 130 | 0.0068244 | 0.0017104 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6623-21_0_5_load_153 | 133 | 0.0074941 | 0.0018782 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6623-21_0_5_load_130 | 134 | 0.0016575 | 0.0004154 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6623-21_0_5_load_109 | 136 | 0.0013197 | 0.00033074 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6623-21_0_5_load_110 | 137 | 0.0042177 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6623-21_0_5_load_111 | 138 | 0.0012254 | 0.00030712 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6623-21_0_5_load_112 | 139 | 0.0010512 | 0.00026345 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6623-21_0_5_load_113 | 140 | 0.0020058 | 0.00050269 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6623-21_0_5_load_114 | 141 | 0.0013938 | 0.00034932 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6623-21_0_5_load_115 | 142 | 0.0013014 | 0.00032615 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6623-21_0_5_load_116 | 143 | 0.002039 | 0.00051102 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6623-21_0_5_load_121 | 144 | 0.0025934 | 0.00064997 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6623-21_0_5_load_122 | 145 | 0.0014661 | 0.00036743 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6623-21_0_5_load_123 | 146 | 0.0026357 | 0.00066056 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6623-21_0_5_load_126 | 147 | 0.0020506 | 0.00051393 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6623-21_0_5_load_136 | 148 | 0.0013456 | 0.00033724 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6623-21_0_5_load_127 | 149 | 0.0023604 | 0.00059158 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6623-21_0_5_load_148 | 150 | 0.0024771 | 0.00062082 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6623-21_0_5_load_149 | 151 | 0.0010161 | 0.00025466 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6623-21_0_5_load_141 | 152 | 0.010191 | 0.002554 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6623-21_0_5_load_143 | 153 | 0.0011455 | 0.00028708 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6623-21_0_5_load_144 | 154 | 0.0022304 | 0.00055899 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6623-21_0_5_load_145 | 155 | 0.00093546 | 0.00023445 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6623-21_0_5_load_150 | 156 | 0.0014528 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6623-21_0_5_load_156 | 157 | 0.00088815 | 0.00022259 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 133 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6623-21_0_5_line_0 |  | 0 | 1 | 0.030085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6623-21_0_5_line_1 |  | 1 | 2 | 0.03095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6623-21_0_5_line_2 |  | 2 | 3 | 0.0055539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6623-21_0_5_line_3 |  | 3 | 4 | 0.10616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6623-21_0_5_line_4 |  | 3 | 5 | 0.041427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6623-21_0_5_line_5 |  | 4 | 6 | 0.029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6623-21_0_5_line_6 |  | 6 | 7 | 0.00062736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6623-21_0_5_line_7 |  | 7 | 10 | 0.00048776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6623-21_0_5_line_8 |  | 8 | 9 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6623-21_0_5_line_9 |  | 9 | 11 | 0.13836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6623-21_0_5_line_10 |  | 9 | 12 | 0.040897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6623-21_0_5_line_11 |  | 10 | 13 | 0.075447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6623-21_0_5_line_12 |  | 11 | 14 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6623-21_0_5_line_13 |  | 12 | 25 | 0.073435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6623-21_0_5_line_14 |  | 13 | 17 | 0.027005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6623-21_0_5_line_15 |  | 14 | 15 | 0.0022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6623-21_0_5_line_16 |  | 15 | 16 | 0.037545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6623-21_0_5_line_17 |  | 16 | 17 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6623-21_0_5_line_18 |  | 17 | 18 | 0.030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6623-21_0_5_line_19 |  | 18 | 32 | 0.00422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6623-21_0_5_line_20 |  | 19 | 20 | 0.040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6623-21_0_5_line_21 |  | 19 | 21 | 0.040531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6623-21_0_5_line_22 |  | 19 | 22 | 0.11973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6623-21_0_5_line_23 |  | 20 | 23 | 0.047382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6623-21_0_5_line_24 |  | 21 | 24 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6623-21_0_5_line_25 |  | 23 | 25 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6623-21_0_5_line_26 |  | 24 | 26 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6623-21_0_5_line_27 |  | 24 | 27 | 0.032951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6623-21_0_5_line_28 |  | 26 | 28 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6623-21_0_5_line_29 |  | 27 | 29 | 0.0096405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6623-21_0_5_line_30 |  | 28 | 30 | 0.026477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6623-21_0_5_line_31 |  | 29 | 31 | 0.024149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6623-21_0_5_line_32 |  | 30 | 40 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6623-21_0_5_line_33 |  | 31 | 37 | 0.0040071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6623-21_0_5_line_34 |  | 31 | 33 | 0.004608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6623-21_0_5_line_35 |  | 33 | 34 | 0.08517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6623-21_0_5_line_36 |  | 33 | 35 | 0.010768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6623-21_0_5_line_37 |  | 34 | 36 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6623-21_0_5_line_38 |  | 35 | 38 | 0.028837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6623-21_0_5_line_39 |  | 37 | 39 | 0.03807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6623-21_0_5_line_40 |  | 39 | 88 | 0.0026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6623-21_0_5_line_41 |  | 40 | 143 | 0.0084543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6623-21_0_5_line_42 |  | 41 | 42 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6623-21_0_5_line_43 |  | 41 | 43 | 0.023334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6623-21_0_5_line_44 |  | 43 | 44 | 0.023763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6623-21_0_5_line_45 |  | 44 | 45 | 0.0091503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6623-21_0_5_line_46 |  | 44 | 46 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6623-21_0_5_line_47 |  | 45 | 50 | 0.0050283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6623-21_0_5_line_48 |  | 46 | 51 | 0.0014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6623-21_0_5_line_49 |  | 47 | 48 | 0.0023193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6623-21_0_5_line_50 |  | 47 | 49 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6623-21_0_5_line_51 |  | 48 | 52 | 0.076542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6623-21_0_5_line_52 |  | 49 | 56 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6623-21_0_5_line_53 |  | 50 | 57 | 0.0050218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6623-21_0_5_line_54 |  | 51 | 58 | 5.4971e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6623-21_0_5_line_55 |  | 52 | 53 | 0.033601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6623-21_0_5_line_56 |  | 53 | 54 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6623-21_0_5_line_57 |  | 53 | 55 | 0.03756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6623-21_0_5_line_58 |  | 54 | 95 | 0.042931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6623-21_0_5_line_59 |  | 54 | 96 | 0.048056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6623-21_0_5_line_60 |  | 55 | 92 | 0.041167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6623-21_0_5_line_61 |  | 56 | 70 | 0.0056431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6623-21_0_5_line_62 |  | 57 | 82 | 0.0050035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6623-21_0_5_line_63 |  | 58 | 77 | 0.0099402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6623-21_0_5_line_64 |  | 59 | 60 | 0.011892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6623-21_0_5_line_65 |  | 59 | 61 | 0.013579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6623-21_0_5_line_66 |  | 60 | 62 | 0.026373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6623-21_0_5_line_67 |  | 61 | 63 | 0.020836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6623-21_0_5_line_68 |  | 63 | 64 | 0.0071785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6623-21_0_5_line_69 |  | 63 | 65 | 0.048607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6623-21_0_5_line_70 |  | 64 | 66 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6623-21_0_5_line_71 |  | 65 | 70 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6623-21_0_5_line_72 |  | 65 | 71 | 0.00406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6623-21_0_5_line_73 |  | 66 | 72 | 0.0055439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6623-21_0_5_line_74 |  | 67 | 68 | 0.014258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6623-21_0_5_line_75 |  | 67 | 69 | 0.075319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6623-21_0_5_line_76 |  | 68 | 73 | 0.0052712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6623-21_0_5_line_77 |  | 69 | 74 | 0.0095687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6623-21_0_5_line_78 |  | 71 | 75 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6623-21_0_5_line_79 |  | 71 | 76 | 0.0069309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6623-21_0_5_line_80 |  | 72 | 104 | 0.0068553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6623-21_0_5_line_81 |  | 73 | 75 | 0.0048297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6623-21_0_5_line_82 |  | 74 | 84 | 0.01835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6623-21_0_5_line_83 |  | 76 | 89 | 0.001286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6623-21_0_5_line_84 |  | 77 | 78 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6623-21_0_5_line_85 |  | 77 | 79 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6623-21_0_5_line_86 |  | 78 | 80 | 0.0035165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6623-21_0_5_line_87 |  | 79 | 81 | 0.0050261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6623-21_0_5_line_88 |  | 80 | 89 | 0.0031762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6623-21_0_5_line_89 |  | 81 | 90 | 0.0050001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6623-21_0_5_line_90 |  | 82 | 157 | 0.0014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6623-21_0_5_line_91 |  | 83 | 84 | 0.033909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6623-21_0_5_line_92 |  | 83 | 85 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_6623-21_0_5_line_93 |  | 85 | 86 | 0.00083772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_6623-21_0_5_line_94 |  | 86 | 87 | 0.0039436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_6623-21_0_5_line_95 |  | 87 | 88 | 0.032852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_6623-21_0_5_line_96 |  | 90 | 91 | 0.0015311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6623-21_0_5_line_97 |  | 92 | 93 | 7.2226e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6623-21_0_5_line_98 |  | 93 | 94 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6623-21_0_5_line_99 |  | 94 | 99 | 0.00011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6623-21_0_5_line_100 |  | 95 | 97 | 0.030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6623-21_0_5_line_101 |  | 95 | 98 | 0.078429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_6623-21_0_5_line_102 |  | 96 | 100 | 0.027788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6623-21_0_5_line_103 |  | 98 | 101 | 0.060015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_6623-21_0_5_line_104 |  | 99 | 102 | 0.013167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6623-21_0_5_line_105 |  | 100 | 103 | 0.0032419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6623-21_0_5_line_106 |  | 101 | 117 | 0.046473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_6623-21_0_5_line_107 |  | 104 | 105 | 0.0057436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_6623-21_0_5_line_108 |  | 105 | 106 | 0.0055821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_6623-21_0_5_line_109 |  | 106 | 107 | 0.032916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_6623-21_0_5_line_110 |  | 107 | 148 | 0.0066791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_6623-21_0_5_line_111 |  | 108 | 109 | 0.037756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_6623-21_0_5_line_112 |  | 108 | 110 | 0.056674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_6623-21_0_5_line_113 |  | 109 | 111 | 0.080761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_6623-21_0_5_line_114 |  | 110 | 112 | 0.080636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_6623-21_0_5_line_115 |  | 111 | 113 | 0.002066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6623-21_0_5_line_116 |  | 111 | 114 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
117 | LV_6623-21_0_5_line_117 |  | 112 | 117 | 0.0098195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_6623-21_0_5_line_118 |  | 114 | 115 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6623-21_0_5_line_119 |  | 114 | 116 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_6623-21_0_5_line_120 |  | 116 | 118 | 0.025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6623-21_0_5_line_121 |  | 118 | 152 | 0.0053774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6623-21_0_5_line_122 |  | 119 | 120 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6623-21_0_5_line_123 |  | 119 | 121 | 0.048011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6623-21_0_5_line_124 |  | 120 | 122 | 0.054778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6623-21_0_5_line_125 |  | 121 | 123 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_6623-21_0_5_line_126 |  | 121 | 124 | 0.0027497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
127 | LV_6623-21_0_5_line_127 |  | 122 | 125 | 0.0052893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6623-21_0_5_line_128 |  | 123 | 126 | 0.0045813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
129 | LV_6623-21_0_5_line_129 |  | 124 | 127 | 0.010613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
130 | LV_6623-21_0_5_line_130 |  | 125 | 128 | 0.0085206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6623-21_0_5_line_131 |  | 126 | 129 | 0.00084995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_6623-21_0_5_line_132 |  | 127 | 130 | 0.050036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_6623-21_0_5_line_133 |  | 127 | 131 | 0.002436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6623-21_0_5_line_134 |  | 129 | 132 | 0.026908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_6623-21_0_5_line_135 |  | 130 | 133 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_6623-21_0_5_line_136 |  | 131 | 134 | 0.014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6623-21_0_5_line_137 |  | 131 | 135 | 0.024753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6623-21_0_5_line_138 |  | 132 | 147 | 0.0070423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_6623-21_0_5_line_139 |  | 132 | 145 | 0.031124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6623-21_0_5_line_140 |  | 134 | 150 | 0.051129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6623-21_0_5_line_141 |  | 135 | 149 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6623-21_0_5_line_142 |  | 136 | 137 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6623-21_0_5_line_143 |  | 136 | 138 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6623-21_0_5_line_144 |  | 137 | 139 | 0.00092134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6623-21_0_5_line_145 |  | 138 | 140 | 0.0043117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_6623-21_0_5_line_146 |  | 139 | 141 | 0.0055767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_6623-21_0_5_line_147 |  | 140 | 142 | 0.0035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6623-21_0_5_line_148 |  | 142 | 143 | 0.0032381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6623-21_0_5_line_149 |  | 144 | 145 | 0.031454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6623-21_0_5_line_150 |  | 144 | 146 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6623-21_0_5_line_151 |  | 147 | 148 | 0.003919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
152 | LV_6623-21_0_5_line_152 |  | 150 | 151 | 0.0016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_6623-21_0_5_line_153 |  | 151 | 156 | 0.0076617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_6623-21_0_5_line_154 |  | 152 | 153 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_6623-21_0_5_line_155 |  | 153 | 154 | 0.00032369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_6623-21_0_5_line_156 |  | 154 | 155 | 0.0051571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6623-21_0_5_trafo_153 | 0.63 MVA 20/0.4 kV | 158 | 133 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2499135.79 | 1122010.1857 | 2499124.2702 | 1122034.0595 | 2499122.7683 | 1122037.3064
1 | 2499135.79 | 1122010.1857 | 2499132.24 | 1122008.7107 | 2499135.7952 | 1122000.7908 | 2499140.8327 | 1121988.3212 | 2499136.6453 | 1121985.6338
2 | 2499136.6453 | 1121985.6338 | 2499131.8666 | 1121982.8036
3 | 2499057.7439 | 1121915.44 | 2499057.4543 | 1121917.5017 | 2499057.6541 | 1121919.7665 | 2499059.1193 | 1121923.889 | 2499060.3779 | 1121926.2695 | 2499062.0572 | 1121928.4317 | 2499063.5118 | 1121930.0751 | 2499065.9811 | 1121931.5015 | 2499069.5497 | 1121934.0879 | 2499070.5363 | 1121935.8837 | 2499072.798 | 1121941.972 | 2499074.6377 | 1121946.811 | 2499076.5474 | 1121949.8366 | 2499077.6114 | 1121951.1863 | 2499079.7039 | 1121953.1526 | 2499082.1077 | 1121954.8135 | 2499085.9376 | 1121956.4173 | 2499091.4904 | 1121957.7143 | 2499095.8146 | 1121959.3543 | 2499101.4551 | 1121962.2063 | 2499105.605 | 1121964.4941 | 2499109.2193 | 1121967.9693 | 2499112.0058 | 1121970.8357 | 2499123.1897 | 1121977.6645 | 2499131.8666 | 1121982.8036
4 | 2499131.8666 | 1121982.8036 | 2499094.492 | 1122000.674
5 | 2499057.7439 | 1121915.44 | 2499056.0781 | 1121912.6995 | 2499050.6368 | 1121900.0713 | 2499038.2812 | 1121898.01
6 | 2499037.6624 | 1121897.9067 | 2499038.2812 | 1121898.01
7 | 2499037.1812 | 1121897.8265 | 2499037.6624 | 1121897.9067
8 | 2499135.5495 | 1121755.5218 | 2499153.1629 | 1121765.3963
9 | 2499135.5495 | 1121755.5218 | 2499009.2634 | 1121812.0387
10 | 2499135.5495 | 1121755.5218 | 2499119.368 | 1121746.45 | 2499128.977 | 1121730.0794 | 2499130.8037 | 1121727.255
11 | 2498964.1429 | 1121889.4317 | 2498977.557 | 1121892.1314 | 2499015.5485 | 1121898.9454 | 2499020.6523 | 1121895.0689 | 2499037.1812 | 1121897.8265
12 | 2498998.2141 | 1121825.5435 | 2499001.4264 | 1121821.5884 | 2499009.2634 | 1121812.0387
13 | 2499089.8773 | 1121678.956 | 2499104.0557 | 1121688.7694 | 2499134.1305 | 1121710.2144 | 2499136.6101 | 1121714.1088 | 2499135.5048 | 1121719.9864 | 2499130.8037 | 1121727.255
14 | 2498964.1429 | 1121889.4317 | 2498965.1131 | 1121883.7897 | 2498969.1978 | 1121882.6318 | 2498982.1662 | 1121871.586
15 | 2498998.2141 | 1121825.5435 | 2498996.7911 | 1121827.2955
16 | 2498976.8611 | 1121858.811 | 2498985.0766 | 1121841.7186 | 2498996.7911 | 1121827.2955
17 | 2498976.8611 | 1121858.811 | 2498982.1662 | 1121871.586
18 | 2498982.1662 | 1121871.586 | 2498986.4952 | 1121873.0479 | 2499011.6126 | 1121877.0527
19 | 2499015.78 | 1121877.7172 | 2499011.6126 | 1121877.0527
20 | 2499001.7755 | 1121648.1617 | 2499022.2607 | 1121665.8761 | 2499032.7804 | 1121674.6674
21 | 2498971.1177 | 1121621.6505 | 2499001.7755 | 1121648.1617
22 | 2499001.7755 | 1121648.1617 | 2498925.6062 | 1121740.5449
23 | 2499070.0019 | 1121670.2039 | 2499064.7655 | 1121674.4718 | 2499056.382 | 1121684.3068 | 2499052.1044 | 1121685.9348 | 2499047.7527 | 1121685.8963 | 2499042.7906 | 1121683.0329 | 2499032.7804 | 1121674.6674
24 | 2498954.1114 | 1121606.9444 | 2498971.1177 | 1121621.6505
25 | 2499070.0019 | 1121670.2039 | 2499074.3578 | 1121670.0311 | 2499078.0188 | 1121670.7482 | 2499089.8773 | 1121678.956
26 | 2498954.1114 | 1121606.9444 | 2498958.7639 | 1121604.6652 | 2498965.2953 | 1121601.7209 | 2498972.4514 | 1121594.459
27 | 2498954.1114 | 1121606.9444 | 2498945.4348 | 1121600.1741 | 2498928.8797 | 1121585.7678
28 | 2498972.4514 | 1121594.459 | 2498986.3533 | 1121580.3516
29 | 2498921.6072 | 1121579.4393 | 2498928.8797 | 1121585.7678
30 | 2498986.3533 | 1121580.3516 | 2499004.9373 | 1121561.4928
31 | 2498908.6013 | 1121559.3976 | 2498910.6141 | 1121561.6542 | 2498915.8079 | 1121572.8299 | 2498918.1048 | 1121575.471 | 2498920.978 | 1121578.8918 | 2498921.6072 | 1121579.4393
32 | 2499013.0926 | 1121553.217 | 2499004.9373 | 1121561.4928
33 | 2498908.6013 | 1121559.3976 | 2498912.1898 | 1121557.6142
34 | 2498905.5273 | 1121555.9579 | 2498908.6013 | 1121559.3976
35 | 2498855.0301 | 1121512.8643 | 2498877.5085 | 1121552.8134 | 2498883.6709 | 1121566.5412 | 2498905.5273 | 1121555.9579
36 | 2498905.5273 | 1121555.9579 | 2498908.6452 | 1121549.5684 | 2498910.975 | 1121546.7477
37 | 2498855.0301 | 1121512.8643 | 2498850.1621 | 1121504.5739 | 2498848.1758 | 1121501.6038
38 | 2498910.975 | 1121546.7477 | 2498917.5377 | 1121538.8019 | 2498923.7155 | 1121531.3162 | 2498929.363 | 1121524.5339
39 | 2498912.1898 | 1121557.6142 | 2498911.1674 | 1121553.6844 | 2498911.736 | 1121550.7842 | 2498925.648 | 1121533.3852 | 2498931.378 | 1121526.737
40 | 2498931.378 | 1121526.737 | 2498933.095 | 1121524.745
41 | 2499019.0266 | 1121547.1952 | 2499013.0926 | 1121553.217
42 | 2498910.3109 | 1121404.7275 | 2498900.5024 | 1121397.7869
43 | 2498881.4546 | 1121384.3084 | 2498900.5024 | 1121397.7869
44 | 2498895.4598 | 1121365.0843 | 2498881.4546 | 1121384.3084
45 | 2498895.4598 | 1121365.0843 | 2498902.9278 | 1121370.3718
46 | 2498895.4598 | 1121365.0843 | 2498902.1269 | 1121355.5727
47 | 2498902.9278 | 1121370.3718 | 2498907.0316 | 1121373.2774
48 | 2498902.1269 | 1121355.5727 | 2498902.9574 | 1121354.3879
49 | 2498897.7028 | 1121289.7996 | 2498899.2007 | 1121288.029
50 | 2498897.7028 | 1121289.7996 | 2498906.2219 | 1121298.9788
51 | 2498906.943 | 1121214.0198 | 2498905.4025 | 1121238.1496 | 2498905.5524 | 1121242.9612 | 2498900.635 | 1121266.7694 | 2498898.1754 | 1121276.0831 | 2498895.6807 | 1121283.7629 | 2498899.2007 | 1121288.029
52 | 2498906.2219 | 1121298.9788 | 2498913.1196 | 1121306.411
53 | 2498911.1301 | 1121376.1792 | 2498907.0316 | 1121373.2774
54 | 2498902.9574 | 1121354.3879 | 2498902.9889 | 1121354.3429
55 | 2498906.943 | 1121214.0198 | 2498907.2619 | 1121209.1002 | 2498909.3629 | 1121206.9415 | 2498909.9291 | 1121203.4299 | 2498921.1374 | 1121203.776 | 2498931.9753 | 1121202.7276
56 | 2498931.9753 | 1121202.7276 | 2498935.979 | 1121201.3153 | 2498941.6669 | 1121197.7291 | 2498955.3418 | 1121187.7832
57 | 2498931.9753 | 1121202.7276 | 2498936.5607 | 1121215.3366 | 2498956.7984 | 1121228.5016
58 | 2498986.9107 | 1121158.593 | 2498980.9688 | 1121164.0624 | 2498955.3418 | 1121187.7832
59 | 2498955.3418 | 1121187.7832 | 2498995.5508 | 1121214.1005
60 | 2498956.7984 | 1121228.5016 | 2498991.3068 | 1121250.9498
61 | 2498913.1196 | 1121306.411 | 2498916.9583 | 1121310.5472
62 | 2498911.1301 | 1121376.1792 | 2498915.2137 | 1121379.0704
63 | 2498908.837 | 1121347.0604 | 2498908.3449 | 1121346.7018 | 2498902.9889 | 1121354.3429
64 | 2498959.3291 | 1121309.5085 | 2498949.4111 | 1121302.9469
65 | 2498959.3291 | 1121309.5085 | 2498961.5681 | 1121310.9898 | 2498967.3736 | 1121315.8291 | 2498969.4401 | 1121318.449
66 | 2498929.9167 | 1121285.3805 | 2498942.5872 | 1121298.4324 | 2498949.4111 | 1121302.9469
67 | 2498970.416 | 1121338.1367 | 2498972.689 | 1121326.4247 | 2498971.9611 | 1121321.645 | 2498969.4401 | 1121318.449
68 | 2498970.416 | 1121338.1367 | 2498977.3778 | 1121339.8875
69 | 2498926.7727 | 1121321.1221 | 2498935.6508 | 1121330.6908 | 2498970.416 | 1121338.1367
70 | 2498988.5561 | 1121342.6987 | 2498977.3778 | 1121339.8875
71 | 2498926.7727 | 1121321.1221 | 2498916.9583 | 1121310.5472
72 | 2498926.7727 | 1121321.1221 | 2498924.4601 | 1121324.4629
73 | 2498988.5561 | 1121342.6987 | 2498993.9326 | 1121344.0508
74 | 2498951.5567 | 1121351.2935 | 2498948.0851 | 1121354.0754 | 2498941.9677 | 1121346.4077
75 | 2498951.5567 | 1121351.2935 | 2498965.7851 | 1121371.246 | 2498968.605 | 1121379.3262 | 2498969.6839 | 1121388.4805 | 2498970.0764 | 1121421.5153
76 | 2498938.6804 | 1121342.2872 | 2498941.9677 | 1121346.4077
77 | 2498970.1046 | 1121431.0811 | 2498970.1765 | 1121429.9427 | 2498970.0764 | 1121421.5153
78 | 2498924.4601 | 1121324.4629 | 2498935.6684 | 1121338.5118
79 | 2498924.4601 | 1121324.4629 | 2498920.5186 | 1121330.1639
80 | 2499000.4738 | 1121346.0857 | 2498996.0762 | 1121344.5899 | 2498993.9326 | 1121344.0508
81 | 2498935.6684 | 1121338.5118 | 2498938.6804 | 1121342.2872
82 | 2498970.1046 | 1121431.0811 | 2498969.7861 | 1121436.1198 | 2498968.2754 | 1121449.3352
83 | 2498920.5186 | 1121330.1639 | 2498919.7872 | 1121331.2217
84 | 2498908.837 | 1121347.0604 | 2498915.9813 | 1121336.7268
85 | 2498908.837 | 1121347.0604 | 2498919.9469 | 1121355.0188
86 | 2498917.981 | 1121333.8343 | 2498915.9813 | 1121336.7268
87 | 2498919.9469 | 1121355.0188 | 2498924.0329 | 1121357.9457
88 | 2498917.981 | 1121333.8343 | 2498919.7872 | 1121331.2217
89 | 2498924.0329 | 1121357.9457 | 2498928.0977 | 1121360.8575
90 | 2498916.4151 | 1121379.921 | 2498915.2137 | 1121379.0704
91 | 2498963.523 | 1121482.8093 | 2498964.8593 | 1121479.218 | 2498968.2754 | 1121449.3352
92 | 2498963.523 | 1121482.8093 | 2498963.8731 | 1121487.1395 | 2498962.595 | 1121490.5185 | 2498957.6644 | 1121496.2391
93 | 2498957.1174 | 1121496.8737 | 2498957.6644 | 1121496.2391
94 | 2498957.1174 | 1121496.8737 | 2498954.5428 | 1121499.8608
95 | 2498954.5428 | 1121499.8608 | 2498933.095 | 1121524.745
96 | 2498929.3424 | 1121361.7491 | 2498928.0977 | 1121360.8575
97 | 2498991.3674 | 1121250.9892 | 2498991.3068 | 1121250.9498
98 | 2498991.3674 | 1121250.9892 | 2499001.496 | 1121257.5781 | 2499014.575 | 1121266.1482
99 | 2499014.6724 | 1121266.212 | 2499014.575 | 1121266.1482
100 | 2498986.9107 | 1121158.593 | 2498990.6668 | 1121162.2103 | 2499012.0454 | 1121175.1057
101 | 2498986.9107 | 1121158.593 | 2499021.1084 | 1121126.4794 | 2499025.9975 | 1121122.6398 | 2499031.1059 | 1121119.9195 | 2499034.8915 | 1121119.3003 | 2499043.1052 | 1121119.5745 | 2499050.2469 | 1121121.7233
102 | 2498995.5508 | 1121214.1005 | 2499018.8015 | 1121229.3184
103 | 2499050.2469 | 1121121.7233 | 2499074.2038 | 1121135.6209 | 2499084.0318 | 1121142.4723 | 2499093.4851 | 1121149.0631 | 2499100.2428 | 1121154.7227
104 | 2499025.6857 | 1121273.4285 | 2499014.6724 | 1121266.212
105 | 2499021.5141 | 1121231.0938 | 2499018.8015 | 1121229.3184
106 | 2499100.2428 | 1121154.7227 | 2499109.651 | 1121162.6019 | 2499118.3416 | 1121170.6508 | 2499134.7385 | 1121185.8474
107 | 2499000.4738 | 1121346.0857 | 2499005.9114 | 1121347.9353
108 | 2499011.1962 | 1121349.7329 | 2499005.9114 | 1121347.9353
109 | 2499042.2378 | 1121360.6424 | 2499038.8525 | 1121359.1401 | 2499011.1962 | 1121349.7329
110 | 2499048.3427 | 1121363.3515 | 2499042.2378 | 1121360.6424
111 | 2499280.5367 | 1121298.2157 | 2499275.2517 | 1121295.4242 | 2499263.5217 | 1121289.2268 | 2499247.2627 | 1121280.3756
112 | 2499202.0637 | 1121246.2575 | 2499220.8897 | 1121261.1196 | 2499229.3488 | 1121267.7939 | 2499244.6567 | 1121278.9569 | 2499247.2627 | 1121280.3756
113 | 2499280.5367 | 1121298.2157 | 2499279.3236 | 1121301.8048 | 2499278.9359 | 1121305.3913 | 2499279.4165 | 1121309.6971 | 2499280.0031 | 1121311.0993 | 2499281.128 | 1121313.7822 | 2499284.4646 | 1121316.7841 | 2499304.286 | 1121322.88 | 2499305.3019 | 1121323.1966 | 2499306.5407 | 1121336.8845 | 2499307.3992 | 1121350.9013 | 2499309.4217 | 1121354.2141 | 2499313.6958 | 1121359.3017
114 | 2499202.0637 | 1121246.2575 | 2499193.2659 | 1121238.2436 | 2499190.8216 | 1121236.0162 | 2499159.0631 | 1121207.6503 | 2499142.02 | 1121192.4349
115 | 2499313.6958 | 1121359.3017 | 2499315.0716 | 1121360.8464
116 | 2499313.6958 | 1121359.3017 | 2499311.9682 | 1121361.1872 | 2499309.458 | 1121362.4075 | 2499303.7679 | 1121364.0144 | 2499291.827 | 1121367.3709
117 | 2499142.02 | 1121192.4349 | 2499137.2903 | 1121188.2123 | 2499134.7385 | 1121185.8474
118 | 2499265.6035 | 1121363.661 | 2499273.2031 | 1121360.4435 | 2499279.999 | 1121358.0621 | 2499283.3515 | 1121357.8506 | 2499286.0004 | 1121358.4735 | 2499288.2998 | 1121359.8805 | 2499289.581 | 1121362.2273 | 2499291.827 | 1121367.3709
119 | 2499291.827 | 1121367.3709 | 2499278.6634 | 1121370.9702 | 2499273.0936 | 1121373.3089 | 2499271.3067 | 1121374.4087
120 | 2499266.0485 | 1121394.9843 | 2499264.8339 | 1121392.4696 | 2499263.8165 | 1121389.7515 | 2499263.296 | 1121385.3686 | 2499263.1807 | 1121380.7676 | 2499264.5275 | 1121380.5673 | 2499265.6337 | 1121378.8922 | 2499269.3058 | 1121375.6401 | 2499271.3067 | 1121374.4087
121 | 2499270.0204 | 1121398.6093 | 2499270.0204 | 1121398.6093 | 2499266.0485 | 1121394.9843 | 2499266.0485 | 1121394.9843
122 | 2499129.0421 | 1121356.2606 | 2499138.7596 | 1121344.6525 | 2499137.2422 | 1121339.1966
123 | 2499097.2157 | 1121391.8753 | 2499098.9774 | 1121391.1121 | 2499101.6346 | 1121388.9997 | 2499129.0421 | 1121356.2606
124 | 2499145.5134 | 1121289.8736 | 2499142.3436 | 1121292.6713 | 2499139.2972 | 1121295.9686 | 2499136.4042 | 1121299.6748 | 2499133.7915 | 1121303.9988 | 2499132.0897 | 1121307.4294 | 2499131.5123 | 1121310.2741 | 2499131.5622 | 1121313.264 | 2499131.9954 | 1121317.4928 | 2499133.0112 | 1121322.4234 | 2499136.6174 | 1121336.9501 | 2499137.2422 | 1121339.1966
125 | 2499097.2157 | 1121391.8753 | 2499094.5094 | 1121387.8179 | 2499086.9821 | 1121382.758
126 | 2499097.2157 | 1121391.8753 | 2499098.7414 | 1121394.1628
127 | 2499149.8538 | 1121286.8646 | 2499146.2212 | 1121289.2489 | 2499145.5134 | 1121289.8736
128 | 2499083.18 | 1121380.2022 | 2499083.18 | 1121380.2022 | 2499086.9821 | 1121382.758
129 | 2499104.6302 | 1121402.9918 | 2499098.7414 | 1121394.1628
130 | 2499158.098 | 1121284.8147 | 2499153.298 | 1121285.6731 | 2499149.8538 | 1121286.8646
131 | 2499082.4271 | 1121379.8079 | 2499083.18 | 1121380.2022
132 | 2499104.6302 | 1121402.9918 | 2499101.9793 | 1121406.4049 | 2499101.2339 | 1121408.4297 | 2499101.113 | 1121410.433 | 2499105.0803 | 1121424.8647 | 2499105.2552 | 1121426.0959 | 2499105.3368 | 1121427.7511 | 2499105.0061 | 1121429.6578 | 2499104.0498 | 1121431.5305 | 2499103.2418 | 1121432.578 | 2499090.4137 | 1121445.6586
133 | 2499105.991 | 1121405.0148 | 2499104.6302 | 1121402.9918
134 | 2499058.3619 | 1121367.7976 | 2499065.8159 | 1121371.1086 | 2499082.4271 | 1121379.8079
135 | 2499079.3315 | 1121456.959 | 2499090.4137 | 1121445.6586
136 | 2499105.991 | 1121405.0148 | 2499115.7426 | 1121394.1916
137 | 2499119.7359 | 1121425.6206 | 2499105.991 | 1121405.0148
138 | 2499058.3619 | 1121367.7976 | 2499051.9249 | 1121364.9411
139 | 2499058.3619 | 1121367.7976 | 2499078.8693 | 1121344.3851
140 | 2499151.2921 | 1121367.1702 | 2499146.6501 | 1121363.0213 | 2499145.2465 | 1121362.5889 | 2499144.3696 | 1121362.7481 | 2499143.4477 | 1121363.4417 | 2499115.7426 | 1121394.1916
141 | 2499119.7359 | 1121425.6206 | 2499107.6651 | 1121437.3886
142 | 2499041.1821 | 1121524.7122 | 2499048.7259 | 1121517.0569
143 | 2499026.7967 | 1121539.3103 | 2499041.1821 | 1121524.7122
144 | 2499049.3725 | 1121516.4007 | 2499048.7259 | 1121517.0569
145 | 2499026.7967 | 1121539.3103 | 2499023.7703 | 1121542.3814
146 | 2499053.2868 | 1121512.4285 | 2499049.3725 | 1121516.4007
147 | 2499023.7703 | 1121542.3814 | 2499021.2995 | 1121544.8888
148 | 2499019.0266 | 1121547.1952 | 2499021.2995 | 1121544.8888
149 | 2499099.5941 | 1121320.7245 | 2499078.8693 | 1121344.3851
150 | 2499109.9715 | 1121308.8771 | 2499099.5941 | 1121320.7245
151 | 2499051.9249 | 1121364.9411 | 2499048.3427 | 1121363.3515
152 | 2499151.2921 | 1121367.1702 | 2499152.4896 | 1121368.2405
153 | 2499158.2021 | 1121373.3462 | 2499152.4896 | 1121368.2405
154 | 2499282.4601 | 1121407.4652 | 2499274.2923 | 1121401.7178 | 2499270.0204 | 1121398.6093
155 | 2499282.7248 | 1121407.6514 | 2499282.4601 | 1121407.4652
156 | 2499286.9423 | 1121410.6192 | 2499282.7248 | 1121407.6514

## bus_geodata
| x | y | coords
0 | 2499122.7683 | 1122037.3064
1 | 2499135.79 | 1122010.1857
2 | 2499136.6453 | 1121985.6338
3 | 2499131.8666 | 1121982.8036
4 | 2499057.7439 | 1121915.44
5 | 2499094.492 | 1122000.674
6 | 2499038.2812 | 1121898.01
7 | 2499037.6624 | 1121897.9067
8 | 2499153.1629 | 1121765.3963
9 | 2499135.5495 | 1121755.5218
10 | 2499037.1812 | 1121897.8265
11 | 2499009.2634 | 1121812.0387
12 | 2499130.8037 | 1121727.255
13 | 2498964.1429 | 1121889.4317
14 | 2498998.2141 | 1121825.5435
15 | 2498996.7911 | 1121827.2955
16 | 2498976.8611 | 1121858.811
17 | 2498982.1662 | 1121871.586
18 | 2499011.6126 | 1121877.0527
19 | 2499001.7755 | 1121648.1617
20 | 2499032.7804 | 1121674.6674
21 | 2498971.1177 | 1121621.6505
22 | 2498925.6062 | 1121740.5449
23 | 2499070.0019 | 1121670.2039
24 | 2498954.1114 | 1121606.9444
25 | 2499089.8773 | 1121678.956
26 | 2498972.4514 | 1121594.459
27 | 2498928.8797 | 1121585.7678
28 | 2498986.3533 | 1121580.3516
29 | 2498921.6072 | 1121579.4393
30 | 2499004.9373 | 1121561.4928
31 | 2498908.6013 | 1121559.3976
32 | 2499015.78 | 1121877.7172
33 | 2498905.5273 | 1121555.9579
34 | 2498855.0301 | 1121512.8643
35 | 2498910.975 | 1121546.7477
36 | 2498848.1758 | 1121501.6038
37 | 2498912.1898 | 1121557.6142
38 | 2498929.363 | 1121524.5339
39 | 2498931.3781 | 1121526.737
40 | 2499013.0926 | 1121553.217
41 | 2498900.5024 | 1121397.7869
42 | 2498910.3109 | 1121404.7275
43 | 2498881.4546 | 1121384.3084
44 | 2498895.4598 | 1121365.0843
45 | 2498902.9278 | 1121370.3718
46 | 2498902.1269 | 1121355.5727
47 | 2498897.7028 | 1121289.7996
48 | 2498899.2007 | 1121288.029
49 | 2498906.2219 | 1121298.9788
50 | 2498907.0316 | 1121373.2774
51 | 2498902.9574 | 1121354.3879
52 | 2498906.943 | 1121214.0198
53 | 2498931.9753 | 1121202.7276
54 | 2498955.3418 | 1121187.7832
55 | 2498956.7984 | 1121228.5016
56 | 2498913.1196 | 1121306.411
57 | 2498911.1301 | 1121376.1792
58 | 2498902.9889 | 1121354.3429
59 | 2498959.3291 | 1121309.5085
60 | 2498949.4111 | 1121302.9469
61 | 2498969.4401 | 1121318.449
62 | 2498929.9167 | 1121285.3805
63 | 2498970.416 | 1121338.1367
64 | 2498977.3778 | 1121339.8875
65 | 2498926.7727 | 1121321.1221
66 | 2498988.5561 | 1121342.6987
67 | 2498951.5567 | 1121351.2935
68 | 2498941.9677 | 1121346.4077
69 | 2498970.0764 | 1121421.5153
70 | 2498916.9583 | 1121310.5472
71 | 2498924.4601 | 1121324.4629
72 | 2498993.9326 | 1121344.0508
73 | 2498938.6804 | 1121342.2872
74 | 2498970.1046 | 1121431.0811
75 | 2498935.6684 | 1121338.5118
76 | 2498920.5186 | 1121330.1639
77 | 2498908.837 | 1121347.0604
78 | 2498915.9813 | 1121336.7268
79 | 2498919.9469 | 1121355.0188
80 | 2498917.981 | 1121333.8343
81 | 2498924.0329 | 1121357.9457
82 | 2498915.2137 | 1121379.0704
83 | 2498963.523 | 1121482.8093
84 | 2498968.2754 | 1121449.3352
85 | 2498957.6644 | 1121496.2391
86 | 2498957.1174 | 1121496.8737
87 | 2498954.5428 | 1121499.8608
88 | 2498933.095 | 1121524.745
89 | 2498919.7872 | 1121331.2217
90 | 2498928.0977 | 1121360.8575
91 | 2498929.3424 | 1121361.7491
92 | 2498991.3068 | 1121250.9498
93 | 2498991.3674 | 1121250.9892
94 | 2499014.575 | 1121266.1482
95 | 2498986.9107 | 1121158.593
96 | 2498995.5508 | 1121214.1005
97 | 2499012.0454 | 1121175.1057
98 | 2499050.2469 | 1121121.7233
99 | 2499014.6724 | 1121266.212
100 | 2499018.8015 | 1121229.3184
101 | 2499100.2428 | 1121154.7227
102 | 2499025.6857 | 1121273.4285
103 | 2499021.5141 | 1121231.0938
104 | 2499000.4738 | 1121346.0857
105 | 2499005.9114 | 1121347.9353
106 | 2499011.1962 | 1121349.7329
107 | 2499042.2378 | 1121360.6424
108 | 2499247.2627 | 1121280.3756
109 | 2499280.5367 | 1121298.2157
110 | 2499202.0637 | 1121246.2575
111 | 2499313.6958 | 1121359.3017
112 | 2499142.02 | 1121192.4349
113 | 2499315.0716 | 1121360.8464
114 | 2499291.827 | 1121367.3709
115 | 2499265.6035 | 1121363.661
116 | 2499271.3067 | 1121374.4087
117 | 2499134.7385 | 1121185.8474
118 | 2499266.0485 | 1121394.9843
119 | 2499129.0421 | 1121356.2606
120 | 2499137.2422 | 1121339.1966
121 | 2499097.2157 | 1121391.8753
122 | 2499145.5134 | 1121289.8736
123 | 2499086.9821 | 1121382.758
124 | 2499098.7414 | 1121394.1628
125 | 2499149.8538 | 1121286.8646
126 | 2499083.18 | 1121380.2022
127 | 2499104.6302 | 1121402.9918
128 | 2499158.098 | 1121284.8147
129 | 2499082.4271 | 1121379.8079
130 | 2499090.4137 | 1121445.6586
131 | 2499105.991 | 1121405.0148
132 | 2499058.3619 | 1121367.7976
133 | 2499079.3315 | 1121456.959
134 | 2499115.7426 | 1121394.1916
135 | 2499119.7359 | 1121425.6206
136 | 2499041.1821 | 1121524.7122
137 | 2499048.7259 | 1121517.0569
138 | 2499026.7967 | 1121539.3103
139 | 2499049.3725 | 1121516.4007
140 | 2499023.7703 | 1121542.3814
141 | 2499053.2868 | 1121512.4285
142 | 2499021.2995 | 1121544.8888
143 | 2499019.0266 | 1121547.1952
144 | 2499099.5941 | 1121320.7245
145 | 2499078.8693 | 1121344.3851
146 | 2499109.9715 | 1121308.8771
147 | 2499051.9249 | 1121364.9411
148 | 2499048.3427 | 1121363.3515
149 | 2499107.6651 | 1121437.3886
150 | 2499151.2921 | 1121367.1702
151 | 2499152.4896 | 1121368.2405
152 | 2499270.0204 | 1121398.6093
153 | 2499282.4601 | 1121407.4652
154 | 2499282.7248 | 1121407.6514
155 | 2499286.9423 | 1121410.6192
156 | 2499158.2021 | 1121373.3462
157 | 2498916.4151 | 1121379.921
158 | 2499104.6302 | 1121402.9918

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1