## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6623-6_1_9_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_6623-6_1_9_node_131 | 0.4 | n |  | TRUE
2 | bus_LV_6623-6_1_9_node_138 | 0.4 | n |  | TRUE
3 | bus_LV_6623-6_1_9_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_6623-6_1_9_node_126 | 0.4 | n |  | TRUE
5 | bus_LV_6623-6_1_9_node_122 | 0.4 | n |  | TRUE
6 | bus_LV_6623-6_1_9_node_127 | 0.4 | n |  | TRUE
7 | bus_LV_6623-6_1_9_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_6623-6_1_9_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_6623-6_1_9_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_6623-6_1_9_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6623-6_1_9_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6623-6_1_9_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6623-6_1_9_node_154 | 0.4 | n |  | TRUE
14 | bus_LV_6623-6_1_9_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6623-6_1_9_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6623-6_1_9_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6623-6_1_9_node_113 | 0.4 | n |  | TRUE
18 | bus_LV_6623-6_1_9_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_6623-6_1_9_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_6623-6_1_9_node_125 | 0.4 | n |  | TRUE
21 | bus_LV_6623-6_1_9_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_6623-6_1_9_node_137 | 0.4 | n |  | TRUE
23 | bus_LV_6623-6_1_9_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6623-6_1_9_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6623-6_1_9_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_6623-6_1_9_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6623-6_1_9_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6623-6_1_9_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6623-6_1_9_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6623-6_1_9_node_114 | 0.4 | n |  | TRUE
31 | bus_LV_6623-6_1_9_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_6623-6_1_9_node_144 | 0.4 | n |  | TRUE
33 | bus_LV_6623-6_1_9_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_6623-6_1_9_node_148 | 0.4 | n |  | TRUE
35 | bus_LV_6623-6_1_9_node_147 | 0.4 | n |  | TRUE
36 | bus_LV_6623-6_1_9_node_150 | 0.4 | n |  | TRUE
37 | bus_LV_6623-6_1_9_node_151 | 0.4 | n |  | TRUE
38 | bus_LV_6623-6_1_9_node_152 | 0.4 | n |  | TRUE
39 | bus_LV_6623-6_1_9_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_6623-6_1_9_node_112 | 0.4 | n |  | TRUE
41 | bus_LV_6623-6_1_9_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_6623-6_1_9_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_6623-6_1_9_node_120 | 0.4 | n |  | TRUE
44 | bus_MV_665_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6623-6_1_9_load_138 | 2 | 0.016768 | 0.0042025 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6623-6_1_9_load_139 | 9 | 0.016719 | 0.0041901 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6623-6_1_9_load_5 | 10 | 0.0016836 | 0.00042195 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6623-6_1_9_load_154 | 13 | 0.0021451 | 0.00053761 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6623-6_1_9_load_14 | 16 | 0.0045847 | 0.001149 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6623-6_1_9_load_113 | 17 | 0.0032548 | 0.00081573 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6623-6_1_9_load_141 | 21 | 0.0063189 | 0.0015837 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6623-6_1_9_load_137 | 22 | 0.0014135 | 0.00035425 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6623-6_1_9_load_11 | 23 | 0.010566 | 0.0026481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6623-6_1_9_load_12 | 24 | 0.0077904 | 0.0019524 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6623-6_1_9_load_13 | 25 | 0.0077893 | 0.0019522 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6623-6_1_9_load_15 | 26 | 0.0029429 | 0.00073756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6623-6_1_9_load_16 | 27 | 0.0053728 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6623-6_1_9_load_19 | 29 | 0.010522 | 0.0026371 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6623-6_1_9_load_114 | 30 | 0.0037509 | 0.00094006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6623-6_1_9_load_142 | 31 | 0.053429 | 0.01339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6623-6_1_9_load_144 | 32 | 0.023839 | 0.0059745 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6623-6_1_9_load_146 | 33 | 0.008813 | 0.0022087 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6623-6_1_9_load_147 | 35 | 0.025737 | 0.0064502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6623-6_1_9_load_150 | 36 | 0.0039572 | 0.00099176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6623-6_1_9_load_151 | 37 | 0.036922 | 0.0092536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6623-6_1_9_load_152 | 38 | 0.0083619 | 0.0020957 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6623-6_1_9_load_153 | 39 | 0.0062098 | 0.0015563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6623-6_1_9_load_109 | 41 | 0.0064358 | 0.001613 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6623-6_1_9_load_120 | 43 | 0.00068635 | 0.00017202 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6623-6_1_9_line_0 |  | 0 | 1 | 0.1429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6623-6_1_9_line_1 |  | 0 | 2 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6623-6_1_9_line_2 |  | 1 | 5 | 0.132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6623-6_1_9_line_3 |  | 1 | 6 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6623-6_1_9_line_4 |  | 2 | 3 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6623-6_1_9_line_5 |  | 3 | 4 | 0.12177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6623-6_1_9_line_6 |  | 4 | 22 | 0.0076221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6623-6_1_9_line_7 |  | 5 | 40 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6623-6_1_9_line_8 |  | 5 | 43 | 0.0062223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6623-6_1_9_line_9 |  | 6 | 9 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6623-6_1_9_line_10 |  | 7 | 8 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6623-6_1_9_line_11 |  | 7 | 9 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6623-6_1_9_line_12 |  | 8 | 19 | 0.007742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6623-6_1_9_line_13 |  | 8 | 20 | 0.096138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6623-6_1_9_line_14 |  | 8 | 21 | 0.0042543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6623-6_1_9_line_15 |  | 10 | 11 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6623-6_1_9_line_16 |  | 11 | 28 | 0.030109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6623-6_1_9_line_17 |  | 11 | 27 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6623-6_1_9_line_18 |  | 12 | 13 | 0.098183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6623-6_1_9_line_19 |  | 12 | 14 | 0.052165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6623-6_1_9_line_20 |  | 12 | 15 | 0.37427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6623-6_1_9_line_21 |  | 14 | 16 | 0.041969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6623-6_1_9_line_22 |  | 15 | 17 | 0.094037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6623-6_1_9_line_23 |  | 15 | 18 | 0.11708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6623-6_1_9_line_24 |  | 16 | 27 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6623-6_1_9_line_25 |  | 18 | 41 | 0.064705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6623-6_1_9_line_26 |  | 19 | 33 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6623-6_1_9_line_27 |  | 20 | 31 | 0.043769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6623-6_1_9_line_28 |  | 20 | 32 | 0.014152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6623-6_1_9_line_29 |  | 23 | 24 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6623-6_1_9_line_30 |  | 24 | 25 | 0.0011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6623-6_1_9_line_31 |  | 25 | 26 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6623-6_1_9_line_32 |  | 26 | 28 | 0.021935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6623-6_1_9_line_33 |  | 28 | 29 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6623-6_1_9_line_34 |  | 29 | 30 | 0.030316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6623-6_1_9_line_35 |  | 30 | 36 | 0.0045339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6623-6_1_9_line_36 |  | 33 | 34 | 0.052205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6623-6_1_9_line_37 |  | 34 | 35 | 0.0098662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6623-6_1_9_line_38 |  | 36 | 37 | 0.042069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6623-6_1_9_line_39 |  | 37 | 38 | 0.0021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6623-6_1_9_line_40 |  | 39 | 40 | 0.05296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6623-6_1_9_line_41 |  | 40 | 42 | 0.12181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6623-6_1_9_line_42 |  | 41 | 42 | 0.038321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6623-6_1_9_trafo_112 | 0.63 MVA 20/0.4 kV | 44 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2497439.4647 | 1120731.4612 | 2497441.9954 | 1120727.3601 | 2497447.3236 | 1120721.6995 | 2497453.1862 | 1120715.2405 | 2497480.6072 | 1120741.0807 | 2497482.7927 | 1120743.9232 | 2497483.9235 | 1120745.9943 | 2497486.2545 | 1120751.5027 | 2497488.1512 | 1120754.6058 | 2497490.297 | 1120756.9265 | 2497491.8358 | 1120755.2993 | 2497487.9303 | 1120751.5854 | 2497489.1571 | 1120750.2193 | 2497494.8381 | 1120756.2602 | 2497494.3178 | 1120756.9694 | 2497488.4718 | 1120764.8624 | 2497487.807 | 1120765.6964 | 2497492.7815 | 1120770.5707 | 2497490.6476 | 1120773.0418 | 2497488.589 | 1120775.4115 | 2497487.3044 | 1120778.8243 | 2497491.5077 | 1120783.267 | 2497492.7467 | 1120786.7148 | 2497492.9336 | 1120788.6351 | 2497492.9407 | 1120790.8697 | 2497492.5472 | 1120793.1445 | 2497491.6355 | 1120795.3502
1 | 2497439.4647 | 1120731.4612 | 2497436.143 | 1120735.7758 | 2497428.7562 | 1120743.4053
2 | 2497491.6355 | 1120795.3502 | 2497492.5472 | 1120793.1445 | 2497492.9407 | 1120790.8697 | 2497492.9336 | 1120788.6351 | 2497492.7467 | 1120786.7148 | 2497491.5077 | 1120783.267 | 2497487.3044 | 1120778.8243 | 2497488.589 | 1120775.4115 | 2497490.6476 | 1120773.0418 | 2497492.7815 | 1120770.5707 | 2497487.807 | 1120765.6964 | 2497488.4718 | 1120764.8624 | 2497494.3178 | 1120756.9694 | 2497494.8381 | 1120756.2602 | 2497534.3839 | 1120704.9464 | 2497538.0026 | 1120700.8492 | 2497539.6138 | 1120698.9429 | 2497543.8724 | 1120693.9009 | 2497546.5975 | 1120689.4297
3 | 2497491.6355 | 1120795.3502 | 2497494.024 | 1120797.4222 | 2497493.6691 | 1120800.1521 | 2497493.2645 | 1120801.7711 | 2497492.7129 | 1120802.9145 | 2497489.2001 | 1120806.4319 | 2497491.2386 | 1120808.343 | 2497496.5708 | 1120813.378
4 | 2497419.3543 | 1120753.116 | 2497428.7562 | 1120743.4053
5 | 2497353.6365 | 1120666.254 | 2497350.8316 | 1120669.2035 | 2497344.246 | 1120675.7861 | 2497349.6668 | 1120684.2105 | 2497352.5664 | 1120690.0205 | 2497396.8084 | 1120731.7516 | 2497419.3543 | 1120753.116
6 | 2497353.6365 | 1120666.254 | 2497351.5254 | 1120664.1663 | 2497348.124 | 1120660.9912
7 | 2497528.8744 | 1120686.7283 | 2497532.3766 | 1120690.7715 | 2497535.097 | 1120693.7606 | 2497537.1193 | 1120693.3483 | 2497540.0448 | 1120692.5093 | 2497542.5283 | 1120691.5333 | 2497546.5975 | 1120689.4297
8 | 2497546.5975 | 1120689.4297 | 2497551.7831 | 1120692.8686
9 | 2497496.5708 | 1120813.378 | 2497487.7343 | 1120822.6964
10 | 2497480.1976 | 1120830.6442 | 2497474.3776 | 1120836.4243 | 2497468.7825 | 1120842.2673
11 | 2497480.1976 | 1120830.6442 | 2497487.7343 | 1120822.6964
12 | 2497474.3901 | 1120847.6201 | 2497473.5039 | 1120846.779 | 2497468.7825 | 1120842.2673
13 | 2497399.3307 | 1120775.7922 | 2497408.3426 | 1120784.4114 | 2497428.8842 | 1120804.0754 | 2497456.6334 | 1120830.6326 | 2497465.8804 | 1120839.4814 | 2497468.7825 | 1120842.2673
14 | 2497468.7825 | 1120842.2673 | 2497465.7511 | 1120845.2523
15 | 2497728.2978 | 1120609.9261 | 2497740.264 | 1120599.8354
16 | 2497705.0977 | 1120629.1973 | 2497728.2978 | 1120609.9261
17 | 2497728.2978 | 1120609.9261 | 2497713.7434 | 1120593.1319
18 | 2497671.8484 | 1120527.5179 | 2497670.3707 | 1120529.5664 | 2497660.9445 | 1120542.5008 | 2497655.9913 | 1120546.6317 | 2497638.3522 | 1120548.9094 | 2497621.9612 | 1120551.533 | 2497609.1459 | 1120557.5204 | 2497587.0959 | 1120569.0677
19 | 2497671.8484 | 1120527.5179 | 2497679.148 | 1120518.8667 | 2497691.1635 | 1120527.6134 | 2497673.3822 | 1120546.5595
20 | 2497410.8064 | 1120445.4667 | 2497455.1828 | 1120369.5216 | 2497499.254 | 1120382.894 | 2497510.8423 | 1120388.2566 | 2497524.3018 | 1120394.7548 | 2497532.693 | 1120399.0598 | 2497540.3367 | 1120403.4219 | 2497539.2733 | 1120406.2417 | 2497539.2899 | 1120407.2198 | 2497549.1954 | 1120413.9118 | 2497679.148 | 1120518.8667 | 2497671.8484 | 1120527.5179
21 | 2497673.3822 | 1120546.5595 | 2497700.8682 | 1120578.2753
22 | 2497432.4303 | 1120510.6521 | 2497452.3686 | 1120475.1583 | 2497452.6185 | 1120471.2404 | 2497450.9109 | 1120468.3787 | 2497410.8064 | 1120445.4667
23 | 2497410.8064 | 1120445.4667 | 2497359.0012 | 1120537.804 | 2497353.0992 | 1120547.3992
24 | 2497713.7434 | 1120593.1319 | 2497700.8682 | 1120578.2753
25 | 2497353.0992 | 1120547.3992 | 2497398.919 | 1120576.5622 | 2497407.1308 | 1120581.6706 | 2497407.6943 | 1120582.119
26 | 2497474.3901 | 1120847.6201 | 2497470.1106 | 1120852.3289 | 2497476.8963 | 1120858.8027
27 | 2497399.3307 | 1120775.7922 | 2497390.3031 | 1120767.151 | 2497367.6514 | 1120745.5899
28 | 2497399.3307 | 1120775.7922 | 2497409.1493 | 1120765.5747
29 | 2497678.4597 | 1120598.0559 | 2497667.4842 | 1120585.225
30 | 2497678.4597 | 1120598.0559 | 2497679.2082 | 1120598.931
31 | 2497679.2082 | 1120598.931 | 2497690.8397 | 1120612.5289
32 | 2497705.0977 | 1120629.1973 | 2497690.8397 | 1120612.5289
33 | 2497705.0977 | 1120629.1973 | 2497689.3891 | 1120642.3372
34 | 2497689.3891 | 1120642.3372 | 2497666.1358 | 1120661.7882 | 2497666.1358 | 1120661.7882
35 | 2497662.9013 | 1120664.9653 | 2497666.1358 | 1120661.7882
36 | 2497476.8963 | 1120858.8027 | 2497462.2438 | 1120908.9091
37 | 2497462.2438 | 1120908.9091 | 2497459.3862 | 1120911.9262 | 2497455.4833 | 1120916.095
38 | 2497662.9013 | 1120664.9653 | 2497653.9846 | 1120673.7236 | 2497636.5124 | 1120697.5795
39 | 2497636.5124 | 1120697.5795 | 2497635.2161 | 1120699.3495
40 | 2497555.0764 | 1120642.4898 | 2497553.0767 | 1120646.9709 | 2497549.4434 | 1120649.7565 | 2497543.8111 | 1120652.965 | 2497541.8718 | 1120655.9998 | 2497540.4214 | 1120661.0164 | 2497537.6322 | 1120666.7117 | 2497531.2294 | 1120680.4511 | 2497528.8744 | 1120686.7283
41 | 2497436.9638 | 1120606.8249 | 2497475.7058 | 1120639.0994 | 2497508.4348 | 1120668.074 | 2497528.8744 | 1120686.7283
42 | 2497436.9638 | 1120606.8249 | 2497423.8771 | 1120594.9949 | 2497407.6943 | 1120582.119

## bus_geodata
| x | y | coords
0 | 2497439.4647 | 1120731.4612
1 | 2497491.6355 | 1120795.3502
2 | 2497428.7562 | 1120743.4053
3 | 2497419.3543 | 1120753.116
4 | 2497353.6365 | 1120666.254
5 | 2497546.5975 | 1120689.4297
6 | 2497496.5708 | 1120813.378
7 | 2497480.1976 | 1120830.6442
8 | 2497468.7825 | 1120842.2673
9 | 2497487.7343 | 1120822.6964
10 | 2497740.264 | 1120599.8354
11 | 2497728.2978 | 1120609.9261
12 | 2497671.8484 | 1120527.5179
13 | 2497587.0959 | 1120569.0677
14 | 2497673.3822 | 1120546.5595
15 | 2497410.8064 | 1120445.4667
16 | 2497700.8682 | 1120578.2753
17 | 2497432.4303 | 1120510.6521
18 | 2497353.0992 | 1120547.3992
19 | 2497474.3901 | 1120847.6201
20 | 2497399.3307 | 1120775.7922
21 | 2497465.7511 | 1120845.2523
22 | 2497348.124 | 1120660.9912
23 | 2497667.4842 | 1120585.225
24 | 2497678.4597 | 1120598.0559
25 | 2497679.2082 | 1120598.931
26 | 2497690.8397 | 1120612.5289
27 | 2497713.7434 | 1120593.1319
28 | 2497705.0977 | 1120629.1973
29 | 2497689.3891 | 1120642.3372
30 | 2497666.1358 | 1120661.7882
31 | 2497367.6514 | 1120745.5899
32 | 2497409.1493 | 1120765.5747
33 | 2497476.8963 | 1120858.8027
34 | 2497462.2438 | 1120908.9091
35 | 2497455.4833 | 1120916.095
36 | 2497662.9013 | 1120664.9653
37 | 2497636.5124 | 1120697.5795
38 | 2497635.2161 | 1120699.3495
39 | 2497555.0764 | 1120642.4898
40 | 2497528.8744 | 1120686.7283
41 | 2497407.6943 | 1120582.119
42 | 2497436.9638 | 1120606.8249
43 | 2497551.7831 | 1120692.8686
44 | 2497535.097 | 1120693.7606

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1