## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6623-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6623-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6623-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6623-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6623-7_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6623-7_0_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_6623-7_0_5_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_6623-7_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6623-7_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6623-7_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6623-7_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6623-7_0_5_node_99 | 0.4 | n |  | TRUE
12 | bus_LV_6623-7_0_5_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_6623-7_0_5_node_142 | 0.4 | n |  | TRUE
14 | bus_LV_6623-7_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6623-7_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_6623-7_0_5_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6623-7_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6623-7_0_5_node_128 | 0.4 | n |  | TRUE
19 | bus_LV_6623-7_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6623-7_0_5_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6623-7_0_5_node_134 | 0.4 | n |  | TRUE
22 | bus_LV_6623-7_0_5_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_6623-7_0_5_node_158 | 0.4 | n |  | TRUE
24 | bus_LV_6623-7_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6623-7_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6623-7_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6623-7_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6623-7_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6623-7_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6623-7_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6623-7_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6623-7_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6623-7_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6623-7_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6623-7_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6623-7_0_5_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_6623-7_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_6623-7_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6623-7_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6623-7_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6623-7_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6623-7_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6623-7_0_5_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_6623-7_0_5_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_6623-7_0_5_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_6623-7_0_5_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_6623-7_0_5_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_6623-7_0_5_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_6623-7_0_5_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_6623-7_0_5_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_6623-7_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6623-7_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6623-7_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_6623-7_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6623-7_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6623-7_0_5_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_6623-7_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6623-7_0_5_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6623-7_0_5_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_6623-7_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6623-7_0_5_node_166 | 0.4 | n |  | TRUE
62 | bus_LV_6623-7_0_5_node_163 | 0.4 | n |  | TRUE
63 | bus_LV_6623-7_0_5_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_6623-7_0_5_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_6623-7_0_5_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_6623-7_0_5_node_151 | 0.4 | n |  | TRUE
67 | bus_LV_6623-7_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_6623-7_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6623-7_0_5_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_6623-7_0_5_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_6623-7_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_6623-7_0_5_node_161 | 0.4 | n |  | TRUE
73 | bus_LV_6623-7_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_6623-7_0_5_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_6623-7_0_5_node_152 | 0.4 | n |  | TRUE
76 | bus_LV_6623-7_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_6623-7_0_5_node_38 | 0.4 | n |  | TRUE
78 | bus_LV_6623-7_0_5_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_6623-7_0_5_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_6623-7_0_5_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_6623-7_0_5_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_6623-7_0_5_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_6623-7_0_5_node_104 | 0.4 | n |  | TRUE
84 | bus_LV_6623-7_0_5_node_112 | 0.4 | n |  | TRUE
85 | bus_LV_6623-7_0_5_node_165 | 0.4 | n |  | TRUE
86 | bus_LV_6623-7_0_5_node_39 | 0.4 | n |  | TRUE
87 | bus_LV_6623-7_0_5_node_40 | 0.4 | n |  | TRUE
88 | bus_LV_6623-7_0_5_node_41 | 0.4 | n |  | TRUE
89 | bus_LV_6623-7_0_5_node_42 | 0.4 | n |  | TRUE
90 | bus_LV_6623-7_0_5_node_43 | 0.4 | n |  | TRUE
91 | bus_LV_6623-7_0_5_node_115 | 0.4 | n |  | TRUE
92 | bus_LV_6623-7_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_6623-7_0_5_node_145 | 0.4 | n |  | TRUE
94 | bus_LV_6623-7_0_5_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_6623-7_0_5_node_44 | 0.4 | n |  | TRUE
96 | bus_LV_6623-7_0_5_node_45 | 0.4 | n |  | TRUE
97 | bus_LV_6623-7_0_5_node_46 | 0.4 | n |  | TRUE
98 | bus_LV_6623-7_0_5_node_47 | 0.4 | n |  | TRUE
99 | bus_LV_6623-7_0_5_node_48 | 0.4 | n |  | TRUE
100 | bus_LV_6623-7_0_5_node_49 | 0.4 | n |  | TRUE
101 | bus_LV_6623-7_0_5_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_6623-7_0_5_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_6623-7_0_5_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_6623-7_0_5_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_6623-7_0_5_node_67 | 0.4 | n |  | TRUE
106 | bus_LV_6623-7_0_5_node_65 | 0.4 | n |  | TRUE
107 | bus_LV_6623-7_0_5_node_157 | 0.4 | n |  | TRUE
108 | bus_LV_6623-7_0_5_node_156 | 0.4 | n |  | TRUE
109 | bus_LV_6623-7_0_5_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_6623-7_0_5_node_61 | 0.4 | n |  | TRUE
111 | bus_LV_6623-7_0_5_node_90 | 0.4 | n |  | TRUE
112 | bus_LV_6623-7_0_5_node_82 | 0.4 | n |  | TRUE
113 | bus_LV_6623-7_0_5_node_108 | 0.4 | n |  | TRUE
114 | bus_LV_6623-7_0_5_node_76 | 0.4 | n |  | TRUE
115 | bus_LV_6623-7_0_5_node_105 | 0.4 | n |  | TRUE
116 | bus_LV_6623-7_0_5_node_159 | 0.4 | n |  | TRUE
117 | bus_LV_6623-7_0_5_node_154 | 0.4 | n |  | TRUE
118 | bus_LV_6623-7_0_5_node_153 | 0.4 | n |  | TRUE
119 | bus_LV_6623-7_0_5_node_62 | 0.4 | n |  | TRUE
120 | bus_LV_6623-7_0_5_node_64 | 0.4 | n |  | TRUE
121 | bus_LV_6623-7_0_5_node_162 | 0.4 | n |  | TRUE
122 | bus_LV_6623-7_0_5_node_160 | 0.4 | n |  | TRUE
123 | bus_LV_6623-7_0_5_node_89 | 0.4 | n |  | TRUE
124 | bus_LV_6623-7_0_5_node_164 | 0.4 | n |  | TRUE
125 | bus_LV_6623-7_0_5_node_74 | 0.4 | n |  | TRUE
126 | bus_LV_6623-7_0_5_node_75 | 0.4 | n |  | TRUE
127 | bus_LV_6623-7_0_5_node_80 | 0.4 | n |  | TRUE
128 | bus_LV_6623-7_0_5_node_81 | 0.4 | n |  | TRUE
129 | bus_LV_6623-7_0_5_node_83 | 0.4 | n |  | TRUE
130 | bus_LV_6623-7_0_5_node_91 | 0.4 | n |  | TRUE
131 | bus_LV_6623-7_0_5_node_92 | 0.4 | n |  | TRUE
132 | bus_LV_6623-7_0_5_node_167 | 0.4 | n |  | TRUE
133 | bus_LV_6623-7_0_5_node_95 | 0.4 | n |  | TRUE
134 | bus_LV_6623-7_0_5_node_96 | 0.4 | n |  | TRUE
135 | bus_LV_6623-7_0_5_node_110 | 0.4 | n |  | TRUE
136 | bus_LV_6623-7_0_5_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_6623-7_0_5_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_6623-7_0_5_node_123 | 0.4 | n |  | TRUE
139 | bus_LV_6623-7_0_5_node_114 | 0.4 | n |  | TRUE
140 | bus_LV_6623-7_0_5_node_119 | 0.4 | n |  | TRUE
141 | bus_LV_6623-7_0_5_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_6623-7_0_5_node_117 | 0.4 | n |  | TRUE
143 | bus_LV_6623-7_0_5_node_118 | 0.4 | n |  | TRUE
144 | bus_LV_6623-7_0_5_node_120 | 0.4 | n |  | TRUE
145 | bus_LV_6623-7_0_5_node_149 | 0.4 | n |  | TRUE
146 | bus_LV_6623-7_0_5_node_147 | 0.4 | n |  | TRUE
147 | bus_LV_6623-7_0_5_node_121 | 0.4 | n |  | TRUE
148 | bus_LV_6623-7_0_5_node_122 | 0.4 | n |  | TRUE
149 | bus_LV_6623-7_0_5_node_124 | 0.4 | n |  | TRUE
150 | bus_LV_6623-7_0_5_node_127 | 0.4 | n |  | TRUE
151 | bus_LV_6623-7_0_5_node_168 | 0.4 | n |  | TRUE
152 | bus_LV_6623-7_0_5_node_150 | 0.4 | n |  | TRUE
153 | bus_LV_6623-7_0_5_node_136 | 0.4 | n |  | TRUE
154 | bus_LV_6623-7_0_5_node_137 | 0.4 | n |  | TRUE
155 | bus_LV_6623-7_0_5_node_138 | 0.4 | n |  | TRUE
156 | bus_LV_6623-7_0_5_node_139 | 0.4 | n |  | TRUE
157 | bus_LV_6623-7_0_5_node_140 | 0.4 | n |  | TRUE
158 | bus_LV_6623-7_0_5_node_143 | 0.4 | n |  | TRUE
159 | bus_LV_6623-7_0_5_node_144 | 0.4 | n |  | TRUE
160 | bus_LV_6623-7_0_5_node_146 | 0.4 | n |  | TRUE
161 | bus_LV_6623-7_0_5_node_148 | 0.4 | n |  | TRUE
162 | bus_LV_6623-7_0_5_node_155 | 0.4 | n |  | TRUE
163 | bus_MV_462_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6623-7_0_5_load_0 | 0 | 0.00242 | 0.00060651 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6623-7_0_5_load_1 | 1 | 0.0033746 | 0.00084575 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6623-7_0_5_load_3 | 3 | 0.0011664 | 0.00029232 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6623-7_0_5_load_12 | 5 | 0.0010856 | 0.00027206 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6623-7_0_5_load_133 | 6 | 0.0020097 | 0.00050369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6623-7_0_5_load_13 | 8 | 0.00098408 | 0.00024663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6623-7_0_5_load_10 | 9 | 0.0017028 | 0.00042677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6623-7_0_5_load_99 | 11 | 0.0015367 | 0.00038513 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6623-7_0_5_load_135 | 12 | 0.0035939 | 0.00090071 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6623-7_0_5_load_142 | 13 | 0.0014697 | 0.00036834 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6623-7_0_5_load_50 | 16 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6623-7_0_5_load_11 | 17 | 0.0030204 | 0.00075698 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6623-7_0_5_load_128 | 18 | 0.0023059 | 0.0005779 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6623-7_0_5_load_9 | 19 | 0.0020362 | 0.00051031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6623-7_0_5_load_68 | 20 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6623-7_0_5_load_134 | 21 | 0.0032144 | 0.00080561 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6623-7_0_5_load_141 | 22 | 0.0024642 | 0.00061759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6623-7_0_5_load_158 | 23 | 0.0027755 | 0.00069561 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6623-7_0_5_load_18 | 24 | 0.0017357 | 0.00043501 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6623-7_0_5_load_14 | 25 | 0.0020221 | 0.00050679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6623-7_0_5_load_15 | 26 | 0.0014442 | 0.00036194 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6623-7_0_5_load_16 | 27 | 0.001761 | 0.00044134 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6623-7_0_5_load_17 | 28 | 0.0015085 | 0.00037808 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6623-7_0_5_load_19 | 29 | 0.0030538 | 0.00076536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6623-7_0_5_load_20 | 30 | 0.0044784 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6623-7_0_5_load_22 | 32 | 0.0042578 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6623-7_0_5_load_23 | 33 | 0.0019166 | 0.00048035 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6623-7_0_5_load_24 | 34 | 0.0018857 | 0.0004726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6623-7_0_5_load_36 | 35 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6623-7_0_5_load_131 | 36 | 0.0014648 | 0.00036712 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6623-7_0_5_load_37 | 37 | 0.0021222 | 0.00053186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6623-7_0_5_load_25 | 38 | 0.0031544 | 0.00079056 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6623-7_0_5_load_26 | 39 | 0.018255 | 0.0045752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6623-7_0_5_load_27 | 40 | 0.0037652 | 0.00094365 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6623-7_0_5_load_29 | 42 | 0.0033539 | 0.00084055 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6623-7_0_5_load_100 | 44 | 0.0052128 | 0.0013064 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6623-7_0_5_load_103 | 45 | 0.0066039 | 0.0016551 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6623-7_0_5_load_71 | 49 | 0.0011816 | 0.00029613 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6623-7_0_5_load_101 | 50 | 0.0037937 | 0.0009508 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6623-7_0_5_load_30 | 51 | 0.021673 | 0.0054317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6623-7_0_5_load_31 | 52 | 0.019159 | 0.0048018 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6623-7_0_5_load_69 | 56 | 0.032372 | 0.0081133 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6623-7_0_5_load_111 | 59 | 0.013695 | 0.0034323 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6623-7_0_5_load_166 | 61 | 0.0013354 | 0.00033467 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6623-7_0_5_load_163 | 62 | 0.0048804 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6623-7_0_5_load_109 | 63 | 0.0013193 | 0.00033064 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6623-7_0_5_load_113 | 65 | 0.0061406 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6623-7_0_5_load_151 | 66 | 0.0051453 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6623-7_0_5_load_106 | 70 | 0.0069996 | 0.0017543 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6623-7_0_5_load_161 | 72 | 0.007451 | 0.0018674 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6623-7_0_5_load_38 | 77 | 0.003839 | 0.00096214 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6623-7_0_5_load_86 | 78 | 0.0044732 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6623-7_0_5_load_88 | 80 | 0.0026707 | 0.00066935 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6623-7_0_5_load_84 | 81 | 0.0048838 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6623-7_0_5_load_107 | 82 | 0.010762 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6623-7_0_5_load_104 | 83 | 0.011586 | 0.0029037 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6623-7_0_5_load_165 | 85 | 0.0064773 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6623-7_0_5_load_39 | 86 | 0.001504 | 0.00037693 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6623-7_0_5_load_40 | 87 | 0.0021324 | 0.00053442 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6623-7_0_5_load_41 | 88 | 0.0018168 | 0.00045532 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6623-7_0_5_load_42 | 89 | 0.0011558 | 0.00028966 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6623-7_0_5_load_43 | 90 | 0.0023186 | 0.0005811 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6623-7_0_5_load_115 | 91 | 0.0013994 | 0.00035073 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6623-7_0_5_load_94 | 92 | 0.0024997 | 0.00062648 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6623-7_0_5_load_145 | 93 | 0.0013984 | 0.00035047 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6623-7_0_5_load_93 | 94 | 0.001851 | 0.00046391 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6623-7_0_5_load_44 | 95 | 0.0063843 | 0.0016001 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6623-7_0_5_load_45 | 96 | 0.0063615 | 0.0015943 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6623-7_0_5_load_47 | 98 | 0.0066368 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6623-7_0_5_load_49 | 100 | 0.0020204 | 0.00050636 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6623-7_0_5_load_102 | 101 | 0.0040729 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6623-7_0_5_load_98 | 102 | 0.0050159 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6623-7_0_5_load_97 | 103 | 0.074761 | 0.018737 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6623-7_0_5_load_157 | 107 | 0.0025193 | 0.00063139 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6623-7_0_5_load_156 | 108 | 0.0027854 | 0.00069808 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6623-7_0_5_load_87 | 109 | 0.0027051 | 0.00067795 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6623-7_0_5_load_61 | 110 | 0.0024691 | 0.00061883 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6623-7_0_5_load_90 | 111 | 0.0024238 | 0.00060745 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6623-7_0_5_load_108 | 113 | 0.0021105 | 0.00052893 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6623-7_0_5_load_105 | 115 | 0.016151 | 0.0040478 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6623-7_0_5_load_159 | 116 | 0.0074514 | 0.0018675 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6623-7_0_5_load_154 | 117 | 0.010678 | 0.0026761 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6623-7_0_5_load_153 | 118 | 0.010873 | 0.0027249 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6623-7_0_5_load_62 | 119 | 0.0028617 | 0.00071722 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6623-7_0_5_load_64 | 120 | 0.0031636 | 0.00079286 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6623-7_0_5_load_162 | 121 | 0.0057129 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6623-7_0_5_load_160 | 122 | 0.0074716 | 0.0018725 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6623-7_0_5_load_89 | 123 | 0.001747 | 0.00043785 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6623-7_0_5_load_164 | 124 | 0.0064315 | 0.0016119 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6623-7_0_5_load_74 | 125 | 0.010753 | 0.002695 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6623-7_0_5_load_75 | 126 | 0.010677 | 0.002676 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6623-7_0_5_load_80 | 127 | 0.0021207 | 0.00053151 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6623-7_0_5_load_81 | 128 | 0.0020864 | 0.0005229 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6623-7_0_5_load_83 | 129 | 0.0020627 | 0.00051696 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6623-7_0_5_load_91 | 130 | 0.0017568 | 0.0004403 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6623-7_0_5_load_92 | 131 | 0.0017483 | 0.00043816 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6623-7_0_5_load_167 | 132 | 0.0028446 | 0.00071292 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6623-7_0_5_load_95 | 133 | 0.0011691 | 0.000293 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6623-7_0_5_load_96 | 134 | 0.0011847 | 0.00029693 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6623-7_0_5_load_110 | 135 | 0.00092739 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6623-7_0_5_load_126 | 137 | 0.0013125 | 0.00032893 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6623-7_0_5_load_123 | 138 | 0.002733 | 0.00068496 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6623-7_0_5_load_114 | 139 | 0.014052 | 0.0035218 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6623-7_0_5_load_119 | 140 | 0.0013997 | 0.0003508 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6623-7_0_5_load_116 | 141 | 0.0019375 | 0.00048558 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6623-7_0_5_load_117 | 142 | 0.001181 | 0.00029598 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6623-7_0_5_load_118 | 143 | 0.0011787 | 0.00029541 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6623-7_0_5_load_120 | 144 | 0.0011787 | 0.00029541 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6623-7_0_5_load_149 | 145 | 0.0011798 | 0.00029568 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6623-7_0_5_load_147 | 146 | 0.0011808 | 0.00029593 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6623-7_0_5_load_121 | 147 | 0.0025991 | 0.0006514 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6623-7_0_5_load_122 | 148 | 0.0032481 | 0.00081406 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6623-7_0_5_load_124 | 149 | 0.0035261 | 0.00088373 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6623-7_0_5_load_127 | 150 | 0.0037396 | 0.00093724 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6623-7_0_5_load_168 | 151 | 0.0011928 | 0.00029895 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6623-7_0_5_load_150 | 152 | 0.0011995 | 0.00030063 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6623-7_0_5_load_136 | 153 | 0.0027999 | 0.00070172 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6623-7_0_5_load_137 | 154 | 0.0031414 | 0.0007873 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6623-7_0_5_load_138 | 155 | 0.0016003 | 0.00040106 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6623-7_0_5_load_139 | 156 | 0.0019997 | 0.00050118 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6623-7_0_5_load_140 | 157 | 0.0020166 | 0.00050541 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6623-7_0_5_load_143 | 158 | 0.0019966 | 0.0005004 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6623-7_0_5_load_144 | 159 | 0.0065002 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6623-7_0_5_load_146 | 160 | 0.0011827 | 0.00029641 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_6623-7_0_5_load_148 | 161 | 0.0011895 | 0.00029812 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_6623-7_0_5_load_155 | 162 | 0.010732 | 0.0026897 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6623-7_0_5_line_0 |  | 0 | 1 | 0.036099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6623-7_0_5_line_1 |  | 0 | 2 | 0.074078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6623-7_0_5_line_2 |  | 1 | 3 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6623-7_0_5_line_3 |  | 2 | 4 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6623-7_0_5_line_4 |  | 3 | 5 | 0.00022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6623-7_0_5_line_5 |  | 4 | 6 | 0.067306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6623-7_0_5_line_6 |  | 5 | 17 | 6.6182e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6623-7_0_5_line_7 |  | 6 | 18 | 0.0012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6623-7_0_5_line_8 |  | 7 | 8 | 0.042467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6623-7_0_5_line_9 |  | 7 | 9 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6623-7_0_5_line_10 |  | 9 | 19 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6623-7_0_5_line_11 |  | 10 | 11 | 0.028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6623-7_0_5_line_12 |  | 10 | 12 | 0.052863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6623-7_0_5_line_13 |  | 10 | 13 | 0.018503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6623-7_0_5_line_14 |  | 11 | 20 | 0.036294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6623-7_0_5_line_15 |  | 12 | 21 | 0.0032874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6623-7_0_5_line_16 |  | 13 | 22 | 0.0045268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6623-7_0_5_line_17 |  | 14 | 15 | 0.089568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6623-7_0_5_line_18 |  | 14 | 16 | 0.087002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6623-7_0_5_line_19 |  | 15 | 23 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6623-7_0_5_line_20 |  | 16 | 24 | 0.00018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6623-7_0_5_line_21 |  | 17 | 19 | 0.027462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6623-7_0_5_line_22 |  | 18 | 150 | 0.037807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6623-7_0_5_line_23 |  | 20 | 28 | 9.2804e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6623-7_0_5_line_24 |  | 22 | 156 | 0.021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6623-7_0_5_line_25 |  | 23 | 108 | 0.0012755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6623-7_0_5_line_26 |  | 24 | 27 | 9.1214e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6623-7_0_5_line_27 |  | 25 | 26 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6623-7_0_5_line_28 |  | 25 | 27 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6623-7_0_5_line_29 |  | 26 | 28 | 0.003829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6623-7_0_5_line_30 |  | 29 | 30 | 0.0015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6623-7_0_5_line_31 |  | 29 | 31 | 0.021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6623-7_0_5_line_32 |  | 30 | 32 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6623-7_0_5_line_33 |  | 31 | 33 | 0.040876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6623-7_0_5_line_34 |  | 31 | 34 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6623-7_0_5_line_35 |  | 33 | 35 | 0.00036584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6623-7_0_5_line_36 |  | 34 | 36 | 0.040485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6623-7_0_5_line_37 |  | 35 | 37 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6623-7_0_5_line_38 |  | 37 | 77 | 0.0042309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6623-7_0_5_line_39 |  | 38 | 39 | 0.00094153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6623-7_0_5_line_40 |  | 38 | 40 | 0.029674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6623-7_0_5_line_41 |  | 39 | 41 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6623-7_0_5_line_42 |  | 40 | 42 | 0.0072589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6623-7_0_5_line_43 |  | 41 | 43 | 0.005842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6623-7_0_5_line_44 |  | 42 | 44 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6623-7_0_5_line_45 |  | 43 | 45 | 0.01584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6623-7_0_5_line_46 |  | 43 | 46 | 0.0077748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6623-7_0_5_line_47 |  | 44 | 50 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6623-7_0_5_line_48 |  | 45 | 101 | 0.0011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6623-7_0_5_line_49 |  | 46 | 48 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6623-7_0_5_line_50 |  | 47 | 48 | 0.002585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6623-7_0_5_line_51 |  | 47 | 49 | 0.014778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6623-7_0_5_line_52 |  | 49 | 62 | 0.0072488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6623-7_0_5_line_53 |  | 49 | 55 | 0.002751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6623-7_0_5_line_54 |  | 50 | 136 | 0.025714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6623-7_0_5_line_55 |  | 51 | 52 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6623-7_0_5_line_56 |  | 51 | 53 | 0.016924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6623-7_0_5_line_57 |  | 53 | 54 | 0.003123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6623-7_0_5_line_58 |  | 54 | 60 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6623-7_0_5_line_59 |  | 54 | 61 | 0.00089601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6623-7_0_5_line_60 |  | 55 | 56 | 0.0078965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6623-7_0_5_line_61 |  | 57 | 58 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6623-7_0_5_line_62 |  | 57 | 59 | 0.019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6623-7_0_5_line_63 |  | 58 | 76 | 0.009144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6623-7_0_5_line_64 |  | 58 | 77 | 0.03804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6623-7_0_5_line_65 |  | 59 | 84 | 0.0036207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6623-7_0_5_line_66 |  | 60 | 63 | 0.01308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6623-7_0_5_line_67 |  | 61 | 85 | 0.01045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6623-7_0_5_line_68 |  | 62 | 124 | 0.0023873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6623-7_0_5_line_69 |  | 63 | 113 | 0.0058984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6623-7_0_5_line_70 |  | 64 | 65 | 0.0027677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6623-7_0_5_line_71 |  | 64 | 66 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6623-7_0_5_line_72 |  | 65 | 84 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6623-7_0_5_line_73 |  | 66 | 74 | 0.019648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6623-7_0_5_line_74 |  | 67 | 68 | 0.06795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_6623-7_0_5_line_75 |  | 67 | 69 | 0.029515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6623-7_0_5_line_76 |  | 67 | 70 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6623-7_0_5_line_77 |  | 68 | 110 | 0.028335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6623-7_0_5_line_78 |  | 68 | 106 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6623-7_0_5_line_79 |  | 69 | 104 | 0.004092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6623-7_0_5_line_80 |  | 70 | 115 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6623-7_0_5_line_81 |  | 71 | 72 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6623-7_0_5_line_82 |  | 71 | 73 | 0.048278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6623-7_0_5_line_83 |  | 72 | 116 | 0.0026904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6623-7_0_5_line_84 |  | 73 | 82 | 0.012703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_6623-7_0_5_line_85 |  | 73 | 83 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6623-7_0_5_line_86 |  | 74 | 75 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6623-7_0_5_line_87 |  | 75 | 117 | 0.022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6623-7_0_5_line_88 |  | 75 | 118 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6623-7_0_5_line_89 |  | 76 | 78 | 0.0081475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6623-7_0_5_line_90 |  | 78 | 109 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6623-7_0_5_line_91 |  | 79 | 80 | 0.066233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6623-7_0_5_line_92 |  | 79 | 81 | 0.057184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6623-7_0_5_line_93 |  | 80 | 109 | 0.0071579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6623-7_0_5_line_94 |  | 81 | 112 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6623-7_0_5_line_95 |  | 82 | 114 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6623-7_0_5_line_96 |  | 83 | 115 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_6623-7_0_5_line_97 |  | 84 | 139 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6623-7_0_5_line_98 |  | 85 | 124 | 0.010348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6623-7_0_5_line_99 |  | 86 | 87 | 0.00027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6623-7_0_5_line_100 |  | 86 | 88 | 0.00088603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6623-7_0_5_line_101 |  | 87 | 89 | 0.0021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6623-7_0_5_line_102 |  | 88 | 90 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6623-7_0_5_line_103 |  | 89 | 91 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6623-7_0_5_line_104 |  | 90 | 92 | 0.036271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6623-7_0_5_line_105 |  | 91 | 93 | 1.8159e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6623-7_0_5_line_106 |  | 92 | 94 | 0.0028623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6623-7_0_5_line_107 |  | 93 | 140 | 6.1834e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6623-7_0_5_line_108 |  | 94 | 133 | 0.0028218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6623-7_0_5_line_109 |  | 95 | 96 | 0.013986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_6623-7_0_5_line_110 |  | 95 | 97 | 0.010032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_6623-7_0_5_line_111 |  | 96 | 98 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_6623-7_0_5_line_112 |  | 97 | 99 | 0.00284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6623-7_0_5_line_113 |  | 97 | 100 | 0.0051361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_6623-7_0_5_line_114 |  | 98 | 101 | 0.00020379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_6623-7_0_5_line_115 |  | 99 | 102 | 0.028855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6623-7_0_5_line_116 |  | 99 | 103 | 0.002567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6623-7_0_5_line_117 |  | 100 | 104 | 0.004939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_6623-7_0_5_line_118 |  | 104 | 105 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6623-7_0_5_line_119 |  | 105 | 111 | 0.031578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6623-7_0_5_line_120 |  | 106 | 107 | 0.0094655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6623-7_0_5_line_121 |  | 107 | 108 | 0.010237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6623-7_0_5_line_122 |  | 110 | 119 | 0.024284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6623-7_0_5_line_123 |  | 111 | 123 | 0.0059701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6623-7_0_5_line_124 |  | 112 | 127 | 0.015578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6623-7_0_5_line_125 |  | 113 | 135 | 0.0095996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6623-7_0_5_line_126 |  | 114 | 118 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6623-7_0_5_line_127 |  | 114 | 126 | 0.022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6623-7_0_5_line_128 |  | 116 | 122 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6623-7_0_5_line_129 |  | 117 | 162 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6623-7_0_5_line_130 |  | 119 | 120 | 0.016649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6623-7_0_5_line_131 |  | 121 | 122 | 0.0026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6623-7_0_5_line_132 |  | 123 | 130 | 0.00020381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6623-7_0_5_line_133 |  | 125 | 126 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6623-7_0_5_line_134 |  | 127 | 128 | 9.7351e-09 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6623-7_0_5_line_135 |  | 128 | 129 | 2.9526e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6623-7_0_5_line_136 |  | 130 | 131 | 0.00024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6623-7_0_5_line_137 |  | 131 | 132 | 0.0058537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6623-7_0_5_line_138 |  | 133 | 134 | 0.00010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6623-7_0_5_line_139 |  | 134 | 135 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6623-7_0_5_line_140 |  | 136 | 137 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6623-7_0_5_line_141 |  | 136 | 138 | 0.020965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6623-7_0_5_line_142 |  | 137 | 150 | 0.0054321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6623-7_0_5_line_143 |  | 138 | 147 | 0.0014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6623-7_0_5_line_144 |  | 140 | 142 | 6.7161e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6623-7_0_5_line_145 |  | 141 | 142 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_6623-7_0_5_line_146 |  | 141 | 143 | 0.014113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_6623-7_0_5_line_147 |  | 143 | 144 | 1.855e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6623-7_0_5_line_148 |  | 144 | 145 | 6.5251e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6623-7_0_5_line_149 |  | 145 | 146 | 6.3435e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6623-7_0_5_line_150 |  | 146 | 160 | 0.028391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6623-7_0_5_line_151 |  | 147 | 148 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_6623-7_0_5_line_152 |  | 148 | 149 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_6623-7_0_5_line_153 |  | 151 | 152 | 4.0534e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_6623-7_0_5_line_154 |  | 152 | 161 | 8.1209e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_6623-7_0_5_line_155 |  | 153 | 154 | 0.0092676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_6623-7_0_5_line_156 |  | 153 | 155 | 0.0023368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_6623-7_0_5_line_157 |  | 154 | 156 | 0.0089818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_6623-7_0_5_line_158 |  | 155 | 157 | 0.015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_6623-7_0_5_line_159 |  | 157 | 158 | 0.0096304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_6623-7_0_5_line_160 |  | 158 | 159 | 0.0076755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_6623-7_0_5_line_161 |  | 160 | 161 | 5.5853e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6623-7_0_5_trafo_69 | 0.63 MVA 20/0.4 kV | 163 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2497854.588 | 1120533.038 | 2497875.2802 | 1120562.6183
1 | 2497812.0525 | 1120472.3901 | 2497814.683 | 1120475.9924 | 2497854.588 | 1120533.038
2 | 2497890.0864 | 1120583.7843 | 2497875.2802 | 1120562.6183
3 | 2497812.0525 | 1120472.3901 | 2497808.003 | 1120466.0879 | 2497813.2281 | 1120462.5085 | 2497816.6805 | 1120459.5038
4 | 2497890.2157 | 1120583.9691 | 2497890.0864 | 1120583.7843
5 | 2497816.6805 | 1120459.5038 | 2497837.722 | 1120441.2034 | 2497843.9405 | 1120436.5955 | 2497854.6859 | 1120428.6312 | 2497869.1742 | 1120417.4439
6 | 2497890.2536 | 1120584.0233 | 2497890.2157 | 1120583.9691
7 | 2497869.1742 | 1120417.4439 | 2497870.1352 | 1120416.7018
8 | 2497931.0578 | 1120647.702 | 2497898.4371 | 1120674.8925
9 | 2497931.0578 | 1120647.702 | 2497929.5096 | 1120645.5823 | 2497929.6614 | 1120642.2332 | 2497929.0896 | 1120638.9852 | 2497919.1631 | 1120624.9628
10 | 2497906.073 | 1120606.4713 | 2497919.1631 | 1120624.9628
11 | 2497877.3469 | 1120546.3449 | 2497893.4587 | 1120569.6067
12 | 2497877.3469 | 1120546.3449 | 2497846.7471 | 1120503.2384
13 | 2497877.3469 | 1120546.3449 | 2497892.6204 | 1120535.9003
14 | 2497914.124 | 1120599.4428 | 2497893.4587 | 1120569.6067
15 | 2497844.8442 | 1120500.5577 | 2497846.7471 | 1120503.2384
16 | 2497896.3571 | 1120533.3451 | 2497892.6204 | 1120535.9003
17 | 2497995.4164 | 1120709.8441 | 2497996.6183 | 1120708.3673 | 2498015.5327 | 1120687.4907 | 2498034.5499 | 1120666.3011 | 2498038.5508 | 1120658.7622 | 2498047.6933 | 1120638.1284
18 | 2497995.4164 | 1120709.8441 | 2497975.9473 | 1120686.8802 | 2497966.5372 | 1120674.7425 | 2497947.7851 | 1120647.6418 | 2497942.8648 | 1120640.6102
19 | 2498047.6933 | 1120638.1284 | 2498038.9654 | 1120628.0025 | 2498038.3799 | 1120622.1087 | 2498040.8723 | 1120613.6709
20 | 2497942.7592 | 1120640.4593 | 2497942.8648 | 1120640.6102
21 | 2497906.073 | 1120606.4713 | 2497896.222 | 1120592.5553 | 2497890.2536 | 1120584.0233
22 | 2497900.1611 | 1120393.7302 | 2497895.345 | 1120397.2359 | 2497870.1352 | 1120416.7018
23 | 2497914.124 | 1120599.4428 | 2497914.1768 | 1120599.5191
24 | 2497914.2593 | 1120521.1029 | 2497896.3571 | 1120533.3451
25 | 2498041.7825 | 1120612.8312 | 2498040.9346 | 1120613.4601 | 2498040.8723 | 1120613.6709
26 | 2497942.7069 | 1120640.3846 | 2497942.7592 | 1120640.4593
27 | 2497916.357 | 1120602.6669 | 2497920.4668 | 1120608.6005 | 2497928.5625 | 1120620.1704
28 | 2497942.7069 | 1120640.3846 | 2497928.5625 | 1120620.1704
29 | 2497914.1768 | 1120599.5191 | 2497916.357 | 1120602.6669
30 | 2498066.2307 | 1120265.4977 | 2498065.0567 | 1120266.4497
31 | 2498048.5246 | 1120279.8554 | 2498065.0567 | 1120266.4497
32 | 2498082.7042 | 1120252.1396 | 2498066.2307 | 1120265.4977
33 | 2498048.5246 | 1120279.8554 | 2498073.381 | 1120312.3053
34 | 2498048.5246 | 1120279.8554 | 2498040.4317 | 1120268.986
35 | 2498073.381 | 1120312.3053 | 2498073.6035 | 1120312.5957
36 | 2498016.2541 | 1120236.5132 | 2498040.4317 | 1120268.986
37 | 2498087.0215 | 1120330.1129 | 2498073.6035 | 1120312.5957
38 | 2498089.5943 | 1120333.4717 | 2498087.0215 | 1120330.1129
39 | 2497994.1425 | 1120434.5757 | 2497994.8812 | 1120435.1595
40 | 2497970.8615 | 1120416.177 | 2497994.1425 | 1120434.5757
41 | 2498006.1007 | 1120443.1625 | 2498001.6422 | 1120440.5027 | 2497994.8812 | 1120435.1595
42 | 2497965.1664 | 1120411.6761 | 2497970.8615 | 1120416.177
43 | 2498006.1007 | 1120443.1625 | 2498011.524 | 1120445.3724
44 | 2497965.1664 | 1120411.6761 | 2497961.89 | 1120409.0868 | 2497953.3098 | 1120401.398
45 | 2498011.524 | 1120445.3724 | 2498014.1893 | 1120452.8766 | 2498019.8735 | 1120458.3286
46 | 2498011.524 | 1120445.3724 | 2498014.5559 | 1120443.0532 | 2498017.6909 | 1120445.4685
47 | 2497944.5461 | 1120393.5447 | 2497953.3098 | 1120401.398
48 | 2498019.8735 | 1120458.3286 | 2498020.7002 | 1120459.1215
49 | 2498025.6749 | 1120438.4739 | 2498019.0476 | 1120443.0997 | 2498017.6909 | 1120445.4685
50 | 2498024.2267 | 1120436.3303 | 2498025.6749 | 1120438.4739
51 | 2498036.2653 | 1120427.7108 | 2498024.2267 | 1120436.3303
52 | 2498036.2653 | 1120427.7108 | 2498042.1588 | 1120423.4904
53 | 2498036.2653 | 1120427.7108 | 2498037.8313 | 1120429.9747
54 | 2497924.7783 | 1120377.7823 | 2497928.5747 | 1120378.6966 | 2497938.6674 | 1120388.2767 | 2497944.5461 | 1120393.5447
55 | 2498082.7626 | 1120437.2663 | 2498073.8328 | 1120425.4597
56 | 2498063.6239 | 1120411.9618 | 2498073.8328 | 1120425.4597
57 | 2498061.7377 | 1120409.4698 | 2498063.6239 | 1120411.9618
58 | 2498061.7377 | 1120409.4698 | 2498075.1867 | 1120399.8371
59 | 2498061.0092 | 1120409.9915 | 2498061.7377 | 1120409.4698
60 | 2498037.8313 | 1120429.9747 | 2498041.5173 | 1120435.327 | 2498040.4036 | 1120436.1714
61 | 2498112.7265 | 1120363.6706 | 2498116.3945 | 1120368.4118 | 2498118.8024 | 1120371.6399
62 | 2498118.8024 | 1120371.6399 | 2498130.7261 | 1120387.4459
63 | 2498112.7265 | 1120363.6706 | 2498115.0845 | 1120362.1077 | 2498118.0803 | 1120363.1356 | 2498121.2497 | 1120363.0155
64 | 2498112.7265 | 1120363.6706 | 2498089.5943 | 1120333.4717
65 | 2498132.9066 | 1120390.3363 | 2498130.7261 | 1120387.4459
66 | 2498075.1867 | 1120399.8371 | 2498067.3292 | 1120389.3804
67 | 2498061.0092 | 1120409.9915 | 2498052.5128 | 1120416.0758
68 | 2498042.1588 | 1120423.4904 | 2498044.0997 | 1120422.1005
69 | 2498063.7858 | 1120384.6649 | 2498067.3292 | 1120389.3804
70 | 2498141.3042 | 1120401.4574 | 2498139.6364 | 1120399.2487
71 | 2498141.3042 | 1120401.4574 | 2498166.0252 | 1120430.3272
72 | 2498132.9066 | 1120390.3363 | 2498139.6364 | 1120399.2487
73 | 2498178.8026 | 1120445.2535 | 2498177.4644 | 1120443.6862 | 2498166.0252 | 1120430.3272
74 | 2498061.0745 | 1120590.1948 | 2498067.1537 | 1120548.4994 | 2498070.5976 | 1120543.6161 | 2498071.1392 | 1120535.0127 | 2498071.6756 | 1120523.8077
75 | 2498063.4716 | 1120496.7178 | 2498069.3833 | 1120504.5564 | 2498071.2345 | 1120508.6389 | 2498071.964 | 1120514.3747 | 2498071.6756 | 1120523.8077
76 | 2498071.6756 | 1120523.8077 | 2498080.5799 | 1120517.398 | 2498083.6235 | 1120521.2603 | 2498091.5726 | 1120515.4443
77 | 2498061.0745 | 1120590.1948 | 2498037.6764 | 1120574.2133
78 | 2498061.0745 | 1120590.1948 | 2498060.2611 | 1120595.4897 | 2498058.6153 | 1120602.6775
79 | 2498060.2583 | 1120499.2624 | 2498063.4716 | 1120496.7178
80 | 2498091.5726 | 1120515.4443 | 2498102.3732 | 1120507.5421
81 | 2498139.3346 | 1120531.3613 | 2498132.4733 | 1120537.6697 | 2498121.432 | 1120548.0094
82 | 2498126.5307 | 1120488.1609 | 2498129.7012 | 1120491.7764 | 2498138.6814 | 1120504.9668 | 2498138.4641 | 1120507.183 | 2498137.2574 | 1120511.5838 | 2498135.6792 | 1120517.7476 | 2498135.6806 | 1120522.4061 | 2498137.2595 | 1120527.2715 | 2498139.3346 | 1120531.3613
83 | 2498119.4683 | 1120549.8483 | 2498121.432 | 1120548.0094
84 | 2498126.5307 | 1120488.1609 | 2498136.6856 | 1120480.5285
85 | 2498126.5307 | 1120488.1609 | 2498122.9919 | 1120492.4565 | 2498112.8734 | 1120499.8597
86 | 2498170.611 | 1120454.5973 | 2498175.5093 | 1120449.0113 | 2498178.8026 | 1120445.2535
87 | 2498170.611 | 1120454.5973 | 2498157.5719 | 1120436.8184
88 | 2498170.611 | 1120454.5973 | 2498161.7133 | 1120461.4639
89 | 2498121.2497 | 1120363.0155 | 2498128.2174 | 1120358.7925
90 | 2498128.2174 | 1120358.7925 | 2498137.4582 | 1120353.1918 | 2498139.1523 | 1120352.484
91 | 2498209.6107 | 1120333.2977 | 2498187.4322 | 1120336.4064 | 2498177.0609 | 1120338.6713 | 2498155.2887 | 1120345.7424 | 2498145.7569 | 1120349.7247
92 | 2498209.6107 | 1120333.2977 | 2498173.7675 | 1120288.7417
93 | 2498139.1523 | 1120352.484 | 2498145.7569 | 1120349.7247
94 | 2498165.5769 | 1120278.5602 | 2498173.7675 | 1120288.7417
95 | 2498149.0925 | 1120471.2035 | 2498136.6856 | 1120480.5285
96 | 2498112.8734 | 1120499.8597 | 2498102.3732 | 1120507.5421
97 | 2498142.1699 | 1120381.8527 | 2498132.9066 | 1120390.3363
98 | 2498052.5128 | 1120416.0758 | 2498044.0997 | 1120422.1005
99 | 2498014.2354 | 1120316.8608 | 2498014.0751 | 1120316.634
100 | 2498014.7471 | 1120317.5841 | 2498014.2354 | 1120316.8608
101 | 2498014.0751 | 1120316.634 | 2498012.8273 | 1120314.8699
102 | 2498024.2501 | 1120331.0193 | 2498014.7471 | 1120317.5841
103 | 2497997.1748 | 1120293.0825 | 2498004.6274 | 1120303.277 | 2498012.8273 | 1120314.8699
104 | 2498024.2501 | 1120331.0193 | 2498036.8007 | 1120348.7631 | 2498045.5362 | 1120360.3834
105 | 2497997.1748 | 1120293.0825 | 2497997.1641 | 1120293.0678
106 | 2498047.2561 | 1120362.6714 | 2498045.5362 | 1120360.3834
107 | 2497997.1641 | 1120293.0678 | 2497997.1276 | 1120293.0179
108 | 2498048.9517 | 1120364.9269 | 2498047.2561 | 1120362.6714
109 | 2498046.9403 | 1120484.2835 | 2498036.8452 | 1120474.6038
110 | 2498054.1813 | 1120491.2265 | 2498046.9403 | 1120484.2835
111 | 2498020.8473 | 1120459.2625 | 2498026.754 | 1120464.9279 | 2498036.8452 | 1120474.6038
112 | 2498054.1813 | 1120491.2265 | 2498056.4913 | 1120489.5643
113 | 2498054.1813 | 1120491.2265 | 2498057.2793 | 1120495.3231
114 | 2498020.7002 | 1120459.1215 | 2498020.8473 | 1120459.2625
115 | 2498056.4913 | 1120489.5643 | 2498035.5512 | 1120469.7121
116 | 2498056.4913 | 1120489.5643 | 2498058.5724 | 1120488.0616
117 | 2498060.2583 | 1120499.2624 | 2498057.2793 | 1120495.3231
118 | 2498060.2583 | 1120499.2624 | 2498067.1243 | 1120508.3302 | 2498067.7282 | 1120509.821
119 | 2498067.7282 | 1120509.821 | 2498061.6694 | 1120511.5575 | 2498056.6022 | 1120513.5219 | 2498048.6431 | 1120518.7928 | 2498046.8869 | 1120519.8897 | 2498040.2712 | 1120524.7757
120 | 2498058.6153 | 1120602.6775 | 2498050.2885 | 1120607.1786
121 | 2498041.7825 | 1120612.8312 | 2498047.0235 | 1120608.9435 | 2498050.2885 | 1120607.1786
122 | 2498037.6764 | 1120574.2133 | 2498032.0361 | 1120570.3608 | 2498028.7174 | 1120570.3167 | 2498018.2272 | 1120579.79
123 | 2498035.4689 | 1120528.3224 | 2498040.2712 | 1120524.7757
124 | 2498165.5769 | 1120278.5602 | 2498161.4699 | 1120273.8708 | 2498155.6002 | 1120266.6006
125 | 2498058.019 | 1120376.9906 | 2498063.7858 | 1120384.6649
126 | 2498149.0925 | 1120471.2035 | 2498161.7133 | 1120461.4639
127 | 2498149.0925 | 1120471.2035 | 2498135.5777 | 1120452.9268
128 | 2498119.4683 | 1120549.8483 | 2498109.9772 | 1120558.7363
129 | 2498150.3297 | 1120426.9437 | 2498157.5719 | 1120436.8184
130 | 2498005.8711 | 1120590.9484 | 2498018.2272 | 1120579.79
131 | 2498108.0127 | 1120560.576 | 2498109.9772 | 1120558.7363
132 | 2498035.3049 | 1120528.4435 | 2498035.4689 | 1120528.3224
133 | 2498127.0217 | 1120441.3561 | 2498135.5777 | 1120452.9268
134 | 2498155.6002 | 1120266.6006 | 2498155.6002 | 1120266.6006
135 | 2498155.6002 | 1120266.6006 | 2498155.5817 | 1120266.5776
136 | 2498035.111 | 1120528.5867 | 2498035.3049 | 1120528.4435
137 | 2498030.4023 | 1120532.0642 | 2498035.111 | 1120528.5867
138 | 2498049.012 | 1120365.0071 | 2498048.9517 | 1120364.9269
139 | 2498049.012 | 1120365.0071 | 2498054.3637 | 1120372.1262 | 2498058.019 | 1120376.9906
140 | 2497924.7783 | 1120377.7823 | 2497921.7878 | 1120377.9885 | 2497904.553 | 1120390.5335
141 | 2497924.7783 | 1120377.7823 | 2497925.2045 | 1120375.1512 | 2497925.186 | 1120371.7716 | 2497917.5887 | 1120358.9306
142 | 2497904.553 | 1120390.5335 | 2497900.1611 | 1120393.7302
143 | 2497916.8756 | 1120357.7253 | 2497917.5887 | 1120358.9306
144 | 2497997.1276 | 1120293.0179 | 2497997.0879 | 1120292.9637
145 | 2497997.0879 | 1120292.9637 | 2497988.6326 | 1120281.3975
146 | 2497980.3042 | 1120270.0044 | 2497984.6118 | 1120275.8973 | 2497988.6326 | 1120281.3975
147 | 2497980.3042 | 1120270.0044 | 2497980.2932 | 1120269.9895
148 | 2497980.2932 | 1120269.9895 | 2497980.2547 | 1120269.9368
149 | 2497980.2547 | 1120269.9368 | 2497980.2173 | 1120269.8856
150 | 2497980.2173 | 1120269.8856 | 2497967.9135 | 1120253.0535 | 2497963.4627 | 1120246.9649
151 | 2497916.8756 | 1120357.7253 | 2497910.0305 | 1120346.1557 | 2497907.0572 | 1120339.8785
152 | 2497896.04 | 1120316.7984 | 2497896.6035 | 1120317.809 | 2497907.0572 | 1120339.8785
153 | 2497963.3818 | 1120246.8542 | 2497963.3579 | 1120246.8215
154 | 2497963.4297 | 1120246.9198 | 2497963.3818 | 1120246.8542
155 | 2497930.7489 | 1120517.2839 | 2497927.8417 | 1120516.2178 | 2497921.6734 | 1120516.0329
156 | 2497932.9428 | 1120518.0885 | 2497932.9428 | 1120518.0885 | 2497930.7489 | 1120517.2839
157 | 2497914.2593 | 1120521.1029 | 2497921.6734 | 1120516.0329 | 2497921.6734 | 1120516.0329
158 | 2497932.9428 | 1120518.0885 | 2497943.9807 | 1120527.9084 | 2497944.4781 | 1120528.3339
159 | 2497951.7953 | 1120534.5952 | 2497944.4781 | 1120528.3339
160 | 2497957.6271 | 1120539.5854 | 2497951.7953 | 1120534.5952
161 | 2497963.4627 | 1120246.9649 | 2497963.4297 | 1120246.9198

## bus_geodata
| x | y | coords
0 | 2497854.588 | 1120533.038
1 | 2497875.2802 | 1120562.6183
2 | 2497812.0525 | 1120472.3901
3 | 2497890.0864 | 1120583.7843
4 | 2497816.6805 | 1120459.5038
5 | 2497890.2157 | 1120583.9691
6 | 2497869.1742 | 1120417.4439
7 | 2497931.0578 | 1120647.702
8 | 2497898.4371 | 1120674.8925
9 | 2497919.1631 | 1120624.9628
10 | 2497877.3469 | 1120546.3449
11 | 2497893.4587 | 1120569.6067
12 | 2497846.7471 | 1120503.2384
13 | 2497892.6204 | 1120535.9003
14 | 2497995.4164 | 1120709.8441
15 | 2498047.6933 | 1120638.1284
16 | 2497942.8648 | 1120640.6102
17 | 2497890.2536 | 1120584.0233
18 | 2497870.1352 | 1120416.7018
19 | 2497906.073 | 1120606.4713
20 | 2497914.124 | 1120599.4428
21 | 2497844.8442 | 1120500.5577
22 | 2497896.3571 | 1120533.3451
23 | 2498040.8723 | 1120613.6709
24 | 2497942.7592 | 1120640.4593
25 | 2497928.5625 | 1120620.1704
26 | 2497916.357 | 1120602.6669
27 | 2497942.7069 | 1120640.3846
28 | 2497914.1768 | 1120599.5191
29 | 2498065.0567 | 1120266.4497
30 | 2498066.2307 | 1120265.4977
31 | 2498048.5246 | 1120279.8554
32 | 2498082.7041 | 1120252.1396
33 | 2498073.381 | 1120312.3053
34 | 2498040.4317 | 1120268.986
35 | 2498073.6035 | 1120312.5957
36 | 2498016.2541 | 1120236.5132
37 | 2498087.0215 | 1120330.1129
38 | 2497994.1425 | 1120434.5757
39 | 2497994.8812 | 1120435.1595
40 | 2497970.8615 | 1120416.177
41 | 2498006.1007 | 1120443.1625
42 | 2497965.1664 | 1120411.6761
43 | 2498011.524 | 1120445.3724
44 | 2497953.3098 | 1120401.398
45 | 2498019.8735 | 1120458.3286
46 | 2498017.6909 | 1120445.4685
47 | 2498024.2267 | 1120436.3303
48 | 2498025.6749 | 1120438.4739
49 | 2498036.2653 | 1120427.7108
50 | 2497944.5461 | 1120393.5447
51 | 2498073.8328 | 1120425.4597
52 | 2498082.7626 | 1120437.2663
53 | 2498063.6239 | 1120411.9618
54 | 2498061.7377 | 1120409.4698
55 | 2498037.8313 | 1120429.9747
56 | 2498040.4036 | 1120436.1714
57 | 2498118.8024 | 1120371.6399
58 | 2498112.7265 | 1120363.6706
59 | 2498130.7261 | 1120387.4459
60 | 2498075.1867 | 1120399.8371
61 | 2498061.0092 | 1120409.9915
62 | 2498042.1588 | 1120423.4904
63 | 2498067.3292 | 1120389.3804
64 | 2498141.3042 | 1120401.4574
65 | 2498139.6364 | 1120399.2487
66 | 2498166.0252 | 1120430.3272
67 | 2498071.6756 | 1120523.8077
68 | 2498061.0745 | 1120590.1948
69 | 2498063.4716 | 1120496.7178
70 | 2498091.5726 | 1120515.4443
71 | 2498139.3346 | 1120531.3613
72 | 2498121.432 | 1120548.0094
73 | 2498126.5307 | 1120488.1609
74 | 2498178.8026 | 1120445.2535
75 | 2498170.611 | 1120454.5973
76 | 2498121.2497 | 1120363.0155
77 | 2498089.5943 | 1120333.4717
78 | 2498128.2174 | 1120358.7925
79 | 2498209.6107 | 1120333.2977
80 | 2498145.7569 | 1120349.7247
81 | 2498173.7675 | 1120288.7417
82 | 2498136.6856 | 1120480.5285
83 | 2498112.8734 | 1120499.8597
84 | 2498132.9066 | 1120390.3363
85 | 2498052.5128 | 1120416.0758
86 | 2498014.2354 | 1120316.8608
87 | 2498014.0751 | 1120316.634
88 | 2498014.7471 | 1120317.5841
89 | 2498012.8273 | 1120314.8699
90 | 2498024.2501 | 1120331.0193
91 | 2497997.1748 | 1120293.0825
92 | 2498045.5362 | 1120360.3834
93 | 2497997.1641 | 1120293.0678
94 | 2498047.2561 | 1120362.6714
95 | 2498046.9403 | 1120484.2835
96 | 2498036.8452 | 1120474.6038
97 | 2498054.1813 | 1120491.2265
98 | 2498020.8473 | 1120459.2625
99 | 2498056.4913 | 1120489.5643
100 | 2498057.2793 | 1120495.3231
101 | 2498020.7002 | 1120459.1215
102 | 2498035.5512 | 1120469.7121
103 | 2498058.5724 | 1120488.0616
104 | 2498060.2583 | 1120499.2624
105 | 2498067.7282 | 1120509.821
106 | 2498058.6153 | 1120602.6775
107 | 2498050.2885 | 1120607.1786
108 | 2498041.7825 | 1120612.8312
109 | 2498139.1523 | 1120352.484
110 | 2498037.6764 | 1120574.2133
111 | 2498040.2712 | 1120524.7757
112 | 2498165.5769 | 1120278.5602
113 | 2498063.7858 | 1120384.6649
114 | 2498149.0925 | 1120471.2035
115 | 2498102.3732 | 1120507.5421
116 | 2498119.4683 | 1120549.8483
117 | 2498157.5719 | 1120436.8184
118 | 2498161.7133 | 1120461.4639
119 | 2498018.2272 | 1120579.79
120 | 2498005.8711 | 1120590.9484
121 | 2498108.0127 | 1120560.576
122 | 2498109.9772 | 1120558.7363
123 | 2498035.4689 | 1120528.3224
124 | 2498044.0997 | 1120422.1005
125 | 2498127.0217 | 1120441.3561
126 | 2498135.5777 | 1120452.9268
127 | 2498155.6002 | 1120266.6006
128 | 2498155.6002 | 1120266.6006
129 | 2498155.5817 | 1120266.5776
130 | 2498035.3049 | 1120528.4435
131 | 2498035.111 | 1120528.5867
132 | 2498030.4023 | 1120532.0642
133 | 2498048.9517 | 1120364.9269
134 | 2498049.012 | 1120365.0071
135 | 2498058.019 | 1120376.9906
136 | 2497924.7783 | 1120377.7823
137 | 2497904.553 | 1120390.5335
138 | 2497917.5887 | 1120358.9306
139 | 2498142.1699 | 1120381.8527
140 | 2497997.1276 | 1120293.0179
141 | 2497988.6326 | 1120281.3975
142 | 2497997.0879 | 1120292.9637
143 | 2497980.3042 | 1120270.0045
144 | 2497980.2932 | 1120269.9895
145 | 2497980.2547 | 1120269.9368
146 | 2497980.2173 | 1120269.8856
147 | 2497916.8756 | 1120357.7253
148 | 2497907.0572 | 1120339.8785
149 | 2497896.04 | 1120316.7984
150 | 2497900.1611 | 1120393.7302
151 | 2497963.3579 | 1120246.8215
152 | 2497963.3818 | 1120246.8542
153 | 2497930.7489 | 1120517.2839
154 | 2497921.6734 | 1120516.0329
155 | 2497932.9428 | 1120518.0885
156 | 2497914.2593 | 1120521.1029
157 | 2497944.4781 | 1120528.3339
158 | 2497951.7953 | 1120534.5952
159 | 2497957.6271 | 1120539.5854
160 | 2497963.4627 | 1120246.9649
161 | 2497963.4297 | 1120246.9198
162 | 2498150.3297 | 1120426.9437
163 | 2498037.8313 | 1120429.9747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1