## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6628-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6628-14_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_6628-14_0_5_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_6628-14_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6628-14_0_5_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_6628-14_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6628-14_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6628-14_0_5_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_6628-14_0_5_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_6628-14_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6628-14_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_6628-14_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6628-14_0_5_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_6628-14_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6628-14_0_5_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_6628-14_0_5_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_6628-14_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6628-14_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6628-14_0_5_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_6628-14_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6628-14_0_5_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_6628-14_0_5_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_6628-14_0_5_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_6628-14_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6628-14_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_6628-14_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6628-14_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_6628-14_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6628-14_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6628-14_0_5_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_6628-14_0_5_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_6628-14_0_5_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_6628-14_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6628-14_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6628-14_0_5_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_6628-14_0_5_node_111 | 0.4 | n |  | TRUE
40 | bus_LV_6628-14_0_5_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_6628-14_0_5_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6628-14_0_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6628-14_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_6628-14_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6628-14_0_5_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_6628-14_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6628-14_0_5_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_6628-14_0_5_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_6628-14_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6628-14_0_5_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_6628-14_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_6628-14_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6628-14_0_5_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_6628-14_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6628-14_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_6628-14_0_5_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_6628-14_0_5_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_6628-14_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_6628-14_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6628-14_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6628-14_0_5_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_6628-14_0_5_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_6628-14_0_5_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_6628-14_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_6628-14_0_5_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6628-14_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6628-14_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6628-14_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6628-14_0_5_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_6628-14_0_5_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_6628-14_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6628-14_0_5_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_6628-14_0_5_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6628-14_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_6628-14_0_5_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_6628-14_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_6628-14_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6628-14_0_5_node_42 | 0.4 | n |  | TRUE
79 | bus_LV_6628-14_0_5_node_38 | 0.4 | n |  | TRUE
80 | bus_LV_6628-14_0_5_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_6628-14_0_5_node_39 | 0.4 | n |  | TRUE
82 | bus_LV_6628-14_0_5_node_41 | 0.4 | n |  | TRUE
83 | bus_LV_6628-14_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_6628-14_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6628-14_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_6628-14_0_5_node_45 | 0.4 | n |  | TRUE
87 | bus_LV_6628-14_0_5_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_6628-14_0_5_node_51 | 0.4 | n |  | TRUE
89 | bus_LV_6628-14_0_5_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_6628-14_0_5_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_6628-14_0_5_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_6628-14_0_5_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_6628-14_0_5_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_6628-14_0_5_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_6628-14_0_5_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_6628-14_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_6628-14_0_5_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_6628-14_0_5_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_6628-14_0_5_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_6628-14_0_5_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_6628-14_0_5_node_84 | 0.4 | n |  | TRUE
102 | bus_MV_643_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-14_0_5_load_0 | 0 | 0.013528 | 0.0033904 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-14_0_5_load_1 | 1 | 0.003928 | 0.00098444 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-14_0_5_load_3 | 3 | 0.0043206 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-14_0_5_load_4 | 4 | 0.010056 | 0.0025203 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-14_0_5_load_62 | 6 | 0.036747 | 0.0092098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-14_0_5_load_93 | 8 | 0.0080938 | 0.0020285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-14_0_5_load_81 | 12 | 0.0029371 | 0.00073611 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-14_0_5_load_59 | 16 | 0.0011428 | 0.00028642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-14_0_5_load_61 | 18 | 0.0017681 | 0.00044314 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-14_0_5_load_66 | 19 | 0.0058774 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-14_0_5_load_92 | 22 | 0.0021096 | 0.00052873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-14_0_5_load_37 | 23 | 0.0048592 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-14_0_5_load_95 | 24 | 0.0030853 | 0.00077326 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-14_0_5_load_108 | 25 | 0.0071057 | 0.0017808 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-14_0_5_load_105 | 26 | 0.0068121 | 0.0017073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-14_0_5_load_47 | 28 | 0.0063045 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-14_0_5_load_46 | 30 | 0.0081758 | 0.0020491 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-14_0_5_load_99 | 33 | 0.0086531 | 0.0021687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-14_0_5_load_107 | 34 | 0.012769 | 0.0032001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-14_0_5_load_106 | 35 | 0.011951 | 0.0029953 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-14_0_5_load_98 | 38 | 0.0034243 | 0.0008582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-14_0_5_load_111 | 39 | 0.0044893 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-14_0_5_load_110 | 40 | 0.0041879 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-14_0_5_load_58 | 41 | 0.0047626 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-14_0_5_load_55 | 42 | 0.0073551 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-14_0_5_load_87 | 45 | 0.0022774 | 0.00057078 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-14_0_5_load_72 | 47 | 0.0045434 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-14_0_5_load_70 | 48 | 0.0066012 | 0.0016544 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-14_0_5_load_53 | 50 | 0.0028666 | 0.00071844 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6628-14_0_5_load_48 | 52 | 0.0030881 | 0.00077395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6628-14_0_5_load_91 | 53 | 0.0020806 | 0.00052144 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6628-14_0_5_load_96 | 57 | 0.010884 | 0.0027277 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6628-14_0_5_load_43 | 60 | 0.0050702 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6628-14_0_5_load_74 | 61 | 0.031752 | 0.0079578 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6628-14_0_5_load_97 | 62 | 0.0081136 | 0.0020335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6628-14_0_5_load_80 | 63 | 0.011081 | 0.0027772 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6628-14_0_5_load_60 | 64 | 0.0017084 | 0.00042816 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6628-14_0_5_load_65 | 65 | 0.0024804 | 0.00062165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6628-14_0_5_load_49 | 66 | 0.015885 | 0.0039813 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6628-14_0_5_load_50 | 67 | 0.017088 | 0.0042827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6628-14_0_5_load_54 | 68 | 0.0022761 | 0.00057045 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6628-14_0_5_load_94 | 69 | 0.0013735 | 0.00034423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6628-14_0_5_load_100 | 70 | 0.0012066 | 0.0003024 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6628-14_0_5_load_71 | 71 | 0.0012835 | 0.00032167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6628-14_0_5_load_85 | 72 | 0.0013451 | 0.00033711 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6628-14_0_5_load_77 | 73 | 0.016786 | 0.0042069 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6628-14_0_5_load_52 | 74 | 0.0028965 | 0.00072594 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6628-14_0_5_load_101 | 75 | 0.007174 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6628-14_0_5_load_63 | 76 | 0.0017246 | 0.00043223 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6628-14_0_5_load_82 | 77 | 0.0014998 | 0.0003759 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6628-14_0_5_load_38 | 79 | 0.0046296 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6628-14_0_5_load_44 | 80 | 0.0054738 | 0.0013719 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6628-14_0_5_load_39 | 81 | 0.0018728 | 0.00046937 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6628-14_0_5_load_69 | 84 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6628-14_0_5_load_67 | 85 | 0.0031687 | 0.00079416 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6628-14_0_5_load_45 | 86 | 0.0021053 | 0.00052764 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6628-14_0_5_load_64 | 87 | 0.0027341 | 0.00068523 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6628-14_0_5_load_51 | 88 | 0.025438 | 0.0063754 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6628-14_0_5_load_109 | 90 | 0.0065091 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6628-14_0_5_load_103 | 91 | 0.0063085 | 0.0015811 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6628-14_0_5_load_102 | 92 | 0.0062411 | 0.0015642 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6628-14_0_5_load_73 | 93 | 0.0015314 | 0.00038381 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6628-14_0_5_load_90 | 94 | 0.0026997 | 0.0006766 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6628-14_0_5_load_86 | 95 | 0.0017264 | 0.00043267 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6628-14_0_5_load_88 | 96 | 0.0056288 | 0.0014107 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6628-14_0_5_load_89 | 97 | 0.0014235 | 0.00035677 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6628-14_0_5_load_75 | 98 | 0.0022651 | 0.00056768 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6628-14_0_5_load_76 | 99 | 0.0044065 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6628-14_0_5_load_83 | 100 | 0.0021306 | 0.00053399 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6628-14_0_5_load_84 | 101 | 0.0013022 | 0.00032637 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-14_0_5_line_0 |  | 0 | 1 | 0.029242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6628-14_0_5_line_1 |  | 0 | 2 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6628-14_0_5_line_2 |  | 1 | 3 | 0.010396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6628-14_0_5_line_3 |  | 2 | 4 | 0.02402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6628-14_0_5_line_4 |  | 2 | 5 | 0.040462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6628-14_0_5_line_5 |  | 3 | 6 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6628-14_0_5_line_6 |  | 4 | 7 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-14_0_5_line_7 |  | 5 | 41 | 0.0067862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6628-14_0_5_line_8 |  | 5 | 42 | 0.0058135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6628-14_0_5_line_9 |  | 6 | 61 | 0.0088875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-14_0_5_line_10 |  | 7 | 8 | 0.0068243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6628-14_0_5_line_11 |  | 8 | 62 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-14_0_5_line_12 |  | 9 | 10 | 0.043731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6628-14_0_5_line_13 |  | 9 | 11 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-14_0_5_line_14 |  | 9 | 12 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6628-14_0_5_line_15 |  | 10 | 25 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-14_0_5_line_16 |  | 10 | 26 | 0.020666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6628-14_0_5_line_17 |  | 11 | 53 | 0.022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-14_0_5_line_18 |  | 12 | 63 | 0.0092219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-14_0_5_line_19 |  | 13 | 14 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-14_0_5_line_20 |  | 13 | 15 | 0.058241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-14_0_5_line_21 |  | 13 | 16 | 0.011205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-14_0_5_line_22 |  | 14 | 45 | 0.0067469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-14_0_5_line_23 |  | 15 | 23 | 0.033359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-14_0_5_line_24 |  | 16 | 64 | 0.0095175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-14_0_5_line_25 |  | 17 | 18 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6628-14_0_5_line_26 |  | 17 | 19 | 0.013285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-14_0_5_line_27 |  | 18 | 64 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-14_0_5_line_28 |  | 19 | 65 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-14_0_5_line_29 |  | 20 | 21 | 0.002245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-14_0_5_line_30 |  | 20 | 22 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-14_0_5_line_31 |  | 21 | 24 | 0.011903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-14_0_5_line_32 |  | 22 | 68 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-14_0_5_line_33 |  | 24 | 69 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-14_0_5_line_34 |  | 25 | 43 | 0.028886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6628-14_0_5_line_35 |  | 26 | 41 | 0.01068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6628-14_0_5_line_36 |  | 27 | 28 | 0.0070763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6628-14_0_5_line_37 |  | 27 | 29 | 0.03243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-14_0_5_line_38 |  | 27 | 30 | 0.024408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6628-14_0_5_line_39 |  | 29 | 39 | 0.0027199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6628-14_0_5_line_40 |  | 29 | 40 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-14_0_5_line_41 |  | 30 | 37 | 0.0011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-14_0_5_line_42 |  | 31 | 32 | 0.005219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-14_0_5_line_43 |  | 31 | 33 | 0.014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6628-14_0_5_line_44 |  | 32 | 34 | 0.041181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6628-14_0_5_line_45 |  | 32 | 35 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6628-14_0_5_line_46 |  | 33 | 70 | 0.014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6628-14_0_5_line_47 |  | 35 | 44 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6628-14_0_5_line_48 |  | 36 | 37 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6628-14_0_5_line_49 |  | 36 | 38 | 0.028372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6628-14_0_5_line_50 |  | 37 | 52 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6628-14_0_5_line_51 |  | 40 | 47 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6628-14_0_5_line_52 |  | 42 | 55 | 0.0058047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6628-14_0_5_line_53 |  | 43 | 44 | 0.007893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6628-14_0_5_line_54 |  | 45 | 72 | 0.00090957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6628-14_0_5_line_55 |  | 46 | 47 | 0.022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6628-14_0_5_line_56 |  | 46 | 48 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6628-14_0_5_line_57 |  | 48 | 71 | 0.0047823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6628-14_0_5_line_58 |  | 49 | 50 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6628-14_0_5_line_59 |  | 49 | 51 | 0.03424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6628-14_0_5_line_60 |  | 50 | 74 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6628-14_0_5_line_61 |  | 51 | 75 | 0.0092287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6628-14_0_5_line_62 |  | 51 | 55 | 0.083267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6628-14_0_5_line_63 |  | 52 | 76 | 0.0081618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6628-14_0_5_line_64 |  | 53 | 77 | 0.023918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6628-14_0_5_line_65 |  | 54 | 55 | 0.008643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6628-14_0_5_line_66 |  | 54 | 56 | 0.090282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6628-14_0_5_line_67 |  | 54 | 57 | 0.044887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6628-14_0_5_line_68 |  | 56 | 73 | 0.028181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6628-14_0_5_line_69 |  | 58 | 59 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6628-14_0_5_line_70 |  | 58 | 60 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6628-14_0_5_line_71 |  | 59 | 78 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6628-14_0_5_line_72 |  | 59 | 79 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6628-14_0_5_line_73 |  | 60 | 80 | 0.0032589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6628-14_0_5_line_74 |  | 61 | 93 | 0.02301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6628-14_0_5_line_75 |  | 65 | 86 | 0.0025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6628-14_0_5_line_76 |  | 66 | 67 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6628-14_0_5_line_77 |  | 67 | 88 | 0.0016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6628-14_0_5_line_78 |  | 68 | 88 | 0.00073899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6628-14_0_5_line_79 |  | 69 | 99 | 0.0089422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6628-14_0_5_line_80 |  | 72 | 100 | 0.0086313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6628-14_0_5_line_81 |  | 75 | 92 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6628-14_0_5_line_82 |  | 76 | 87 | 0.010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6628-14_0_5_line_83 |  | 77 | 78 | 0.008997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6628-14_0_5_line_84 |  | 79 | 81 | 0.0017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6628-14_0_5_line_85 |  | 80 | 86 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6628-14_0_5_line_86 |  | 81 | 82 | 0.0092953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6628-14_0_5_line_87 |  | 82 | 83 | 0.027697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6628-14_0_5_line_88 |  | 83 | 84 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6628-14_0_5_line_89 |  | 83 | 85 | 0.0084792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6628-14_0_5_line_90 |  | 84 | 96 | 0.0010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6628-14_0_5_line_91 |  | 87 | 94 | 4.8266e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6628-14_0_5_line_92 |  | 89 | 90 | 0.001219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6628-14_0_5_line_93 |  | 89 | 91 | 0.0099072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6628-14_0_5_line_94 |  | 91 | 92 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6628-14_0_5_line_95 |  | 93 | 98 | 0.0075197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6628-14_0_5_line_96 |  | 94 | 95 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6628-14_0_5_line_97 |  | 95 | 101 | 0.0022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6628-14_0_5_line_98 |  | 96 | 97 | 0.00032801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6628-14_0_5_line_99 |  | 98 | 99 | 0.0032634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6628-14_0_5_line_100 |  | 100 | 101 | 0.0066379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-14_0_5_trafo_81 | 0.63 MVA 20/0.4 kV | 102 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2498268.0261 | 1115343.9612 | 2498282.5074 | 1115364.373 | 2498284.9531 | 1115367.8062
1 | 2498262.6866 | 1115331.5187 | 2498264.3992 | 1115337.8384 | 2498267.0191 | 1115342.5418 | 2498268.0261 | 1115343.9612
2 | 2498284.9531 | 1115367.8062 | 2498290.7253 | 1115375.9089 | 2498291.0107 | 1115376.2535
3 | 2498262.6866 | 1115331.5187 | 2498264.8778 | 1115323.588 | 2498268.4633 | 1115308.2085
4 | 2498238.084 | 1115327.9746 | 2498239.5582 | 1115328.3834 | 2498241.0091 | 1115328.7814 | 2498242.9333 | 1115329.3161 | 2498244.8653 | 1115329.8506 | 2498246.3084 | 1115330.2488 | 2498247.7593 | 1115330.6469 | 2498249.2101 | 1115331.045 | 2498253.7486 | 1115336.8613 | 2498258.1443 | 1115342.0017 | 2498259.5244 | 1115343.7018 | 2498260.8737 | 1115338.0645 | 2498262.6866 | 1115331.5187
5 | 2498291.0107 | 1115376.2535 | 2498297.9696 | 1115384.6593 | 2498299.603 | 1115386.6205
6 | 2498270.2911 | 1115295.1013 | 2498269.8768 | 1115302.146 | 2498268.4633 | 1115308.2085
7 | 2498238.084 | 1115327.9746 | 2498236.2796 | 1115334.5165
8 | 2498238.084 | 1115327.9746 | 2498238.5137 | 1115326.433 | 2498239.6896 | 1115322.3873
9 | 2498305.2906 | 1115393.4497 | 2498299.603 | 1115386.6205
10 | 2498270.2911 | 1115295.1013 | 2498271.5846 | 1115288.4007
11 | 2498271.5846 | 1115288.4007 | 2498275.1619 | 1115269.869
12 | 2498248.3082 | 1115387.607 | 2498246.4941 | 1115387.1928 | 2498240.1989 | 1115385.7421 | 2498235.4001 | 1115384.6443 | 2498233.9349 | 1115384.3132 | 2498232.4697 | 1115383.9821 | 2498230.9967 | 1115383.64 | 2498229.0431 | 1115383.1948 | 2498227.0894 | 1115382.7496 | 2498225.6243 | 1115382.4184 | 2498223.0116 | 1115381.8175 | 2498227.9447 | 1115364.7349
13 | 2498248.3082 | 1115387.607 | 2498242.4728 | 1115408.4405
14 | 2498248.3082 | 1115387.607 | 2498268.7671 | 1115392.2599
15 | 2498227.9447 | 1115364.7349 | 2498224.2448 | 1115363.7743 | 2498217.984 | 1115362.1572
16 | 2498227.9447 | 1115364.7349 | 2498233.4398 | 1115344.8124
17 | 2498242.4728 | 1115408.4405 | 2498249.2758 | 1115410.2383 | 2498256.959 | 1115412.0214 | 2498263.9076 | 1115413.6764
18 | 2498277.7593 | 1115394.305 | 2498268.7671 | 1115392.2599
19 | 2498302.0434 | 1115523.1449 | 2498310.3614 | 1115527.33 | 2498314.0242 | 1115526.5458
20 | 2498314.0242 | 1115526.5458 | 2498320.0152 | 1115531.5038 | 2498325.6305 | 1115536.1568 | 2498330.8679 | 1115523.383 | 2498335.6935 | 1115512.7619 | 2498339.3545 | 1115511.4107 | 2498352.7326 | 1115514.7881
21 | 2498314.0242 | 1115526.5458 | 2498317.4394 | 1115523.442 | 2498320.4121 | 1115517.5602
22 | 2498302.0434 | 1115523.1449 | 2498295.9944 | 1115520.1567
23 | 2498352.7326 | 1115514.7881 | 2498358.081 | 1115493.4515 | 2498369.139 | 1115496.0623
24 | 2498324.6191 | 1115509.0241 | 2498323.2541 | 1115511.937 | 2498320.4121 | 1115517.5602
25 | 2498334.9437 | 1115486.9916 | 2498329.1726 | 1115499.307
26 | 2498334.9437 | 1115486.9916 | 2498327.2751 | 1115476.1428
27 | 2498324.6191 | 1115509.0241 | 2498329.1726 | 1115499.307
28 | 2498318.807 | 1115464.1631 | 2498327.2751 | 1115476.1428
29 | 2498352.2096 | 1115444.6082 | 2498350.8965 | 1115446.4314
30 | 2498352.2096 | 1115444.6082 | 2498360.4315 | 1115425.5663
31 | 2498350.8965 | 1115446.4314 | 2498348.1211 | 1115444.877 | 2498342.5394 | 1115438.175
32 | 2498360.4315 | 1115425.5663 | 2498366.211 | 1115412.1812
33 | 2498332.6393 | 1115426.2878 | 2498342.5394 | 1115438.175
34 | 2498190.0156 | 1115354.9333 | 2498217.984 | 1115362.1572
35 | 2498236.2796 | 1115334.5165 | 2498233.4398 | 1115344.8124
36 | 2498230.1075 | 1115472.6222 | 2498231.5079 | 1115465.6858
37 | 2498202.1307 | 1115459.8958 | 2498206.9061 | 1115460.9828 | 2498208.8531 | 1115461.4948 | 2498210.8001 | 1115462.0069 | 2498212.9559 | 1115462.5376 | 2498212.5145 | 1115464.3017 | 2498219.8351 | 1115467.4917 | 2498230.1075 | 1115472.6222
38 | 2498230.1075 | 1115472.6222 | 2498230.2867 | 1115480.0572 | 2498228.6612 | 1115485.3435 | 2498229.3161 | 1115487.0891 | 2498237.8537 | 1115491.4264
39 | 2498202.1307 | 1115459.8958 | 2498201.0252 | 1115462.3809
40 | 2498202.1307 | 1115459.8958 | 2498204.43 | 1115454.7316 | 2498206.6694 | 1115445.9638
41 | 2498238.9124 | 1115491.9642 | 2498237.8537 | 1115491.4264
42 | 2498171.3244 | 1115319.9367 | 2498173.8035 | 1115324.5313
43 | 2498171.3244 | 1115319.9367 | 2498164.543 | 1115307.3527
44 | 2498200.1941 | 1115338.4072 | 2498196.0874 | 1115329.3372 | 2498190.7937 | 1115319.0309 | 2498189.2349 | 1115317.2671 | 2498187.2711 | 1115317.1334 | 2498173.8035 | 1115324.5313
45 | 2498173.8035 | 1115324.5313 | 2498180.6294 | 1115336.839
46 | 2498164.543 | 1115307.3527 | 2498157.6465 | 1115294.5547
47 | 2498186.706 | 1115347.7956 | 2498180.6294 | 1115336.839
48 | 2498225.1268 | 1115511.6528 | 2498227.2693 | 1115506.8026 | 2498229.5461 | 1115501.6722 | 2498230.2603 | 1115500.0592 | 2498231.0041 | 1115498.3678 | 2498231.9117 | 1115496.318 | 2498236.1897 | 1115498.1361 | 2498237.3264 | 1115495.4708 | 2498238.9124 | 1115491.9642
49 | 2498225.1268 | 1115511.6528 | 2498227.4494 | 1115512.4587 | 2498237.271 | 1115516.9631 | 2498250.9142 | 1115523.4539
50 | 2498238.9124 | 1115491.9642 | 2498242.0583 | 1115493.5122 | 2498251.9994 | 1115498.4231
51 | 2498206.6694 | 1115445.9638 | 2498210.6877 | 1115430.2309
52 | 2498241.3097 | 1115316.8133 | 2498239.6896 | 1115322.3873
53 | 2498190.0156 | 1115354.9333 | 2498188.8722 | 1115351.6949 | 2498186.706 | 1115347.7956
54 | 2498295.1789 | 1115519.7538 | 2498295.9944 | 1115520.1567
55 | 2498216.2398 | 1115408.4927 | 2498210.6877 | 1115430.2309
56 | 2498216.2398 | 1115408.4927 | 2498204.4282 | 1115402.6652
57 | 2498204.4282 | 1115402.6652 | 2498200.1395 | 1115400.5493
58 | 2498209.5166 | 1115243.0235 | 2498195.9708 | 1115249.646
59 | 2498196.8143 | 1115264.6953 | 2498212.1125 | 1115257.3111 | 2498215.0313 | 1115255.9056 | 2498209.5166 | 1115243.0235
60 | 2498195.9708 | 1115249.646 | 2498179.2083 | 1115257.841
61 | 2498196.8143 | 1115264.6953 | 2498200.8293 | 1115273.0048
62 | 2498196.8143 | 1115264.6953 | 2498212.1125 | 1115257.3111 | 2498241.3097 | 1115316.8133
63 | 2498251.9994 | 1115498.4231 | 2498259.317 | 1115502.038
64 | 2498287.1752 | 1115419.2181 | 2498263.9076 | 1115413.6764
65 | 2498241.3097 | 1115316.8133 | 2498243.6798 | 1115308.5015
66 | 2498260.9947 | 1115219.9101 | 2498256.394 | 1115243.9137 | 2498249.6647 | 1115279.5604 | 2498243.6798 | 1115308.5015
67 | 2498243.6798 | 1115308.5015 | 2498241.3791 | 1115304.8712 | 2498233.7211 | 1115286.6885 | 2498229.6773 | 1115276.3055 | 2498225.6045 | 1115267.483
68 | 2498260.9947 | 1115219.9101 | 2498252.0282 | 1115216.681 | 2498233.5218 | 1115218.9998
69 | 2498295.2782 | 1115431.7342 | 2498295.7704 | 1115433.4493 | 2498302.0905 | 1115440.5142
70 | 2498302.0905 | 1115440.5142 | 2498309.0066 | 1115450.2985
71 | 2498295.9523 | 1115421.3052 | 2498294.639 | 1115429.5436 | 2498295.2782 | 1115431.7342
72 | 2498295.2782 | 1115431.7342 | 2498283.9578 | 1115439.5946
73 | 2498309.0066 | 1115450.2985 | 2498310.8877 | 1115452.9597
74 | 2498320.0159 | 1115411.1306 | 2498305.2906 | 1115393.4497
75 | 2498318.807 | 1115464.1631 | 2498317.3436 | 1115462.0928
76 | 2498376.5779 | 1115397.6475 | 2498372.5579 | 1115405.9532 | 2498367.7285 | 1115410.3802
77 | 2498366.5039 | 1115411.5028 | 2498367.7285 | 1115410.3802
78 | 2498366.5039 | 1115411.5028 | 2498366.5039 | 1115411.5028 | 2498366.211 | 1115412.1812
79 | 2498332.6393 | 1115426.2878 | 2498326.9166 | 1115419.4165
80 | 2498287.4404 | 1115515.931 | 2498295.1789 | 1115519.7538
81 | 2498200.8293 | 1115273.0048 | 2498207.0915 | 1115285.9651
82 | 2498268.4414 | 1115506.5455 | 2498259.317 | 1115502.038
83 | 2498295.9523 | 1115421.3052 | 2498287.1752 | 1115419.2181
84 | 2498283.9578 | 1115439.5946 | 2498282.5608 | 1115440.5646
85 | 2498317.3436 | 1115462.0928 | 2498310.8877 | 1115452.9597
86 | 2498276.4731 | 1115433.5403 | 2498282.5608 | 1115440.5646
87 | 2498276.4731 | 1115433.5403 | 2498269.522 | 1115439.005 | 2498255.1166 | 1115451.2438
88 | 2498255.1166 | 1115451.2438 | 2498268.3213 | 1115466.7983 | 2498268.3213 | 1115466.7983
89 | 2498255.1166 | 1115451.2438 | 2498249.6475 | 1115444.7642
90 | 2498267.5525 | 1115467.5225 | 2498268.3213 | 1115466.7983
91 | 2498268.4414 | 1115506.5455 | 2498268.4847 | 1115506.5669
92 | 2498218.3774 | 1115306.5146 | 2498217.2821 | 1115307.0556
93 | 2498217.2821 | 1115307.0556 | 2498212.9719 | 1115298.1351
94 | 2498212.9719 | 1115298.1351 | 2498207.0915 | 1115285.9651
95 | 2498320.0159 | 1115411.1306 | 2498324.8282 | 1115416.9088
96 | 2498279.4808 | 1115511.999 | 2498268.4847 | 1115506.5669
97 | 2498279.4808 | 1115511.999 | 2498281.489 | 1115512.991
98 | 2498267.3137 | 1115467.7474 | 2498267.5525 | 1115467.5225
99 | 2498324.8282 | 1115416.9088 | 2498326.9166 | 1115419.4165
100 | 2498287.4404 | 1115515.931 | 2498281.489 | 1115512.991

## bus_geodata
| x | y | coords
0 | 2498268.0261 | 1115343.9612
1 | 2498284.9531 | 1115367.8062
2 | 2498262.6866 | 1115331.5187
3 | 2498291.0107 | 1115376.2535
4 | 2498268.4633 | 1115308.2085
5 | 2498238.084 | 1115327.9746
6 | 2498299.603 | 1115386.6205
7 | 2498270.2911 | 1115295.1013
8 | 2498271.5846 | 1115288.4007
9 | 2498248.3082 | 1115387.607
10 | 2498227.9447 | 1115364.7349
11 | 2498242.4728 | 1115408.4405
12 | 2498268.7671 | 1115392.2599
13 | 2498314.0242 | 1115526.5458
14 | 2498302.0434 | 1115523.1449
15 | 2498352.7326 | 1115514.7881
16 | 2498320.4121 | 1115517.5602
17 | 2498334.9437 | 1115486.9916
18 | 2498329.1726 | 1115499.307
19 | 2498327.2751 | 1115476.1428
20 | 2498352.2096 | 1115444.6082
21 | 2498350.8965 | 1115446.4314
22 | 2498360.4315 | 1115425.5663
23 | 2498369.139 | 1115496.0623
24 | 2498342.5394 | 1115438.175
25 | 2498217.984 | 1115362.1572
26 | 2498233.4398 | 1115344.8124
27 | 2498230.1075 | 1115472.6222
28 | 2498231.5079 | 1115465.6858
29 | 2498202.1307 | 1115459.8958
30 | 2498237.8537 | 1115491.4264
31 | 2498171.3244 | 1115319.9367
32 | 2498173.8035 | 1115324.5313
33 | 2498164.543 | 1115307.3527
34 | 2498200.1941 | 1115338.4072
35 | 2498180.6294 | 1115336.839
36 | 2498225.1268 | 1115511.6528
37 | 2498238.9124 | 1115491.9642
38 | 2498250.9142 | 1115523.4539
39 | 2498201.0252 | 1115462.3809
40 | 2498206.6694 | 1115445.9638
41 | 2498236.2796 | 1115334.5165
42 | 2498239.6896 | 1115322.3873
43 | 2498190.0156 | 1115354.9333
44 | 2498186.706 | 1115347.7956
45 | 2498295.9944 | 1115520.1567
46 | 2498216.2398 | 1115408.4927
47 | 2498210.6877 | 1115430.2309
48 | 2498204.4282 | 1115402.6652
49 | 2498209.5166 | 1115243.0235
50 | 2498195.9708 | 1115249.646
51 | 2498196.8143 | 1115264.6953
52 | 2498251.9994 | 1115498.4231
53 | 2498263.9076 | 1115413.6764
54 | 2498243.6798 | 1115308.5015
55 | 2498241.3097 | 1115316.8133
56 | 2498260.9947 | 1115219.9101
57 | 2498225.6045 | 1115267.483
58 | 2498302.0905 | 1115440.5142
59 | 2498295.2782 | 1115431.7342
60 | 2498309.0066 | 1115450.2985
61 | 2498305.2906 | 1115393.4497
62 | 2498275.1619 | 1115269.869
63 | 2498277.7593 | 1115394.305
64 | 2498324.6191 | 1115509.0241
65 | 2498318.807 | 1115464.1631
66 | 2498376.5779 | 1115397.6475
67 | 2498367.7285 | 1115410.3802
68 | 2498366.211 | 1115412.1812
69 | 2498332.6393 | 1115426.2878
70 | 2498157.6465 | 1115294.5547
71 | 2498200.1395 | 1115400.5493
72 | 2498295.1789 | 1115519.7538
73 | 2498233.5218 | 1115218.9998
74 | 2498179.2083 | 1115257.841
75 | 2498200.8293 | 1115273.0048
76 | 2498259.317 | 1115502.038
77 | 2498287.1752 | 1115419.2181
78 | 2498295.9523 | 1115421.3052
79 | 2498283.9578 | 1115439.5946
80 | 2498310.8877 | 1115452.9597
81 | 2498282.5608 | 1115440.5646
82 | 2498276.4731 | 1115433.5403
83 | 2498255.1166 | 1115451.2438
84 | 2498268.3213 | 1115466.7983
85 | 2498249.6475 | 1115444.7642
86 | 2498317.3436 | 1115462.0928
87 | 2498268.4414 | 1115506.5455
88 | 2498366.5039 | 1115411.5028
89 | 2498217.2821 | 1115307.0556
90 | 2498218.3774 | 1115306.5146
91 | 2498212.9719 | 1115298.1351
92 | 2498207.0915 | 1115285.9651
93 | 2498320.0159 | 1115411.1306
94 | 2498268.4847 | 1115506.5669
95 | 2498279.4808 | 1115511.999
96 | 2498267.5525 | 1115467.5225
97 | 2498267.3137 | 1115467.7474
98 | 2498324.8282 | 1115416.9088
99 | 2498326.9166 | 1115419.4165
100 | 2498287.4404 | 1115515.931
101 | 2498281.489 | 1115512.991
102 | 2498248.3082 | 1115387.607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1