## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6628-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6628-24_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6628-24_0_4_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_6628-24_0_4_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_6628-24_0_4_node_99 | 0.4 | n |  | TRUE
9 | bus_LV_6628-24_0_4_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_6628-24_0_4_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_6628-24_0_4_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_6628-24_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_6628-24_0_4_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_6628-24_0_4_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_6628-24_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_6628-24_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6628-24_0_4_node_107 | 0.4 | n |  | TRUE
18 | bus_LV_6628-24_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6628-24_0_4_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_6628-24_0_4_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_6628-24_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6628-24_0_4_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_6628-24_0_4_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_6628-24_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_6628-24_0_4_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_6628-24_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6628-24_0_4_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_6628-24_0_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_6628-24_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6628-24_0_4_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_6628-24_0_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_6628-24_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6628-24_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6628-24_0_4_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_6628-24_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6628-24_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6628-24_0_4_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_6628-24_0_4_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_6628-24_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_6628-24_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6628-24_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_6628-24_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_6628-24_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6628-24_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6628-24_0_4_node_11 | 0.4 | n |  | TRUE
46 | bus_LV_6628-24_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_6628-24_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_6628-24_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_6628-24_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6628-24_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6628-24_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6628-24_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6628-24_0_4_node_5 | 0.4 | n |  | TRUE
54 | bus_LV_6628-24_0_4_node_7 | 0.4 | n |  | TRUE
55 | bus_LV_6628-24_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6628-24_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_6628-24_0_4_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_6628-24_0_4_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_6628-24_0_4_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_6628-24_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_6628-24_0_4_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_6628-24_0_4_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_6628-24_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6628-24_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_6628-24_0_4_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_6628-24_0_4_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_6628-24_0_4_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_6628-24_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6628-24_0_4_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_6628-24_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6628-24_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6628-24_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_6628-24_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6628-24_0_4_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_6628-24_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_6628-24_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_6628-24_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_6628-24_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_6628-24_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_6628-24_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_6628-24_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_6628-24_0_4_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_6628-24_0_4_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_6628-24_0_4_node_38 | 0.4 | n |  | TRUE
85 | bus_LV_6628-24_0_4_node_43 | 0.4 | n |  | TRUE
86 | bus_LV_6628-24_0_4_node_36 | 0.4 | n |  | TRUE
87 | bus_LV_6628-24_0_4_node_37 | 0.4 | n |  | TRUE
88 | bus_LV_6628-24_0_4_node_39 | 0.4 | n |  | TRUE
89 | bus_LV_6628-24_0_4_node_48 | 0.4 | n |  | TRUE
90 | bus_LV_6628-24_0_4_node_49 | 0.4 | n |  | TRUE
91 | bus_LV_6628-24_0_4_node_46 | 0.4 | n |  | TRUE
92 | bus_LV_6628-24_0_4_node_47 | 0.4 | n |  | TRUE
93 | bus_LV_6628-24_0_4_node_50 | 0.4 | n |  | TRUE
94 | bus_LV_6628-24_0_4_node_51 | 0.4 | n |  | TRUE
95 | bus_LV_6628-24_0_4_node_58 | 0.4 | n |  | TRUE
96 | bus_LV_6628-24_0_4_node_60 | 0.4 | n |  | TRUE
97 | bus_LV_6628-24_0_4_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_6628-24_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_6628-24_0_4_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_6628-24_0_4_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_6628-24_0_4_node_103 | 0.4 | n |  | TRUE
102 | bus_MV_664_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-24_0_4_load_0 | 0 | 0.0034236 | 0.00085803 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-24_0_4_load_1 | 1 | 0.020201 | 0.0050629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-24_0_4_load_2 | 2 | 0.0030582 | 0.00076645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-24_0_4_load_4 | 4 | 0.0093204 | 0.0023359 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-24_0_4_load_68 | 6 | 0.0038756 | 0.00097131 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-24_0_4_load_99 | 8 | 0.0068408 | 0.0017145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-24_0_4_load_59 | 9 | 0.0068713 | 0.0017221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-24_0_4_load_97 | 11 | 0.012254 | 0.0030712 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-24_0_4_load_111 | 13 | 0.0029018 | 0.00072727 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-24_0_4_load_107 | 17 | 0.0054906 | 0.0013761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-24_0_4_load_92 | 20 | 0.0066603 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-24_0_4_load_104 | 22 | 0.002372 | 0.00059447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-24_0_4_load_108 | 23 | 0.0056243 | 0.0014096 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-24_0_4_load_76 | 25 | 0.0023071 | 0.00057822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-24_0_4_load_85 | 27 | 0.0030603 | 0.00076699 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-24_0_4_load_87 | 28 | 0.0048271 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-24_0_4_load_90 | 30 | 0.0084485 | 0.0021174 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-24_0_4_load_86 | 31 | 0.0076181 | 0.0019093 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-24_0_4_load_110 | 34 | 0.007636 | 0.0019138 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-24_0_4_load_105 | 37 | 0.0038368 | 0.00096158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-24_0_4_load_106 | 38 | 0.0060582 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-24_0_4_load_67 | 39 | 0.0034108 | 0.00085484 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-24_0_4_load_75 | 41 | 0.0047943 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-24_0_4_load_74 | 42 | 0.0062065 | 0.0015555 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-24_0_4_load_45 | 46 | 0.00074848 | 0.00018759 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-24_0_4_load_55 | 47 | 0.00073813 | 0.00018499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-24_0_4_load_54 | 48 | 0.0063072 | 0.0015807 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-24_0_4_load_42 | 49 | 0.0043103 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-24_0_4_load_40 | 51 | 0.0025538 | 0.00064003 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6628-24_0_4_load_41 | 52 | 0.0057541 | 0.0014421 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6628-24_0_4_load_5 | 53 | 0.0063156 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6628-24_0_4_load_98 | 58 | 0.0026791 | 0.00067145 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6628-24_0_4_load_77 | 60 | 0.0098343 | 0.0024647 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6628-24_0_4_load_109 | 61 | 0.0056226 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6628-24_0_4_load_44 | 63 | 0.00092166 | 0.00023099 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6628-24_0_4_load_56 | 64 | 0.00074277 | 0.00018616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6628-24_0_4_load_88 | 65 | 0.0019854 | 0.00049758 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6628-24_0_4_load_102 | 66 | 0.0089846 | 0.0022517 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6628-24_0_4_load_89 | 67 | 0.0020395 | 0.00051113 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6628-24_0_4_load_93 | 69 | 0.01225 | 0.0030702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6628-24_0_4_load_71 | 71 | 0.001602 | 0.00040151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6628-24_0_4_load_69 | 72 | 0.0072643 | 0.0018206 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6628-24_0_4_load_66 | 73 | 0.0056558 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6628-24_0_4_load_80 | 74 | 0.044636 | 0.011187 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6628-24_0_4_load_84 | 75 | 0.023761 | 0.0059552 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6628-24_0_4_load_52 | 76 | 0.0015641 | 0.00039201 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6628-24_0_4_load_64 | 77 | 0.0060444 | 0.0015149 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6628-24_0_4_load_73 | 79 | 0.00076558 | 0.00019187 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6628-24_0_4_load_57 | 80 | 0.00084082 | 0.00021073 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6628-24_0_4_load_72 | 81 | 0.0017466 | 0.00043775 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6628-24_0_4_load_53 | 82 | 0.00087264 | 0.0002187 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6628-24_0_4_load_63 | 83 | 0.0039543 | 0.00099105 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6628-24_0_4_load_38 | 84 | 0.0020313 | 0.00050909 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6628-24_0_4_load_43 | 85 | 0.0022058 | 0.00055284 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6628-24_0_4_load_36 | 86 | 0.00086399 | 0.00021654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6628-24_0_4_load_37 | 87 | 0.0017122 | 0.00042912 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6628-24_0_4_load_39 | 88 | 0.0014948 | 0.00037462 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6628-24_0_4_load_48 | 89 | 0.00084891 | 0.00021276 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6628-24_0_4_load_49 | 90 | 0.001247 | 0.00031254 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6628-24_0_4_load_46 | 91 | 0.00095039 | 0.00023819 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6628-24_0_4_load_47 | 92 | 0.0014349 | 0.00035962 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6628-24_0_4_load_50 | 93 | 0.0027007 | 0.00067685 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6628-24_0_4_load_51 | 94 | 0.0014444 | 0.00036201 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6628-24_0_4_load_58 | 95 | 0.0060405 | 0.0015139 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6628-24_0_4_load_91 | 97 | 0.0085778 | 0.0021498 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6628-24_0_4_load_83 | 99 | 0.0039986 | 0.0010021 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6628-24_0_4_load_81 | 100 | 0.0022997 | 0.00057636 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6628-24_0_4_load_103 | 101 | 0.0088939 | 0.002229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-24_0_4_line_0 |  | 0 | 1 | 0.0046137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-24_0_4_line_1 |  | 0 | 2 | 0.0099138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6628-24_0_4_line_2 |  | 1 | 3 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-24_0_4_line_3 |  | 2 | 4 | 0.0057238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6628-24_0_4_line_4 |  | 3 | 5 | 0.049999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-24_0_4_line_5 |  | 4 | 6 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6628-24_0_4_line_6 |  | 5 | 10 | 0.05321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-24_0_4_line_7 |  | 5 | 11 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6628-24_0_4_line_8 |  | 6 | 43 | 0.0076586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6628-24_0_4_line_9 |  | 7 | 8 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-24_0_4_line_10 |  | 7 | 9 | 0.031695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6628-24_0_4_line_11 |  | 8 | 98 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-24_0_4_line_12 |  | 9 | 95 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6628-24_0_4_line_13 |  | 10 | 59 | 0.022325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-24_0_4_line_14 |  | 10 | 69 | 0.021199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6628-24_0_4_line_15 |  | 12 | 13 | 0.005135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-24_0_4_line_16 |  | 12 | 14 | 0.006108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6628-24_0_4_line_17 |  | 13 | 15 | 0.011136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-24_0_4_line_18 |  | 14 | 74 | 0.03104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-24_0_4_line_19 |  | 15 | 16 | 0.023638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-24_0_4_line_20 |  | 16 | 17 | 0.0097342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-24_0_4_line_21 |  | 18 | 19 | 0.027546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-24_0_4_line_22 |  | 18 | 20 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-24_0_4_line_23 |  | 19 | 59 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-24_0_4_line_24 |  | 19 | 60 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-24_0_4_line_25 |  | 20 | 55 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6628-24_0_4_line_26 |  | 21 | 22 | 0.03893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-24_0_4_line_27 |  | 21 | 23 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-24_0_4_line_28 |  | 22 | 62 | 0.037878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-24_0_4_line_29 |  | 23 | 61 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-24_0_4_line_30 |  | 24 | 25 | 0.040231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-24_0_4_line_31 |  | 24 | 26 | 0.06186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-24_0_4_line_32 |  | 24 | 27 | 0.007292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-24_0_4_line_33 |  | 25 | 40 | 0.053392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-24_0_4_line_34 |  | 26 | 28 | 0.030696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6628-24_0_4_line_35 |  | 28 | 65 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6628-24_0_4_line_36 |  | 29 | 30 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6628-24_0_4_line_37 |  | 29 | 31 | 0.020763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-24_0_4_line_38 |  | 30 | 66 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6628-24_0_4_line_39 |  | 32 | 33 | 0.005251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6628-24_0_4_line_40 |  | 32 | 34 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-24_0_4_line_41 |  | 33 | 44 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-24_0_4_line_42 |  | 33 | 48 | 0.0089601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-24_0_4_line_43 |  | 33 | 35 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6628-24_0_4_line_44 |  | 35 | 36 | 0.047254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6628-24_0_4_line_45 |  | 35 | 37 | 0.0028802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6628-24_0_4_line_46 |  | 36 | 38 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6628-24_0_4_line_47 |  | 36 | 39 | 0.030648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6628-24_0_4_line_48 |  | 37 | 75 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6628-24_0_4_line_49 |  | 39 | 78 | 0.0070938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6628-24_0_4_line_50 |  | 40 | 41 | 0.0079548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6628-24_0_4_line_51 |  | 40 | 42 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6628-24_0_4_line_52 |  | 41 | 83 | 0.02295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6628-24_0_4_line_53 |  | 42 | 43 | 0.019364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6628-24_0_4_line_54 |  | 43 | 44 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6628-24_0_4_line_55 |  | 44 | 49 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6628-24_0_4_line_56 |  | 45 | 46 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6628-24_0_4_line_57 |  | 45 | 47 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6628-24_0_4_line_58 |  | 46 | 63 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6628-24_0_4_line_59 |  | 47 | 64 | 0.0037849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6628-24_0_4_line_60 |  | 48 | 76 | 0.027689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6628-24_0_4_line_61 |  | 49 | 52 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6628-24_0_4_line_62 |  | 50 | 51 | 0.03213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6628-24_0_4_line_63 |  | 50 | 52 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6628-24_0_4_line_64 |  | 51 | 84 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6628-24_0_4_line_65 |  | 53 | 54 | 0.012107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6628-24_0_4_line_66 |  | 54 | 55 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6628-24_0_4_line_67 |  | 56 | 57 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6628-24_0_4_line_68 |  | 56 | 58 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6628-24_0_4_line_69 |  | 57 | 69 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6628-24_0_4_line_70 |  | 62 | 101 | 0.017554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6628-24_0_4_line_71 |  | 62 | 98 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6628-24_0_4_line_72 |  | 63 | 91 | 0.0096071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6628-24_0_4_line_73 |  | 64 | 80 | 0.0068781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6628-24_0_4_line_74 |  | 65 | 85 | 0.007415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6628-24_0_4_line_75 |  | 66 | 101 | 0.018643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6628-24_0_4_line_76 |  | 67 | 68 | 0.0027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6628-24_0_4_line_77 |  | 68 | 97 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6628-24_0_4_line_78 |  | 68 | 96 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6628-24_0_4_line_79 |  | 70 | 71 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6628-24_0_4_line_80 |  | 70 | 72 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6628-24_0_4_line_81 |  | 70 | 73 | 0.018761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6628-24_0_4_line_82 |  | 71 | 99 | 0.0042395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6628-24_0_4_line_83 |  | 73 | 78 | 0.007303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6628-24_0_4_line_84 |  | 74 | 100 | 0.025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6628-24_0_4_line_85 |  | 76 | 93 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6628-24_0_4_line_86 |  | 77 | 78 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6628-24_0_4_line_87 |  | 79 | 80 | 0.0024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6628-24_0_4_line_88 |  | 81 | 82 | 0.03827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6628-24_0_4_line_89 |  | 82 | 94 | 0.039565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6628-24_0_4_line_90 |  | 83 | 96 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6628-24_0_4_line_91 |  | 84 | 86 | 0.03242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6628-24_0_4_line_92 |  | 86 | 87 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6628-24_0_4_line_93 |  | 87 | 88 | 0.0066465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6628-24_0_4_line_94 |  | 88 | 89 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6628-24_0_4_line_95 |  | 89 | 90 | 0.00030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6628-24_0_4_line_96 |  | 90 | 92 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6628-24_0_4_line_97 |  | 91 | 92 | 0.022407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6628-24_0_4_line_98 |  | 93 | 94 | 0.043597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6628-24_0_4_line_99 |  | 95 | 96 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6628-24_0_4_line_100 |  | 99 | 100 | 0.0044809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-24_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 102 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2497929.2564 | 1116991.7112 | 2497925.8705 | 1116994.8452
1 | 2497929.2564 | 1116991.7112 | 2497932.5679 | 1116988.6461 | 2497937.1437 | 1116985.7758
2 | 2497917.054 | 1117005.3851 | 2497925.5817 | 1116995.1125 | 2497925.8705 | 1116994.8452
3 | 2497937.1437 | 1116985.7758 | 2497941.5293 | 1116983.0247 | 2497942.0251 | 1116982.7943
4 | 2497869.6595 | 1117001.8826 | 2497892.5899 | 1117006.4541 | 2497914.3468 | 1117009.2109 | 2497917.054 | 1117005.3851
5 | 2497942.0251 | 1116982.7943 | 2497949.6955 | 1116979.229 | 2497955.6195 | 1116977.5281 | 2497957.4233 | 1116977.3315
6 | 2497817.3921 | 1116991.9143 | 2497842.289 | 1116996.8081 | 2497869.6595 | 1117001.8826
7 | 2497869.6595 | 1117001.8826 | 2497867.2006 | 1117019.8687
8 | 2497965.0368 | 1116976.5019 | 2497957.4233 | 1116977.3315
9 | 2497886.2099 | 1116996.2331 | 2497880.7771 | 1116993.6453 | 2497871.5563 | 1116991.2017
10 | 2497886.2099 | 1116996.2331 | 2497893.443 | 1116965.3749
11 | 2497857.7419 | 1116990.1764 | 2497862.6943 | 1116989.926 | 2497870.1678 | 1116990.8337 | 2497871.5563 | 1116991.2017
12 | 2497896.5253 | 1116952.225 | 2497893.443 | 1116965.3749
13 | 2497795.3879 | 1116987.7833 | 2497817.3921 | 1116991.9143
14 | 2497817.3921 | 1116991.9143 | 2497814.5243 | 1117012.9188
15 | 2497920.3217 | 1117049.858 | 2497919.7515 | 1117054.9597
16 | 2497920.3217 | 1117049.858 | 2497921.0686 | 1117043.7971
17 | 2497908.6652 | 1117053.6126 | 2497919.7515 | 1117054.9597
18 | 2497921.0686 | 1117043.7971 | 2497929.2171 | 1117044.9048 | 2497932.1882 | 1117042.9979 | 2497951.3132 | 1117045.4871
19 | 2497908.6652 | 1117053.6126 | 2497885.1514 | 1117050.5964
20 | 2497885.1514 | 1117050.5964 | 2497875.4904 | 1117049.4048
21 | 2497743.509 | 1116978.4317 | 2497770.6846 | 1116983.3868
22 | 2497743.509 | 1116978.4317 | 2497741.8488 | 1116989.9164
23 | 2497770.6846 | 1116983.3868 | 2497795.3879 | 1116987.7833
24 | 2497770.6846 | 1116983.3868 | 2497767.5691 | 1117007.0589
25 | 2497739.7211 | 1117004.6345 | 2497741.8488 | 1116989.9164
26 | 2497755.8533 | 1116969.2395 | 2497759.3381 | 1116970.3147 | 2497764.368 | 1116973.7318 | 2497768.0229 | 1116975.738 | 2497771.8774 | 1116977.2183 | 2497777.4925 | 1116978.2574 | 2497785.5696 | 1116978.3321 | 2497792.6769 | 1116977.9764
27 | 2497755.8533 | 1116969.2395 | 2497758.7925 | 1116956.8771
28 | 2497829.0931 | 1116986.6801 | 2497825.3443 | 1116985.5093 | 2497810.7572 | 1116979.8632 | 2497803.5785 | 1116978.1278 | 2497797.9817 | 1116977.7109 | 2497792.6769 | 1116977.9764
29 | 2497758.7925 | 1116956.8771 | 2497762.1544 | 1116942.7359
30 | 2497915.3615 | 1116853.451 | 2497932.1592 | 1116890.0078
31 | 2497902.0854 | 1116801.998 | 2497900.3156 | 1116805.0965 | 2497916.3036 | 1116839.2817 | 2497921.8592 | 1116851.8848 | 2497918.7624 | 1116853.2157 | 2497915.3615 | 1116853.451
32 | 2497915.3615 | 1116853.451 | 2497911.0785 | 1116852.6561 | 2497908.2974 | 1116851.7157
33 | 2497954.4517 | 1116938.5231 | 2497932.1592 | 1116890.0078
34 | 2497902.0854 | 1116801.998 | 2497914.9367 | 1116829.8746
35 | 2497914.9367 | 1116829.8746 | 2497917.8417 | 1116836.176 | 2497922.814 | 1116846.9708
36 | 2497848.9409 | 1116914.3437 | 2497844.0385 | 1116934.6346
37 | 2497848.9409 | 1116914.3437 | 2497853.7779 | 1116894.1522
38 | 2497839.684 | 1116952.6582 | 2497844.0385 | 1116934.6346
39 | 2498000.5335 | 1116973.1236 | 2497995.3013 | 1116973.7232
40 | 2498000.5335 | 1116973.1236 | 2498004.0235 | 1116966.2715 | 2498017.297 | 1116942.1806
41 | 2497982.0441 | 1116975.0476 | 2497990.0998 | 1116974.3113 | 2497995.3013 | 1116973.7232
42 | 2497995.3013 | 1116973.7232 | 2497999.5947 | 1116965.8588
43 | 2497991.1032 | 1116984.8232 | 2497990.6149 | 1116979.6727 | 2497995.4163 | 1116979.1692 | 2497995.3013 | 1116973.7232
44 | 2498027.2479 | 1116991.029 | 2498027.8765 | 1116986.6379 | 2498028.5772 | 1116981.4895 | 2497991.1032 | 1116984.8232
45 | 2497991.1032 | 1116984.8232 | 2497988.2444 | 1116985.1734
46 | 2498027.2479 | 1116991.029 | 2498044.6178 | 1116993.3637
47 | 2498027.2479 | 1116991.029 | 2498023.1835 | 1117021.4059
48 | 2497988.2444 | 1116985.1734 | 2497963.3122 | 1116988.2273 | 2497960.2209 | 1116989.1642
49 | 2498022.2427 | 1117028.437 | 2498023.1835 | 1117021.4059
50 | 2497954.4517 | 1116938.5231 | 2497951.3193 | 1116938.6538 | 2497946.5785 | 1116937.7853
51 | 2497954.4517 | 1116938.5231 | 2497963.5687 | 1116959.124
52 | 2497924.2575 | 1116932.4535 | 2497945.929 | 1116937.6663 | 2497946.5785 | 1116937.7853
53 | 2497965.0368 | 1116976.5019 | 2497968.5467 | 1116970.3722 | 2497963.5687 | 1116959.124
54 | 2497965.0368 | 1116976.5019 | 2497976.6404 | 1116975.5501 | 2497982.0441 | 1116975.0476
55 | 2497982.0441 | 1116975.0476 | 2497971.4429 | 1116952.2177
56 | 2498048.3647 | 1116734.1666 | 2498040.9587 | 1116748.9245
57 | 2498048.3647 | 1116734.1666 | 2498063.3492 | 1116742.8109
58 | 2498033.4656 | 1116763.8559 | 2498040.9587 | 1116748.9245
59 | 2498066.6277 | 1116744.7022 | 2498063.3492 | 1116742.8109
60 | 2498012.8688 | 1116941.5595 | 2498008.7296 | 1116949.1258 | 2497999.5947 | 1116965.8588
61 | 2497961.0005 | 1116929.7298 | 2497971.4429 | 1116952.2177
62 | 2497955.8213 | 1116918.5763 | 2497970.2327 | 1116889.8591
63 | 2497955.8213 | 1116918.5763 | 2497961.0005 | 1116929.7298
64 | 2497970.2327 | 1116889.8591 | 2497977.3073 | 1116875.7617
65 | 2497737.7851 | 1117018.4426 | 2497725.7734 | 1117016.9281
66 | 2497739.7211 | 1117004.6345 | 2497737.7851 | 1117018.4426
67 | 2497812.4867 | 1117027.8421 | 2497801.6471 | 1117026.4799 | 2497790.6448 | 1117025.087
68 | 2497790.6448 | 1117025.087 | 2497792.286 | 1117012.1795
69 | 2497812.4867 | 1117027.8421 | 2497814.5243 | 1117012.9188
70 | 2497829.0931 | 1116986.6801 | 2497831.3187 | 1116977.659 | 2497834.3787 | 1116974.6166 | 2497835.3056 | 1116970.7801
71 | 2497857.7419 | 1116990.1764 | 2497853.0746 | 1116990.3998 | 2497842.7033 | 1116989.3409 | 2497829.0931 | 1116986.6801
72 | 2498033.4656 | 1116763.8559 | 2498029.1565 | 1116772.4425
73 | 2498072.5855 | 1116748.1391 | 2498066.6277 | 1116744.7022
74 | 2497925.9162 | 1116853.7057 | 2497922.814 | 1116846.9708
75 | 2497839.684 | 1116952.6582 | 2497835.3056 | 1116970.7801
76 | 2497884.7408 | 1116922.956 | 2497882.1087 | 1116922.3228
77 | 2497884.7408 | 1116922.956 | 2497883.4939 | 1116927.7579 | 2497875.8145 | 1116932.9463
78 | 2497902.3925 | 1116927.1942 | 2497884.7408 | 1116922.956
79 | 2498018.5473 | 1117054.2378 | 2497985.681 | 1117049.9602
80 | 2498018.5473 | 1117054.2378 | 2498040.7335 | 1117057.0229
81 | 2498018.5473 | 1117054.2378 | 2498021.2153 | 1117035.6673
82 | 2497981.4769 | 1117049.413 | 2497985.681 | 1117049.9602
83 | 2498022.2427 | 1117028.437 | 2498022.0988 | 1117029.5179 | 2498021.2153 | 1117035.6673
84 | 2497951.3132 | 1117045.4871 | 2497977.0335 | 1117048.8347
85 | 2498012.8688 | 1116941.5595 | 2498020.3244 | 1116927.9308
86 | 2498022.2427 | 1117028.437 | 2498039.6253 | 1117030.7642
87 | 2498074.7004 | 1116749.3592 | 2498072.5855 | 1116748.1391
88 | 2498078.3713 | 1116821.272 | 2498074.6633 | 1116828.1273 | 2498060.0771 | 1116854.8859
89 | 2498060.0771 | 1116854.8859 | 2498059.243 | 1116856.4161 | 2498041.1965 | 1116889.6548
90 | 2497902.3925 | 1116927.1942 | 2497924.2575 | 1116932.4535
91 | 2497991.8484 | 1116846.7859 | 2497977.3073 | 1116875.7617
92 | 2497991.8484 | 1116846.7859 | 2498000.4958 | 1116829.5543
93 | 2498000.4958 | 1116829.5543 | 2498003.4769 | 1116823.6139
94 | 2498011.8877 | 1116806.8538 | 2498003.4769 | 1116823.6139
95 | 2498012.0236 | 1116806.5831 | 2498011.8877 | 1116806.8538
96 | 2498012.0236 | 1116806.5831 | 2498019.1064 | 1116792.4693
97 | 2498029.1565 | 1116772.4425 | 2498019.1064 | 1116792.4693
98 | 2498041.1965 | 1116889.6548 | 2498032.3826 | 1116905.8888 | 2498020.3244 | 1116927.9308
99 | 2497902.3925 | 1116927.1942 | 2497896.5253 | 1116952.225
100 | 2497981.4769 | 1117049.413 | 2497977.0335 | 1117048.8347

## bus_geodata
| x | y | coords
0 | 2497929.2564 | 1116991.7112
1 | 2497925.8705 | 1116994.8452
2 | 2497937.1437 | 1116985.7758
3 | 2497917.054 | 1117005.3851
4 | 2497942.0251 | 1116982.7943
5 | 2497869.6595 | 1117001.8826
6 | 2497957.4233 | 1116977.3315
7 | 2497886.2099 | 1116996.2331
8 | 2497871.5563 | 1116991.2017
9 | 2497893.443 | 1116965.3749
10 | 2497817.3921 | 1116991.9143
11 | 2497867.2006 | 1117019.8687
12 | 2497920.3217 | 1117049.858
13 | 2497919.7515 | 1117054.9597
14 | 2497921.0686 | 1117043.7971
15 | 2497908.6652 | 1117053.6126
16 | 2497885.1514 | 1117050.5964
17 | 2497875.4904 | 1117049.4048
18 | 2497743.509 | 1116978.4317
19 | 2497770.6846 | 1116983.3868
20 | 2497741.8488 | 1116989.9164
21 | 2497755.8533 | 1116969.2395
22 | 2497792.6769 | 1116977.9764
23 | 2497758.7925 | 1116956.8771
24 | 2497915.3615 | 1116853.451
25 | 2497932.1592 | 1116890.0078
26 | 2497902.0854 | 1116801.998
27 | 2497908.2974 | 1116851.7157
28 | 2497914.9367 | 1116829.8746
29 | 2497848.9409 | 1116914.3437
30 | 2497844.0385 | 1116934.6346
31 | 2497853.7779 | 1116894.1522
32 | 2498000.5335 | 1116973.1236
33 | 2497995.3013 | 1116973.7232
34 | 2498017.297 | 1116942.1806
35 | 2497991.1032 | 1116984.8232
36 | 2498027.2479 | 1116991.029
37 | 2497988.2444 | 1116985.1734
38 | 2498044.6178 | 1116993.3637
39 | 2498023.1835 | 1117021.4059
40 | 2497954.4517 | 1116938.5231
41 | 2497946.5785 | 1116937.7853
42 | 2497963.5687 | 1116959.124
43 | 2497965.0368 | 1116976.5019
44 | 2497982.0441 | 1116975.0476
45 | 2498048.3647 | 1116734.1666
46 | 2498040.9587 | 1116748.9245
47 | 2498063.3492 | 1116742.8109
48 | 2497999.5947 | 1116965.8588
49 | 2497971.4429 | 1116952.2177
50 | 2497955.8213 | 1116918.5763
51 | 2497970.2327 | 1116889.8591
52 | 2497961.0005 | 1116929.7298
53 | 2497725.7734 | 1117016.9281
54 | 2497737.7851 | 1117018.4426
55 | 2497739.7211 | 1117004.6345
56 | 2497790.6448 | 1117025.087
57 | 2497812.4867 | 1117027.8421
58 | 2497792.286 | 1117012.1795
59 | 2497795.3879 | 1116987.7833
60 | 2497767.5691 | 1117007.0589
61 | 2497762.1544 | 1116942.7359
62 | 2497829.0931 | 1116986.6801
63 | 2498033.4656 | 1116763.8559
64 | 2498066.6277 | 1116744.7022
65 | 2497922.814 | 1116846.9708
66 | 2497839.684 | 1116952.6582
67 | 2497882.1087 | 1116922.3228
68 | 2497884.7408 | 1116922.956
69 | 2497814.5243 | 1117012.9188
70 | 2498018.5473 | 1117054.2378
71 | 2497985.681 | 1117049.9602
72 | 2498040.7335 | 1117057.0229
73 | 2498021.2153 | 1117035.6673
74 | 2497951.3132 | 1117045.4871
75 | 2497960.2209 | 1116989.1642
76 | 2498012.8688 | 1116941.5595
77 | 2498039.6253 | 1117030.7642
78 | 2498022.2427 | 1117028.437
79 | 2498074.7004 | 1116749.3592
80 | 2498072.5855 | 1116748.1391
81 | 2498078.3713 | 1116821.272
82 | 2498060.0771 | 1116854.8859
83 | 2497924.2575 | 1116932.4535
84 | 2497977.3073 | 1116875.7617
85 | 2497925.9162 | 1116853.7057
86 | 2497991.8484 | 1116846.7859
87 | 2498000.4958 | 1116829.5543
88 | 2498003.4769 | 1116823.6139
89 | 2498011.8877 | 1116806.8538
90 | 2498012.0236 | 1116806.5831
91 | 2498029.1565 | 1116772.4425
92 | 2498019.1064 | 1116792.4693
93 | 2498020.3244 | 1116927.9308
94 | 2498041.1965 | 1116889.6548
95 | 2497896.5253 | 1116952.225
96 | 2497902.3925 | 1116927.1942
97 | 2497875.8145 | 1116932.9463
98 | 2497857.7419 | 1116990.1764
99 | 2497981.4769 | 1117049.413
100 | 2497977.0335 | 1117048.8347
101 | 2497835.3056 | 1116970.7801
102 | 2497917.054 | 1117005.3851

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1