## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-28_1_4_node_35 | 0.4 | n |  | TRUE
1 | bus_LV_6628-28_1_4_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_6628-28_1_4_node_33 | 0.4 | n |  | TRUE
3 | bus_LV_6628-28_1_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_6628-28_1_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_6628-28_1_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_6628-28_1_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6628-28_1_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_6628-28_1_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_6628-28_1_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_6628-28_1_4_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_6628-28_1_4_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_6628-28_1_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_6628-28_1_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_6628-28_1_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6628-28_1_4_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_6628-28_1_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_6628-28_1_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_6628-28_1_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_6628-28_1_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_6628-28_1_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6628-28_1_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_6628-28_1_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_6628-28_1_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_6628-28_1_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_6628-28_1_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_6628-28_1_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6628-28_1_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6628-28_1_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6628-28_1_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6628-28_1_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_6628-28_1_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_6628-28_1_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_6628-28_1_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_6628-28_1_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_6628-28_1_4_node_58 | 0.4 | n |  | TRUE
36 | bus_MV_643_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-28_1_4_load_42 | 1 | 0.014758 | 0.0036986 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-28_1_4_load_43 | 5 | 0.065069 | 0.016308 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-28_1_4_load_63 | 7 | 0.035203 | 0.0088228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-28_1_4_load_47 | 8 | 0.0014448 | 0.00036211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-28_1_4_load_46 | 10 | 0.0018808 | 0.00047138 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-28_1_4_load_66 | 11 | 0.002032 | 0.00050927 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-28_1_4_load_50 | 13 | 0.0037161 | 0.00093134 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-28_1_4_load_65 | 15 | 0.0037145 | 0.00093094 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-28_1_4_load_48 | 18 | 0.0029303 | 0.00073441 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-28_1_4_load_23 | 19 | 0.022132 | 0.0055468 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-28_1_4_load_25 | 20 | 0.024827 | 0.0062223 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-28_1_4_load_37 | 21 | 0.0070826 | 0.0017751 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-28_1_4_load_51 | 22 | 0.0018673 | 0.00046798 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-28_1_4_load_64 | 23 | 0.011201 | 0.0028072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-28_1_4_load_44 | 24 | 0.053138 | 0.013318 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-28_1_4_load_41 | 25 | 0.064315 | 0.016119 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-28_1_4_load_39 | 27 | 0.0026464 | 0.00066324 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-28_1_4_load_40 | 28 | 0.013702 | 0.0034341 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-28_1_4_load_45 | 29 | 0.028854 | 0.0072316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-28_1_4_load_54 | 30 | 0.002495 | 0.0006253 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-28_1_4_load_55 | 31 | 0.00272 | 0.00068169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-28_1_4_load_52 | 32 | 0.0018921 | 0.0004742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-28_1_4_load_53 | 33 | 0.0047314 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-28_1_4_load_56 | 34 | 0.0018441 | 0.00046217 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-28_1_4_load_58 | 35 | 0.0018837 | 0.0004721 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-28_1_4_line_0 |  | 0 | 1 | 0.18532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-28_1_4_line_1 |  | 0 | 2 | 0.12677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6628-28_1_4_line_2 |  | 0 | 3 | 0.054782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-28_1_4_line_3 |  | 0 | 4 | 0.089398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6628-28_1_4_line_4 |  | 1 | 25 | 0.020727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-28_1_4_line_5 |  | 2 | 5 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6628-28_1_4_line_6 |  | 2 | 6 | 0.024506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-28_1_4_line_7 |  | 3 | 8 | 0.046263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6628-28_1_4_line_8 |  | 3 | 9 | 0.05473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6628-28_1_4_line_9 |  | 3 | 10 | 0.010032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-28_1_4_line_10 |  | 4 | 11 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6628-28_1_4_line_11 |  | 5 | 24 | 0.0018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-28_1_4_line_12 |  | 6 | 7 | 0.02182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6628-28_1_4_line_13 |  | 7 | 23 | 0.05777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-28_1_4_line_14 |  | 9 | 15 | 0.028472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6628-28_1_4_line_15 |  | 10 | 17 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-28_1_4_line_16 |  | 11 | 16 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6628-28_1_4_line_17 |  | 12 | 13 | 0.032508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-28_1_4_line_18 |  | 12 | 14 | 0.0090972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-28_1_4_line_19 |  | 13 | 22 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-28_1_4_line_20 |  | 14 | 20 | 0.030408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-28_1_4_line_21 |  | 14 | 16 | 0.16613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-28_1_4_line_22 |  | 14 | 19 | 0.055012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-28_1_4_line_23 |  | 17 | 18 | 0.028599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-28_1_4_line_24 |  | 18 | 26 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-28_1_4_line_25 |  | 20 | 21 | 0.026958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6628-28_1_4_line_26 |  | 22 | 32 | 0.0015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-28_1_4_line_27 |  | 24 | 29 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-28_1_4_line_28 |  | 25 | 28 | 0.0032328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-28_1_4_line_29 |  | 26 | 30 | 0.01176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-28_1_4_line_30 |  | 27 | 28 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-28_1_4_line_31 |  | 30 | 31 | 0.0012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-28_1_4_line_32 |  | 31 | 34 | 0.024884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-28_1_4_line_33 |  | 32 | 33 | 0.034958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-28_1_4_line_34 |  | 34 | 35 | 4.2897e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-28_1_4_trafo_66 | 0.63 MVA 20/0.4 kV | 36 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2498578.3398 | 1115974.0038 | 2498576.9082 | 1115990.8606 | 2498578.1443 | 1116012.0755 | 2498580.0029 | 1116017.4589 | 2498587.8261 | 1116026.7225 | 2498591.0514 | 1116033.028 | 2498592.0003 | 1116041.2617 | 2498590.2907 | 1116048.4504 | 2498584.4653 | 1116057.009 | 2498580.2769 | 1116062.3492 | 2498577.808 | 1116066.6155 | 2498576.2611 | 1116069.6878 | 2498573.4772 | 1116077.2726 | 2498572.8653 | 1116089.5906 | 2498575.955 | 1116108.0727 | 2498578.9997 | 1116119.7179 | 2498584.4016 | 1116130.1117 | 2498586.514 | 1116138.6594 | 2498587.3497 | 1116147.9735
1 | 2498578.3398 | 1115974.0038 | 2498580.9129 | 1115974.1052 | 2498586.7213 | 1115971.4284 | 2498590.7322 | 1115971.161 | 2498599.0418 | 1115971.2107 | 2498621.7979 | 1115971.6408 | 2498640.3347 | 1115972.353 | 2498683.0682 | 1115976.9848 | 2498686.5503 | 1115980.6399 | 2498691.8627 | 1115981.0846 | 2498691.5206 | 1115984.17 | 2498692.085 | 1115987.4404 | 2498694.7454 | 1115990.9092
2 | 2498535.9404 | 1115987.9122 | 2498542.4411 | 1115988.3034 | 2498542.6695 | 1115980.2834 | 2498542.6278 | 1115976.882 | 2498550.5138 | 1115976.9943 | 2498552.5027 | 1115974.9486 | 2498555.2773 | 1115973.7124 | 2498559.8475 | 1115973.6468 | 2498562.5118 | 1115973.6577 | 2498569.0163 | 1115973.8155 | 2498575.6895 | 1115973.9037 | 2498578.3398 | 1115974.0038
3 | 2498576.478 | 1116050.8501 | 2498576.2841 | 1116045.272 | 2498575.3988 | 1116026.097 | 2498573.9493 | 1116020.2398 | 2498570.9184 | 1116013.5642 | 2498568.8742 | 1116010.4632 | 2498566.2295 | 1116005.1709 | 2498564.5223 | 1115997.3056 | 2498564.6952 | 1115986.8962 | 2498566.5726 | 1115979.1265 | 2498569.0163 | 1115973.8155 | 2498575.6895 | 1115973.9037 | 2498578.3398 | 1115974.0038
4 | 2498587.3497 | 1116147.9735 | 2498587.3497 | 1116147.9735 | 2498586.9087 | 1116168.6958
5 | 2498694.7454 | 1115990.9092 | 2498693.0153 | 1115998.265 | 2498692.5943 | 1116020.72
6 | 2498694.7454 | 1115990.9092 | 2498700.1297 | 1115987.3501 | 2498700.8837 | 1115982.112 | 2498707.8736 | 1115983.129 | 2498710.0786 | 1115982.0025 | 2498713.2987 | 1115982.0041
7 | 2498535.9404 | 1115987.9122 | 2498535.1438 | 1116001.6453 | 2498536.6331 | 1116007.5685 | 2498536.4338 | 1116011.3409 | 2498535.0705 | 1116019.3688 | 2498533.0197 | 1116026.9302 | 2498530.7305 | 1116033.1614
8 | 2498535.9404 | 1115987.9122 | 2498542.4411 | 1115988.3034 | 2498542.6695 | 1115980.2834 | 2498542.6278 | 1115976.882 | 2498543.4139 | 1115964.3609 | 2498543.4619 | 1115962.6146 | 2498542.1263 | 1115960.7914 | 2498538.854 | 1115956.299 | 2498539.6442 | 1115947.7025 | 2498545.6687 | 1115948.2463
9 | 2498535.9404 | 1115987.9122 | 2498525.9187 | 1115987.4467
10 | 2498576.478 | 1116050.8501 | 2498576.6589 | 1116055.6501 | 2498576.7142 | 1116058.0284 | 2498576.8344 | 1116060.1277 | 2498576.9429 | 1116062.9166 | 2498575.9172 | 1116069.4379 | 2498573.8488 | 1116072.4269
11 | 2498692.5943 | 1116020.72 | 2498692.5604 | 1116022.5299
12 | 2498713.2987 | 1115982.0041 | 2498735.0499 | 1115983.7352
13 | 2498790.1462 | 1115995.3268 | 2498787.2046 | 1115992.5854 | 2498784.0537 | 1115990.2589 | 2498780.4991 | 1115988.2615 | 2498776.03 | 1115986.991 | 2498746.5395 | 1115984.6495 | 2498735.0499 | 1115983.7352
14 | 2498545.6687 | 1115948.2463 | 2498546.4087 | 1115919.7839
15 | 2498510.7937 | 1115986.7442 | 2498525.9187 | 1115987.4467
16 | 2498550.6864 | 1116079.8118 | 2498561.0669 | 1116079.4931 | 2498566.4466 | 1116078.8914 | 2498571.3635 | 1116076.0183 | 2498573.8488 | 1116072.4269
17 | 2498447.8577 | 1116115.37 | 2498455.2363 | 1116106.4294 | 2498465.8054 | 1116096.1901 | 2498470.2186 | 1116091.8355 | 2498470.2186 | 1116091.8355
18 | 2498447.8577 | 1116115.37 | 2498451.5717 | 1116118.1205 | 2498455.1684 | 1116120.784
19 | 2498470.2186 | 1116091.8355 | 2498491.42 | 1116076.6198
20 | 2498455.1684 | 1116120.784 | 2498463.2073 | 1116112.077 | 2498471.2456 | 1116103.7925 | 2498476.336 | 1116098.9669
21 | 2498455.1684 | 1116120.784 | 2498451.5717 | 1116118.1205 | 2498460.0102 | 1116107.4611 | 2498468.6524 | 1116098.8106 | 2498479.3004 | 1116089.5928 | 2498491.1116 | 1116081.1227 | 2498509.0338 | 1116068.692 | 2498511.7531 | 1116066.4673 | 2498520.7259 | 1116058.6452 | 2498525.1914 | 1116053.7228 | 2498528.397 | 1116049.1773 | 2498531.2764 | 1116044.5261 | 2498533.9055 | 1116039.2231 | 2498538.7782 | 1116042.4545 | 2498540.7069 | 1116043.7341 | 2498542.2357 | 1116045.5652 | 2498542.889 | 1116047.6889 | 2498543.0073 | 1116058.8829 | 2498545.3345 | 1116068.2609 | 2498547.5477 | 1116074.0719 | 2498550.6864 | 1116079.8118
22 | 2498455.1684 | 1116120.784 | 2498448.1977 | 1116131.0186 | 2498440.2281 | 1116143.8493 | 2498431.2731 | 1116161.911 | 2498428.3777 | 1116168.6825
23 | 2498510.7937 | 1115986.7442 | 2498499.1402 | 1115986.2171 | 2498486.0784 | 1115986.4363 | 2498482.2084 | 1115986.4937
24 | 2498456.5642 | 1115987.2987 | 2498463.343 | 1115986.7735 | 2498482.2084 | 1115986.4937
25 | 2498497.5592 | 1116082.3917 | 2498494.2316 | 1116084.8283 | 2498480.0093 | 1116095.4846 | 2498476.336 | 1116098.9669
26 | 2498491.42 | 1116076.6198 | 2498492.697 | 1116075.7034
27 | 2498692.322 | 1116035.2443 | 2498692.5604 | 1116022.5299
28 | 2498586.9087 | 1116168.6958 | 2498586.8399 | 1116171.9279
29 | 2498456.5642 | 1115987.2987 | 2498453.2573 | 1115992.702 | 2498449.6203 | 1115996.7269
30 | 2498586.2795 | 1116193.4129 | 2498586.5119 | 1116187.3457 | 2498586.8399 | 1116171.9279
31 | 2498449.6203 | 1115996.7269 | 2498448.8093 | 1115997.6244
32 | 2498448.8093 | 1115997.6244 | 2498432.126 | 1116016.087
33 | 2498519.2201 | 1116053.1225 | 2498512.1502 | 1116060.6792 | 2498505.9418 | 1116066.1979 | 2498492.697 | 1116075.7034
34 | 2498432.1232 | 1116016.0902 | 2498432.126 | 1116016.087

## bus_geodata
| x | y | coords
0 | 2498578.3398 | 1115974.0038
1 | 2498587.3497 | 1116147.9735
2 | 2498694.7454 | 1115990.9092
3 | 2498535.9404 | 1115987.9122
4 | 2498576.478 | 1116050.8501
5 | 2498692.5943 | 1116020.72
6 | 2498713.2987 | 1115982.0041
7 | 2498735.0499 | 1115983.7352
8 | 2498530.7305 | 1116033.1614
9 | 2498545.6687 | 1115948.2463
10 | 2498525.9187 | 1115987.4467
11 | 2498573.8488 | 1116072.4269
12 | 2498447.8577 | 1116115.37
13 | 2498470.2186 | 1116091.8355
14 | 2498455.1684 | 1116120.784
15 | 2498546.4087 | 1115919.7839
16 | 2498550.6864 | 1116079.8118
17 | 2498510.7937 | 1115986.7442
18 | 2498482.2084 | 1115986.4937
19 | 2498428.3777 | 1116168.6825
20 | 2498476.336 | 1116098.9669
21 | 2498497.5592 | 1116082.3917
22 | 2498491.42 | 1116076.6198
23 | 2498790.1462 | 1115995.3268
24 | 2498692.5604 | 1116022.5299
25 | 2498586.9087 | 1116168.6958
26 | 2498456.5642 | 1115987.2987
27 | 2498586.2795 | 1116193.4129
28 | 2498586.8399 | 1116171.9279
29 | 2498692.322 | 1116035.2443
30 | 2498449.6203 | 1115996.7269
31 | 2498448.8093 | 1115997.6244
32 | 2498492.697 | 1116075.7034
33 | 2498519.2201 | 1116053.1225
34 | 2498432.126 | 1116016.087
35 | 2498432.1232 | 1116016.0902
36 | 2498576.478 | 1116050.8501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1