## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-34_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6628-34_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6628-34_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_6628-34_0_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6628-34_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_6628-34_0_3_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_6628-34_0_3_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_6628-34_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6628-34_0_3_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_6628-34_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6628-34_0_3_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_6628-34_0_3_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_6628-34_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6628-34_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6628-34_0_3_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_6628-34_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6628-34_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6628-34_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_6628-34_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6628-34_0_3_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_6628-34_0_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_6628-34_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6628-34_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6628-34_0_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_6628-34_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6628-34_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6628-34_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6628-34_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6628-34_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6628-34_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_6628-34_0_3_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_6628-34_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6628-34_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_6628-34_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6628-34_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6628-34_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_6628-34_0_3_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_6628-34_0_3_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_6628-34_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6628-34_0_3_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_6628-34_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6628-34_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_6628-34_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_6628-34_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6628-34_0_3_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_6628-34_0_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6628-34_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_6628-34_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_6628-34_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_6628-34_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6628-34_0_3_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_6628-34_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_6628-34_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_6628-34_0_3_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_6628-34_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_6628-34_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_6628-34_0_3_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_6628-34_0_3_node_21 | 0.4 | n |  | TRUE
61 | bus_LV_6628-34_0_3_node_22 | 0.4 | n |  | TRUE
62 | bus_LV_6628-34_0_3_node_23 | 0.4 | n |  | TRUE
63 | bus_LV_6628-34_0_3_node_24 | 0.4 | n |  | TRUE
64 | bus_LV_6628-34_0_3_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_6628-34_0_3_node_28 | 0.4 | n |  | TRUE
66 | bus_LV_6628-34_0_3_node_30 | 0.4 | n |  | TRUE
67 | bus_LV_6628-34_0_3_node_31 | 0.4 | n |  | TRUE
68 | bus_LV_6628-34_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_6628-34_0_3_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_6628-34_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_6628-34_0_3_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_6628-34_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_6628-34_0_3_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_6628-34_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_6628-34_0_3_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_6628-34_0_3_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_6628-34_0_3_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_6628-34_0_3_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_6628-34_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_6628-34_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_6628-34_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6628-34_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_6628-34_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_MV_664_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-34_0_3_load_0 | 0 | 0.00090759 | 0.00022746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-34_0_3_load_1 | 1 | 0.0023361 | 0.00058548 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-34_0_3_load_39 | 6 | 0.0037204 | 0.00093241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-34_0_3_load_36 | 7 | 0.0019138 | 0.00047965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-34_0_3_load_82 | 8 | 0.0056032 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-34_0_3_load_81 | 9 | 0.0048015 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-34_0_3_load_80 | 11 | 0.0029338 | 0.00073528 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-34_0_3_load_79 | 13 | 0.028776 | 0.0072119 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-34_0_3_load_75 | 14 | 0.0015755 | 0.00039485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-34_0_3_load_72 | 16 | 0.0019812 | 0.00049653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-34_0_3_load_71 | 17 | 0.0020389 | 0.000511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-34_0_3_load_51 | 20 | 0.017656 | 0.004425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-34_0_3_load_56 | 23 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-34_0_3_load_87 | 26 | 0.0017495 | 0.00043846 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-34_0_3_load_33 | 28 | 0.0017951 | 0.0004499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-34_0_3_load_32 | 30 | 0.0074236 | 0.0018605 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-34_0_3_load_60 | 32 | 0.0026974 | 0.00067603 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-34_0_3_load_59 | 33 | 0.0053747 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-34_0_3_load_61 | 34 | 0.0019859 | 0.00049772 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-34_0_3_load_42 | 37 | 0.0015856 | 0.00039739 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-34_0_3_load_41 | 38 | 0.02879 | 0.0072154 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-34_0_3_load_73 | 39 | 0.0013644 | 0.00034196 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-34_0_3_load_70 | 40 | 0.018146 | 0.0045479 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-34_0_3_load_25 | 41 | 0.0022332 | 0.00055969 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-34_0_3_load_37 | 43 | 0.00067364 | 0.00016883 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-34_0_3_load_58 | 44 | 0.0058859 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-34_0_3_load_43 | 46 | 0.028534 | 0.0071513 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-34_0_3_load_76 | 47 | 0.0035981 | 0.00090178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-34_0_3_load_74 | 48 | 0.001957 | 0.00049047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6628-34_0_3_load_50 | 49 | 0.0022776 | 0.00057083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6628-34_0_3_load_27 | 50 | 0.0016814 | 0.0004214 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6628-34_0_3_load_57 | 52 | 0.0051431 | 0.001289 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6628-34_0_3_load_86 | 53 | 0.0013637 | 0.00034177 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6628-34_0_3_load_40 | 54 | 0.0011392 | 0.00028552 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6628-34_0_3_load_66 | 55 | 0.0022237 | 0.00055732 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6628-34_0_3_load_88 | 56 | 0.0017688 | 0.0004433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6628-34_0_3_load_64 | 57 | 0.0014624 | 0.00036651 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6628-34_0_3_load_69 | 58 | 0.008724 | 0.0021865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6628-34_0_3_load_26 | 59 | 0.00088022 | 0.0002206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6628-34_0_3_load_21 | 60 | 0.00090989 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6628-34_0_3_load_22 | 61 | 0.00091795 | 0.00023006 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6628-34_0_3_load_23 | 62 | 0.00087928 | 0.00022037 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6628-34_0_3_load_24 | 63 | 0.0009142 | 0.00022912 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6628-34_0_3_load_29 | 64 | 0.0006826 | 0.00017108 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6628-34_0_3_load_28 | 65 | 0.00068407 | 0.00017144 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6628-34_0_3_load_30 | 66 | 0.00068344 | 0.00017129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6628-34_0_3_load_31 | 67 | 0.00091693 | 0.00022981 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6628-34_0_3_load_44 | 68 | 0.0013118 | 0.00032877 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6628-34_0_3_load_45 | 69 | 0.0013103 | 0.0003284 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6628-34_0_3_load_38 | 70 | 0.00068373 | 0.00017136 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6628-34_0_3_load_46 | 73 | 0.0010885 | 0.0002728 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6628-34_0_3_load_62 | 74 | 0.015529 | 0.003892 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6628-34_0_3_load_84 | 75 | 0.0013136 | 0.00032923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6628-34_0_3_load_47 | 76 | 0.0020674 | 0.00051814 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6628-34_0_3_load_85 | 77 | 0.0013196 | 0.00033073 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6628-34_0_3_load_83 | 78 | 0.0056721 | 0.0014216 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6628-34_0_3_load_78 | 79 | 0.0050108 | 0.0012558 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6628-34_0_3_load_67 | 80 | 0.0021531 | 0.00053961 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6628-34_0_3_load_63 | 81 | 0.006086 | 0.0015253 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6628-34_0_3_load_65 | 82 | 0.0061433 | 0.0015397 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6628-34_0_3_load_68 | 83 | 0.0021154 | 0.00053018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-34_0_3_line_0 |  | 0 | 1 | 0.033933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-34_0_3_line_1 |  | 0 | 2 | 0.061115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6628-34_0_3_line_2 |  | 2 | 3 | 0.010957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-34_0_3_line_3 |  | 2 | 4 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6628-34_0_3_line_4 |  | 2 | 5 | 0.064248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-34_0_3_line_5 |  | 3 | 6 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6628-34_0_3_line_6 |  | 3 | 7 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-34_0_3_line_7 |  | 4 | 8 | 0.0083136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6628-34_0_3_line_8 |  | 4 | 9 | 0.025101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6628-34_0_3_line_9 |  | 5 | 41 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-34_0_3_line_10 |  | 6 | 42 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6628-34_0_3_line_11 |  | 7 | 43 | 0.029632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-34_0_3_line_12 |  | 9 | 44 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6628-34_0_3_line_13 |  | 10 | 11 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-34_0_3_line_14 |  | 10 | 12 | 0.01281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6628-34_0_3_line_15 |  | 10 | 13 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-34_0_3_line_16 |  | 11 | 45 | 0.040067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6628-34_0_3_line_17 |  | 12 | 14 | 0.028959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-34_0_3_line_18 |  | 13 | 46 | 0.026641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-34_0_3_line_19 |  | 15 | 16 | 0.033573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-34_0_3_line_20 |  | 15 | 17 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-34_0_3_line_21 |  | 16 | 48 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-34_0_3_line_22 |  | 18 | 19 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-34_0_3_line_23 |  | 18 | 20 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-34_0_3_line_24 |  | 19 | 39 | 0.028292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-34_0_3_line_25 |  | 19 | 40 | 0.040519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6628-34_0_3_line_26 |  | 21 | 22 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-34_0_3_line_27 |  | 21 | 23 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-34_0_3_line_28 |  | 22 | 51 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-34_0_3_line_29 |  | 23 | 52 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-34_0_3_line_30 |  | 24 | 25 | 0.11521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-34_0_3_line_31 |  | 24 | 26 | 0.0026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-34_0_3_line_32 |  | 25 | 37 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-34_0_3_line_33 |  | 25 | 38 | 0.0174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-34_0_3_line_34 |  | 26 | 53 | 0.001973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6628-34_0_3_line_35 |  | 27 | 28 | 0.03518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6628-34_0_3_line_36 |  | 27 | 29 | 0.13956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6628-34_0_3_line_37 |  | 27 | 30 | 0.020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-34_0_3_line_38 |  | 28 | 54 | 0.048293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6628-34_0_3_line_39 |  | 29 | 34 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6628-34_0_3_line_40 |  | 29 | 32 | 0.033071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-34_0_3_line_41 |  | 30 | 35 | 0.061217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-34_0_3_line_42 |  | 31 | 32 | 0.053881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-34_0_3_line_43 |  | 31 | 33 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6628-34_0_3_line_44 |  | 34 | 55 | 0.028285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6628-34_0_3_line_45 |  | 35 | 36 | 0.090202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6628-34_0_3_line_46 |  | 36 | 56 | 0.033293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6628-34_0_3_line_47 |  | 37 | 57 | 0.0032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6628-34_0_3_line_48 |  | 39 | 48 | 0.0062589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6628-34_0_3_line_49 |  | 40 | 58 | 0.006808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6628-34_0_3_line_50 |  | 41 | 59 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6628-34_0_3_line_51 |  | 42 | 47 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6628-34_0_3_line_52 |  | 43 | 70 | 0.00010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6628-34_0_3_line_53 |  | 44 | 52 | 0.015721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6628-34_0_3_line_54 |  | 45 | 78 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6628-34_0_3_line_55 |  | 49 | 50 | 0.0025583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6628-34_0_3_line_56 |  | 50 | 59 | 0.047726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6628-34_0_3_line_57 |  | 51 | 58 | 0.035184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6628-34_0_3_line_58 |  | 51 | 57 | 0.027682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6628-34_0_3_line_59 |  | 53 | 83 | 0.00013616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6628-34_0_3_line_60 |  | 55 | 80 | 0.00047943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6628-34_0_3_line_61 |  | 57 | 74 | 0.018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6628-34_0_3_line_62 |  | 60 | 61 | 6.4863e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6628-34_0_3_line_63 |  | 60 | 62 | 0.0036026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6628-34_0_3_line_64 |  | 62 | 63 | 0.00038401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6628-34_0_3_line_65 |  | 63 | 64 | 0.00096505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6628-34_0_3_line_66 |  | 64 | 65 | 9.6648e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6628-34_0_3_line_67 |  | 65 | 66 | 7.7846e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6628-34_0_3_line_68 |  | 66 | 67 | 0.00011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6628-34_0_3_line_69 |  | 67 | 68 | 0.032097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6628-34_0_3_line_70 |  | 68 | 69 | 0.00017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6628-34_0_3_line_71 |  | 69 | 72 | 0.019886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6628-34_0_3_line_72 |  | 70 | 71 | 0.0015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6628-34_0_3_line_73 |  | 71 | 72 | 0.095952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6628-34_0_3_line_74 |  | 71 | 73 | 0.02214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6628-34_0_3_line_75 |  | 72 | 75 | 0.02504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6628-34_0_3_line_76 |  | 73 | 76 | 0.019626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6628-34_0_3_line_77 |  | 74 | 81 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_6628-34_0_3_line_78 |  | 75 | 77 | 0.0033794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6628-34_0_3_line_79 |  | 78 | 79 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6628-34_0_3_line_80 |  | 79 | 82 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6628-34_0_3_line_81 |  | 80 | 83 | 0.00049854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6628-34_0_3_line_82 |  | 81 | 82 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-34_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 84 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2498134.6871 | 1115907.8598 | 2498157.2997 | 1115933.1596
1 | 2498093.9598 | 1115862.2925 | 2498134.6871 | 1115907.8598
2 | 2498086.2072 | 1115854.5293 | 2498093.9598 | 1115862.2925
3 | 2498084.9851 | 1115870.9047 | 2498089.9323 | 1115866.1628 | 2498093.9598 | 1115862.2925
4 | 2498130.1501 | 1115908.8682 | 2498095.0486 | 1115871.4578 | 2498089.9323 | 1115866.1628 | 2498093.9598 | 1115862.2925
5 | 2498086.2072 | 1115854.5293 | 2498072.1499 | 1115840.8292
6 | 2498086.2072 | 1115854.5293 | 2498089.0655 | 1115851.8461 | 2498091.0741 | 1115850.9784 | 2498093.5025 | 1115850.7374 | 2498096.4157 | 1115851.3109 | 2498101.9446 | 1115854.0529 | 2498104.1268 | 1115854.3274 | 2498106.5054 | 1115853.876 | 2498108.7008 | 1115852.1824 | 2498110.4781 | 1115850.5831
7 | 2498084.9851 | 1115870.9047 | 2498083.5382 | 1115867.9827 | 2498080.0938 | 1115864.2856
8 | 2498084.9851 | 1115870.9047 | 2498085.209 | 1115874.5699 | 2498084.3836 | 1115877.8303 | 2498073.1787 | 1115892.0013
9 | 2498130.1501 | 1115908.8682 | 2498117.3232 | 1115925.2294
10 | 2498060.1524 | 1115830.2194 | 2498071.1018 | 1115839.8077 | 2498072.1499 | 1115840.8292
11 | 2498132.505 | 1115830.7623 | 2498110.4781 | 1115850.5831
12 | 2498073.1787 | 1115892.0013 | 2498064.2525 | 1115903.2903
13 | 2497994.1703 | 1115785.1027 | 2497996.9223 | 1115785.7345 | 2497999.5415 | 1115787.6471 | 2498010.1823 | 1115797.4039
14 | 2497994.1703 | 1115785.1027 | 2497997.8433 | 1115780.36 | 2498002.0151 | 1115774.9752
15 | 2497994.1703 | 1115785.1027 | 2497991.3259 | 1115785.4064 | 2497988.5016 | 1115786.8994 | 2497976.5057 | 1115801.6319
16 | 2498039.3211 | 1115824.9003 | 2498024.8188 | 1115811.1582 | 2498020.0208 | 1115806.425 | 2498010.1823 | 1115797.4039
17 | 2498002.0151 | 1115774.9752 | 2498002.3876 | 1115772.3339 | 2498003.6874 | 1115769.7326 | 2498005.7258 | 1115767.4301 | 2498017.8538 | 1115755.7628 | 2498020.4351 | 1115753.4292
18 | 2497976.5057 | 1115801.6319 | 2497959.6843 | 1115822.2907
19 | 2497880.782 | 1115927.1491 | 2497907.1358 | 1115947.9493
20 | 2497880.782 | 1115927.1491 | 2497879.4913 | 1115924.3358 | 2497879.5532 | 1115921.5997 | 2497880.8476 | 1115918.6871 | 2497889.0964 | 1115908.6831
21 | 2497907.1358 | 1115947.9493 | 2497917.7299 | 1115956.3109 | 2497921.47 | 1115959.0491
22 | 2497962.0847 | 1115988.7945 | 2497949.3482 | 1115979.4589
23 | 2497962.0847 | 1115988.7945 | 2497985.5606 | 1115956.7085
24 | 2497949.3482 | 1115979.4589 | 2497926.5202 | 1115962.7463
25 | 2497949.3482 | 1115979.4589 | 2497972.9824 | 1115946.547
26 | 2498010.4069 | 1115922.7493 | 2498015.2955 | 1115926.4471 | 2498028.1777 | 1115936.1806 | 2498034.4441 | 1115940.9892
27 | 2498034.4441 | 1115940.9892 | 2498045.0494 | 1115927.5766
28 | 2498010.4069 | 1115922.7493 | 2498005.7528 | 1115919.2256 | 2497997.4762 | 1115912.4385
29 | 2498045.0494 | 1115927.5766 | 2498054.5017 | 1115915.6222
30 | 2497866.1253 | 1115828.8121 | 2497868.8222 | 1115828.9222 | 2497871.0909 | 1115828.3725 | 2497874.4506 | 1115827.9488 | 2497877.139 | 1115828.0146 | 2497880.1097 | 1115828.7872 | 2497885.9139 | 1115832.2804 | 2497892.8978 | 1115836.5763 | 2497909.1953 | 1115849.1538 | 2497920.054 | 1115857.4759 | 2497944.5544 | 1115876.5859 | 2497951.3234 | 1115881.8862 | 2497954.5156 | 1115883.8892 | 2497959.3426 | 1115885.3087 | 2497962.615 | 1115884.742
31 | 2497866.1253 | 1115828.8121 | 2497868.3935 | 1115830.2185
32 | 2497962.615 | 1115884.742 | 2497972.9478 | 1115893.5613
33 | 2497962.615 | 1115884.742 | 2497959.9813 | 1115880.5949 | 2497957.5932 | 1115878.1892 | 2497950.1803 | 1115872.9147
34 | 2497870.0704 | 1115831.2582 | 2497868.3935 | 1115830.2185
35 | 2497992.0475 | 1115757.6767 | 2498007.5468 | 1115743.0729 | 2498018.1607 | 1115734.1217
36 | 2497907.7567 | 1115855.4265 | 2497913.078 | 1115859.1279 | 2497924.8835 | 1115845.309 | 2497970.7731 | 1115789.2886 | 2497987.7407 | 1115769.7125 | 2497984.214 | 1115766.6477 | 2497992.0475 | 1115757.6767
37 | 2497992.0475 | 1115757.6767 | 2497987.79 | 1115759.8165 | 2497984.467 | 1115759.6724 | 2497982.2253 | 1115758.6206 | 2497974.7354 | 1115751.8071
38 | 2498057.3899 | 1115705.9741 | 2498045.3944 | 1115714.2614 | 2498038.7745 | 1115718.7313 | 2498018.1607 | 1115734.1217
39 | 2497907.7567 | 1115855.4265 | 2497903.5691 | 1115852.5509 | 2497895.0002 | 1115846.8181
40 | 2497907.7567 | 1115855.4265 | 2497906.328 | 1115857.7076 | 2497903.0702 | 1115864.1666 | 2497888.5159 | 1115882.1628
41 | 2497929.4522 | 1115710.6134 | 2497974.7354 | 1115751.8071
42 | 2497851.0878 | 1115916.4546 | 2497853.5719 | 1115913.1106 | 2497857.884 | 1115914.2163 | 2497861.2936 | 1115913.5472 | 2497864.7275 | 1115911.5769 | 2497888.5159 | 1115882.1628
43 | 2497851.0878 | 1115916.4546 | 2497835.8068 | 1115906.283
44 | 2497871.0173 | 1115831.8453 | 2497880.4219 | 1115837.6764 | 2497886.1599 | 1115840.9039 | 2497895.0002 | 1115846.8181
45 | 2497992.5891 | 1115646.0192 | 2497929.4522 | 1115710.6134
46 | 2497992.5891 | 1115646.0192 | 2498013.4072 | 1115672.0404
47 | 2497975.4015 | 1115895.6556 | 2497972.9478 | 1115893.5613
48 | 2497921.47 | 1115959.0491 | 2497926.5202 | 1115962.7463
49 | 2497976.9534 | 1115941.0172 | 2497972.9824 | 1115946.547
50 | 2498110.119 | 1115934.4187 | 2498117.3232 | 1115925.2294
51 | 2498060.1524 | 1115830.2194 | 2498048.8572 | 1115819.9437
52 | 2498132.5836 | 1115830.6915 | 2498132.505 | 1115830.7623
53 | 2498054.5017 | 1115915.6222 | 2498064.2525 | 1115903.2903
54 | 2498039.3211 | 1115824.9003 | 2498037.6984 | 1115826.6732 | 2498027.4703 | 1115837.8879
55 | 2498080.673 | 1115971.9782 | 2498079.0946 | 1115973.9916
56 | 2498110.119 | 1115934.4187 | 2498080.673 | 1115971.9782
57 | 2497997.4762 | 1115912.4385 | 2497991.3498 | 1115920.9694 | 2497976.9534 | 1115941.0172
58 | 2497975.4015 | 1115895.6556 | 2497979.6647 | 1115898.8969 | 2497997.4762 | 1115912.4385
59 | 2497870.1861 | 1115831.3299 | 2497870.0704 | 1115831.2582
60 | 2497871.0173 | 1115831.8453 | 2497870.6098 | 1115831.5926
61 | 2497975.4015 | 1115895.6556 | 2497987.2453 | 1115881.8183
62 | 2498090.8344 | 1115797.852 | 2498090.8826 | 1115797.8086
63 | 2498093.5562 | 1115795.3938 | 2498090.8826 | 1115797.8086
64 | 2498093.5562 | 1115795.3938 | 2498093.8411 | 1115795.1364
65 | 2498093.8411 | 1115795.1364 | 2498094.5573 | 1115794.4896
66 | 2498094.5573 | 1115794.4896 | 2498094.6291 | 1115794.4248
67 | 2498094.6291 | 1115794.4248 | 2498094.6868 | 1115794.3726
68 | 2498094.6868 | 1115794.3726 | 2498094.7701 | 1115794.2974
69 | 2498094.7701 | 1115794.2974 | 2498104.4356 | 1115785.5677 | 2498107.8119 | 1115783.3761 | 2498112.282 | 1115781.0216 | 2498119.766 | 1115774.3961
70 | 2498119.766 | 1115774.3961 | 2498119.8992 | 1115774.2782
71 | 2498134.7887 | 1115761.0968 | 2498119.8992 | 1115774.2782
72 | 2498133.7196 | 1115829.6692 | 2498132.5836 | 1115830.6915
73 | 2498133.7196 | 1115829.6692 | 2498155.8707 | 1115809.2724 | 2498163.954 | 1115803.1993 | 2498165.2147 | 1115794.606 | 2498164.3194 | 1115787.2942 | 2498161.6634 | 1115783.1918 | 2498134.7887 | 1115761.0968
74 | 2498133.7196 | 1115829.6692 | 2498148.5607 | 1115846.0982
75 | 2498134.7887 | 1115761.0968 | 2498115.036 | 1115745.7068
76 | 2498161.7168 | 1115860.6621 | 2498148.5607 | 1115846.0982
77 | 2497987.2453 | 1115881.8183 | 2497996.4994 | 1115871.0066 | 2497997.5899 | 1115869.8408
78 | 2498115.036 | 1115745.7068 | 2498112.3703 | 1115743.6299
79 | 2498018.2861 | 1115847.7136 | 2498027.2353 | 1115838.1457 | 2498027.4703 | 1115837.8879
80 | 2498018.2861 | 1115847.7136 | 2498008.281 | 1115858.4104
81 | 2497870.6098 | 1115831.5926 | 2497870.1861 | 1115831.3299
82 | 2497997.5899 | 1115869.8408 | 2498008.281 | 1115858.4104

## bus_geodata
| x | y | coords
0 | 2498134.6871 | 1115907.8598
1 | 2498157.2997 | 1115933.1596
2 | 2498093.9598 | 1115862.2925
3 | 2498086.2072 | 1115854.5293
4 | 2498084.9851 | 1115870.9047
5 | 2498130.1501 | 1115908.8682
6 | 2498072.1499 | 1115840.8292
7 | 2498110.4781 | 1115850.5831
8 | 2498080.0938 | 1115864.2856
9 | 2498073.1787 | 1115892.0013
10 | 2497994.1703 | 1115785.1027
11 | 2498010.1823 | 1115797.4039
12 | 2498002.0151 | 1115774.9752
13 | 2497976.5057 | 1115801.6319
14 | 2498020.4351 | 1115753.4292
15 | 2497880.782 | 1115927.1491
16 | 2497907.1358 | 1115947.9493
17 | 2497889.0964 | 1115908.6831
18 | 2497962.0847 | 1115988.7945
19 | 2497949.3482 | 1115979.4589
20 | 2497985.5606 | 1115956.7085
21 | 2498034.4441 | 1115940.9892
22 | 2498010.4069 | 1115922.7493
23 | 2498045.0494 | 1115927.5766
24 | 2497866.1253 | 1115828.8121
25 | 2497962.615 | 1115884.742
26 | 2497868.3935 | 1115830.2185
27 | 2497992.0475 | 1115757.6767
28 | 2498018.1607 | 1115734.1217
29 | 2497907.7567 | 1115855.4265
30 | 2497974.7354 | 1115751.8071
31 | 2497851.0878 | 1115916.4546
32 | 2497888.5159 | 1115882.1628
33 | 2497835.8068 | 1115906.283
34 | 2497895.0002 | 1115846.8181
35 | 2497929.4522 | 1115710.6134
36 | 2497992.5891 | 1115646.0192
37 | 2497972.9478 | 1115893.5613
38 | 2497950.1803 | 1115872.9147
39 | 2497926.5202 | 1115962.7463
40 | 2497972.9824 | 1115946.547
41 | 2498117.3232 | 1115925.2294
42 | 2498060.1524 | 1115830.2194
43 | 2498132.505 | 1115830.7623
44 | 2498064.2525 | 1115903.2903
45 | 2498039.3211 | 1115824.9003
46 | 2497959.6843 | 1115822.2907
47 | 2498048.8572 | 1115819.9437
48 | 2497921.47 | 1115959.0491
49 | 2498079.0946 | 1115973.9916
50 | 2498080.673 | 1115971.9782
51 | 2497997.4762 | 1115912.4385
52 | 2498054.5017 | 1115915.6222
53 | 2497870.0704 | 1115831.2582
54 | 2498057.3899 | 1115705.9741
55 | 2497871.0173 | 1115831.8453
56 | 2498013.4072 | 1115672.0404
57 | 2497975.4015 | 1115895.6556
58 | 2497976.9534 | 1115941.0172
59 | 2498110.119 | 1115934.4187
60 | 2498090.8826 | 1115797.8086
61 | 2498090.8344 | 1115797.852
62 | 2498093.5562 | 1115795.3938
63 | 2498093.8411 | 1115795.1364
64 | 2498094.5573 | 1115794.4896
65 | 2498094.629 | 1115794.4248
66 | 2498094.6868 | 1115794.3726
67 | 2498094.7701 | 1115794.2974
68 | 2498119.766 | 1115774.3961
69 | 2498119.8992 | 1115774.2782
70 | 2498132.5836 | 1115830.6915
71 | 2498133.7196 | 1115829.6692
72 | 2498134.7887 | 1115761.0968
73 | 2498148.5607 | 1115846.0982
74 | 2497987.2453 | 1115881.8183
75 | 2498115.036 | 1115745.7068
76 | 2498161.7168 | 1115860.6621
77 | 2498112.3703 | 1115743.6299
78 | 2498027.4703 | 1115837.8879
79 | 2498018.2861 | 1115847.7136
80 | 2497870.6098 | 1115831.5926
81 | 2497997.5899 | 1115869.8408
82 | 2498008.281 | 1115858.4104
83 | 2497870.1861 | 1115831.3299
84 | 2497975.4015 | 1115895.6556

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1