## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-35_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-35_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-35_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-35_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6628-35_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6628-35_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6628-35_0_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_6628-35_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6628-35_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6628-35_0_2_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_6628-35_0_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_6628-35_0_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_6628-35_0_2_node_120 | 0.4 | n |  | TRUE
13 | bus_LV_6628-35_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6628-35_0_2_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_6628-35_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6628-35_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6628-35_0_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_6628-35_0_2_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_6628-35_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6628-35_0_2_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_6628-35_0_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_6628-35_0_2_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_6628-35_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_6628-35_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6628-35_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6628-35_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6628-35_0_2_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_6628-35_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6628-35_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_6628-35_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6628-35_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_6628-35_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_6628-35_0_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_6628-35_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_6628-35_0_2_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_6628-35_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_6628-35_0_2_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_6628-35_0_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_6628-35_0_2_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_6628-35_0_2_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_6628-35_0_2_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_6628-35_0_2_node_114 | 0.4 | n |  | TRUE
43 | bus_LV_6628-35_0_2_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_6628-35_0_2_node_111 | 0.4 | n |  | TRUE
45 | bus_LV_6628-35_0_2_node_112 | 0.4 | n |  | TRUE
46 | bus_MV_664_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-35_0_2_load_0 | 0 | 0.0039669 | 0.00099419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-35_0_2_load_1 | 1 | 0.0017566 | 0.00044024 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-35_0_2_load_80 | 9 | 0.0009644 | 0.0002417 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-35_0_2_load_25 | 10 | 0.00096066 | 0.00024076 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-35_0_2_load_35 | 11 | 0.005661 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-35_0_2_load_120 | 12 | 0.0029601 | 0.00074188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-35_0_2_load_44 | 14 | 0.0012378 | 0.00031023 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-35_0_2_load_64 | 17 | 0.0027144 | 0.00068029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-35_0_2_load_63 | 18 | 0.0023135 | 0.00057981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-35_0_2_load_48 | 21 | 0.0021684 | 0.00054345 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-35_0_2_load_110 | 22 | 0.057178 | 0.01433 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-35_0_2_load_22 | 23 | 0.00081529 | 0.00020433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-35_0_2_load_23 | 24 | 0.00055106 | 0.00013811 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-35_0_2_load_24 | 25 | 0.00048776 | 0.00012224 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-35_0_2_load_26 | 26 | 0.00052497 | 0.00013157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-35_0_2_load_105 | 27 | 0.0004898 | 0.00012276 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-35_0_2_load_27 | 28 | 0.0017005 | 0.00042618 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-35_0_2_load_32 | 31 | 0.056456 | 0.014149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-35_0_2_load_33 | 32 | 0.0021553 | 0.00054018 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-35_0_2_load_34 | 34 | 0.010297 | 0.0025806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-35_0_2_load_45 | 35 | 0.0019976 | 0.00050064 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-35_0_2_load_46 | 36 | 0.0080445 | 0.0020161 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-35_0_2_load_65 | 37 | 0.0035148 | 0.0008809 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-35_0_2_load_49 | 38 | 0.0017149 | 0.00042979 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-35_0_2_load_50 | 39 | 0.0027168 | 0.0006809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-35_0_2_load_66 | 40 | 0.0032976 | 0.00082646 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-35_0_2_load_114 | 42 | 0.0012159 | 0.00030475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-35_0_2_load_119 | 43 | 0.10051 | 0.025191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-35_0_2_load_112 | 45 | 0.057239 | 0.014345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-35_0_2_line_0 |  | 0 | 1 | 0.0066203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-35_0_2_line_1 |  | 0 | 2 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6628-35_0_2_line_2 |  | 1 | 3 | 0.048092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-35_0_2_line_3 |  | 2 | 4 | 0.0098492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6628-35_0_2_line_4 |  | 2 | 5 | 0.034305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-35_0_2_line_5 |  | 3 | 6 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6628-35_0_2_line_6 |  | 3 | 7 | 0.10742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-35_0_2_line_7 |  | 4 | 8 | 0.008401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6628-35_0_2_line_8 |  | 4 | 9 | 0.0072156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6628-35_0_2_line_9 |  | 5 | 12 | 0.055268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-35_0_2_line_10 |  | 6 | 22 | 0.048275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6628-35_0_2_line_11 |  | 7 | 18 | 0.040006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-35_0_2_line_12 |  | 7 | 13 | 0.010027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6628-35_0_2_line_13 |  | 8 | 10 | 0.026405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-35_0_2_line_14 |  | 8 | 11 | 0.014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6628-35_0_2_line_15 |  | 9 | 19 | 0.035243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-35_0_2_line_16 |  | 10 | 24 | 0.02872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6628-35_0_2_line_17 |  | 11 | 34 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-35_0_2_line_18 |  | 13 | 14 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-35_0_2_line_19 |  | 14 | 35 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-35_0_2_line_20 |  | 15 | 16 | 0.13638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-35_0_2_line_21 |  | 15 | 17 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-35_0_2_line_22 |  | 16 | 21 | 0.058885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-35_0_2_line_23 |  | 17 | 18 | 0.029436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-35_0_2_line_24 |  | 19 | 20 | 0.14628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-35_0_2_line_25 |  | 20 | 42 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6628-35_0_2_line_26 |  | 21 | 38 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-35_0_2_line_27 |  | 22 | 44 | 0.034634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-35_0_2_line_28 |  | 23 | 24 | 0.0014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-35_0_2_line_29 |  | 23 | 25 | 0.0057528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-35_0_2_line_30 |  | 25 | 26 | 0.0069986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-35_0_2_line_31 |  | 26 | 27 | 0.00705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-35_0_2_line_32 |  | 28 | 29 | 0.039377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-35_0_2_line_33 |  | 29 | 30 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-35_0_2_line_34 |  | 29 | 31 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6628-35_0_2_line_35 |  | 30 | 32 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6628-35_0_2_line_36 |  | 31 | 33 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6628-35_0_2_line_37 |  | 33 | 41 | 0.054372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-35_0_2_line_38 |  | 35 | 36 | 0.0092464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6628-35_0_2_line_39 |  | 36 | 37 | 0.0044575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6628-35_0_2_line_40 |  | 37 | 40 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-35_0_2_line_41 |  | 38 | 39 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-35_0_2_line_42 |  | 41 | 43 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-35_0_2_line_43 |  | 41 | 44 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6628-35_0_2_line_44 |  | 44 | 45 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-35_0_2_trafo_112 | 0.63 MVA 20/0.4 kV | 46 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2497908.2115 | 1115704.8078 | 2497903.2533 | 1115700.421
1 | 2497916.6143 | 1115712.2421 | 2497908.2115 | 1115704.8078
2 | 2497861.4135 | 1115713.9634 | 2497888.0105 | 1115698.0379 | 2497892.5182 | 1115696.0828 | 2497896.0369 | 1115695.9234 | 2497899.6342 | 1115697.219 | 2497903.2533 | 1115700.421
3 | 2497916.6143 | 1115712.2421 | 2497920.4125 | 1115708.0532 | 2497923.2328 | 1115704.9481
4 | 2497909.325 | 1115737.4365 | 2497915.3736 | 1115733.4431 | 2497916.1217 | 1115728.3495 | 2497917.7054 | 1115725.1874 | 2497923.6654 | 1115718.6828 | 2497916.6143 | 1115712.2421
5 | 2497861.4135 | 1115713.9634 | 2497856.7046 | 1115711.319 | 2497852.3386 | 1115708.8578 | 2497852.7203 | 1115708.1398
6 | 2497861.4135 | 1115713.9634 | 2497859.6065 | 1115721.2763 | 2497853.2369 | 1115727.2988 | 2497825.1795 | 1115747.2739 | 2497803.7477 | 1115765.8586 | 2497794.683 | 1115776.4406 | 2497785.3777 | 1115787.4047
7 | 2497929.4522 | 1115710.6134 | 2497923.2328 | 1115704.9481
8 | 2497923.2328 | 1115704.9481 | 2497917.895 | 1115700.0929
9 | 2497909.325 | 1115737.4365 | 2497897.8924 | 1115734.0161 | 2497860.5762 | 1115756.2932
10 | 2497852.7203 | 1115708.1398 | 2497841.6947 | 1115702.767 | 2497838.5073 | 1115701.9647 | 2497832.887 | 1115699.7693 | 2497813.704 | 1115693.7783 | 2497807.7679 | 1115690.9114
11 | 2497785.3777 | 1115787.4047 | 2497789.5477 | 1115789.2354 | 2497794.0189 | 1115790.6052 | 2497803.4187 | 1115792.0919 | 2497808.0015 | 1115793.671 | 2497822.1884 | 1115801.9209
12 | 2497785.3777 | 1115787.4047 | 2497781.8468 | 1115787.2976 | 2497779.8573 | 1115788.8322 | 2497776.2015 | 1115790.4727
13 | 2497929.4522 | 1115710.6134 | 2497947.9093 | 1115691.7303
14 | 2497929.4522 | 1115710.6134 | 2497939.884 | 1115720.1032
15 | 2497889.0711 | 1115680.8091 | 2497895.4484 | 1115682.5582 | 2497900.2545 | 1115685.012 | 2497905.9161 | 1115689.1969 | 2497917.895 | 1115700.0929
16 | 2497967.9845 | 1115671.1917 | 2497947.9093 | 1115691.7303
17 | 2497957.7587 | 1115736.3636 | 2497939.884 | 1115720.1032
18 | 2497776.2015 | 1115790.4727 | 2497778.055 | 1115797.3347 | 2497777.3241 | 1115800.2377 | 2497775.9182 | 1115802.4962 | 2497769.685 | 1115811.7165
19 | 2497769.685 | 1115811.7165 | 2497757.7467 | 1115829.3758
20 | 2497866.1253 | 1115828.8121 | 2497880.4219 | 1115837.6764 | 2497886.1599 | 1115840.9039 | 2497903.5691 | 1115852.5509 | 2497907.7567 | 1115855.4265 | 2497906.328 | 1115857.7076 | 2497903.0702 | 1115864.1666 | 2497864.7275 | 1115911.5769 | 2497861.2936 | 1115913.5472 | 2497857.884 | 1115914.2163 | 2497853.5719 | 1115913.1106 | 2497851.0878 | 1115916.4546
21 | 2497866.1253 | 1115828.8121 | 2497851.3352 | 1115820.9123 | 2497847.0405 | 1115817.5397
22 | 2497851.0878 | 1115916.4546 | 2497802.0689 | 1115883.8257
23 | 2497822.1884 | 1115801.9209 | 2497825.6892 | 1115803.9567 | 2497839.1658 | 1115811.3561 | 2497847.0405 | 1115817.5397
24 | 2497842.765 | 1115561.7597 | 2497824.7868 | 1115580.0303 | 2497829.7304 | 1115584.2162 | 2497834.4056 | 1115589.4294 | 2497842.2726 | 1115598.9026 | 2497850.7234 | 1115610.0226 | 2497858.9503 | 1115622.058 | 2497867.3651 | 1115635.6246 | 2497882.6886 | 1115664.1174 | 2497886.3937 | 1115671.3372 | 2497888.8876 | 1115679.0889 | 2497889.0711 | 1115680.8091
25 | 2497832.1809 | 1115562.4166 | 2497834.4324 | 1115560.3884 | 2497836.1502 | 1115559.6701 | 2497837.6436 | 1115559.3891 | 2497839.1978 | 1115559.5074 | 2497840.3076 | 1115559.8333 | 2497842.765 | 1115561.7597
26 | 2497802.0689 | 1115883.8257 | 2497795.0519 | 1115879.1549 | 2497790.8425 | 1115878.192 | 2497786.3846 | 1115878.0561
27 | 2497776.5809 | 1115675.8494 | 2497807.7679 | 1115690.9114
28 | 2497968.967 | 1115670.1866 | 2497967.9845 | 1115671.1917
29 | 2497968.967 | 1115670.1866 | 2497972.9881 | 1115666.0726
30 | 2497972.9881 | 1115666.0726 | 2497977.8801 | 1115661.0678
31 | 2497982.808 | 1115656.0261 | 2497977.8801 | 1115661.0678
32 | 2497692.877 | 1115679.8774 | 2497657.2507 | 1115663.106
33 | 2497692.7406 | 1115691.8984 | 2497689.1485 | 1115690.0024 | 2497689.6353 | 1115686.8255 | 2497692.877 | 1115679.8774
34 | 2497692.877 | 1115679.8774 | 2497700.7797 | 1115662.9499
35 | 2497692.7406 | 1115691.8984 | 2497688.0251 | 1115702.2898
36 | 2497709.2946 | 1115644.711 | 2497700.7797 | 1115662.9499
37 | 2497709.2946 | 1115644.711 | 2497746.2315 | 1115661.1973 | 2497758.8836 | 1115667.3096
38 | 2497757.7467 | 1115829.3758 | 2497757.7467 | 1115829.3758 | 2497754.7089 | 1115827.8261 | 2497750.2389 | 1115826.0672 | 2497749.3048 | 1115825.6271
39 | 2497747.4645 | 1115829.687 | 2497749.3048 | 1115825.6271 | 2497749.3048 | 1115825.6271
40 | 2497747.4645 | 1115829.687 | 2497742.3803 | 1115840.903
41 | 2497776.5877 | 1115885.8325 | 2497780.7825 | 1115880.5857 | 2497782.9332 | 1115878.9928 | 2497786.3846 | 1115878.0561 | 2497786.3846 | 1115878.0561
42 | 2497758.8836 | 1115667.3096 | 2497753.2662 | 1115678.9897
43 | 2497758.8836 | 1115667.3096 | 2497776.5809 | 1115675.8494
44 | 2497776.5809 | 1115675.8494 | 2497771.1014 | 1115687.4715

## bus_geodata
| x | y | coords
0 | 2497908.2115 | 1115704.8078
1 | 2497903.2533 | 1115700.421
2 | 2497916.6143 | 1115712.2421
3 | 2497861.4135 | 1115713.9634
4 | 2497923.2328 | 1115704.9481
5 | 2497909.325 | 1115737.4365
6 | 2497852.7203 | 1115708.1398
7 | 2497785.3777 | 1115787.4047
8 | 2497929.4522 | 1115710.6134
9 | 2497917.895 | 1115700.0929
10 | 2497947.9093 | 1115691.7303
11 | 2497939.884 | 1115720.1032
12 | 2497860.5762 | 1115756.2932
13 | 2497776.2015 | 1115790.4727
14 | 2497769.685 | 1115811.7165
15 | 2497866.1253 | 1115828.8121
16 | 2497851.0878 | 1115916.4546
17 | 2497847.0405 | 1115817.5397
18 | 2497822.1884 | 1115801.9209
19 | 2497889.0711 | 1115680.8091
20 | 2497842.765 | 1115561.7597
21 | 2497802.0689 | 1115883.8257
22 | 2497807.7679 | 1115690.9114
23 | 2497968.967 | 1115670.1866
24 | 2497967.9845 | 1115671.1917
25 | 2497972.9881 | 1115666.0726
26 | 2497977.8801 | 1115661.0678
27 | 2497982.808 | 1115656.0261
28 | 2497657.2507 | 1115663.106
29 | 2497692.877 | 1115679.8774
30 | 2497692.7406 | 1115691.8984
31 | 2497700.7797 | 1115662.9499
32 | 2497688.0251 | 1115702.2898
33 | 2497709.2946 | 1115644.711
34 | 2497957.7587 | 1115736.3636
35 | 2497757.7467 | 1115829.3758
36 | 2497749.3048 | 1115825.6271
37 | 2497747.4645 | 1115829.687
38 | 2497786.3846 | 1115878.0561
39 | 2497776.5877 | 1115885.8325
40 | 2497742.3803 | 1115840.903
41 | 2497758.8836 | 1115667.3096
42 | 2497832.1809 | 1115562.4166
43 | 2497753.2662 | 1115678.9897
44 | 2497776.5809 | 1115675.8494
45 | 2497771.1014 | 1115687.4715
46 | 2497776.5809 | 1115675.8494

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1