## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6628-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6628-4_0_5_node_111 | 0.4 | n |  | TRUE
6 | bus_LV_6628-4_0_5_node_112 | 0.4 | n |  | TRUE
7 | bus_LV_6628-4_0_5_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6628-4_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6628-4_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6628-4_0_5_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_6628-4_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6628-4_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6628-4_0_5_node_114 | 0.4 | n |  | TRUE
14 | bus_LV_6628-4_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6628-4_0_5_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_6628-4_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6628-4_0_5_node_132 | 0.4 | n |  | TRUE
18 | bus_LV_6628-4_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6628-4_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6628-4_0_5_node_138 | 0.4 | n |  | TRUE
21 | bus_LV_6628-4_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6628-4_0_5_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_6628-4_0_5_node_134 | 0.4 | n |  | TRUE
24 | bus_LV_6628-4_0_5_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_6628-4_0_5_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_6628-4_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6628-4_0_5_node_135 | 0.4 | n |  | TRUE
28 | bus_LV_6628-4_0_5_node_133 | 0.4 | n |  | TRUE
29 | bus_LV_6628-4_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6628-4_0_5_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_6628-4_0_5_node_9 | 0.4 | n |  | TRUE
32 | bus_LV_6628-4_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6628-4_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6628-4_0_5_node_160 | 0.4 | n |  | TRUE
35 | bus_LV_6628-4_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6628-4_0_5_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_6628-4_0_5_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_6628-4_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6628-4_0_5_node_163 | 0.4 | n |  | TRUE
40 | bus_LV_6628-4_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6628-4_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_6628-4_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6628-4_0_5_node_116 | 0.4 | n |  | TRUE
44 | bus_LV_6628-4_0_5_node_141 | 0.4 | n |  | TRUE
45 | bus_LV_6628-4_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_6628-4_0_5_node_153 | 0.4 | n |  | TRUE
47 | bus_LV_6628-4_0_5_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_6628-4_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6628-4_0_5_node_8 | 0.4 | n |  | TRUE
50 | bus_LV_6628-4_0_5_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_6628-4_0_5_node_12 | 0.4 | n |  | TRUE
52 | bus_LV_6628-4_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6628-4_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6628-4_0_5_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_6628-4_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_6628-4_0_5_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_6628-4_0_5_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_6628-4_0_5_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6628-4_0_5_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_6628-4_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6628-4_0_5_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_6628-4_0_5_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_6628-4_0_5_node_5 | 0.4 | n |  | TRUE
64 | bus_LV_6628-4_0_5_node_7 | 0.4 | n |  | TRUE
65 | bus_LV_6628-4_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_6628-4_0_5_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6628-4_0_5_node_137 | 0.4 | n |  | TRUE
68 | bus_LV_6628-4_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6628-4_0_5_node_130 | 0.4 | n |  | TRUE
70 | bus_LV_6628-4_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6628-4_0_5_node_121 | 0.4 | n |  | TRUE
72 | bus_LV_6628-4_0_5_node_131 | 0.4 | n |  | TRUE
73 | bus_LV_6628-4_0_5_node_150 | 0.4 | n |  | TRUE
74 | bus_LV_6628-4_0_5_node_148 | 0.4 | n |  | TRUE
75 | bus_LV_6628-4_0_5_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_6628-4_0_5_node_159 | 0.4 | n |  | TRUE
77 | bus_LV_6628-4_0_5_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_6628-4_0_5_node_145 | 0.4 | n |  | TRUE
79 | bus_LV_6628-4_0_5_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_6628-4_0_5_node_146 | 0.4 | n |  | TRUE
81 | bus_LV_6628-4_0_5_node_144 | 0.4 | n |  | TRUE
82 | bus_LV_6628-4_0_5_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_6628-4_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_6628-4_0_5_node_143 | 0.4 | n |  | TRUE
85 | bus_LV_6628-4_0_5_node_164 | 0.4 | n |  | TRUE
86 | bus_LV_6628-4_0_5_node_120 | 0.4 | n |  | TRUE
87 | bus_LV_6628-4_0_5_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_6628-4_0_5_node_51 | 0.4 | n |  | TRUE
89 | bus_LV_6628-4_0_5_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_6628-4_0_5_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_6628-4_0_5_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_6628-4_0_5_node_49 | 0.4 | n |  | TRUE
93 | bus_LV_6628-4_0_5_node_50 | 0.4 | n |  | TRUE
94 | bus_LV_6628-4_0_5_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_6628-4_0_5_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_6628-4_0_5_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_6628-4_0_5_node_158 | 0.4 | n |  | TRUE
98 | bus_LV_6628-4_0_5_node_157 | 0.4 | n |  | TRUE
99 | bus_LV_6628-4_0_5_node_152 | 0.4 | n |  | TRUE
100 | bus_LV_6628-4_0_5_node_151 | 0.4 | n |  | TRUE
101 | bus_LV_6628-4_0_5_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_6628-4_0_5_node_65 | 0.4 | n |  | TRUE
103 | bus_LV_6628-4_0_5_node_62 | 0.4 | n |  | TRUE
104 | bus_LV_6628-4_0_5_node_64 | 0.4 | n |  | TRUE
105 | bus_LV_6628-4_0_5_node_60 | 0.4 | n |  | TRUE
106 | bus_LV_6628-4_0_5_node_113 | 0.4 | n |  | TRUE
107 | bus_LV_6628-4_0_5_node_78 | 0.4 | n |  | TRUE
108 | bus_LV_6628-4_0_5_node_42 | 0.4 | n |  | TRUE
109 | bus_LV_6628-4_0_5_node_43 | 0.4 | n |  | TRUE
110 | bus_LV_6628-4_0_5_node_44 | 0.4 | n |  | TRUE
111 | bus_LV_6628-4_0_5_node_45 | 0.4 | n |  | TRUE
112 | bus_LV_6628-4_0_5_node_46 | 0.4 | n |  | TRUE
113 | bus_LV_6628-4_0_5_node_47 | 0.4 | n |  | TRUE
114 | bus_LV_6628-4_0_5_node_91 | 0.4 | n |  | TRUE
115 | bus_LV_6628-4_0_5_node_87 | 0.4 | n |  | TRUE
116 | bus_LV_6628-4_0_5_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_6628-4_0_5_node_89 | 0.4 | n |  | TRUE
118 | bus_LV_6628-4_0_5_node_53 | 0.4 | n |  | TRUE
119 | bus_LV_6628-4_0_5_node_55 | 0.4 | n |  | TRUE
120 | bus_LV_6628-4_0_5_node_97 | 0.4 | n |  | TRUE
121 | bus_LV_6628-4_0_5_node_96 | 0.4 | n |  | TRUE
122 | bus_LV_6628-4_0_5_node_61 | 0.4 | n |  | TRUE
123 | bus_LV_6628-4_0_5_node_63 | 0.4 | n |  | TRUE
124 | bus_LV_6628-4_0_5_node_109 | 0.4 | n |  | TRUE
125 | bus_LV_6628-4_0_5_node_101 | 0.4 | n |  | TRUE
126 | bus_LV_6628-4_0_5_node_67 | 0.4 | n |  | TRUE
127 | bus_LV_6628-4_0_5_node_69 | 0.4 | n |  | TRUE
128 | bus_LV_6628-4_0_5_node_75 | 0.4 | n |  | TRUE
129 | bus_LV_6628-4_0_5_node_100 | 0.4 | n |  | TRUE
130 | bus_LV_6628-4_0_5_node_72 | 0.4 | n |  | TRUE
131 | bus_LV_6628-4_0_5_node_92 | 0.4 | n |  | TRUE
132 | bus_LV_6628-4_0_5_node_110 | 0.4 | n |  | TRUE
133 | bus_LV_6628-4_0_5_node_79 | 0.4 | n |  | TRUE
134 | bus_LV_6628-4_0_5_node_80 | 0.4 | n |  | TRUE
135 | bus_LV_6628-4_0_5_node_81 | 0.4 | n |  | TRUE
136 | bus_LV_6628-4_0_5_node_83 | 0.4 | n |  | TRUE
137 | bus_LV_6628-4_0_5_node_104 | 0.4 | n |  | TRUE
138 | bus_LV_6628-4_0_5_node_93 | 0.4 | n |  | TRUE
139 | bus_LV_6628-4_0_5_node_88 | 0.4 | n |  | TRUE
140 | bus_LV_6628-4_0_5_node_90 | 0.4 | n |  | TRUE
141 | bus_LV_6628-4_0_5_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_6628-4_0_5_node_127 | 0.4 | n |  | TRUE
143 | bus_LV_6628-4_0_5_node_123 | 0.4 | n |  | TRUE
144 | bus_LV_6628-4_0_5_node_125 | 0.4 | n |  | TRUE
145 | bus_LV_6628-4_0_5_node_122 | 0.4 | n |  | TRUE
146 | bus_LV_6628-4_0_5_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_6628-4_0_5_node_156 | 0.4 | n |  | TRUE
148 | bus_LV_6628-4_0_5_node_147 | 0.4 | n |  | TRUE
149 | bus_LV_6628-4_0_5_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_6628-4_0_5_node_154 | 0.4 | n |  | TRUE
151 | bus_LV_6628-4_0_5_node_155 | 0.4 | n |  | TRUE
152 | bus_LV_6628-4_0_5_node_126 | 0.4 | n |  | TRUE
153 | bus_LV_6628-4_0_5_node_129 | 0.4 | n |  | TRUE
154 | bus_LV_6628-4_0_5_node_161 | 0.4 | n |  | TRUE
155 | bus_MV_664_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-4_0_5_load_0 | 0 | 0.002788 | 0.00069874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-4_0_5_load_1 | 1 | 0.001213 | 0.000304 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-4_0_5_load_2 | 2 | 0.0015455 | 0.00038733 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-4_0_5_load_3 | 3 | 0.0001084 | 2.7167e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-4_0_5_load_111 | 5 | 0.0071928 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-4_0_5_load_112 | 6 | 0.0014624 | 0.00036651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-4_0_5_load_136 | 10 | 0.0040365 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-4_0_5_load_114 | 13 | 0.028648 | 0.0071798 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-4_0_5_load_41 | 15 | 0.00031559 | 7.9094e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-4_0_5_load_132 | 17 | 0.032168 | 0.0080621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-4_0_5_load_138 | 20 | 0.0013797 | 0.00034578 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-4_0_5_load_54 | 22 | 0.00050129 | 0.00012563 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-4_0_5_load_134 | 23 | 0.0015082 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-4_0_5_load_124 | 25 | 0.017916 | 0.0044901 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-4_0_5_load_135 | 27 | 0.0022018 | 0.00055183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-4_0_5_load_133 | 28 | 0.00023446 | 5.8762e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-4_0_5_load_160 | 34 | 0.00012124 | 3.0385e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-4_0_5_load_115 | 37 | 0.0046198 | 0.0011578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-4_0_5_load_163 | 39 | 0.00301 | 0.00075438 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-4_0_5_load_141 | 44 | 0.00045602 | 0.00011429 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-4_0_5_load_153 | 46 | 0.0058889 | 0.0014759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-4_0_5_load_99 | 47 | 0.0011338 | 0.00028417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-4_0_5_load_76 | 50 | 0.0048804 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-4_0_5_load_59 | 52 | 0.0038546 | 0.00096605 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-4_0_5_load_56 | 53 | 0.0057388 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-4_0_5_load_108 | 54 | 0.092364 | 0.023149 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-4_0_5_load_73 | 56 | 0.0013445 | 0.00033695 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-4_0_5_load_74 | 57 | 0.0039706 | 0.00099513 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-4_0_5_load_70 | 58 | 0.0010273 | 0.00025745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6628-4_0_5_load_105 | 59 | 0.0027938 | 0.00070019 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6628-4_0_5_load_58 | 60 | 0.003054 | 0.0007654 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6628-4_0_5_load_86 | 61 | 0.0018192 | 0.00045592 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6628-4_0_5_load_84 | 62 | 0.0022279 | 0.00055836 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6628-4_0_5_load_5 | 63 | 0.0023538 | 0.00058992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6628-4_0_5_load_40 | 65 | 0.00012452 | 3.1207e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6628-4_0_5_load_77 | 66 | 0.00010155 | 2.5451e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6628-4_0_5_load_137 | 67 | 0.0031622 | 0.00079251 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6628-4_0_5_load_57 | 68 | 0.0028585 | 0.00071642 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6628-4_0_5_load_130 | 69 | 0.040034 | 0.010033 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6628-4_0_5_load_52 | 70 | 7.9138e-05 | 1.9834e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6628-4_0_5_load_121 | 71 | 0.012247 | 0.0030695 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6628-4_0_5_load_131 | 72 | 0.00011766 | 2.9489e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6628-4_0_5_load_148 | 74 | 0.00054378 | 0.00013628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6628-4_0_5_load_162 | 77 | 0.0011478 | 0.00028768 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6628-4_0_5_load_145 | 78 | 0.0079671 | 0.0019967 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6628-4_0_5_load_144 | 81 | 0.0074854 | 0.001876 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6628-4_0_5_load_68 | 82 | 0.0013452 | 0.00033714 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6628-4_0_5_load_66 | 83 | 0.0019028 | 0.00047688 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6628-4_0_5_load_164 | 85 | 0.003679 | 0.00092205 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6628-4_0_5_load_48 | 87 | 0.002211 | 0.00055414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6628-4_0_5_load_51 | 88 | 0.0011426 | 0.00028637 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6628-4_0_5_load_94 | 89 | 0.0010769 | 0.00026989 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6628-4_0_5_load_71 | 90 | 0.00096009 | 0.00024062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6628-4_0_5_load_106 | 91 | 0.0042209 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6628-4_0_5_load_49 | 92 | 0.0021341 | 0.00053485 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6628-4_0_5_load_50 | 93 | 0.0014001 | 0.00035089 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6628-4_0_5_load_85 | 94 | 0.00024476 | 6.1343e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6628-4_0_5_load_95 | 95 | 0.00019771 | 4.9551e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6628-4_0_5_load_82 | 96 | 0.0041233 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6628-4_0_5_load_158 | 97 | 0.0016228 | 0.00040672 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6628-4_0_5_load_152 | 99 | 0.0058879 | 0.0014756 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6628-4_0_5_load_151 | 100 | 0.0058888 | 0.0014759 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6628-4_0_5_load_98 | 101 | 0.0010829 | 0.00027141 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6628-4_0_5_load_65 | 102 | 0.0021713 | 0.00054418 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6628-4_0_5_load_64 | 104 | 0.00071018 | 0.00017799 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6628-4_0_5_load_60 | 105 | 0.0016157 | 0.00040492 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6628-4_0_5_load_113 | 106 | 0.00094343 | 0.00023645 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6628-4_0_5_load_78 | 107 | 8.6933e-05 | 2.1787e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6628-4_0_5_load_42 | 108 | 0.035349 | 0.0088592 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6628-4_0_5_load_43 | 109 | 0.0019002 | 0.00047624 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6628-4_0_5_load_45 | 111 | 0.00020704 | 5.189e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6628-4_0_5_load_47 | 113 | 0.0021579 | 0.00054082 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6628-4_0_5_load_91 | 114 | 0.006337 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6628-4_0_5_load_87 | 115 | 0.0092239 | 0.0023117 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6628-4_0_5_load_107 | 116 | 0.0032747 | 0.00082071 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6628-4_0_5_load_89 | 117 | 0.017546 | 0.0043974 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6628-4_0_5_load_53 | 118 | 9.2417e-05 | 2.3162e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6628-4_0_5_load_55 | 119 | 0.003566 | 0.00089373 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6628-4_0_5_load_97 | 120 | 0.0030237 | 0.00075781 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6628-4_0_5_load_96 | 121 | 0.0011889 | 0.00029796 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6628-4_0_5_load_61 | 122 | 0.00076991 | 0.00019296 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6628-4_0_5_load_63 | 123 | 0.0014174 | 0.00035524 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6628-4_0_5_load_109 | 124 | 0.0013053 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6628-4_0_5_load_101 | 125 | 0.0010404 | 0.00026076 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6628-4_0_5_load_67 | 126 | 0.0013042 | 0.00032686 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6628-4_0_5_load_69 | 127 | 0.0010405 | 0.00026077 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6628-4_0_5_load_100 | 129 | 0.0011116 | 0.00027858 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6628-4_0_5_load_72 | 130 | 0.001416 | 0.00035488 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6628-4_0_5_load_92 | 131 | 0.0011903 | 0.00029831 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6628-4_0_5_load_110 | 132 | 0.0010576 | 0.00026507 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6628-4_0_5_load_79 | 133 | 0.0013503 | 0.00033842 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6628-4_0_5_load_80 | 134 | 0.0011842 | 0.00029678 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6628-4_0_5_load_81 | 135 | 0.0016856 | 0.00042246 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6628-4_0_5_load_83 | 136 | 0.0009705 | 0.00024323 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6628-4_0_5_load_104 | 137 | 0.0014201 | 0.00035591 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6628-4_0_5_load_93 | 138 | 0.00022123 | 5.5446e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6628-4_0_5_load_128 | 141 | 0.015796 | 0.0039588 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6628-4_0_5_load_125 | 144 | 0.0030345 | 0.00076051 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6628-4_0_5_load_122 | 145 | 0.013987 | 0.0035055 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6628-4_0_5_load_142 | 146 | 0.014794 | 0.0037077 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6628-4_0_5_load_154 | 150 | 0.0056433 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6628-4_0_5_load_155 | 151 | 0.0062583 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6628-4_0_5_load_126 | 152 | 0.012273 | 0.003076 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6628-4_0_5_load_129 | 153 | 8.222e-05 | 2.0606e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6628-4_0_5_load_161 | 154 | 0.0010182 | 0.0002552 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 152 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-4_0_5_line_0 |  | 0 | 1 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-4_0_5_line_1 |  | 0 | 2 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6628-4_0_5_line_2 |  | 1 | 3 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-4_0_5_line_3 |  | 2 | 4 | 0.033896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6628-4_0_5_line_4 |  | 3 | 5 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-4_0_5_line_5 |  | 4 | 6 | 0.039911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6628-4_0_5_line_6 |  | 6 | 7 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6628-4_0_5_line_7 |  | 7 | 45 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6628-4_0_5_line_8 |  | 8 | 9 | 0.065122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6628-4_0_5_line_9 |  | 8 | 10 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6628-4_0_5_line_10 |  | 9 | 23 | 0.032512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6628-4_0_5_line_11 |  | 9 | 14 | 0.011501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-4_0_5_line_12 |  | 10 | 67 | 0.021482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6628-4_0_5_line_13 |  | 11 | 12 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-4_0_5_line_14 |  | 11 | 13 | 0.0097897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6628-4_0_5_line_15 |  | 12 | 16 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6628-4_0_5_line_16 |  | 12 | 17 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6628-4_0_5_line_17 |  | 14 | 15 | 0.0086976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6628-4_0_5_line_18 |  | 15 | 64 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6628-4_0_5_line_19 |  | 16 | 21 | 0.050846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6628-4_0_5_line_20 |  | 16 | 22 | 0.029479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-4_0_5_line_21 |  | 17 | 69 | 0.0048955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-4_0_5_line_22 |  | 18 | 19 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6628-4_0_5_line_23 |  | 18 | 20 | 0.033846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6628-4_0_5_line_24 |  | 19 | 54 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6628-4_0_5_line_25 |  | 20 | 29 | 0.038307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6628-4_0_5_line_26 |  | 21 | 24 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6628-4_0_5_line_27 |  | 21 | 25 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-4_0_5_line_28 |  | 22 | 70 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-4_0_5_line_29 |  | 23 | 26 | 0.043546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-4_0_5_line_30 |  | 24 | 71 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6628-4_0_5_line_31 |  | 26 | 27 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-4_0_5_line_32 |  | 26 | 28 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-4_0_5_line_33 |  | 28 | 72 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6628-4_0_5_line_34 |  | 29 | 30 | 0.040338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6628-4_0_5_line_35 |  | 29 | 31 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6628-4_0_5_line_36 |  | 30 | 73 | 0.005361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6628-4_0_5_line_37 |  | 30 | 74 | 0.0086474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-4_0_5_line_38 |  | 31 | 49 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6628-4_0_5_line_39 |  | 32 | 33 | 0.025128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6628-4_0_5_line_40 |  | 32 | 34 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-4_0_5_line_41 |  | 33 | 46 | 0.023661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-4_0_5_line_42 |  | 34 | 76 | 0.022961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-4_0_5_line_43 |  | 35 | 36 | 0.050472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6628-4_0_5_line_44 |  | 35 | 37 | 0.042734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6628-4_0_5_line_45 |  | 36 | 78 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6628-4_0_5_line_46 |  | 37 | 43 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6628-4_0_5_line_47 |  | 38 | 39 | 0.039595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6628-4_0_5_line_48 |  | 38 | 40 | 0.03018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6628-4_0_5_line_49 |  | 40 | 59 | 0.04257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6628-4_0_5_line_50 |  | 41 | 42 | 0.028289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6628-4_0_5_line_51 |  | 41 | 43 | 0.003358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6628-4_0_5_line_52 |  | 41 | 44 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6628-4_0_5_line_53 |  | 42 | 61 | 0.016647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6628-4_0_5_line_54 |  | 42 | 62 | 0.017232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6628-4_0_5_line_55 |  | 43 | 86 | 0.050543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6628-4_0_5_line_56 |  | 44 | 87 | 0.033717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6628-4_0_5_line_57 |  | 45 | 47 | 0.010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6628-4_0_5_line_58 |  | 45 | 48 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6628-4_0_5_line_59 |  | 46 | 99 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6628-4_0_5_line_60 |  | 47 | 101 | 0.0082448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6628-4_0_5_line_61 |  | 48 | 60 | 0.02961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6628-4_0_5_line_62 |  | 49 | 50 | 0.078311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6628-4_0_5_line_63 |  | 51 | 52 | 0.026417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6628-4_0_5_line_64 |  | 51 | 53 | 0.023477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6628-4_0_5_line_65 |  | 53 | 68 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6628-4_0_5_line_66 |  | 55 | 56 | 0.035194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6628-4_0_5_line_67 |  | 55 | 57 | 0.013756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6628-4_0_5_line_68 |  | 55 | 58 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6628-4_0_5_line_69 |  | 56 | 88 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6628-4_0_5_line_70 |  | 57 | 89 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6628-4_0_5_line_71 |  | 58 | 90 | 0.0066979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6628-4_0_5_line_72 |  | 59 | 91 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6628-4_0_5_line_73 |  | 60 | 68 | 0.017425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6628-4_0_5_line_74 |  | 61 | 96 | 0.0073201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6628-4_0_5_line_75 |  | 63 | 64 | 0.039397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6628-4_0_5_line_76 |  | 64 | 65 | 0.026093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6628-4_0_5_line_77 |  | 65 | 66 | 0.027528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6628-4_0_5_line_78 |  | 66 | 107 | 0.00083387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6628-4_0_5_line_79 |  | 69 | 153 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6628-4_0_5_line_80 |  | 70 | 118 | 0.00016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6628-4_0_5_line_81 |  | 71 | 145 | 0.0019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6628-4_0_5_line_82 |  | 72 | 153 | 0.0067814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6628-4_0_5_line_83 |  | 73 | 77 | 0.039244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6628-4_0_5_line_84 |  | 74 | 148 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6628-4_0_5_line_85 |  | 75 | 76 | 0.008148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6628-4_0_5_line_86 |  | 75 | 77 | 0.036659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_6628-4_0_5_line_87 |  | 76 | 98 | 0.004493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_6628-4_0_5_line_88 |  | 78 | 81 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_6628-4_0_5_line_89 |  | 79 | 80 | 0.072204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6628-4_0_5_line_90 |  | 79 | 81 | 0.039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_6628-4_0_5_line_91 |  | 80 | 147 | 0.005647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6628-4_0_5_line_92 |  | 82 | 83 | 0.0090357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6628-4_0_5_line_93 |  | 83 | 126 | 0.0049539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6628-4_0_5_line_94 |  | 84 | 85 | 0.008039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6628-4_0_5_line_95 |  | 84 | 86 | 0.006346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6628-4_0_5_line_96 |  | 86 | 146 | 0.043194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6628-4_0_5_line_97 |  | 87 | 111 | 0.014257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6628-4_0_5_line_98 |  | 88 | 93 | 0.0019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6628-4_0_5_line_99 |  | 89 | 131 | 0.0088319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6628-4_0_5_line_100 |  | 90 | 130 | 0.028676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6628-4_0_5_line_101 |  | 91 | 116 | 0.024857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6628-4_0_5_line_102 |  | 92 | 93 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6628-4_0_5_line_103 |  | 94 | 95 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6628-4_0_5_line_104 |  | 95 | 138 | 0.01236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6628-4_0_5_line_105 |  | 96 | 134 | 0.0010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6628-4_0_5_line_106 |  | 97 | 98 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6628-4_0_5_line_107 |  | 98 | 147 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_6628-4_0_5_line_108 |  | 99 | 100 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6628-4_0_5_line_109 |  | 101 | 121 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6628-4_0_5_line_110 |  | 102 | 103 | 0.053776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6628-4_0_5_line_111 |  | 103 | 104 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6628-4_0_5_line_112 |  | 103 | 105 | 0.035554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6628-4_0_5_line_113 |  | 104 | 106 | 0.0063871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6628-4_0_5_line_114 |  | 105 | 122 | 0.00040304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6628-4_0_5_line_115 |  | 108 | 109 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_6628-4_0_5_line_116 |  | 108 | 110 | 0.060362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
117 | LV_6628-4_0_5_line_117 |  | 109 | 111 | 0.00083926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_6628-4_0_5_line_118 |  | 110 | 112 | 0.008538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
119 | LV_6628-4_0_5_line_119 |  | 110 | 113 | 0.042486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6628-4_0_5_line_120 |  | 112 | 114 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
121 | LV_6628-4_0_5_line_121 |  | 112 | 115 | 0.042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6628-4_0_5_line_122 |  | 113 | 116 | 0.0069327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6628-4_0_5_line_123 |  | 114 | 117 | 0.0071511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_6628-4_0_5_line_124 |  | 117 | 139 | 0.0087011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_6628-4_0_5_line_125 |  | 118 | 119 | 0.025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6628-4_0_5_line_126 |  | 119 | 120 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6628-4_0_5_line_127 |  | 120 | 121 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6628-4_0_5_line_128 |  | 122 | 123 | 0.018673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6628-4_0_5_line_129 |  | 123 | 124 | 0.00040427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6628-4_0_5_line_130 |  | 124 | 125 | 0.021801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6628-4_0_5_line_131 |  | 125 | 128 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6628-4_0_5_line_132 |  | 126 | 127 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6628-4_0_5_line_133 |  | 127 | 128 | 0.023617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6628-4_0_5_line_134 |  | 128 | 129 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6628-4_0_5_line_135 |  | 128 | 130 | 0.025321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6628-4_0_5_line_136 |  | 129 | 132 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6628-4_0_5_line_137 |  | 131 | 138 | 0.020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6628-4_0_5_line_138 |  | 132 | 137 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6628-4_0_5_line_139 |  | 133 | 134 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6628-4_0_5_line_140 |  | 133 | 135 | 0.017188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6628-4_0_5_line_141 |  | 135 | 136 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6628-4_0_5_line_142 |  | 136 | 137 | 0.0018973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6628-4_0_5_line_143 |  | 139 | 140 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_6628-4_0_5_line_144 |  | 140 | 141 | 0.0035054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
145 | LV_6628-4_0_5_line_145 |  | 141 | 143 | 0.012651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
146 | LV_6628-4_0_5_line_146 |  | 142 | 143 | 0.018366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
147 | LV_6628-4_0_5_line_147 |  | 142 | 144 | 0.033598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
148 | LV_6628-4_0_5_line_148 |  | 143 | 145 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
149 | LV_6628-4_0_5_line_149 |  | 144 | 152 | 0.004541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_6628-4_0_5_line_150 |  | 147 | 151 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6628-4_0_5_line_151 |  | 148 | 149 | 0.008949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_6628-4_0_5_line_152 |  | 149 | 154 | 0.035957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_6628-4_0_5_line_153 |  | 150 | 151 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-4_0_5_trafo_126 | 0.63 MVA 20/0.4 kV | 155 | 152 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2497796.9318 | 1116471.6896 | 2497792.7156 | 1116488.3617
1 | 2497796.9318 | 1116471.6896 | 2497801.0185 | 1116455.5292
2 | 2497792.7156 | 1116488.3617 | 2497792.4541 | 1116489.3957 | 2497789.5315 | 1116492.358 | 2497782.8611 | 1116504.5085
3 | 2497810.0464 | 1116422.8676 | 2497805.5109 | 1116437.7648 | 2497801.0185 | 1116455.5292
4 | 2497769.4942 | 1116511.5086 | 2497772.1067 | 1116513.0432 | 2497775.7882 | 1116512.9476 | 2497779.6064 | 1116510.4371 | 2497782.8611 | 1116504.5085
5 | 2497810.0464 | 1116422.8676 | 2497815.0006 | 1116427.2645 | 2497820.0424 | 1116430.9039 | 2497842.1515 | 1116446.521
6 | 2497867.2817 | 1116464.272 | 2497842.1515 | 1116446.521
7 | 2497868.2965 | 1116475.4397 | 2497869.4203 | 1116472.0297 | 2497869.0667 | 1116467.555 | 2497867.2817 | 1116464.272
8 | 2497743.4177 | 1116431.4986 | 2497714.1122 | 1116444.5688 | 2497707.0519 | 1116448.9576 | 2497704.2634 | 1116451.6287 | 2497702.6982 | 1116453.5897 | 2497695.1584 | 1116466.1473 | 2497694.316 | 1116469.7527
9 | 2497743.4177 | 1116431.4986 | 2497732.3959 | 1116447.5232
10 | 2497694.316 | 1116469.7527 | 2497694.4205 | 1116471.8189 | 2497695.8016 | 1116479.5227 | 2497697.885 | 1116488.1151 | 2497702.1123 | 1116501.2254
11 | 2497682.9139 | 1116471.2576 | 2497689.2466 | 1116470.4166 | 2497694.316 | 1116469.7527
12 | 2497720.2217 | 1116465.2231 | 2497732.3959 | 1116447.5232
13 | 2497735.9851 | 1116628.0151 | 2497741.1841 | 1116626.3485 | 2497745.5924 | 1116624.9509 | 2497747.4452 | 1116622.1956
14 | 2497735.9851 | 1116628.0151 | 2497732.6392 | 1116618.815
15 | 2497747.4452 | 1116622.1956 | 2497751.9056 | 1116623.8768 | 2497755.787 | 1116623.7445 | 2497759.9165 | 1116622.296 | 2497764.5533 | 1116617.9705
16 | 2497747.4452 | 1116622.1956 | 2497744.4063 | 1116618.2778 | 2497742.497 | 1116613.0104
17 | 2497682.9139 | 1116471.2576 | 2497684.7578 | 1116479.7575
18 | 2497688.7341 | 1116498.0873 | 2497684.7578 | 1116479.7575
19 | 2497764.5533 | 1116617.9705 | 2497769.5699 | 1116621.4991 | 2497773.5942 | 1116624.3329 | 2497793.3918 | 1116596.959 | 2497798.2767 | 1116600.4564
20 | 2497764.5533 | 1116617.9705 | 2497781.9015 | 1116594.1361
21 | 2497740.8287 | 1116608.408 | 2497742.497 | 1116613.0104
22 | 2497735.364 | 1116718.216 | 2497741.7242 | 1116719.0201 | 2497746.2585 | 1116719.5994
23 | 2497746.2585 | 1116719.5994 | 2497741.1179 | 1116753.0529
24 | 2497735.364 | 1116718.216 | 2497733.3617 | 1116730.7854
25 | 2497735.1259 | 1116790.8882 | 2497740.6384 | 1116756.1731 | 2497741.1179 | 1116753.0529
26 | 2497798.2767 | 1116600.4564 | 2497807.6346 | 1116587.2011
27 | 2497798.2767 | 1116600.4564 | 2497797.9359 | 1116606.3326 | 2497792.0028 | 1116615.0767
28 | 2497781.9015 | 1116594.1361 | 2497803.4577 | 1116564.5205
29 | 2497716.8292 | 1116542.2069 | 2497703.2225 | 1116504.6687 | 2497702.1123 | 1116501.2254
30 | 2497807.6346 | 1116587.2011 | 2497809.7453 | 1116588.7331 | 2497817.0907 | 1116593.9956
31 | 2497723.3095 | 1116532.2911 | 2497716.8292 | 1116542.2069
32 | 2497716.8292 | 1116542.2069 | 2497723.8933 | 1116561.6922
33 | 2497723.8933 | 1116561.6922 | 2497728.6515 | 1116574.8171
34 | 2497735.1259 | 1116790.8882 | 2497746.3494 | 1116794.8343 | 2497773.1771 | 1116804.2759
35 | 2497716.6547 | 1116782.0504 | 2497718.5498 | 1116786.8213 | 2497727.362 | 1116791.9979 | 2497728.7181 | 1116788.6395 | 2497735.1259 | 1116790.8882
36 | 2497771.9295 | 1116809.4892 | 2497773.1771 | 1116804.2759
37 | 2497773.1771 | 1116804.2759 | 2497781.3336 | 1116807.1478
38 | 2497712.49 | 1116805.1465 | 2497715.1366 | 1116797.2856 | 2497718.5498 | 1116786.8213 | 2497716.6547 | 1116782.0504
39 | 2497715.8786 | 1116882.6938 | 2497709.3325 | 1116906.9531
40 | 2497715.8786 | 1116882.6938 | 2497730.0771 | 1116886.0163
41 | 2497709.3325 | 1116906.9531 | 2497723.8038 | 1116911.2112 | 2497721.9172 | 1116919.5773
42 | 2497752.4346 | 1116891.248 | 2497730.0771 | 1116886.0163
43 | 2497915.3615 | 1116853.451 | 2497911.0785 | 1116852.6561 | 2497867.2673 | 1116837.8416
44 | 2497915.3615 | 1116853.451 | 2497897.6633 | 1116814.5545
45 | 2497867.2673 | 1116837.8416 | 2497862.7186 | 1116856.8296
46 | 2497889.2353 | 1116791.3304 | 2497890.737 | 1116799.3323 | 2497897.6633 | 1116814.5545
47 | 2497897.1327 | 1116526.4853 | 2497921.9913 | 1116495.6131
48 | 2497921.9913 | 1116495.6131 | 2497928.8802 | 1116501.1893 | 2497940.4259 | 1116512.3127 | 2497940.6604 | 1116514.31 | 2497939.4843 | 1116517.3651
49 | 2497939.4843 | 1116517.3651 | 2497923.0404 | 1116556.6312
50 | 2497887.8173 | 1116788.2857 | 2497891.9587 | 1116786.637 | 2497900.3156 | 1116805.0965 | 2497902.0854 | 1116801.998
51 | 2497887.8173 | 1116788.2857 | 2497889.2353 | 1116791.3304
52 | 2497887.8173 | 1116788.2857 | 2497873.7068 | 1116757.8136
53 | 2497902.0854 | 1116801.998 | 2497910.3436 | 1116787.5433
54 | 2497902.0854 | 1116801.998 | 2497909.2996 | 1116817.6468
55 | 2497889.2353 | 1116791.3304 | 2497885.2256 | 1116793.0102 | 2497881.6993 | 1116793.1364 | 2497878.0841 | 1116792.5749 | 2497863.3546 | 1116785.3745 | 2497858.4862 | 1116784.2115 | 2497854.5466 | 1116784.556 | 2497850.9707 | 1116785.8616 | 2497847.7588 | 1116788.6065 | 2497844.9012 | 1116793.5801
56 | 2497860.7857 | 1116726.722 | 2497862.7512 | 1116733.1962 | 2497866.2137 | 1116741.6319 | 2497873.7068 | 1116757.8136
57 | 2497868.2965 | 1116475.4397 | 2497861.957 | 1116484.1494
58 | 2497868.2965 | 1116475.4397 | 2497872.639 | 1116478.3683 | 2497876.8173 | 1116481.1773
59 | 2497718.6919 | 1116933.8798 | 2497721.9172 | 1116919.5773
60 | 2497861.957 | 1116484.1494 | 2497857.1051 | 1116490.8154
61 | 2497876.8173 | 1116481.1773 | 2497859.5278 | 1116505.2155
62 | 2497712.49 | 1116805.1465 | 2497715.2929 | 1116808.8125 | 2497717.1417 | 1116814.0401 | 2497718.0349 | 1116820.7404 | 2497718.0506 | 1116830.802 | 2497716.5411 | 1116839.6998 | 2497706.4267 | 1116880.7779
63 | 2497826.8301 | 1116550.6761 | 2497848.3078 | 1116566.0566
64 | 2497826.8301 | 1116550.6761 | 2497840.5383 | 1116531.6172
65 | 2497849.353 | 1116519.3618 | 2497840.5383 | 1116531.6172
66 | 2497894.3966 | 1116644.3059 | 2497908.1594 | 1116611.9147
67 | 2497894.3966 | 1116644.3059 | 2497889.1277 | 1116657.0127
68 | 2497894.3966 | 1116644.3059 | 2497915.4116 | 1116656.3205
69 | 2497908.1594 | 1116611.9147 | 2497912.8058 | 1116600.9791 | 2497914.4401 | 1116597.0973
70 | 2497889.1277 | 1116657.0127 | 2497879.6366 | 1116679.9019
71 | 2497915.4116 | 1116656.3205 | 2497921.2263 | 1116659.6448
72 | 2497923.0404 | 1116556.6312 | 2497917.5635 | 1116569.7095
73 | 2497859.5278 | 1116505.2155 | 2497849.353 | 1116519.3618
74 | 2497913.9749 | 1116781.1874 | 2497910.3436 | 1116787.5433
75 | 2497688.7341 | 1116498.0873 | 2497673.9714 | 1116503.1289 | 2497650.2266 | 1116504.7037
76 | 2497688.7341 | 1116498.0873 | 2497697.652 | 1116522.6092
77 | 2497697.652 | 1116522.6092 | 2497707.0604 | 1116548.4799
78 | 2497707.0604 | 1116548.4799 | 2497707.3454 | 1116549.2636
79 | 2497730.9628 | 1116581.1925 | 2497735.5379 | 1116593.8122 | 2497740.8287 | 1116608.408
80 | 2497803.4577 | 1116564.5205 | 2497803.5534 | 1116564.389
81 | 2497817.0907 | 1116593.9956 | 2497818.6506 | 1116595.1132
82 | 2497730.9628 | 1116581.1925 | 2497728.6515 | 1116574.8171
83 | 2497771.9295 | 1116809.4892 | 2497771.6265 | 1116810.7506 | 2497771.0069 | 1116813.3739 | 2497762.8285 | 1116847.6633
84 | 2497799.1138 | 1116813.5436 | 2497784.8977 | 1116808.4027 | 2497781.3336 | 1116807.1478
85 | 2497754.3234 | 1116883.3222 | 2497752.4346 | 1116891.248
86 | 2497754.3234 | 1116883.3222 | 2497762.8285 | 1116847.6633
87 | 2497756.8219 | 1116892.2745 | 2497752.4346 | 1116891.248
88 | 2497858.2427 | 1116875.5142 | 2497862.7186 | 1116856.8296
89 | 2497778.7436 | 1116897.4407 | 2497818.9407 | 1116907.1902 | 2497848.9409 | 1116914.3437
90 | 2497848.9409 | 1116914.3437 | 2497858.2427 | 1116875.5142
91 | 2497773.2394 | 1116896.1107 | 2497778.7436 | 1116897.4407
92 | 2497995.5466 | 1116637.7184 | 2497991.1124 | 1116645.5912
93 | 2497988.6814 | 1116649.9076 | 2497991.1124 | 1116645.5912
94 | 2497831.9466 | 1116787.2503 | 2497839.1868 | 1116790.7859
95 | 2497844.9012 | 1116793.5801 | 2497839.1868 | 1116790.7859
96 | 2497844.9012 | 1116793.5801 | 2497842.9135 | 1116797.038 | 2497843.4558 | 1116800.3421 | 2497836.8924 | 1116813.5612 | 2497837.1476 | 1116816.3254 | 2497838.9196 | 1116818.8415 | 2497843.6075 | 1116821.6641 | 2497852.6271 | 1116825.4272
97 | 2497860.3544 | 1116712.5578 | 2497859.8178 | 1116719.5148 | 2497860.6255 | 1116726.1943 | 2497860.7857 | 1116726.722
98 | 2497914.4401 | 1116597.0973 | 2497915.1804 | 1116595.3389
99 | 2497876.2537 | 1116688.0603 | 2497879.6366 | 1116679.9019
100 | 2497921.2263 | 1116659.6448 | 2497946.1206 | 1116673.8773
101 | 2497917.5635 | 1116569.7095 | 2497907.9618 | 1116592.6374
102 | 2497915.1804 | 1116595.3389 | 2497923.0718 | 1116576.5951
103 | 2497877.214 | 1116747.0082 | 2497874.1585 | 1116740.2525 | 2497869.5496 | 1116729.7681 | 2497868.032 | 1116722.2001 | 2497867.9602 | 1116719.6105
104 | 2497869.5764 | 1116707.4271 | 2497867.8542 | 1116715.7879 | 2497867.9602 | 1116719.6105
105 | 2497914.4781 | 1116780.3067 | 2497913.9749 | 1116781.1874
106 | 2497756.8219 | 1116892.2745 | 2497753.5004 | 1116906.2306
107 | 2497773.2394 | 1116896.1107 | 2497756.8219 | 1116892.2745
108 | 2497715.4666 | 1116948.1822 | 2497718.6919 | 1116933.8798
109 | 2497844.721 | 1116507.8297 | 2497857.1051 | 1116490.8154
110 | 2498048.3647 | 1116734.1666 | 2498024.2449 | 1116782.2298
111 | 2498048.3647 | 1116734.1666 | 2498055.9832 | 1116718.3809
112 | 2498048.3647 | 1116734.1666 | 2498017.8045 | 1116715.9957
113 | 2498058.7593 | 1116712.6287 | 2498055.9832 | 1116718.3809
114 | 2498017.458 | 1116715.7898 | 2498017.8045 | 1116715.9957
115 | 2497865.6253 | 1116693.9244 | 2497862.5001 | 1116701.8695 | 2497860.5589 | 1116709.9073 | 2497860.419 | 1116711.721
116 | 2497888.7648 | 1116638.1749 | 2497867.475 | 1116689.222 | 2497865.6253 | 1116693.9244
117 | 2497860.3544 | 1116712.5578 | 2497860.419 | 1116711.721
118 | 2497881.6205 | 1116633.4702 | 2497888.7648 | 1116638.1749
119 | 2497888.7648 | 1116638.1749 | 2497901.3424 | 1116608.4439 | 2497905.2839 | 1116599.032
120 | 2497881.6205 | 1116633.4702 | 2497876.3703 | 1116629.8232 | 2497870.6258 | 1116625.4365
121 | 2497881.6205 | 1116633.4702 | 2497873.5184 | 1116653.4307 | 2497870.6189 | 1116657.7601 | 2497857.7104 | 1116648.4794
122 | 2497907.9618 | 1116592.6374 | 2497905.2839 | 1116599.032
123 | 2497864.9424 | 1116621.0965 | 2497870.6258 | 1116625.4365
124 | 2497857.839 | 1116616.0717 | 2497864.7468 | 1116620.9471 | 2497864.9424 | 1116621.0965
125 | 2497818.5661 | 1116543.7633 | 2497803.5534 | 1116564.389
126 | 2497818.5661 | 1116543.7633 | 2497830.1194 | 1116527.8905
127 | 2497844.721 | 1116507.8297 | 2497830.1194 | 1116527.8905
128 | 2498017.458 | 1116715.7898 | 2498001.4078 | 1116706.2464
129 | 2498001.0603 | 1116706.0398 | 2498001.4078 | 1116706.2464
130 | 2498001.0603 | 1116706.0398 | 2497988.8879 | 1116698.8022 | 2497982.3209 | 1116694.8979
131 | 2497968.1029 | 1116686.4449 | 2497982.3209 | 1116694.8979
132 | 2497979.6928 | 1116665.8669 | 2497988.6814 | 1116649.9076
133 | 2497968.1029 | 1116686.4449 | 2497979.6928 | 1116665.8669
134 | 2497968.1029 | 1116686.4449 | 2497958.4751 | 1116703.2968
135 | 2497968.1029 | 1116686.4449 | 2497946.1206 | 1116673.8773
136 | 2497950.6757 | 1116716.9484 | 2497958.4751 | 1116703.2968
137 | 2497876.2537 | 1116688.0603 | 2497873.7274 | 1116694.1529 | 2497870.0949 | 1116704.9099 | 2497869.5764 | 1116707.4271
138 | 2497950.6757 | 1116716.9484 | 2497944.1833 | 1116728.3123
139 | 2497921.4981 | 1116768.0192 | 2497914.4781 | 1116780.3067
140 | 2497921.4981 | 1116768.0192 | 2497930.0246 | 1116753.095
141 | 2497930.0246 | 1116753.095 | 2497943.2422 | 1116729.9597
142 | 2497943.2422 | 1116729.9597 | 2497944.1833 | 1116728.3123
143 | 2497845.3827 | 1116607.2653 | 2497857.839 | 1116616.0717
144 | 2497845.3827 | 1116607.2653 | 2497842.522 | 1116605.2394
145 | 2497830.5117 | 1116603.603 | 2497839.7093 | 1116603.2475 | 2497842.522 | 1116605.2394
146 | 2497830.5117 | 1116603.603 | 2497819.9954 | 1116618.679
147 | 2497819.9954 | 1116618.679 | 2497804.8953 | 1116640.3032 | 2497800.1775 | 1116642.1173 | 2497798.4322 | 1116643.4699
148 | 2497830.5117 | 1116603.603 | 2497821.5862 | 1116597.2163 | 2497818.6506 | 1116595.1132
149 | 2497798.4322 | 1116643.4699 | 2497794.8349 | 1116646.2546
150 | 2497773.2394 | 1116896.1107 | 2497768.9005 | 1116914.3608
151 | 2497797.0063 | 1116822.2403 | 2497797.4034 | 1116820.6103 | 2497798.226 | 1116817.2054 | 2497799.1138 | 1116813.5436
152 | 2497797.0063 | 1116822.2403 | 2497788.5206 | 1116857.1819
153 | 2497765.5223 | 1116928.5702 | 2497768.9005 | 1116914.3608

## bus_geodata
| x | y | coords
0 | 2497796.9318 | 1116471.6896
1 | 2497792.7156 | 1116488.3617
2 | 2497801.0185 | 1116455.5292
3 | 2497782.8611 | 1116504.5085
4 | 2497810.0464 | 1116422.8676
5 | 2497769.4942 | 1116511.5086
6 | 2497842.1515 | 1116446.521
7 | 2497867.2817 | 1116464.272
8 | 2497743.4177 | 1116431.4986
9 | 2497694.316 | 1116469.7527
10 | 2497732.3959 | 1116447.5232
11 | 2497735.9851 | 1116628.0151
12 | 2497747.4452 | 1116622.1956
13 | 2497732.6392 | 1116618.815
14 | 2497682.9139 | 1116471.2576
15 | 2497684.7578 | 1116479.7575
16 | 2497764.5533 | 1116617.9705
17 | 2497742.497 | 1116613.0104
18 | 2497746.2585 | 1116719.5994
19 | 2497735.364 | 1116718.216
20 | 2497741.1179 | 1116753.0529
21 | 2497798.2767 | 1116600.4564
22 | 2497781.9015 | 1116594.1361
23 | 2497702.1123 | 1116501.2254
24 | 2497807.6346 | 1116587.2011
25 | 2497792.0028 | 1116615.0767
26 | 2497716.8292 | 1116542.2069
27 | 2497723.3095 | 1116532.2911
28 | 2497723.8933 | 1116561.6922
29 | 2497735.1259 | 1116790.8882
30 | 2497773.1771 | 1116804.2759
31 | 2497716.6547 | 1116782.0504
32 | 2497715.8786 | 1116882.6938
33 | 2497709.3325 | 1116906.9531
34 | 2497730.0771 | 1116886.0163
35 | 2497915.3615 | 1116853.451
36 | 2497867.2673 | 1116837.8416
37 | 2497897.6633 | 1116814.5545
38 | 2497921.9913 | 1116495.6131
39 | 2497897.1327 | 1116526.4853
40 | 2497939.4843 | 1116517.3651
41 | 2497887.8173 | 1116788.2857
42 | 2497902.0854 | 1116801.998
43 | 2497889.2353 | 1116791.3304
44 | 2497873.7068 | 1116757.8136
45 | 2497868.2965 | 1116475.4397
46 | 2497721.9172 | 1116919.5773
47 | 2497861.957 | 1116484.1494
48 | 2497876.8173 | 1116481.1773
49 | 2497712.49 | 1116805.1465
50 | 2497706.4267 | 1116880.7779
51 | 2497826.8301 | 1116550.6761
52 | 2497848.3078 | 1116566.0566
53 | 2497840.5383 | 1116531.6172
54 | 2497733.3617 | 1116730.7854
55 | 2497894.3966 | 1116644.3059
56 | 2497908.1594 | 1116611.9147
57 | 2497889.1277 | 1116657.0127
58 | 2497915.4116 | 1116656.3205
59 | 2497923.0404 | 1116556.6312
60 | 2497859.5278 | 1116505.2155
61 | 2497910.3436 | 1116787.5433
62 | 2497909.2996 | 1116817.6468
63 | 2497650.2266 | 1116504.7037
64 | 2497688.7341 | 1116498.0873
65 | 2497697.652 | 1116522.6092
66 | 2497707.0604 | 1116548.4799
67 | 2497720.2217 | 1116465.2231
68 | 2497849.353 | 1116519.3618
69 | 2497740.8287 | 1116608.408
70 | 2497803.4577 | 1116564.5205
71 | 2497817.0907 | 1116593.9957
72 | 2497728.6515 | 1116574.8171
73 | 2497771.9295 | 1116809.4892
74 | 2497781.3336 | 1116807.1478
75 | 2497754.3234 | 1116883.3222
76 | 2497752.4346 | 1116891.248
77 | 2497762.8285 | 1116847.6633
78 | 2497862.7186 | 1116856.8296
79 | 2497848.9409 | 1116914.3437
80 | 2497778.7436 | 1116897.4407
81 | 2497858.2427 | 1116875.5142
82 | 2497995.5466 | 1116637.7184
83 | 2497991.1124 | 1116645.5912
84 | 2497839.1868 | 1116790.7859
85 | 2497831.9466 | 1116787.2503
86 | 2497844.9012 | 1116793.5801
87 | 2497860.7857 | 1116726.722
88 | 2497914.4401 | 1116597.0973
89 | 2497879.6366 | 1116679.9019
90 | 2497921.2263 | 1116659.6448
91 | 2497917.5635 | 1116569.7095
92 | 2497923.0718 | 1116576.5951
93 | 2497915.1804 | 1116595.3389
94 | 2497877.214 | 1116747.0082
95 | 2497867.9602 | 1116719.6105
96 | 2497913.9749 | 1116781.1874
97 | 2497753.5004 | 1116906.2306
98 | 2497756.8219 | 1116892.2745
99 | 2497718.6919 | 1116933.8798
100 | 2497715.4666 | 1116948.1822
101 | 2497857.1051 | 1116490.8154
102 | 2498024.2449 | 1116782.2298
103 | 2498048.3647 | 1116734.1666
104 | 2498055.9832 | 1116718.3809
105 | 2498017.8045 | 1116715.9957
106 | 2498058.7593 | 1116712.6287
107 | 2497707.3454 | 1116549.2636
108 | 2497865.6253 | 1116693.9244
109 | 2497860.419 | 1116711.721
110 | 2497888.7648 | 1116638.1749
111 | 2497860.3544 | 1116712.5578
112 | 2497881.6205 | 1116633.4702
113 | 2497905.2839 | 1116599.032
114 | 2497870.6258 | 1116625.4365
115 | 2497857.7104 | 1116648.4794
116 | 2497907.9618 | 1116592.6374
117 | 2497864.9424 | 1116621.0965
118 | 2497803.5534 | 1116564.389
119 | 2497818.5661 | 1116543.7633
120 | 2497830.1194 | 1116527.8905
121 | 2497844.721 | 1116507.8297
122 | 2498017.458 | 1116715.7898
123 | 2498001.4078 | 1116706.2464
124 | 2498001.0603 | 1116706.0398
125 | 2497982.3209 | 1116694.8979
126 | 2497988.6814 | 1116649.9076
127 | 2497979.6928 | 1116665.8669
128 | 2497968.1029 | 1116686.4449
129 | 2497958.4751 | 1116703.2968
130 | 2497946.1206 | 1116673.8773
131 | 2497876.2537 | 1116688.0603
132 | 2497950.6757 | 1116716.9484
133 | 2497921.4981 | 1116768.0192
134 | 2497914.4781 | 1116780.3067
135 | 2497930.0246 | 1116753.095
136 | 2497943.2422 | 1116729.9597
137 | 2497944.1833 | 1116728.3123
138 | 2497869.5764 | 1116707.4271
139 | 2497857.839 | 1116616.0717
140 | 2497845.3827 | 1116607.2653
141 | 2497842.522 | 1116605.2394
142 | 2497819.9954 | 1116618.679
143 | 2497830.5117 | 1116603.603
144 | 2497798.4322 | 1116643.4699
145 | 2497818.6506 | 1116595.1132
146 | 2497852.6271 | 1116825.4272
147 | 2497773.2394 | 1116896.1107
148 | 2497799.1138 | 1116813.5436
149 | 2497797.0063 | 1116822.2403
150 | 2497765.5223 | 1116928.5702
151 | 2497768.9005 | 1116914.3608
152 | 2497794.8349 | 1116646.2546
153 | 2497730.9628 | 1116581.1925
154 | 2497788.5206 | 1116857.1819
155 | 2497798.4322 | 1116643.4699

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1